## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 18-Jul-2024 03:44 PM Tender Title: SITC of Perimeter Lighting Pole i/c Cable Laying along the shifted operational Boundary Wall at S.V. Airport, Raipur. Tender ID: 2024_AAI_198661_1
Tender Inviting Authority: Asstt. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: SITC of Perimeter Lighting Pole i/c Cable Laying along the shifted operational Boundary Wall at S.V. Airport, Raipur.
Contract No: 2024_AAI_198661_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -718007 |  | SHREE GOURI ELECTRIC ENTERPRISE (GSTN-19ADDPB4683J1ZE) BID ID -718371 |  | MANNA ELECTRONICS AND ELECTRICAL WORKS (GSTN-19AALFM9363P2Z6) BID ID -718478 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -718716 |  | SAURABH ENTERPRISES(GSTN-NA)--716496 |  | MANKHA ELECTROTECH PRIVATE LIMITED(GSTN-NA)--718335 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA)--717982
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Provision of Perimeter road lighting
2.00 | PTTA TYPE PANEL Design, manufacture, supply, installation, testing and commissioning of outdoor compartmentalized type Panel 50 kA short circuit breaking capacity for perimeter lighting, having panel of suitable size, bus bars with SMC/DMC supports, made of 14 SWG CRCA sheet steel, totally enclosed, IP-65, free standing, floor / wall mounting, powder coated painting, suitable to the existing space, operation on 3 phase and neutral, 415V, 50 Hz AC system with bus bars, G.I flat Earth strip on both side , Removable gland plates at bottom with suitable size of predrilled holes for cables, cable interconnections, wiring, earthing, rotary handles & spreader links to all MCCBs, powder coated painting etc. with following items and installation on suitable channels /elevated concrete foundation as per site requirement/ directions of E-I-C. (Make :-As per AAI preferred make list) | 1.00 | Job | 371873.00 | 305000.00 | 305000.00 | 525000.00 | 525000.00 | 352475.00 | 352475.00 | 450000.00 | 450000.00 | 40000.00 | 40000.00 | 182000.00 | 182000.00 | 402775.00 | 402775.00 | 40000.00 | SAURABH ENTERPRISES
3.00 | INCOMER
4.00 | MCCB of 125 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. - 02 Nos.
5.00 | Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 02 Sets
6.00 | Digital Mulit functional meter suitable range for 3 phase, 4 wire with LED display and selector switch along with MCB of suitable ratings- 02 Sets,for 3 phase 4 wire with LED display and selector switch and cast resin CT ratio programmable and auto ranging along with 3 numbers of class 1.0, 15 VA suitable range CTs -02 Sets..
7.00 | BUSCOUPLER
8.00 | MCCB of 125 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc., - 01 No.
9.00 | Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 01 Set
10.00 | mechanical interlocking arrangement between 2 nos. 125 Amp incomer, -1 set
11.00 | BUSBAR
12.00 | One set of 400 Amp TPN aluminium bus bars of 35 KA capacity.
13.00 | OUTGOING
14.00 | 4 Pole, 35 kA, 63 Amp MCCB with extended terminal with real time timer of suitable rating,contactors and direct rotary handle etc as required - 6 Nos
15.00 | Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 06 Set
16.00 | Supply of following Size 1.1 KV grade alumuninum conductor XLPE insulated and PVC sheathed armoured power cable as per IS 7098:1988 (Part-I) with upto date amendments.(Make :-As per AAI preferred make list)
17.00 | (a) 3.5 Core X 120 Sq.mm | 1250.00 | Meter | 691.00 | 700.00 | 875000.00 | 970.00 | 1212500.00 | 589.00 | 736250.00 | 550.00 | 687500.00 | 650.00 | 812500.00 | 750.00 | 937500.00 | 675.00 | 843750.00 | 687500.00 | Awasthi Electric Works
18.00 | (b) 4 Core X 16 Sq.mm | 2950.00 | Meter | 175.00 | 165.00 | 486750.00 | 170.00 | 501500.00 | 146.00 | 430700.00 | 145.00 | 427750.00 | 200.00 | 590000.00 | 210.00 | 619500.00 | 178.00 | 525100.00 | 427750.00 | Awasthi Electric Works
19.00 | (c) 3 Core X 6 Sq.mm | 800.00 | Meter | 101.00 | 100.00 | 80000.00 | 100.00 | 80000.00 | 93.00 | 74400.00 | 85.00 | 68000.00 | 140.00 | 112000.00 | 114.00 | 91200.00 | 85.00 | 68000.00 | 68000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, Awasthi Electric Works
20.00 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (Make :-As per AAI preferred make list)
21.00 | (a) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 1250.00 | Meter | 196.00 | 180.00 | 225000.00 | 315.00 | 393750.00 | 139.00 | 173750.00 | 185.00 | 231250.00 | 150.00 | 187500.00 | 114.00 | 142500.00 | 182.00 | 227500.00 | 142500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
22.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
23.00 | (a) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 1250.00 | Meter | 144.00 | 120.00 | 150000.00 | 50.00 | 62500.00 | 95.00 | 118750.00 | 120.00 | 150000.00 | 80.00 | 100000.00 | 78.00 | 97500.00 | 60.00 | 75000.00 | 62500.00 | SHREE GOURI ELECTRIC ENTERPRISE
24.00 | (b) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 3550.00 | Meter | 137.00 | 100.00 | 355000.00 | 45.00 | 159750.00 | 65.00 | 230750.00 | 130.00 | 461500.00 | 52.50 | 186375.00 | 78.00 | 276900.00 | 60.00 | 213000.00 | 159750.00 | SHREE GOURI ELECTRIC ENTERPRISE
25.00 | Laying of one number PVC/ XLPE insulated and PVC sheathed cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe/ HDPE Pipe as required.
26.00 | (a) Above 95 sq. mm and upto 185 sq. mm | 1250.00 | Meter | 29.00 | 60.00 | 75000.00 | 50.00 | 62500.00 | 57.75 | 72187.50 | 80.00 | 100000.00 | 35.00 | 43750.00 | 51.00 | 63750.00 | 40.00 | 50000.00 | 43750.00 | SAURABH ENTERPRISES
27.00 | (b) Upto 35 Sq.mm | 3550.00 | Meter | 61.00 | 35.00 | 124250.00 | 45.00 | 159750.00 | 27.75 | 98512.50 | 40.00 | 142000.00 | 20.00 | 71000.00 | 40.00 | 142000.00 | 18.00 | 63900.00 | 63900.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
28.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. A). Upto 35 sq. mm (clamped with 1mm thick saddle) | 370.00 | Meter | 44.00 | 35.00 | 12950.00 | 50.00 | 18500.00 | 41.25 | 15262.50 | 135.00 | 49950.00 | 50.00 | 18500.00 | 33.00 | 12210.00 | 50.00 | 18500.00 | 12210.00 | MANKHA ELECTROTECH PRIVATE LIMITED
29.00 | Providing and Laying of following dia'B' class GI Pipe including excavation of hard / soft soil complete with threading and alignment of pipe,bituminous road/concrete surface cutting for laying the pipe and making good the same with 1:2:4 cement concrete etc. as required.
30.00 | (a) 100 mm dia 'B' class GI Pipe | 30.00 | Meter | 1761.00 | 1650.00 | 49500.00 | 1600.00 | 48000.00 | 610.00 | 18300.00 | 1550.00 | 46500.00 | 1300.00 | 39000.00 | 1650.00 | 49500.00 | 2000.00 | 60000.00 | 18300.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
31.00 | (b) 50 mm dia 'B' class GI Pipe | 12.00 | Meter | 1095.00 | 950.00 | 11400.00 | 800.00 | 9600.00 | 400.00 | 4800.00 | 950.00 | 11400.00 | 500.00 | 6000.00 | 950.00 | 11400.00 | 1400.00 | 16800.00 | 4800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
32.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Each | 5443.00 | 7500.00 | 75000.00 | 4000.00 | 40000.00 | 4798.50 | 47985.00 | 10000.00 | 100000.00 | 5500.00 | 55000.00 | 7500.00 | 75000.00 | 7860.00 | 78600.00 | 40000.00 | SHREE GOURI ELECTRIC ENTERPRISE
33.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. wire in 15mm dia G.I.pipe from electrode including connection with G.I. thimble excavation and re-filling as required.(From feeder pillar and panel and perimeter pole to earth electrode) | 30.00 | Mtr | 228.00 | 250.00 | 7500.00 | 140.00 | 4200.00 | 190.60 | 5718.00 | 190.00 | 5700.00 | 180.00 | 5400.00 | 24.00 | 720.00 | 275.00 | 8250.00 | 720.00 | MANKHA ELECTROTECH PRIVATE LIMITED
34.00 | Providing and fixing 6 SWG GI wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required.(CPWD DSR-2022 item 5.7)(Along the cable length) | 3750.00 | Mtr | 33.00 | 30.00 | 112500.00 | 10.00 | 37500.00 | 30.60 | 114750.00 | 28.00 | 105000.00 | 25.00 | 93750.00 | 24.00 | 90000.00 | 28.00 | 105000.00 | 37500.00 | SHREE GOURI ELECTRIC ENTERPRISE
35.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (Make :-As per AAI preferred make list)
36.00 | (a) 3.5 X 120 Sq. mm | 4.00 | Set | 487.00 | 1000.00 | 4000.00 | 1350.00 | 5400.00 | 521.00 | 2084.00 | 650.00 | 2600.00 | 500.00 | 2000.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 2000.00 | SAURABH ENTERPRISES, Krishsons International Engineers And Consultants (I) Pvt. Ltd
37.00 | (b) 4 X 16 Sq. mm | 148.00 | Set | 245.00 | 300.00 | 44400.00 | 200.00 | 29600.00 | 262.00 | 38776.00 | 300.00 | 44400.00 | 300.00 | 44400.00 | 330.00 | 48840.00 | 250.00 | 37000.00 | 29600.00 | SHREE GOURI ELECTRIC ENTERPRISE
38.00 | (c) 4 X 16 Sq. mm ( Excluding Gland) | 188.00 | Set | 197.00 | 100.00 | 18800.00 | 25.00 | 4700.00 | 119.00 | 22372.00 | 120.00 | 22560.00 | 200.00 | 37600.00 | 240.00 | 45120.00 | 175.00 | 32900.00 | 4700.00 | SHREE GOURI ELECTRIC ENTERPRISE
39.00 | (d) 3 X 6 Sq.mm | 4.00 | Set | 191.00 | 200.00 | 800.00 | 275.00 | 1100.00 | 200.00 | 800.00 | 160.00 | 640.00 | 200.00 | 800.00 | 180.00 | 720.00 | 225.00 | 900.00 | 640.00 | Awasthi Electric Works
40.00 | Supply of 30 Watt LED type Road/ Street light as per Tender Technical Specification etc. completed as required. (Make :-As per AAI preferred make list) | 65.00 | Each | 2068.00 | 2500.00 | 162500.00 | 2000.00 | 130000.00 | 1250.00 | 81250.00 | 1290.00 | 83850.00 | 3000.00 | 195000.00 | 1320.00 | 85800.00 | 1454.00 | 94510.00 | 81250.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
41.00 | Installation of 30 watt LED street light fitting on pole upto 3 mtr. height including suitable clamping arrangement in existing poles, earthing, i/c connection with 1.5 Sq.mm PVC insulated copper conductor single core cable, testing and commissioning complete as required. | 109.00 | Each | 569.00 | 150.00 | 16350.00 | 250.00 | 27250.00 | 220.00 | 23980.00 | 350.00 | 38150.00 | 100.00 | 10900.00 | 150.00 | 16350.00 | 120.00 | 13080.00 | 10900.00 | SAURABH ENTERPRISES
42.00 | Installation Testing and Commissioning of 30 watt LED type Road/ street light fixtures on perimeter wall on Triangual MS Frame work made of MS Square pipe(one side) and MS angle iron(two sides).Ms square pipe shall be of 25 mm size,medium gauge conforming to IS-1161-1998 and 1 meter length.MS angle shall be of 25 mmX25 mmX 3 mm size and total length of two sides shall be 1.7 Mtr.Installation shall be including earthing and connection with 1.5 Sq.mm PVC insulated copper conductor single flexible cable complete as required. | 15.00 | Each | 1469.00 | 100.00 | 1500.00 | 500.00 | 7500.00 | 350.00 | 5250.00 | 1200.00 | 18000.00 | 1500.00 | 22500.00 | 1600.00 | 24000.00 | 900.00 | 13500.00 | 1500.00 | surbhi association
43.00 | Supply of 1.5 Metre height G.I Octagonal pole with single arm GI bracket pipe at 150 degree angle suitable for fixing 30 W LED street light and suitable for rotation (Total vertical height of the pole including bracket shall be 2.15 Mtr) • Suitable to withstand wind speed as per IS-875 made out of High Tensile steel confirming to grade S355J0 or equivalent with,EN 8 grade foundation bolt, and base plate with FE 410 confirming to IS 226/IS 2062 with complete accessories. • An Outdoor IP65 rated junction box/looping box(equivelent to Sintex GSJB-3020) shall be provided along with the pole with 1 no heavy duty Three phase and neutral connector 32 Amps connector suitable for 4X16 armored aluminum cable and 1 no 6 amp. DP MCB and locking arrangement. • Pole shall be provided with a set of four foundation bolts and two earth studs at the bottom poles. • Dimensions: Pole 130 mm bottom A/F and 75 mm Top A/F(Across Flats of octagonal surface) • HT sheet:3 mm thick • Base plate 200 mm X 200mm X 12 mm thick. • Bracket:"B" class G.I pipe of size 40 mm nominal dia (approx. 800 mm length) • Foundation bolt: 4 nos. M16 x 450 mm long "J" type EN grade.(Make :-As per AAI preferred make list) | 19.00 | Job | 9385.00 | 6500.00 | 123500.00 | 6500.00 | 123500.00 | 11500.00 | 218500.00 | 7900.00 | 150100.00 | 2500.00 | 47500.00 | 4400.00 | 83600.00 | 7500.00 | 142500.00 | 47500.00 | SAURABH ENTERPRISES
44.00 | Erection, Testing and Commissioning of Upto 3 Meter height pole along with all accessories including making of foundation with M20 grade cement concreate of size 400 mm length X 400 mm width X 800 mm depth(of which 250 mm above ground level and 550 mm below ground level), suitable pipe for cable entry upto junction box, numbering of pole etc complete with all respect as required. | 94.00 | Job | 8540.00 | 3000.00 | 282000.00 | 1000.00 | 94000.00 | 1200.00 | 112800.00 | 3000.00 | 282000.00 | 3000.00 | 282000.00 | 4500.00 | 423000.00 | 4400.00 | 413600.00 | 94000.00 | SHREE GOURI ELECTRIC ENTERPRISE
45.00 | Supplying & fixing cable route marker with 10X10X5mm thick GI plate with description there on bolted/welded to 35mmX35mmX6mm angle iron 60cm long and fixing the same in ground as required. | 12.00 | Each | 304.00 | 800.00 | 9600.00 | 600.00 | 7200.00 | 120.00 | 1440.00 | 450.00 | 5400.00 | 500.00 | 6000.00 | 600.00 | 7200.00 | 400.00 | 4800.00 | 1440.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
46.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable size PVC box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. a) Group C | 6.00 | Point | 1465.00 | 1150.00 | 6900.00 | 2600.00 | 15600.00 | 800.00 | 4800.00 | 1250.00 | 7500.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 4800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
47.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
48.00 | (a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 16.00 | Meter | 293.00 | 250.00 | 4000.00 | 300.00 | 4800.00 | 180.00 | 2880.00 | 320.00 | 5120.00 | 200.00 | 3200.00 | 380.00 | 6080.00 | 250.00 | 4000.00 | 2880.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
49.00 | Supplying and fixing 3 Modular PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 4.00 | Each | 465.00 | 450.00 | 1800.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 550.00 | 2200.00 | 400.00 | 1600.00 | 780.00 | 3120.00 | 1000.00 | 4000.00 | 1600.00 | SAURABH ENTERPRISES
50.00 | Supply of 20 watt surface and wall mounted LED batten (4 ft) with polycarbonate housing & integrated electronic driver i/c pre-wired, complete with all accessories and tube etc. directly on ceiling/ wall etc. as required. | 2.00 | Each | 1114.00 | 450.00 | 900.00 | 504.00 | 1008.00 | 800.00 | 1600.00 | 350.00 | 700.00 | 500.00 | 1000.00 | 330.00 | 660.00 | 300.00 | 600.00 | 600.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
51.00 | Supply of wall mounted fan of 400 mm sweep, 1350 RPM with control ON-OFF, variable speed modes, oscillation control, hight adjustable, balanced 3 leaf suitable for operation on 230 volts, 50hz, AC power supply etc. as required. (Make: Havells, Model: Swing or similar from list of approved makes). | 2.00 | Each | 2438.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 4200.00 | 8400.00 | 2500.00 | 5000.00 | 1700.00 | 3400.00 | 2100.00 | 4200.00 | 2519.00 | 5038.00 | 3400.00 | SAURABH ENTERPRISES
52.00 | Installation, testing and commissioning of pre-wired, LED fitting/compact fluorescent fitting of all types/Wall mounting fan, complete with all accessories and tube etc. directly on ceiling/wall, includin connection with 1.5 Sqmm FRLS PVC insulated, copper conductor, single core cable and earthin etc. as required. | 4.00 | Each | 164.00 | 150.00 | 600.00 | 250.00 | 1000.00 | 100.00 | 400.00 | 250.00 | 1000.00 | 100.00 | 400.00 | 168.00 | 672.00 | 175.00 | 700.00 | 400.00 | SAURABH ENTERPRISES, MANNA ELECTRONICS AND ELECTRICAL WORKS
53.00 | Supplying and fixing of 6 way, Double Door single pole and neutral (SPN), MCB distribution board, 240 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required (But without MCB/RCCB/Isolator). | 2.00 | Each | 1751.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 2600.00 | 5200.00 | 1800.00 | 3600.00 | 1500.00 | 3000.00 | 6000.00 | 12000.00 | 2500.00 | 5000.00 | 3000.00 | SAURABH ENTERPRISES, SHREE GOURI ELECTRIC ENTERPRISE
54.00 | Supplying and fixing SP MCB (current range from 6 A to 32A), 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioing etc. as required. | 6.00 | Each | 203.00 | 180.00 | 1080.00 | 140.00 | 840.00 | 300.00 | 1800.00 | 175.00 | 1050.00 | 150.00 | 900.00 | 141.00 | 846.00 | 200.00 | 1200.00 | 840.00 | SHREE GOURI ELECTRIC ENTERPRISE
55.00 | Supplying and fixing 32 A rating DP, MCB, 240/415 V, 10 kA "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioing etc. as required. | 2.00 | Each | 521.00 | 750.00 | 1500.00 | 600.00 | 1200.00 | 800.00 | 1600.00 | 390.00 | 780.00 | 527.50 | 1055.00 | 223.00 | 446.00 | 750.00 | 1500.00 | 446.00 | MANKHA ELECTROTECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 3636080.00 |  | 3782748.00 |  | 3030522.50 |  | 3711200.00 |  | 3030030.00 |  | 3565734.00 |  | 3542003.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(3030030.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Perimeter Lighting Pole i/c Cable Laying along the shifted operational Boundary Wall at S.V. Airport, Raipur. Tender ID: 2024_AAI_198661_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 3030030.00 | L1
| 2 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 3030522.50 | L2
| 3 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 3542003.00 | L3
| 4 | MANKHA ELECTROTECH PRIVATE LIMITED | 3565734.00 | L4
| 5 | surbhi association | 3636080.00 | L5
| 6 | Awasthi Electric Works | 3711200.00 | L6
| 7 | SHREE GOURI ELECTRIC ENTERPRISE | 3782748.00 | L7