## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 31-Jul-2024 05:07 PM Tender Title: Construction of overhead water tank of 125 KLtr Capacity and laying of water supply pipe from new ATC block to New Fire Station and other areas as per requirement in residential premises at LBSI Airport, Varanasi Tender ID: 2024_AAI_198768_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Construction of overhead water tank of 125 KLtr Capacity and laying of water supply pipe from new ATC block to New Fire Station and other areas as per requirement in residential premises at LBSI Airport, Varanasi
Contract No: 2024_AAI_198768_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -718075 |  | Maa Sharda Enterprises (GSTN-09AAVFM4065C1Z0) BID ID -718459 |  | YOGIDEV CONSTRUCTION(GSTN-NA)--717697 |  | RADHIKEY ENTERPRISES(GSTN-NA)--717278
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 172.25 | sqm |  | 12.00 | 2067.00 | 20.00 | 3445.00 | 23.00 | 3961.75 | 50.00 | 8612.50 | 2067.00 | S.K. CONSTRUCTION
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 178.75 | cum |  | 110.00 | 19662.50 | 150.00 | 26812.50 | 122.00 | 21807.50 | 150.00 | 26812.50 | 19662.50 | S.K. CONSTRUCTION
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials. All kinds of soil | 64.00 | cum |  | 35.00 | 2240.00 | 100.00 | 6400.00 | 86.00 | 5504.00 | 150.00 | 9600.00 | 2240.00 | S.K. CONSTRUCTION
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 178.75 | cum |  | 90.00 | 16087.50 | 100.00 | 17875.00 | 135.00 | 24131.25 | 150.00 | 26812.50 | 16087.50 | S.K. CONSTRUCTION
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 17.03 | cum |  | 800.00 | 13625.60 | 1200.00 | 20438.40 | 1464.00 | 24934.85 | 1300.00 | 22141.60 | 13625.60 | S.K. CONSTRUCTION
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 20.56 | cum |  | 4460.00 | 91679.76 | 4800.00 | 98668.80 | 4700.00 | 96613.20 | 4200.00 | 86335.20 | 86335.20 | RADHIKEY ENTERPRISES
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 14.42 | cum |  | 5280.00 | 76158.72 | 6000.00 | 86544.00 | 5435.00 | 78394.44 | 6400.00 | 92313.60 | 76158.72 | S.K. CONSTRUCTION
8.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 33.40 | cum |  | 7120.00 | 237779.52 | 8000.00 | 267168.00 | 6661.00 | 222450.76 | 6500.00 | 217074.00 | 217074.00 | RADHIKEY ENTERPRISES
9.00 | Providing and laying in position ready mixed or site batcheddesign mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg /cum | 48.65 | cum |  | 7210.00 | 350752.08 | 8500.00 | 413508.00 | 6907.00 | 336011.74 | 9000.00 | 437832.00 | 336011.74 | YOGIDEV CONSTRUCTION
10.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 61.53 | qtl |  | 650.00 | 39996.45 | 400.00 | 24613.20 | 505.00 | 31074.17 | 700.00 | 43073.10 | 24613.20 | Maa Sharda Enterprises
11.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | .49 | cum |  | 7850.00 | 3815.10 | 7200.00 | 3499.20 | 6241.00 | 3033.13 | 7000.00 | 3402.00 | 3033.13 | YOGIDEV CONSTRUCTION
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns, etc. for mass concrete | 22.32 | sqm |  | 210.00 | 4687.20 | 300.00 | 6696.00 | 270.00 | 6026.40 | 300.00 | 6696.00 | 4687.20 | S.K. CONSTRUCTION
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform | 68.40 | sqm |  | 315.00 | 21546.00 | 500.00 | 34200.00 | 639.00 | 43707.60 | 300.00 | 20520.00 | 20520.00 | RADHIKEY ENTERPRISES
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 101.20 | sqm |  | 265.00 | 26818.00 | 450.00 | 45540.00 | 507.00 | 51308.40 | 300.00 | 30360.00 | 26818.00 | S.K. CONSTRUCTION
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 102.40 | sqm |  | 280.00 | 28672.00 | 700.00 | 71680.00 | 663.00 | 67891.20 | 300.00 | 30720.00 | 28672.00 | S.K. CONSTRUCTION
16.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 956.80 | sqm |  | 180.00 | 172224.00 | 200.00 | 191360.00 | 264.00 | 252595.20 | 300.00 | 287040.00 | 172224.00 | S.K. CONSTRUCTION
17.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5060.30 | kg |  | 88.00 | 445306.14 | 75.00 | 379522.27 | 91.00 | 460487.03 | 90.00 | 455426.73 | 379522.27 | Maa Sharda Enterprises
18.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 358.28 | kg |  | 95.00 | 34036.60 | 170.00 | 60907.60 | 135.00 | 48367.80 | 100.00 | 35828.00 | 34036.60 | S.K. CONSTRUCTION
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2191.60 | kg |  | 78.00 | 170944.80 | 73.00 | 159986.80 | 73.00 | 159986.80 | 78.00 | 170944.80 | 159986.80 | YOGIDEV CONSTRUCTION, Maa Sharda Enterprises
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4290.40 | kg |  | 79.00 | 338941.60 | 75.00 | 321780.00 | 73.00 | 313199.20 | 78.00 | 334651.20 | 313199.20 | YOGIDEV CONSTRUCTION
21.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 500.00 | sqm |  | 105.00 | 52500.00 | 80.00 | 40000.00 | 100.00 | 50000.00 | 50.00 | 25000.00 | 25000.00 | RADHIKEY ENTERPRISES
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | .17 | cum |  | 6500.00 | 1076.40 | 5000.00 | 828.00 | 4921.00 | 814.92 | 5000.00 | 828.00 | 814.92 | YOGIDEV CONSTRUCTION
23.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 120.36 | sqm |  | 210.00 | 25275.60 | 250.00 | 30090.00 | 229.00 | 27562.44 | 250.00 | 30090.00 | 25275.60 | S.K. CONSTRUCTION
24.00 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | 117.52 | sqm |  | 110.00 | 12927.20 | 60.00 | 7051.20 | 60.00 | 7051.20 | 250.00 | 29380.00 | 7051.20 | YOGIDEV CONSTRUCTION, Maa Sharda Enterprises
25.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 181.52 | sqm |  | 95.00 | 17244.40 | 111.00 | 20148.72 | 110.00 | 19967.20 | 50.00 | 9076.00 | 9076.00 | RADHIKEY ENTERPRISES
26.00 | Providing and fixing CPVC gate valve with CPVC wheel of approved quality (screwed end) : 100 mm nominal bore | 12.00 | each |  | 2200.00 | 26400.00 | 650.00 | 7800.00 | 517.00 | 6204.00 | 1800.00 | 21600.00 | 6204.00 | YOGIDEV CONSTRUCTION
27.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching along pipe length of section sufficient to fit the pipe in place as required, refilling & testing of joints complete as per direction of Engineer in Charge. 100 mm nominal dia Pipes | 600.00 | mtr |  | 2120.00 | 1272000.00 | 1700.00 | 1020000.00 | 2256.00 | 1353600.00 | 1200.00 | 720000.00 | 720000.00 | RADHIKEY ENTERPRISES
28.00 | Supplying Installation Testing and Commissioning of circular Zincalume tank (circular) having desing life of at least 25 years, Tank wall sheets (thickness min 0.8mm & varying according to the design) AZ-150 coating thickness of 150GSM, sheets having ultimate tensile strength of minimum 300MPa complete including Liner- Reinforced PVC, anti-algae, UV stabilised, USFDA CFR 21CR Approved Liner-760GSM having thickness of atleast 0.55 mm (as per design) bottom protection of liner as Geotextile (0.5-0.6 mm compressed), SS 304 nozzles of size as per design, M-10 nut bolts of grade - 8.8, fastners, stairs to reach the roof of the tank as well as under it, PVC U vent with SS Bird mesh for air, water level measuring gauge, Zincalume/Galvalume on Dome roof etc. complete including designing and thereafter getting design and drawing vetted by IIT/NIT, manufacturing, trasnportation, fabrication, tools i/c all lifts and leads till top of RCC slab, complete as per Technical specification mentioned in tender document, satisfaction and direction of EIC. | 1.00 | No |  | 2000000.00 | 2000000.00 | 1421000.00 | 1421000.00 | 1215142.00 | 1215142.00 | 670000.00 | 670000.00 | 670000.00 | RADHIKEY ENTERPRISES
29.00 | Providing consultancy services for conducting soil testing from AAI approved lab in order to determine Safe Bearing Capacity of soil and other physical and chemical chararcteristics of soil including submission of detailed test report in format to be provided by AAI as well as consultancy services for structural design and detailed drawings of RCC Overhead tank structure based on SBC of soil taking into consideration several dead loads of RCC structures, Overhead tank and live loads and other loads as applicable as per relevant IS code, including complete design and structural and detailed drawings, shop drawing, vetting of design and drawings by IIT/NIT, submission of original reports duly vetted, and all other items that are necessary to complete the design and drawing complete in all respect as per satisfaction and direction of the Engineer-in-Charge | 1.00 | job |  | 115000.00 | 115000.00 | 99000.00 | 99000.00 | 87379.00 | 87379.00 | 110000.00 | 110000.00 | 87379.00 | YOGIDEV CONSTRUCTION
30.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching along pipe length of section sufficient to fit the pipe in place as required and refilling etc. External work 15 mm dia nominal bore | 300.00 | mtr |  | 225.00 | 67500.00 | 300.00 | 90000.00 | 222.00 | 66600.00 | 200.00 | 60000.00 | 60000.00 | RADHIKEY ENTERPRISES
31.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching along pipe length of section sufficient to fit the pipe in place as required and refilling etc. External work 20 mm dia nominal bore | 300.00 | mtr |  | 260.00 | 78000.00 | 350.00 | 105000.00 | 267.00 | 80100.00 | 250.00 | 75000.00 | 75000.00 | RADHIKEY ENTERPRISES
32.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching along pipe length of section sufficient to fit the pipe in place as required and refilling etc. External work 25 mm dia nominal bore | 300.00 | mtr |  | 325.00 | 97500.00 | 400.00 | 120000.00 | 322.00 | 96600.00 | 280.00 | 84000.00 | 84000.00 | RADHIKEY ENTERPRISES
33.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching along pipe length of section sufficient to fit the pipe in place as required and refilling etc. External work 40 mm dia nominal bore | 300.00 | mtr |  | 380.00 | 114000.00 | 500.00 | 150000.00 | 425.00 | 127500.00 | 600.00 | 180000.00 | 114000.00 | S.K. CONSTRUCTION
34.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching along pipe length of section sufficient to fit the pipe in place as required and refilling etc. External work 50 mm dia nominal bore | 300.00 | mtr |  | 465.00 | 139500.00 | 600.00 | 180000.00 | 525.00 | 157500.00 | 700.00 | 210000.00 | 139500.00 | S.K. CONSTRUCTION
35.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching along pipe length of section sufficient to fit the pipe in place as required and refilling etc. External work 80 mm dia nominal bore | 300.00 | mtr |  | 680.00 | 204000.00 | 900.00 | 270000.00 | 718.00 | 215400.00 | 1100.00 | 330000.00 | 204000.00 | S.K. CONSTRUCTION
36.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore | 50.00 | each |  | 480.00 | 24000.00 | 700.00 | 35000.00 | 628.00 | 31400.00 | 100.00 | 5000.00 | 5000.00 | RADHIKEY ENTERPRISES
37.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 50 to 80 mm nominal bore | 25.00 | each |  | 1150.00 | 28750.00 | 1500.00 | 37500.00 | 1231.00 | 30775.00 | 200.00 | 5000.00 | 5000.00 | RADHIKEY ENTERPRISES
38.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 15 mm nominal bore | 25.00 | each |  | 150.00 | 3750.00 | 200.00 | 5000.00 | 219.00 | 5475.00 | 50.00 | 1250.00 | 1250.00 | RADHIKEY ENTERPRISES
39.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 20 mm nominal bore | 25.00 | each |  | 180.00 | 4500.00 | 250.00 | 6250.00 | 238.00 | 5950.00 | 75.00 | 1875.00 | 1875.00 | RADHIKEY ENTERPRISES
40.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 25 mm nominal bore | 25.00 | each |  | 210.00 | 5250.00 | 325.00 | 8125.00 | 302.00 | 7550.00 | 120.00 | 3000.00 | 3000.00 | RADHIKEY ENTERPRISES
41.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 40 mm nominal bore | 25.00 | each |  | 425.00 | 10625.00 | 480.00 | 12000.00 | 435.00 | 10875.00 | 200.00 | 5000.00 | 5000.00 | RADHIKEY ENTERPRISES
42.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 50 mm nominal bore | 25.00 | each |  | 620.00 | 15500.00 | 673.00 | 16825.00 | 429.00 | 10725.00 | 250.00 | 6250.00 | 6250.00 | RADHIKEY ENTERPRISES
43.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 80 mm nominal bore | 25.00 | each |  | 1150.00 | 28750.00 | 850.00 | 21250.00 | 832.00 | 20800.00 | 800.00 | 20000.00 | 20000.00 | RADHIKEY ENTERPRISES
| Total in Figures |  |  |  |  | 6441089.17 |  | 5943512.70 |  | 5886457.16 |  | 4948544.73
Lowest Amount Quoted BY: RADHIKEY ENTERPRISES(4948544.73)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of overhead water tank of 125 KLtr Capacity and laying of water supply pipe from new ATC block to New Fire Station and other areas as per requirement in residential premises at LBSI Airport, Varanasi Tender ID: 2024_AAI_198768_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RADHIKEY ENTERPRISES | 4948544.73 | L1
| 2 | YOGIDEV CONSTRUCTION | 5886457.16 | L2
| 3 | Maa Sharda Enterprises | 5943512.70 | L3
| 4 | S.K. CONSTRUCTION | 6441089.17 | L4