## BoQ1
Government eProcurement System Created By: KESHAV AUTADE Created Date/Time: 16-Aug-2024 04:02 PM Tender Title: Construction of Parking Shed in Front of New ATC Tower at Kolhapur Airport Tender ID: 2024_AAI_198788_1
Tender Inviting Authority: <SM (Engg.-Civil), AAI, Kolhapur Airport >
Name of Work: <Construction of Parking Shed in front of new ATC Tower at Kolhapur Airport.>
Contract No: <2024_AAI_198788_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shrikrishna Construction (GSTN-27ACJPS2472B1ZM) BID ID -717039 |  | Ideal Infrastructure and Consultants (GSTN-27ARLPR1650B1ZW) BID ID -717564 |  | Shri Laxminarayan Construction (GSTN-27AKIPR6504J1ZT) BID ID -719452 |  | VISHVESHWARA ENTERPRISE (GSTN-27AGFPP8886J1ZI) BID ID -719469 |  | SAMEER GLAZING SYSTEM PRIVATE LIMITED (GSTN-23AARCS0124P1Z3) BID ID -719518 |  | Ms. Bohra Enterprises, Gondia(GSTN-NA)--717088 |  | SSJ INFRA(GSTN-NA)--719453 |  | R. S. Kamthe Infrastructure Developer Pvt. Ltd.(GSTN-NA)--715771 |  | K K ENTERPRISES(GSTN-NA)--717707 |  | TANMAY ENTERPRISES(GSTN-NA)--719460 |  | Eagle Associates(GSTN-NA)--719543
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Ordinary rock | 70.00 | cum |  | 400.00 | 28000.00 | 450.00 | 31500.00 | 200.00 | 14000.00 | 345.00 | 24150.00 | 450.00 | 31500.00 | 280.00 | 19600.00 | 264.00 | 18480.00 | 199.00 | 13930.00 | 250.00 | 17500.00 | 250.00 | 17500.00 | 500.00 | 35000.00 | 13930.00 | R. S. Kamthe Infrastructure Developer Pvt. Ltd.
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 5.00 | cum |  | 5900.00 | 29500.00 | 6200.00 | 31000.00 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 6500.00 | 32500.00 | 4560.00 | 22800.00 | 6766.00 | 33830.00 | 6498.00 | 32490.00 | 6500.00 | 32500.00 | 6000.00 | 30000.00 | 5500.00 | 27500.00 | 22800.00 | Ms. Bohra Enterprises, Gondia
3.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 13.00 | sqm |  | 200.00 | 2600.00 | 1500.00 | 19500.00 | 300.00 | 3900.00 | 400.00 | 5200.00 | 300.00 | 3900.00 | 201.00 | 2613.00 | 200.00 | 2600.00 | 1210.00 | 15730.00 | 1600.00 | 20800.00 | 1800.00 | 23400.00 | 400.00 | 5200.00 | 2600.00 | Shrikrishna Construction, SSJ INFRA
4.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 400.00 | kg |  | 100.00 | 40000.00 | 140.00 | 56000.00 | 90.00 | 36000.00 | 90.00 | 36000.00 | 125.00 | 50000.00 | 110.00 | 44000.00 | 8.91 | 3564.00 | 95.00 | 38000.00 | 120.00 | 48000.00 | 120.00 | 48000.00 | 100.00 | 40000.00 | 3564.00 | SSJ INFRA
5.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 15000.00 | kg |  | 175.00 | 2625000.00 | 115.00 | 1725000.00 | 105.00 | 1575000.00 | 87.00 | 1305000.00 | 120.00 | 1800000.00 | 121.00 | 1815000.00 | 10.68 | 160200.00 | 97.00 | 1455000.00 | 128.00 | 1920000.00 | 130.00 | 1950000.00 | 125.00 | 1875000.00 | 160200.00 | SSJ INFRA
6.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 370.00 | sqm |  | 680.00 | 251600.00 | 1180.00 | 436600.00 | 680.00 | 251600.00 | 650.00 | 240500.00 | 625.00 | 231250.00 | 530.00 | 196100.00 | 551.00 | 203870.00 | 1850.00 | 684500.00 | 1150.00 | 425500.00 | 1000.00 | 370000.00 | 700.00 | 259000.00 | 196100.00 | Ms. Bohra Enterprises, Gondia
7.00 | 12mm cement plaster of mix: 1:6 (1 cement : 6 fine sand) | 170.00 | sqm |  | 280.00 | 47600.00 | 550.00 | 93500.00 | 300.00 | 51000.00 | 450.00 | 76500.00 | 350.00 | 59500.00 | 220.00 | 37400.00 | 712.00 | 121040.00 | 539.00 | 91630.00 | 1330.00 | 226100.00 | 750.00 | 127500.00 | 250.00 | 42500.00 | 37400.00 | Ms. Bohra Enterprises, Gondia
8.00 | Finishing with Acrylic smooth exterior paint of required shade: New work (two or more coat applied @ 1.67 ltr./10 sqm over and including priming coat of exterior primer applied @ 90 ltr./10 sqm) | 170.00 | sqm |  | 130.00 | 22100.00 | 100.00 | 17000.00 | 120.00 | 20400.00 | 150.00 | 25500.00 | 150.00 | 25500.00 | 115.00 | 19550.00 | 307.00 | 52190.00 | 398.00 | 67660.00 | 440.00 | 74800.00 | 275.00 | 46750.00 | 150.00 | 25500.00 | 17000.00 | Ideal Infrastructure and Consultants
9.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 330.00 | sqm |  | 190.00 | 62700.00 | 90.00 | 29700.00 | 180.00 | 59400.00 | 125.00 | 41250.00 | 200.00 | 66000.00 | 120.00 | 39600.00 | 89.00 | 29370.00 | 555.00 | 183150.00 | 110.00 | 36300.00 | 275.00 | 90750.00 | 120.00 | 39600.00 | 29370.00 | SSJ INFRA
10.00 | Brickwork with fly ash size bricks of class designation 50 in foundation and plinth in : Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 46.00 | cum |  | 10.00 | 460.00 | 5800.00 | 266800.00 | 5500.00 | 253000.00 | 7000.00 | 322000.00 | 6800.00 | 312800.00 | 6600.00 | 303600.00 | 8263.00 | 380098.00 | 4500.00 | 207000.00 | 375.00 | 17250.00 | 8500.00 | 391000.00 | 5300.00 | 243800.00 | 460.00 | Shrikrishna Construction
11.00 | Pooviding and fixing of Hilti M20X180 5.8 grade Anchor with RE 500V4 Chemical having minimum anchor depth of 100 mm, complete as per directions of Engineering Incharge. Rate includes all components such as making holes in existing floor, cleaning holes with blower, providing and supplying of Anchor bolts of specific grade, injecting chemicals with HILTI machine and finishing all complete as per directions of Engineer incharge. The Bolts should be installed only after checking and verification in a location directed by Engineer Incharge. | 40.00 | Each |  | 280.00 | 11200.00 | 1700.00 | 68000.00 | 1800.00 | 72000.00 | 500.00 | 20000.00 | 2000.00 | 80000.00 | 225.00 | 9000.00 | 6120.00 | 244800.00 | 1649.00 | 65960.00 | 700.00 | 28000.00 | 1250.00 | 50000.00 | 500.00 | 20000.00 | 9000.00 | Ms. Bohra Enterprises, Gondia
12.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 10.00 | Point |  | 1700.00 | 17000.00 | 1200.00 | 12000.00 | 1400.00 | 14000.00 | 2191.00 | 21910.00 | 1300.00 | 13000.00 | 1250.00 | 12500.00 | 1500.00 | 15000.00 | 639.00 | 6390.00 | 300.00 | 3000.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 3000.00 | K K ENTERPRISES
13.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 40.00 | Point |  | 900.00 | 36000.00 | 200.00 | 8000.00 | 1000.00 | 40000.00 | 1998.00 | 79920.00 | 1400.00 | 56000.00 | 780.00 | 31200.00 | 2000.00 | 80000.00 | 499.00 | 19960.00 | 375.00 | 15000.00 | 2250.00 | 90000.00 | 850.00 | 34000.00 | 8000.00 | Ideal Infrastructure and Consultants
14.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Mtr |  | 580.00 | 11600.00 | 800.00 | 16000.00 | 500.00 | 10000.00 | 5266.00 | 105320.00 | 400.00 | 8000.00 | 475.00 | 9500.00 | 3200.00 | 64000.00 | 939.00 | 18780.00 | 350.00 | 7000.00 | 830.00 | 16600.00 | 600.00 | 12000.00 | 7000.00 | K K ENTERPRISES
15.00 | Wiring for light) power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 80.00 | Mtr |  | 300.00 | 24000.00 | 600.00 | 48000.00 | 350.00 | 28000.00 | 4500.00 | 360000.00 | 300.00 | 24000.00 | 325.00 | 26000.00 | 10000.00 | 800000.00 | 749.00 | 59920.00 | 350.00 | 28000.00 | 545.00 | 43600.00 | 450.00 | 36000.00 | 24000.00 | Shrikrishna Construction, SAMEER GLAZING SYSTEM PRIVATE LIMITED
16.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 5.00 | Each |  | 500.00 | 2500.00 | 1200.00 | 6000.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 415.00 | 2075.00 | 5000.00 | 25000.00 | 639.00 | 3195.00 | 600.00 | 3000.00 | 730.00 | 3650.00 | 500.00 | 2500.00 | 1000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
17.00 | Supply of 20 watts LED tubelight fixture, suitable for operation at 230V, 50Hz AC supply as per list of approved makes etc complete as required.(Philips 20w stellar bright TLED or equivalent) | 50.00 | Nos. |  | 380.00 | 19000.00 | 700.00 | 35000.00 | 350.00 | 17500.00 | 210.00 | 10500.00 | 1300.00 | 65000.00 | 275.00 | 13750.00 | 2100.00 | 105000.00 | 1859.00 | 92950.00 | 700.00 | 35000.00 | 1690.00 | 84500.00 | 2500.00 | 125000.00 | 10500.00 | VISHVESHWARA ENTERPRISE
18.00 | Installation,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 40.00 | Job |  | 150.00 | 6000.00 | 250.00 | 10000.00 | 100.00 | 4000.00 | 440.00 | 17600.00 | 800.00 | 32000.00 | 80.00 | 3200.00 | 2450.00 | 98000.00 | 2649.00 | 105960.00 | 2500.00 | 100000.00 | 1065.00 | 42600.00 | 800.00 | 32000.00 | 3200.00 | Ms. Bohra Enterprises, Gondia
19.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way, Double door | 2.00 | Job |  | 8800.00 | 17600.00 | 10000.00 | 20000.00 | 8500.00 | 17000.00 | 2200.00 | 4400.00 | 2500.00 | 5000.00 | 1950.00 | 3900.00 | 1000.00 | 2000.00 | 1398.00 | 2796.00 | 27000.00 | 54000.00 | 3235.00 | 6470.00 | 10000.00 | 20000.00 | 2000.00 | SSJ INFRA
20.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole. | 4.00 | Job |  | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 1000.00 | 4000.00 | 300.00 | 1200.00 | 2500.00 | 10000.00 | 495.00 | 1980.00 | 2300.00 | 9200.00 | 2999.00 | 11996.00 | 7000.00 | 28000.00 | 820.00 | 3280.00 | 800.00 | 3200.00 | 1200.00 | VISHVESHWARA ENTERPRISE
21.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole. | 12.00 | Job |  | 400.00 | 4800.00 | 4000.00 | 48000.00 | 300.00 | 3600.00 | 1650.00 | 19800.00 | 1000.00 | 12000.00 | 200.00 | 2400.00 | 1400.00 | 16800.00 | 1395.00 | 16740.00 | 7000.00 | 84000.00 | 335.00 | 4020.00 | 500.00 | 6000.00 | 2400.00 | Ms. Bohra Enterprises, Gondia
22.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. 4c X 16 sq.mm | 250.00 | Mtr |  | 336.00 | 84000.00 | 250.00 | 62500.00 | 300.00 | 75000.00 | 405.00 | 101250.00 | 280.00 | 70000.00 | 1200.00 | 300000.00 | 2300.00 | 575000.00 | 498.00 | 124500.00 | 200.00 | 50000.00 | 390.00 | 97500.00 | 450.00 | 112500.00 | 50000.00 | K K ENTERPRISES
23.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia | 150.00 | Mtr |  | 170.00 | 25500.00 | 350.00 | 52500.00 | 130.00 | 19500.00 | 220.00 | 33000.00 | 250.00 | 37500.00 | 105.00 | 15750.00 | 310.00 | 46500.00 | 95.00 | 14250.00 | 165.00 | 24750.00 | 250.00 | 37500.00 | 150.00 | 22500.00 | 14250.00 | R. S. Kamthe Infrastructure Developer Pvt. Ltd.
24.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm. | 50.00 | Mtr |  | 75.00 | 3750.00 | 600.00 | 30000.00 | 40.00 | 2000.00 | 330.00 | 16500.00 | 125.00 | 6250.00 | 55.00 | 2750.00 | 900.00 | 45000.00 | 98.00 | 4900.00 | 165.00 | 8250.00 | 485.00 | 24250.00 | 350.00 | 17500.00 | 2000.00 | Shri Laxminarayan Construction
25.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. 35 Upto 35 sq. mm | 200.00 | Mtr |  | 40.00 | 8000.00 | 600.00 | 120000.00 | 30.00 | 6000.00 | 210.00 | 42000.00 | 50.00 | 10000.00 | 45.00 | 9000.00 | 50.00 | 10000.00 | 50.00 | 10000.00 | 390.00 | 78000.00 | 125.00 | 25000.00 | 350.00 | 70000.00 | 6000.00 | Shri Laxminarayan Construction
26.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 4.00 | Each |  | 70.00 | 280.00 | 1000.00 | 4000.00 | 25.00 | 100.00 | 250.00 | 1000.00 | 500.00 | 2000.00 | 225.00 | 900.00 | 125.00 | 500.00 | 1199.00 | 4796.00 | 4000.00 | 16000.00 | 390.00 | 1560.00 | 1000.00 | 4000.00 | 100.00 | Shri Laxminarayan Construction
27.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required | 250.00 | Mtr |  | 80.00 | 20000.00 | 180.00 | 45000.00 | 40.00 | 10000.00 | 55.00 | 13750.00 | 50.00 | 12500.00 | 30.00 | 7500.00 | 320.00 | 80000.00 | 70.00 | 17500.00 | 150.00 | 37500.00 | 90.00 | 22500.00 | 70.00 | 17500.00 | 7500.00 | Ms. Bohra Enterprises, Gondia
| Total in Figures |  |  |  |  | 3404790.00 |  | 3307600.00 |  | 2614500.00 |  | 2950750.00 |  | 3057200.00 |  | 2951668.00 |  | 3222042.00 |  | 3369683.00 |  | 3418250.00 |  | 3669930.00 |  | 3147800.00
Lowest Amount Quoted BY: Shri Laxminarayan Construction(2614500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Parking Shed in Front of New ATC Tower at Kolhapur Airport Tender ID: 2024_AAI_198788_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shri Laxminarayan Construction | 2614500.00 | L1
| 2 | VISHVESHWARA ENTERPRISE | 2950750.00 | L2
| 3 | Ms. Bohra Enterprises, Gondia | 2951668.00 | L3
| 4 | SAMEER GLAZING SYSTEM PRIVATE LIMITED | 3057200.00 | L4
| 5 | Eagle Associates | 3147800.00 | L5
| 6 | SSJ INFRA | 3222042.00 | L6
| 7 | Ideal Infrastructure and Consultants | 3307600.00 | L7
| 8 | R. S. Kamthe Infrastructure Developer Pvt. Ltd. | 3369683.00 | L8
| 9 | Shrikrishna Construction | 3404790.00 | L9
| 10 | K K ENTERPRISES | 3418250.00 | L10
| 11 | TANMAY ENTERPRISES | 3669930.00 | L11