## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 23-Jul-2024 11:05 AM Tender Title: FMC of Internal and External Electrical Installations at AAI Metro Residential Colony Operational Office CISF Accommodations and All Ancillary Buildings at Chennai International Airport 2024 to 2026 Tender ID: 2024_AAI_198893_1
Tender Inviting Authority: AGM (Engg - Elect), Airports Authority of India, Chennai Airport, Chennai.
Name of Work: FMC of Internal & External Electrical Installations at AAI (Metro) Residential Colony, Operational Office, CISF ACCommodations and All Ancillary Buildings at Chennai International Airport (2024-2026)
Contract No: 2024_AAI_198893_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -717057 |  | Blue Star Limited (GSTN-27AAACB4487D1ZS) BID ID -717603 |  | LAKSHMI ELECTRICAL ENTERPRISES (GSTN-33AACFL6352N1Z4) BID ID -719635 |  | PREMIER ENGINEERING TECHNICS PVT. LTD. (GSTN-27AADCP1420F1ZW) BID ID -720765 |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)--720413 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--720650
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I FMC of Internal and External Electrical installations
1.01 | Monitoring and Maintenance of Internal and External Electrical Installations at Various Locations (As per List of Inventories) as per Duty Roaster approved by Engineer-In-Charge (Duty Timing - 8 Hours For One Shift) for 100% Serviceability i/c providing consumable material like cotton waste, oil, grease, LT and HT Insulation Tapes and other Sundry Material required for cleaning etc., providing required Tools and Plants, Instruments for Measuring/Testing etc., attending Faults / Breakdown of Equipment / Repairs / Replacement of defective components of Electrical Installations/Wiring/Rewiring with AAI Supplied Components, ensuring satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the Installations etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge (EIC) as required.
1.02 | AAI Buildings / Offices / Accommodations as per Techno Commercial Specifications | 24.00 | Months | 735855.00 | 787129.00 | 18891096.00 | 774087.00 | 18578088.00 | 738036.00 | 17712864.00 | 777352.00 | 18656448.00 | 738452.00 | 17722848.00 | 804799.00 | 19315176.00 | 17712864.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.03 | CISF Buildings / Offices / Accommodations as per Techno Commercial Specifications | 24.00 | Months | 232860.00 | 249459.00 | 5987016.00 | 321975.00 | 7727400.00 | 235873.00 | 5660952.00 | 299540.00 | 7188960.00 | 284609.00 | 6830616.00 | 296640.00 | 7119360.00 | 5660952.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | SH-II Painting, Repainting, Rewinding & Miscellaneous Works
2.01 | Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in two coats with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 100.00 | Sq mtr |  | 159.00 | 15900.00 | 182.00 | 18200.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 109.00 | 10900.00 | 330.00 | 33000.00 | 5000.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Rewinding of following fans as per original characteristics with super enamelled copper wire and `E' class insulation material, replacement of the worn out bearing etc. as required i/c dismantling, making arrangement for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required).
3.01 | Exhaust fan ( 300mm/450mm Sweep) | 10.00 | Each |  | 699.00 | 6990.00 | 666.00 | 6660.00 | 400.00 | 4000.00 | 550.00 | 5500.00 | 999.00 | 9990.00 | 450.00 | 4500.00 | 4000.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.02 | Ceiling fan (1050mm /1200mm Sweep) | 50.00 | Each |  | 699.00 | 34950.00 | 666.00 | 33300.00 | 450.00 | 22500.00 | 550.00 | 27500.00 | 999.00 | 49950.00 | 400.00 | 20000.00 | 20000.00 | ABHISHEK INTEGRATIONS LIMITED
3.03 | Wall mounted fan/pedestal fan (300mm/450 mm Sweep) | 10.00 | Each |  | 999.00 | 9990.00 | 1090.00 | 10900.00 | 600.00 | 6000.00 | 550.00 | 5500.00 | 999.00 | 9990.00 | 450.00 | 4500.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
3.04 | Air Circulator (450mm/600mm Sweep) | 10.00 | Each |  | 999.00 | 9990.00 | 1090.00 | 10900.00 | 750.00 | 7500.00 | 550.00 | 5500.00 | 999.00 | 9990.00 | 500.00 | 5000.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Providing Labour and Hire Charges for deploying Excavator (JCB) i/c Operator for tracing the cable faults, excavation and refilling of Cable trench after work etc., as required. | 20.00 | Hrs |  | 1999.00 | 39980.00 | 1418.00 | 28360.00 | 1200.00 | 24000.00 | 1250.00 | 25000.00 | 999.00 | 19980.00 | 1100.00 | 22000.00 | 19980.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Providing Labour and Hire Charges for deploying Gas Cutting MACHINE i/c Cutter, Gases in Cylinder etc., for cutting of Chequered Plates, MS Angles as required. | 10.00 | Hrs |  | 1999.00 | 19990.00 | 1681.00 | 16810.00 | 1800.00 | 18000.00 | 1250.00 | 12500.00 | 250.00 | 2500.00 | 2750.00 | 27500.00 | 2500.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | Providing labour and hire charges for deploying Crane (upto 10 Ton) i/c operator for lifting/ Shifting of Equipments/ Cable Drums, etc., as required. | 10.00 | Hrs |  | 2999.00 | 29990.00 | 1831.00 | 18310.00 | 1400.00 | 14000.00 | 1250.00 | 12500.00 | 1500.00 | 15000.00 | 5500.00 | 55000.00 | 12500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.00 | Locating the Cable fault on LT feeder cables laid directly in ground / duct / pipe including providing Cable Fault Tracer (Rental), Technical Manpower etc., as required. | 4.00 | Job |  | 24999.00 | 99996.00 | 33899.00 | 135596.00 | 30000.00 | 120000.00 | 20000.00 | 80000.00 | 29000.00 | 116000.00 | 16500.00 | 66000.00 | 66000.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | SH: III SUPPLY OF SPARE PARTS FOR MAINTENANCE & REPAIR WORKS (AS AND WHEN REQUIRED BASIS ONLY)
8.01 | Supply of 300mm sweep, metallic exhaust fan of minimum 1400 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. as required. | 30.00 | Each |  | 1939.00 | 58170.00 | 2936.00 | 88080.00 | 2260.00 | 67800.00 | 2250.00 | 67500.00 | 2499.00 | 74970.00 | 2647.00 | 79410.00 | 58170.00 | CHENNAI ENGINEERING SERVICES
9.00 | Supply of 450mm sweep, metallic exhaust fan of minimum 1400 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. as required. | 20.00 | Each |  | 3879.00 | 77580.00 | 4359.00 | 87180.00 | 4020.00 | 80400.00 | 3600.00 | 72000.00 | 3999.00 | 79980.00 | 3067.00 | 61340.00 | 61340.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supply of 1200mm sweep, BLDC BEE 5 star rated ceiling fan suitable for 230 Volt 50 Hz AC Supply, with minimum 350 RPM and minimum Air delivery of 220 CMM with 30 cm down rod and other accessories, canopies, with out regulator etc. complete as required. | 40.00 | Each |  | 3009.00 | 120360.00 | 2161.00 | 86440.00 | 2040.00 | 81600.00 | 4000.00 | 160000.00 | 2299.00 | 91960.00 | 2508.00 | 100320.00 | 81600.00 | LAKSHMI ELECTRICAL ENTERPRISES
11.00 | Supply of 1400mm sweep, BLDC BEE 5 star rated ceiling fan suitable for 230 Volt 50 Hz AC Supply, with minimum 300 RPM and minimum Air delivery of 240 CMM minimum with 30 cm down rod and other accessories, canopies, with out regulator etc. complete as required. | 20.00 | Each |  | 3399.00 | 67980.00 | 1695.00 | 33900.00 | 3150.00 | 63000.00 | 4500.00 | 90000.00 | 2600.00 | 52000.00 | 2741.00 | 54820.00 | 33900.00 | Blue Star Limited
12.00 | Supply of 450mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 150 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 5.00 | Each |  | 3879.00 | 19395.00 | 5328.00 | 26640.00 | 4890.00 | 24450.00 | 6000.00 | 30000.00 | 3999.00 | 19995.00 | 1902.00 | 9510.00 | 9510.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Supply of 600mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 250 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 5.00 | Each |  | 5049.00 | 25245.00 | 5594.00 | 27970.00 | 5950.00 | 29750.00 | 7500.00 | 37500.00 | 5999.00 | 29995.00 | 2470.00 | 12350.00 | 12350.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supply of 400mm sweep Pedestal fan with minimum 1350 RPM suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 10.00 | Each |  | 2719.00 | 27190.00 | 2603.00 | 26030.00 | 2200.00 | 22000.00 | 3500.00 | 35000.00 | 2500.00 | 25000.00 | 4894.00 | 48940.00 | 22000.00 | LAKSHMI ELECTRICAL ENTERPRISES
15.00 | Supply of 400mm sweep wall mounted fan with minimum 1350 RPM suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required.. | 20.00 | Each |  | 2329.00 | 46580.00 | 2119.00 | 42380.00 | 1790.00 | 35800.00 | 3500.00 | 70000.00 | 2000.00 | 40000.00 | 5453.00 | 109060.00 | 35800.00 | LAKSHMI ELECTRICAL ENTERPRISES
16.00 | Supply of LED flood light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 16500 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT of 5665 ± 355 Kelvin, CRI not less than 70, provided with 4 KV internal Surge Protection and 10 KV external surge protection, IP 66 Ingress Protection complete with all accessories etc., and meeting the techno commercial specifications as required. | 20.00 | Each |  | 9319.00 | 186380.00 | 4068.00 | 81360.00 | 4750.00 | 95000.00 | 3000.00 | 60000.00 | 5700.00 | 114000.00 | 4901.00 | 98020.00 | 60000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
17.00 | Supply of LED flood light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 8800 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT of 5665 ± 355 Kelvin, CRI not less than 70, provided with 4 KV internal Surge Protection and 10 KV external surge protection, IP 66 Ingress Protection complete with all accessories etc., and meeting the techno commercial specifications as required. | 20.00 | Each |  | 4849.00 | 96980.00 | 3875.00 | 77500.00 | 2850.00 | 57000.00 | 4000.00 | 80000.00 | 3399.00 | 67980.00 | 3025.00 | 60500.00 | 57000.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | Supply of LED flood light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 3300 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT of 5665 ± 355 Kelvin, CRI not less than 70, provided with 4 KV internal Surge Protection and 10 KV external surge protection, IP 66 Ingress Protection complete with all accessories etc., and meeting the techno commercial specifications as required. | 20.00 | Each |  | 2329.00 | 46580.00 | 690.00 | 13800.00 | 1500.00 | 30000.00 | 4000.00 | 80000.00 | 3200.00 | 64000.00 | 1331.00 | 26620.00 | 13800.00 | Blue Star Limited
19.00 | Supply of 600mm x 600mm, recess Mounted LED fixture with powder coated CRCA housing having luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 3600 Lumen suitable to operate 140 – 270V AC supply, LED Colour Temperature from 5700K- 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the technical specifications as required. | 20.00 | Each |  | 2619.00 | 52380.00 | 690.00 | 13800.00 | 1450.00 | 29000.00 | 1750.00 | 35000.00 | 2200.00 | 44000.00 | 1694.00 | 33880.00 | 13800.00 | Blue Star Limited
20.00 | Supply of 4 feet LED batten made of extruded aluminium housing having luminaire efficacy of not less than 110 lm/W and minimum Lumen Output of 2000 Lumen suitable to operate 150 – 270V AC supply, LED Colour Temperature from 5700K - 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required. | 50.00 | Each |  | 489.00 | 24450.00 | 269.00 | 13450.00 | 260.00 | 13000.00 | 950.00 | 47500.00 | 1250.00 | 62500.00 | 605.00 | 30250.00 | 13000.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.00 | Supply of LED recess mount down lighter made of aluminium pressure die-cast housing with luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 1500 Lumen. suitable to operate 150 – 270V AC supply, LED Colour Temp. from 5700K- 6500K with Minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required. | 20.00 | Each |  | 879.00 | 17580.00 | 168.00 | 3360.00 | 510.00 | 10200.00 | 950.00 | 19000.00 | 1050.00 | 21000.00 | 3245.00 | 64900.00 | 3360.00 | Blue Star Limited
22.00 | Supply of B22 9 W LED GLS Bulb having efficacy of minimum 100 lm/W, CT 6500 K, suitable for 220-240 Volts AC Supply as required. | 100.00 | Each |  | 115.00 | 11500.00 | 85.00 | 8500.00 | 135.00 | 13500.00 | 100.00 | 10000.00 | 99.00 | 9900.00 | 77.00 | 7700.00 | 7700.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Supply of 2.5 MFD Capacitor for Fan operated on single phase, 230 V AC Supply as required. | 500.00 | Each |  | 15.99 | 7995.00 | 42.00 | 21000.00 | 25.00 | 12500.00 | 35.00 | 17500.00 | 50.00 | 25000.00 | 24.00 | 12000.00 | 7995.00 | CHENNAI ENGINEERING SERVICES
24.00 | Supply of following sizes PVC Casing and Capping of 1.2 mm thick as required.
24.01 | 20 X 12mm | 200.00 | Meter |  | 9.00 | 1800.00 | 36.00 | 7200.00 | 40.00 | 8000.00 | 30.00 | 6000.00 | 18.00 | 3600.00 | 22.00 | 4400.00 | 1800.00 | CHENNAI ENGINEERING SERVICES
24.02 | 25 X 16 mm | 100.00 | Meter |  | 10.00 | 1000.00 | 42.00 | 4200.00 | 60.00 | 6000.00 | 35.00 | 3500.00 | 24.00 | 2400.00 | 25.00 | 2500.00 | 1000.00 | CHENNAI ENGINEERING SERVICES
25.00 | Supply of 3 kW high-grade magnesium oxide insulated copper element Instant Electric Water Geyser of minimum 3 litres storage capacity made of inner tank of high-grade 304 Stainless Steel and Rust-proof high-quality polymer constituents outer body with all standard accessories such as pressure release valve, ISI marked thermostat, disc type snap action safety device and anti-siphon protection etc., as required. | 3.00 | Each |  | 3499.00 | 10497.00 | 3643.00 | 10929.00 | 4100.00 | 12300.00 | 3500.00 | 10500.00 | 4550.00 | 13650.00 | 2702.00 | 8106.00 | 8106.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
26.01 | 3 X 10 sq. mm | 100.00 | Meter |  | 115.00 | 11500.00 | 153.00 | 15300.00 | 135.00 | 13500.00 | 126.00 | 12600.00 | 105.00 | 10500.00 | 113.00 | 11300.00 | 10500.00 | DElite System Engineering (India) Pvt. Ltd.
26.02 | 3 X 16 sq. mm | 100.00 | Meter |  | 125.00 | 12500.00 | 157.00 | 15700.00 | 140.00 | 14000.00 | 130.00 | 13000.00 | 125.00 | 12500.00 | 122.00 | 12200.00 | 12200.00 | ABHISHEK INTEGRATIONS LIMITED
26.03 | 4 X 10 sq. mm | 100.00 | Meter |  | 145.00 | 14500.00 | 165.00 | 16500.00 | 165.00 | 16500.00 | 136.00 | 13600.00 | 179.00 | 17900.00 | 144.00 | 14400.00 | 13600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
26.04 | 4 X 16 sq. mm | 100.00 | Meter |  | 155.00 | 15500.00 | 195.00 | 19500.00 | 180.00 | 18000.00 | 161.00 | 16100.00 | 199.00 | 19900.00 | 154.00 | 15400.00 | 15400.00 | ABHISHEK INTEGRATIONS LIMITED
26.05 | 4 X 25 sq. mm | 200.00 | Meter |  | 195.00 | 39000.00 | 254.00 | 50800.00 | 220.00 | 44000.00 | 210.00 | 42000.00 | 179.00 | 35800.00 | 194.00 | 38800.00 | 35800.00 | DElite System Engineering (India) Pvt. Ltd.
26.06 | 3½ X 35 sq. mm | 200.00 | Meter |  | 235.00 | 47000.00 | 294.00 | 58800.00 | 260.00 | 52000.00 | 275.00 | 55000.00 | 209.00 | 41800.00 | 229.00 | 45800.00 | 41800.00 | DElite System Engineering (India) Pvt. Ltd.
26.07 | 3½ X 95 sq. mm | 100.00 | Meter |  | 535.00 | 53500.00 | 654.00 | 65400.00 | 625.00 | 62500.00 | 500.00 | 50000.00 | 499.00 | 49900.00 | 521.00 | 52100.00 | 49900.00 | DElite System Engineering (India) Pvt. Ltd.
26.08 | 3½ X 120 sq. mm | 100.00 | Meter |  | 645.00 | 64500.00 | 814.00 | 81400.00 | 795.00 | 79500.00 | 600.00 | 60000.00 | 609.00 | 60900.00 | 653.00 | 65300.00 | 60000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
27.00 | Supply of Copper Conductor, FR PVC insulated, PVC sheathed, un-armoured power cable of 1.1 KV grade of following Sizes conforming to IS 694 as amended upto date as required.
27.01 | 3 x 1.5 sq.mm | 500.00 | Meter |  | 84.90 | 42450.00 | 67.00 | 33500.00 | 60.00 | 30000.00 | 55.00 | 27500.00 | 81.00 | 40500.00 | 53.00 | 26500.00 | 26500.00 | ABHISHEK INTEGRATIONS LIMITED
27.02 | 3 x 2.5 sq.mm | 500.00 | Meter |  | 125.00 | 62500.00 | 103.00 | 51500.00 | 90.00 | 45000.00 | 85.00 | 42500.00 | 112.00 | 56000.00 | 92.00 | 46000.00 | 42500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
27.03 | 3 x 4.0 sq.mm | 200.00 | Meter |  | 175.00 | 35000.00 | 159.00 | 31800.00 | 145.00 | 29000.00 | 125.00 | 25000.00 | 166.00 | 33200.00 | 139.00 | 27800.00 | 25000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
27.04 | 4 x 4.0 sq.mm | 100.00 | Meter |  | 225.00 | 22500.00 | 209.00 | 20900.00 | 180.00 | 18000.00 | 160.00 | 16000.00 | 199.00 | 19900.00 | 198.00 | 19800.00 | 16000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
27.05 | 3 x 6.0 sq.mm | 100.00 | Meter |  | 255.00 | 25500.00 | 234.00 | 23400.00 | 200.00 | 20000.00 | 175.00 | 17500.00 | 239.00 | 23900.00 | 223.00 | 22300.00 | 17500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
28.00 | Supply of following sizes Single core flexible copper conductor Flame Retardent Low Smoke (FRLS) PVC insulated wires of 1.1 K Grade conforming to IS:694 as required.
28.01 | 1.5 sq.mm | 500.00 | Meter |  | 23.90 | 11950.00 | 19.00 | 9500.00 | 20.00 | 10000.00 | 18.00 | 9000.00 | 75.00 | 37500.00 | 18.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED, PREMIER ENGINEERING TECHNICS PVT. LTD.
28.02 | 2.5 sq.mm | 500.00 | Meter |  | 39.00 | 19500.00 | 31.00 | 15500.00 | 30.00 | 15000.00 | 25.00 | 12500.00 | 99.00 | 49500.00 | 28.00 | 14000.00 | 12500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
28.03 | 4 sq.mm | 300.00 | Meter |  | 49.00 | 14700.00 | 48.00 | 14400.00 | 35.00 | 10500.00 | 40.00 | 12000.00 | 156.00 | 46800.00 | 40.00 | 12000.00 | 10500.00 | LAKSHMI ELECTRICAL ENTERPRISES
28.04 | 6 sq.mm | 100.00 | Meter |  | 59.00 | 5900.00 | 71.00 | 7100.00 | 60.00 | 6000.00 | 60.00 | 6000.00 | 269.00 | 26900.00 | 61.00 | 6100.00 | 5900.00 | CHENNAI ENGINEERING SERVICES
29.00 | Supply of following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load and suitable to fix in the existing MCB DB as required.
29.01 | (0-32) A SP | 150.00 | Each |  | 145.00 | 21750.00 | 336.00 | 50400.00 | 120.00 | 18000.00 | 200.00 | 30000.00 | 280.00 | 42000.00 | 107.00 | 16050.00 | 16050.00 | ABHISHEK INTEGRATIONS LIMITED
29.02 | 40A DP | 5.00 | Each |  | 495.00 | 2475.00 | 835.00 | 4175.00 | 550.00 | 2750.00 | 650.00 | 3250.00 | 999.00 | 4995.00 | 562.00 | 2810.00 | 2475.00 | CHENNAI ENGINEERING SERVICES
29.03 | 63A DP | 5.00 | Each |  | 695.00 | 3475.00 | 932.00 | 4660.00 | 630.00 | 3150.00 | 1350.00 | 6750.00 | 1200.00 | 6000.00 | 625.00 | 3125.00 | 3125.00 | ABHISHEK INTEGRATIONS LIMITED
29.04 | 40A TP | 5.00 | Each |  | 1295.00 | 6475.00 | 1332.00 | 6660.00 | 870.00 | 4350.00 | 1250.00 | 6250.00 | 1200.00 | 6000.00 | 827.00 | 4135.00 | 4135.00 | ABHISHEK INTEGRATIONS LIMITED
29.05 | 40A FP | 10.00 | Each |  | 1495.00 | 14950.00 | 1792.00 | 17920.00 | 1100.00 | 11000.00 | 1650.00 | 16500.00 | 1800.00 | 18000.00 | 1074.00 | 10740.00 | 10740.00 | ABHISHEK INTEGRATIONS LIMITED
29.06 | 63A FP | 10.00 | Each |  | 1495.00 | 14950.00 | 1877.00 | 18770.00 | 1200.00 | 12000.00 | 1750.00 | 17500.00 | 1800.00 | 18000.00 | 1140.00 | 11400.00 | 11400.00 | ABHISHEK INTEGRATIONS LIMITED
30.00 | Supply of following Modular switches, Modular sockets, PVC boxes, Modular base & cover plates etc. as required
30.01 | Supply of 10A Modular Switch, Anchor Roma make code No. 21011 or equivalent. | 200.00 | Each |  | 45.00 | 9000.00 | 61.00 | 12200.00 | 40.00 | 8000.00 | 50.00 | 10000.00 | 79.00 | 15800.00 | 35.00 | 7000.00 | 7000.00 | ABHISHEK INTEGRATIONS LIMITED
30.02 | Supply of 20A Modular Switch, Anchor Roma make code No. 21066 or equivalent. | 150.00 | Each |  | 115.00 | 17250.00 | 109.00 | 16350.00 | 90.00 | 13500.00 | 120.00 | 18000.00 | 99.00 | 14850.00 | 91.00 | 13650.00 | 13500.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.03 | Supply of 10A Modular Socket, Anchor Roma make code No. 21102 or equivalent. | 100.00 | Each |  | 95.00 | 9500.00 | 109.00 | 10900.00 | 80.00 | 8000.00 | 120.00 | 12000.00 | 145.00 | 14500.00 | 79.00 | 7900.00 | 7900.00 | ABHISHEK INTEGRATIONS LIMITED
30.04 | Supply of 25A & 10A Modular Twin Socket, Anchor Roma make code No. 30828 or equivalent. | 100.00 | Each |  | 145.00 | 14500.00 | 170.00 | 17000.00 | 140.00 | 14000.00 | 175.00 | 17500.00 | 252.00 | 25200.00 | 142.00 | 14200.00 | 14000.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.05 | Dummy plate, Anchor Roma make code No. 21598 or equivalent. | 50.00 | Each |  | 9.00 | 450.00 | 30.00 | 1500.00 | 20.00 | 1000.00 | 25.00 | 1250.00 | 35.00 | 1750.00 | 20.00 | 1000.00 | 450.00 | CHENNAI ENGINEERING SERVICES
30.06 | 1 or 2 Module PVC box, Anchor Roma make code No. 21281or equivalent. | 50.00 | Each |  | 95.00 | 4750.00 | 48.00 | 2400.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 51.00 | 2550.00 | 2000.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.07 | 3 Module PVC box, Anchor Roma make code No. 20449 or equivalent. | 100.00 | Each |  | 145.00 | 14500.00 | 85.00 | 8500.00 | 50.00 | 5000.00 | 85.00 | 8500.00 | 69.00 | 6900.00 | 61.00 | 6100.00 | 5000.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.08 | 4 Module PVC box, Anchor Roma make code No. 21292 or equivalent. | 100.00 | Each |  | 195.00 | 19500.00 | 87.00 | 8700.00 | 55.00 | 5500.00 | 95.00 | 9500.00 | 99.00 | 9900.00 | 68.00 | 6800.00 | 5500.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.09 | 6 Module PVC box, Anchor Roma make code No. 30511 or equivalent. | 150.00 | Each |  | 295.00 | 44250.00 | 97.00 | 14550.00 | 70.00 | 10500.00 | 110.00 | 16500.00 | 119.00 | 17850.00 | 90.00 | 13500.00 | 10500.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.10 | 9 Module PVC box, Anchor Roma make code No. 30704 or equivalent. | 100.00 | Each |  | 395.00 | 39500.00 | 109.00 | 10900.00 | 90.00 | 9000.00 | 125.00 | 12500.00 | 129.00 | 12900.00 | 124.00 | 12400.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.11 | 12 Module PVC box, Anchor Roma make code No. 20347 or equivalent. | 20.00 | Each |  | 445.00 | 8900.00 | 120.00 | 2400.00 | 120.00 | 2400.00 | 150.00 | 3000.00 | 179.00 | 3580.00 | 157.00 | 3140.00 | 2400.00 | Blue Star Limited, LAKSHMI ELECTRICAL ENTERPRISES
30.12 | Supply of 1 or 2 Module base & cover plate, Anchor Roma make code No. 30227 WH or equivalent for modular boxes. | 50.00 | Each |  | 45.00 | 2250.00 | 121.00 | 6050.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 66.00 | 3300.00 | 2250.00 | CHENNAI ENGINEERING SERVICES
30.13 | Supply of 3 Module base & cover plate, Anchor Roma make code No. 30238 WH or equivalent for modular boxes. | 100.00 | Each |  | 95.00 | 9500.00 | 170.00 | 17000.00 | 90.00 | 9000.00 | 140.00 | 14000.00 | 199.00 | 19900.00 | 84.00 | 8400.00 | 8400.00 | ABHISHEK INTEGRATIONS LIMITED
30.14 | Supply of 4 Module base & cover plate, Anchor Roma make code No. 30249 WH or equivalent for modular boxes. | 100.00 | Each |  | 115.00 | 11500.00 | 194.00 | 19400.00 | 110.00 | 11000.00 | 160.00 | 16000.00 | 240.00 | 24000.00 | 97.00 | 9700.00 | 9700.00 | ABHISHEK INTEGRATIONS LIMITED
30.15 | Supply of 6 Module base & cover plate, Anchor Roma make code No. 30250 WH or equivalent for modular boxes. | 150.00 | Each |  | 155.00 | 23250.00 | 194.00 | 29100.00 | 140.00 | 21000.00 | 160.00 | 24000.00 | 269.00 | 40350.00 | 135.00 | 20250.00 | 20250.00 | ABHISHEK INTEGRATIONS LIMITED
30.16 | Supply of 8/9 Module base & cover plate, Anchor Roma make code No. 30384 or equivalent for modular boxes. | 100.00 | Each |  | 195.00 | 19500.00 | 218.00 | 21800.00 | 170.00 | 17000.00 | 180.00 | 18000.00 | 379.00 | 37900.00 | 173.00 | 17300.00 | 17000.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.17 | Supply of 12 Module base & cover plate, Anchor Roma make code No. 30271 or equivalent for modular boxes. | 20.00 | Each |  | 245.00 | 4900.00 | 262.00 | 5240.00 | 200.00 | 4000.00 | 160.00 | 3200.00 | 449.00 | 8980.00 | 213.00 | 4260.00 | 3200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
31.00 | SH-IV CMC & Lift License Items
32.00 | Liaising with Tamilnadu Electrical Inspectorate for getting Lift License including submission of application, Payment of Fee, co-ordination with Lift Inspector, Receipt of License, submission to EIC etc., as required. | 1.00 | Job |  | 9999.00 | 9999.00 | 10292.00 | 10292.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 19000.00 | 19000.00 | 22000.00 | 22000.00 | 9999.00 | CHENNAI ENGINEERING SERVICES
33.00 | All Inclusive Comprehensive Annual Maintenance Contract of 10 KVA 3 Phase Numeric Make UPS System installed at Ceremonial Lounge, including providing preventive maintenances as per OEM Standards and Recommendations, carrying out Breakdown Maintenance, Emergency Service etc., including supply and replacement of all necessary spares and consumables, providing technical and supporting labour, maintenance of Records, meeting the requirement of AAI to ensure 100% Serviceability etc., complete as required. | 12.00 | Months |  | 3499.00 | 41988.00 | 6054.00 | 72648.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 1200.00 | 14400.00 | 2383.00 | 28596.00 | 14400.00 | DElite System Engineering (India) Pvt. Ltd.
34.00 | SH-V DSR E&M 2022 ITEMS
35.00 | Execution of Items of CPWD Delhi Schedule Rates (DSR) E&M 2022 as and when required for attending Repair and Maintenance, Breakdowns and Upkeep of Internal and External Electrical Installations as per Direction of Engineer-In-Charge at All Locations under Chennai Airport conforming to CPWD General Specifications for Electrical Works Part-I (Internal) 2023, Part-II (External) 2023 and Part-IV (Substation) 2013 and also to relevant BIS Specifications. Note: The Bidder shall quote the Rate in INR only for the Job corresponding to the Base Rate (Rs. 10,00,000.00 as per Proposed Estimate) and Percentage (%) Above/ Below shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % worked out will be applied on DSR Rates while executing the DSR Items and will be paid as per Payment Methodology given in Annexure - E).
35.01 | For Year - I | 1.00 | Job |  | 1050000.00 | 1050000.00 | 944014.00 | 944014.00 | 780000.00 | 780000.00 | 800000.00 | 800000.00 | 800000.00 | 800000.00 | 1000000.00 | 1000000.00 | 780000.00 | LAKSHMI ELECTRICAL ENTERPRISES
35.02 | For Year - II | 1.00 | Job |  | 1050000.00 | 1050000.00 | 944014.00 | 944014.00 | 780000.00 | 780000.00 | 800000.00 | 800000.00 | 800000.00 | 800000.00 | 1000000.00 | 1000000.00 | 780000.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 29012592.00 |  | 30066786.00 |  | 26559266.00 |  | 29332408.00 |  | 28216349.00 |  | 30185768.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(26559266.00)

## BOQ Summary
BOQ Summary Details Tender Title: FMC of Internal and External Electrical Installations at AAI Metro Residential Colony Operational Office CISF Accommodations and All Ancillary Buildings at Chennai International Airport 2024 to 2026 Tender ID: 2024_AAI_198893_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 26559266.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 28216349.00 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 29012592.00 | L3
| 4 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 29332408.00 | L4
| 5 | Blue Star Limited | 30066786.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 30185768.00 | L6