## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 15-Jul-2024 03:27 PM Tender Title: Replacement of Fire Alarm system and Auto dialer at MSSR Katihar Airport. Tender ID: 2024_AAI_198964_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Replacement of Fire Alarm system and Auto dialer at MSSR Katihar Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Globe Detective Agency Pvt. Ltd. (GSTN-19AAACG1108N1ZN) BID ID -713317 |  | ARC SERVICESS(GSTN-NA)--715322
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & Commissioning of 06 Zone Fire Alarm Control Panel, with LCD display,The panel should be equiped with each zone capacity to take minimum 20 intellegent conventational detectors/ devices in one loop. The panel shall have inbuilt power supply and battery charger etc as required. | 1.00 | Each |  | 13750.00 | 13750.00 | 32500.00 | 32500.00 | 13750.00 | Globe Detective Agency Pvt. Ltd.
2.00 | Supplying, Installation, and commissioning of conventational Smoke detector with Standard Universal base LED. etc. Suitable for continuous operation etc.as required as per specification. | 52.00 | Each |  | 1250.00 | 65000.00 | 850.00 | 44200.00 | 44200.00 | ARC SERVICESS
3.00 | Supplying, Installation, Testing and commissioning of conventational Manual Call Box/Point suitable for continuous monitoring including necessary connections etc. required as per specification. | 3.00 | Each |  | 650.00 | 1950.00 | 850.00 | 2550.00 | 1950.00 | Globe Detective Agency Pvt. Ltd.
4.00 | Supplying, Installation, Testing and commissioning of conventational electronic Hooter with Speaker with range of 25-30 meters with 4 Watt Output including connections etc. required as per specification. | 3.00 | Each |  | 1250.00 | 3750.00 | 850.00 | 2550.00 | 2550.00 | ARC SERVICESS
5.00 | Supply, Installation, Testing and Commissioning of micro-controller type SIM Based Speech and Auto dialer for immediate communicating the pre recorded alarm speech messages and SMS to pre-feed minimum 10 telephone/mobile numbers in predefined sequences or at the same moment suitable for the Control Panel and Detectors | 2.00 | Each |  | 10950.00 | 21900.00 | 12500.00 | 25000.00 | 21900.00 | Globe Detective Agency Pvt. Ltd.
6.00 | Supplying & laying of 2C X 1.5 sqmm fire survival armoured cable, 600 / 1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, galvanised steel wire armouring & LSZH outer sheath , in existing conduits / surface/ recess / above false ceiling /concealed space/wall concealed for all fire detection and alarm devices and interconnecting etc as required. | 350.00 | Meter |  | 165.00 | 57750.00 | 110.00 | 38500.00 | 38500.00 | ARC SERVICESS
| Total in Figures |  |  |  |  | 164100.00 |  | 145300.00
Lowest Amount Quoted BY: ARC SERVICESS(145300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Fire Alarm system and Auto dialer at MSSR Katihar Airport. Tender ID: 2024_AAI_198964_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARC SERVICESS | 145300.00 | L1
| 2 | Globe Detective Agency Pvt. Ltd. | 164100.00 | L2