## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 18-Jul-2024 12:55 PM Tender Title: FMC of 4 X 100 TR AC Plant and ACMC for Window Split Cassette Ductable Split Air Conditioner and Water Coolers at Chennai Airport Tender ID: 2024_AAI_199094_1
Tender Inviting Authority: AGM (Engg - Elect), Airports Authority of India, Chennai Airport, Chennai.
Name of Work: FMC of 4 X 100 TR AC Plant and ACMC for Window, Split, Cassette, Ductable Split Air Conditioner & Water Coolers at Chennai International Airport (2024-2026).
Tender ID: 2024_AAI_199094_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED (GSTN-33AABCG0898A1Z0) BID ID -718700 |  | M/s Cooltec (GSTN-33CZOPS9421C1Z6) BID ID -719459 |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)--719548 |  | Bluestar Limited(GSTN-NA)--718752
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I FMC for 4X100 TR HVAC System in Admin Block
1.01 | Monitoring and Maintenance of Utility Services of HVAC System in AAI Admin Block (As per - List of Inventories) on 2 Shift Basis (Timing as decided by Engineer In Charge - Duty Timing for One Shift: 8 Hours in a Day) for 100% Serviceability i/c providing consumable material like cotton waste, oil, grease, Insulation Tapes and other Sundry Material required for cleaning etc., attending Minor Faults / Assisting OEM during Servicing and Breakdown of Equipments, ensuring satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices (Other than OEM CAMC Works) and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and Reporting as and when required, complete Upkeeping of the Installations etc., on all days except Sundays as specified and as directed by Engineer-In-Charge as required. | 24.00 | Months | 68179.00 | 80000.00 | 1920000.00 | 80000.00 | 1920000.00 | 111993.00 | 2687832.00 | 77650.00 | 1863600.00 | 1863600.00 | Bluestar Limited
2.00 | SH-II FMC & CMC for Air conditioners and Water coolers
2.01 | Monitoring and Maintenance of AC Installations (Various Capacity of Window ACs/Split ACs/Cassette ACs/Water Coolers etc.,) at Various Locations at Chennai Airport (As per - List of Inventories) on 8 Hours Day Shift Basis (Timing as decided by Engineer In Charge) for 100% Serviceability i/c providing Consumable and other Sundry Material required for Cleaning, attending Faults / Breakdown of Equipments, ensuring satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and Reporting as and when required, complete Upkeeping of the Installations etc., on all days except Sundays as specified and as directed by Engineer-In-Charge as required. (Supply of Materials other than Cleaning Materials is NOT in the Scope of Item) | 24.00 | Months | 259414.00 | 260000.00 | 6240000.00 | 270000.00 | 6480000.00 | 260000.00 | 6240000.00 | 268200.00 | 6436800.00 | 6240000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED, DElite System Engineering (India) Pvt. Ltd.
3.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of following Type Air- Conditioners including Supply of all necessary Spares (Both Electrical and Mechanical), Consumables (Gas/Oil-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils, Controls Systems etc.), To Carry Out Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manu\facturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost) [Rate is required to be quoted for Yearly Basis]
3.01 | Split Air-conditioners of 1.0 TR to 2.0 TR Capacity of different make
3.02 | First Year | 165.00 | Each |  | 1000.00 | 165000.00 | 3000.00 | 495000.00 | 499.00 | 82335.00 | 1000.00 | 165000.00 | 82335.00 | DElite System Engineering (India) Pvt. Ltd.
3.03 | Second Year | 165.00 | Each |  | 1100.00 | 181500.00 | 3000.00 | 495000.00 | 499.00 | 82335.00 | 1000.00 | 165000.00 | 82335.00 | DElite System Engineering (India) Pvt. Ltd.
3.04 | Split Air-conditioners of 1.5TR to 2.0 TR Capacity Inverter Type of different make
3.05 | First Year | 37.00 | Each |  | 1500.00 | 55500.00 | 3500.00 | 129500.00 | 700.00 | 25900.00 | 900.00 | 33300.00 | 25900.00 | DElite System Engineering (India) Pvt. Ltd.
3.06 | Second Year | 72.00 | Each |  | 1800.00 | 129600.00 | 3500.00 | 252000.00 | 700.00 | 50400.00 | 900.00 | 64800.00 | 50400.00 | DElite System Engineering (India) Pvt. Ltd.
3.07 | High wall Split Air-conditioners of 3.0 TR Capacity of different make
3.08 | First Year | 20.00 | Each |  | 1600.00 | 32000.00 | 3500.00 | 70000.00 | 999.00 | 19980.00 | 1500.00 | 30000.00 | 19980.00 | DElite System Engineering (India) Pvt. Ltd.
3.09 | Second Year | 20.00 | Each |  | 1900.00 | 38000.00 | 3500.00 | 70000.00 | 999.00 | 19980.00 | 1500.00 | 30000.00 | 19980.00 | DElite System Engineering (India) Pvt. Ltd.
3.10 | Split type Vertical Air-conditioners of 3/4.0 TR Capacity of different make
3.11 | First Year | 12.00 | Each |  | 2500.00 | 30000.00 | 5000.00 | 60000.00 | 999.00 | 11988.00 | 1750.00 | 21000.00 | 11988.00 | DElite System Engineering (India) Pvt. Ltd.
3.12 | Second Year | 14.00 | Each |  | 2700.00 | 37800.00 | 5000.00 | 70000.00 | 999.00 | 13986.00 | 1750.00 | 24500.00 | 13986.00 | DElite System Engineering (India) Pvt. Ltd.
3.13 | 3 Phase, 3.0/ 4.0 Ton Cassette Type Air-Conditioners of different make
3.14 | First Year | 4.00 | Each |  | 2800.00 | 11200.00 | 5000.00 | 20000.00 | 1500.00 | 6000.00 | 1740.00 | 6960.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
3.15 | Second Year | 6.00 | Each |  | 3000.00 | 18000.00 | 5000.00 | 30000.00 | 1700.00 | 10200.00 | 1750.00 | 10500.00 | 10200.00 | DElite System Engineering (India) Pvt. Ltd.
3.16 | Ductable Type Air-Conditioners of 6.0 TR Capacity
3.17 | First Year | 2.00 | Each |  | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
3.18 | Second Year | 2.00 | Each |  | 4200.00 | 8400.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
3.19 | Ductable type Air-Conditioners of 9.0 TR Capacity
3.20 | First Year | 9.00 | Each |  | 5000.00 | 45000.00 | 6000.00 | 54000.00 | 2000.00 | 18000.00 | 4500.00 | 40500.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
3.21 | Second Year | 9.00 | Each |  | 5200.00 | 46800.00 | 6000.00 | 54000.00 | 2000.00 | 18000.00 | 4500.00 | 40500.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
3.22 | Ductable type Air- Conditioners of 16.5 TR Capacity
3.23 | First Year | 5.00 | Each |  | 10000.00 | 50000.00 | 7000.00 | 35000.00 | 2000.00 | 10000.00 | 8000.00 | 40000.00 | 10000.00 | DElite System Engineering (India) Pvt. Ltd.
3.24 | Second Year | 5.00 | Each |  | 12000.00 | 60000.00 | 7000.00 | 35000.00 | 2000.00 | 10000.00 | 8000.00 | 40000.00 | 10000.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Voltage Stabilizer upto 5KVA Capacity suitable for Window/Split ACs including Repair/Replacement of Components etc., as required at site.
4.01 | First Year | 150.00 | Each |  | 100.00 | 15000.00 | 200.00 | 30000.00 | 399.00 | 59850.00 | 350.00 | 52500.00 | 15000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
4.02 | Second Year | 150.00 | Each |  | 150.00 | 22500.00 | 200.00 | 30000.00 | 399.00 | 59850.00 | 350.00 | 52500.00 | 22500.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
5.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Kelby/Conway Make Water Cooler of Storage Tank Capacity of 80 Liters and RO Purification at 50 LPH Capacity including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical ( Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon & Spun)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils/Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost and Membrane) [Rate is required to be quoted for Yearly Basis]
5.01 | First Year | 38.00 | Each |  | 1500.00 | 57000.00 | 2000.00 | 76000.00 | 1500.00 | 57000.00 | 3500.00 | 133000.00 | 57000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED, DElite System Engineering (India) Pvt. Ltd.
5.02 | Second Year | 38.00 | Each |  | 1800.00 | 68400.00 | 2000.00 | 76000.00 | 1500.00 | 57000.00 | 3500.00 | 133000.00 | 57000.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Zero B Make Eco Chill 40-80-40 / Eco Chill 150-150-150 Cold / Eco Chill 40-120-150 WCN Models Water Coolers with Storage Tank Capacity 80/120/150 Liters and RO Purification with HRR & ESS Technology at 150 LPH Capacity including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical ( Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon/Spun/NOVA Cartridge)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils/Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost and Membrane) [Rate is required to be quoted for Yearly Basis]
6.01 | First Year | 6.00 | Each |  | 1200.00 | 7200.00 | 2000.00 | 12000.00 | 2000.00 | 12000.00 | 8500.00 | 51000.00 | 7200.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
6.02 | Second Year | 14.00 | Each |  | 1500.00 | 21000.00 | 2000.00 | 28000.00 | 2000.00 | 28000.00 | 8500.00 | 119000.00 | 21000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
7.00 | All Inclusive (Except Site Labour) Annual Comprehensive Maintenance of Kelby/Conway Make Normal Hot/Cold Water Cooler of Storage Tank Capacity upto 80 Liters including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical ( Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon & Spun)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/Fan/Motors/Cooling Coils/Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. (Man Power Required at SITE is NOT in the Scope of Item-Excluding Airport Site Labour Cost and Membrane) [Rate is required to be quoted for Yearly Basis}
7.01 | First Year | 10.00 | Each |  | 1400.00 | 14000.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 3700.00 | 37000.00 | 14000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
7.02 | Second Year | 12.00 | Each |  | 1600.00 | 19200.00 | 2000.00 | 24000.00 | 3000.00 | 36000.00 | 3700.00 | 44400.00 | 19200.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
8.00 | All Inclusive Annual Comprehensive Maintenance of Various Make 7-10 LPH Capacity RO+UV Water Purifier including Supply of all necessary Spares (Both Electrical and Mechanical), Consumables (Other than Cleaning Materials), Major Components Including Membrane, To Carry Out Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. [Rate is required to be quoted for Yearly Basis]
8.01 | First Year | 2.00 | Each |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 3000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
8.02 | Second Year | 3.00 | Each |  | 1700.00 | 5100.00 | 2500.00 | 7500.00 | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 5100.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
9.00 | SH-III SUPPLY OF MATERIALS
9.10 | Supply of 80/100 GPD Membrane suitable for Kelby / Conway Make RO Type Water Coolers as required. | 100.00 | Each |  | 550.00 | 55000.00 | 200.00 | 20000.00 | 900.00 | 90000.00 | 857.00 | 85700.00 | 20000.00 | M/s Cooltec
10.00 | Supply of 300 GPD Membrane suitable for Conway/kelby Make RO Type Water Coolers as required. | 300.00 | Each |  | 750.00 | 225000.00 | 250.00 | 75000.00 | 1599.00 | 479700.00 | 1500.00 | 450000.00 | 75000.00 | M/s Cooltec
11.00 | Supply of 100 GPD RO Membrane of make Ion Exchange as and when required for ZERO B make ECO Chill 40-120-150 WCN RO water cooler. | 22.00 | Each |  | 1200.00 | 26400.00 | 200.00 | 4400.00 | 1500.00 | 33000.00 | 1428.00 | 31416.00 | 4400.00 | M/s Cooltec
12.00 | Supply of 300 GPD RO Membrane of make Ion Exchange as and when required for ZERO B make ECO Chill 40-120-150 WCN RO water cooler. | 66.00 | Each |  | 1500.00 | 99000.00 | 150.00 | 9900.00 | 2300.00 | 151800.00 | 2000.00 | 132000.00 | 9900.00 | M/s Cooltec
13.00 | Supply of Pressure pump of model NSF-400L/H-ECO SM 100/150 LTR as and when required for ZERO B make ECO Chill 40-120-150 WCN RO water cooler. | 2.00 | Each |  | 1800.00 | 3600.00 | 38000.00 | 76000.00 | 20000.00 | 40000.00 | 1714.00 | 3428.00 | 3428.00 | Bluestar Limited
14.00 | Supply of cordless remote suitable for different make 1.5/2.0 TR/3.0TR split type/window type/tower type/cassette A/C units as required as per Site Requirement. | 30.00 | Each |  | 1000.00 | 30000.00 | 100.00 | 3000.00 | 750.00 | 22500.00 | 870.00 | 26100.00 | 3000.00 | M/s Cooltec
15.00 | Supply of Refrigerant copper piping of suitable size and thickness as per OEM Recommendation to connect indoor and outdoor units, including Insulation of 9mm thick nitrile rubber and protective external covering with Cotton tape all necessary supports/fittings etc., as required. (Material Cost of Brazing to be included in the Quote)
15.01 | Suction Tube & Liquid Tube for 1.5 TR AC | 100.00 | Meter |  | 800.00 | 80000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 870.00 | 87000.00 | 25000.00 | DElite System Engineering (India) Pvt. Ltd.
15.02 | Suction Tube & Liquid Tube for 2 TR AC | 30.00 | Meter |  | 900.00 | 27000.00 | 350.00 | 10500.00 | 356.00 | 10680.00 | 935.00 | 28050.00 | 10500.00 | M/s Cooltec
15.03 | Suction Tube & Liquid Tube for 3 TR & 4 TR AC | 25.00 | Meter |  | 1100.00 | 27500.00 | 450.00 | 11250.00 | 580.00 | 14500.00 | 1070.00 | 26750.00 | 11250.00 | M/s Cooltec
16.00 | Supply of Insulation of 9mm thick nitrile rubber and Cotton tape protective external covering with all necessary supports/fittings etc. as required.
16.01 | Suction Tube & Liquid Tube for 1.5 TR AC | 300.00 | Meter |  | 100.00 | 30000.00 | 50.00 | 15000.00 | 99.00 | 29700.00 | 135.00 | 40500.00 | 15000.00 | M/s Cooltec
16.02 | Suction Tube & Liquid Tube for 2 TR AC | 50.00 | Meter |  | 120.00 | 6000.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 160.00 | 8000.00 | 2500.00 | M/s Cooltec
16.03 | Suction Tube & Liquid Tube for 3 TR & 4 TR AC | 50.00 | Meter |  | 150.00 | 7500.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 175.00 | 8750.00 | 2500.00 | M/s Cooltec
17.00 | Supply of standard outdoor wall bracket with vibration pad of suitable size for Split AC Unit up-to 2 TR Capacity of ACs complete as required. | 30.00 | Each |  | 1700.00 | 51000.00 | 150.00 | 4500.00 | 750.00 | 22500.00 | 800.00 | 24000.00 | 4500.00 | M/s Cooltec
18.00 | Supply of following Refrigerant Gases for Installation of AC Units at New Location as required.
18.01 | R22 | 25.00 | KG |  | 700.00 | 17500.00 | 300.00 | 7500.00 | 850.00 | 21250.00 | 690.00 | 17250.00 | 7500.00 | M/s Cooltec
18.02 | R32 | 25.00 | KG |  | 600.00 | 15000.00 | 300.00 | 7500.00 | 850.00 | 21250.00 | 800.00 | 20000.00 | 7500.00 | M/s Cooltec
18.03 | R410A | 25.00 | KG |  | 680.00 | 17000.00 | 300.00 | 7500.00 | 850.00 | 21250.00 | 735.00 | 18375.00 | 7500.00 | M/s Cooltec
19.00 | Supply of 25 mm dia UPVC drain pipe with Insulation and fixing saddles complete as required. | 300.00 | Meter |  | 240.00 | 72000.00 | 50.00 | 15000.00 | 360.00 | 108000.00 | 225.00 | 67500.00 | 15000.00 | M/s Cooltec
| Total in Figures |  |  |  |  | 10098700.00 |  | 10903050.00 |  | 10768266.00 |  | 10729679.00
Lowest Amount Quoted BY: GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED(10098700.00)

## BOQ Summary
BOQ Summary Details Tender Title: FMC of 4 X 100 TR AC Plant and ACMC for Window Split Cassette Ductable Split Air Conditioner and Water Coolers at Chennai Airport Tender ID: 2024_AAI_199094_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 10098700.00 | L1
| 2 | Bluestar Limited | 10729679.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 10768266.00 | L3
| 4 | M/s Cooltec | 10903050.00 | L4