## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 23-Sep-2024 04:52 PM Tender Title: Annual Operation and Maintenance Contract for the E and M Installations at Bhavnagar Airport for the year 2024-26. Tender ID: 2024_AAI_199597_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Annual Operation & Maintenance Contract for the E & M Installations at Bhavnagar Airport for the year 2024-26"
Contract No: 2024_AAI_199597_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -734293 |  | Adarsh electric works (GSTN-24ABOFA4210B1Z4) BID ID -738633 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -739546 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -740541 |  | Rudraksha Enterprise (GSTN-24AANFR7954B1Z1) BID ID -741267 |  | INTEGER INFRATECH PRIVATE LIMITED (GSTN-24AADCI9972R1ZN) BID ID -741418 |  | SWASTIK ELECTROTECH PRIVATE LIMITED (GSTN-07AANCS9215R1ZF) BID ID -741427 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -741578 |  | ES SUPPORT PRIVATE LIMITED(GSTN-NA)--741256 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--741635
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation and Maintenance of Electrical & Mechanical Installations of Terminal Building, Air Side and City Side Area of Terminal building, Power House, Car parking area, Pump Rooms, GLF Installations, Operational area, AAI Residential Colony, attending complaints / faults / breakdowns ensuring serviceability, satisfactory working condition of the system by carrying out preventive maintenance, maintaining records / documentation/ attendance records using biometric authentication as per requirement etc. on all days including Sundays and Holidays on 3 (Three) shift basis by deploying manpower (Highly Skilled-3; Skilled-5; Semi-skilled-3; Un-Skilled-6). | 24.00 | month |  | 424000.00 | 10176000.00 | 435000.00 | 10440000.00 | 440000.00 | 10560000.00 | 435000.00 | 10440000.00 | 419000.00 | 10056000.00 | 472793.00 | 11347032.00 | 501729.00 | 12041496.00 | 415000.00 | 9960000.00 | 531176.00 | 12748224.00 | 428594.00 | 10286256.00 | 9960000.00 | Manish Electricals
2.00 | Inspection, Servicing and Testing of Crompton Greaves Make 11 KV VCB through OEM or authorized service provider of OEM and submission of reports etc. complete all as required. | 6.00 | Job |  | 4000.00 | 24000.00 | 12000.00 | 72000.00 | 5000.00 | 30000.00 | 5000.00 | 30000.00 | 20000.00 | 120000.00 | 5000.00 | 30000.00 | 65000.00 | 390000.00 | 5000.00 | 30000.00 | 11800.00 | 70800.00 | 4000.00 | 24000.00 | 24000.00 | Techno Electricals, ABHISHEK INTEGRATIONS LIMITED
3.00 | Inspection, Servicing and Testing of Voltamp Make 500KVA, Transformer through OEM or authorized service provider of OEM submission of reports etc. complete all as required. | 4.00 | Job |  | 4500.00 | 18000.00 | 18000.00 | 72000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 10000.00 | 40000.00 | 50000.00 | 200000.00 | 7000.00 | 28000.00 | 14500.00 | 58000.00 | 6000.00 | 24000.00 | 18000.00 | Techno Electricals
4.00 | Filtration and Dehydration of Transformer oil of 500 KVA, 11KV/433V Distribution Transformers i/c testing the BDV and acidity before and after filtration and submission of test reports etc. complete all as required. | 4.00 | Job |  | 8000.00 | 32000.00 | 9000.00 | 36000.00 | 15000.00 | 60000.00 | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 35000.00 | 140000.00 | 7000.00 | 28000.00 | 11800.00 | 47200.00 | 7500.00 | 30000.00 | 28000.00 | Manish Electricals
5.00 | Supplying and Toping up the transformer oil in 500 KVA, 11KV/433V Distribution Transformers etc. complete all as required. | 200.00 | Ltr |  | 155.00 | 31000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 150.00 | 30000.00 | 150.00 | 30000.00 | 100.00 | 20000.00 | 290.00 | 58000.00 | 160.00 | 32000.00 | 160.00 | 32000.00 | 110.00 | 22000.00 | 20000.00 | Adarsh electric works, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED
6.00 | Inspection, Servicing, Setting, Calibration and Testing of L & T make relays (Set of 2 over current plus 1 earth fault) through OEM or authorised service provider of OEM i/c carrying out the following and submitting test reports. a) General Inspection b) Wiring Check c) IR value Test d) Continuity of plug shifting taps and plug bridge shorting contacts e) Secondary injection test i/c pick up current of IDMT element etc. | 6.00 | Job |  | 1800.00 | 10800.00 | 3500.00 | 21000.00 | 1500.00 | 9000.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 5000.00 | 30000.00 | 20000.00 | 120000.00 | 2500.00 | 15000.00 | 4720.00 | 28320.00 | 2000.00 | 12000.00 | 9000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Inspection, Servicing and Testing of 1250 Amp/1000 Amp/800 Amps L & T Make Air circuit breakers through OEM or authorized service provider of OEM i/c carrying out the following test and submission the test reports. a) General Inspection b) Wiring checking including control and indications c) IR test between poles, between pole to earth between male and female contacts d) Continuity of power contacts e) Continuity of auxiliary contacts f) Resistance measurement of tripping coil g) Closing, tripping and inter-locking testing h) Tripping through relay operation i) Secondary injection test of In-built thermal and magnetic release and calibration of the same | 6.00 | Job |  | 2300.00 | 13800.00 | 5000.00 | 30000.00 | 4500.00 | 27000.00 | 5000.00 | 30000.00 | 9000.00 | 54000.00 | 5000.00 | 30000.00 | 10000.00 | 60000.00 | 4000.00 | 24000.00 | 5900.00 | 35400.00 | 3000.00 | 18000.00 | 13800.00 | Techno Electricals
8.00 | Servicing, repairing, rewinding and replacement of defective part like bearings, bushing etc. and also transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement. (Dismantle material belongs to Contractor)
8.01 | Ceiling Fan of all Size and Type | 50.00 | Each |  | 500.00 | 25000.00 | 250.00 | 12500.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 100.00 | 5000.00 | 1.00 | 50.00 | 450.00 | 22500.00 | 480.00 | 24000.00 | 472.00 | 23600.00 | 440.00 | 22000.00 | 50.00 | INTEGER INFRATECH PRIVATE LIMITED
8.02 | Wall Fan / Pedestal Fan of all Size | 10.00 | Each |  | 600.00 | 6000.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 100.00 | 1000.00 | 1.00 | 10.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 472.00 | 4720.00 | 495.00 | 4950.00 | 10.00 | INTEGER INFRATECH PRIVATE LIMITED
8.03 | Exhaust Fan of all Size | 20.00 | Each |  | 600.00 | 12000.00 | 350.00 | 7000.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 100.00 | 2000.00 | 1.00 | 20.00 | 800.00 | 16000.00 | 500.00 | 10000.00 | 472.00 | 9440.00 | 495.00 | 9900.00 | 20.00 | INTEGER INFRATECH PRIVATE LIMITED
8.04 | 7.5 HP Submersible Motor | 3.00 | Each |  | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 4000.00 | 12000.00 | 15000.00 | 45000.00 | 1000.00 | 3000.00 | 1.00 | 3.00 | 12000.00 | 36000.00 | 5000.00 | 15000.00 | 5900.00 | 17700.00 | 5500.00 | 16500.00 | 3.00 | INTEGER INFRATECH PRIVATE LIMITED
8.05 | 10 HP Submersible Motor | 1.00 | Each |  | 6500.00 | 6500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 20000.00 | 20000.00 | 2000.00 | 2000.00 | 1.00 | 1.00 | 15000.00 | 15000.00 | 7000.00 | 7000.00 | 7500.00 | 7500.00 | 8250.00 | 8250.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
8.06 | 1 HP Pump Motor | 1.00 | Each |  | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 1.00 | 1.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 1650.00 | 1650.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | Painting of Street Light Pole of following height by applying 2 coats of Aluminium paint of approved make including pole boxes, brackets, cleaning of surface etc. as required i/c rewriting the Pole identification Serial Number etc. complete all as required.
9.01 | Upto 3 Mtr | 40.00 | Nos |  | 175.00 | 7000.00 | 150.00 | 6000.00 | 100.00 | 4000.00 | 300.00 | 12000.00 | 50.00 | 2000.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 120.00 | 4800.00 | 380.00 | 15200.00 | 275.00 | 11000.00 | 2000.00 | Rudraksha Enterprise
9.02 | Above 3 Mtr and upto 10 Mtr | 26.00 | Nos |  | 600.00 | 15600.00 | 250.00 | 6500.00 | 100.00 | 2600.00 | 500.00 | 13000.00 | 80.00 | 2080.00 | 500.00 | 13000.00 | 800.00 | 20800.00 | 250.00 | 6500.00 | 450.00 | 11700.00 | 825.00 | 21450.00 | 2080.00 | Rudraksha Enterprise
9.03 | Perimeter Lighting pole upto 3 Mtr | 147.00 | Nos |  | 200.00 | 29400.00 | 250.00 | 36750.00 | 100.00 | 14700.00 | 250.00 | 36750.00 | 100.00 | 14700.00 | 250.00 | 36750.00 | 600.00 | 88200.00 | 120.00 | 17640.00 | 360.00 | 52920.00 | 275.00 | 40425.00 | 14700.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Rudraksha Enterprise
10.00 | Painting of HIRL / MIRL / SAPL Fitting i/c base plate in installation position with two coats of synthetic enamel paint of yellow colour of approved make to given an even shade i/c cleaning the surface with detergent, removing old paints etc. complete all as required. | 279.00 | Nos |  | 65.00 | 18135.00 | 75.00 | 20925.00 | 100.00 | 27900.00 | 300.00 | 83700.00 | 50.00 | 13950.00 | 450.00 | 125550.00 | 200.00 | 55800.00 | 40.00 | 11160.00 | 590.00 | 164610.00 | 99.00 | 27621.00 | 11160.00 | Manish Electricals
11.00 | Painting of following equipment by applying two coats of synthetic enamel paint of yellow colour of approved make to given an even shade i/c cleaning the surface with detergent, removing old paints etc. complete all as required.
11.01 | PAPI Units i/c Base Plate | 8.00 | Nos |  | 1200.00 | 9600.00 | 1500.00 | 12000.00 | 100.00 | 800.00 | 300.00 | 2400.00 | 500.00 | 4000.00 | 250.00 | 2000.00 | 300.00 | 2400.00 | 650.00 | 5200.00 | 1180.00 | 9440.00 | 165.00 | 1320.00 | 800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.02 | H Indicator i/c Base Plate | 1.00 | Nos |  | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 100.00 | 100.00 | 300.00 | 300.00 | 500.00 | 500.00 | 100.00 | 100.00 | 300.00 | 300.00 | 1500.00 | 1500.00 | 1180.00 | 1180.00 | 220.00 | 220.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED
12.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pillars, distribution boards, electrical panel, frame etc. i/c cleaning the surface and two coats of grey or any other colour of approved make including rewritting/Marking the identification, Protecting and covering the electrical accessories during painting and removing after work is over etc. complete all as required. | 100.00 | sq.mtr |  | 185.00 | 18500.00 | 150.00 | 15000.00 | 50.00 | 5000.00 | 500.00 | 50000.00 | 100.00 | 10000.00 | 400.00 | 40000.00 | 800.00 | 80000.00 | 180.00 | 18000.00 | 130.00 | 13000.00 | 110.00 | 11000.00 | 5000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Decoration of Terminal building and associated area on the following special occasions / nationally important days / festivals by providing LED serial lighting and RGB type colour changing LED light, creating special effects as per the nature of occasion up to the satisfaction of EIC i/c providing and fixing of all the accessories, tools & plants, arranging manpower, transportation of materials complete as per the requirements shown below - (i) Minimum no. of LED serial lighting - not less than 5000 LED lights. (ii) RGB pattern colour changing LED lighting for pillars of terminal building and for creating special effect as per requirement. (iii) Pixel Chaser light batten (With minimum 12 colour combinations) running linearly on the top of the building for a length of not more than 200 m.
13.10 | On the occasion of Independence Day / Republic Day, Starting from the 18:00 Hrs on day before the occasion to 06:00 Hrs on the day after the occasion. | 4.00 | Job |  | 18000.00 | 72000.00 | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 15000.00 | 60000.00 | 20000.00 | 80000.00 | 30000.00 | 120000.00 | 70000.00 | 280000.00 | 22000.00 | 88000.00 | 29500.00 | 118000.00 | 38500.00 | 154000.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.20 | On the occasion of Festival / Special Day, Starting from the 18:00 Hrs of 1st day and upto 06:00 Hrs of the last day i.e. minimum 04 Nights. | 6.00 | Job |  | 18000.00 | 108000.00 | 15000.00 | 90000.00 | 5000.00 | 30000.00 | 16000.00 | 96000.00 | 20000.00 | 120000.00 | 20000.00 | 120000.00 | 100000.00 | 600000.00 | 22000.00 | 132000.00 | 23600.00 | 141600.00 | 66000.00 | 396000.00 | 30000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Tracing / Finding of cable fault of all type of 1.1 KV grade LT power cable of different sizes i.e. 3.5 x 25 Sq.mm to 3.5 x 300 Sq.mm Al cable by standard high precision cable fault locator machine. The job also includes excavation of all type of soil to dig out the Cable for rectification of fault at the location of fault etc. complete all as required. | 5.00 | Job |  | 7000.00 | 35000.00 | 9000.00 | 45000.00 | 5000.00 | 25000.00 | 10000.00 | 50000.00 | 5000.00 | 25000.00 | 500.00 | 2500.00 | 10000.00 | 50000.00 | 9000.00 | 45000.00 | 12000.00 | 60000.00 | 16500.00 | 82500.00 | 2500.00 | INTEGER INFRATECH PRIVATE LIMITED
15.00 | Calibration of PAPI Clinometer and submission of calibration certificate etc. complete all as required. | 4.00 | Job |  | 8000.00 | 32000.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 20000.00 | 80000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 12000.00 | 48000.00 | 16500.00 | 66000.00 | 18150.00 | 72600.00 | 8000.00 | Rudraksha Enterprise
16.00 | Testing, Servicing, Adjustment and calibration of different types measuring instruments such as 1000A AC Auto ranging Digital Clamp meter / 400A AC Auto ranging Digital Clamp meter / Auto ranging Digital Multimeter / Analog Insulation Tester with Battery Adaptor / Digital varnier callipers / Digital Thermometer / Digital Lux Meter and Submission of calibration certificate for each instrument etc. complete as required. | 14.00 | Job |  | 1100.00 | 15400.00 | 1500.00 | 21000.00 | 650.00 | 9100.00 | 500.00 | 7000.00 | 600.00 | 8400.00 | 250.00 | 3500.00 | 10000.00 | 140000.00 | 1000.00 | 14000.00 | 5900.00 | 82600.00 | 935.00 | 13090.00 | 3500.00 | INTEGER INFRATECH PRIVATE LIMITED
17.00 | Supply of 12 V, 180 Ah lead acid battery for DG set with minimum 2 years guarantee. | 4.00 | Nos |  | 18000.00 | 72000.00 | 16000.00 | 64000.00 | 13500.00 | 54000.00 | 20000.00 | 80000.00 | 8000.00 | 32000.00 | 1000.00 | 4000.00 | 22000.00 | 88000.00 | 15000.00 | 60000.00 | 17000.00 | 68000.00 | 14850.00 | 59400.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
18.00 | Annual Comprehensive Maintenance Contract of existing Automatic Road Traffic Barrier of following sizes including servicing and major minor repairs, supply and replacement of all spares / Electrical-Electronics components, motor, PCB card etc. and to attend breakdown / maintenance calls as and when required to ensure functioning of equipment’s through OEM or authorized service provider of OEM and submission of reports etc. complete all as required.
18.01 | 6 Mtr Boom Barrier - 01 No., Make : Technocrats Security Systems Pvt. Ltd. | 24.00 | Months |  | 1200.00 | 28800.00 | 2500.00 | 60000.00 | 2923.00 | 70152.00 | 1000.00 | 24000.00 | 2500.00 | 60000.00 | 2500.00 | 60000.00 | 8000.00 | 192000.00 | 12000.00 | 288000.00 | 5900.00 | 141600.00 | 2795.00 | 67080.00 | 24000.00 | CENTRE TAP ENGINEERING
18.02 | 8 Mtr Boom Barrier - 02 Nos., Make : Technocrats Security Systems Pvt. Ltd. | 24.00 | Months |  | 1200.00 | 28800.00 | 5000.00 | 120000.00 | 7200.00 | 172800.00 | 1500.00 | 36000.00 | 2500.00 | 60000.00 | 7500.00 | 180000.00 | 10000.00 | 240000.00 | 12000.00 | 288000.00 | 7800.00 | 187200.00 | 6875.00 | 165000.00 | 28800.00 | Techno Electricals
19.00 | Execution of Complete items of CPWD Delhi Schedule of Rates (E & M) 2022. [Up to a Ceiling limit of Rs. 1,50,000/- ex GST ]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 150000.00 | Excess (+) | 0.00 | .13 | 130500.00 | .20 | 120000.00 | .50 | 75000.00 | .50 | 75000.00 | .10 | 135000.00 | .00 | 149700.00 | .07 | 160500.00 | .20 | 120000.00 | .01 | 151500.00 | .10 | 135000.00 | 75000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 10991835.00 |  | 11442675.00 |  | 11346152.00 |  | 11474150.00 |  | 10935130.00 |  | 12454217.00 |  | 15190996.00 |  | 11327800.00 |  | 14369954.00 |  | 11737212.00
Lowest Amount Quoted BY: Rudraksha Enterprise(10935130.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for the E and M Installations at Bhavnagar Airport for the year 2024-26. Tender ID: 2024_AAI_199597_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 10935130.00 | L1
| 2 | Techno Electricals | 10991835.00 | L2
| 3 | Manish Electricals | 11327800.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 11346152.00 | L4
| 5 | Adarsh electric works | 11442675.00 | L5
| 6 | CENTRE TAP ENGINEERING | 11474150.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 11737212.00 | L7
| 8 | INTEGER INFRATECH PRIVATE LIMITED | 12454217.00 | L8
| 9 | ES SUPPORT PRIVATE LIMITED | 14369954.00 | L9
| 10 | SWASTIK ELECTROTECH PRIVATE LIMITED | 15190996.00 | L10