## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 16-Aug-2024 05:40 PM Tender Title: Repairing of faulty VCB at Goa Airport 2024 25 Tender ID: 2024_AAI_199669_1
Tender Inviting Authority: Asst General Manager (Engg-C), AAI, Goa Airport
Name of Work: Repairing of faulty VCB at Goa Airport 2024-25
Contract No: Tender ID : 2024_AAI_199669_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -722808
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation (replacement), testing & commissioning of 1 number VCB vaccum interrupter along with housing (1 phase complete bottle) of 1250A, 36 kV, 50 Hz ABB make vaccum circuit breaker (model no - VD4/W36.12.32), complete fixed module (inside panel) suitable for above VCB panel including 6 nos. female contacts, shutter assembly and all accessories after dismatling of existing fixed module, female contacts, shutter assembly & other related accessories from VCB panel as per special conditions of contract & technical specifications complete as required Quoted rate is inclusive of testing & commissioning of complete VCB panel after replacement of bottle. | 1.00 | Set |  | 350000.00 | 350000.00 | 350000.00 | Awasthi Electric Works
2.00 | Supply, installation (replacement), testing & commissioning of 1 number VCB vaccum interrupter along with housing (1 phase complete bottle) of 1250A, 36 kV, 50 Hz Jyoti make vaccum circuit breaker (model no - VY-30/25) including other required accessories complete as required as per special conditions of contract & technical specifications. Quoted rate is inclusive of testing & commissioning of complete VCB panel after replacement of bottle. | 1.00 | Set |  | 399000.00 | 399000.00 | 399000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 749000.00
Lowest Amount Quoted BY: Awasthi Electric Works(749000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairing of faulty VCB at Goa Airport 2024 25 Tender ID: 2024_AAI_199669_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 749000.00 | L1