## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 01-Aug-2024 04:33 PM Tender Title: Renovation of Community Centre with Toilet, False ceiling, Flooring, Wall cladding and development of outside area at LBSI Airport, Varanasi Tender ID: 2024_AAI_199744_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Renovation of Community centre with Toilet, False ceiling ,Flooring, Wall cladding and development of outside area at LBSI Airport , Varanasi.
Contract No: 2024_AAI_ 199744_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -720733 |  | ASHOK KUMAR SINGH (GSTN-20ABMFA8665N1ZY) BID ID -721707 |  | Maa Sharda Enterprises (GSTN-09AAVFM4065C1Z0) BID ID -722186 |  | M/s Awadhesh Construction(GSTN-NA)--719454 |  | M/s Kumar Sanjay(GSTN-NA)--717857 |  | YOGIDEV CONSTRUCTION(GSTN-NA)--722195
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.All kinds of soil | 43.10 | cum |  | 65.00 | 2801.50 | 103.00 | 4439.30 | 99.00 | 4266.90 | 130.00 | 5603.00 | 82.62 | 3560.92 | 110.00 | 4741.00 | 2801.50 | S.K. CONSTRUCTION
1.02 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m.All kinds of soil | 2050.00 | sqm |  | 6.00 | 12300.00 | 87.00 | 178350.00 | 10.00 | 20500.00 | 20.00 | 41000.00 | 11.21 | 22980.50 | 21.00 | 43050.00 | 12300.00 | S.K. CONSTRUCTION
1.03 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1)1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size | 16.88 | cum |  | 4650.00 | 78492.00 | 2728.00 | 46048.64 | 4999.00 | 84383.12 | 4600.00 | 77648.00 | 6889.39 | 116292.90 | 4970.00 | 83893.60 | 46048.64 | ASHOK KUMAR SINGH
1.04 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 7.46 | cum |  | 4150.00 | 30959.00 | 2232.00 | 16650.72 | 4321.00 | 32234.66 | 4200.00 | 31332.00 | 5167.87 | 38552.31 | 4354.00 | 32480.84 | 16650.72 | ASHOK KUMAR SINGH
1.05 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 3.36 | cum |  | 6450.00 | 21672.00 | 3100.00 | 10416.00 | 5999.00 | 20156.64 | 5500.00 | 18480.00 | 6889.39 | 23148.35 | 5784.00 | 19434.24 | 10416.00 | ASHOK KUMAR SINGH
1.06 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.08 | cum |  | 6600.00 | 7128.00 | 3596.00 | 3883.68 | 7111.00 | 7679.88 | 6100.00 | 6588.00 | 8306.64 | 8971.17 | 6945.00 | 7500.60 | 3883.68 | ASHOK KUMAR SINGH
1.07 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 7.44 | sqm |  | 120.00 | 892.80 | 120.00 | 892.80 | 199.00 | 1480.56 | 250.00 | 1860.00 | 254.26 | 1891.69 | 250.00 | 1860.00 | 892.80 | S.K. CONSTRUCTION, ASHOK KUMAR SINGH
1.08 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 12.96 | sqm |  | 150.00 | 1944.00 | 285.00 | 3693.60 | 599.00 | 7763.04 | 300.00 | 3888.00 | 654.91 | 8487.63 | 600.00 | 7776.00 | 1944.00 | S.K. CONSTRUCTION
1.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 236.14 | kg |  | 72.00 | 17002.08 | 50.00 | 11807.00 | 79.00 | 18655.06 | 92.00 | 21724.88 | 74.53 | 17599.51 | 65.00 | 15349.10 | 11807.00 | ASHOK KUMAR SINGH
1.10 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | 27.60 | cum |  | 5100.00 | 140760.00 | 3224.00 | 88982.40 | 4599.00 | 126932.40 | 5700.00 | 157320.00 | 5496.21 | 151695.40 | 2500.00 | 69000.00 | 69000.00 | YOGIDEV CONSTRUCTION
1.11 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 11.06 | cum |  | 5250.00 | 58065.00 | 3224.00 | 35657.44 | 4999.00 | 55288.94 | 6200.00 | 68572.00 | 6970.62 | 77095.06 | 5824.00 | 64413.44 | 35657.44 | ASHOK KUMAR SINGH
1.12 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 50.00 | sqm |  | 3150.00 | 157500.00 | 2666.00 | 133300.00 | 1699.00 | 84950.00 | 4100.00 | 205000.00 | 3577.27 | 178863.50 | 3284.00 | 164200.00 | 84950.00 | Maa Sharda Enterprises
1.13 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 130.09 | sqm |  | 650.00 | 84558.50 | 806.00 | 104852.54 | 649.00 | 84428.41 | 900.00 | 117081.00 | 919.65 | 119637.27 | 500.00 | 65045.00 | 65045.00 | YOGIDEV CONSTRUCTION
1.14 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). 1) Sal wood | 1.04 | sqm |  | 85000.00 | 88400.00 | 40300.00 | 41912.00 | 49999.00 | 51998.96 | 105000.00 | 109200.00 | 7000.00 | 7280.00 | 74560.00 | 77542.40 | 7280.00 | M/s Kumar Sanjay
1.15 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 57.08 | sqm |  | 1650.00 | 94182.00 | 1705.00 | 97321.40 | 1699.00 | 96978.92 | 2500.00 | 142700.00 | 2699.21 | 154070.91 | 2219.00 | 126660.52 | 94182.00 | S.K. CONSTRUCTION
1.16 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 7.20 | sqm |  | 1150.00 | 8280.00 | 1482.00 | 10670.40 | 1599.00 | 11512.80 | 2000.00 | 14400.00 | 2639.10 | 19001.52 | 1522.00 | 10958.40 | 8280.00 | S.K. CONSTRUCTION
1.17 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :300x16 mm | 28.00 | each |  | 250.00 | 7000.00 | 180.00 | 5040.00 | 99.00 | 2772.00 | 280.00 | 7840.00 | 229.54 | 6427.12 | 185.00 | 5180.00 | 2772.00 | Maa Sharda Enterprises
1.18 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :300x10 mm | 56.00 | each |  | 150.00 | 8400.00 | 34.00 | 1904.00 | 49.00 | 2744.00 | 100.00 | 5600.00 | 225.00 | 12600.00 | 78.00 | 4368.00 | 1904.00 | ASHOK KUMAR SINGH
1.19 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 | 56.00 | each |  | 50.00 | 2800.00 | 434.00 | 24304.00 | 199.00 | 11144.00 | 60.00 | 3360.00 | 53.24 | 2981.44 | 36.00 | 2016.00 | 2016.00 | YOGIDEV CONSTRUCTION
1.20 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin- chargeExtruded section profile size 48x40 mm | 32.27 | sqm |  | 300.00 | 9681.00 | 248.00 | 8002.96 | 299.00 | 9648.73 | 300.00 | 9681.00 | 7420.50 | 239459.54 | 200.00 | 6454.00 | 6454.00 | YOGIDEV CONSTRUCTION
1.21 | Providing and fixing to existing door frames. 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 9.01 | sqm |  | 1680.00 | 15136.80 | 1488.00 | 13406.88 | 2499.00 | 22515.99 | 2500.00 | 22525.00 | 7420.50 | 66858.71 | 1886.00 | 16992.86 | 13406.88 | ASHOK KUMAR SINGH
1.22 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.With 2nd class teak wood beading 62X19 mm | 66.83 | sqm |  | 950.00 | 63488.50 | 806.00 | 53864.98 | 799.00 | 53397.17 | 1400.00 | 93562.00 | 1011.65 | 67608.57 | 1016.00 | 67899.28 | 53397.17 | Maa Sharda Enterprises
1.23 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination, with necessary fixing arrangement and screws etc. complete. 1)18mm thick. | 368.56 | sqm |  | 1050.00 | 386988.00 | 1240.00 | 457014.40 | 649.00 | 239195.44 | 1000.00 | 368560.00 | 1329.06 | 489838.35 | 500.00 | 184280.00 | 184280.00 | YOGIDEV CONSTRUCTION
1.24 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5339.07 | kg |  | 80.00 | 427125.60 | 93.00 | 496533.51 | 71.00 | 379073.97 | 85.00 | 453820.95 | 110.00 | 587297.70 | 35.00 | 186867.45 | 186867.45 | YOGIDEV CONSTRUCTION
1.25 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with :5.0 mm thick glass panes (weights not less than 12.50 kg/ sqm) | 175.59 | sqm |  | 900.00 | 158031.00 | 744.00 | 130638.96 | 555.00 | 97452.45 | 800.00 | 140472.00 | 1157.18 | 203189.24 | 878.00 | 154168.02 | 97452.45 | Maa Sharda Enterprises
1.26 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 600.00 | sqm |  | 405.00 | 243000.00 | 298.00 | 178800.00 | 222.00 | 133200.00 | 550.00 | 330000.00 | 702.93 | 421758.00 | 614.00 | 368400.00 | 133200.00 | Maa Sharda Enterprises
1.27 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) :25 mm thick | 50.00 | sqm |  | 1450.00 | 72500.00 | 980.00 | 49000.00 | 888.00 | 44400.00 | 900.00 | 45000.00 | 1355.67 | 67783.50 | 1235.00 | 61750.00 | 44400.00 | Maa Sharda Enterprises
1.28 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc.complete. | 24.58 | sqm |  | 650.00 | 15977.00 | 725.00 | 17820.50 | 666.00 | 16370.28 | 800.00 | 19664.00 | 827.36 | 20336.51 | 692.00 | 17009.36 | 15977.00 | S.K. CONSTRUCTION
1.29 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | 24.50 | mtr |  | 280.00 | 6860.00 | 186.00 | 4557.00 | 333.00 | 8158.50 | 350.00 | 8575.00 | 272.29 | 6671.11 | 230.00 | 5635.00 | 4557.00 | ASHOK KUMAR SINGH
1.30 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.Bend 87.5° 110 mm bend | 14.00 | each |  | 100.00 | 1400.00 | 74.00 | 1036.00 | 111.00 | 1554.00 | 150.00 | 2100.00 | 115.91 | 1622.74 | 76.00 | 1064.00 | 1036.00 | ASHOK KUMAR SINGH
1.31 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.110 mm Shoe | 14.00 | each |  | 100.00 | 1400.00 | 66.00 | 924.00 | 99.00 | 1386.00 | 120.00 | 1680.00 | 101.58 | 1422.12 | 75.00 | 1050.00 | 924.00 | ASHOK KUMAR SINGH
1.32 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.1)GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 255.29 | sqm |  | 1250.00 | 319112.50 | 1054.00 | 269075.66 | 1111.00 | 283627.19 | 1250.00 | 319112.50 | 1467.41 | 374615.10 | 1310.00 | 334429.90 | 269075.66 | ASHOK KUMAR SINGH
1.33 | 12 mm cement plaster : 1:6 (1 cement : 6 coarse sand) | 253.77 | sqm |  | 190.00 | 48216.30 | 99.00 | 25123.23 | 199.00 | 50500.23 | 200.00 | 50754.00 | 226.94 | 57590.56 | 200.00 | 50754.00 | 25123.23 | ASHOK KUMAR SINGH
1.34 | 15 mm cement plaster on rough side of single or half brick wall of mix:1:6 (1 cement: 6 coarse sand) | 77.99 | sqm |  | 225.00 | 17547.75 | 99.00 | 7721.01 | 199.00 | 15520.01 | 220.00 | 17157.80 | 261.40 | 20386.59 | 241.00 | 18795.59 | 7721.01 | ASHOK KUMAR SINGH
1.35 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 424.38 | sqm |  | 105.00 | 44559.90 | 124.00 | 52623.12 | 69.00 | 29282.22 | 100.00 | 42438.00 | 158.13 | 67107.21 | 137.00 | 58140.06 | 29282.22 | Maa Sharda Enterprises
1.36 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1831.91 | sqm |  | 65.00 | 119074.15 | 74.00 | 135561.34 | 29.00 | 53125.39 | 100.00 | 183191.00 | 175.58 | 321646.76 | 83.00 | 152048.53 | 53125.39 | Maa Sharda Enterprises
1.37 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour.r.Two coats | 1831.91 | sqm |  | 65.00 | 119074.15 | 136.00 | 249139.76 | 39.00 | 71444.49 | 80.00 | 146552.80 | 210.00 | 384701.10 | 78.00 | 142888.98 | 71444.49 | Maa Sharda Enterprises
1.38 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 619.82 | sqm |  | 60.00 | 37189.20 | 62.00 | 38428.84 | 39.00 | 24172.98 | 80.00 | 49585.60 | 158.13 | 98012.14 | 55.00 | 34090.10 | 24172.98 | Maa Sharda Enterprises
1.39 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 942.60 | sqm |  | 70.00 | 65982.00 | 62.00 | 58441.20 | 39.00 | 36761.40 | 75.00 | 70695.00 | 158.00 | 148930.80 | 65.00 | 61269.00 | 36761.40 | Maa Sharda Enterprises
1.40 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.28 | cum |  | 850.00 | 8738.00 | 1227.00 | 12613.56 | 1555.00 | 15985.40 | 1000.00 | 10280.00 | 1550.86 | 15942.84 | 1540.00 | 15831.20 | 8738.00 | S.K. CONSTRUCTION
1.41 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 10.00 | sqm |  | 100.00 | 1000.00 | 28.00 | 280.00 | 222.00 | 2220.00 | 200.00 | 2000.00 | 245.02 | 2450.20 | 220.00 | 2200.00 | 280.00 | ASHOK KUMAR SINGH
1.42 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 155.41 | sqm |  | 50.00 | 7770.50 | 57.00 | 8858.37 | 55.00 | 8547.55 | 50.00 | 7770.50 | 251.23 | 39043.65 | 36.00 | 5594.76 | 5594.76 | YOGIDEV CONSTRUCTION
1.43 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge | 254.13 | sqm |  | 25.00 | 6353.25 | 33.00 | 8386.29 | 33.00 | 8386.29 | 50.00 | 12706.50 | 37.49 | 9527.33 | 28.00 | 7115.64 | 6353.25 | S.K. CONSTRUCTION
1.44 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 3075.00 | Mtr |  | 295.00 | 907125.00 | 155.00 | 476625.00 | 222.00 | 682650.00 | 350.00 | 1076250.00 | 228.52 | 702699.00 | 170.00 | 522750.00 | 476625.00 | ASHOK KUMAR SINGH
1.45 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.1) Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade | 480.00 | sqm |  | 765.00 | 367200.00 | 186.00 | 89280.00 | 333.00 | 159840.00 | 700.00 | 336000.00 | 711.59 | 341563.20 | 651.00 | 312480.00 | 89280.00 | ASHOK KUMAR SINGH
1.46 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 5.00 | each |  | 3200.00 | 16000.00 | 3410.00 | 17050.00 | 4999.00 | 24995.00 | 5000.00 | 25000.00 | 6350.00 | 31750.00 | 4182.00 | 20910.00 | 16000.00 | S.K. CONSTRUCTION
1.47 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | each |  | 4500.00 | 4500.00 | 4030.00 | 4030.00 | 4999.00 | 4999.00 | 5500.00 | 5500.00 | 5500.00 | 5500.00 | 4158.00 | 4158.00 | 4030.00 | ASHOK KUMAR SINGH
1.48 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clampscomplete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 4.00 | each |  | 4500.00 | 18000.00 | 3100.00 | 12400.00 | 4999.00 | 19996.00 | 6000.00 | 24000.00 | 5700.00 | 22800.00 | 3869.00 | 15476.00 | 12400.00 | ASHOK KUMAR SINGH
1.49 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. Brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps | 7.00 | each |  | 2500.00 | 17500.00 | 1116.00 | 7812.00 | 1999.00 | 13993.00 | 2000.00 | 14000.00 | 6500.00 | 45500.00 | 1416.00 | 9912.00 | 7812.00 | ASHOK KUMAR SINGH
1.50 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 7.00 | each |  | 1000.00 | 7000.00 | 849.00 | 5943.00 | 1333.00 | 9331.00 | 1500.00 | 10500.00 | 7500.00 | 52500.00 | 1038.00 | 7266.00 | 5943.00 | ASHOK KUMAR SINGH
1.51 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 8.00 | each |  | 1000.00 | 8000.00 | 744.00 | 5952.00 | 666.00 | 5328.00 | 1400.00 | 11200.00 | 2000.00 | 16000.00 | 986.00 | 7888.00 | 5328.00 | Maa Sharda Enterprises
1.52 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with onestep CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.15 mm nominal dia Pipes | 100.00 | mtr |  | 250.00 | 25000.00 | 248.00 | 24800.00 | 349.00 | 34900.00 | 400.00 | 40000.00 | 215.61 | 21561.00 | 299.00 | 29900.00 | 21561.00 | M/s Kumar Sanjay
1.53 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with onestep CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.20 mm nominal dia Pipes | 100.00 | mtr |  | 280.00 | 28000.00 | 248.00 | 24800.00 | 399.00 | 39900.00 | 200.00 | 20000.00 | 273.98 | 27398.00 | 321.00 | 32100.00 | 20000.00 | M/s Awadhesh Construction
1.54 | Providing and fixing plasticised PVC connection pipe with brass unions :45 cm lengtha) 15 mm nominal bore | 6.00 | each |  | 60.00 | 360.00 | 51.00 | 306.00 | 55.00 | 330.00 | 80.00 | 480.00 | 74.08 | 444.48 | 48.00 | 288.00 | 288.00 | YOGIDEV CONSTRUCTION
1.55 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. a) 15 mm dia nominal bore | 10.00 | each |  | 650.00 | 6500.00 | 372.00 | 3720.00 | 666.00 | 6660.00 | 500.00 | 5000.00 | 493.03 | 4930.30 | 485.00 | 4850.00 | 3720.00 | ASHOK KUMAR SINGH
1.56 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 2511.29 | kg |  | 340.00 | 853838.60 | 247.00 | 620288.63 | 311.00 | 781011.19 | 380.00 | 954290.20 | 488.25 | 1226137.34 | 295.00 | 740830.55 | 620288.63 | ASHOK KUMAR SINGH
1.57 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 110.81 | kg |  | 390.00 | 43215.90 | 310.00 | 34351.10 | 321.00 | 35570.01 | 430.00 | 47648.30 | 408.30 | 45243.72 | 315.00 | 34905.15 | 34351.10 | ASHOK KUMAR SINGH
1.58 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 107.22 | kg |  | 410.00 | 43960.20 | 322.00 | 34524.84 | 444.00 | 47605.68 | 480.00 | 51465.60 | 519.55 | 55706.15 | 500.00 | 53610.00 | 34524.84 | ASHOK KUMAR SINGH
1.59 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 331.76 | sqm |  | 40.00 | 13270.40 | 12.00 | 3981.12 | 22.00 | 7298.72 | 50.00 | 16588.00 | 34.81 | 11548.57 | 30.00 | 9952.80 | 3981.12 | ASHOK KUMAR SINGH
1.60 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.1)Double charge vitrified tile polished finish of size Size of Tile 600 x 600 mm | 21.48 | sqm |  | 1050.00 | 22554.00 | 744.00 | 15981.12 | 999.00 | 21458.52 | 900.00 | 19332.00 | 1339.41 | 28770.53 | 885.00 | 19009.80 | 15981.12 | ASHOK KUMAR SINGH
1.61 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required 1)Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 2.00 | each |  | 2500.00 | 5000.00 | 3472.00 | 6944.00 | 4444.00 | 8888.00 | 6000.00 | 12000.00 | 3600.00 | 7200.00 | 4288.00 | 8576.00 | 5000.00 | S.K. CONSTRUCTION
1.62 | Removing and Fixing in position Phenol bonded Bamboowood in flooring or Wall with planks of sizes 14mm thick, 1800mm length (minimum) and 130 mm wide(minimum), in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC). The flooring shall be fixed with tongue and groove interlocking system, The bamboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer incharge.( material will be supplied by department) | 98.00 | sqm |  | 150.00 | 14700.00 | 3720.00 | 364560.00 | 199.00 | 19502.00 | 100.00 | 9800.00 | 1357.25 | 133010.50 | 160.00 | 15680.00 | 9800.00 | M/s Awadhesh Construction
1.63 | Providing & fixing of white vitreous China wall mounting cascade type water closet American standard Acacia E double vortex WC 2/4.2 L 3119 WT/ Proguard (sc.seat&cover),KHOLER Vitreous 99994IN-0, ROCA The GAP RS346477460 & RE801472464, JAQUAR O PS-WHT-15951 with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with flush valve American standard /Grohe WC 38987000,Kohler 7702IN-P-NA, Jaquar JCS-WHT-2400 Flushing cistern GD 2 & 38732000 Skate Cosmopolitan Wall plate/Kholer 8857IN-M-MS1 ROCA RE890195001 Jaquar JCP-CHR-392415 approved including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 2.00 | EACH |  | 12500.00 | 25000.00 | 7440.00 | 14880.00 | 1555.00 | 3110.00 | 15000.00 | 30000.00 | 22350.00 | 44700.00 | 11974.00 | 23948.00 | 3110.00 | Maa Sharda Enterprises
1.64 | Providing and fixing ISI marked boiled water proof plywood of approved brand like kitply, greenply or equivelent with necessary screws, nails and nuts wherever necessary etc. complete as per direction of Engineer-in-charge 12 mm thick ISI boiled water proof plywood | 46.34 | sqm |  | 1100.00 | 50974.00 | 930.00 | 43096.20 | 1555.00 | 72058.70 | 1100.00 | 50974.00 | 2650.00 | 122801.00 | 1250.00 | 57925.00 | 43096.20 | ASHOK KUMAR SINGH
1.65 | Providing & fixing 4mm thick ACP sheet of white or any other colour on existing board with necessary screws as per specification and as directed by E. I. C. | 27.98 | sqm |  | 1850.00 | 51763.00 | 573.00 | 16032.54 | 1111.00 | 31085.78 | 2300.00 | 64354.00 | 931.65 | 26067.57 | 1738.00 | 48629.24 | 16032.54 | ASHOK KUMAR SINGH
1.66 | Providing & laying Selection no. 1 doob grass turf with earth 50mm to 60mm thickness of existing ground prepared with proper level and ramming with required tools wooden and than rolling the surface with light roller make the surface smoothen and light watering the same and maintenance for 30 days or more till the grass establish properly, as per direction of the Engineer-In-Charge. | 1812.38 | sqm |  | 60.00 | 108742.80 | 59.00 | 106930.42 | 49.00 | 88806.62 | 60.00 | 108742.80 | 87.50 | 158583.25 | 50.00 | 90619.00 | 88806.62 | Maa Sharda Enterprises
1.67 | Supplying and plantation of hedge (Minimum 1 feet height) at site including cast of manure or sludge after removal of unserveiceable material’s as per direction of Engineer in charge. | 5000.00 | each |  | 15.00 | 75000.00 | 31.00 | 155000.00 | 19.00 | 95000.00 | 50.00 | 250000.00 | 2.86 | 14300.00 | 10.00 | 50000.00 | 14300.00 | M/s Kumar Sanjay
1.68 | Supplying and plantation of Trees of Bottle plam/Champa/Molshree /Mor pankh/ Orchid (Minimum 4 feet height) at site including cast of manure or sludge after removal of unserveiceable material’s as per direction of Engineer in charge. | 200.00 | each |  | 250.00 | 50000.00 | 124.00 | 24800.00 | 149.00 | 29800.00 | 250.00 | 50000.00 | 620.49 | 124098.00 | 230.00 | 46000.00 | 24800.00 | ASHOK KUMAR SINGH
1.69 | Providing & fixing C.P. hand spray with lever control (health faucet) American Standard TP 405, KHOLER 12925IN-CP, ROCA RF9060A1, JAQUAR ALD-CHR-573 or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 9.00 | each |  | 1250.00 | 11250.00 | 1240.00 | 11160.00 | 1666.00 | 14994.00 | 1300.00 | 11700.00 | 1325.60 | 11930.40 | 1130.00 | 10170.00 | 10170.00 | YOGIDEV CONSTRUCTION
1.70 | Providing & fixing 15 mm dia C.P. brass angle valve American Standard FLR 5053N A-4400, KHOLER 80155IN-4-CP CUFF, ROCA RF525159700, JAQUAR AQT-CHR-3057 with C.P. brass wall flange with any other items complete including cutting and making good the walls wherever required as per direction of Engineer-Incharge. | 27.00 | each |  | 900.00 | 24300.00 | 1116.00 | 30132.00 | 1333.00 | 35991.00 | 1200.00 | 32400.00 | 612.25 | 16530.75 | 1025.00 | 27675.00 | 16530.75 | M/s Kumar Sanjay
1.71 | Dismantling existing concertina coil in fencing including making rolls and stacking within 50 metres lead. | 2875.00 | metre |  | 15.00 | 43125.00 | 15.00 | 43125.00 | 11.00 | 31625.00 | 40.00 | 115000.00 | 98.25 | 282468.75 | 28.00 | 80500.00 | 31625.00 | Maa Sharda Enterprises
1.72 | Providing and fixing 12 mm thick frameless toughened glass of approved brand and manufacture, including providing and fixing top & bottom pivot & fixing necessary arrangement and making necessary holes etc, all complete as per direction of Engineer-in-charge. | 18.47 | sqm |  | 3200.00 | 59104.00 | 3720.00 | 68708.40 | 2666.00 | 49241.02 | 3500.00 | 64645.00 | 3949.25 | 72942.65 | 2476.00 | 45731.72 | 45731.72 | YOGIDEV CONSTRUCTION
1.73 | Supplying and placing in position of the king size mattress of size:- (W)915mm +25 mm X (D)1980mm + 100 mmX (H)150 + 5 mm as per image. Breathable soft-touch high GSM fabric keeps you cool throughout the night.Premium high-resilient memory foam offers pressure-relieving comfort.Medium soft firmness, suitable for all generations.3-layer construction maintains the natural curve of the spine.Motion isolation makes it ideal for active sleepers.Non-allergenic, anti-microbial properties promise odourless & hygienic sleep surface.100-Night free trial assures you for blissful sleeping experience.Ideal for people with joint aches, arthritis, or osteoporosis.No flip required.Available in 6 inches thicknesses in Single bed size.. OEM should also be a member of BIFMA, GREENGUARD (certified by UL LAB/UK Cert) AND/OR GREENPRO (by CII).OEM should also have GRIHA and IGBC certifications. OEM name should be visible on relevant authentic websites of Green guard by UL/UK Cert AND/OR GREENPRO by CII,BIFMA, GRIHA and IGBC. OEM certifications required include AIOTA, ISO 45001, 50001, 9001 and 14001 from NABCB/IAF accredited certifying agency.Note: Colour should be approved at the later stage by Engineer In-Charge. | 8.00 | each |  | 9500.00 | 76000.00 | 3700.00 | 29600.00 | 11111.00 | 88888.00 | 10000.00 | 80000.00 | 18231.91 | 145855.28 | 10342.00 | 82736.00 | 29600.00 | ASHOK KUMAR SINGH
1.74 | Supplying and Placing in Potision of Bed Side Table in size : (W) 500mm + 15 X (D) 450mm + 10mm X (H) 450mm + 10mm Table Top Thickness : 17mm. Understated and tailored, the Nina collection features its tailored profile and streamlined shapes. Wrapped in a dark cherry finish, it celebrates the unique grain patterns.Designed with a combination of shelf and drawer, it offers abundant storage for your essentials. Masterfully crafted of premium quality material. Abundant storage offers ample space for your bedtime essentials. Smooth finished edges eliminate moisture seepage, prevent warping and make it last longer. Levelers offer stability on uneven surfaces. OEM should also be a member of BIFMA, GREENGUARD (certified by UL LAB/UK Cert) AND/OR GREENPRO (by CII).OEM should also have GRIHA and IGBC certifications. OEM name should be visible on relevant authentic websites of Green guard by UL/UK Cert AND/OR GREENPRO by CII,BIFMA, GRIHA and IGBC. OEM certifications required include AIOTA, ISO 45001, 50001, 9001 and 14001 from NABCB/IAF accredited certifying agency.Note: Colour should be approved at the later stage by Engineer In-Charge. | 8.00 | each |  | 6500.00 | 52000.00 | 2790.00 | 22320.00 | 11111.00 | 88888.00 | 14000.00 | 112000.00 | 16150.00 | 129200.00 | 9480.00 | 75840.00 | 22320.00 | ASHOK KUMAR SINGH
1.75 | Supplying and Placing in Position of Solid Wood Single Size Bed, size : (W) 1070mm + 50 mm X (D) 2080mm + 100 mm X (H) 950 mm + 50mm . Crafted with sustainably sourced solid wood, each silhouette celebrates distinctive wood grains finished in classic Dark Oak.The slatted headboard and wooden feet are tapered to perfection. Combined with the smooth curved edges, it makes the bed a statement piece. Masterfully crafted of solid wood in a Dark Oak finish. Classic slatted headboard makes it a statement piece. Tapered legs add an airy appeal. Moisture-resistant 12mm thick premium plywood mattress board. An intensive 6-step polish process lends a velvety finish. Premium polish with low chemical emission ensures healthy indoor air for your family. Smooth finished edges eliminate moisture seepage, prevent warping and make it last longer. 10mm high buffers offer ground clearance for easy cleaning. OEM should also be a member of BIFMA, GREENGUARD (certified by UL LAB/UK Cert) AND/OR GREENPRO (by CII).OEM should also have GRIHA and IGBC certifications. OEM name should be visible on relevant authentic websites of Green guard by UL/UK Cert AND/OR GREENPRO by CII,BIFMA, GRIHA and IGBC. OEM certifications required include AIOTA, ISO 45001, 50001, 9001 and 14001 from NABCB/IAF accredited certifying agency.Note: Colour should be approved at the later stage by Engineer In-Charge. | 8.00 | each |  | 16500.00 | 132000.00 | 15500.00 | 124000.00 | 22222.00 | 177776.00 | 16000.00 | 128000.00 | 21600.00 | 172800.00 | 16752.00 | 134016.00 | 124000.00 | ASHOK KUMAR SINGH
1.76 | Supplying and Placing in Potition of Hopper Solid Wood Coffee Table size (W)1130mm + 75mm X (D)630mm + 50 mm X (H)410mm + 25mm . Inspired by the mid-century modern era, the Hopper collection flaunts clean silhouettes with tapered legs. Crafted with solid beech wood, the dark oak finish accentuates the distinctive wood grains. While the clear glass tabletop flaunts the charming wooden accent. The glass tabletop is made with sturdy glass, beautifully bordered by a solid wood frame. Designed for modern Indian homes, it makes a perfect spot to enjoy cozy talks over a cup of coffee, 8 mm Glass Top, Solid Wood Legs, Dark Oak Finish, Contemporaray Design.OEM should also be a member of BIFMA, GREENGUARD (certified by UL LAB/UK Cert) AND/OR GREENPRO (by CII).OEM should also have GRIHA and IGBC certifications. OEM name should be visible on relevant authentic websites of Green guard by UL/UK Cert AND/OR GREENPRO by CII,BIFMA, GRIHA and IGBC. OEM certifications required include AIOTA, ISO 45001, 50001, 9001 and 14001 from NABCB/IAF accredited certifying agency.Note: Colour should be approved at the later stage by Engineer In-Charge. | 4.00 | each |  | 18000.00 | 72000.00 | 17350.00 | 69400.00 | 22222.00 | 88888.00 | 18000.00 | 72000.00 | 14150.00 | 56600.00 | 25000.00 | 100000.00 | 56600.00 | M/s Kumar Sanjay
1.77 | Providing and fixing vertical blinds as per approved color and design as per satisfaction of EIC. | 17.28 | sqm |  | 650.00 | 11232.00 | 2480.00 | 42854.40 | 777.00 | 13426.56 | 900.00 | 15552.00 | 432.02 | 7465.31 | 10.00 | 172.80 | 172.80 | YOGIDEV CONSTRUCTION
1.78 | Providing and fixing of Indoor badminton court with 7mm cushion,PVC Mat thickness 4.5mm ,flooring will be fixed with adhesive (permanent) ,rolls would be joined with PVC heat welding including 7mm thick cushioning etc all include as per direction and satisfaction of EIC. | 108.00 | sqm |  | 1250.00 | 135000.00 | 1480.00 | 159840.00 | 1111.00 | 119988.00 | 1400.00 | 151200.00 | 1170.00 | 126360.00 | 10.00 | 1080.00 | 1080.00 | YOGIDEV CONSTRUCTION
1.79 | Providing of Movable Badminton poles made of 47*47 mm MS Pipe ,65 to 70 kg counter weight on each side with Garware net all include as per direction and satisfaction of EIC. | 1.00 | Pair |  | 65000.00 | 65000.00 | 21700.00 | 21700.00 | 11807.23 | 11807.23 | 10000.00 | 10000.00 | 1150.00 | 1150.00 | 50000.00 | 50000.00 | 1150.00 | M/s Kumar Sanjay
2.00 | Electricial works :
2.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.(Group C) | 6.00 | Point |  | 850.00 | 5100.00 | 496.00 | 2976.00 | 99.00 | 594.00 | 1500.00 | 9000.00 | 728.08 | 4368.48 | 500.00 | 3000.00 | 594.00 | Maa Sharda Enterprises
2.02 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 50.00 | Mtr |  | 280.00 | 14000.00 | 91.00 | 4550.00 | 20.00 | 1000.00 | 250.00 | 12500.00 | 135.76 | 6788.00 | 500.00 | 25000.00 | 1000.00 | Maa Sharda Enterprises
2.03 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50.00 | Mtr |  | 320.00 | 16000.00 | 121.00 | 6050.00 | 25.00 | 1250.00 | 300.00 | 15000.00 | 155.29 | 7764.50 | 500.00 | 25000.00 | 1250.00 | Maa Sharda Enterprises
2.04 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Mtr |  | 350.00 | 17500.00 | 162.00 | 8100.00 | 20.00 | 1000.00 | 320.00 | 16000.00 | 185.95 | 9297.35 | 500.00 | 25000.00 | 1000.00 | Maa Sharda Enterprises
2.05 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Mtr |  | 425.00 | 21250.00 | 279.00 | 13950.00 | 40.00 | 2000.00 | 500.00 | 25000.00 | 429.07 | 21453.50 | 500.00 | 25000.00 | 2000.00 | Maa Sharda Enterprises
2.06 | Supplying and fixing following modular switch/ socket/Telephone/TV socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 3.00 | Each |  | 350.00 | 1050.00 | 41.00 | 123.00 | 10.00 | 30.00 | 70.00 | 210.00 | 259.07 | 777.21 | 500.00 | 1500.00 | 30.00 | Maa Sharda Enterprises
2.07 | Supplying and fixing following modular switch/ socket/Telephone/TV socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Supplying and fixing following modular switch/ socket/Telephone/TV socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.3 pin 5/6 amp socket outlet | 3.00 | Each |  | 400.00 | 1200.00 | 54.00 | 162.00 | 10.00 | 30.00 | 100.00 | 300.00 | 296.32 | 888.96 | 500.00 | 1500.00 | 30.00 | Maa Sharda Enterprises
2.08 | Supplying and fixing following modular switch/ socket/Telephone/TV socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amp switch | 3.00 | Each |  | 150.00 | 450.00 | 63.00 | 189.00 | 10.00 | 30.00 | 120.00 | 360.00 | 300.42 | 901.26 | 500.00 | 1500.00 | 30.00 | Maa Sharda Enterprises
2.09 | Supplying and fixing following modular switch/ socket/Telephone/TV socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 amp socket outlet | 3.00 | Each |  | 200.00 | 600.00 | 90.00 | 270.00 | 99.00 | 297.00 | 130.00 | 390.00 | 338.08 | 1014.24 | 500.00 | 1500.00 | 270.00 | ASHOK KUMAR SINGH
2.10 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 2.00 | Each |  | 500.00 | 1000.00 | 105.00 | 210.00 | 200.00 | 400.00 | 200.00 | 400.00 | 225.96 | 451.92 | 500.00 | 1000.00 | 210.00 | ASHOK KUMAR SINGH
2.11 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 6.00 | Each |  | 250.00 | 1500.00 | 126.00 | 756.00 | 200.00 | 1200.00 | 220.00 | 1320.00 | 248.28 | 1489.68 | 500.00 | 3000.00 | 756.00 | ASHOK KUMAR SINGH
2.12 | Installation, testing and commissioning of pre-wired, LED Recess, etc of above fixtures with all accessories including nut bolt washer, connecting wire and hanging/fixing arrangements,required framing if required directly on existing in False ceiling / wall / surface/ cieling as including connection as per site requirement | 40.00 | Each |  | 150.00 | 6000.00 | 69.00 | 2760.00 | 299.00 | 11960.00 | 150.00 | 6000.00 | 1398.18 | 55927.20 | 500.00 | 20000.00 | 2760.00 | ASHOK KUMAR SINGH
2.13 | Supply of single phase metallic exhaust fan of size 225/230 mm with louvers/front grill, RPM - 2200 minimum suitable to operate on 230 V, 50 Hz power supply. The model of exhaust fan with louver/front grill shall be suitable for installation as per the existing opening available. | 10.00 | Each |  | 650.00 | 6500.00 | 795.00 | 7950.00 | 1500.00 | 15000.00 | 1300.00 | 13000.00 | 1895.26 | 18952.60 | 500.00 | 5000.00 | 5000.00 | YOGIDEV CONSTRUCTION
2.14 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 10.00 | Job |  | 150.00 | 1500.00 | 43.00 | 430.00 | 333.00 | 3330.00 | 320.00 | 3200.00 | 1325.28 | 13252.80 | 500.00 | 5000.00 | 430.00 | ASHOK KUMAR SINGH
2.15 | Supply of MCB protected socket (Single Pole) of rating 25 Amp with Plug top and sheet steel enclosure for power supply to Air conditioner units. (Havells 20 A MCB DBOXX COMBO or equivalent). | 3.00 | Each |  | 350.00 | 1050.00 | 496.00 | 1488.00 | 333.00 | 999.00 | 500.00 | 1500.00 | 1475.25 | 4425.75 | 500.00 | 1500.00 | 999.00 | Maa Sharda Enterprises
2.16 | Supply & installation of Water cooler, of storage capacity - 80 ltr, 40 ltr/hour water flow, refrigerant R134a, SS concealed Body, with 02 No. of faucets, suitable to operate at 230+10%V, 50 Hz supply, including suitable capacity RO system for filtration to maintain water flow rate, along with all the accessories for installation of the same complete as per site requirement. | 2.00 | Each |  | 85000.00 | 170000.00 | 26000.00 | 52000.00 | 20999.00 | 41998.00 | 36000.00 | 72000.00 | 38265.00 | 76530.00 | 25000.00 | 50000.00 | 41998.00 | Maa Sharda Enterprises
2.17 | Supply of Industrial/Tent Jumbo Coolers of 215 watt (minimum) & made out of Robust weather resistant body, including tank capacity 90 litres minimum with 500 mm (minimum) sweep, minimum air delivery capacity 8500 cum/hr exhaust fan with preferrably Copper Winding with metalic blade, pump, switches for fan and pumps, suitable stand as per OEM etc. suitable to work on 230V, 50Hz, AC Supply etc complete as required as per conditions of Contract. | 4.00 | Nos. |  | 16500.00 | 66000.00 | 23000.00 | 92000.00 | 13389.00 | 53556.00 | 18000.00 | 72000.00 | 23006.00 | 92024.00 | 20000.00 | 80000.00 | 53556.00 | Maa Sharda Enterprises
| Total in Figures |  |  |  |  | 6794257.38 |  | 6028869.26 |  | 5432100.00 |  | 7720882.43 |  | 9295360.75 |  | 5810281.93
Lowest Amount Quoted BY: Maa Sharda Enterprises(5432100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Community Centre with Toilet, False ceiling, Flooring, Wall cladding and development of outside area at LBSI Airport, Varanasi Tender ID: 2024_AAI_199744_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Maa Sharda Enterprises | 5432100.00 | L1
| 2 | YOGIDEV CONSTRUCTION | 5810281.93 | L2
| 3 | ASHOK KUMAR SINGH | 6028869.26 | L3
| 4 | S.K. CONSTRUCTION | 6794257.38 | L4
| 5 | M/s Awadhesh Construction | 7720882.43 | L5
| 6 | M/s Kumar Sanjay | 9295360.75 | L6