## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 23-Aug-2024 12:40 PM Tender Title: Construction of ASR/MSSR Building at LBSI Airport, Varanasi. SH- Provision of Elevator. Tender ID: 2024_AAI_199871_1
Tender Inviting Authority:Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Construction of ASR/MSSR Building at LBSI Airport, Varanasi. SH :- Provision of ELEVATOR
Contract No: (Tender ID : 2024_AAI_199871_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -723259
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I : Provision of Elevator
1.01 | Supply, installation, testing & commissioning of Machine Room Less electric traction type Lifts of 544 KG Capacity, 03 Stops, 03 openings and entrance at front side on all the serving floors, automatic centre opening Stainless Steel Hairline finish door with part transparent glass, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 15 mtrs. (Approx). and type suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/sec, electromagnetic brake system, simplex mode operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection up to prescribed height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all floors with UP / DOWN direction, light fixtures, ventilation fan, hooter, suitable qty. and size load hooks etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure etc., as required. The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way. Elevators shall be BMS compatible | 1.00 | Job | 0.00 | 1810000.00 | 1810000.00 | 1810000.00 | OMEGA ELEVATORS
2.00 | SH II : CAMC of Elevator
2.01 | CAMC (Comprehensive Annual Maintenance Contract) for 1st Year after DLP (4% of total SITC cost) | 1.00 | Job/Year | 0.00 | 72400.00 | 72400.00 | 72400.00 | OMEGA ELEVATORS
2.02 | CAMC (Comprehensive Annual Maintenance Contract) for 2nd Year after DLP (Yearly 4% cumulative enhancement on cost for 1st Year after DLP) | 1.00 | Job/Year | 0.00 | 75296.00 | 75296.00 | 75296.00 | OMEGA ELEVATORS
2.03 | CAMC (Comprehensive Annual Maintenance Contract) for 3rd Year after DLP (Yearly 5% cumulative enhancement on cost for 2nd Year after DLP) | 1.00 | Job/Year | 0.00 | 79061.00 | 79061.00 | 79061.00 | OMEGA ELEVATORS
2.04 | CAMC (Comprehensive Annual Maintenance Contract) for 4th Year after DLP (Yearly 5% cumulative enhancement on cost for 3rd Year after DLP) | 1.00 | Job/Year | 0.00 | 83014.00 | 83014.00 | 83014.00 | OMEGA ELEVATORS
2.05 | CAMC (Comprehensive Annual Maintenance Contract) for 5th Year after DLP (Yearly 5% cumulative enhancement on cost for 4th Year after DLP) | 1.00 | Job/Year | 0.00 | 87165.00 | 87165.00 | 87165.00 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 2206936.00
Lowest Amount Quoted BY: OMEGA ELEVATORS(2206936.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ASR/MSSR Building at LBSI Airport, Varanasi. SH- Provision of Elevator. Tender ID: 2024_AAI_199871_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS | 2206936.00 | L1