## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 19-Aug-2024 01:05 PM Tender Title: Reconfiguration of Terminal Building. SH Modification of Air-conditioning and associated works Tender ID: 2024_AAI_200125_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-E)
Name of Work: Reconfiguration of Terminal Building. SH:Modification of Air-conditioning & associated works.
Contract No: 2024_AAI_200125
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AASTHA ENVIRO SYSTEMS PVT. LTD. (GSTN-07AAFCA2705C1ZB) BID ID -724468 |  | M K ENTERPRISES (GSTN-27AMDPK7085L1ZJ) BID ID -729637 |  | NEW BHARAT REFRIGERATION(GSTN-NA)--728847
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal square/rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Site fabricated GSS sheet metal ducting as per IS 655-2006
2.00 | 0.63 mm sheet duct | 200.00 | SqM | 1076.66 | 990.00 | 198000.00 | 1105.00 | 221000.00 | 1050.00 | 210000.00 | 198000.00 | AASTHA ENVIRO SYSTEMS PVT. LTD.
3.00 | 0.80 mm sheet duct | 150.00 | SqM | 1249.37 | 1060.00 | 159000.00 | 1180.00 | 177000.00 | 1250.00 | 187500.00 | 159000.00 | AASTHA ENVIRO SYSTEMS PVT. LTD.
4.00 | 1.00 mm sheet duct | 100.00 | SqM | 1656.40 | 1180.00 | 118000.00 | 1250.00 | 125000.00 | 1550.00 | 155000.00 | 118000.00 | AASTHA ENVIRO SYSTEMS PVT. LTD.
5.00 | 1.25 mm sheet duct | 100.00 | SqM | 1810.93 | 1260.00 | 126000.00 | 1470.00 | 147000.00 | 1850.00 | 185000.00 | 126000.00 | AASTHA ENVIRO SYSTEMS PVT. LTD.
6.00 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications. GI volume control duct damper | 25.00 | SqM | 7118.48 | 6500.00 | 162500.00 | 7000.24 | 175006.00 | 5500.00 | 137500.00 | 137500.00 | NEW BHARAT REFRIGERATION
7.00 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per specifications. | 50.00 | SqM | 9198.07 | 8700.00 | 435000.00 | 8000.00 | 400000.00 | 9500.00 | 475000.00 | 400000.00 | M K ENTERPRISES
8.00 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 30.00 | SqM | 5977.18 | 4530.00 | 135900.00 | 5000.00 | 150000.00 | 6500.00 | 195000.00 | 135900.00 | AASTHA ENVIRO SYSTEMS PVT. LTD.
9.00 | Supplying, fixing testing commissioning of supply air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 30.00 | SqM | 12313.92 | 13000.00 | 390000.00 | 7526.00 | 225780.00 | 6500.00 | 195000.00 | 195000.00 | NEW BHARAT REFRIGERATION
10.00 | Supplying and fixing 50 mm thick aluminium foil faced resin bonded fibre glass insulation (on duct ) of density 24 kg/cu.m or mineral wool insulation of density 44 kg/cu m after applying two coats of cold setting adhesive (CPRX compound) sealing all joints with self adhesive aluminium tape & covering with 0.63mmx19mm GI wire mesh netting butting all joints and laced with GI wire complete as per specifications and as required. (50 mm thick insulation) | 350.00 | SqM | 569.64 | 760.00 | 266000.00 | 700.00 | 245000.00 | 850.00 | 297500.00 | 245000.00 | M K ENTERPRISES
11.00 | Dismantling of GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. | 600.00 | SqM | 339.36 | 100.00 | 60000.00 | 100.00 | 60000.00 | 650.00 | 390000.00 | 60000.00 | AASTHA ENVIRO SYSTEMS PVT. LTD., M K ENTERPRISES
12.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete, as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 50.00 | SqM | 4309.67 | 6850.00 | 342500.00 | 7000.00 | 350000.00 | 2050.00 | 102500.00 | 102500.00 | NEW BHARAT REFRIGERATION
| Total in Figures |  |  |  |  | 2392900.00 |  | 2275786.00 |  | 2530000.00
Lowest Amount Quoted BY: M K ENTERPRISES(2275786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building. SH Modification of Air-conditioning and associated works Tender ID: 2024_AAI_200125_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 2275786.00 | L1
| 2 | AASTHA ENVIRO SYSTEMS PVT. LTD. | 2392900.00 | L2
| 3 | NEW BHARAT REFRIGERATION | 2530000.00 | L3