## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 23-Sep-2024 04:11 PM Tender Title: AMC of E and M installation at kandla airport Tender ID: 2024_AAI_200251_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Annual Operation & Maintenance Contract for the E & M Installations at C.E. Kandla for the year 2024-26"
Contract No: 2024_AAI_200251_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -734295 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -739569 |  | INTEGER INFRATECH PRIVATE LIMITED (GSTN-24AADCI9972R1ZN) BID ID -741294 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -742125 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -742160 |  | SWASTIK ELECTROTECH PRIVATE LIMITED (GSTN-07AANCS9215R1ZF) BID ID -742323 |  | Rudraksha Enterprise (GSTN-24AANFR7954B1Z1) BID ID -742391 |  | ES SUPPORT PRIVATE LIMITED(GSTN-NA)--741631 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--742287
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of Electrical & Mechanical Installations including Operation & Maintenance of Electrical & Mechanical Installations at Terminal Building,power House & other ancillary buildings, AAI residential colony including operation of 11kV Four Pole Structure,Compact Sub Station,DG sets, pumps,conveyor belt, Operation and maintenance of all GLF system comprising runway edge,taxiways,apron edge lighting,approach lighting,PAPI system,CCR panels,perimeter road lightapron high mast lighting and minor repairing as per specification & conditions attached to provide uninterrupted power supply and deputing manpower round the clock in three shifts/General shift including attending to complaints/faults/breakdowns ensuring serviceability, satisfactory working condition of the system,preventive maintnenance,upkeeping maintenance records/documentation etc.,on all working days including Sundays and holidays and also as & when required basis etc .(Highly skilled-3 nos.,Skilled-4 nos.,Semi-Skilled-4 nos.,Un-skilled-4 nos.) | 24.00 | Month |  | 322000.00 | 7728000.00 | 346546.00 | 8317104.00 | 350000.00 | 8400000.00 | 335000.00 | 8040000.00 | 318400.00 | 7641600.00 | 379760.00 | 9114240.00 | 375000.00 | 9000000.00 | 390000.00 | 9360000.00 | 327549.00 | 7861176.00 | 7641600.00 | Manish Electricals
2.00 | Annual Comprehensive maintenance contract including repair/replacement of all parts of voltas/LG/Lloyd/Hitachi/Carrier make A/c units at different locations in Airport premises complete as required as per site requirement for following capacity & following type (Each one Set/Job per month).
2.10 | 1.5 Ton Split type (1-Ø,50Hz)(6 Nos.X 12 months = 72 jobs & 20 Nos.X 24 months = 480 jobs.) | 552.00 | Job |  | 200.00 | 110400.00 | 300.00 | 165600.00 | 300.00 | 165600.00 | 200.00 | 110400.00 | 300.00 | 165600.00 | 600.00 | 331200.00 | 100.00 | 55200.00 | 260.00 | 143520.00 | 268.00 | 147936.00 | 55200.00 | Rudraksha Enterprise
2.20 | 1.5 Ton Window type (1-Ø,50Hz) (1 Nos. X 24 months = 24 jobs.) | 24.00 | Job |  | 200.00 | 4800.00 | 300.00 | 7200.00 | 300.00 | 7200.00 | 200.00 | 4800.00 | 250.00 | 6000.00 | 700.00 | 16800.00 | 100.00 | 2400.00 | 240.00 | 5760.00 | 268.00 | 6432.00 | 2400.00 | Rudraksha Enterprise
2.30 | 2 Ton Split type (1-Ø,50Hz) (22 Nos.X 24 months = 528 jobs.) | 528.00 | Job |  | 210.00 | 110880.00 | 350.00 | 184800.00 | 350.00 | 184800.00 | 250.00 | 132000.00 | 400.00 | 211200.00 | 750.00 | 396000.00 | 125.00 | 66000.00 | 272.00 | 143616.00 | 321.00 | 169488.00 | 66000.00 | Rudraksha Enterprise
2.40 | 2 Ton Cassette type (1-Ø,50Hz) (2 nos. X 24 months = 48 jobs.) | 48.00 | Job |  | 300.00 | 14400.00 | 400.00 | 19200.00 | 400.00 | 19200.00 | 250.00 | 12000.00 | 500.00 | 24000.00 | 750.00 | 36000.00 | 140.00 | 6720.00 | 295.00 | 14160.00 | 321.00 | 15408.00 | 6720.00 | Rudraksha Enterprise
2.50 | 2 Ton Tower type (1-Ø,50Hz) (5 nos. X 24 months = 120 jobs.) | 120.00 | Job |  | 350.00 | 42000.00 | 400.00 | 48000.00 | 400.00 | 48000.00 | 250.00 | 30000.00 | 600.00 | 72000.00 | 750.00 | 90000.00 | 180.00 | 21600.00 | 307.00 | 36840.00 | 375.00 | 45000.00 | 21600.00 | Rudraksha Enterprise
2.60 | 2.5 Ton Tower type (1-Ø,50Hz) (4 nos. X 24 months = 96 jobs.) | 96.00 | Job |  | 350.00 | 33600.00 | 400.00 | 38400.00 | 400.00 | 38400.00 | 250.00 | 24000.00 | 400.00 | 38400.00 | 900.00 | 86400.00 | 200.00 | 19200.00 | 360.00 | 34560.00 | 375.00 | 36000.00 | 19200.00 | Rudraksha Enterprise
3.00 | Annual comprehensive maintenance contract including repair/replacement of all parts for Voltas/Usha make water Cooler at different locations in airport premises complete as per site requirement for following capacity & make (Each one Set/Job per month).
3.10 | 40/80 ltrs water Cooler (Voltas make) (7 Nos. x 24 months = 168 JOB) | 168.00 | Job |  | 400.00 | 67200.00 | 200.00 | 33600.00 | 200.00 | 33600.00 | 200.00 | 33600.00 | 400.00 | 67200.00 | 800.00 | 134400.00 | 200.00 | 33600.00 | 240.00 | 40320.00 | 856.00 | 143808.00 | 33600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED, CENTRE TAP ENGINEERING, Rudraksha Enterprise
3.20 | 60/120 ltrs water Cooler (Usha make) (3 Nos. x 24 months = 72 JOB) | 72.00 | Job |  | 450.00 | 32400.00 | 250.00 | 18000.00 | 250.00 | 18000.00 | 200.00 | 14400.00 | 450.00 | 32400.00 | 1000.00 | 72000.00 | 300.00 | 21600.00 | 360.00 | 25920.00 | 963.00 | 69336.00 | 14400.00 | CENTRE TAP ENGINEERING
4.00 | Annual Comprehensive maintenance contract including consumable items and all spare parts i/c. membrane etc. of ION-Exchange/Kent/ORG make RO unit at different locations in airport premises complete as per site requirement for following capacity & make (Each Job per month)
4.10 | 25 LPH RO unit (make-ION-Exchange/Kent/ORG) (7 Nos. x 24 months = 168 JOB) | 168.00 | Job |  | 700.00 | 117600.00 | 300.00 | 50400.00 | 300.00 | 50400.00 | 1000.00 | 168000.00 | 300.00 | 50400.00 | 600.00 | 100800.00 | 200.00 | 33600.00 | 240.00 | 40320.00 | 918.00 | 154224.00 | 33600.00 | Rudraksha Enterprise
4.20 | 50 LPH RO unit (make-ORG, Model-Green) (3 Nos. x 24 months = 72 JOB) | 72.00 | Job |  | 900.00 | 64800.00 | 400.00 | 28800.00 | 400.00 | 28800.00 | 1500.00 | 108000.00 | 500.00 | 36000.00 | 800.00 | 57600.00 | 300.00 | 21600.00 | 280.00 | 20160.00 | 1391.00 | 100152.00 | 20160.00 | ES SUPPORT PRIVATE LIMITED
4.30 | Water purifiers rated power 45W RO+UV+MTDS (Make: Eureka Forbes, Model: Aquasure maxima NXT) (2 Nos. x 24 months = 48 JOB) | 48.00 | Job |  | 700.00 | 33600.00 | 200.00 | 9600.00 | 200.00 | 9600.00 | 500.00 | 24000.00 | 400.00 | 19200.00 | 1000.00 | 48000.00 | 400.00 | 19200.00 | 350.00 | 16800.00 | 1338.00 | 64224.00 | 9600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED
4.40 | Maintenance and Servicing of Pump House water Filter.(1 No. x 24 months = 24 JOB) | 24.00 | Job |  | 750.00 | 18000.00 | 350.00 | 8400.00 | 1000.00 | 24000.00 | 1000.00 | 24000.00 | 400.00 | 9600.00 | 1500.00 | 36000.00 | 300.00 | 7200.00 | 1000.00 | 24000.00 | 856.00 | 20544.00 | 7200.00 | Rudraksha Enterprise
5.00 | Dismantling of 1.5 / 2.0 / 2.5 Ton Capacity of Voltas/LG/Lloyd/Hitachi/Carrier/Blue star make Airconditioner unit in airport premises. | 10.00 | Job |  | 1800.00 | 18000.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 767.00 | 7670.00 | 214.00 | 2140.00 | 2140.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Installation,testing and commisioning of 1.5 / 2.0 / 2.5 Ton Capacity of Voltas/LG/Lloyd/Hitachi/Carrier/Blue star make Airconditioner unit in airport premises (Job i/c piping/insulation/cabling/drain piping including work upto 3 mtr,leakage testing, Gas charging etc. complete as required). | 10.00 | Job |  | 4500.00 | 45000.00 | 1500.00 | 15000.00 | 40000.00 | 400000.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1200.00 | 12000.00 | 1900.00 | 19000.00 | 3745.00 | 37450.00 | 12000.00 | Rudraksha Enterprise
7.00 | Providing & fixing extra refrigerant suitable copper piping with Nitrile rubber insulation and suitable copper cabling between indoor and outdoor units etc. as required. | 30.00 | Mtr |  | 1200.00 | 36000.00 | 1250.00 | 37500.00 | 800.00 | 24000.00 | 1000.00 | 30000.00 | 650.00 | 19500.00 | 1200.00 | 36000.00 | 800.00 | 24000.00 | 1900.00 | 57000.00 | 1017.00 | 30510.00 | 19500.00 | Manish Electricals
8.00 | Providing and fixing of 25mm inner dia CPVC drain pipe for drain water for AC unit to nearest drain point including CPVC Elbow , CPVC "T", CPVC Coupler, Reducer, solvent, clamp, net packing at end etc. as per site requirement. | 30.00 | Mtr |  | 150.00 | 4500.00 | 90.00 | 2700.00 | 50.00 | 1500.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 350.00 | 10500.00 | 150.00 | 4500.00 | 36.00 | 1080.00 | 80.00 | 2400.00 | 1080.00 | ES SUPPORT PRIVATE LIMITED
9.00 | Servicing, repairing, rewinding and replacement of defective part like bearings, bushing etc. and also transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement for the following motors ( Dismantle material belongs to Contractor)
9.10 | Ceiling Fan/Wall Fan (1-Phase, 50Hz, 240V AC) | 30.00 | Job |  | 600.00 | 18000.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 500.00 | 15000.00 | 450.00 | 13500.00 | 1000.00 | 30000.00 | 100.00 | 3000.00 | 412.00 | 12360.00 | 428.00 | 12840.00 | 3000.00 | Rudraksha Enterprise
9.20 | Exhaust fan Up to 450 mm (1-Phase, 50Hz,240V AC ) | 5.00 | Job |  | 600.00 | 3000.00 | 250.00 | 1250.00 | 250.00 | 1250.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 1000.00 | 5000.00 | 100.00 | 500.00 | 472.00 | 2360.00 | 482.00 | 2410.00 | 500.00 | Rudraksha Enterprise
9.30 | 3 HP/ 2.2 KW pump motor sets (3-Phase, 50Hz,415V AC ) | 1.00 | Job |  | 1700.00 | 1700.00 | 3000.00 | 3000.00 | 1.00 | 1.00 | 6000.00 | 6000.00 | 2750.00 | 2750.00 | 5000.00 | 5000.00 | 100.00 | 100.00 | 590.00 | 590.00 | 2675.00 | 2675.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
9.40 | Submersible pump 7.5 HP | 1.00 | Job |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 1.00 | 1.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 100.00 | 100.00 | 1900.00 | 1900.00 | 5350.00 | 5350.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
9.50 | Pedestal fan | 3.00 | Job |  | 800.00 | 2400.00 | 200.00 | 600.00 | 1.00 | 3.00 | 500.00 | 1500.00 | 800.00 | 2400.00 | 1500.00 | 4500.00 | 100.00 | 300.00 | 540.00 | 1620.00 | 589.00 | 1767.00 | 3.00 | INTEGER INFRATECH PRIVATE LIMITED
9.60 | Siren Motor | 1.00 | Job |  | 2000.00 | 2000.00 | 200.00 | 200.00 | 1.00 | 1.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 100.00 | 100.00 | 1400.00 | 1400.00 | 2140.00 | 2140.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
10.00 | Servicing, repairing and replacement of defective part like Relay, PCB etc. of Electronic voltage stabilizer for AC units including transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor). | 7.00 | Job |  | 1000.00 | 7000.00 | 500.00 | 3500.00 | 500.00 | 3500.00 | 3000.00 | 21000.00 | 2200.00 | 15400.00 | 20000.00 | 140000.00 | 3000.00 | 21000.00 | 413.00 | 2891.00 | 2140.00 | 14980.00 | 2891.00 | ES SUPPORT PRIVATE LIMITED
11.00 | Calibration of PAPI Clinometer etc. complete as required. | 4.00 | Job |  | 12000.00 | 48000.00 | 13000.00 | 52000.00 | 14000.00 | 56000.00 | 20000.00 | 80000.00 | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 17655.00 | 70620.00 | 4000.00 | Rudraksha Enterprise
12.00 | Inspection, servicing, setting, testing, adjustment, calibration and submission of calibration certificate of following instruments including minor repairs etc. Complete as per site requirement.
12.10 | Voltmeter Digital suitable for AC supply. | 26.00 | Job |  | 500.00 | 13000.00 | 100.00 | 2600.00 | 500.00 | 13000.00 | 200.00 | 5200.00 | 1000.00 | 26000.00 | 1000.00 | 26000.00 | 250.00 | 6500.00 | 413.00 | 10738.00 | 856.00 | 22256.00 | 2600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.20 | Ammeter Digital suitable for AC supply. | 34.00 | Job |  | 500.00 | 17000.00 | 100.00 | 3400.00 | 500.00 | 17000.00 | 200.00 | 6800.00 | 1000.00 | 34000.00 | 1000.00 | 34000.00 | 250.00 | 8500.00 | 413.00 | 14042.00 | 856.00 | 29104.00 | 3400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.30 | Voltmeter Analog | 14.00 | Job |  | 500.00 | 7000.00 | 100.00 | 1400.00 | 500.00 | 7000.00 | 200.00 | 2800.00 | 1000.00 | 14000.00 | 1000.00 | 14000.00 | 250.00 | 3500.00 | 413.00 | 5782.00 | 856.00 | 11984.00 | 1400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.40 | Ammeter Analog | 12.00 | Job |  | 500.00 | 6000.00 | 100.00 | 1200.00 | 500.00 | 6000.00 | 200.00 | 2400.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 250.00 | 3000.00 | 413.00 | 4956.00 | 856.00 | 10272.00 | 1200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.50 | Digital Power Factor (Cos Ø) Meter | 2.00 | Job |  | 500.00 | 1000.00 | 100.00 | 200.00 | 500.00 | 1000.00 | 200.00 | 400.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 250.00 | 500.00 | 413.00 | 826.00 | 856.00 | 1712.00 | 200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.60 | Multi Function Meter | 46.00 | Job |  | 500.00 | 23000.00 | 100.00 | 4600.00 | 500.00 | 23000.00 | 500.00 | 23000.00 | 1000.00 | 46000.00 | 300.00 | 13800.00 | 250.00 | 11500.00 | 413.00 | 18998.00 | 856.00 | 39376.00 | 4600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Calibration of following instruments from NABL approved lab including minor repair etc. complete including submission of test certificate as required.
13.10 | 500/1000/5000 Volts insulation testing meggar | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 413.00 | 826.00 | 856.00 | 1712.00 | 400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.20 | Vernier caliper | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 413.00 | 826.00 | 856.00 | 1712.00 | 400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.30 | Lux Level Meter | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 413.00 | 826.00 | 856.00 | 1712.00 | 400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Decoration of Terminal building facia with golden LED serial lighting and RGB pattern lighting on special occasions/festivals as per the requirements shown below - (i) Minimum no. of LED serial lighting - not less than 6000 LED lights. (ii) Pixel Chaser light batten running linearly on the top of the building, ATC tower, entry gate walls for a length of not more than 1100 m. (iii) LED PAR lights for trees around terminal building - 15 Nos. Type of Decoration will be as per the theme of occasions and upto the statisfaction of the Engineer In-charge/Airport Director.
14.10 | Diwali (Starting from 18.00 hrs. 02 Days prior to Diwali including Diwali day, Gujarati New year day and Bhaiduj day, till 06.00 hrs on day after Bhai dhooj day) /Christmas plus New Year ( from 24th December evening 18:00 hrs till 2nd Jan 06:00 hrs) Each occasion in an year shall be treated as one Job. | 4.00 | Job |  | 20000.00 | 80000.00 | 10000.00 | 40000.00 | 45000.00 | 180000.00 | 25000.00 | 100000.00 | 22000.00 | 88000.00 | 70000.00 | 280000.00 | 10000.00 | 40000.00 | 21000.00 | 84000.00 | 64200.00 | 256800.00 | 40000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Rudraksha Enterprise
15.00 | Decoration of Terminal building facia with LED PAR lights on special occasions/nationally important days as per the requirements shown below - (i) LED PAR lights placed in front of the building in such a way to form Indian National Flag Tricolor on the front side of building - 100 nos. (ii) LED PAR lights for trees around terminal building - 10 Nos. Type of Decoration will be as per the theme of occasions and upto the statisfaction of the Engineer In-charge/Airport Director.
15.10 | Independence day /Republic day /(Starting from 18.00 hrs. on the Day before the Occasions to till 06.00 hrs on the day after the Occasions) Each occasion in an year shall be treated as one Job. | 4.00 | Job |  | 24000.00 | 96000.00 | 10000.00 | 40000.00 | 25000.00 | 100000.00 | 25000.00 | 100000.00 | 22000.00 | 88000.00 | 70000.00 | 280000.00 | 10000.00 | 40000.00 | 21000.00 | 84000.00 | 37450.00 | 149800.00 | 40000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Rudraksha Enterprise
16.00 | Supply of 12 V, 180 Ah lead acid batteries for 125 KVA DG Sets | 4.00 | Each |  | 15600.00 | 62400.00 | 13500.00 | 54000.00 | 5000.00 | 20000.00 | 20000.00 | 80000.00 | 16500.00 | 66000.00 | 22000.00 | 88000.00 | 7000.00 | 28000.00 | 16520.00 | 66080.00 | 13696.00 | 54784.00 | 20000.00 | INTEGER INFRATECH PRIVATE LIMITED
17.00 | Supply of 12 V, 100 Ah lead acid batteries for 10 KVA DG Set | 1.00 | Each |  | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 15000.00 | 15000.00 | 2000.00 | 2000.00 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 6400.00 | 6400.00 | 8025.00 | 8025.00 | 2000.00 | Manish Electricals
18.00 | Painting of street light/Perimeter road light poles, arms with aluminium paint of ( 2 coats) of approved brand and manufacturer, along with one coat of primer, including cleaning and numbering of pole surface as required.
18.10 | Pole with single arm (Height not more than 5 m) - Building side | 10.00 | Job |  | 400.00 | 4000.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 700.00 | 7000.00 | 700.00 | 7000.00 | 540.00 | 5400.00 | 482.00 | 4820.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Manish Electricals
18.20 | Pole with single arm (Height not more than 6 m) - Staff Colony | 12.00 | Job |  | 600.00 | 7200.00 | 350.00 | 4200.00 | 650.00 | 7800.00 | 600.00 | 7200.00 | 350.00 | 4200.00 | 800.00 | 9600.00 | 750.00 | 9000.00 | 540.00 | 6480.00 | 589.00 | 7068.00 | 4200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Manish Electricals
18.30 | Pole with single arm (Height not more than 7 m) - Civil project office | 18.00 | Job |  | 600.00 | 10800.00 | 400.00 | 7200.00 | 700.00 | 12600.00 | 700.00 | 12600.00 | 350.00 | 6300.00 | 900.00 | 16200.00 | 800.00 | 14400.00 | 540.00 | 9720.00 | 696.00 | 12528.00 | 6300.00 | Manish Electricals
18.40 | Perimeter light poles ( dia 9 cm. and height 1.40 meter, with single arm of diameter 4.8 cm and length not more than 0.35 meter) | 321.00 | Job |  | 175.00 | 56175.00 | 150.00 | 48150.00 | 100.00 | 32100.00 | 200.00 | 64200.00 | 150.00 | 48150.00 | 500.00 | 160500.00 | 70.00 | 22470.00 | 590.00 | 189390.00 | 107.00 | 34347.00 | 22470.00 | Rudraksha Enterprise
18.50 | Perimeter Road Boundary Wall light Bracket(dia 4 cm and length 90 cm) | 32.00 | Job |  | 150.00 | 4800.00 | 75.00 | 2400.00 | 150.00 | 4800.00 | 200.00 | 6400.00 | 100.00 | 3200.00 | 300.00 | 9600.00 | 200.00 | 6400.00 | 2100.00 | 67200.00 | 75.00 | 2400.00 | 2400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, ABHISHEK INTEGRATIONS LIMITED
19.00 | Spray painting of sheet metal enclosures/LT panels/Feeder Pillars/DG exhaust pipes/ Control panel with two coats of synthetic/enamel paint of grey or any other colour as approved by AAI, including cleaning the surface , rewriting the identification of the circuit. The electrical accessories shall be covered and protected from dust during painting as required. | 62.00 | Sq.Mtr | 0.00 | 200.00 | 12400.00 | 300.00 | 18600.00 | 350.00 | 21700.00 | 500.00 | 31000.00 | 220.00 | 13640.00 | 1325.00 | 82150.00 | 70.00 | 4340.00 | 118.00 | 7316.00 | 300.00 | 18600.00 | 4340.00 | Rudraksha Enterprise
20.00 | Execution of Complete items of CPWD Delhi schedule of rates (E&M) 2022.[Up to a Ceiling limit of Rs. 1,30,000) without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 130000.00 | Less (-) |  | .10 | 117000.00 | .20 | 104000.00 | .00 | 129870.00 | .00 | 129870.00 | .25 | 97500.00 | 0.00 | 130000.00 | .25 | 97500.00 | .30 | 91000.00 | .10 | 117000.00 | 91000.00 | ES SUPPORT PRIVATE LIMITED
| Total in Figures |  |  |  |  | 9100055.00 |  | 9403004.00 |  | 10116726.00 |  | 9538070.00 |  | 9090740.00 |  | 12000890.00 |  | 9694130.00 |  | 10693453.00 |  | 9805022.00
Lowest Amount Quoted BY: Manish Electricals(9090740.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of E and M installation at kandla airport Tender ID: 2024_AAI_200251_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 9090740.00 | L1
| 2 | Techno Electricals | 9100055.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 9403004.00 | L3
| 4 | CENTRE TAP ENGINEERING | 9538070.00 | L4
| 5 | Rudraksha Enterprise | 9694130.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 9805022.00 | L6
| 7 | INTEGER INFRATECH PRIVATE LIMITED | 10116726.00 | L7
| 8 | ES SUPPORT PRIVATE LIMITED | 10693453.00 | L8
| 9 | SWASTIK ELECTROTECH PRIVATE LIMITED | 12000890.00 | L9