## BoQ1
Government eProcurement System Created By: AJI RAM Created Date/Time: 12-Aug-2024 11:41 AM Tender Title: Pre Induction formalities for CISF Unit Jodhpur Airport. SH Augmentation of CISF infrastructures Tender ID: 2024_AAI_200256_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Civil.), AAI, Civil Enclave, Jodhpur.
Name of Work: Pre-Induction formalities for CISF Unit Jodhpur Airport. (SH : Augmentation of CISF infrastructures)
Contract No: 2024_AAI_200256_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Khairati Lal (GSTN-07ABBPL9082B1ZT) BID ID -723073 |  | Hanumant enterprises(GSTN-NA)--723244 |  | Bhagirath Khawa(GSTN-NA)--723523 |  | MUDIT CONSTRUCTIONS(GSTN-NA)--723425
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared | 7750.00 | sqm | 0.00 | 1.00 | 7750.00 | 5.50 | 42625.00 | 8.95 | 69362.50 | 10.00 | 77500.00 | 7750.00 | Khairati Lal
2.00 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 7750.00 | sqm |  | 18.00 | 139500.00 | 20.00 | 155000.00 | 17.36 | 134540.00 | 10.00 | 77500.00 | 77500.00 | MUDIT CONSTRUCTIONS
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge. All kinds of soil | 455.00 | cum |  | 60.00 | 27300.00 | 115.00 | 52325.00 | 90.25 | 41063.75 | 150.00 | 68250.00 | 27300.00 | Khairati Lal
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 4.00 | cum |  | 200.00 | 800.00 | 58.00 | 232.00 | 64.47 | 257.88 | 100.00 | 400.00 | 232.00 | Hanumant enterprises
5.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 175.00 | cum |  | 98.00 | 17150.00 | 170.00 | 29750.00 | 132.36 | 23163.00 | 150.00 | 26250.00 | 17150.00 | Khairati Lal
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-II) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 424.00 | cum |  | 3250.00 | 1378000.00 | 3700.00 | 1568800.00 | 3463.73 | 1468621.52 | 4200.00 | 1780800.00 | 1378000.00 | Khairati Lal
7.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level. Concrete of M25 grade with minimum cement content of 330 kg /cum | 303.00 | cum |  | 6000.00 | 1818000.00 | 5000.00 | 1515000.00 | 4799.52 | 1454254.56 | 6000.00 | 1818000.00 | 1454254.56 | Bhagirath Khawa
8.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 18.70 | cum |  | 100.00 | 1870.00 | 100.00 | 1870.00 | 99.66 | 1863.64 | 100.00 | 1870.00 | 1863.64 | Bhagirath Khawa
9.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete | 235.00 | cum |  | 1400.00 | 329000.00 | 1392.00 | 327120.00 | 1080.00 | 253800.00 | 1500.00 | 352500.00 | 253800.00 | Bhagirath Khawa
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 407.00 | cum |  | 6000.00 | 2442000.00 | 5600.00 | 2279200.00 | 4980.36 | 2027006.52 | 6000.00 | 2442000.00 | 2027006.52 | Bhagirath Khawa
11.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 234.30 | quintal |  | 600.00 | 140580.00 | 363.00 | 85050.90 | 373.22 | 87445.45 | 500.00 | 117150.00 | 85050.90 | Hanumant enterprises
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 37875.00 | kg |  | 72.00 | 2727000.00 | 70.00 | 2651250.00 | 95.00 | 3598125.00 | 80.00 | 3030000.00 | 2651250.00 | Hanumant enterprises
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 50875.00 | kg |  | 70.00 | 3561250.00 | 70.00 | 3561250.00 | 95.00 | 4833125.00 | 80.00 | 4070000.00 | 3561250.00 | Khairati Lal, Hanumant enterprises
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 783.10 | sqm |  | 180.00 | 140958.00 | 171.00 | 133910.10 | 199.32 | 156087.49 | 400.00 | 313240.00 | 133910.10 | Hanumant enterprises
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 239.15 | sqm |  | 350.00 | 83702.50 | 576.00 | 137750.40 | 428.64 | 102509.26 | 450.00 | 107617.50 | 83702.50 | Khairati Lal
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 1168.26 | sqm |  | 350.00 | 408891.00 | 520.00 | 607495.20 | 471.36 | 550671.03 | 450.00 | 525717.00 | 408891.00 | Khairati Lal
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 1416.00 | sqm |  | 300.00 | 424800.00 | 400.00 | 566400.00 | 374.24 | 529923.84 | 450.00 | 637200.00 | 424800.00 | Khairati Lal
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 870.00 | sqm |  | 328.00 | 285360.00 | 406.00 | 353220.00 | 488.64 | 425116.80 | 450.00 | 391500.00 | 285360.00 | Khairati Lal
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for Stairs, (excluding landings) except spiral-staircases | 69.83 | sqm |  | 418.00 | 29188.94 | 500.00 | 34915.00 | 388.98 | 27162.47 | 1000.00 | 69830.00 | 27162.47 | Bhagirath Khawa
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 61.00 | cum |  | 5600.00 | 341600.00 | 4870.00 | 297070.00 | 3626.44 | 221212.84 | 6000.00 | 366000.00 | 221212.84 | Bhagirath Khawa
21.00 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) : With F.P.S.(non modular) bricks | 412.00 | cum |  | 5000.00 | 2060000.00 | 5100.00 | 2101200.00 | 4728.81 | 1948269.72 | 6500.00 | 2678000.00 | 1948269.72 | Bhagirath Khawa
22.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 115.00 | sqm |  | 600.00 | 69000.00 | 600.00 | 69000.00 | 571.53 | 65725.95 | 700.00 | 80500.00 | 65725.95 | Bhagirath Khawa
23.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 2062.00 | sqm |  | 200.00 | 412400.00 | 250.00 | 515500.00 | 169.32 | 349137.84 | 275.00 | 567050.00 | 349137.84 | Bhagirath Khawa
24.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 2062.00 | sqm |  | 218.00 | 449516.00 | 250.00 | 515500.00 | 194.75 | 401574.50 | 325.00 | 670150.00 | 401574.50 | Bhagirath Khawa
25.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 1477.00 | sqm |  | 182.00 | 268814.00 | 250.00 | 369250.00 | 152.54 | 225301.58 | 300.00 | 443100.00 | 225301.58 | Bhagirath Khawa
26.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 356.00 | sqm |  | 2400.00 | 854400.00 | 2400.00 | 854400.00 | 2611.53 | 929704.68 | 3000.00 | 1068000.00 | 854400.00 | Khairati Lal, Hanumant enterprises
27.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand nd manufacturer, over the plastered wall surface to prepare the surface even and smooth complete | 3539.00 | sqm |  | 70.00 | 247730.00 | 80.00 | 283120.00 | 79.35 | 280819.65 | 100.00 | 353900.00 | 247730.00 | Khairati Lal
28.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 3808.00 | sqm |  | 80.00 | 304640.00 | 80.00 | 304640.00 | 94.58 | 360160.64 | 80.00 | 304640.00 | 304640.00 | Khairati Lal, Hanumant enterprises, MUDIT CONSTRUCTIONS
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 1644.00 | sqm |  | 80.00 | 131520.00 | 90.00 | 147960.00 | 81.86 | 134577.84 | 80.00 | 131520.00 | 131520.00 | Khairati Lal, MUDIT CONSTRUCTIONS
30.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab of all colour and texture except Black, Cherry/Ruby Red | 1335.00 | sqm |  | 2300.00 | 3070500.00 | 2700.00 | 3604500.00 | 1561.53 | 2084642.55 | 3000.00 | 4005000.00 | 2084642.55 | Bhagirath Khawa
31.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 500.00 | sqm |  | 980.00 | 490000.00 | 950.00 | 475000.00 | 789.66 | 394830.00 | 1000.00 | 500000.00 | 394830.00 | Bhagirath Khawa
32.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 50.00 | sqm |  | 980.00 | 49000.00 | 1000.00 | 50000.00 | 825.25 | 41262.50 | 1000.00 | 50000.00 | 41262.50 | Bhagirath Khawa
33.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 419.00 | sqm |  | 670.00 | 280730.00 | 870.00 | 364530.00 | 644.75 | 270150.25 | 900.00 | 377100.00 | 270150.25 | Bhagirath Khawa
34.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 3062.00 | kg |  | 460.00 | 1408520.00 | 480.00 | 1469760.00 | 274.58 | 840763.96 | 427.00 | 1307474.00 | 840763.96 | Bhagirath Khawa
35.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 3062.00 | kg |  | 500.00 | 1531000.00 | 500.00 | 1531000.00 | 274.58 | 840763.96 | 427.00 | 1307474.00 | 840763.96 | Bhagirath Khawa
36.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 175.00 | sqm |  | 1500.00 | 262500.00 | 1100.00 | 192500.00 | 765.25 | 133918.75 | 800.00 | 140000.00 | 133918.75 | Bhagirath Khawa
37.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 3.00 | cum |  | 150000.00 | 450000.00 | 83500.00 | 250500.00 | 72686.44 | 218059.32 | 150000.00 | 450000.00 | 218059.32 | Bhagirath Khawa
38.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) nondecorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 101.00 | sqm |  | 1600.00 | 161600.00 | 3000.00 | 303000.00 | 1610.85 | 162695.85 | 2100.00 | 212100.00 | 161600.00 | Khairati Lal
39.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineerin-Charge. | 92.00 | mtr |  | 260.00 | 23920.00 | 750.00 | 69000.00 | 250.68 | 23062.56 | 600.00 | 55200.00 | 23062.56 | Bhagirath Khawa
40.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC ‘C’ channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the ‘C’ Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer’s specification & drawing. 30 mm thick plain PVC door shutters | 34.00 | sqm |  | 3000.00 | 102000.00 | 2790.00 | 94860.00 | 1618.47 | 55027.98 | 2100.00 | 71400.00 | 55027.98 | Bhagirath Khawa
41.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 2164.00 | sqm |  | 60.00 | 129840.00 | 115.00 | 248860.00 | 66.10 | 143040.40 | 70.00 | 151480.00 | 129840.00 | Khairati Lal
42.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 111.00 | sqm |  | 600.00 | 66600.00 | 580.00 | 64380.00 | 536.95 | 59601.45 | 800.00 | 88800.00 | 59601.45 | Bhagirath Khawa
43.00 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.40 mm wide and 4 mm thick | 33.00 | mtr |  | 70.00 | 2310.00 | 60.00 | 1980.00 | 46.78 | 1543.74 | 100.00 | 3300.00 | 1543.74 | Bhagirath Khawa
44.00 | Extra for making chequers of approved pattern on cement concrete floors, steps, landing, pavements etc. | 111.00 | sqm |  | 10.00 | 1110.00 | 70.00 | 7770.00 | 42.71 | 4740.81 | 50.00 | 5550.00 | 1110.00 | Khairati Lal
45.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete | 40.00 | each |  | 1200.00 | 48000.00 | 1500.00 | 60000.00 | 572.03 | 22881.20 | 1200.00 | 48000.00 | 22881.20 | Bhagirath Khawa
46.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250 x 16 mm | 98.00 | each |  | 250.00 | 24500.00 | 520.00 | 50960.00 | 132.71 | 13005.58 | 150.00 | 14700.00 | 13005.58 | Bhagirath Khawa
47.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 40.00 | each |  | 110.00 | 4400.00 | 90.00 | 3600.00 | 58.47 | 2338.80 | 100.00 | 4000.00 | 2338.80 | Bhagirath Khawa
48.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 18.00 | each |  | 80.00 | 1440.00 | 60.00 | 1080.00 | 33.05 | 594.90 | 100.00 | 1800.00 | 594.90 | Bhagirath Khawa
49.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 98.00 | each |  | 60.00 | 5880.00 | 60.00 | 5880.00 | 30.51 | 2989.98 | 100.00 | 9800.00 | 2989.98 | Bhagirath Khawa
50.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 58.00 | each |  | 110.00 | 6380.00 | 80.00 | 4640.00 | 36.61 | 2123.38 | 100.00 | 5800.00 | 2123.38 | Bhagirath Khawa
51.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete 250x16x5 mm | 18.00 | each |  | 260.00 | 4680.00 | 260.00 | 4680.00 | 156.61 | 2818.98 | 100.00 | 1800.00 | 1800.00 | MUDIT CONSTRUCTIONS
52.00 | Providing and fixing Brass 100 mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 5.00 | each |  | 1400.00 | 7000.00 | 925.00 | 4625.00 | 254.24 | 1271.20 | 600.00 | 3000.00 | 1271.20 | Bhagirath Khawa
53.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in- charge. With stainless steel cover plate minimum 1.25 mm thickness | 5.00 | each |  | 3500.00 | 17500.00 | 5200.00 | 26000.00 | 1435.93 | 7179.65 | 3000.00 | 15000.00 | 7179.65 | Bhagirath Khawa
54.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 5.00 | each |  | 6000.00 | 30000.00 | 4000.00 | 20000.00 | 3440.85 | 17204.25 | 6000.00 | 30000.00 | 17204.25 | Bhagirath Khawa
55.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | each |  | 3500.00 | 14000.00 | 7500.00 | 30000.00 | 3313.22 | 13252.88 | 10000.00 | 40000.00 | 13252.88 | Bhagirath Khawa
56.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Range of four half stall urinals with 10 litre P.V.C. automatic flushing cistern | 7.00 | each |  | 18000.00 | 126000.00 | 63800.00 | 446600.00 | 13204.58 | 92432.06 | 8000.00 | 56000.00 | 56000.00 | MUDIT CONSTRUCTIONS
57.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 17.00 | each |  | 1600.00 | 27200.00 | 2900.00 | 49300.00 | 1346.95 | 22898.15 | 1000.00 | 17000.00 | 17000.00 | MUDIT CONSTRUCTIONS
58.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 6.00 | each |  | 4500.00 | 27000.00 | 5200.00 | 31200.00 | 2512.37 | 15074.22 | 4000.00 | 24000.00 | 15074.22 | Bhagirath Khawa
59.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 23.00 | each |  | 100.00 | 2300.00 | 170.00 | 3910.00 | 61.02 | 1403.46 | 100.00 | 2300.00 | 1403.46 | Bhagirath Khawa
60.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | 17.00 | each |  | 1050.00 | 17850.00 | 1250.00 | 21250.00 | 817.63 | 13899.71 | 1800.00 | 30600.00 | 13899.71 | Bhagirath Khawa
61.00 | Providing and fixing toilet paper holder : C.P. brass | 4.00 | each |  | 480.00 | 1920.00 | 700.00 | 2800.00 | 408.81 | 1635.24 | 1000.00 | 4000.00 | 1635.24 | Bhagirath Khawa
62.00 | Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms | 7.00 | each |  | 400.00 | 2800.00 | 350.00 | 2450.00 | 117.97 | 825.79 | 500.00 | 3500.00 | 825.79 | Bhagirath Khawa
63.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 6.00 | each |  | 400.00 | 2400.00 | 870.00 | 5220.00 | 360.51 | 2163.06 | 500.00 | 3000.00 | 2163.06 | Bhagirath Khawa
64.00 | Providing and fixing PTMT shelf 440 mm long, 124 mm width and 36 mm height of approved quality and colour, weighing not less than 300 gms. | 6.00 | each |  | 300.00 | 1800.00 | 2900.00 | 17400.00 | 362.54 | 2175.24 | 500.00 | 3000.00 | 1800.00 | Khairati Lal
65.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 11.00 | each |  | 500.00 | 5500.00 | 580.00 | 6380.00 | 257.80 | 2835.80 | 1000.00 | 11000.00 | 2835.80 | Bhagirath Khawa
66.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 30 cm length 15 mm nominal bore | 17.00 | each |  | 110.00 | 1870.00 | 230.00 | 3910.00 | 43.22 | 734.74 | 100.00 | 1700.00 | 734.74 | Bhagirath Khawa
67.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet 100 mm diameter | 6.00 | each |  | 500.00 | 3000.00 | 750.00 | 4500.00 | 98.64 | 591.84 | 1000.00 | 6000.00 | 591.84 | Bhagirath Khawa
68.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support Including fittings & fixtures for tank shall be paid separately | 3500.00 | per ltr |  | 9.00 | 31500.00 | 12.00 | 42000.00 | 5.59 | 19565.00 | 9.00 | 31500.00 | 19565.00 | Bhagirath Khawa
69.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 14.00 | each |  | 600.00 | 8400.00 | 1000.00 | 14000.00 | 406.27 | 5687.78 | 1000.00 | 14000.00 | 5687.78 | Bhagirath Khawa
70.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 13.00 | each |  | 370.00 | 4810.00 | 1000.00 | 13000.00 | 340.68 | 4428.84 | 1000.00 | 13000.00 | 4428.84 | Bhagirath Khawa
71.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser 15 mm nominal bore | 24.00 | each |  | 380.00 | 9120.00 | 580.00 | 13920.00 | 291.86 | 7004.64 | 1000.00 | 24000.00 | 7004.64 | Bhagirath Khawa
72.00 | Providing and fixing PTMT soap Dish Holder having length of 138 mm, breadth 102 mm, height of 75 mm with concealed fitting arrangements, weighing not less than 106 gms | 17.00 | each |  | 400.00 | 6800.00 | 125.00 | 2125.00 | 56.44 | 959.48 | 800.00 | 13600.00 | 959.48 | Bhagirath Khawa
73.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 80 mm nominal dia Pipes | 450.00 | mtr |  | 1390.00 | 625500.00 | 1700.00 | 765000.00 | 508.47 | 228811.50 | 700.00 | 315000.00 | 228811.50 | Bhagirath Khawa
74.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 20.00 | mtr |  | 250.00 | 5000.00 | 350.00 | 7000.00 | 204.41 | 4088.20 | 300.00 | 6000.00 | 4088.20 | Bhagirath Khawa
75.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 50 mm nominal dia Pipes | 50.00 | mtr |  | 400.00 | 20000.00 | 650.00 | 32500.00 | 474.92 | 23746.00 | 500.00 | 25000.00 | 20000.00 | Khairati Lal
76.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 30.00 | mtr |  | 180.00 | 5400.00 | 350.00 | 10500.00 | 253.22 | 7596.60 | 250.00 | 7500.00 | 5400.00 | Khairati Lal
77.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and ixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 40.00 | mtr |  | 200.00 | 8000.00 | 550.00 | 22000.00 | 318.81 | 12752.40 | 250.00 | 10000.00 | 8000.00 | Khairati Lal
78.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 6.00 | each |  | 600.00 | 3600.00 | 925.00 | 5550.00 | 316.27 | 1897.62 | 800.00 | 4800.00 | 1897.62 | Bhagirath Khawa
79.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 80 mm nominal bore | 3.00 | each |  | 2200.00 | 6600.00 | 2900.00 | 8700.00 | 1324.58 | 3973.74 | 6000.00 | 18000.00 | 3973.74 | Bhagirath Khawa
80.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 4.00 | each |  | 900.00 | 3600.00 | 2300.00 | 9200.00 | 522.20 | 2088.80 | 3000.00 | 12000.00 | 2088.80 | Bhagirath Khawa
81.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 4.00 | each |  | 400.00 | 1600.00 | 700.00 | 2800.00 | 235.42 | 941.68 | 1000.00 | 4000.00 | 941.68 | Bhagirath Khawa
82.00 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 3.00 | each |  | 7000.00 | 21000.00 | 11600.00 | 34800.00 | 5523.05 | 16569.15 | 5000.00 | 15000.00 | 15000.00 | MUDIT CONSTRUCTIONS
83.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 43.00 | mtr |  | 270.00 | 11610.00 | 170.00 | 7310.00 | 191.69 | 8242.67 | 500.00 | 21500.00 | 7310.00 | Hanumant enterprises
84.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 6.00 | each |  | 100.00 | 600.00 | 120.00 | 720.00 | 76.27 | 457.62 | 300.00 | 1800.00 | 457.62 | Bhagirath Khawa
85.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion Shoe (Plain) 110 mm shoe | 6.00 | each |  | 100.00 | 600.00 | 120.00 | 720.00 | 67.12 | 402.72 | 300.00 | 1800.00 | 402.72 | Bhagirath Khawa
86.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 36.00 | each |  | 100.00 | 3600.00 | 120.00 | 4320.00 | 188.64 | 6791.04 | 100.00 | 3600.00 | 3600.00 | Khairati Lal, MUDIT CONSTRUCTIONS
87.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 6.00 | each |  | 40.00 | 240.00 | 230.00 | 1380.00 | 27.97 | 167.82 | 100.00 | 600.00 | 167.82 | Bhagirath Khawa
88.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 4.00 | each |  | 60.00 | 240.00 | 175.00 | 700.00 | 26.95 | 107.80 | 100.00 | 400.00 | 107.80 | Bhagirath Khawa
89.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 2.00 | mtr |  | 70.00 | 140.00 | 2550.00 | 5100.00 | 585.76 | 1171.52 | 1200.00 | 2400.00 | 140.00 | Khairati Lal
90.00 | Providing and fixing terminal guard : 100 mm Sand cast iron S&S as per IS - 1729 | 1.00 | each |  | 380.00 | 380.00 | 290.00 | 290.00 | 224.75 | 224.75 | 600.00 | 600.00 | 224.75 | Bhagirath Khawa
91.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 1.00 | each |  | 400.00 | 400.00 | 580.00 | 580.00 | 316.78 | 316.78 | 1000.00 | 1000.00 | 316.78 | Bhagirath Khawa
92.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete 100 mm diameter | 90.00 | mtr |  | 370.00 | 33300.00 | 580.00 | 52200.00 | 225.76 | 20318.40 | 500.00 | 45000.00 | 20318.40 | Bhagirath Khawa
93.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 100 mm diameter S.W. pipe | 90.00 | mtr |  | 370.00 | 33300.00 | 1050.00 | 94500.00 | 490.68 | 44161.20 | 800.00 | 72000.00 | 33300.00 | Khairati Lal
94.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | each |  | 1800.00 | 7200.00 | 2900.00 | 11600.00 | 1376.95 | 5507.80 | 5000.00 | 20000.00 | 5507.80 | Bhagirath Khawa
95.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 250.00 | mtr |  | 680.00 | 170000.00 | 1350.00 | 337500.00 | 505.42 | 126355.00 | 800.00 | 200000.00 | 126355.00 | Bhagirath Khawa
96.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | each |  | 8000.00 | 40000.00 | 11600.00 | 58000.00 | 6493.73 | 32468.65 | 9000.00 | 45000.00 | 32468.65 | Bhagirath Khawa
97.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Galvanised M.S. Wire gauze with 0.63 mm dia wire and 1.4 mm aperture on both sides | 174.60 | sqm |  | 700.00 | 122220.00 | 850.00 | 148410.00 | 429.66 | 75018.64 | 750.00 | 130950.00 | 75018.64 | Bhagirath Khawa
98.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 1746.00 | kg |  | 110.00 | 192060.00 | 110.00 | 192060.00 | 121.02 | 211300.92 | 100.00 | 174600.00 | 174600.00 | MUDIT CONSTRUCTIONS
99.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1700.00 | kg |  | 86.00 | 146200.00 | 110.00 | 187000.00 | 87.97 | 149549.00 | 100.00 | 170000.00 | 146200.00 | Khairati Lal
100.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | kg |  | 86.00 | 43000.00 | 110.00 | 55000.00 | 68.14 | 34070.00 | 100.00 | 50000.00 | 34070.00 | Bhagirath Khawa
101.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 2393.44 | kg |  | 110.00 | 263278.40 | 110.00 | 263278.40 | 98.64 | 236088.92 | 100.00 | 239344.00 | 236088.92 | Bhagirath Khawa
102.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 413.00 | kg |  | 450.00 | 185850.00 | 550.00 | 227150.00 | 392.54 | 162119.02 | 500.00 | 206500.00 | 162119.02 | Bhagirath Khawa
103.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | 32.00 | sqm |  | 800.00 | 25600.00 | 900.00 | 28800.00 | 731.69 | 23414.08 | 1000.00 | 32000.00 | 23414.08 | Bhagirath Khawa
104.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 461.00 | sqm |  | 650.00 | 299650.00 | 700.00 | 322700.00 | 375.76 | 173225.36 | 600.00 | 276600.00 | 173225.36 | Bhagirath Khawa
105.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With ready mixed pink or grey primer on wood work (hard and soft wood) having VOC content less than 50 grams/ litre | 202.00 | sqm |  | 20.00 | 4040.00 | 115.00 | 23230.00 | 35.59 | 7189.18 | 50.00 | 10100.00 | 4040.00 | Khairati Lal
106.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5 mm thick) wire of high tensile strength of 165 kg/ sq. mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 320.54 | mtr |  | 260.00 | 83340.40 | 400.00 | 128216.00 | 191.19 | 61284.04 | 300.00 | 96162.00 | 61284.04 | Bhagirath Khawa
107.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 25x25 mm made of G.I. wire of dia 3 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. | 422.40 | sqm |  | 860.00 | 363264.00 | 1150.00 | 485760.00 | 584.24 | 246782.98 | 450.00 | 190080.00 | 190080.00 | MUDIT CONSTRUCTIONS
108.00 | Painting with synthetic enamel paint of approved brand and anufacture to give an even shade : Two or more coats on new work | 500.00 | sqm |  | 100.00 | 50000.00 | 92.00 | 46000.00 | 79.32 | 39660.00 | 100.00 | 50000.00 | 39660.00 | Bhagirath Khawa
109.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 2552.00 | sqm |  | 700.00 | 1786400.00 | 870.00 | 2220240.00 | 494.24 | 1261300.48 | 727.00 | 1855304.00 | 1261300.48 | Bhagirath Khawa
110.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 10.00 | cum |  | 8500.00 | 85000.00 | 8100.00 | 81000.00 | 5144.75 | 51447.50 | 6500.00 | 65000.00 | 51447.50 | Bhagirath Khawa
111.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 25 mm dia | 116.00 | mtr |  | 380.00 | 44080.00 | 475.00 | 55100.00 | 267.46 | 31025.36 | 100.00 | 11600.00 | 11600.00 | MUDIT CONSTRUCTIONS
112.00 | Providing and fixing 25 mm thick shutters for cup board etc. : Panelled or panelled & glazed shutters : Second class teak wood including ISI marked anodised aluminium butt hinges with necessary screws | 55.00 | sqm |  | 2000.00 | 110000.00 | 3200.00 | 176000.00 | 2033.90 | 111864.50 | 4000.00 | 220000.00 | 110000.00 | Khairati Lal
113.00 | Providing and fixing 75 mm high, 50 mm deep and 18 mm thick stone slab table rubbed, edges rounded and polished, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade | 3.38 | sqm |  | 3000.00 | 10140.00 | 3400.00 | 11492.00 | 2033.90 | 6874.58 | 5000.00 | 16900.00 | 6874.58 | Bhagirath Khawa
114.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-II) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 6.00 | cum |  | 5200.00 | 31200.00 | 4800.00 | 28800.00 | 762.71 | 4576.26 | 5000.00 | 30000.00 | 4576.26 | Bhagirath Khawa
115.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | 2.00 | cum |  | 1000.00 | 2000.00 | 800.00 | 1600.00 | 764.75 | 1529.50 | 1000.00 | 2000.00 | 1529.50 | Bhagirath Khawa
116.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 20.00 | sqm |  | 100.00 | 2000.00 | 230.00 | 4600.00 | 67.12 | 1342.40 | 50.00 | 1000.00 | 1000.00 | MUDIT CONSTRUCTIONS
117.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge | .75 | cum |  | 1000.00 | 750.00 | 4350.00 | 3262.50 | 214.07 | 160.55 | 500.00 | 375.00 | 160.55 | Bhagirath Khawa
118.00 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete. 0.80 mm thick with zinc coating not less than 275 gm/m² | 23.00 | mtr |  | 1200.00 | 27600.00 | 700.00 | 16100.00 | 550.68 | 12665.64 | 500.00 | 11500.00 | 11500.00 | MUDIT CONSTRUCTIONS
119.00 | Providing and fixing 15 cm wide, 45 cm overall semi-circular plain G.S. sheet gutter with iron brackets 40x3mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete 0.80 mm thick with zinc coating not less than 275 gm/m² | 46.00 | mtr |  | 1200.00 | 55200.00 | 580.00 | 26680.00 | 523.73 | 24091.58 | 500.00 | 23000.00 | 23000.00 | MUDIT CONSTRUCTIONS
120.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 46.00 | each |  | 600.00 | 27600.00 | 580.00 | 26680.00 | 497.80 | 22898.80 | 1000.00 | 46000.00 | 22898.80 | Bhagirath Khawa
121.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 585.65 | sqm |  | 1410.00 | 825766.50 | 950.00 | 556367.50 | 856.78 | 501773.21 | 600.00 | 351390.00 | 351390.00 | MUDIT CONSTRUCTIONS
122.00 | Providing and laying C.C. pavement of mix M-25 with ready mixed concrete from batching plant. The ready mixed concrete shall be laid and finished with screed board vibrator , vacuum dewatering process and finally finished by floating, brooming with wire brush etc. complete as per specifications and directions of Engineer-in-charge. (The panel shuttering work shall be paid for separately). (Note:- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/ recoverable separately). | 200.00 | cum |  | 5600.00 | 1120000.00 | 5800.00 | 1160000.00 | 4995.25 | 999050.00 | 6000.00 | 1200000.00 | 999050.00 | Bhagirath Khawa
123.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres | 1625.00 | sqm |  | 60.00 | 97500.00 | 81.00 | 131625.00 | 111.36 | 180960.00 | 50.00 | 81250.00 | 81250.00 | MUDIT CONSTRUCTIONS
124.00 | Providing and fixing kota stone slabs for racks/kitchen platforms over brickwall or M.S support. (Cost should be excluding of M.S. angle or brickwall but including chasing and fixing on wall. (kota stone slab minimum 25 mm thick). | 520.00 | sqm |  | 1200.00 | 624000.00 | 1160.00 | 603200.00 | 2033.90 | 1057628.00 | 800.00 | 416000.00 | 416000.00 | MUDIT CONSTRUCTIONS
125.00 | Providing and laying in position for expansion joint, 25mm thick pre-cut synthetic joint filler board of approved make conforming to IS:1838 (Part-3)-2011, 45 mm from top (to be removed at the time of filling of polysulphide sealant). Complete as per particular specifications and directions of Engineer-in-charge. (Note: Mode of measurement shall be length of joint multiplied by depth of filler board including pre-cut portion). | 7.00 | sqm |  | 1800.00 | 12600.00 | 1740.00 | 12180.00 | 5084.75 | 35593.25 | 1000.00 | 7000.00 | 7000.00 | MUDIT CONSTRUCTIONS
126.00 | Providing and filling polysulphide and laying in two parts with gun/ pour grade polyslphide Pidiseal-42 of Pidilite / Techseal NDL 940 of Choksey or equilant including primer suitable for polysulphide in construction joint,dummy joints and expansion joints as per direction of Engineer-in-charge. (a) Expansion Joint with 30 mm dia non-cross-linked Expanded polyethylene armour rod as per manufacturers | 900000.00 | cucm |  | .80 | 720000.00 | 1.00 | 900000.00 | .51 | 459000.00 | .90 | 810000.00 | 459000.00 | Bhagirath Khawa
127.00 | Providing and filling polysulphide and laying in two parts with gun/ pour grade polyslphide Pidiseal-42 of Pidilite / Techseal NDL 940 of Choksey or equilant including primer suitable for polysulphide in construction joint,dummy joints and expansion joints as per direction of Engineer-in-charge. (b) Dummy Joint with 12 mm dia non-cross-linked Expanded polyethylene armour rod as per manufacturers | 3025000.00 | cucm |  | .60 | 1815000.00 | 1.00 | 3025000.00 | .51 | 1542750.00 | .60 | 1815000.00 | 1542750.00 | Bhagirath Khawa
128.00 | Providing detailed structural design, all drawings with detailing & plan, elevation & sections, including plumbing & sewerage system drawings for the work of "Pre-Induction formalities for CISF Unit Jodhpur Airport. (SH : Augmentation of CISF infrastructures)" and all related work (For G+2 structure). Design should be based on latest BIS codes and standard engineering practice. The design shall be prepared by qualified and registered structural consultant, approved by Engineer-in-charge, all complete as per attached drawings of the CISF complex. The design & drawings shall be vetted and got approved from Govt. Engineer College/NIT/IIT. The agency shall be solely responsible for the adequacy and structural safety of the proposed structure. After approval of structural design & drawing 5 (Five) set on A-1 size paper of good for construction design & drawing showinig all relevant details shall be submitted duly signed by consultant. | 1.00 | JOB |  | 180000.00 | 180000.00 | 600127.00 | 600127.00 | 2820000.00 | 2820000.00 | 300000.00 | 300000.00 | 180000.00 | Khairati Lal
129.00 | Wiring for light point/fan point/exhaust fan point/ call bell point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 350.00 | Point |  | 1360.00 | 476000.00 | 1295.00 | 453250.00 | 762.71 | 266948.50 | 1500.00 | 525000.00 | 266948.50 | Bhagirath Khawa
130.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required | 2.00 | Point |  | 1500.00 | 3000.00 | 1300.00 | 2600.00 | 762.71 | 1525.42 | 1500.00 | 3000.00 | 1525.42 | Bhagirath Khawa
131.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 450.00 | Meter |  | 260.00 | 117000.00 | 325.00 | 146250.00 | 101.69 | 45760.50 | 250.00 | 112500.00 | 45760.50 | Bhagirath Khawa
132.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 400.00 | Meter |  | 318.00 | 127200.00 | 595.00 | 238000.00 | 152.54 | 61016.00 | 300.00 | 120000.00 | 61016.00 | Bhagirath Khawa
133.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 300.00 | Meter |  | 400.00 | 120000.00 | 850.00 | 255000.00 | 152.54 | 45762.00 | 600.00 | 180000.00 | 45762.00 | Bhagirath Khawa
134.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 200.00 | Meter |  | 350.00 | 70000.00 | 785.00 | 157000.00 | 203.39 | 40678.00 | 600.00 | 120000.00 | 40678.00 | Bhagirath Khawa
135.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 100.00 | Meter |  | 418.00 | 41800.00 | 950.00 | 95000.00 | 254.24 | 25424.00 | 800.00 | 80000.00 | 25424.00 | Bhagirath Khawa
136.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 100.00 | Meter |  | 250.00 | 25000.00 | 125.00 | 12500.00 | 50.85 | 5085.00 | 200.00 | 20000.00 | 5085.00 | Bhagirath Khawa
137.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25 mm | 100.00 | Meter |  | 260.00 | 26000.00 | 150.00 | 15000.00 | 50.85 | 5085.00 | 250.00 | 25000.00 | 5085.00 | Bhagirath Khawa
138.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 40.00 | Each |  | 90.00 | 3600.00 | 250.00 | 10000.00 | 101.69 | 4067.60 | 80.00 | 3200.00 | 3200.00 | MUDIT CONSTRUCTIONS
139.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amp switch | 47.00 | Each |  | 130.00 | 6110.00 | 250.00 | 11750.00 | 101.69 | 4779.43 | 120.00 | 5640.00 | 4779.43 | Bhagirath Khawa
140.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 40.00 | Each |  | 90.00 | 3600.00 | 225.00 | 9000.00 | 101.69 | 4067.60 | 100.00 | 4000.00 | 3600.00 | Khairati Lal
141.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 amp socket outlet | 47.00 | Each |  | 140.00 | 6580.00 | 450.00 | 21150.00 | 101.69 | 4779.43 | 200.00 | 9400.00 | 4779.43 | Bhagirath Khawa
142.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each |  | 10.00 | 100.00 | 110.00 | 1100.00 | 101.69 | 1016.90 | 50.00 | 500.00 | 100.00 | Khairati Lal
143.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 12.00 | Each |  | 250.00 | 3000.00 | 850.00 | 10200.00 | 101.69 | 1220.28 | 200.00 | 2400.00 | 1220.28 | Bhagirath Khawa
144.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 50.00 | Each |  | 325.00 | 16250.00 | 999.00 | 49950.00 | 101.69 | 5084.50 | 250.00 | 12500.00 | 5084.50 | Bhagirath Khawa
145.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 50.00 | Each |  | 390.00 | 19500.00 | 1000.00 | 50000.00 | 101.69 | 5084.50 | 300.00 | 15000.00 | 5084.50 | Bhagirath Khawa
146.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. 8 Module (125mmX125mm) / (75mmX225mm) | 16.00 | Each |  | 500.00 | 8000.00 | 950.00 | 15200.00 | 101.69 | 1627.04 | 300.00 | 4800.00 | 1627.04 | Bhagirath Khawa
147.00 | Supplying and fixing 8 way (4 + 24), Double door way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 5.00 | Each |  | 4000.00 | 20000.00 | 15000.00 | 75000.00 | 5084.75 | 25423.75 | 5000.00 | 25000.00 | 20000.00 | Khairati Lal
148.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 120.00 | Each |  | 260.00 | 31200.00 | 450.00 | 54000.00 | 254.24 | 30508.80 | 150.00 | 18000.00 | 18000.00 | MUDIT CONSTRUCTIONS
149.00 | Supplying and fixing 63A rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 4200.00 | 21000.00 | 2850.00 | 14250.00 | 1016.95 | 5084.75 | 1000.00 | 5000.00 | 5000.00 | MUDIT CONSTRUCTIONS
| Total in Figures |  |  |  |  | 39078589.74 |  | 44096702.00 |  | 37940087.09 |  | 42740757.50
Lowest Amount Quoted BY: Bhagirath Khawa(37940087.09)

## BOQ Summary
BOQ Summary Details Tender Title: Pre Induction formalities for CISF Unit Jodhpur Airport. SH Augmentation of CISF infrastructures Tender ID: 2024_AAI_200256_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bhagirath Khawa | 37940087.09 | L1
| 2 | Khairati Lal | 39078589.74 | L2
| 3 | MUDIT CONSTRUCTIONS | 42740757.50 | L3
| 4 | Hanumant enterprises | 44096702.00 | L4