## BoQ1
Government eProcurement System Created By: Damu D Created Date/Time: 14-Aug-2024 04:06 PM Tender Title: Construction of double gate security system including compound wall bollards security booth etc at Mysuru Airport SH Civil Works Tender ID: 2024_AAI_201538_1
Tender Inviting Authority: Senior Manager (Engg-c), AAI, Mysuru Airport, Mysuru.
Name of Work: Construction of double gate security system including compound wall, bollards, security booth etc., at Mysuru Airport.SH: Civil Works
Contract No: 2024_AAI_201538_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARATH CHANDRA CONSTRUCTIONS (GSTN-36ACEFS6222N1ZS) BID ID -728681 |  | JJ Constructions(GSTN-NA)--729805
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.a) All kinds of soil | 39.00 | Cum | 8541.00 | 250.00 | 9750.00 | 170.00 | 6630.00 | 6630.00 | JJ Constructions
2.00 | Earth work in excavation by mechnical means ( hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan ) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m.a) All kinds of soil. | 143.00 | Cum | 995468.00 | 250.00 | 35750.00 | 210.00 | 30030.00 | 30030.00 | JJ Constructions
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a)1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 12.00 | Cum | 8541.00 | 5000.00 | 60000.00 | 5800.00 | 69600.00 | 60000.00 | SARATH CHANDRA CONSTRUCTIONS
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :a) Foundations, footings, bases of columns, etc. for mass concrete | 65.00 | Sqm | 995468.00 | 400.00 | 26000.00 | 342.00 | 22230.00 | 22230.00 | JJ Constructions
5.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 43.00 | Cum | 8541.00 | 5500.00 | 236500.00 | 5500.00 | 236500.00 | 236500.00 | SARATH CHANDRA CONSTRUCTIONS, JJ Constructions
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :b) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 187.00 | Sqm | 995468.00 | 450.00 | 84150.00 | 342.00 | 63954.00 | 63954.00 | JJ Constructions
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Suspended floors, roofs, landings, balconies and access platform | 193.00 | Sqm | 8541.00 | 450.00 | 86850.00 | 650.00 | 125450.00 | 86850.00 | SARATH CHANDRA CONSTRUCTIONS
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Columns, Pillars, Piers, Abutments, Posts and Struts | 68.00 | Sqm | 995468.00 | 450.00 | 30600.00 | 650.00 | 44200.00 | 30600.00 | SARATH CHANDRA CONSTRUCTIONS
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a)"1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 13.00 | Cum | 8541.00 | 7000.00 | 91000.00 | 6500.00 | 84500.00 | 84500.00 | JJ Constructions
10.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 17.00 | Cum | 995468.00 | 7500.00 | 127500.00 | 6900.00 | 117300.00 | 117300.00 | JJ Constructions
11.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : | 8.00 | Cum | 8541.00 | 9000.00 | 72000.00 | 8000.00 | 64000.00 | 64000.00 | JJ Constructions
12.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 26.00 | Cum | 995468.00 | 8000.00 | 208000.00 | 8000.00 | 208000.00 | 208000.00 | SARATH CHANDRA CONSTRUCTIONS, JJ Constructions
13.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 110.00 | Cum | 8541.00 | 7800.00 | 858000.00 | 9000.00 | 990000.00 | 858000.00 | SARATH CHANDRA CONSTRUCTIONS
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete in all level. a) Thermo-Mechanically Treated bars of grade Fe-500 D or more | 5100.00 | KG | 995468.00 | 78.00 | 397800.00 | 95.00 | 484500.00 | 397800.00 | SARATH CHANDRA CONSTRUCTIONS
15.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2020.00 | KG | 8541.00 | 110.00 | 222200.00 | 135.00 | 272700.00 | 222200.00 | SARATH CHANDRA CONSTRUCTIONS
16.00 | CEMENT PLASTER (IN FINE SAND). 12 mm cement plaster of mix : a)1:6 (1 cement: 6 fine sand) | 517.00 | Sqm | 8541.00 | 260.00 | 134420.00 | 350.00 | 180950.00 | 134420.00 | SARATH CHANDRA CONSTRUCTIONS
17.00 | CEMENT PLASTER (IN FINE SAND) 15 mm cement plaster of mix : a)1:6 (1 cement: 6 fine sand) | 517.00 | Sqm | 995468.00 | 300.00 | 155100.00 | 350.00 | 180950.00 | 155100.00 | SARATH CHANDRA CONSTRUCTIONS
18.00 | Finishing walls with water proofing cement paint of required shade:a)New work (Two or more coats applied @ 3.84 kg/10 sqm) | 1400.00 | Sqm | 8541.00 | 100.00 | 140000.00 | 90.00 | 126000.00 | 126000.00 | JJ Constructions
19.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade a)Two or more coats on new work | 180.00 | Sqm | 995468.00 | 150.00 | 27000.00 | 160.00 | 28800.00 | 27000.00 | SARATH CHANDRA CONSTRUCTIONS
20.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic compound) content less than 50 grams/litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.a) Two coats | 193.00 | Sqm | 8541.00 | 200.00 | 38600.00 | 140.00 | 27020.00 | 27020.00 | JJ Constructions
21.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 201.00 | Sqm | 995468.00 | 150.00 | 30150.00 | 120.00 | 24120.00 | 24120.00 | JJ Constructions
22.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : a) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 7.50 | Cum | 8541.00 | 7000.00 | 52500.00 | 7500.00 | 56250.00 | 52500.00 | SARATH CHANDRA CONSTRUCTIONS
23.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 800.00 | meter | 995468.00 | 400.00 | 320000.00 | 370.00 | 296000.00 | 296000.00 | JJ Constructions
24.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 110.00 | Cum | 8541.00 | 220.00 | 24200.00 | 190.00 | 20900.00 | 20900.00 | JJ Constructions
25.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations:(a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment.(b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixedwith water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.(c)After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge. (d)Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge :A) With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 131.00 | Sqm | 995468.00 | 1000.00 | 131000.00 | 1200.00 | 157200.00 | 131000.00 | SARATH CHANDRA CONSTRUCTIONS
26.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 28.00 | Sqm | 8541.00 | 3500.00 | 98000.00 | 2778.00 | 77784.00 | 77784.00 | JJ Constructions
27.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 25.00 | Sqm | 995468.00 | 300.00 | 7500.00 | 600.00 | 15000.00 | 7500.00 | SARATH CHANDRA CONSTRUCTIONS
28.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. a) Size of Tile 600x600 mm | 90.00 | Sqm | 8541.00 | 1300.00 | 117000.00 | 1600.00 | 144000.00 | 117000.00 | SARATH CHANDRA CONSTRUCTIONS
29.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 112.00 | Kg | 995468.00 | 520.00 | 58240.00 | 480.00 | 53760.00 | 53760.00 | JJ Constructions
30.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 150.00 | Kg | 8541.00 | 610.00 | 91500.00 | 550.00 | 82500.00 | 82500.00 | JJ Constructions
31.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 19.00 | Sqm | 995468.00 | 1490.00 | 28310.00 | 1200.00 | 22800.00 | 22800.00 | JJ Constructions
32.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer?in-charge. a) Pre-laminated particle board with decorative lamination on both sides | 50.00 | Sqm | 8541.00 | 1050.00 | 52500.00 | 1000.00 | 50000.00 | 50000.00 | JJ Constructions
33.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.a) Hot finished welded type tubes | 820.00 | Kg | 995468.00 | 110.00 | 90200.00 | 140.00 | 114800.00 | 90200.00 | SARATH CHANDRA CONSTRUCTIONS
34.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 320.00 | Kg | 8541.00 | 100.00 | 32000.00 | 95.00 | 30400.00 | 30400.00 | JJ Constructions
35.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete | 12.00 | Each | 995468.00 | 1075.00 | 12900.00 | 110.00 | 1320.00 | 1320.00 | JJ Constructions
36.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :a) One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 2.00 | Each | 8541.00 | 6000.00 | 12000.00 | 850.00 | 1700.00 | 1700.00 | JJ Constructions
37.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each | 995468.00 | 7500.00 | 15000.00 | 8000.00 | 16000.00 | 15000.00 | SARATH CHANDRA CONSTRUCTIONS
38.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: a) White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap. | 2.00 | Each | 8541.00 | 2100.00 | 4200.00 | 2300.00 | 4600.00 | 4200.00 | SARATH CHANDRA CONSTRUCTIONS
39.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the wallsetc. a) 20 mm nominal dia Pipes | 200.00 | Meter | 8541.00 | 475.00 | 95000.00 | 350.00 | 70000.00 | 70000.00 | JJ Constructions
40.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the wallsetc. b) 32 mm nominal dia Pipes | 200.00 | Meter | 995468.00 | 670.00 | 134000.00 | 700.00 | 140000.00 | 134000.00 | SARATH CHANDRA CONSTRUCTIONS
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. c) 50 mm nominal dia Pipes | 200.00 | Meter | 8541.00 | 690.00 | 138000.00 | 700.00 | 140000.00 | 138000.00 | SARATH CHANDRA CONSTRUCTIONS
42.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. a)100 mm nominal dia Pipes | 200.00 | Meter | 995468.00 | 3000.00 | 600000.00 | 700.00 | 140000.00 | 140000.00 | JJ Constructions
43.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominalsize), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cementconcrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cementcomplete as per standard design :A) Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each | 8541.00 | 9000.00 | 18000.00 | 10000.00 | 20000.00 | 18000.00 | SARATH CHANDRA CONSTRUCTIONS
44.00 | Constructing brick masonry circular manhole 1.22 m internal dia at bottom and 0.56 m dia at top in cement mortar 1:4 (1 cement :4 coarse sand) inside cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement foundation concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) and making necessary channel in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, all complete as per standard design : 1.68 m deep with SFRC Cover and frame (heavy duty HD- 20 grade designation) 560 mm internal diameter conform- ing to I.S. 12592, total weight of cover and frame to be not less than 182 kg. fixed in cement concrete 1:2:4 (1 ce- ment : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including centering, shuttering all complete. (Excavation, foot rests and 12 mm thick cement plaster at the external surface shall be paid for separately) a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each | 995468.00 | 18000.00 | 36000.00 | 25000.00 | 50000.00 | 36000.00 | SARATH CHANDRA CONSTRUCTIONS
45.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality.H D - 20 a)Circular shape 560 mm internal diameter | 2.00 | Each | 8541.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 3000.00 | SARATH CHANDRA CONSTRUCTIONS
46.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :A) 150 mm diameter | 50.00 | Meter | 995468.00 | 650.00 | 32500.00 | 700.00 | 35000.00 | 32500.00 | SARATH CHANDRA CONSTRUCTIONS
47.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : a) 150 mm diameter S.W. pipe | 50.00 | Meter | 8541.00 | 1050.00 | 52500.00 | 950.00 | 47500.00 | 47500.00 | JJ Constructions
48.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : a) For pipes 100 to 250 mm diameter | 1.00 | Each | 995468.00 | 850.00 | 850.00 | 800.00 | 800.00 | 800.00 | JJ Constructions
49.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. a) Circular tank | 1000.00 | Liter | 8541.00 | 10.00 | 10000.00 | 11.00 | 11000.00 | 10000.00 | SARATH CHANDRA CONSTRUCTIONS
50.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : a) Rectangular shape 453x357 mm | 2.00 | Each | 995468.00 | 1300.00 | 2600.00 | 1400.00 | 2800.00 | 2600.00 | SARATH CHANDRA CONSTRUCTIONS
51.00 | Providing and fixing toilet paper holder : a) C.P. brass | 2.00 | Each | 8541.00 | 700.00 | 1400.00 | 550.00 | 1100.00 | 1100.00 | JJ Constructions
52.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 2.00 | Each | 995468.00 | 200.00 | 400.00 | 150.00 | 300.00 | 300.00 | JJ Constructions
53.00 | Providing and fixing brass bib cock of approved quality : a) 20 mm nominal bore | 2.00 | Each | 8541.00 | 400.00 | 800.00 | 350.00 | 700.00 | 700.00 | JJ Constructions
54.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 2.00 | Each | 995468.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1000.00 | JJ Constructions
55.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade. a) Area of slab over 0.50 sqm | 3.00 | Sqm | 8541.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 12000.00 | SARATH CHANDRA CONSTRUCTIONS
56.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 40.00 | Sqm | 995468.00 | 1000.00 | 40000.00 | 1200.00 | 48000.00 | 40000.00 | SARATH CHANDRA CONSTRUCTIONS
57.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.A)100x100 mm size P type: Flexible pipe A) 32 mm dia | 2.00 | Each | 8541.00 | 120.00 | 240.00 | 119.00 | 238.00 | 238.00 | JJ Constructions
58.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion,(i) Single socketed pipes. A) 110 mm diameter | 24.00 | Meter | 8541.00 | 300.00 | 7200.00 | 300.00 | 7200.00 | 7200.00 | SARATH CHANDRA CONSTRUCTIONS, JJ Constructions
59.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Coupler - 110 mm dia meter | 12.00 | Each | 995468.00 | 130.00 | 1560.00 | 130.00 | 1560.00 | 1560.00 | SARATH CHANDRA CONSTRUCTIONS, JJ Constructions
60.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5° - 110mm dia meter | 12.00 | Each | 8541.00 | 145.00 | 1740.00 | 140.00 | 1680.00 | 1680.00 | JJ Constructions
61.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain) - 110mm dia meter | 12.00 | Each | 995468.00 | 125.00 | 1500.00 | 130.00 | 1560.00 | 1500.00 | SARATH CHANDRA CONSTRUCTIONS
62.00 | Consultancy charges for design , detailing and vetting of Security building structure from any approved consultancy firms/Govt Colleges/NIT/IIT complete as per the direction of EIC. | 1.00 | Job | 8541.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 40000.00 | JJ Constructions
| Total in Figures |  |  |  |  | 5458910.00 |  | 5313886.00
Lowest Amount Quoted BY: JJ Constructions(5313886.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of double gate security system including compound wall bollards security booth etc at Mysuru Airport SH Civil Works Tender ID: 2024_AAI_201538_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JJ Constructions | 5313886.00 | L1
| 2 | SARATH CHANDRA CONSTRUCTIONS | 5458910.00 | L2