## BoQ1
Government eProcurement System Created By: Shridhar Gupta Created Date/Time: 02-Sep-2024 01:26 PM Tender Title: Construction of New Terminal Building and Other Allied structures Phase I and II at Patna Airport. SH- SITC of Water Fountain, Bottling station and filtration etc at New Terminal Building of JPNI Airport Tender ID: 2024_AAI_201998_1
Tender Inviting Authority: <SM (Engg.-Elect), JPNI Airport, Patna>
Name of Work: <Construction of New Terminal Building & Other Allied structures (Phase I &II) at Patna Airport. SH- “SITC of Water Fountain, Bottling station and filtration etc at New Terminal Building of JPNI Airport >
Contract No: <2024_AAI_201998>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oasis WFS (P) Ltd. (GSTN-07AABCO6540R1ZX) BID ID -726427 |  | WAE Limited(GSTN-NA)--729393
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply installation, testing and commissioning of recessed bi level drinking water fountain coolers, with double flexible bubbler with pressure cartridge operated and alcove type one bottel filling station with pressure cartridge operation, Drinking water fountain with 60 LPH cooling capacity, Dia of the recipient will be 356mm Dia - stainless steel body-304, size Not less than 1003 mm (width) X 287 mm (Depth) X 1035 mm (Hight) operated between 50 to 120 PSI, chilling unit suitable for R134a refrigerant, adjustable thermostat,with UV and ediment filtration, with mechnical pressure switch operationwith each dispencing point, with non flamable foam UL Certified foam used in the chiller. designed for easy use With MDCU29, supply complete with all accessories. The unit Shall comply with GRIHA Certifide (Green Ratingfor Integrated Habitat Assessment), TUV-SUD Certifide , ANSI/NSF 61 and NSF/ANSI 372,UL Certified (As per Preferred Make List). | 10.00 | SET | 100.00 | 213122.00 | 2131220.00 | 105000.00 | 1050000.00 | 1050000.00 | WAE Limited
2.00 | Suplly,Installation and commisioning of 50 LPH RO system With UV (alfa UV mini Light flow rate 50 LPH, UV Lamp and length- 475mm,11wattage,Along with Sediment filter, RO Membrane memembrane, corbon filter and pre filter,with 60LTR HTP pressure tank food grade to generate 2-3 kg inlet water pressure with High pressure switch. All the system will be enclosed open skid hanging arragment- Make- Oasis or Equivalent. | 10.00 | SET | 100.00 | 35100.00 | 351000.00 | 58000.00 | 580000.00 | 351000.00 | Oasis WFS (P) Ltd.
3.00 | Providing and fixing of 6mm thick annealed SGG Planilaque Evolution ( Premium GRIHA Rated lacquered glass fro Saint - Gabain or equivalent) as approved by engineer in charge fixed with SGG ultrafix or approved equivalent on a preferably leveled 12 mm thck BWP marine plywood on the MS Steel frame work or suitable structure . Lacqured glass must be made industrially ( via curtain coating process), opaque , coated with PU lacquer(50 micron thick) coour consistency, highly durable , humid resitant , environmentally freindly all complete as required to cover / wall panelling for the left out portion of drinking water faclity area ( above the drinking water units) . The wall panelshall be theme based . The theme shall be prepared and submitted for approval from AAI prior to preparation of wall paneling work. The Quote shall be inclusive of all related works for the panelling like , MS fabrication, painting , finishing etc nothing etra shallbe paid for any works need to carried out at site for this job. | 1000.00 | Sq Feet | 100.00 | 402.00 | 402000.00 | 730.00 | 730000.00 | 402000.00 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 2884220.00 |  | 2360000.00
Lowest Amount Quoted BY: WAE Limited(2360000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Terminal Building and Other Allied structures Phase I and II at Patna Airport. SH- SITC of Water Fountain, Bottling station and filtration etc at New Terminal Building of JPNI Airport Tender ID: 2024_AAI_201998_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WAE Limited | 2360000.00 | L1
| 2 | Oasis WFS (P) Ltd. | 2884220.00 | L2