## BoQ1
Government eProcurement System Created By: GOPALA KRISHNA S Created Date/Time: 30-Sep-2024 03:45 PM Tender Title: Extension and Renovation of Quarters at Begumpet Airport Hyderabad SH Renovation of B type quarters Tender ID: 2024_AAI_202653_1
Tender Inviting Authority: SM (Engg-Civil), Airports Authority of India, Begumpet Airport, Hyderabad-500016, Ph: 040-27903054 (333)/+91 9493104653 (Bid Manager)
Name of Work :-Extension and Renovation of quarters at Begumpet Airport, Hyderabad.SH: Renovation of B type quarters.
Tender Id: 2024 _ AAI _202653_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD (GSTN-19AAGCR6941N1ZN) BID ID -733779 |  | ARP ENTERPRISES (GSTN-37ABKFA0649Q1ZV) BID ID -736985 |  | MAHALAKSHMI CONSTRUCTIONS (GSTN-36AAFFM9487L1ZG) BID ID -737316 |  | SUYAMBU PROJECTS(GSTN-NA)--739072 |  | GAGAN SAIL(GSTN-NA)--739075 |  | N RAMAKRISHNA(GSTN-NA)--739104
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. All kinds of soil | 83.00 | Cum | 100.00 | 200.00 | 16600.00 | 180.00 | 14940.00 | 200.00 | 16600.00 | 135.00 | 11205.00 | 150.00 | 12450.00 | 207.00 | 17181.00 | 11205.00 | SUYAMBU PROJECTS
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size). | 7.00 | Cum | 100.00 | 7000.00 | 49000.00 | 5600.00 | 39200.00 | 6000.00 | 42000.00 | 5850.00 | 40950.00 | 5200.00 | 36400.00 | 8000.00 | 56000.00 | 36400.00 | GAGAN SAIL
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 13.00 | Cum | 10.00 | 6000.00 | 78000.00 | 4000.00 | 52000.00 | 4500.00 | 58500.00 | 4850.00 | 63050.00 | 3800.00 | 49400.00 | 4500.00 | 58500.00 | 49400.00 | GAGAN SAIL
4.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone - III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 126.00 | Sqm | 10.00 | 550.00 | 69300.00 | 580.00 | 73080.00 | 450.00 | 56700.00 | 595.00 | 74970.00 | 650.00 | 81900.00 | 720.00 | 90720.00 | 56700.00 | MAHALAKSHMI CONSTRUCTIONS
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 80.00 | Kgs | 10.00 | 100.00 | 8000.00 | 85.00 | 6800.00 | 80.00 | 6400.00 | 85.00 | 6800.00 | 80.00 | 6400.00 | 99.00 | 7920.00 | 6400.00 | MAHALAKSHMI CONSTRUCTIONS, GAGAN SAIL
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 1.00 | Cum | 10.00 | 10000.00 | 10000.00 | 6600.00 | 6600.00 | 7000.00 | 7000.00 | 8900.00 | 8900.00 | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 6600.00 | ARP ENTERPRISES
7.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 37.00 | Cum | 10.00 | 7000.00 | 259000.00 | 6200.00 | 229400.00 | 6600.00 | 244200.00 | 7200.00 | 266400.00 | 5950.00 | 220150.00 | 9900.00 | 366300.00 | 220150.00 | GAGAN SAIL
8.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, cherry/Rubby, Red Area of slab over 0.50 sqm | 146.00 | Sqm | 10.00 | 3500.00 | 511000.00 | 4300.00 | 627800.00 | 3150.00 | 459900.00 | 3600.00 | 525600.00 | 4000.00 | 584000.00 | 3690.00 | 538740.00 | 459900.00 | MAHALAKSHMI CONSTRUCTIONS
9.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 222.00 | Mts | 10.00 | 500.00 | 111000.00 | 280.00 | 62160.00 | 300.00 | 66600.00 | 395.00 | 87690.00 | 250.00 | 55500.00 | 3690.00 | 819180.00 | 55500.00 | GAGAN SAIL
10.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 197.00 | Mts | 10.00 | 425.00 | 83725.00 | 300.00 | 59100.00 | 300.00 | 59100.00 | 435.00 | 85695.00 | 250.00 | 49250.00 | 500.00 | 98500.00 | 49250.00 | GAGAN SAIL
11.00 | Providing and fixing Isi marked oxidised SS door latches with screws etc. complete Model No.LLD1210 Grade.304 prayag make or equivalent : 250mm. | 324.00 | Each | 10.00 | 325.00 | 105300.00 | 350.00 | 113400.00 | 700.00 | 226800.00 | 475.00 | 153900.00 | 297.00 | 96228.00 | 350.00 | 113400.00 | 96228.00 | GAGAN SAIL
12.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 944.00 | Sqm | 10.00 | 1000.00 | 944000.00 | 1119.00 | 1056336.00 | 900.00 | 849600.00 | 1025.00 | 967600.00 | 1080.00 | 1019520.00 | 1080.00 | 1019520.00 | 849600.00 | MAHALAKSHMI CONSTRUCTIONS
13.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).Second class teak wood. | 2.00 | Cum | 100.00 | 100000.00 | 200000.00 | 131000.00 | 262000.00 | 125000.00 | 250000.00 | 110000.00 | 220000.00 | 125000.00 | 250000.00 | 150000.00 | 300000.00 | 200000.00 | RECHI CONSTRUCTION PVT LTD
14.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass panes. 5.0 mm thick glass panes (weight not less than 12.5 kg per sqm) | 231.00 | Sqm | 100.00 | 2000.00 | 462000.00 | 960.00 | 221760.00 | 1500.00 | 346500.00 | 1000.00 | 231000.00 | 900.00 | 207900.00 | 5300.00 | 1224300.00 | 207900.00 | GAGAN SAIL
15.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | 77.00 | Sqm | 10.00 | 1400.00 | 107800.00 | 780.00 | 60060.00 | 1350.00 | 103950.00 | 1000.00 | 77000.00 | 700.00 | 53900.00 | 5300.00 | 408100.00 | 53900.00 | GAGAN SAIL
16.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 527.00 | Sqm | 10.00 | 1700.00 | 895900.00 | 2149.00 | 1132523.00 | 1500.00 | 790500.00 | 1700.00 | 895900.00 | 1950.00 | 1027650.00 | 1700.00 | 895900.00 | 790500.00 | MAHALAKSHMI CONSTRUCTIONS
17.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 527.00 | Sqm | 10.00 | 350.00 | 184450.00 | 150.00 | 79050.00 | 300.00 | 158100.00 | 350.00 | 184450.00 | 200.00 | 105400.00 | 300.00 | 158100.00 | 79050.00 | ARP ENTERPRISES
18.00 | Providing and fixing SS Steel curtain rod grade 304 having wall thickness of 1 mm with two SS Steel brackets fixed with SS Steel screws and PVC sleeves etc., wherever necessary complete :25 mm dia | 260.00 | Mts | 10.00 | 400.00 | 104000.00 | 310.00 | 80600.00 | 350.00 | 91000.00 | 200.00 | 52000.00 | 280.00 | 72800.00 | 306.00 | 79560.00 | 52000.00 | SUYAMBU PROJECTS
19.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.Fixed to openings /wooden frames with rawl plugs screws etc. | 3497.00 | Kgs | 10.00 | 155.00 | 542035.00 | 140.00 | 489580.00 | 100.00 | 349700.00 | 175.00 | 611975.00 | 125.00 | 437125.00 | 135.00 | 472095.00 | 349700.00 | MAHALAKSHMI CONSTRUCTIONS
20.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 222.00 | Each | 10.00 | 110.00 | 24420.00 | 60.00 | 13320.00 | 100.00 | 22200.00 | 110.00 | 24420.00 | 80.00 | 17760.00 | 209.00 | 46398.00 | 13320.00 | ARP ENTERPRISES
21.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm (both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. 75mm overall thickness partition with 12.5 mm thick double skin tapered edged plain Gypsum plaster board conforming to IS: 2095: (part I): 2011 (Board with BIS certification marks) | 154.00 | Sqm | 10.00 | 1250.00 | 192500.00 | 1200.00 | 184800.00 | 1150.00 | 177100.00 | 1550.00 | 238700.00 | 1300.00 | 200200.00 | 2050.00 | 315700.00 | 177100.00 | MAHALAKSHMI CONSTRUCTIONS
22.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. Note: Structural design proof checked from a Government Engineering Institute, to be provided by the manufacture for : (i) Sites with basic wind speed > 45 m/sec as per IS 875- part 3 (ii) Sites with structure height more than 20m for all wind speeds. Casement window single panel with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy(zamak) powder coated handles. Using R2 series with frame (39mm & above) x (39mm & above) & sash (39mm & above) x (60mm & above). (Height upto 1.2m) | 100.00 | Sqm | 10.00 | 6000.00 | 600000.00 | 7149.00 | 714900.00 | 5800.00 | 580000.00 | 7200.00 | 720000.00 | 6900.00 | 690000.00 | 9900.00 | 990000.00 | 580000.00 | MAHALAKSHMI CONSTRUCTIONS
23.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. Note: Structural design proof checked from a Government Engineering Institute, to be provided by the manufacture for : (i) Sites with basic wind speed > 45 m/sec as per IS 875- part 3 (ii) Sites with structure height more than 20m for all wind speeds. Fixed window/ventilator without mullion/transom. Using R2 series with frame (39mm & above) x (39mm & above). (Height upto 1.2m) | 15.00 | Sqm | 10.00 | 6500.00 | 97500.00 | 5200.00 | 78000.00 | 100.00 | 1500.00 | 5250.00 | 78750.00 | 4850.00 | 72750.00 | 10080.00 | 151200.00 | 1500.00 | MAHALAKSHMI CONSTRUCTIONS
24.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler( whereever required) extruded profiles having minimum wall thickness of 1.70mm for series R1 and R2 profiles and 2.10mm for series R3 and R4 profiles confirming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing beads, interlocks and inline sash adaptor(where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion(if required) shall be mitred cut and fsion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of approved size and quality, all complete as per approved drawing confirming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginner-in-charge. Wire mesh/Glazing of plain/toughened/laminated/double glass unit with/without high performance coatings as per design requirements and confirming to IS:3548 & IS: 16231 shall be paid seperately. Note: Structural design proof checked from a Government Engineering Institute, to be provided by the manufacture for : (i) Sites with basic wind speed > 45 m/sec as per IS 875- part 3 (ii) Sites with structure height more than 20m for all wind speeds. Two and half track three panels sliding window with two glazed & one wire mesh panels with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. Using R2 series with frame (65mm & above) x (40mm & above) & glazed sash (25mm & above) x (50mm & above) & fly screen sash (18mm & above) x (40mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2m). | 250.00 | Sqm | 10.00 | 6000.00 | 1500000.00 | 6149.00 | 1537250.00 | 5500.00 | 1375000.00 | 6350.00 | 1587500.00 | 6200.00 | 1550000.00 | 9900.00 | 2475000.00 | 1375000.00 | MAHALAKSHMI CONSTRUCTIONS
25.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1574.00 | Kgs | 10.00 | 130.00 | 204620.00 | 124.00 | 195176.00 | 100.00 | 157400.00 | 110.00 | 173140.00 | 120.00 | 188880.00 | 153.00 | 240822.00 | 157400.00 | MAHALAKSHMI CONSTRUCTIONS
26.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 87.00 | Kgs | 10.00 | 600.00 | 52200.00 | 650.00 | 56550.00 | 525.00 | 45675.00 | 650.00 | 56550.00 | 300.00 | 26100.00 | 630.00 | 54810.00 | 26100.00 | GAGAN SAIL
27.00 | Chequered terrazo tiles 22 mm thick with graded marble chips of size up to 6 mm in floors, jointed with neat cement slurry mixed with pigment to match the shade of the tiles, including rubbing and polishing complete, on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) :Dark shade pigment using ordinary cement. | 209.00 | Sqm | 10.00 | 1150.00 | 240350.00 | 820.00 | 171380.00 | 920.00 | 192280.00 | 1150.00 | 240350.00 | 800.00 | 167200.00 | 1200.00 | 250800.00 | 167200.00 | GAGAN SAIL
28.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of Tile 600x600 mm | 240.00 | Sqm | 10.00 | 1000.00 | 240000.00 | 1180.00 | 283200.00 | 1300.00 | 312000.00 | 1175.00 | 282000.00 | 1150.00 | 276000.00 | 1500.00 | 360000.00 | 240000.00 | RECHI CONSTRUCTION PVT LTD
29.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of double charged Tile 600x600 mm | 1643.00 | Sqm | 10.00 | 1100.00 | 1807300.00 | 1220.00 | 2004460.00 | 1350.00 | 2218050.00 | 1175.00 | 1930525.00 | 1175.00 | 1930525.00 | 1440.00 | 2365920.00 | 1807300.00 | RECHI CONSTRUCTION PVT LTD
30.00 | 12 mm cement plaster: 1:6 (1 cement : 6 fine sand) | 50.00 | Sqm | 10.00 | 300.00 | 15000.00 | 309.00 | 15450.00 | 280.00 | 14000.00 | 285.00 | 14250.00 | 300.00 | 15000.00 | 405.00 | 20250.00 | 14000.00 | MAHALAKSHMI CONSTRUCTIONS
31.00 | 15 mm cement plaster on rough side of single or half brick wall of mix. cement of mix : 1:6 (1 cement: 6 coarse sand) | 152.00 | Sqm | 10.00 | 320.00 | 48640.00 | 319.00 | 48488.00 | 280.00 | 42560.00 | 315.00 | 47880.00 | 320.00 | 48640.00 | 405.00 | 61560.00 | 42560.00 | MAHALAKSHMI CONSTRUCTIONS
32.00 | 20 mm cement plaster of mix : : 1:6 (1 cement: 6 coarse sand) | 1330.00 | Sqm | 10.00 | 330.00 | 438900.00 | 360.00 | 478800.00 | 300.00 | 399000.00 | 380.00 | 505400.00 | 380.00 | 505400.00 | 405.00 | 538650.00 | 399000.00 | MAHALAKSHMI CONSTRUCTIONS
33.00 | Wall painting with acrylic emulsion paint, having VOC(Volatile organic compound) content less than 50 grams/liter, of approved brand and manufacture, including applying additional coats wherever required, to achieve an even shade and colour :Two coats | 8574.00 | Sqm | 10.00 | 85.00 | 728790.00 | 84.00 | 720216.00 | 120.00 | 1028880.00 | 105.00 | 900270.00 | 77.00 | 660198.00 | 140.00 | 1200360.00 | 660198.00 | GAGAN SAIL
34.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 8574.00 | Sqm | 10.00 | 60.00 | 514440.00 | 48.00 | 411552.00 | 30.00 | 257220.00 | 58.00 | 497292.00 | 45.00 | 385830.00 | 54.00 | 462996.00 | 257220.00 | MAHALAKSHMI CONSTRUCTIONS
35.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 534.00 | Sqm | 10.00 | 160.00 | 85440.00 | 140.00 | 74760.00 | 100.00 | 53400.00 | 180.00 | 96120.00 | 120.00 | 64080.00 | 110.00 | 58740.00 | 53400.00 | MAHALAKSHMI CONSTRUCTIONS
36.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.1.0 mm thick | 1054.00 | Sqm | 10.00 | 650.00 | 685100.00 | 1250.00 | 1317500.00 | 600.00 | 632400.00 | 850.00 | 895900.00 | 800.00 | 843200.00 | 450.00 | 474300.00 | 474300.00 | N RAMAKRISHNA
37.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 8574.00 | Sqm | 10.00 | 110.00 | 943140.00 | 86.00 | 737364.00 | 80.00 | 685920.00 | 120.00 | 1028880.00 | 81.00 | 694494.00 | 130.00 | 1114620.00 | 685920.00 | MAHALAKSHMI CONSTRUCTIONS
38.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 8574.00 | Sqm | 10.00 | 10.00 | 85740.00 | 10.00 | 85740.00 | 18.00 | 154332.00 | 12.00 | 102888.00 | 18.00 | 154332.00 | 36.00 | 308664.00 | 85740.00 | RECHI CONSTRUCTION PVT LTD, ARP ENTERPRISES
39.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground within 50 metres lead : With cement mortar 1:4 (1 cement : 4 fine sand) | 337.00 | Sqm | 10.00 | 350.00 | 117950.00 | 450.00 | 151650.00 | 380.00 | 128060.00 | 465.00 | 156705.00 | 460.00 | 155020.00 | 450.00 | 151650.00 | 117950.00 | RECHI CONSTRUCTION PVT LTD
40.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm diaM.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S.clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners,connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 820.00 | Sqm | 10.00 | 190.00 | 155800.00 | 310.00 | 254200.00 | 250.00 | 205000.00 | 300.00 | 246000.00 | 280.00 | 229600.00 | 270.00 | 221400.00 | 155800.00 | RECHI CONSTRUCTION PVT LTD
41.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 48.00 | Each | 10.00 | 100.00 | 4800.00 | 99.00 | 4752.00 | 90.00 | 4320.00 | 100.00 | 4800.00 | 100.00 | 4800.00 | 100.00 | 4800.00 | 4320.00 | MAHALAKSHMI CONSTRUCTIONS
42.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 39.00 | Cum | 10.00 | 1200.00 | 46800.00 | 1500.00 | 58500.00 | 1500.00 | 58500.00 | 1175.00 | 45825.00 | 1600.00 | 62400.00 | 2000.00 | 78000.00 | 45825.00 | SUYAMBU PROJECTS
43.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. cement mortar | 66.00 | Cum | 10.00 | 1500.00 | 99000.00 | 600.00 | 39600.00 | 2000.00 | 132000.00 | 1350.00 | 89100.00 | 600.00 | 39600.00 | 2000.00 | 132000.00 | 39600.00 | ARP ENTERPRISES, GAGAN SAIL
44.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 330.00 | Each | 10.00 | 300.00 | 99000.00 | 280.00 | 92400.00 | 300.00 | 99000.00 | 175.00 | 57750.00 | 280.00 | 92400.00 | 300.00 | 99000.00 | 57750.00 | SUYAMBU PROJECTS
45.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 96.00 | Each | 10.00 | 300.00 | 28800.00 | 340.00 | 32640.00 | 400.00 | 38400.00 | 355.00 | 34080.00 | 320.00 | 30720.00 | 200.00 | 19200.00 | 19200.00 | N RAMAKRISHNA
46.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 246.00 | Each | 10.00 | 110.00 | 27060.00 | 200.00 | 49200.00 | 100.00 | 24600.00 | 110.00 | 27060.00 | 100.00 | 24600.00 | 207.00 | 50922.00 | 24600.00 | MAHALAKSHMI CONSTRUCTIONS, GAGAN SAIL
47.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 656.00 | Sqm | 10.00 | 50.00 | 32800.00 | 140.00 | 91840.00 | 100.00 | 65600.00 | 55.00 | 36080.00 | 99.00 | 64944.00 | 63.00 | 41328.00 | 32800.00 | RECHI CONSTRUCTION PVT LTD
48.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | 624.00 | Mts | 10.00 | 10.00 | 6240.00 | 27.00 | 16848.00 | 30.00 | 18720.00 | 10.00 | 6240.00 | 35.00 | 21840.00 | 70.00 | 43680.00 | 6240.00 | RECHI CONSTRUCTION PVT LTD, SUYAMBU PROJECTS
49.00 | Dismantling of road gully chamber of various sizes including C.I. grating with frame including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead including refilling the excavated gap. | 48.00 | Each | 10.00 | 500.00 | 24000.00 | 600.00 | 28800.00 | 400.00 | 19200.00 | 650.00 | 31200.00 | 300.00 | 14400.00 | 300.00 | 14400.00 | 14400.00 | GAGAN SAIL, N RAMAKRISHNA
50.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 48.00 | Each | 10.00 | 400.00 | 19200.00 | 99.00 | 4752.00 | 100.00 | 4800.00 | 80.00 | 3840.00 | 100.00 | 4800.00 | 100.00 | 4800.00 | 3840.00 | SUYAMBU PROJECTS
51.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 874.00 | Sqm | 10.00 | 50.00 | 43700.00 | 119.00 | 104006.00 | 50.00 | 43700.00 | 45.00 | 39330.00 | 125.00 | 109250.00 | 54.00 | 47196.00 | 39330.00 | SUYAMBU PROJECTS
52.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 55.00 | Cum | 10.00 | 200.00 | 11000.00 | 500.00 | 27500.00 | 150.00 | 8250.00 | 200.00 | 11000.00 | 600.00 | 33000.00 | 450.00 | 24750.00 | 8250.00 | MAHALAKSHMI CONSTRUCTIONS
53.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-charge. Made of G.I. wire of dia 4 mm. | 360.00 | Sqm | 10.00 | 850.00 | 306000.00 | 1100.00 | 396000.00 | 800.00 | 288000.00 | 875.00 | 315000.00 | 800.00 | 288000.00 | 540.00 | 194400.00 | 194400.00 | N RAMAKRISHNA
54.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :Kitchen sink without drain board. 610x510 mm bowl depth 200 mm | 48.00 | Each | 10.00 | 3000.00 | 144000.00 | 3850.00 | 184800.00 | 4200.00 | 201600.00 | 4000.00 | 192000.00 | 3500.00 | 168000.00 | 3000.00 | 144000.00 | 144000.00 | RECHI CONSTRUCTION PVT LTD, N RAMAKRISHNA
55.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 96.00 | Each | 10.00 | 100.00 | 9600.00 | 110.00 | 10560.00 | 105.00 | 10080.00 | 90.00 | 8640.00 | 90.00 | 8640.00 | 130.00 | 12480.00 | 8640.00 | SUYAMBU PROJECTS, GAGAN SAIL
56.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 640 mm, 78 mm wide and effective height of 88 mm, weighing not less than 190 gms | 48.00 | Each | 10.00 | 550.00 | 26400.00 | 740.00 | 35520.00 | 520.00 | 24960.00 | 585.00 | 28080.00 | 600.00 | 28800.00 | 360.00 | 17280.00 | 17280.00 | N RAMAKRISHNA
57.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 15 mm nominal dia Pipes | 384.00 | Mts | 10.00 | 410.00 | 157440.00 | 280.00 | 107520.00 | 250.00 | 96000.00 | 350.00 | 134400.00 | 150.00 | 57600.00 | 300.00 | 115200.00 | 57600.00 | GAGAN SAIL
58.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 20 mm nominal dia Pipes | 480.00 | Mts | 10.00 | 500.00 | 240000.00 | 360.00 | 172800.00 | 300.00 | 144000.00 | 395.00 | 189600.00 | 340.00 | 163200.00 | 320.00 | 153600.00 | 144000.00 | MAHALAKSHMI CONSTRUCTIONS
59.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 25 mm nominal dia Pipes | 384.00 | Mts | 10.00 | 600.00 | 230400.00 | 420.00 | 161280.00 | 350.00 | 134400.00 | 450.00 | 172800.00 | 380.00 | 145920.00 | 340.00 | 130560.00 | 130560.00 | N RAMAKRISHNA
60.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall. 20 mm dia nominal bore | 480.00 | Mts | 10.00 | 350.00 | 168000.00 | 381.00 | 182880.00 | 340.00 | 163200.00 | 365.00 | 175200.00 | 350.00 | 168000.00 | 540.00 | 259200.00 | 163200.00 | MAHALAKSHMI CONSTRUCTIONS
61.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall. 25 mm dia nominal bore | 480.00 | Mts | 10.00 | 450.00 | 216000.00 | 444.00 | 213120.00 | 400.00 | 192000.00 | 450.00 | 216000.00 | 430.00 | 206400.00 | 640.00 | 307200.00 | 192000.00 | MAHALAKSHMI CONSTRUCTIONS
62.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 48.00 | Each | 10.00 | 500.00 | 24000.00 | 1369.00 | 65712.00 | 500.00 | 24000.00 | 525.00 | 25200.00 | 1400.00 | 67200.00 | 1400.00 | 67200.00 | 24000.00 | RECHI CONSTRUCTION PVT LTD, MAHALAKSHMI CONSTRUCTIONS
63.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 48.00 | Each | 10.00 | 450.00 | 21600.00 | 1269.00 | 60912.00 | 750.00 | 36000.00 | 475.00 | 22800.00 | 800.00 | 38400.00 | 1080.00 | 51840.00 | 21600.00 | RECHI CONSTRUCTION PVT LTD
64.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 48.00 | Each | 10.00 | 400.00 | 19200.00 | 720.00 | 34560.00 | 450.00 | 21600.00 | 410.00 | 19680.00 | 500.00 | 24000.00 | 720.00 | 34560.00 | 19200.00 | RECHI CONSTRUCTION PVT LTD
65.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 192.00 | Each | 10.00 | 100.00 | 19200.00 | 180.00 | 34560.00 | 95.00 | 18240.00 | 80.00 | 15360.00 | 200.00 | 38400.00 | 140.00 | 26880.00 | 15360.00 | SUYAMBU PROJECTS
66.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 20 mm nominal bore | 48.00 | Each | 10.00 | 300.00 | 14400.00 | 350.00 | 16800.00 | 340.00 | 16320.00 | 295.00 | 14160.00 | 250.00 | 12000.00 | 300.00 | 14400.00 | 12000.00 | GAGAN SAIL
67.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 25 mm nominal bore | 48.00 | Each | 10.00 | 350.00 | 16800.00 | 400.00 | 19200.00 | 430.00 | 20640.00 | 380.00 | 18240.00 | 300.00 | 14400.00 | 400.00 | 19200.00 | 14400.00 | GAGAN SAIL
68.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 40 mm nominal bore | 48.00 | Each | 10.00 | 500.00 | 24000.00 | 600.00 | 28800.00 | 630.00 | 30240.00 | 525.00 | 25200.00 | 100.00 | 4800.00 | 600.00 | 28800.00 | 4800.00 | GAGAN SAIL
69.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 48000.00 | Lit | 10.00 | 10.00 | 480000.00 | 9.50 | 456000.00 | 9.00 | 432000.00 | 9.00 | 432000.00 | 8.55 | 410400.00 | 14.00 | 672000.00 | 410400.00 | GAGAN SAIL
70.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 192.00 | Each | 10.00 | 500.00 | 96000.00 | 410.00 | 78720.00 | 550.00 | 105600.00 | 495.00 | 95040.00 | 350.00 | 67200.00 | 1100.00 | 211200.00 | 67200.00 | GAGAN SAIL
71.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 96.00 | Each | 10.00 | 2500.00 | 240000.00 | 2500.00 | 240000.00 | 2500.00 | 240000.00 | 2200.00 | 211200.00 | 1300.00 | 124800.00 | 3000.00 | 288000.00 | 124800.00 | GAGAN SAIL
72.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality L D- 2.5 Rectangular shape 600x450 mm internal dimensions | 48.00 | Each | 10.00 | 1250.00 | 60000.00 | 1600.00 | 76800.00 | 1300.00 | 62400.00 | 1200.00 | 57600.00 | 1000.00 | 48000.00 | 1000.00 | 48000.00 | 48000.00 | GAGAN SAIL, N RAMAKRISHNA
73.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality H D - 20 Circular shape 560 mm internal diameter | 78.00 | Each | 10.00 | 1500.00 | 117000.00 | 2100.00 | 163800.00 | 1450.00 | 113100.00 | 1400.00 | 109200.00 | 2000.00 | 156000.00 | 1000.00 | 78000.00 | 78000.00 | N RAMAKRISHNA
74.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 1290.00 | Mts | 10.00 | 70.00 | 90300.00 | 77.00 | 99330.00 | 95.00 | 122550.00 | 75.00 | 96750.00 | 75.00 | 96750.00 | 72.00 | 92880.00 | 90300.00 | RECHI CONSTRUCTION PVT LTD
75.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound@ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b)Second layer of slurry of cement @ 0.242 kg/sqm mixed with waterproofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 710.00 | Sqm | 10.00 | 500.00 | 355000.00 | 625.00 | 443750.00 | 500.00 | 355000.00 | 450.00 | 319500.00 | 575.00 | 408250.00 | 450.00 | 319500.00 | 319500.00 | SUYAMBU PROJECTS, N RAMAKRISHNA
76.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 8.00 | Cum | 10.00 | 8000.00 | 64000.00 | 7600.00 | 60800.00 | 5800.00 | 46400.00 | 6500.00 | 52000.00 | 6500.00 | 52000.00 | 9000.00 | 72000.00 | 46400.00 | MAHALAKSHMI CONSTRUCTIONS
77.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Ceosetory windows & other Frames/Chowkhat comprising of virgin PVC polymer of K value 58- 60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 45 x 70 mm | 480.00 | Mts | 10.00 | 600.00 | 288000.00 | 800.00 | 384000.00 | 550.00 | 264000.00 | 585.00 | 280800.00 | 760.00 | 364800.00 | 450.00 | 216000.00 | 216000.00 | N RAMAKRISHNA
78.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 173.00 | Sqm | 10.00 | 4000.00 | 692000.00 | 2549.00 | 440977.00 | 2900.00 | 501700.00 | 3400.00 | 588200.00 | 2475.00 | 428175.00 | 2880.00 | 498240.00 | 428175.00 | GAGAN SAIL
79.00 | Providing and fixing bright finished stainless steel tower bolts Model No: TBR-2300 of grade 304 Prayag make (or) equivalent with necessary screws etc. complete : 300x10 mm | 96.00 | Each | 10.00 | 300.00 | 28800.00 | 210.00 | 20160.00 | 100.00 | 9600.00 | 395.00 | 37920.00 | 200.00 | 19200.00 | 140.00 | 13440.00 | 9600.00 | MAHALAKSHMI CONSTRUCTIONS
80.00 | Providing and fixing bright finished stainless steel hanging type floor door stopper Model No: DSI-CI05-SS of Prayag make or Equivalent with necessary screws, etc. complete 125mm | 264.00 | Each | 10.00 | 200.00 | 52800.00 | 180.00 | 47520.00 | 105.00 | 27720.00 | 125.00 | 33000.00 | 120.00 | 31680.00 | 160.00 | 42240.00 | 27720.00 | MAHALAKSHMI CONSTRUCTIONS
81.00 | Providing and fixing ISI marked stainless steel sliding door bolts Model No: LD-3612 of grade 304 Prayag make or equivalent with nuts and screws etc. complete : 300x16 mm | 264.00 | Each | 10.00 | 300.00 | 79200.00 | 1200.00 | 316800.00 | 250.00 | 66000.00 | 890.00 | 234960.00 | 800.00 | 211200.00 | 400.00 | 105600.00 | 66000.00 | MAHALAKSHMI CONSTRUCTIONS
82.00 | Providing and fixing ISI marked Stainless Steel handles Model No: DHC-3175 of grade 304 Prayag make or equivalent with necessary screws etc. complete : 175 mm | 528.00 | Each | 10.00 | 150.00 | 79200.00 | 140.00 | 73920.00 | 50.00 | 26400.00 | 130.00 | 68640.00 | 110.00 | 58080.00 | 150.00 | 79200.00 | 26400.00 | MAHALAKSHMI CONSTRUCTIONS
83.00 | Providing and fixing plain mirror of 5mm thick of required size (of approved quality, Modi Guard/Saint gobain or equivalent) fixed to wall with 20 x 25mm Stainless steel studs including making necessary holes to glass and the wall and including wooden plugs etc complete as per the direction of E I C | 39.00 | Sqm | 10.00 | 200.00 | 7800.00 | 2800.00 | 109200.00 | 1800.00 | 70200.00 | 2200.00 | 85800.00 | 3500.00 | 136500.00 | 1800.00 | 70200.00 | 7800.00 | RECHI CONSTRUCTION PVT LTD
84.00 | Provding and fixing white vitrieous china single piece EWC cum flushing cistern with seat cover of Model : CERA make or equivalent and Code No: Cat.No.S1013160 of make Parryware with S trap 225mm as required with seat cover and in built fittings complete including making necessary connections cutting and making good the floors where ever required | 48.00 | Each | 10.00 | 6500.00 | 312000.00 | 10700.00 | 513600.00 | 10500.00 | 504000.00 | 10350.00 | 496800.00 | 9900.00 | 475200.00 | 9000.00 | 432000.00 | 312000.00 | RECHI CONSTRUCTION PVT LTD
85.00 | Providing and fixing C.P. brass two way bib cock (Cat : F2002163) of CERA make or Equivalent 15 mm nominal bore | 48.00 | Each | 10.00 | 900.00 | 43200.00 | 1189.00 | 57072.00 | 600.00 | 28800.00 | 1045.00 | 50160.00 | 1200.00 | 57600.00 | 1200.00 | 57600.00 | 28800.00 | MAHALAKSHMI CONSTRUCTIONS
86.00 | Providing and fixing Health Faucet ABS body with wall hock and 1 metre long chrome plated PVC hose pipe (Cat : F8030103) of Cera or equivalent | 48.00 | Each | 10.00 | 600.00 | 28800.00 | 719.00 | 34512.00 | 650.00 | 31200.00 | 705.00 | 33840.00 | 700.00 | 33600.00 | 1200.00 | 57600.00 | 28800.00 | RECHI CONSTRUCTION PVT LTD
87.00 | Providing and fixing white vitreous china wall hung Canton wash basin of size 500 x410mm (Cat No: S2040148) with full Pedestal (Cat No.S2090107) of CERA and C.P. brass pillar Cock with aerator of CERA (product Code F2008101 ), waste coupling,brackets,etc with all fittings of CERA make or equivalent complete with necessary accessories as per direction of EIC. | 48.00 | Each | 10.00 | 4000.00 | 192000.00 | 5750.00 | 276000.00 | 5500.00 | 264000.00 | 5450.00 | 261600.00 | 4800.00 | 230400.00 | 4500.00 | 216000.00 | 192000.00 | RECHI CONSTRUCTION PVT LTD
88.00 | Providing and fixing Ormond soap Dish Holder (Cat No: F5003106) of CERA make or equivalent with concealed fitting arrangements etc complete as per direction of EIC. | 96.00 | Each | 10.00 | 500.00 | 48000.00 | 620.00 | 59520.00 | 650.00 | 62400.00 | 485.00 | 46560.00 | 550.00 | 52800.00 | 300.00 | 28800.00 | 28800.00 | N RAMAKRISHNA
89.00 | Providing and fixing CP Brass wall mixer with bend CP pipe for Overhead shower with built-in non return valve (Cat No: F2008402) of CERA make or equilvant complete as per the direction of Engineer in charge. | 48.00 | Each | 10.00 | 3500.00 | 168000.00 | 4600.00 | 220800.00 | 4200.00 | 201600.00 | 3650.00 | 175200.00 | 4200.00 | 201600.00 | 4500.00 | 216000.00 | 168000.00 | RECHI CONSTRUCTION PVT LTD
90.00 | Providing and fixing C.P. brass Overhead shower rose 95mm dia with 3 flow (Cat No: F7020302AB) with Overhead Shower Arm 305mm with wall flange (Cat No: F704104) complete as per direction of EIC | 48.00 | Each | 10.00 | 1000.00 | 48000.00 | 1440.00 | 69120.00 | 1200.00 | 57600.00 | 1125.00 | 54000.00 | 1250.00 | 60000.00 | 1500.00 | 72000.00 | 48000.00 | RECHI CONSTRUCTION PVT LTD
91.00 | Providing and fixing CP brass Drain Square Hinged with hole or without hole for waste pipe of Viking make Category No: 41719 or 41726 equivalent. 100 mm dia | 288.00 | Each | 10.00 | 600.00 | 172800.00 | 280.00 | 80640.00 | 150.00 | 43200.00 | 200.00 | 57600.00 | 300.00 | 86400.00 | 300.00 | 86400.00 | 43200.00 | MAHALAKSHMI CONSTRUCTIONS
92.00 | Providing and fixing of tank nipple of 25mm dia Code No: C273 prayag make or equivalent for new Over head water tanks at inlet, outlet, overflow and Drainout etc as per direction of Engineer-in-charge. | 192.00 | Each | 10.00 | 100.00 | 19200.00 | 140.00 | 26880.00 | 100.00 | 19200.00 | 270.00 | 51840.00 | 150.00 | 28800.00 | 300.00 | 57600.00 | 19200.00 | RECHI CONSTRUCTION PVT LTD, MAHALAKSHMI CONSTRUCTIONS
93.00 | Providing and fixing on wall face unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 110mm diameter | 192.00 | Mts | 10.00 | 1000.00 | 192000.00 | 510.00 | 97920.00 | 450.00 | 86400.00 | 435.00 | 83520.00 | 475.00 | 91200.00 | 450.00 | 86400.00 | 83520.00 | SUYAMBU PROJECTS
94.00 | Providing and fixing on wall face unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 75mm diameter | 480.00 | Mts | 10.00 | 700.00 | 336000.00 | 380.00 | 182400.00 | 350.00 | 168000.00 | 355.00 | 170400.00 | 340.00 | 163200.00 | 400.00 | 192000.00 | 163200.00 | GAGAN SAIL
95.00 | Providing, laying and jointing Underground Drainage PVC-U Pipes (Self-fit type/ Ring-fit type) are manufactured as per IS 15328 or equivalent having thermal stability for hot & cold water supply including all PVC-U plain fittings etc This includes jointing of pipes & fittings with one step PVC-U solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in :160mm nominal dia. | 170.00 | Mts | 10.00 | 3500.00 | 595000.00 | 840.00 | 142800.00 | 650.00 | 110500.00 | 800.00 | 136000.00 | 750.00 | 127500.00 | 108.00 | 18360.00 | 18360.00 | N RAMAKRISHNA
96.00 | Providing, laying and jointing Underground Drainage PVC-U Pipes (Self-fit type/ Ring-fit type) are manufactured as per IS 15328 or equivalent having thermal stability for hot & cold water supply including all PVC-U plain fittings etc This includes jointing of pipes & fittings with one step PVC-U solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. :110mm nominal dia | 128.00 | Mts | 10.00 | 2200.00 | 281600.00 | 640.00 | 81920.00 | 390.00 | 49920.00 | 485.00 | 62080.00 | 650.00 | 83200.00 | 700.00 | 89600.00 | 49920.00 | MAHALAKSHMI CONSTRUCTIONS
97.00 | Providing and fixing PVC moulded fittings/ accessories: Plain Floor Trap with out jali 75mm. | 192.00 | Each | 10.00 | 150.00 | 28800.00 | 190.00 | 36480.00 | 135.00 | 25920.00 | 150.00 | 28800.00 | 200.00 | 38400.00 | 700.00 | 134400.00 | 25920.00 | MAHALAKSHMI CONSTRUCTIONS
98.00 | Providing and fixing PVC moulded fittings/ accessories: P-Trap 110x110mm | 48.00 | Each | 10.00 | 250.00 | 12000.00 | 360.00 | 17280.00 | 225.00 | 10800.00 | 290.00 | 13920.00 | 300.00 | 14400.00 | 700.00 | 33600.00 | 10800.00 | MAHALAKSHMI CONSTRUCTIONS
99.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Door Bend - 110mm | 144.00 | Each | 10.00 | 150.00 | 21600.00 | 220.00 | 31680.00 | 140.00 | 20160.00 | 290.00 | 41760.00 | 200.00 | 28800.00 | 200.00 | 28800.00 | 20160.00 | MAHALAKSHMI CONSTRUCTIONS
100.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Door Bend - 75mm | 144.00 | Each | 10.00 | 100.00 | 14400.00 | 140.00 | 20160.00 | 80.00 | 11520.00 | 100.00 | 14400.00 | 125.00 | 18000.00 | 270.00 | 38880.00 | 11520.00 | MAHALAKSHMI CONSTRUCTIONS
101.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Plain Bend - 110mm | 144.00 | Each | 10.00 | 150.00 | 21600.00 | 165.00 | 23760.00 | 120.00 | 17280.00 | 170.00 | 24480.00 | 150.00 | 21600.00 | 250.00 | 36000.00 | 17280.00 | MAHALAKSHMI CONSTRUCTIONS
102.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain Bend - 75mm | 144.00 | Each | 10.00 | 100.00 | 14400.00 | 150.00 | 21600.00 | 70.00 | 10080.00 | 95.00 | 13680.00 | 130.00 | 18720.00 | 200.00 | 28800.00 | 10080.00 | MAHALAKSHMI CONSTRUCTIONS
103.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Plain -Y 110x110x110 mm | 144.00 | Each | 10.00 | 250.00 | 36000.00 | 200.00 | 28800.00 | 170.00 | 24480.00 | 240.00 | 34560.00 | 180.00 | 25920.00 | 300.00 | 43200.00 | 24480.00 | MAHALAKSHMI CONSTRUCTIONS
104.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain -Y 75x75x75 mm | 144.00 | Each | 10.00 | 150.00 | 21600.00 | 160.00 | 23040.00 | 120.00 | 17280.00 | 155.00 | 22320.00 | 150.00 | 21600.00 | 275.00 | 39600.00 | 17280.00 | MAHALAKSHMI CONSTRUCTIONS
105.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain tee with door - 110x110x110 mm | 144.00 | Each | 10.00 | 250.00 | 36000.00 | 240.00 | 34560.00 | 175.00 | 25200.00 | 200.00 | 28800.00 | 220.00 | 31680.00 | 360.00 | 51840.00 | 25200.00 | MAHALAKSHMI CONSTRUCTIONS
106.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain tee with door 75x75x75 mm | 144.00 | Each | 10.00 | 150.00 | 21600.00 | 169.00 | 24336.00 | 120.00 | 17280.00 | 120.00 | 17280.00 | 160.00 | 23040.00 | 340.00 | 48960.00 | 17280.00 | MAHALAKSHMI CONSTRUCTIONS, SUYAMBU PROJECTS
107.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 10.00 | Cum | 10.00 | 3000.00 | 30000.00 | 1800.00 | 18000.00 | 1100.00 | 11000.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 2700.00 | 27000.00 | 11000.00 | MAHALAKSHMI CONSTRUCTIONS
108.00 | Neat Cement Punning | 1224.00 | Sqm | 10.00 | 250.00 | 306000.00 | 66.00 | 80784.00 | 65.00 | 79560.00 | 70.00 | 85680.00 | 50.00 | 61200.00 | 72.00 | 88128.00 | 61200.00 | GAGAN SAIL
109.00 | Providing and laying Matt Finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of tile 600mm x 600mm | 408.00 | Sqm | 10.00 | 1100.00 | 448800.00 | 1320.00 | 538560.00 | 1200.00 | 489600.00 | 1100.00 | 448800.00 | 1200.00 | 489600.00 | 1500.00 | 612000.00 | 448800.00 | RECHI CONSTRUCTION PVT LTD, SUYAMBU PROJECTS
110.00 | Repair by cutting, painting, etc and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc as required all complete as per the direction of Engineer in charge. | 144.00 | Each | 10.00 | 1000.00 | 144000.00 | 480.00 | 69120.00 | 400.00 | 57600.00 | 300.00 | 43200.00 | 200.00 | 28800.00 | 630.00 | 90720.00 | 28800.00 | GAGAN SAIL
111.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 110mm diameter | 288.00 | Mts | 10.00 | 300.00 | 86400.00 | 490.00 | 141120.00 | 250.00 | 72000.00 | 475.00 | 136800.00 | 460.00 | 132480.00 | 420.00 | 120960.00 | 72000.00 | MAHALAKSHMI CONSTRUCTIONS
112.00 | Providing and fixing PVC pipe of approved quality with necessary fitting complete as per the direction of EIC: 40mm nominal bore. | 96.00 | Mts | 10.00 | 200.00 | 19200.00 | 280.00 | 26880.00 | 75.00 | 7200.00 | 145.00 | 13920.00 | 300.00 | 28800.00 | 150.00 | 14400.00 | 7200.00 | MAHALAKSHMI CONSTRUCTIONS
113.00 | Providing and fixing ISI marked Stainless Steel handles with necessary screws etc. complete : 125 mm | 192.00 | Each | 10.00 | 150.00 | 28800.00 | 110.00 | 21120.00 | 250.00 | 48000.00 | 115.00 | 22080.00 | 100.00 | 19200.00 | 150.00 | 28800.00 | 19200.00 | GAGAN SAIL
114.00 | Finishing Walls with Arcylic Finishing walls with Acrylic smooth exterior paint of required shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20kg/10sqm) | 1650.00 | Sqm | 10.00 | 150.00 | 247500.00 | 141.00 | 232650.00 | 150.00 | 247500.00 | 130.00 | 214500.00 | 140.00 | 231000.00 | 150.00 | 247500.00 | 214500.00 | SUYAMBU PROJECTS
115.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead 75 to 80 mm dia pipe | 96.00 | Mts | 10.00 | 100.00 | 9600.00 | 75.00 | 7200.00 | 40.00 | 3840.00 | 60.00 | 5760.00 | 30.00 | 2880.00 | 70.00 | 6720.00 | 2880.00 | GAGAN SAIL
116.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead 100 mm dia pipe | 96.00 | Mts | 10.00 | 150.00 | 14400.00 | 80.00 | 7680.00 | 50.00 | 4800.00 | 60.00 | 5760.00 | 35.00 | 3360.00 | 70.00 | 6720.00 | 3360.00 | GAGAN SAIL
117.00 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 134.00 | Mts | 10.00 | 170.00 | 22780.00 | 140.00 | 18760.00 | 100.00 | 13400.00 | 170.00 | 22780.00 | 90.00 | 12060.00 | 200.00 | 26800.00 | 12060.00 | GAGAN SAIL
118.00 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | 500.00 | Sqm | 10.00 | 100.00 | 50000.00 | 40.00 | 20000.00 | 100.00 | 50000.00 | 75.00 | 37500.00 | 50.00 | 25000.00 | 100.00 | 50000.00 | 20000.00 | ARP ENTERPRISES
119.00 | Dismantling tile work in floors and roofs laid in cement mortar includingstacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 165.00 | Sqm | 10.00 | 100.00 | 16500.00 | 139.00 | 22935.00 | 100.00 | 16500.00 | 58.00 | 9570.00 | 90.00 | 14850.00 | 72.00 | 11880.00 | 9570.00 | SUYAMBU PROJECTS
120.00 | Supplying pf laying 160mm dia of 6kg per sqcm pressure PVC (SN-8/SDR 34) Sewerage pipe line exposed on wall upto 12 mts height buildings with necessary clamps as per direction of incharge. | 72.00 | Mts | 10.00 | 1500.00 | 108000.00 | 740.00 | 53280.00 | 450.00 | 32400.00 | 610.00 | 43920.00 | 750.00 | 54000.00 | 720.00 | 51840.00 | 32400.00 | MAHALAKSHMI CONSTRUCTIONS
121.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diameter | 72.00 | Mts | 10.00 | 500.00 | 36000.00 | 490.00 | 35280.00 | 450.00 | 32400.00 | 310.00 | 22320.00 | 460.00 | 33120.00 | 540.00 | 38880.00 | 22320.00 | SUYAMBU PROJECTS
122.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 5.00 | Sqm | 10.00 | 500.00 | 2500.00 | 480.00 | 2400.00 | 500.00 | 2500.00 | 380.00 | 1900.00 | 500.00 | 2500.00 | 1000.00 | 5000.00 | 1900.00 | SUYAMBU PROJECTS
123.00 | Providing and fixing on wall Sink Cock wall mounted with long swivel spout and wall flange Model No: F1015251 Cera make or equivalent | 48.00 | Each | 10.00 | 1500.00 | 72000.00 | 1840.00 | 88320.00 | 3500.00 | 168000.00 | 1025.00 | 49200.00 | 1400.00 | 67200.00 | 2000.00 | 96000.00 | 49200.00 | SUYAMBU PROJECTS
124.00 | Providing and fixing on wall Sink Bib cock with wall flange and Nozzole Model No: F2002153 Cera make or equivalent | 48.00 | Each | 10.00 | 700.00 | 33600.00 | 1400.00 | 67200.00 | 1500.00 | 72000.00 | 700.00 | 33600.00 | 1080.00 | 51840.00 | 1200.00 | 57600.00 | 33600.00 | RECHI CONSTRUCTION PVT LTD, SUYAMBU PROJECTS
125.00 | Cat (B) - Buy Back Items
125.10 | Buy-Back (ie minus) Credit for taking away of existing Flush door with sliding blot, tower bolt etc under itme no : 46 | 96.00 | Each | 0.00 | 200.00 | -19200.00 | 200.00 | -19200.00 | 1000.00 | -96000.00 | 450.00 | -43200.00 | 500.00 | -48000.00 | 3.00 | -288.00 | -96000.00 | MAHALAKSHMI CONSTRUCTIONS
126.00 | Credit for taking away of existing MS Windows and Ventilator including Glass as per direction of EIC under itme no : 44 | 3000.00 | Kgs | 0.00 | 50.00 | -150000.00 | 12.00 | -36000.00 | 20.00 | -60000.00 | 35.00 | -105000.00 | 20.00 | -60000.00 | 3.00 | -9000.00 | -150000.00 | RECHI CONSTRUCTION PVT LTD
127.00 | Credit for taking away of existing G.I Pipe as per direction of EIC under itme no : 48 | 1562.00 | Kgs | 0.00 | 60.00 | -93720.00 | 10.00 | -15620.00 | 20.00 | -31240.00 | 35.00 | -54670.00 | 20.00 | -31240.00 | 3.00 | -4686.00 | -93720.00 | RECHI CONSTRUCTION PVT LTD
| Total in Figures |  |  |  |  | 22406240.00 |  | 22974133.00 |  | 20274047.00 |  | 21978900.00 |  | 20868041.00 |  | 27201646.00
Lowest Amount Quoted BY: MAHALAKSHMI CONSTRUCTIONS(20274047.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension and Renovation of Quarters at Begumpet Airport Hyderabad SH Renovation of B type quarters Tender ID: 2024_AAI_202653_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MAHALAKSHMI CONSTRUCTIONS | 20274047.00 | L1
| 2 | GAGAN SAIL | 20868041.00 | L2
| 3 | SUYAMBU PROJECTS | 21978900.00 | L3
| 4 | RECHI CONSTRUCTION PVT LTD | 22406240.00 | L4
| 5 | ARP ENTERPRISES | 22974133.00 | L5
| 6 | N RAMAKRISHNA | 27201646.00 | L6