## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 28-Aug-2024 04:37 PM Tender Title: Provision of VIP room in Departure of Terminal Building at Kishangarh Airport, Ajmer. (SH- Shifting of Gas Based Fire Suppression System). Tender ID: 2024_AAI_202745_1
Tender Inviting Authority:-Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:- Provision of VIP room in Departure of Terminal Building at Kishangarh Airport, Ajmer. (SH:- Shifting of Gas Based Fire Suppression System ).
Contract No:-2024_AAI_202745_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -730929 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -732595
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling, Shifting of complete esixting gas based fire suppression system to new location and re-design, Installation, Testing & Commissioning the system at new location complete as required as mentioned below:- From existing Server room ( 36 cum volume) at ground floor to new Server room at first floor in Terminal Building having dimensions of ( 3.04m x 2.74 m x 3.8m) i/c ceiling void of 0.9 mtr. In the existing system following accessories is available:- (i) 34 Kg cylinder filled with 26 Kg (FK 5-1-12) gas- 01No (ii) Actuator and discharge hose- 01Set (iii) Nozzels (15 NB size) = 3 Nos (iv) Control head for cylinders= 01 Nos (v) 02 zone fire detection and alarm panel= 01 Nos (vi) Smoke detectors = 08 Nos (vii) Response Indicator= 04 Nos (viii) Manual gas release/abort call point= 01 Set (ix) Flasher Sounder= 01 No. (x) Pressure Switch= 01 No. (xi) MS piping (15mm to 25mm) = 07 Mtr | 1.00 | Job | 100.00 | 46000.00 | 46000.00 | 50000.00 | 50000.00 | 46000.00 | Nexus Fire And Security Systems
2.00 | Dismantling, Shifting of complete esixting gas based fire suppression system to new location and re-design, Installation, Testing & Commissioning the system at new location complete as required as mentioned below:- From existing UPS room ( 36 cum volume) at ground floor to new UPS room at first floor in Terminal Building having dimensions of ( 2.44 m x 2.74 m x 3.8m) i/c ceiling void of 0.9 mtr . In the existing system following accessories is available:- (i) 34 Kg cylinder filled with 25 Kg (FK 5-1-12) gas- 01No (ii) Actuator and discharge hose- 01Set (iii) Nozzels (15 NB size) = 3 Nos (iv) Control head for cylinders= 01 Nos (v) 02 zone fire detection and alarm panel= 01 Nos (vi) Smoke detectors = 08 Nos (vii) Response Indicator= 04 Nos (viii) Manual gas release/abort call point= 01 Set (ix) Flasher Sounder= 01 No. (x) Pressure Switch= 01 No. (xi) MS piping (15mm to 25mm) = 09 Mtr | 1.00 | Job | 100.00 | 47000.00 | 47000.00 | 50000.00 | 50000.00 | 47000.00 | Nexus Fire And Security Systems
3.00 | Dismantling, Shifting of complete esixting gas based fire suppression system to new location and re-design, Installation, Testing & Commissioning the system at new location complete as required as mentioned below:- From existing equipment room (4th floor) of Technical block having 112 cum volume i/c ceiling void to conference hall and associated room (2nd floor) having dimensions of {(3.0 m x 6.0 m x 3.3 m) + (3.8 m x 2.95 m x 3.3 m)} i/c ceiling void of 0.7 mtr in technical block. In the existing system following accessories is available:- (i) 80 Kg cylinder filled with 73 Kg (FK 5-1-12) gas- 01No (ii) Actuator and discharge hose- 01Set (iii) Nozzels (15 NB size) = 02+02= 04 Nos (iv) Control head for cylinders= 01 Nos (v) 02 zone fire detection and alarm panel= 01 Nos (vi) Smoke detectors = 08+08= 16 Nos (vii) Response Indicator= 08 Nos (viii) Manual gas release/abort call point= 01 Set (ix) Flasher Sounder= 01 No. (x) Pressure Switch= 01 No. (xi) MS piping= 14 Mtr | 1.00 | Job | 100.00 | 53750.00 | 53750.00 | 60000.00 | 60000.00 | 53750.00 | Nexus Fire And Security Systems
4.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath, laying of cable on wall/surface/ceiling with suitable U-clamp etc. complete as required. | 122.00 | Meter | 100.00 | 105.00 | 12810.00 | 120.00 | 14640.00 | 12810.00 | Nexus Fire And Security Systems
5.00 | Supply & fixing of 15 mm to 50 mm MS seamless pipe, ASTM A-106(Sch 40), Grade B (as per design) complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on the ceiling/wall with suspended supports, clamps anchor fastener, cutting chases/holes in false ceiling/wall and making good the same etc complete as required as per technical specifications. | 35.00 | Meter | 100.00 | 3205.00 | 112175.00 | 1000.00 | 35000.00 | 35000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 271735.00 |  | 209640.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(209640.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of VIP room in Departure of Terminal Building at Kishangarh Airport, Ajmer. (SH- Shifting of Gas Based Fire Suppression System). Tender ID: 2024_AAI_202745_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 209640.00 | L1
| 2 | Nexus Fire And Security Systems | 271735.00 | L2