## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 05-Sep-2024 04:15 PM Tender Title: Provision of portable bio toilet with Reciprocating pump near Security Watch Tower at LBSI Airport, Varanasi Tender ID: 2024_AAI_202999_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Provision of portable bio toilet with Reciprocating pump near Security Watch Tower at LBSI Airport, Varanasi
Contract No: 2024_AAI_ 202999_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kamla Infracon and Services Pvt. Ltd. (GSTN-10AAECK4683L1ZF) BID ID -734660 |  | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -734737 |  | Abhishek Jain (GSTN-07AAHPJ0683K1ZJ) BID ID -734835 |  | RADHIKEY ENTERPRISES(GSTN-NA)--735175 |  | SAURABH ENTERPRISES(GSTN-NA)--734650
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1)1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size | 5.00 | cum |  | 6200.00 | 31000.00 | 5110.00 | 25550.00 | 7000.00 | 35000.00 | 4500.00 | 22500.00 | 6932.60 | 34663.00 | 22500.00 | RADHIKEY ENTERPRISES
1.02 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 25 mm nominal dia Pipes | 300.00 | Mtr |  | 327.00 | 98100.00 | 265.00 | 79500.00 | 300.00 | 90000.00 | 300.00 | 90000.00 | 400.00 | 120000.00 | 79500.00 | S.K. CONSTRUCTION
1.03 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 12.00 | each |  | 354.00 | 4248.00 | 350.00 | 4200.00 | 500.00 | 6000.00 | 1200.00 | 14400.00 | 1000.00 | 12000.00 | 4200.00 | S.K. CONSTRUCTION
1.04 | Supplying and installation of one seater moduler toilet of size 4*4 with 1000ltr bio-disester including Toilet Patform, 1 no 200 ltr water tank with all conection and all standard sanitary fitting as per manufacturer's specification & direction of Engineer-in-Charge. | 12.00 | each |  | 198000.00 | 2376000.00 | 165000.00 | 1980000.00 | 197786.00 | 2373432.00 | 120000.00 | 1440000.00 | 100000.00 | 1200000.00 | 1200000.00 | SAURABH ENTERPRISES
1.05 | Supplying and installation ,Testing and commissioning of Hand pump including boring for each hand pump of dia 250 mm for a depth of approx 60 m, providing PVC casing pipe of dia 125 mm with bottom slotted pipe for a depth of about 12 m and with plain pipe for a depth of about 42 m, Indian Mark -II Hand pump with GI pipe and suction rod below it complete with other associated accessories and development works of borewell including platform 4*4 as per specification & direction of Engineer-in-Charge. | 12.00 | each |  | 83712.00 | 1004544.00 | 68500.00 | 822000.00 | 51786.00 | 621432.00 | 120000.00 | 1440000.00 | 100000.00 | 1200000.00 | 621432.00 | Abhishek Jain
2.00 | Electricial works :
2.01 | Supply installation, testing and commissioning including lowering of single phase submersible pump set with 01 HP motor & suitable stage pump suitable for discharge rate of not less than 30 Litre per minute and maximum head of at least 65 mtr, delivery size approx. 38 mm including supplying and fixing of PVC coated rope wire of dia 2.5 sq.mm (minimum) for pump support and safety including 30 cm (minimum) B class GI pipe of suitable size including threading etc. for coupling between pump outlet and HDPE pipe complete as per site requirement. | 12.00 | Each |  | 19200.00 | 230400.00 | 11150.00 | 133800.00 | 21786.00 | 261432.00 | 22000.00 | 264000.00 | 15000.00 | 180000.00 | 133800.00 | S.K. CONSTRUCTION
2.02 | Supply installation, testing and commissioning of single phase starter Panel Board suitable for 01 HP submersible motor pump (as in item no. 1) fitted with Ammeter, Voltmeter, suitable rating MCB, on /off switch push button, indicating lamps etc. along with incomer 4 pole 10 kA, MCB of rating - 20 Amp including providing mounting arrangement with suitable MS stand fabricated out of 30 mm X 30 mm X 4 mm (minimum) up to height of 1 mtr above ground level and 30 cm in concrete below ground level and suitable size weatherproof, double door with locking arrangement, MS enclosure fabricated out of 2 mm thick MS sheet of suitable size for fixing the starter and incomer MCB inside this box, painting with 2 coats of Aluminum paint with all accessories including necessary connections with the submersible pump complete as required. | 12.00 | Each |  | 6000.00 | 72000.00 | 3250.00 | 39000.00 | 6600.00 | 79200.00 | 12500.00 | 150000.00 | 5000.00 | 60000.00 | 39000.00 | S.K. CONSTRUCTION
2.03 | Providing and fixing of 3 core 2.5 sqmm submersible flat, copper Cable suitable for submersible pump as per IS 694. | 840.00 | Metre |  | 70.00 | 58800.00 | 165.00 | 138600.00 | 82.00 | 68880.00 | 120.00 | 100800.00 | 91.00 | 76440.00 | 58800.00 | Kamla Infracon and Services Pvt. Ltd.
2.04 | Supply of PE80, PN10 rated HDPE Pipe of size 40 mm (outer dia) as per the delivery size of the pump complete as per IS:4984/95 duly ISI marked. | 1175.00 | Metre |  | 70.00 | 82250.00 | 62.00 | 72850.00 | 85.00 | 99875.00 | 99.00 | 116325.00 | 90.00 | 105750.00 | 72850.00 | S.K. CONSTRUCTION
2.05 | Supplying of 1.1 kV grade multicore stranded Aluminium Conductor XLPE insulated galvanised steel strip armoured & overall PVC sheathed armoured power cables as per IS: 7098 Part-I complete as required. a)4C X 16 Sq.mm | 2639.00 | Metre |  | 198.00 | 522522.00 | 125.00 | 329875.00 | 232.00 | 612248.00 | 167.00 | 440713.00 | 130.00 | 343070.00 | 329875.00 | S.K. CONSTRUCTION
2.06 | Laying of HDPE Pipe of size up to 40 mm in underground for laying of cable below road/other concrete structure at depth of upto 75 cm through manual horizontal drilling method complete as required. | 295.00 | Metre |  | 134.00 | 39530.00 | 110.00 | 32450.00 | 150.00 | 44250.00 | 600.00 | 177000.00 | 250.00 | 73750.00 | 32450.00 | S.K. CONSTRUCTION
2.07 | Laying of following size HDPE /GI pipe in ground up to depth of approx 0.75 meter including covering with excavation and refilling the trench, consolidation and making good the surface etc. complete as required. a)Upto 40 mm dia | 280.00 | Metre |  | 111.00 | 31080.00 | 90.00 | 25200.00 | 120.00 | 33600.00 | 600.00 | 168000.00 | 150.00 | 42000.00 | 25200.00 | S.K. CONSTRUCTION
2.08 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable/control cable of 1.1 KV grade of following size in the existing DWC/HDPE/RCC/ HUME/ METAL pipe as required. A) Up to 35 sq. mm. | 1175.00 | Metre |  | 26.00 | 30550.00 | 6.00 | 7050.00 | 34.00 | 39950.00 | 70.00 | 82250.00 | 50.00 | 58750.00 | 7050.00 | S.K. CONSTRUCTION
2.09 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall/surface as required. A) Up to 35 sq. mm. (clamped with 1mm thick saddle) | 2178.00 | Metre |  | 35.00 | 76230.00 | 8.00 | 17424.00 | 41.00 | 89298.00 | 80.00 | 174240.00 | 30.00 | 65340.00 | 17424.00 | S.K. CONSTRUCTION
2.10 | Providing and laying 6 SWG dia G.I. wire in HDPE/RCC/ HUME/ METAL pipe/existing trench or along with cable for loop earthing etc complete as required. | 2639.00 | Meter |  | 28.00 | 73892.00 | 25.00 | 65975.00 | 39.00 | 102921.00 | 20.00 | 52780.00 | 25.00 | 65975.00 | 52780.00 | RADHIKEY ENTERPRISES
2.11 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. A)4 X 16 sq. mm (28mm) | 24.00 | Sets |  | 225.00 | 5400.00 | 2100.00 | 50400.00 | 264.00 | 6336.00 | 300.00 | 7200.00 | 400.00 | 9600.00 | 5400.00 | Kamla Infracon and Services Pvt. Ltd.
2.12 | Design, manufacture, supply, installation, testing and commissioning of outddoor type feeder pillar box of size 0.60 m X 0.75 m X 0.30 m from 2 mm thick MS steel including TPN Bus bar of 415V, 200 Amp, 50 Hz with suitable equidistant arrangement for connection of 01 I/c and 02 Outgoing power cables, cable entry from bottom, arranegment for earth connection, totally enclosed type with free standing floor mounted, dust & vermin proof suitable to be used outside etc as per site requirement complete as required. | 5.00 | Each |  | 7000.00 | 35000.00 | 7465.00 | 37325.00 | 7474.00 | 37370.00 | 30000.00 | 150000.00 | 31000.00 | 155000.00 | 35000.00 | Kamla Infracon and Services Pvt. Ltd.
2.13 | Supply of rechargable type LED Dragon Search Lights of minimum 15 Watt with Li Ion battery suitable for 1 Km range for CISF as per specifications complete as required. (FOSLSRLYKM2CW or similar). | 12.00 | Each |  | 6900.00 | 82800.00 | 2560.00 | 30720.00 | 7372.00 | 88464.00 | 14000.00 | 168000.00 | 3000.00 | 36000.00 | 30720.00 | S.K. CONSTRUCTION
| Total in Figures |  |  |  |  | 4854346.00 |  | 3891919.00 |  | 4689688.00 |  | 5058208.00 |  | 3838338.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(3838338.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of portable bio toilet with Reciprocating pump near Security Watch Tower at LBSI Airport, Varanasi Tender ID: 2024_AAI_202999_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 3838338.00 | L1
| 2 | S.K. CONSTRUCTION | 3891919.00 | L2
| 3 | Abhishek Jain | 4689688.00 | L3
| 4 | Kamla Infracon and Services Pvt. Ltd. | 4854346.00 | L4
| 5 | RADHIKEY ENTERPRISES | 5058208.00 | L5