## BoQ1
Government eProcurement System Created By: Prabhash Baleshwar Created Date/Time: 27-Aug-2024 01:05 PM Tender Title: Rate Contract of Internal Wiring and Associated works at M.P. Airport Udaipur Tender ID: 2024_AAI_203104_1
Tender Inviting Authority: SM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Rate Contract of Internal Wiring and Associated works at M.P. Airport Udaipur
Contract No: AAI/UDR/ENGG(E)/2024-25/INTERNAL WIRING
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -734794 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -735050 |  | M/s Sogani Electrical (GSTN-08AGBPS1420R1Z3) BID ID -735106 |  | ANUKOM ENTERPRISES(GSTN-NA)--734275
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. |  |  | 0.00
1.10 | Group A | 200.00 | Point | 0.00 | 910.00 | 182000.00 | 1100.00 | 220000.00 | 798.00 | 159600.00 | 900.00 | 180000.00 | 159600.00 | M/s Sogani Electrical
1.20 | Group B | 50.00 | Point | 0.00 | 1260.00 | 63000.00 | 1200.00 | 60000.00 | 950.00 | 47500.00 | 1200.00 | 60000.00 | 47500.00 | M/s Sogani Electrical
1.30 | Group C | 100.00 | Point | 0.00 | 2100.00 | 210000.00 | 1500.00 | 150000.00 | 1615.00 | 161500.00 | 1550.00 | 155000.00 | 150000.00 | Manish Electricals
2.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface I recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper required. | 10.00 | Point | 0.00 | 900.00 | 9000.00 | 980.00 | 9800.00 | 1235.00 | 12350.00 | 900.00 | 9000.00 | 9000.00 | ANUKOM ENTERPRISES, Yash Energy Pvt. Ltd
3.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No4sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 1020.00 | Meter | 0.00 | 250.00 | 255000.00 | 250.00 | 255000.00 | 313.00 | 319260.00 | 200.00 | 204000.00 | 204000.00 | ANUKOM ENTERPRISES
4.00 | Wiring for light/ power plug with 4X4 sq . mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 2 Nos 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 300.00 | Meter | 0.00 | 400.00 | 120000.00 | 350.00 | 105000.00 | 475.00 | 142500.00 | 420.00 | 126000.00 | 105000.00 | Manish Electricals
5.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required |  |  | 0.00
5.10 | 2X2.5sq. mm +1 X2.5sq. mm earth wire | 2060.00 | Meter | 0.00 | 175.00 | 360500.00 | 225.00 | 463500.00 | 261.00 | 537660.00 | 275.00 | 566500.00 | 360500.00 | Yash Energy Pvt. Ltd
5.20 | 2X4sq. mm +1 X4sq. mm earth wire | 200.00 | Meter | 0.00 | 250.00 | 50000.00 | 270.00 | 54000.00 | 313.00 | 62600.00 | 320.00 | 64000.00 | 50000.00 | Yash Energy Pvt. Ltd
6.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor , single core cable in the existing surface/recessed steel/PVC conduit as required. |  |  | 0.00
6.10 | 1 x1.5sq. Mm | 250.00 | Meter | 0.00 | 31.00 | 7750.00 | 32.00 | 8000.00 | 38.00 | 9500.00 | 19.00 | 4750.00 | 4750.00 | ANUKOM ENTERPRISES
6.20 | 2x1.5sq. Mm | 250.00 | Meter | 0.00 | 63.00 | 15750.00 | 60.00 | 15000.00 | 67.00 | 16750.00 | 33.00 | 8250.00 | 8250.00 | ANUKOM ENTERPRISES
6.30 | 2x2.5 sq. Mm | 250.00 | Meter | 0.00 | 85.00 | 21250.00 | 70.00 | 17500.00 | 95.00 | 23750.00 | 46.00 | 11500.00 | 11500.00 | ANUKOM ENTERPRISES
6.40 | 3x2.5 sq. Mm | 250.00 | Meter | 0.00 | 105.00 | 26250.00 | 120.00 | 30000.00 | 133.00 | 33250.00 | 71.00 | 17750.00 | 17750.00 | ANUKOM ENTERPRISES
6.50 | 2x4 sq.Mm | 200.00 | Meter | 0.00 | 140.00 | 28000.00 | 120.00 | 24000.00 | 137.00 | 27400.00 | 90.00 | 18000.00 | 18000.00 | ANUKOM ENTERPRISES
6.60 | 3x4 sq. Mm | 200.00 | Meter | 0.00 | 180.00 | 36000.00 | 170.00 | 34000.00 | 200.00 | 40000.00 | 145.00 | 29000.00 | 29000.00 | ANUKOM ENTERPRISES
7.00 | Supplying and fixing of following sizes of steeI conduit along with accessories in surface/recess including painting in case ofsurface conduit, or cutting the wall and making good the same in case of recessed conduit as required. |  |  | 0.00
7.10 | 20 mm | 50.00 | Meter | 0.00 | 180.00 | 9000.00 | 170.00 | 8500.00 | 190.00 | 9500.00 | 120.00 | 6000.00 | 6000.00 | ANUKOM ENTERPRISES
7.20 | 25 mm | 50.00 | Meter | 0.00 | 200.00 | 10000.00 | 198.00 | 9900.00 | 228.00 | 11400.00 | 140.00 | 7000.00 | 7000.00 | ANUKOM ENTERPRISES
8.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. |  |  | 0.00
8.10 | 20 mm | 250.00 | Meter | 0.00 | 40.00 | 10000.00 | 70.00 | 17500.00 | 95.00 | 23750.00 | 40.00 | 10000.00 | 10000.00 | ANUKOM ENTERPRISES, Yash Energy Pvt. Ltd
8.20 | 25 mm | 250.00 | Meter | 0.00 | 50.00 | 12500.00 | 95.00 | 23750.00 | 114.00 | 28500.00 | 55.00 | 13750.00 | 12500.00 | Yash Energy Pvt. Ltd
9.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. |  |  | 0.00
9.10 | 5/6 A switch (Anchor penta or equivalent) | 200.00 | Each | 0.00 | 28.00 | 5600.00 | 70.00 | 14000.00 | 76.00 | 15200.00 | 26.00 | 5200.00 | 5200.00 | ANUKOM ENTERPRISES
9.20 | 5/6 A switch (Gold medal Aura or equivalent) | 200.00 | Each | 0.00 | 55.00 | 11000.00 | 80.00 | 16000.00 | 85.00 | 17000.00 | 70.00 | 14000.00 | 11000.00 | Yash Energy Pvt. Ltd
9.30 | 15/16 A switch (Anchor penta or equivalent) | 200.00 | Each | 0.00 | 90.00 | 18000.00 | 125.00 | 25000.00 | 123.00 | 24600.00 | 35.00 | 7000.00 | 7000.00 | ANUKOM ENTERPRISES
9.40 | 15/16 A switch (Gold medal Aura or equivalent) | 200.00 | Each | 0.00 | 150.00 | 30000.00 | 145.00 | 29000.00 | 150.00 | 30000.00 | 117.00 | 23400.00 | 23400.00 | ANUKOM ENTERPRISES
9.50 | 3 pin 5/6 A socket outlet (Anchor penta or equivalent) | 200.00 | Each | 0.00 | 111.00 | 22200.00 | 80.00 | 16000.00 | 105.00 | 21000.00 | 75.00 | 15000.00 | 15000.00 | ANUKOM ENTERPRISES
9.60 | 3 pin 5/6 A socket outlet (Gold medal Aura or equivalent) | 30.00 | Each | 0.00 | 135.00 | 4050.00 | 80.00 | 2400.00 | 128.00 | 3840.00 | 76.05 | 2281.50 | 2281.50 | ANUKOM ENTERPRISES
9.70 | 6 pin 15/16 A socket outlet (Anchor penta or equivalent) | 200.00 | Each | 0.00 | 145.00 | 29000.00 | 130.00 | 26000.00 | 166.00 | 33200.00 | 120.00 | 24000.00 | 24000.00 | ANUKOM ENTERPRISES
9.80 | 6 pin 15/16 A socket outlet (Gold medal Aura or equivalent) | 200.00 | Each | 0.00 | 221.00 | 44200.00 | 230.00 | 46000.00 | 241.00 | 48200.00 | 172.25 | 34450.00 | 34450.00 | ANUKOM ENTERPRISES
10.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 20.00 | Each | 0.00 | 325.00 | 6500.00 | 300.00 | 6000.00 | 313.00 | 6260.00 | 315.00 | 6300.00 | 6000.00 | Manish Electricals
11.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 100.00 | Each | 0.00 | 20.00 | 2000.00 | 28.00 | 2800.00 | 28.00 | 2800.00 | 25.00 | 2500.00 | 2000.00 | Yash Energy Pvt. Ltd
12.00 | Supplying and fixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc as required. |  |  | 0.00
12.10 | 1 or2 Module (75mmX75mm) (Anchor penta or equivalent) | 30.00 | Each | 0.00 | 104.00 | 3120.00 | 200.00 | 6000.00 | 228.00 | 6840.00 | 170.00 | 5100.00 | 3120.00 | Yash Energy Pvt. Ltd
12.20 | 1 or 2 Module (75mmX75mm) (Gold medal -Wega metallic or equivalent) | 20.00 | Each | 0.00 | 260.00 | 5200.00 | 400.00 | 8000.00 | 408.00 | 8160.00 | 290.00 | 5800.00 | 5200.00 | Yash Energy Pvt. Ltd
12.30 | 3 Module (100mmX75mm) (Anchor penta or equivalent) | 30.00 | Each | 0.00 | 170.00 | 5100.00 | 265.00 | 7950.00 | 251.00 | 7530.00 | 211.00 | 6330.00 | 5100.00 | Yash Energy Pvt. Ltd
12.40 | 3 Module (100mmX75mm) (Gold medal -Wega metallic or equivalent) | 100.00 | Each | 0.00 | 295.00 | 29500.00 | 480.00 | 48000.00 | 465.00 | 46500.00 | 346.00 | 34600.00 | 29500.00 | Yash Energy Pvt. Ltd
12.50 | 4 Module (125mmX75mm) (Gold medal -Wega metallic or equivalent) | 20.00 | Each | 0.00 | 365.00 | 7300.00 | 520.00 | 10400.00 | 536.00 | 10720.00 | 422.50 | 8450.00 | 7300.00 | Yash Energy Pvt. Ltd
12.60 | 6 Module (200mmX75mm) (Gold medal -Wega metallic or equivalent) | 10.00 | Each | 0.00 | 421.00 | 4210.00 | 600.00 | 6000.00 | 598.00 | 5980.00 | 499.00 | 4990.00 | 4210.00 | Yash Energy Pvt. Ltd
12.70 | 8 Module (125mmX125mm) (Gold medal -Wega metallic or equivalent) | 10.00 | Each | 0.00 | 520.00 | 5200.00 | 700.00 | 7000.00 | 693.00 | 6930.00 | 624.00 | 6240.00 | 5200.00 | Yash Energy Pvt. Ltd
12.80 | 12 Module (200mmX150mm) (Gold medal -Wega metallic or equivalent) | 10.00 | Each | 0.00 | 750.00 | 7500.00 | 1050.00 | 10500.00 | 1045.00 | 10450.00 | 851.40 | 8514.00 | 7500.00 | Yash Energy Pvt. Ltd
13.00 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. |  |  | 0.00
13.10 | 1 or 2 Module (Gold medal -Wega metallic or equivalent) | 10.00 | Each | 0.00 | 205.00 | 2050.00 | 180.00 | 1800.00 | 270.00 | 2700.00 | 210.00 | 2100.00 | 1800.00 | Manish Electricals
13.20 | 3 Module(Gold medal -Wega metallic or equivalent) | 20.00 | Each | 0.00 | 235.00 | 4700.00 | 280.00 | 5600.00 | 308.00 | 6160.00 | 245.00 | 4900.00 | 4700.00 | Yash Energy Pvt. Ltd
13.30 | 4 Module(Gold medal -Wega metallic or equivalent) | 10.00 | Each | 0.00 | 290.00 | 2900.00 | 330.00 | 3300.00 | 356.00 | 3560.00 | 297.50 | 2975.00 | 2900.00 | Yash Energy Pvt. Ltd
13.40 | 6 Module (Gold medal -Wega metallic or equivalent) | 20.00 | Each | 0.00 | 335.00 | 6700.00 | 380.00 | 7600.00 | 403.00 | 8060.00 | 343.00 | 6860.00 | 6700.00 | Yash Energy Pvt. Ltd
13.50 | 8 Module (Gold medal -Wega metallic or equivalent) | 20.00 | Each | 0.00 | 545.00 | 10900.00 | 480.00 | 9600.00 | 500.00 | 10000.00 | 420.00 | 8400.00 | 8400.00 | ANUKOM ENTERPRISES
13.60 | 12 Module (Gold medal -Wega metallic or equivalent) | 30.00 | Each | 0.00 | 615.00 | 18450.00 | 790.00 | 23700.00 | 788.00 | 23640.00 | 596.40 | 17892.00 | 17892.00 | ANUKOM ENTERPRISES
14.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6Amodular switch, connection etc. as required. | 20.00 | Each | 0.00 | 310.00 | 6200.00 | 390.00 | 7800.00 | 380.00 | 7600.00 | 326.00 | 6520.00 | 6200.00 | Yash Energy Pvt. Ltd
15.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSont on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16Amodular switch, connection etc. as required. | 40.00 | Each | 0.00 | 411.00 | 16440.00 | 470.00 | 18800.00 | 475.00 | 19000.00 | 461.00 | 18440.00 | 16440.00 | Yash Energy Pvt. Ltd
16.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. |  |  | 0.00
16.10 | Group A | 10.00 | Point | 0.00 | 550.00 | 5500.00 | 550.00 | 5500.00 | 475.00 | 4750.00 | 900.00 | 9000.00 | 4750.00 | M/s Sogani Electrical
16.20 | Group B | 10.00 | Point | 0.00 | 940.00 | 9400.00 | 650.00 | 6500.00 | 570.00 | 5700.00 | 1200.00 | 12000.00 | 5700.00 | M/s Sogani Electrical
16.30 | Group C | 100.00 | Point | 0.00 | 1400.00 | 140000.00 | 720.00 | 72000.00 | 665.00 | 66500.00 | 1550.00 | 155000.00 | 66500.00 | M/s Sogani Electrical
17.00 | Supplying & fixing suitable size Gl box wih modular plate and cover in front on surface or in recess i/c providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connection, painting etc. as required. | 120.00 | Each | 0.00 | 550.00 | 66000.00 | 500.00 | 60000.00 | 570.00 | 68400.00 | 780.00 | 93600.00 | 60000.00 | Manish Electricals
18.00 | Supplying and fixing PVC batten/ angle holder including connection etc. as required. | 100.00 | Each | 0.00 | 25.00 | 2500.00 | 60.00 | 6000.00 | 85.00 | 8500.00 | 35.00 | 3500.00 | 2500.00 | Yash Energy Pvt. Ltd
19.00 | Supplying and fixing 12 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) (Honeywell, IHPSPNDD012 or equivalent) | 15.00 | Each | 0.00 | 2281.00 | 34215.00 | 2200.00 | 33000.00 | 2470.00 | 37050.00 | 2007.60 | 30114.00 | 30114.00 | ANUKOM ENTERPRISES
20.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) |  |  | 0.00
20.10 | 4 way (4+12), Double door (Honeywell, IHPTPNDD404 or equivalent) | 10.00 | Each | 0.00 | 3751.00 | 37510.00 | 4500.00 | 45000.00 | 4180.00 | 41800.00 | 3139.20 | 31392.00 | 31392.00 | ANUKOM ENTERPRISES
20.20 | 6 way (8+18), Double door (Honeywell, IHPTPNDD006 or equivalent) | 5.00 | Each | 0.00 | 4800.00 | 24000.00 | 5800.00 | 29000.00 | 5320.00 | 26600.00 | 4183.20 | 20916.00 | 20916.00 | ANUKOM ENTERPRISES
20.30 | 8 way (8 + 24), Double door (Honeywell, IHPTPNDD008 or equivalent) | 15.00 | Each | 0.00 | 6000.00 | 90000.00 | 6500.00 | 97500.00 | 6650.00 | 99750.00 | 5064.00 | 75960.00 | 75960.00 | ANUKOM ENTERPRISES
21.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 As tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) |  |  | 0.00
21.10 | 8 way (8 + 24), Double door (Honeywell, IHPVMCBDD08 or equivalent) | 10.00 | Each | 0.00 | 14500.00 | 145000.00 | 15000.00 | 150000.00 | 15200.00 | 152000.00 | 14821.80 | 148218.00 | 145000.00 | Yash Energy Pvt. Ltd
22.00 | Supplying and fixing 5 Ato 32 As rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  | 0.00
22.10 | Single pole | 600.00 | Each | 0.00 | 165.00 | 99000.00 | 150.00 | 90000.00 | 209.00 | 125400.00 | 169.40 | 101640.00 | 90000.00 | Manish Electricals
22.20 | Double pole | 50.00 | Each | 0.00 | 490.00 | 24500.00 | 600.00 | 30000.00 | 570.00 | 28500.00 | 423.60 | 21180.00 | 21180.00 | ANUKOM ENTERPRISES
22.30 | Triple pole | 30.00 | Each | 0.00 | 750.00 | 22500.00 | 800.00 | 24000.00 | 855.00 | 25650.00 | 726.00 | 21780.00 | 21780.00 | ANUKOM ENTERPRISES
22.40 | Triple pole and neutral | 80.00 | Each | 0.00 | 1100.00 | 88000.00 | 1100.00 | 88000.00 | 1045.00 | 83600.00 | 1011.60 | 80928.00 | 80928.00 | ANUKOM ENTERPRISES
23.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each | 0.00 | 20.00 | 200.00 | 12.00 | 120.00 | 19.00 | 190.00 | 25.00 | 250.00 | 120.00 | Manish Electricals
24.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  | 0.00
24.10 | 40A | 5.00 | Each | 0.00 | 550.00 | 2750.00 | 500.00 | 2500.00 | 840.00 | 4200.00 | 673.20 | 3366.00 | 2500.00 | Manish Electricals
24.20 | 63 A | 5.00 | Each | 0.00 | 650.00 | 3250.00 | 700.00 | 3500.00 | 855.00 | 4275.00 | 705.60 | 3528.00 | 3250.00 | Yash Energy Pvt. Ltd
25.00 | Supplying and fixing 25 A rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli Aeres in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 0.00 | 2730.00 | 27300.00 | 1800.00 | 18000.00 | 1710.00 | 17100.00 | 1566.00 | 15660.00 | 15660.00 | ANUKOM ENTERPRISES
26.00 | Supplying and fixing 25 A, four pole, 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli aeres in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 0.00 | 3500.00 | 35000.00 | 3200.00 | 32000.00 | 2185.00 | 21850.00 | 2086.80 | 20868.00 | 20868.00 | ANUKOM ENTERPRISES
27.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32A 240 volts "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 0.00 | 1000.00 | 10000.00 | 1050.00 | 10500.00 | 950.00 | 9500.00 | 876.60 | 8766.00 | 8766.00 | ANUKOM ENTERPRISES
28.00 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32A 415 volts "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 0.00 | 1100.00 | 11000.00 | 1450.00 | 14500.00 | 1377.00 | 13770.00 | 1249.20 | 12492.00 | 11000.00 | Yash Energy Pvt. Ltd
29.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for following trippie pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with testing and commissioning etc. |  |  | 0.00
29.10 | For4way, Double door TPN MCBDB | 30.00 | Each | 0.00 | 450.00 | 13500.00 | 950.00 | 28500.00 | 950.00 | 28500.00 | 684.00 | 20520.00 | 13500.00 | Yash Energy Pvt. Ltd
29.20 | For 6 way, Double door TPN MCBDB | 30.00 | Each | 0.00 | 600.00 | 18000.00 | 970.00 | 29100.00 | 969.00 | 29070.00 | 960.00 | 28800.00 | 18000.00 | Yash Energy Pvt. Ltd
29.30 | For 8 way, Double door TPN MCBDB | 10.00 | Each | 0.00 | 750.00 | 7500.00 | 1180.00 | 11800.00 | 1130.00 | 11300.00 | 1209.00 | 12090.00 | 7500.00 | Yash Energy Pvt. Ltd
30.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 volts, on surface/ recess, complete with testing and commissioning. | 20.00 | Each | 0.00 | 1100.00 | 22000.00 | 1200.00 | 24000.00 | 950.00 | 19000.00 | 678.00 | 13560.00 | 13560.00 | ANUKOM ENTERPRISES
31.00 | SITC of Digital Ammeter having size 96mm x 96mm for existing electrical panels with programable CT ratio. | 15.00 | Each | 0.00 | 2500.00 | 37500.00 | 1500.00 | 22500.00 | 1090.00 | 16350.00 | 837.00 | 12555.00 | 12555.00 | ANUKOM ENTERPRISES
32.00 | SITC of Digital Voltmeter having size 96mm x 96mm for existing electrical panels. | 15.00 | Each | 0.00 | 2500.00 | 37500.00 | 1500.00 | 22500.00 | 1090.00 | 16350.00 | 837.00 | 12555.00 | 12555.00 | ANUKOM ENTERPRISES
33.00 | Supply of Quartz type daily timer switch suitable to operate at 110ac -240ac, 50Hz.(L&T GIC or equivalent) | 15.00 | Each | 0.00 | 2500.00 | 37500.00 | 2000.00 | 30000.00 | 1805.00 | 27075.00 | 4832.00 | 72480.00 | 27075.00 | M/s Sogani Electrical
| Total in Figures |  |  |  |  | 2785145.00 |  | 2856720.00 |  | 3045430.00 |  | 2815460.50
Lowest Amount Quoted BY: Yash Energy Pvt. Ltd(2785145.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rate Contract of Internal Wiring and Associated works at M.P. Airport Udaipur Tender ID: 2024_AAI_203104_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Yash Energy Pvt. Ltd | 2785145.00 | L1
| 2 | ANUKOM ENTERPRISES | 2815460.50 | L2
| 3 | Manish Electricals | 2856720.00 | L3
| 4 | M/s Sogani Electrical | 3045430.00 | L4