## BoQ1
Government eProcurement System Created By: Chandan Kumar Created Date/Time: 03-Sep-2024 05:04 PM Tender Title: Replacement of Old Wind Sock at M.B.B Airport Agartala. Tender ID: 2024_AAI_203137_1
Tender Inviting Authority:
Name of Work: Replacement of Old Wind Sock at MBB Airport, Agartala.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited (GSTN-27AAACA1016F1ZE) BID ID -730316 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -735171 |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)--734596
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of frangible, Externally illuminated wind direction indicator confirming to ICAO Annex-14, volume I and suitable for operation on 230 V, 50 Hz, single phase AC supply and complete with following main components as require. (a) 5 Mtr. height FRP frangible pole/mast. The frangible shall be ICAO compliant as per Annex-14 & Aerodrome design manual part-6/FAA. (b) The colour of pole/mast shall be preferably aviation red/white (c ) Wind sock assembly complete with slip rings, ring for mounting of Wind Sock, bearing, carbon brush with holder etc. as required. (d) Four nos. nominal capacity LED lamps (20W-30W) alongwith mounting arrangements outdoor conditions. (e) One no. LED Aviation obstruction light having aluminium cast body and red polycarbonate dome. (f) Internal wiring, provision for remote control operation. (g) Wind Sock cloth (3.60 m long) (h) Providing suitable cement concrete foundation for installation of WDI as per OEM recommendations after dismantling of existing Cement concrete foundation of Windcone. (i) Set of Foundation bolts, Stainless steel mounting etc. (j) Suitable Enclosure with suitable rating power contact as required for Remote/ Local operation of wind direction indicator. | 1.00 | Job | 458793.00 | 342700.00 | 342700.00 | 395000.00 | 395000.00 | 402375.00 | 402375.00 | 342700.00 | AMA Private Limited
2.00 | Supply of following size XLPE insulated and PVC sheathed copper conductor armoured power cable of 1.1KV grade confirming to IS 7098, Part-I 1988 with up to date amendments and confirming to technical specifications. (a) 10c x 2.5 Sq.mm | 500.00 | Mtr. | 846.00 | 459.00 | 229500.00 | 810.00 | 405000.00 | 713.00 | 356500.00 | 229500.00 | AMA Private Limited
3.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/XPLE Cu. conductor cable of 1.1 KV grade as required. 10 X 2.5 sq. mm (18mm) | 4.00 | Set | 955.00 | 2500.00 | 10000.00 | 500.00 | 2000.00 | 544.00 | 2176.00 | 2000.00 | surbhi association
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE/DWC pipe as required. Upto 35 sq. mm | 325.00 | Mtr. | 33.00 | 75.00 | 24375.00 | 50.00 | 16250.00 | 29.00 | 9425.00 | 9425.00 | vardhman Airport solutions pvt. Ltd.
| Total in Figures |  |  |  |  | 606575.00 |  | 818250.00 |  | 770476.00
Lowest Amount Quoted BY: AMA Private Limited(606575.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Old Wind Sock at M.B.B Airport Agartala. Tender ID: 2024_AAI_203137_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMA Private Limited | 606575.00 | L1
| 2 | vardhman Airport solutions pvt. Ltd. | 770476.00 | L2
| 3 | surbhi association | 818250.00 | L3