## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 22-Oct-2024 11:17 AM Tender Title: Provision of CCTV /Security system for residential colony at LBSI Airport Varanasi. Tender ID: 2024_AAI_203260_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Provision of CCTV /Security system for residential colony at LBSI Airport Varanasi.
Contract No: 2024_AAI_203260_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | A R BUILDING SOLUTIONS (GSTN-NA) BID ID -735785 |  | Walsons Services Private Limited (GSTN-NA) BID ID -735919
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:1 SITC of CCTV/Security System SITC of 2 Megapixel Indoor Fixed Dome Network Camera with 1/2.8"CMOS sensor, Varifocal lens, Auto Iris, with remote zoom, IR sensor, resolution 1080p HD @25 FPS or better, ONVIF compliant complete with camera mount and all accessories indoor housing etc. as per specifications. | 3.00 | Nos |  | 8142.00 | 24426.00 | 11458.33 | 34374.99 | 24426.00 | A R BUILDING SOLUTIONS
2.00 | SITC of 2 Megapixel Outdoor Verifocal Network Bullet Camera with 1/2.8"CMOS sensor, 32 x or better Varifocal , Autofocus , Automatic day/night optical zoom, Auto Iris, with remote zoom, IR sensor, resolution 1080p HD @25 FPS or better, ONVIF compliant complete with IP 66 rated housing, camera mount as per site requirement and all related accessories as per specifications. | 40.00 | Nos |  | 8378.00 | 335120.00 | 11718.75 | 468750.00 | 335120.00 | A R BUILDING SOLUTIONS
3.00 | SITC of 2 Megapixel Outdoor Colour Dome Netwrok PTZ Camera complete with 1/2.8"CMOS sensor, Varifocal lens, Auto Iris, with remote zoom, IR sensor, resolution 1080p HD @25 FPS or better, ONVIF compliant complete with IP 66 rated housing, camera mount as per site requirement and all related accessories as per specifications. | 3.00 | Nos |  | 54044.00 | 162132.00 | 71614.58 | 214843.74 | 162132.00 | A R BUILDING SOLUTIONS
4.00 | SITC of 32 Channel (minimum) Network Video Recorder with 30 days recording in RAID 5 configuration with suitable size HDD (not less than 40 TB) for storing data up to 30 days complete with all accessories, required viewing license, software, switches etc. as per specifications. | 2.00 | Nos |  | 241900.00 | 483800.00 | 130208.33 | 260416.66 | 260416.66 | Walsons Services Private Limited
5.00 | Supply of L2 Switch with 24 Nos. 10/100/1000 Mbps PoE Copper Ports and 4 Nos. of 10 Gbps (minimum) SFP ports fully populated with required modules with 24 Port Jack Panel, SFP modules, required patch cords, Connectors/Transceiver, fully populated LIUs etc. as required complete as per specifications. | 1.00 | Set |  | 60062.00 | 60062.00 | 35535.00 | 35535.00 | 35535.00 | Walsons Services Private Limited
6.00 | SITC of L2 Switch Industrial Grade with 8 Nos. 10/100/1000 Mbps PoE Copper Ports and 2 Nos. of 1 Gbps (minimum) SFP ports fully populated with required modules, 08 Port Jack Panel, SFP modules, required patch cords, Connectors/ Transceiver, fully populated LIUs etc. as required complete as per specifications. | 13.00 | Set |  | 49442.00 | 642746.00 | 11718.75 | 152343.75 | 152343.75 | Walsons Services Private Limited
7.00 | SITC of 43 inch Full HD LED Display complete with wall mounting arrangement and connections etc. as per specifications and preferred makes. | 2.00 | Nos |  | 46020.00 | 92040.00 | 52083.33 | 104166.66 | 92040.00 | A R BUILDING SOLUTIONS
8.00 | SITC of Workstation including 22 inch LED Display Operating system and Anti-virus with Keyboard Optical Scroll Mouse and all accessories etc. complete as per specifications. | 2.00 | Set |  | 154462.00 | 308924.00 | 104166.67 | 208333.34 | 208333.34 | Walsons Services Private Limited
9.00 | SITC of 6 KVA Online UPS in redundant configuration (Qty. 2x6 KVA) with SMF batteries 30 minutes of battery backup with each UPS as per specifications. | 1.00 | Set |  | 212400.00 | 212400.00 | 292968.75 | 292968.75 | 212400.00 | A R BUILDING SOLUTIONS
10.00 | Supply and installation of Outdoor Metallic Junction Box Rack fabricated of suitable thickness GI sheet of size 6U 600X600 mm for outdoor cameras & Fiber Cable connectivity as per tender specification and site requirement. | 10.00 | Nos |  | 10974.00 | 109740.00 | 7812.50 | 78125.00 | 78125.00 | Walsons Services Private Limited
11.00 | Supply and installation of Indoor 9U 600/600 Networking Rack wall/pole mount as per tender specification with all accessories required as per site requirement. | 3.00 | Nos |  | 5959.00 | 17877.00 | 11718.75 | 35156.25 | 17877.00 | A R BUILDING SOLUTIONS
12.00 | SITC of Surveillance CCTV 19 inch (27 U) Equipment Rack including Patch Panel Cable Manager accessories etc. complete as per specifications. | 1.00 | Nos |  | 27140.00 | 27140.00 | 28645.83 | 28645.83 | 27140.00 | A R BUILDING SOLUTIONS
13.00 | Supply & installation of Power distribution panel as per specification. | 14.00 | Nos |  | 5900.00 | 82600.00 | 3255.21 | 45572.94 | 45572.94 | Walsons Services Private Limited
14.00 | Supply of following sizes HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked, a) 40 mm PE 80, PN 6 | 2756.00 | Mtr |  | 64.90 | 178864.40 | 71.61 | 197357.16 | 178864.40 | A R BUILDING SOLUTIONS
15.00 | Laying of following size HDPE /GI pipe in the soil / ground up to depth of approx 0.50 meter including excavation and refilling the trench, consolidation and making good the surface etc. complete as required. A) Up to 40 mm | 1934.00 | Mtr |  | 76.70 | 148337.80 | 260.42 | 503652.28 | 148337.80 | A R BUILDING SOLUTIONS
16.00 | Laying and fixing of one number HDPE/GI pipe of following size on wall/surface using 20/25 mm X 3mm flat iron clamps including required finishing work complete as required. A) Up to 50 mm dia | 822.00 | Mtr |  | 94.40 | 77596.80 | 104.17 | 85627.74 | 77596.80 | A R BUILDING SOLUTIONS
17.00 | Supply of GI Pipe (Class B) of 50 mm dia conforming to IS:1239 PART-1 (2004). | 271.00 | Mtr |  | 861.40 | 233439.40 | 260.42 | 70573.82 | 70573.82 | Walsons Services Private Limited
18.00 | Laying of HDPE/GI Pipe of following size in underground for laying of cable below road/other cement/concrete structure at depth of upto 0.50 meter through manual horizontal drilling method complete as required. A) Up to 50 mm dia | 100.00 | Mtr |  | 424.80 | 42480.00 | 195.31 | 19531.00 | 19531.00 | Walsons Services Private Limited
19.00 | Laying of HDPE/GI Pipe of following size in cement/concrete by cutiing/breaking the existing cement/concrete structure and making good the same with 1:3:6 grade cement concrete after laying of pipe including finishing up etc. complete as required. A) Up to 50 mm dia | 171.00 | Mtr |  | 684.40 | 117032.40 | 195.31 | 33398.01 | 33398.01 | Walsons Services Private Limited
20.00 | Supply of 80 mm (3 inch) dia, B Class, 5 Mtrs. Height Single Arm ISI marked GI Pole with suitable base plate (painted in Aluminum paint) of size 300 mm x 300 mm x 6 mm by welding the same to the pole including suitable triangular side support (04 sides) with approx. 100 mm base, 150 mm height and 6 mm thickness, pole cap, 4 Nos. M20 x 600 mm foundation bolts, suitable length single arm bracket along with with accessories for mounting of camera, camera shade, bird spikes etc. complete as per site requirement. | 17.00 | Nos |  | 9676.00 | 164492.00 | 26041.67 | 442708.39 | 164492.00 | A R BUILDING SOLUTIONS
21.00 | Supply of 80 mm (3 inch) dia B Class, 5 Mtrs. Height double Arm ISI marked GI Pole with suitable base plate (painted in Aluminum paint) of size 300 mm x 300 mm x 6 mm by welding the same to the pole including suitable triangular side support (04 sides) with approx. 100 mm base, 150 mm height and 6 mm thickness, pole cap, 4 Nos. M20 x 600 mm foundation bolts, suitable length double arm bracket along with with accessories for mounting of camera, camera shade, bird spikes etc. complete as per site requirement. | 10.00 | Nos |  | 10030.00 | 100300.00 | 22135.42 | 221354.20 | 100300.00 | A R BUILDING SOLUTIONS
22.00 | Supply of 80 mm (3 inch) dia, B Class, 5 Mtrs. Height Quad Arm ISI marked GI Pole with suitable base plate (painted in Aluminum paint) of size 300 mm x 300 mm x 6 mm by welding the same to the pole including suitable triangular side support (04 sides) with approx. 100 mm base, 150 mm height and 6 mm thickness, pole cap, 4 Nos. M20 x 600 mm foundation bolts, suitable length quad arm bracket along with with accessories for mounting of camera, camera shade, bird spikes etc. complete as per site requirement. | 1.00 | Nos |  | 11564.00 | 11564.00 | 26041.67 | 26041.67 | 11564.00 | A R BUILDING SOLUTIONS
23.00 | Supply of 80 mm (3 inch) dia, B Class, 12 Mtrs. Height ISI marked GI Pole with suitable base plate (painted in Aluminum paint) of size 300 mm x 300 mm x 6 mm by welding the same to the pole including suitable triangular side support (04 sides) with approx. 100 mm base, 150 mm height and 6 mm thickness, pole cap, 4 Nos. M24 x 750 mm foundation bolts, suitable length quad arm bracket along with with accessories for mounting of camera, camera shade, bird spikes etc. complete as per site requirement. | 3.00 | Nos |  | 18290.00 | 54870.00 | 65104.17 | 195312.51 | 54870.00 | A R BUILDING SOLUTIONS
24.00 | Erection of G.I. Pole of height as mentioned below along with one/two/quad bracket and base plate with all accessories in reinforced cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling including positioning of template & foundation bolts (supplied with pole to match with pole base plate) & providing and fixing of HDPE pipe of size 40 mm dia in the foundation for loop-in-loop-out of the cable to the pole complete as required and as specified. A) Above 4.5 metre and upto 6.5 metre | 28.00 | Nos |  | 5664.00 | 158592.00 | 5208.33 | 145833.24 | 145833.24 | Walsons Services Private Limited
25.00 | Erection of G.I. Pole of height as mentioned below along with bracket and base plate with all accessories in reinforced cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling including positioning of template & foundation bolts (supplied with pole to match with pole base plate) & providing and fixing of HDPE pipe of size 40 mm dia in the foundation for loop-in-loop-out of the cable to the pole complete as required and as specified. A) Above 11.00 metre and upto 13.00 metre | 3.00 | Nos |  | 7080.00 | 21240.00 | 5208.33 | 15624.99 | 15624.99 | Walsons Services Private Limited
26.00 | Supplying and fixing of 25 mm medium class PVC conduit along with required accessories like bends, junction boxes in surface using suitable size clamps/fastners/metallic cable tie etc. complete as required. | 612.00 | Mtr |  | 49.56 | 30330.72 | 71.61 | 43825.32 | 30330.72 | A R BUILDING SOLUTIONS
27.00 | Supply and laying of Optic Fibre Communication Outdoor cable (6 core SMF 9/125 µm 1000 Mbps) in existing pipe on surface/ recess/ concealed with connectors/ adaptors termination etc. required as per specifications. | 2603.00 | Mtr |  | 51.92 | 135147.76 | 84.64 | 220317.92 | 135147.76 | A R BUILDING SOLUTIONS
28.00 | Supply and laying of CAT-6 STP data cable in existing conduit/pipe on surface/recess/concealed with connectors termination etc. required as per specifications. | 2432.00 | Mtr |  | 76.70 | 186534.40 | 65.10 | 158323.20 | 158323.20 | Walsons Services Private Limited
29.00 | Supply and laying of 3 core 1.5 sq mm Copper Armoured power cable as per IS : 7098 (Part 1):1988 with up to date amendment in existing conduit/pipe on surface/recess/ concealed including all accessories termination etc. as per specifications. | 2603.00 | Mtr |  | 206.50 | 537519.50 | 91.15 | 237263.45 | 237263.45 | Walsons Services Private Limited
30.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Nos |  | 590.00 | 1180.00 | 8463.54 | 16927.08 | 1180.00 | A R BUILDING SOLUTIONS
31.00 | Supply, installation, testing and commissioning of electrically operated Electromechanical Boom Barrier (up to 6 mtr) for outdoor, Electromechanical drive, 24V DC Power Supply, CE Certified, IP-65 rate. The boom shall be white aluminum painted with reflector strip and LED flashing lights flushing during operation, safety & protection accessories etc as per original maufacturer such as safety photocell, push botton for operation, key selector switch , siren with LED flasher, control cabling etc. The internal parts should be rust and corrosion free metal of high strength .The boom barrier will be suitable for operation with remote from Guard Room with wired and wireless arrangement & manually, 100% intensive duty cycle, with in built reverse on contact protection, manual over ride, push button, Loop Detector for Auto Closing, provision for Integration with Smart card and proximity reader etc, Mean Cycles Between Failure (MCBF) of 10 Million cycles or more as required complete with all accessories as per specification. i) Operating Voltage:220 - 240 V, ii) Opening Time : Not more than 5-8 sec iii) Protection Class: IP-65 or better iv) Working temperature: 0°C to 50°C or better v) Maximum opening : 90° or more vi) Easy to use external manual unlock device to override auto mode. vii) Compatible & integrable with access control system | 2.00 | Nos |  | 141600.00 | 283200.00 | 152343.75 | 304687.50 | 283200.00 | A R BUILDING SOLUTIONS
32.00 | Supply and laying of 1.5 Sqr mm single core wire for magnetic loop coil | 100.00 | Mtr |  | 114.46 | 11446.00 | 91.15 | 9115.00 | 9115.00 | Walsons Services Private Limited
33.00 | Integration, Testing, Commissioning of the complete system with required accessories of all CCTV equipment including CCTVs, NVR, switches, networking cabling, software, etc. along with configuration of individual equipment as per site requirement & specifications including training and complete documentation. | 1.00 | Job |  | 118000.00 | 118000.00 | 455729.17 | 455729.17 | 118000.00 | A R BUILDING SOLUTIONS
34.00 | SH:II CAMC post DLP 1st Year CAMC post Defect Liability Period at Varanasi AAI as per specifications. | 1.00 | Job/Year |  | 236000.00 | 236000.00 | 146890.00 | 146890.00 | 146890.00 | Walsons Services Private Limited
35.00 | 2nd Year CAMC post Defect Liability Period at Varanasi AAI as per specifications. | 1.00 | Job/Year |  | 377600.00 | 377600.00 | 195854.43 | 195854.43 | 195854.43 | Walsons Services Private Limited
36.00 | 3rd Year CAMC post Defect Liability Period at Varanasi AAI as per specifications. | 1.00 | Job/Year |  | 625400.00 | 625400.00 | 244818.01 | 244818.01 | 244818.01 | Walsons Services Private Limited
| Total in Figures |  |  |  |  | 6410174.18 |  | 5949999.00
Lowest Amount Quoted BY: Walsons Services Private Limited(5949999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of CCTV /Security system for residential colony at LBSI Airport Varanasi. Tender ID: 2024_AAI_203260_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Walsons Services Private Limited (BID ID -735919) | 5949999.00 | L1
| 2 | A R BUILDING SOLUTIONS (BID ID -735785) | 6410174.18 | L2