## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 01-Oct-2024 04:14 PM Tender Title: Provision of Perimeter Lighting along with Perimeter Road at Khajuraho Airport. Tender ID: 2024_AAI_203318_1
Tender Inviting Authority: AGM(E-E), Airports Authority of India, RHQ,NR, New Delhi
Name of Work: Provision of Perimeter Lighting along with Perimeter Road at Khajuraho Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -733360 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -734483 |  | ENERGYGREEN TECHNOPOWER PVT LTD (GSTN-23AAECE7344J1ZM) BID ID -734612 |  | R S ELECTRICALS (GSTN-09AALFR7080G1ZS) BID ID -734875 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -734905 |  | Bajaj Electricals Limited (GSTN-27AAACB2484Q1Z8) BID ID -734762 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -734973 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -735144 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -734649 |  | ZENITH ASSOCIATES (GSTN-NA) BID ID -733854 |  | MANKHA ELECTROTECH PRIVATE LIMITED (GSTN-NA) BID ID -733484 |  | SYNERGY LIGHTING SOLUTIONS (GSTN-NA) BID ID -734771 |  | Avinash Chopra (GSTN-NA) BID ID -733426 |  | SRI KESARI ENGINEERING (GSTN-NA) BID ID -734523
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Electrical Items :
1.01 | Supply of 2 mtr. height hot dip galvanized octagonal poles with 130 mm bottom (Across Face) and 70 mm top (A/F) continuously tapered made of 3mm thick sheet in single section suitable for wind velocity of not less than 47m/sec along with base plate of size 200mm X 200mm X 12mm thick welded to bottom of the pole having hinged lockable Terminal box door along with 4 Nos. foundation bolts including template, single arm tilt bracket (arm) of length approximately 600 mm (L shaped 250mm+350mm) for mounting of LED luminaire, providing weather proof and vandal resistance door of height not less than 300mm flush with exterior surface containing 4mm thick bakelite sheet with stud type 4 way, 63A epoxy connector & insulted caps suitable for loop cable of size 10sqmm cables of suitable rating, DIN Rail for mounting of MCB in the terminal box, earthing bolts etc. complete as required & as specified. | 320.00 | Each | item1 | 1280000.00 | 1280000.00 | 1777600.00 | 1777600.00 | 1324800.00 | 1324800.00 | 1664000.00 | 1664000.00 | 2080000.00 | 2080000.00 | 1238400.00 | 1238400.00 | 1440000.00 | 1440000.00 | 1675200.00 | 1675200.00 | 2080000.00 | 2080000.00 | 1216000.00 | 1216000.00 | 1280640.00 | 1280640.00 | 1984000.00 | 1984000.00 | 1533440.00 | 1533440.00 | 1408000.00 | 1408000.00 | 1216000.00 | ZENITH ASSOCIATES | 1216000.00 | ZENITH ASSOCIATES
1.02 | Supply of minimum 35W LED type Street Light Luminaire with control gear, made of pressure die cast aluminium housing with heat resistant toughened flat glass/polycarbonate cover and minimum IP 65 protection, suitable for operation in 140-270 V, 50 HZ AC etc. complete as required. | 400.00 | Each | item2 | 576000.00 | 576000.00 | 980000.00 | 980000.00 | 529200.00 | 529200.00 | 720000.00 | 720000.00 | 880000.00 | 880000.00 | 421200.00 | 421200.00 | 720000.00 | 720000.00 | 480000.00 | 480000.00 | 1446000.00 | 1446000.00 | 400000.00 | 400000.00 | 600000.00 | 600000.00 | 920000.00 | 920000.00 | 639600.00 | 639600.00 | 480000.00 | 480000.00 | 400000.00 | ZENITH ASSOCIATES | 400000.00 | ZENITH ASSOCIATES
1.03 | Erection of metallic pole (as mentioned in item No. 1) in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling, supply and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete and providing and laying of 3 x 1.5 sqmm PVC insulated flexible copper conductor cable from terminal box to fitting and installation, testing and commissioning of pole, MCB and street light fixtures on street light pole complete etc. as required as required. | 320.00 | Job | item3 | 480000.00 | 480000.00 | 384000.00 | 384000.00 | 1292800.00 | 1292800.00 | 640000.00 | 640000.00 | 160000.00 | 160000.00 | 863680.00 | 863680.00 | 432000.00 | 432000.00 | 1003200.00 | 1003200.00 | 80000.00 | 80000.00 | 928000.00 | 928000.00 | 710400.00 | 710400.00 | 160000.00 | 160000.00 | 899840.00 | 899840.00 | 1824000.00 | 1824000.00 | 80000.00 | SAURABH ENTERPRISES | 80000.00 | SAURABH ENTERPRISES
1.04 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 3.5 x185 Sq.mm | 3200.00 | Meter | item4 | 2848000.00 | 2848000.00 | 3200000.00 | 3200000.00 | 2467200.00 | 2467200.00 | 3120000.00 | 3120000.00 | 3520000.00 | 3520000.00 | 2928000.00 | 2928000.00 | 2406400.00 | 2406400.00 | 2544000.00 | 2544000.00 | 2720000.00 | 2720000.00 | 3600000.00 | 3600000.00 | 2899200.00 | 2899200.00 | 3200000.00 | 3200000.00 | 2681600.00 | 2681600.00 | 3520000.00 | 3520000.00 | 2406400.00 | Manish Electricals | 2406400.00 | Manish Electricals
1.05 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 3.5 x 70 Sq.mm | 600.00 | Meter | item5 | 228000.00 | 228000.00 | 333000.00 | 333000.00 | 200400.00 | 200400.00 | 255000.00 | 255000.00 | 300000.00 | 300000.00 | 225600.00 | 225600.00 | 240000.00 | 240000.00 | 204000.00 | 204000.00 | 228000.00 | 228000.00 | 285000.00 | 285000.00 | 241200.00 | 241200.00 | 270000.00 | 270000.00 | 223122.00 | 223122.00 | 303000.00 | 303000.00 | 200400.00 | ENERGYGREEN TECHNOPOWER PVT LTD | 200400.00 | ENERGYGREEN TECHNOPOWER PVT LTD
1.06 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 3.5 x 50 Sq.mm | 120.00 | Meter | item6 | 33600.00 | 33600.00 | 60000.00 | 60000.00 | 29040.00 | 29040.00 | 39000.00 | 39000.00 | 42000.00 | 42000.00 | 36840.00 | 36840.00 | 36000.00 | 36000.00 | 32640.00 | 32640.00 | 33600.00 | 33600.00 | 45000.00 | 45000.00 | 36360.00 | 36360.00 | 42000.00 | 42000.00 | 35802.00 | 35802.00 | 43200.00 | 43200.00 | 29040.00 | ENERGYGREEN TECHNOPOWER PVT LTD | 29040.00 | ENERGYGREEN TECHNOPOWER PVT LTD
1.07 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 4 X 10 Sq.mm | 5100.00 | Meter | item7 | 612000.00 | 612000.00 | 867000.00 | 867000.00 | 555900.00 | 555900.00 | 1530000.00 | 1530000.00 | 918000.00 | 918000.00 | 601800.00 | 601800.00 | 688500.00 | 688500.00 | 647700.00 | 647700.00 | 688500.00 | 688500.00 | 1020000.00 | 1020000.00 | 719100.00 | 719100.00 | 969000.00 | 969000.00 | 629850.00 | 629850.00 | 637500.00 | 637500.00 | 555900.00 | ENERGYGREEN TECHNOPOWER PVT LTD | 555900.00 | ENERGYGREEN TECHNOPOWER PVT LTD
1.08 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 185 sq. mm | 12.00 | Set | item8 | 14400.00 | 14400.00 | 14400.00 | 14400.00 | 9384.00 | 9384.00 | 7200.00 | 7200.00 | 5400.00 | 5400.00 | 20088.00 | 20088.00 | 12000.00 | 12000.00 | 39720.00 | 39720.00 | 7200.00 | 7200.00 | 36000.00 | 36000.00 | 6012.00 | 6012.00 | 2400.00 | 2400.00 | 7800.00 | 7800.00 | 40800.00 | 40800.00 | 2400.00 | SYNERGY LIGHTING SOLUTIONS | 2400.00 | SYNERGY LIGHTING SOLUTIONS
1.09 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 70 sq. mm | 4.00 | Set | item9 | 3200.00 | 3200.00 | 1600.00 | 1600.00 | 2668.00 | 2668.00 | 1000.00 | 1000.00 | 868.00 | 868.00 | 4336.00 | 4336.00 | 2000.00 | 2000.00 | 6040.00 | 6040.00 | 2000.00 | 2000.00 | 6800.00 | 6800.00 | 1176.00 | 1176.00 | 400.00 | 400.00 | 1860.00 | 1860.00 | 8800.00 | 8800.00 | 400.00 | SYNERGY LIGHTING SOLUTIONS | 400.00 | SYNERGY LIGHTING SOLUTIONS
1.10 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 50 sq. mm | 12.00 | Set | item10 | 8400.00 | 8400.00 | 3600.00 | 3600.00 | 6624.00 | 6624.00 | 2400.00 | 2400.00 | 1416.00 | 1416.00 | 11604.00 | 11604.00 | 6000.00 | 6000.00 | 12600.00 | 12600.00 | 5400.00 | 5400.00 | 14400.00 | 14400.00 | 3420.00 | 3420.00 | 900.00 | 900.00 | 6240.00 | 6240.00 | 24000.00 | 24000.00 | 900.00 | SYNERGY LIGHTING SOLUTIONS | 900.00 | SYNERGY LIGHTING SOLUTIONS
1.11 | Supplying and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 10 sq. mm | 640.00 | Set | item11 | 192000.00 | 192000.00 | 76800.00 | 76800.00 | 206080.00 | 206080.00 | 80000.00 | 80000.00 | 45440.00 | 45440.00 | 29440.00 | 29440.00 | 128000.00 | 128000.00 | 464000.00 | 464000.00 | 192000.00 | 192000.00 | 38400.00 | 38400.00 | 107520.00 | 107520.00 | 32000.00 | 32000.00 | 24000.00 | 24000.00 | 704000.00 | 704000.00 | 24000.00 | Avinash Chopra | 24000.00 | Avinash Chopra
1.12 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 185 sq. mm | 6.00 | Set | item12 | 24000.00 | 24000.00 | 8100.00 | 8100.00 | 8280.00 | 8280.00 | 21000.00 | 21000.00 | 5400.00 | 5400.00 | 31590.00 | 31590.00 | 24000.00 | 24000.00 | 24210.00 | 24210.00 | 15000.00 | 15000.00 | 21000.00 | 21000.00 | 9000.00 | 9000.00 | 18000.00 | 18000.00 | 16200.00 | 16200.00 | 45000.00 | 45000.00 | 5400.00 | Aditya Techno Products Private Limited | 5400.00 | Aditya Techno Products Private Limited
1.13 | Dismantling of Existing 2.5 mtrs height perimeter light GI poles including the LED fixture, its connection, cabling, foundation, nuts bolts etc all completed as required and stacking in electrical store within Airport premises. | 50.00 | Job | item13 | 25000.00 | 25000.00 | 5000.00 | 5000.00 | 69000.00 | 69000.00 | 25000.00 | 25000.00 | 7500.00 | 7500.00 | 21400.00 | 21400.00 | 15000.00 | 15000.00 | 58250.00 | 58250.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 25500.00 | 25500.00 | 25000.00 | 25000.00 | 75000.00 | 75000.00 | 100000.00 | 100000.00 | 5000.00 | jaydeep agency corporation | 5000.00 | jaydeep agency corporation
1.14 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 3200.00 | Meter | item14 | 752000.00 | 752000.00 | 720000.00 | 720000.00 | 995200.00 | 995200.00 | 896000.00 | 896000.00 | 352000.00 | 352000.00 | 716800.00 | 716800.00 | 672000.00 | 672000.00 | 937600.00 | 937600.00 | 720000.00 | 720000.00 | 790400.00 | 790400.00 | 537600.00 | 537600.00 | 505600.00 | 505600.00 | 518400.00 | 518400.00 | 560000.00 | 560000.00 | 352000.00 | Aditya Techno Products Private Limited | 352000.00 | Aditya Techno Products Private Limited
1.15 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 5820.00 | Meter | item15 | 960300.00 | 960300.00 | 1076700.00 | 1076700.00 | 1274580.00 | 1274580.00 | 1047600.00 | 1047600.00 | 378300.00 | 378300.00 | 867180.00 | 867180.00 | 698400.00 | 698400.00 | 1338600.00 | 1338600.00 | 1018500.00 | 1018500.00 | 873000.00 | 873000.00 | 715860.00 | 715860.00 | 744960.00 | 744960.00 | 549990.00 | 549990.00 | 873000.00 | 873000.00 | 378300.00 | Aditya Techno Products Private Limited | 378300.00 | Aditya Techno Products Private Limited
1.16 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 95 sq. mm and upto 185 sq. mm | 3200.00 | Meter | item16 | 160000.00 | 160000.00 | 112000.00 | 112000.00 | 553600.00 | 553600.00 | 192000.00 | 192000.00 | 128000.00 | 128000.00 | 377600.00 | 377600.00 | 32000.00 | 32000.00 | 336000.00 | 336000.00 | 80000.00 | 80000.00 | 128000.00 | 128000.00 | 121600.00 | 121600.00 | 64000.00 | 64000.00 | 179200.00 | 179200.00 | 512000.00 | 512000.00 | 32000.00 | Manish Electricals | 32000.00 | Manish Electricals
1.17 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 35 sq. mm and upto 95 sq. mm | 720.00 | Meter | item17 | 25200.00 | 25200.00 | 21600.00 | 21600.00 | 66240.00 | 66240.00 | 36000.00 | 36000.00 | 25200.00 | 25200.00 | 38160.00 | 38160.00 | 7200.00 | 7200.00 | 54000.00 | 54000.00 | 14400.00 | 14400.00 | 21600.00 | 21600.00 | 18288.00 | 18288.00 | 14400.00 | 14400.00 | 30240.00 | 30240.00 | 100800.00 | 100800.00 | 7200.00 | Manish Electricals | 7200.00 | Manish Electricals
1.18 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Upto 35 sq. mm | 5100.00 | Meter | item18 | 153000.00 | 153000.00 | 102000.00 | 102000.00 | 351900.00 | 351900.00 | 204000.00 | 204000.00 | 61200.00 | 61200.00 | 107100.00 | 107100.00 | 51000.00 | 51000.00 | 326400.00 | 326400.00 | 76500.00 | 76500.00 | 127500.00 | 127500.00 | 129540.00 | 129540.00 | 102000.00 | 102000.00 | 172125.00 | 172125.00 | 612000.00 | 612000.00 | 51000.00 | Manish Electricals | 51000.00 | Manish Electricals
1.19 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 sq. mm and upto 185 sq. mm | 150.00 | Meter | item19 | 9000.00 | 9000.00 | 4500.00 | 4500.00 | 20700.00 | 20700.00 | 6000.00 | 6000.00 | 7500.00 | 7500.00 | 17700.00 | 17700.00 | 3000.00 | 3000.00 | 15000.00 | 15000.00 | 3750.00 | 3750.00 | 8250.00 | 8250.00 | 7500.00 | 7500.00 | 7500.00 | 7500.00 | 3750.00 | 3750.00 | 28500.00 | 28500.00 | 3000.00 | Manish Electricals | 3000.00 | Manish Electricals
1.20 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 10.00 | Each | item20 | 80000.00 | 80000.00 | 78900.00 | 78900.00 | 207000.00 | 207000.00 | 60000.00 | 60000.00 | 22500.00 | 22500.00 | 157980.00 | 157980.00 | 70000.00 | 70000.00 | 133150.00 | 133150.00 | 100000.00 | 100000.00 | 35000.00 | 35000.00 | 50010.00 | 50010.00 | 40000.00 | 40000.00 | 98000.00 | 98000.00 | 95000.00 | 95000.00 | 22500.00 | Aditya Techno Products Private Limited | 22500.00 | Aditya Techno Products Private Limited
1.21 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (with charcoal/ coke and salt ) as required. | 14.00 | Each | item21 | 84000.00 | 84000.00 | 83300.00 | 83300.00 | 289800.00 | 289800.00 | 84000.00 | 84000.00 | 23800.00 | 23800.00 | 184310.00 | 184310.00 | 91000.00 | 91000.00 | 137620.00 | 137620.00 | 840000.00 | 840000.00 | 54600.00 | 54600.00 | 71400.00 | 71400.00 | 35000.00 | 35000.00 | 58800.00 | 58800.00 | 126000.00 | 126000.00 | 23800.00 | Aditya Techno Products Private Limited | 23800.00 | Aditya Techno Products Private Limited
1.22 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 55.00 | Meter | item22 | 35750.00 | 35750.00 | 32725.00 | 32725.00 | 24035.00 | 24035.00 | 44000.00 | 44000.00 | 12375.00 | 12375.00 | 9405.00 | 9405.00 | 35750.00 | 35750.00 | 38500.00 | 38500.00 | 24750.00 | 24750.00 | 16500.00 | 16500.00 | 18260.00 | 18260.00 | 13750.00 | 13750.00 | 24750.00 | 24750.00 | 10450.00 | 10450.00 | 9405.00 | Bajaj Electricals Limited | 9405.00 | Bajaj Electricals Limited
1.23 | Providing and fixing 6 SWG dia G.I. wire below ground level for loop earthing along with existing cable as required | 9020.00 | Meter | item23 | 180400.00 | 180400.00 | 378840.00 | 378840.00 | 1037300.00 | 1037300.00 | 270600.00 | 270600.00 | 135300.00 | 135300.00 | 189420.00 | 189420.00 | 180400.00 | 180400.00 | 369820.00 | 369820.00 | 225500.00 | 225500.00 | 180400.00 | 180400.00 | 135300.00 | 135300.00 | 180400.00 | 180400.00 | 189420.00 | 189420.00 | 162360.00 | 162360.00 | 135300.00 | MANKHA ELECTROTECH PRIVATE LIMITED, Aditya Techno Products Private Limited | 135300.00 | MANKHA ELECTROTECH PRIVATE LIMITED, Aditya Techno Products Private Limited
1.24 | Supplying and laying 6 SWG G.I. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 70.00 | Meter | item24 | 2800.00 | 2800.00 | 2660.00 | 2660.00 | 6440.00 | 6440.00 | 3500.00 | 3500.00 | 1050.00 | 1050.00 | 2240.00 | 2240.00 | 2100.00 | 2100.00 | 3640.00 | 3640.00 | 1750.00 | 1750.00 | 7000.00 | 7000.00 | 1778.00 | 1778.00 | 1750.00 | 1750.00 | 1330.00 | 1330.00 | 1260.00 | 1260.00 | 1050.00 | Aditya Techno Products Private Limited | 1050.00 | Aditya Techno Products Private Limited
1.25 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10 cm including inscription duly engraved as required | 152.00 | Each | item25 | 45600.00 | 45600.00 | 53200.00 | 53200.00 | 489440.00 | 489440.00 | 91200.00 | 91200.00 | 34200.00 | 34200.00 | 100016.00 | 100016.00 | 45600.00 | 45600.00 | 353400.00 | 353400.00 | 76000.00 | 76000.00 | 16720.00 | 16720.00 | 67488.00 | 67488.00 | 91200.00 | 91200.00 | 135280.00 | 135280.00 | 121600.00 | 121600.00 | 16720.00 | ZENITH ASSOCIATES | 16720.00 | ZENITH ASSOCIATES
1.26 | Numbering of Perimeter lightning poles etc. as required. | 320.00 | Each | item26 | 16000.00 | 16000.00 | 1600.00 | 1600.00 | 36800.00 | 36800.00 | 16000.00 | 16000.00 | 9600.00 | 9600.00 | 31680.00 | 31680.00 | 6400.00 | 6400.00 | 37120.00 | 37120.00 | 16000.00 | 16000.00 | 9600.00 | 9600.00 | 4800.00 | 4800.00 | 9600.00 | 9600.00 | 11840.00 | 11840.00 | 38400.00 | 38400.00 | 1600.00 | jaydeep agency corporation | 1600.00 | jaydeep agency corporation
1.27 | Supply, Installation, testing and commissioning of External Lighting Out-Door double door Bus Bar Panel (200A Capacity), compartmentalized and slanting roof (200mm all around), suitable for 3 phase, 4 wire, 415 Volt, 50Hz, AC supply, totally enclosed free-standing, moisture, weather and vermin proof outdoor, IP-65, double door rear & front type fabricated from 2 mm thick CRCA sheet steel for load bearing and 1.6 mm thick CRCA sheet steel for nonload bearing duly Epoxy powder coated (by minimum seven tank process) in approved colour, with aluminium bus bars & Bus bar chamber, Terminals for incoming & out going cable connections of size 3.5X185 sqmm and 3.5X50sqmm (2 nos. incoming and 2 outgoing), earth bus, locking arrangement, cable alley removable 3mm gland plate, hardware, danger notice board suitable for out door applications. | 6.00 | Job | item27 | 120000.00 | 120000.00 | 150000.00 | 150000.00 | 84180.00 | 84180.00 | 72000.00 | 72000.00 | 72000.00 | 72000.00 | 138234.00 | 138234.00 | 111000.00 | 111000.00 | 186000.00 | 186000.00 | 32922.00 | 32922.00 | 48000.00 | 48000.00 | 133200.00 | 133200.00 | 60000.00 | 60000.00 | 132600.00 | 132600.00 | 450000.00 | 450000.00 | 32922.00 | SAURABH ENTERPRISES | 32922.00 | SAURABH ENTERPRISES
1.28 | Supply, Installation, testing and commissioning of External Lighting Out-Door double door Supply, Installation, testing and commissioning of External Lighting Out-Door double door Panel, compartmentalized and slanting roof (200mm all around), suitable for 3 phase, 4 wire, 415 Volt, 50Hz, AC supply, totally enclosed free-standing, moisture, weather and vermin proof outdoor, IP-65, double door rear & front type fabricated from 2 mm thick CRCA sheet steel for load bearing and 1.6 mm thick CRCA sheet steel for non load bearing duly Epoxy powder coated (by minimum seven tank process) in approved colour, with aluminium bus bars & Bus bar chamber, interconnections/ control wiring with FRLSH copper conductor wires, Terminals for incoming& out going cable connections, earth bus, locking arrangement, cable alley removable 3mm gland plate, hardware, danger notice board suitable for out door applications. (a) INCOMER: (i)2 No of 100 Amps, 415V, 36kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F with spreader links suitable termination of 3.5Cx50 sqmm aluminium armoured cable (ii)LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 2 Set (each set comprise of R,Y,B) (iii)Digital type 3 phase Multi-function Meter with suitable rating of MCB & 3 Nos. of single core epoxy resin cast type CTs of 100/5 Amps, 10 VA, CL 1.0 ratings -1 Set. (b) BUSBAR (i)1 no. 100 Amps, 415V, 36kA, 4 Pole MCCB Bus coupler. (ii)415 V, 200 Amps, TPN Aluminium Bus bars with Heat shrinkable colour coded insulation sleeves. (c) OUTGOINGS (i) 1 Nos. of 32 A TPN MCB, C Curve, 10KA. Alongwith 01 nos. AC3 Rating 4P ,415V AC, power contactors alongwith 2 nos. auxiliary contact power terminals (1NO+1NC) not less than 32A capacity. 24 Hrs analog type daily timer suitable for 230 V, 50Hz single phase AC supply.- 4 sets (ii) 2 Nos. of 16 A TPN MCB, C Curve, 10KA. (iii) 1 Nos. of 63 Amps, 415V, 35kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F. (iv)LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 7 Set (each set comprise of Red and Green) | 5.00 | Job | item28 | 1250000.00 | 1250000.00 | 1665000.00 | 1665000.00 | 494500.00 | 494500.00 | 750000.00 | 750000.00 | 900000.00 | 900000.00 | 1678535.00 | 1678535.00 | 1825000.00 | 1825000.00 | 1950000.00 | 1950000.00 | 25005.00 | 25005.00 | 825000.00 | 825000.00 | 1765380.00 | 1765380.00 | 750000.00 | 750000.00 | 487130.00 | 487130.00 | 1450000.00 | 1450000.00 | 25005.00 | SAURABH ENTERPRISES | 25005.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  | 10198650.00 | 10198650.00 | 12194125.00 | 12194125.00 | 12633091.00 | 12633091.00 | 11877500.00 | 11877500.00 | 10129049.00 | 10129049.00 | 11050338.00 | 11050338.00 | 9980750.00 | 9980750.00 | 13408410.00 | 13408410.00 | 10777777.00 | 10777777.00 | 10777170.00 | 10777170.00 | 10417532.00 | 10417532.00 | 10243860.00 | 10243860.00 | 9367209.00 | 9367209.00 | 14279670.00 | 14279670.00

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter Lighting along with Perimeter Road at Khajuraho Airport. Tender ID: 2024_AAI_203318_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Avinash Chopra (BID ID -733426) | 9367209.00 | L1
| 2 | Manish Electricals (BID ID -734973) | 9980750.00 | L2
| 3 | Aditya Techno Products Private Limited (BID ID -734905) | 10129049.00 | L3
| 4 | DOSHI ELECTRIC ENGG. CO. (BID ID -733360) | 10198650.00 | L4
| 5 | SYNERGY LIGHTING SOLUTIONS (BID ID -734771) | 10243860.00 | L5
| 6 | MANKHA ELECTROTECH PRIVATE LIMITED (BID ID -733484) | 10417532.00 | L6
| 7 | ZENITH ASSOCIATES (BID ID -733854) | 10777170.00 | L7
| 8 | SAURABH ENTERPRISES (BID ID -734649) | 10777777.00 | L8
| 9 | Bajaj Electricals Limited (BID ID -734762) | 11050338.00 | L9
| 10 | R S ELECTRICALS (BID ID -734875) | 11877500.00 | L10
| 11 | jaydeep agency corporation (BID ID -734483) | 12194125.00 | L11
| 12 | ENERGYGREEN TECHNOPOWER PVT LTD (BID ID -734612) | 12633091.00 | L12
| 13 | Yash Energy Pvt. Ltd (BID ID -735144) | 13408410.00 | L13
| 14 | SRI KESARI ENGINEERING (BID ID -734523) | 14279670.00 | L14