## BoQ1
Government eProcurement System Created By: JAYAN JAYANTHAN Created Date/Time: 02-Sep-2024 05:53 PM Tender Title: Construction of double gate security system including compound wall, bollard security booth etc, at Mysuru Airport. SH-Electrical Works Tender ID: 2024_AAI_203370_1
Tender Inviting Authority: Asst. General Manager (E-E), Airports Authority of India, Mysuru.
Name of Work: Construction of double gate security system including compound wall, bollard security booth etc, at Mysuru Airport. SH: Electrical Works.
Contract No: 2024_AAI_203370_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd (GSTN-29AARCS2866G1ZP) BID ID -734254 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -735322
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 29.00 | EACH | 100.00 | 725.00 | 21025.00 | 1800.00 | 52200.00 | 21025.00 | Shantha ELectricals and Engineers Pvt Ltd
2.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 4.00 | EACH | 100.00 | 575.00 | 2300.00 | 1050.00 | 4200.00 | 2300.00 | Shantha ELectricals and Engineers Pvt Ltd
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 30.00 | Meter | 100.00 | 295.00 | 8850.00 | 350.00 | 10500.00 | 8850.00 | Shantha ELectricals and Engineers Pvt Ltd
4.00 | Wiring for light/ power plug with 2X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 240.00 | METER | 100.00 | 390.00 | 93600.00 | 310.00 | 74400.00 | 74400.00 | Awasthi Electric Works
5.00 | Wiring for light/ power plug with 4X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos 4 sq. mm FR PVC insulated copper conductor single core cable for loop earthing as required. | 60.00 | METER | 100.00 | 530.00 | 31800.00 | 520.00 | 31200.00 | 31200.00 | Awasthi Electric Works
6.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 16.00 | EACH | 100.00 | 675.00 | 10800.00 | 550.00 | 8800.00 | 8800.00 | Awasthi Electric Works
7.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 4.00 | EACH | 100.00 | 320.00 | 1280.00 | 380.00 | 1520.00 | 1280.00 | Shantha ELectricals and Engineers Pvt Ltd
8.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A SWITCH | 8.00 | EACH | 100.00 | 220.00 | 1760.00 | 150.00 | 1200.00 | 1200.00 | Awasthi Electric Works
9.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 8.00 | EACH | 100.00 | 190.00 | 1520.00 | 1800.00 | 14400.00 | 1520.00 | Shantha ELectricals and Engineers Pvt Ltd
10.00 | Supplying and fixing following way, horizontal type three pole and neutral , sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing and suitable cable end box etc. as required. (But without MCB/RCCB/Isolator) 8 way (8+24) Double door | 1.00 | EACH | 100.00 | 10500.00 | 10500.00 | 7500.00 | 7500.00 | 7500.00 | Awasthi Electric Works
11.00 | Supplying and fixing following ways surface/recess mounting, vertical type 415 Volts, TPN MCB Distribution Board in sheet steel, dust protected, duly powder painted, inclusive of tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB s , cable end box (but without MCB s and Incomer) as required. 6 way (8+18) Double door | 1.00 | EACH | 100.00 | 9500.00 | 9500.00 | 11600.00 | 11600.00 | 9500.00 | Shantha ELectricals and Engineers Pvt Ltd
12.00 | Supplying and fixing following rating Triple Pole and Neutral, 415 volts, C curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 AMPS | 2.00 | EACH | 100.00 | 2400.00 | 4800.00 | 1670.00 | 3340.00 | 3340.00 | Awasthi Electric Works
13.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 AMPS | 2.00 | EACH | 100.00 | 3500.00 | 7000.00 | 3050.00 | 6100.00 | 6100.00 | Awasthi Electric Works
14.00 | Supplying and fixing 5 to 32 amps rating 240/415 Volts, 10 KA, C curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple Pole 25 Amps | 3.00 | EACH | 100.00 | 1300.00 | 3900.00 | 850.00 | 2550.00 | 2550.00 | Awasthi Electric Works
15.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, C curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 27.00 | EACH | 100.00 | 300.00 | 8100.00 | 160.00 | 4320.00 | 4320.00 | Awasthi Electric Works
16.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 6.00 | EACH | 100.00 | 75.00 | 450.00 | 22.00 | 132.00 | 132.00 | Awasthi Electric Works
17.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 6.00 | EACH | 100.00 | 150.00 | 900.00 | 225.00 | 1350.00 | 900.00 | Shantha ELectricals and Engineers Pvt Ltd
18.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet RJ 11 | 6.00 | EACH | 100.00 | 350.00 | 2100.00 | 145.00 | 870.00 | 870.00 | Awasthi Electric Works
19.00 | Supply of 1400 mm sweep BLDC Ceiling fan, 5 star rated with double ball bearing , standard down rod and other standard accessories suitable for 230 V,50 Hz, single phase AC supply as required. | 5.00 | EACH | 100.00 | 3800.00 | 19000.00 | 3750.00 | 18750.00 | 18750.00 | Awasthi Electric Works
20.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 5.00 | EACH | 100.00 | 550.00 | 2750.00 | 550.00 | 2750.00 | 2750.00 | Shantha ELectricals and Engineers Pvt Ltd, Awasthi Electric Works
21.00 | Supply of 300 mm dia single phase 900 RPM Heavy Duty Industrial Exhaust fan suitable for 230 V,50 Hz, single phase AC supply including all accessories etc as required. | 1.00 | EACH | 100.00 | 4500.00 | 4500.00 | 2870.00 | 2870.00 | 2870.00 | Awasthi Electric Works
22.00 | Supply of 400 mm sweep BLDC wall fan, 5 star rated suitable for 230 V,50 Hz, single phase AC supply as required. | 2.00 | EACH | 100.00 | 2900.00 | 5800.00 | 4350.00 | 8700.00 | 5800.00 | Shantha ELectricals and Engineers Pvt Ltd
23.00 | Supply of 20 W surface mounted extruded aluminium LED batten (4 feet) with opal diffuser along with all acessories like heat sink, constant current output driver, reflector, cover etc. complete suitable for operating at 230 V,50 Hz, single phase AC supply as per specifications. | 16.00 | EACH | 100.00 | 600.00 | 9600.00 | 350.00 | 5600.00 | 5600.00 | Awasthi Electric Works
24.00 | Supply of 15 W surface mounted LED downlignt luminaire with white powder coated pressure die cast aluminium housing and diffuser along with all acessories like heat sink, constant current output driver, reflector, cover etc. complete suitable for operating at 230 V,50 Hz, single phase AC supply as per specifications. | 4.00 | EACH | 100.00 | 1100.00 | 4400.00 | 790.00 | 3160.00 | 3160.00 | Awasthi Electric Works
25.00 | Supply of Integral 45 Watts LED Street Light Luminaire with pressure die cast aluminium housing with IP 66 protection along with all acessories like heat sink, constant current output driver, reflector, glass cover etc. complete suitable for operating at 230 V,50 Hz, single phase AC supply as per specifications. | 40.00 | EACH | 100.00 | 2900.00 | 116000.00 | 1690.00 | 67600.00 | 67600.00 | Awasthi Electric Works
26.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable etc. as required. | 5.00 | EACH | 100.00 | 300.00 | 1500.00 | 250.00 | 1250.00 | 1250.00 | Awasthi Electric Works
27.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 1.00 | EACH | 100.00 | 350.00 | 350.00 | 400.00 | 400.00 | 350.00 | Shantha ELectricals and Engineers Pvt Ltd
28.00 | Installation of wall fan on surface including connections, testing, commissioning etc. as required. | 2.00 | EACH | 100.00 | 275.00 | 550.00 | 250.00 | 500.00 | 500.00 | Awasthi Electric Works
29.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types, complete with all accessories directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | EACH | 100.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | Awasthi Electric Works
30.00 | ITC of Street Light Luminaire on wall with suitable Medium class GI pipe bent to shape including wiring the pipe,making connections etc.complete as required. | 4.00 | EACH | 100.00 | 400.00 | 1600.00 | 600.00 | 2400.00 | 1600.00 | Shantha ELectricals and Engineers Pvt Ltd
31.00 | Supply of aluminium conductor XLPE insulated, PVC inner sheathed, armoured power cable of 1.1 KV grade conforming to IS-7098 Part 1(1988) amended up to date. 3.5 X 50 sq mm | 100.00 | Meter | 100.00 | 260.00 | 26000.00 | 335.00 | 33500.00 | 26000.00 | Shantha ELectricals and Engineers Pvt Ltd
32.00 | Supply of XLPE insulated, PVC inner sheathed, armoured copper conductor power cable of 1.1 KV grade conforming to IS-7098 Part 1(1988) amended up to date. 4 X 6 sq mm | 200.00 | Meter | 100.00 | 310.00 | 62000.00 | 360.00 | 72000.00 | 62000.00 | Shantha ELectricals and Engineers Pvt Ltd
33.00 | Supply of aluminium conductor XLPE insulated, PVC inner sheathed, armoured power cable of 1.1 KV grade conforming to IS-7098 Part 1(1988) amended up to date. 4 X 16 sq mm | 600.00 | Meter | 100.00 | 125.00 | 75000.00 | 170.00 | 102000.00 | 75000.00 | Shantha ELectricals and Engineers Pvt Ltd
34.00 | Supplying and laying of following size HDPE pipe of PE 80 grade PN 8 pressure rating conforming to IS 4984 -2016 along with all accessories complete with fitting and cutting, jointing etc. in the existing trench, complete as required. 63 mm OD | 70.00 | Meter | 100.00 | 265.00 | 18550.00 | 290.00 | 20300.00 | 18550.00 | Shantha ELectricals and Engineers Pvt Ltd
35.00 | Supplying and laying of following size HDPE pipe of PE 80 grade PN 8 pressure rating conforming to IS 4984 -2016 along with all accessories complete with fitting and cutting, jointing etc. in the existing trench, complete as required. 50 mm OD | 800.00 | Meter | 100.00 | 200.00 | 160000.00 | 240.00 | 192000.00 | 160000.00 | Shantha ELectricals and Engineers Pvt Ltd
36.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ META/HDPEL pipe as required. Upto 35 sq. mm | 800.00 | Meter | 100.00 | 60.00 | 48000.00 | 40.00 | 32000.00 | 32000.00 | Awasthi Electric Works
37.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 35 sq. mm and up to 95 sq.mm | 70.00 | Meter | 100.00 | 90.00 | 6300.00 | 60.00 | 4200.00 | 4200.00 | Awasthi Electric Works
38.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 35 sq. mm and upto 95 sq. mm | 15.00 | Meter | 100.00 | 80.00 | 1200.00 | 50.00 | 750.00 | 750.00 | Awasthi Electric Works
39.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 15.00 | Meter | 100.00 | 110.00 | 1650.00 | 150.00 | 2250.00 | 1650.00 | Shantha ELectricals and Engineers Pvt Ltd
40.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. 3.5x50 sq mm | 2.00 | Set | 100.00 | 700.00 | 1400.00 | 420.00 | 840.00 | 840.00 | Awasthi Electric Works
41.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. 4 core x 6 sq. mm | 4.00 | Set | 100.00 | 350.00 | 1400.00 | 190.00 | 760.00 | 760.00 | Awasthi Electric Works
42.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. 4X16 sq mm | 50.00 | Set | 100.00 | 500.00 | 25000.00 | 210.00 | 10500.00 | 10500.00 | Awasthi Electric Works
43.00 | Supplying and fixing 4 pole, Load Break Switch in Sheet Steel Enclosure of following rating conforms to IEC 947-3 AC-23A, Front operated suitable for 415V, 50Hz AC supply as required. 100 Amps | 1.00 | EACH | 100.00 | 13000.00 | 13000.00 | 11900.00 | 11900.00 | 11900.00 | Awasthi Electric Works
44.00 | Supplying and fixing Three Phase & Nutral , 200 Amps, 4 Way Busbar chamber suitable for 415Volt 3 phase, 50Hz AC supply fabricated out of sheet steel (CRCA) and epoxy powder coated. The bus bar sections are made of ETP grade copper & tin plated and the bus bar supports are made of DMC. The bus bar chamber shall confirms to IEC-61439-3/IS-8623 & IEC-60529 /IS-2147 | 1.00 | EACH | 100.00 | 16500.00 | 16500.00 | 27500.00 | 27500.00 | 16500.00 | Shantha ELectricals and Engineers Pvt Ltd
45.00 | Providing and fixing following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders and rotary handle in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. 100 A 25 KA, 4 Pole | 1.00 | EACH | 100.00 | 13000.00 | 13000.00 | 9500.00 | 9500.00 | 9500.00 | Awasthi Electric Works
46.00 | Interconnection between existing Four Pole Busbar System/MCCB/Load Break Switch/TPN MCB DB etc. with 4 x 16 sqmm Single Core HRFR PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694, copper lugs complete with connections, testing and commissioning etc. as required. | 2.00 | EACH | 100.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 5000.00 | Shantha ELectricals and Engineers Pvt Ltd
47.00 | Earthing with copper Earth plate 600mm x 600mm x 3mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | Set | 100.00 | 18000.00 | 36000.00 | 22000.00 | 44000.00 | 36000.00 | Shantha ELectricals and Engineers Pvt Ltd
48.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and refilling etc. as required. | 10.00 | Meter | 100.00 | 1700.00 | 17000.00 | 1850.00 | 18500.00 | 17000.00 | Shantha ELectricals and Engineers Pvt Ltd
49.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 20.00 | Meter | 100.00 | 1100.00 | 22000.00 | 1450.00 | 29000.00 | 22000.00 | Shantha ELectricals and Engineers Pvt Ltd
50.00 | Jointing copper / G.I. tape (with another copper/ G I tape, base of the finial or any other metallic object) by riveting / nut bolting, sweating and soldering etc as required. | 6.00 | EACH | 100.00 | 6500.00 | 39000.00 | 700.00 | 4200.00 | 4200.00 | Awasthi Electric Works
51.00 | Supply, Installation, Testing and Commissioning of 1.5 TR (nominal capacity), High wall mounted, Inverter Split type Air-conditioner with BEE star rating 5, consisting of non-ductable type indoor units (fan coil) with cord less remote control and one number out door unit comprising of compressor, cooling fan, copper condensing coil suitable for operation on single phase, 230 +/- 10% volts, 50 HZ, AC supply including installing the indoor (fan coil) unit and outdoor unit on wall on suitable stand, providing and fixing insulated copper piping (suction and discharge) and electrical connections with flexible copper cable of suitable size as per manufacturer's recommendations, between the indoor and outdoor units up to a length of 3 (three) meters, wrapping the insulated refrigerant line with white wrapping tape, providing drain piping (up to 3 meter length), drilling the hole on wall, making good the opening after installation including first charge of refrigerant etc. complete as required | 3.00 | EACH | 100.00 | 49000.00 | 147000.00 | 52000.00 | 156000.00 | 147000.00 | Shantha ELectricals and Engineers Pvt Ltd
52.00 | Supply, Installaiton, Testing and Commissioning of Voltage stabilizer with initial time delay, high and low voltage cut off suitable for 1.5 TR Inverter type split AC units | 3.00 | EACH | 100.00 | 2900.00 | 8700.00 | 4500.00 | 13500.00 | 8700.00 | Shantha ELectricals and Engineers Pvt Ltd
53.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 228.00 | Cum | 100.00 | 850.00 | 193800.00 | 600.00 | 136800.00 | 136800.00 | Awasthi Electric Works
54.00 | Supply, Installation, Testing and Commissioning of 3 mtr Hot Dip Galvanized Stree Light Pole, Top dia 70mm bottom dia 130 mm with 1 meter single arm on R C C foundation including providing RCC foundation as per Manufacturer's recommendation, opening for cable entry, including foundation bolts, 1 metrer single arm, junction box etc. installaiton of 45 W stree light LED fitting (supply of fitting not included) complete as per specification and as required | 25.00 | EACH | 100.00 | 15000.00 | 375000.00 | 11000.00 | 275000.00 | 275000.00 | Awasthi Electric Works
55.00 | Supplying and drawing 2 Core x 1.5 sq.mm PVC insulated and PVC Round Sheathed, Multicore Annealed Bare Copper Conductor (flexible) industrial cable for Voltage Grade 1100 Volt, Conforming to IS 694 : 2010 in street light poles from junction box to fittings as required. | 100.00 | Meter | 100.00 | 120.00 | 12000.00 | 60.00 | 6000.00 | 6000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 1716735.00 |  | 1567162.00
Lowest Amount Quoted BY: Awasthi Electric Works(1567162.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of double gate security system including compound wall, bollard security booth etc, at Mysuru Airport. SH-Electrical Works Tender ID: 2024_AAI_203370_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 1567162.00 | L1
| 2 | Shantha ELectricals and Engineers Pvt Ltd | 1716735.00 | L2