## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 25-Nov-2024 03:57 PM Tender Title: Provision of 2X 250 LPH RO Plant at Vijayawada Airport Tender ID: 2024_AAI_203391_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work: Provision of 2 x 250 LPH RO plant at Vijayawada Airport
Contract No: 2024_AAI_203391_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -761031 |  | UVR RAVIKUMAR (GSTN-NA) BID ID -758732 |  | AQUA CRYSTAL (GSTN-NA) BID ID -754568
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing & Commissioning of Semi automatic minimum Capacity of 250 LPH RO plant (1 No working & 1 No standby) connected to common 500 ltr SStank with all CPVC piping & Fittings including suction and delivery line, drain piping etc. as required. 1. 0.5 HP raw water pump Monobloc -2 nos ( 1No Working+1No standby) 2. 1054 Vessel -2 nos ( 1No Working+1No standby) 3.20NB TMF multiport valve - 2 Nos ( 1No Working+1No standby) 4. 20" Slim Housing + Filters - 4 nos ( 2Nos Working+2Nos standby) 5.4040 Membrane & Membrane Housing - 2 sets ( 1No Working+1No standby) 6.HIgh pressure pump 2-10 size - 2 Nos ( 1No Working+1No standby) 7.25mm Skid SS material - 2 Nos ( 1No Working+1No standby) 8.Flow meters - 2 nos( 1No Working+1No standby) 9.Dosing pump with 25 ltr can - 2 nos ( 1No Working+1No standby) 10. 1-1 Auto panel - 2 nos( 1No Working+1No standby). 11. 1 Feet UV lamp system - 2 nos ( 1No Working+1No standby) 12. Coarse Sand min. 50 kg- 2 set ( 1No Working+1No standby) 13. Carbon IV 900 min. 50KG- 2 set( 1No Working+1No standby) 14. Dosing Chemical- 10 KGs. 15.500 ltr SS tank Common for working and Standby. Note : Raw water pump should be capable to work on negetive suction to lift the water from under ground sump) | 1.00 | Job |  | 400004.00 | 400004.00 | 126000.00 | 126000.00 | 572969.00 | 572969.00 | 126000.00 | UVR RAVIKUMAR
2.00 | Supply of 3x 4 sq.mm size XLPE insulated PVC copper flexible submersible pump power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required. | 500.00 | Mtr |  | 152.00 | 76000.00 | 153.00 | 76500.00 | 160.00 | 80000.00 | 76000.00 | MPC ELECTRICALS AND ENGINEERS
3.00 | Supply of 4x10 sq.mm size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required. | 300.00 | Mtr |  | 260.00 | 78000.00 | 153.00 | 45900.00 | 500.00 | 150000.00 | 45900.00 | UVR RAVIKUMAR
4.00 | Supplying and making of 4x10 sq.mm cable indoor end termination with flameproof brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Job |  | 155.00 | 620.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 620.00 | MPC ELECTRICALS AND ENGINEERS
5.00 | Supplying of 40 mm nominal dia ( OD) HDPE pipe (PE- 40, PN-4) as per IS - 4984 and IS marked with uptodate ammendment along with accessories etc. complete with fitting, cuttings, jointing and laying in open trench below 75mm ground level etc. complete as required. | 400.00 | Mtr |  | 74.00 | 29600.00 | 54.00 | 21600.00 | 500.00 | 200000.00 | 21600.00 | UVR RAVIKUMAR
6.00 | Laying of one number HDPE pipe inMasonary open duct/ On ground as required upto 35 sqmm | 300.00 | Mtr |  | 11.00 | 3300.00 | 54.00 | 16200.00 | 500.00 | 150000.00 | 3300.00 | MPC ELECTRICALS AND ENGINEERS
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE /DWC HDPE/Trench/Masonary open duct pipe as required upto 35 sqmm | 300.00 | Mtr |  | 26.00 | 7800.00 | 45.00 | 13500.00 | 300.00 | 90000.00 | 7800.00 | MPC ELECTRICALS AND ENGINEERS
8.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-fillingas required. | 20.00 | Mtr |  | 233.00 | 4660.00 | 54.00 | 1080.00 | 500.00 | 10000.00 | 1080.00 | UVR RAVIKUMAR
9.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 12), Double door | 2.00 | Job |  | 5300.00 | 10600.00 | 2700.00 | 5400.00 | 10000.00 | 20000.00 | 5400.00 | UVR RAVIKUMAR
10.00 | Supplying and fixing following way, horizontal type Two way enclouser with 6A MCB etc. as required. 2 way (2 module), Double door (Equivalent to HAGER VYM02C) | 2.00 | Job |  | 1070.00 | 2140.00 | 945.00 | 1890.00 | 8000.00 | 16000.00 | 1890.00 | UVR RAVIKUMAR
11.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 12.00 | Job |  | 206.00 | 2472.00 | 162.00 | 1944.00 | 5000.00 | 60000.00 | 1944.00 | UVR RAVIKUMAR
12.00 | Supplying and fixing 63 amps rating, 415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole | 2.00 | Job |  | 1700.00 | 3400.00 | 1350.00 | 2700.00 | 5000.00 | 10000.00 | 2700.00 | UVR RAVIKUMAR
13.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 12.00 | Each |  | 17.00 | 204.00 | 12.00 | 144.00 | 800.00 | 9600.00 | 144.00 | UVR RAVIKUMAR
14.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
14.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 20.00 | Mtr |  | 260.00 | 5200.00 | 108.00 | 2160.00 | 400.00 | 8000.00 | 2160.00 | UVR RAVIKUMAR
14.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 20.00 | Mtr |  | 305.00 | 6100.00 | 153.00 | 3060.00 | 300.00 | 6000.00 | 3060.00 | UVR RAVIKUMAR
15.00 | Supply of prewired 20W LED Tubelight (T5 batten) [similar to HPL Cat No:Neptune silver 20W WW] , upto 100Lm/W, beam angle 120°, in house driver/controller, PVC housing, glare free as required | 20.00 | Each |  | 710.00 | 14200.00 | 135.00 | 2700.00 | 300.00 | 6000.00 | 2700.00 | UVR RAVIKUMAR
16.00 | Supply of prewired 45W LED Floodlight [similar to HPL Cat No:HPLLEDFL04560F] , upto 110Lm/W, high pressure die cast aluminium, with lens, with front glass, IP66 as required | 20.00 | Each |  | 4400.00 | 88000.00 | 990.00 | 19800.00 | 300.00 | 6000.00 | 6000.00 | AQUA CRYSTAL
17.00 | ITC of all types of Light fittings in including T&P, sundry materials etc. as required | 10.00 | Each |  | 710.00 | 7100.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 2000.00 | UVR RAVIKUMAR
18.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 4.00 | Each |  | 530.00 | 2120.00 | 360.00 | 1440.00 | 5000.00 | 20000.00 | 1440.00 | UVR RAVIKUMAR
19.00 | Supplying and fixing following modular switch and socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5A Switch and 5A 3 pin Socket | 4.00 | Each |  | 1250.00 | 5000.00 | 450.00 | 1800.00 | 5000.00 | 20000.00 | 1800.00 | UVR RAVIKUMAR
20.00 | Supply of Wall mounting fan 400mm sweep, spokes guard, 60° oscillation, 3 speed, 50W capacity, Air delivery min.72 m³/min as required | 2.00 | Each |  | 3050.00 | 6100.00 | 2700.00 | 5400.00 | 6000.00 | 12000.00 | 5400.00 | UVR RAVIKUMAR
21.00 | Supplying and installing following size of perforated pre-painted M.S. cable trays with perforation not more than 17.5%, in convenient sections, along with TEE/cross member/Bend/Reducer joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 50.00 | Mtr |  | 620.00 | 31000.00 | 630.00 | 31500.00 | 500.00 | 25000.00 | 25000.00 | AQUA CRYSTAL
22.00 | Supply of standing type hot,cold & normal water dispenser which work on 230V, 1-ph AC supply, 15-20 ltr cabinet, UV grade plastic, eco friendly gas refrigerant, Etc. as required | 15.00 | Each |  | 7100.00 | 106500.00 | 29250.00 | 438750.00 | 10000.00 | 150000.00 | 106500.00 | MPC ELECTRICALS AND ENGINEERS
23.00 | Spares required:
23.01 | Supply of all types of Filters for 2 plants | 48.00 | Each |  | 158.00 | 7584.00 | 850.00 | 40800.00 | 500.00 | 24000.00 | 7584.00 | MPC ELECTRICALS AND ENGINEERS
23.02 | Supply of Anti scale chemical - 10 ltr can | 12.00 | Each |  | 902.00 | 10824.00 | 1890.00 | 22680.00 | 500.00 | 6000.00 | 6000.00 | AQUA CRYSTAL
| Total in Figures |  |  |  |  | 908528.00 |  | 888948.00 |  | 1666569.00
Lowest Amount Quoted BY: UVR RAVIKUMAR(888948.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 2X 250 LPH RO Plant at Vijayawada Airport Tender ID: 2024_AAI_203391_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | UVR RAVIKUMAR (BID ID -758732) | 888948.00 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS (BID ID -761031) | 908528.00 | L2
| 3 | AQUA CRYSTAL (BID ID -754568) | 1666569.00 | L3