## BoQ1
Government eProcurement System Created By: SURESH V G KADALI Created Date/Time: 06-Sep-2024 04:55 PM Tender Title: Provision of Power System for ATC Tower cum Technical Bock at Vijayawada Airport SH Construction of Sub Station Building with Peripheral road and boundary Tender ID: 2024_AAI_203525_1
Tender Inviting Authority: Asst General Manager (Engg-Civil)
Name of Work: “Provision of Power System for ATC Tower cum Technical Bock at Vijayawada Airport.” SH: Construction of Sub-Station Building with Peripheral road and boundary wall.
Contract No: 2024_AAI_203525
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BANAMALI ROUT (GSTN-21ABPPB1496H1ZT) BID ID -735044 |  | ARP ENTERPRISES (GSTN-37ABKFA0649Q1ZV) BID ID -735900 |  | M/s PNR Constructions(GSTN-NA)--731215 |  | LEVELBUILDERS PRIVATE LIMITED(GSTN-NA)--736416 |  | SKS PROJECTS(GSTN-NA)--735080
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Disposal of Earth by mechanical transport including loading unloading and stacking for a lead upto 1km for all lifts are directed by Engineer-In charge | 1246.00 | Cum | 100.00 | 90.00 | 112140.00 | 80.00 | 99680.00 | 275.00 | 342650.00 | 140.00 | 174440.00 | 500.00 | 623000.00 | 99680.00 | ARP ENTERPRISES
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. (a) All kinds of soil | 1671.00 | Cum | 100.00 | 162.00 | 270702.00 | 150.00 | 250650.00 | 329.00 | 549759.00 | 225.00 | 375975.00 | 149.15 | 249229.65 | 249229.65 | SKS PROJECTS
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift | 426.00 | Cum | 100.00 | 72.00 | 30672.00 | 80.00 | 34080.00 | 275.00 | 117150.00 | 170.00 | 72420.00 | 161.02 | 68594.52 | 30672.00 | BANAMALI ROUT
4.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 253.00 | Cum | 10.00 | 1530.00 | 387090.00 | 2000.00 | 506000.00 | 1355.00 | 342815.00 | 1900.00 | 480700.00 | 3000.00 | 759000.00 | 342815.00 | M/s PNR Constructions
5.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 1320.00 | sqm | 10.00 | 9.00 | 11880.00 | 30.00 | 39600.00 | 14.00 | 18480.00 | 25.00 | 33000.00 | 29.66 | 39151.20 | 11880.00 | BANAMALI ROUT
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 27.00 | cum | 10.00 | 5400.00 | 145800.00 | 7000.00 | 189000.00 | 8078.00 | 218106.00 | 6500.00 | 175500.00 | 7068.64 | 190853.28 | 145800.00 | BANAMALI ROUT
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 207.00 | Cum | 10.00 | 4050.00 | 838350.00 | 4500.00 | 931500.00 | 6179.00 | 1279053.00 | 5100.00 | 1055700.00 | 4800.79 | 993763.53 | 838350.00 | BANAMALI ROUT
8.00 | Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) divided from natural sources : 4 graded stone aggregate 20 mm nominal size divided from natural sources). | 61.00 | Sqm | 100.00 | 540.00 | 32940.00 | 300.00 | 18300.00 | 815.00 | 49715.00 | 650.00 | 39650.00 | 6487.29 | 395724.69 | 18300.00 | ARP ENTERPRISES
9.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement :3 coarse sand (zone-III) divided from natural sources: 6 graded stone aggregate 20 mm nominal size divided from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 111.00 | Sqm | 100.00 | 540.00 | 59940.00 | 600.00 | 66600.00 | 959.00 | 106449.00 | 355.00 | 39405.00 | 5685.00 | 631035.00 | 39405.00 | LEVELBUILDERS PRIVATE LIMITED
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland pozzolana/Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth and upto floor V level. Concrete of M20 grade with minimum cement content of 270 kg /cum | 5.00 | Cum | 100.00 | 5220.00 | 26100.00 | 6000.00 | 30000.00 | 8078.00 | 40390.00 | 6200.00 | 31000.00 | 5487.29 | 27436.45 | 26100.00 | BANAMALI ROUT
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Foundations, footings, bases of columns, etc. for mass concrete | 748.00 | Sqm | 10.00 | 360.00 | 269280.00 | 350.00 | 261800.00 | 347.00 | 259556.00 | 425.00 | 317900.00 | 254.24 | 190171.52 | 190171.52 | SKS PROJECTS
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1634.00 | Sqm | 10.00 | 504.00 | 823536.00 | 600.00 | 980400.00 | 527.00 | 861118.00 | 520.00 | 849680.00 | 593.22 | 969321.48 | 823536.00 | BANAMALI ROUT
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for suspended floors,roofs,landing balconies and access platforms | 749.00 | Sqm | 10.00 | 504.00 | 377496.00 | 600.00 | 449400.00 | 437.00 | 327313.00 | 650.00 | 486850.00 | 627.12 | 469712.88 | 327313.00 | M/s PNR Constructions
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 779.00 | Sqm | 10.00 | 504.00 | 392616.00 | 600.00 | 467400.00 | 437.00 | 340423.00 | 580.00 | 451820.00 | 609.32 | 474660.28 | 340423.00 | M/s PNR Constructions
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Columns, Pillars, Piers, Abutments, Posts and Struts | 582.00 | Sqm | 100.00 | 504.00 | 293328.00 | 600.00 | 349200.00 | 527.00 | 306714.00 | 580.00 | 337560.00 | 805.08 | 468556.56 | 293328.00 | BANAMALI ROUT
16.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). a)Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 1663.00 | sqm | 100.00 | 180.00 | 299340.00 | 350.00 | 582050.00 | 185.00 | 307655.00 | 350.00 | 582050.00 | 317.80 | 528501.40 | 299340.00 | BANAMALI ROUT
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level (a) Thermo-Mechanically Treated bars of grade Fe-500 D or more | 71280.00 | Kg | 100.00 | 81.00 | 5773680.00 | 75.00 | 5346000.00 | 81.50 | 5809320.00 | 86.00 | 6130080.00 | 74.00 | 5274720.00 | 5274720.00 | SKS PROJECTS
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level: (a) Thermo-Mechanically Treated bars of grade Fe-500 D or more | 35040.00 | Kg | 10.00 | 83.70 | 2932848.00 | 75.00 | 2628000.00 | 81.50 | 2855760.00 | 89.00 | 3118560.00 | 76.00 | 2663040.00 | 2628000.00 | ARP ENTERPRISES
19.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (a) All work upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 648.00 | Cum | 10.00 | 5760.00 | 3732480.00 | 6800.00 | 4406400.00 | 8159.00 | 5287032.00 | 7200.00 | 4665600.00 | 5800.00 | 3758400.00 | 3732480.00 | BANAMALI ROUT
20.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (a) All work above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 292.00 | Cum | 10.00 | 5850.00 | 1708200.00 | 7000.00 | 2044000.00 | 8519.00 | 2487548.00 | 7650.00 | 2233800.00 | 5800.00 | 1693600.00 | 1693600.00 | SKS PROJECTS
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 99.00 | Cum | 10.00 | 6300.00 | 623700.00 | 7000.00 | 693000.00 | 7259.00 | 718641.00 | 6800.00 | 673200.00 | 5600.00 | 554400.00 | 554400.00 | SKS PROJECTS
22.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 343.00 | Cum | 100.00 | 6300.00 | 2160900.00 | 7000.00 | 2401000.00 | 7475.00 | 2563925.00 | 7600.00 | 2606800.00 | 5500.00 | 1886500.00 | 1886500.00 | SKS PROJECTS
23.00 | Providing 40x5 mm flat iron hold fast 400mm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embeddings in cement concrete block 300x100x150 mm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 28.00 | each | 100.00 | 270.00 | 7560.00 | 300.00 | 8400.00 | 329.00 | 9212.00 | 1200.00 | 33600.00 | 127.12 | 3559.36 | 3559.36 | SKS PROJECTS
24.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complet (Copper oxidised as per IS 1378) (a) 150x10 mm | 7.00 | each | 100.00 | 72.00 | 504.00 | 300.00 | 2100.00 | 545.00 | 3815.00 | 350.00 | 2450.00 | 338.98 | 2372.86 | 504.00 | BANAMALI ROUT
25.00 | Providing and fixing ISI marked oxidised MS door latches conforming to IS : 5930 with screws etc. complete (Copper oxidised as per IS 1378) (a) 250x20x6 mm | 7.00 | each | 10.00 | 63.00 | 441.00 | 400.00 | 2800.00 | 959.00 | 6713.00 | 450.00 | 3150.00 | 593.22 | 4152.54 | 441.00 | BANAMALI ROUT
26.00 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS :4992 with necessary screws etc. complete (Copper oxidised as per IS 1378) (a) 125 mm | 7.00 | each | 10.00 | 72.00 | 504.00 | 300.00 | 2100.00 | 545.00 | 3815.00 | 400.00 | 2800.00 | 254.24 | 1779.68 | 504.00 | BANAMALI ROUT
27.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 7.00 | each | 10.00 | 360.00 | 2520.00 | 300.00 | 2100.00 | 635.00 | 4445.00 | 650.00 | 4550.00 | 211.86 | 1483.02 | 1483.02 | SKS PROJECTS
28.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 7.00 | each | 10.00 | 2700.00 | 18900.00 | 1200.00 | 8400.00 | 2039.00 | 14273.00 | 2500.00 | 17500.00 | 2542.37 | 17796.59 | 8400.00 | ARP ENTERPRISES
29.00 | Providing and fixing aluminium sliding door bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete: (a) 250x16 mm | 7.00 | Each | 100.00 | 450.00 | 3150.00 | 600.00 | 4200.00 | 419.00 | 2933.00 | 350.00 | 2450.00 | 847.46 | 5932.22 | 2450.00 | LEVELBUILDERS PRIVATE LIMITED
30.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineerin- charge. | 7.00 | each | 100.00 | 1440.00 | 10080.00 | 1000.00 | 7000.00 | 1004.00 | 7028.00 | 750.00 | 5250.00 | 2966.10 | 20762.70 | 5250.00 | LEVELBUILDERS PRIVATE LIMITED
31.00 | Providing and fixing factory made uPVC galzed/wire mesh window / door comparising g of free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minumum wall thinkness of 1.70 mm for series R1 and R2 profies and 2.10 mm for series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section of required shape & size as per CPWD specifications, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comparing of matching polymide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1to 14, Plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/machanically joined duly sealed at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing comforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross selections of uPVC profiles to be as per design approved Engineer-in-Charge. Wire mesh/Glazing of plain/toughened/laminated/ double glass unit with/ with out high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Structural design proof checked from a Govrnement Engineering Institute, to be provided by the manufacturer for : i) Sites with basic wind speed> 45 m/sec as per IS 875 - Part 3 ii) Sites with structure height more than 20 m all wind speeds (a) Two and half track three panels sliding window with two two glazed window & one wire mesh panels with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body i) using R2 series with frame (65 mm & above) x (40mm & above) & glazed sash (18 mm & above) x (50 mm & above) & fly screen sash (18 mm & above) x (40 mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2 meter) | 7.50 | sqm | 100.00 | 8100.00 | 60750.00 | 7000.00 | 52500.00 | 1004.00 | 7530.00 | 7600.00 | 57000.00 | 1440.68 | 10805.10 | 7530.00 | M/s PNR Constructions
32.00 | Fixed window / ventilator with mullion / transom. Using R2 series with frame (39mm & above )x (39mm & above) & mullion (39mm & above) x (60mm & above). (Height upto 1.2 metre) | 10.00 | sqm | 10.00 | 8100.00 | 81000.00 | 7000.00 | 70000.00 | 1004.00 | 10040.00 | 7200.00 | 72000.00 | 1271.19 | 12711.90 | 10040.00 | M/s PNR Constructions
33.00 | Structural steel work riveted, bolted or welded in built up sections, trusses framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | kgs | 10.00 | 126.00 | 63000.00 | 120.00 | 60000.00 | 140.00 | 70000.00 | 145.00 | 72500.00 | 296.61 | 148305.00 | 60000.00 | ARP ENTERPRISES
34.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 – part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.20 mm M.S. laths with 1.20 mm thick top cover. | 165.00 | Sqm | 10.00 | 3330.00 | 549450.00 | 5000.00 | 825000.00 | 5099.00 | 841335.00 | 7500.00 | 1237500.00 | 847.46 | 139830.90 | 139830.90 | SKS PROJECTS
35.00 | Providing and fixing ball bearing for rolling shutters | 32.00 | each | 10.00 | 1620.00 | 51840.00 | 300.00 | 9600.00 | 869.00 | 27808.00 | 1500.00 | 48000.00 | 2118.64 | 67796.48 | 9600.00 | ARP ENTERPRISES
36.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area | 25.00 | Sqm | 100.00 | 1440.00 | 36000.00 | 1000.00 | 25000.00 | 869.00 | 21725.00 | 4500.00 | 112500.00 | 423.73 | 10593.25 | 10593.25 | SKS PROJECTS
37.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 16.80 sqm in area | 140.00 | Sqm | 100.00 | 1170.00 | 163800.00 | 1200.00 | 168000.00 | 1229.00 | 172060.00 | 800.00 | 112000.00 | 423.73 | 59322.20 | 59322.20 | SKS PROJECTS
38.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in- charge, (area of grill to be measured). | 82.50 | Sqm | 100.00 | 1170.00 | 96525.00 | 3000.00 | 247500.00 | 5099.00 | 420667.50 | 800.00 | 66000.00 | 211.86 | 17478.45 | 17478.45 | SKS PROJECTS
39.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. A) Hot finished welded type tubes | 200.00 | kgs | 10.00 | 126.00 | 25200.00 | 120.00 | 24000.00 | 140.00 | 28000.00 | 145.00 | 29000.00 | 423.73 | 84746.00 | 24000.00 | ARP ENTERPRISES
40.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. (a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 250.00 | Kg | 10.00 | 126.00 | 31500.00 | 120.00 | 30000.00 | 140.00 | 35000.00 | 180.00 | 45000.00 | 423.73 | 105932.50 | 30000.00 | ARP ENTERPRISES
41.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size. Size of Tile 600 x 600 mm | 8.00 | Sqm | 10.00 | 1260.00 | 10080.00 | 1200.00 | 9600.00 | 1409.00 | 11272.00 | 2900.00 | 23200.00 | 1694.92 | 13559.36 | 9600.00 | ARP ENTERPRISES
42.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.Size of Tile 600 x 600 mm | 5.00 | Sqm | 10.00 | 1260.00 | 6300.00 | 1200.00 | 6000.00 | 1355.00 | 6775.00 | 2900.00 | 14500.00 | 1694.92 | 8474.60 | 6000.00 | ARP ENTERPRISES
43.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. (a) 75 mm diameter | 10.00 | meter | 100.00 | 360.00 | 3600.00 | 200.00 | 2000.00 | 185.00 | 1850.00 | 600.00 | 6000.00 | 211.86 | 2118.60 | 1850.00 | M/s PNR Constructions
44.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. (a) 110 mm diameter | 20.00 | meter | 100.00 | 450.00 | 9000.00 | 300.00 | 6000.00 | 239.00 | 4780.00 | 950.00 | 19000.00 | 211.86 | 4237.20 | 4237.20 | SKS PROJECTS
45.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a)Coupler 110mm | 8.00 | Each | 100.00 | 144.00 | 1152.00 | 200.00 | 1600.00 | 149.00 | 1192.00 | 300.00 | 2400.00 | 338.98 | 2711.84 | 1152.00 | BANAMALI ROUT
46.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a)Bend 87.5°, 110mm bend | 8.00 | each | 10.00 | 360.00 | 2880.00 | 300.00 | 2400.00 | 185.00 | 1480.00 | 450.00 | 3600.00 | 423.73 | 3389.84 | 1480.00 | M/s PNR Constructions
47.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a)shoe (plain), 110mm shoe | 8.00 | each | 10.00 | 180.00 | 1440.00 | 300.00 | 2400.00 | 149.00 | 1192.00 | 350.00 | 2800.00 | 211.86 | 1694.88 | 1192.00 | M/s PNR Constructions
48.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 8.00 | each | 10.00 | 270.00 | 2160.00 | 200.00 | 1600.00 | 365.00 | 2920.00 | 4500.00 | 36000.00 | 423.73 | 3389.84 | 1600.00 | ARP ENTERPRISES
49.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : (a) 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 32.00 | Sqm | 10.00 | 1260.00 | 40320.00 | 1250.00 | 40000.00 | 1229.00 | 39328.00 | 1600.00 | 51200.00 | 1694.92 | 54237.44 | 39328.00 | M/s PNR Constructions
50.00 | 12 mm cement plaster of mix (a)1:6 (1 cement : 6 coarse sand) | 2301.00 | Sqm | 100.00 | 270.00 | 621270.00 | 300.00 | 690300.00 | 401.00 | 922701.00 | 450.00 | 1035450.00 | 250.00 | 575250.00 | 575250.00 | SKS PROJECTS
51.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: (a) 1:6 (1 cement: 6 coarse sand) | 1317.00 | SQm | 100.00 | 306.00 | 403002.00 | 350.00 | 460950.00 | 455.00 | 599235.00 | 490.00 | 645330.00 | 300.00 | 395100.00 | 395100.00 | SKS PROJECTS
52.00 | Finishing walls with textured exterior paint of required shade : (a) New work (Two or more coat applied @ 3.28 ltr/ 10 sqm over and including priming coat of exterior primer applied @2.20kg/ 10 sqm) | 1897.00 | SQm | 100.00 | 108.00 | 204876.00 | 150.00 | 284550.00 | 239.00 | 453383.00 | 580.00 | 1100260.00 | 140.00 | 265580.00 | 204876.00 | BANAMALI ROUT
53.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 150.00 | Sqm | 10.00 | 126.00 | 18900.00 | 120.00 | 18000.00 | 140.00 | 21000.00 | 450.00 | 67500.00 | 211.86 | 31779.00 | 18000.00 | ARP ENTERPRISES
54.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 2324.00 | SQm | 10.00 | 99.00 | 230076.00 | 120.00 | 278880.00 | 95.00 | 220780.00 | 350.00 | 813400.00 | 67.80 | 157567.20 | 157567.20 | SKS PROJECTS
55.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 1436.00 | SQm | 10.00 | 117.00 | 168012.00 | 100.00 | 143600.00 | 131.00 | 188116.00 | 280.00 | 402080.00 | 127.12 | 182544.32 | 143600.00 | ARP ENTERPRISES
56.00 | Preparaion and Consolidation the power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 meters. | 1320.00 | sqm | 10.00 | 45.00 | 59400.00 | 80.00 | 105600.00 | 185.00 | 244200.00 | 45.00 | 59400.00 | 180.51 | 238273.20 | 59400.00 | BANAMALI ROUT, LEVELBUILDERS PRIVATE LIMITED
57.00 | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | 1675.00 | per cm depth per cm width per m length | 100.00 | 9.00 | 15075.00 | 20.00 | 33500.00 | 50.00 | 83750.00 | 8.00 | 13400.00 | 127.12 | 212926.00 | 13400.00 | LEVELBUILDERS PRIVATE LIMITED
58.00 | Providing and laying C.C. pavement of mix M-25 with ready mixed concrete from batching plant. The ready mixed concrete shall be laid and finished with screed board vibrator , vacuum dewatering process and finally finished by floating, brooming with wire brush etc. complete as per specifications and directions of Engineer-in-charge. (The panel shuttering work shall be paid for separately). (Note:- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/ recoverable separately). | 99.00 | cum | 100.00 | 6660.00 | 659340.00 | 7000.00 | 693000.00 | 8159.00 | 807741.00 | 7900.00 | 782100.00 | 6000.00 | 594000.00 | 594000.00 | SKS PROJECTS
59.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. a)With material conforming to Grade-II (size range 53 mm to 0.075 mm) having CBR Value-25 | 318.00 | cum | 100.00 | 1710.00 | 543780.00 | 2000.00 | 636000.00 | 2579.00 | 820122.00 | 3500.00 | 1113000.00 | 3898.31 | 1239662.58 | 543780.00 | BANAMALI ROUT
60.00 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineerin- charge. | 186.00 | cum | 10.00 | 3600.00 | 669600.00 | 3000.00 | 558000.00 | 4289.00 | 797754.00 | 4900.00 | 911400.00 | 3516.95 | 654152.70 | 558000.00 | ARP ENTERPRISES
61.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 825.00 | Sqm | 10.00 | 900.00 | 742500.00 | 1000.00 | 825000.00 | 1049.00 | 865425.00 | 1200.00 | 990000.00 | 450.00 | 371250.00 | 371250.00 | SKS PROJECTS
62.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush ipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: (a) W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 10.00 | 5040.00 | 5040.00 | 5000.00 | 5000.00 | 9599.00 | 9599.00 | 8500.00 | 8500.00 | 13559.32 | 13559.32 | 5000.00 | ARP ENTERPRISES
63.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required. One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 1.00 | Each | 10.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 9599.00 | 9599.00 | 12000.00 | 12000.00 | 4237.29 | 4237.29 | 4237.29 | SKS PROJECTS
64.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required.White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap. | 1.00 | Each | 100.00 | 3600.00 | 3600.00 | 5000.00 | 5000.00 | 9599.00 | 9599.00 | 6500.00 | 6500.00 | 1694.92 | 1694.92 | 1694.92 | SKS PROJECTS
65.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | Each | 100.00 | 2250.00 | 2250.00 | 1000.00 | 1000.00 | 1409.00 | 1409.00 | 6500.00 | 6500.00 | 1694.92 | 1694.92 | 1000.00 | ARP ENTERPRISES
66.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors: (a) 100 mm inlet and 75 mm outlet (i) Sand Cast Iron S&S as per IS- 1729 | 2.00 | Each | 100.00 | 270.00 | 540.00 | 1000.00 | 2000.00 | 3965.00 | 7930.00 | 900.00 | 1800.00 | 84.75 | 169.50 | 169.50 | SKS PROJECTS
67.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall. 15 mm nominal dia Pipes | 20.00 | meter | 10.00 | 360.00 | 7200.00 | 200.00 | 4000.00 | 293.00 | 5860.00 | 350.00 | 7000.00 | 406.78 | 8135.60 | 4000.00 | ARP ENTERPRISES
68.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall. 20 mm nominal dia Pipes | 20.00 | meter | 10.00 | 405.00 | 8100.00 | 250.00 | 5000.00 | 329.00 | 6580.00 | 390.00 | 7800.00 | 406.78 | 8135.60 | 5000.00 | ARP ENTERPRISES
69.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall. 25 mm nominal dia Pipes | 20.00 | meter | 10.00 | 450.00 | 9000.00 | 300.00 | 6000.00 | 365.00 | 7300.00 | 440.00 | 8800.00 | 406.78 | 8135.60 | 6000.00 | ARP ENTERPRISES
70.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. (a) 20mm nominal dia Pipes | 20.00 | mtr | 10.00 | 405.00 | 8100.00 | 300.00 | 6000.00 | 365.00 | 7300.00 | 650.00 | 13000.00 | 550.85 | 11017.00 | 6000.00 | ARP ENTERPRISES
71.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (a) 25 mm nominal outer dia Pipes | 20.00 | mtr | 100.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 419.00 | 8380.00 | 750.00 | 15000.00 | 627.12 | 12542.40 | 7000.00 | ARP ENTERPRISES
72.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. (a) 32mm nominal dia Pipes | 20.00 | mtr | 100.00 | 630.00 | 12600.00 | 500.00 | 10000.00 | 590.00 | 11800.00 | 800.00 | 16000.00 | 593.22 | 11864.40 | 10000.00 | ARP ENTERPRISES
73.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work (a) 25 mm nominal dia Pipes | 20.00 | mtr | 100.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 455.00 | 9100.00 | 550.00 | 11000.00 | 627.12 | 12542.40 | 7000.00 | ARP ENTERPRISES
74.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work (a) 20 mm nominal dia Pipes | 20.00 | mtr | 10.00 | 405.00 | 8100.00 | 300.00 | 6000.00 | 365.00 | 7300.00 | 520.00 | 10400.00 | 512.71 | 10254.20 | 6000.00 | ARP ENTERPRISES
75.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work (a) 32 mm nominal dia Pipes | 20.00 | mtr | 10.00 | 630.00 | 12600.00 | 400.00 | 8000.00 | 590.00 | 11800.00 | 650.00 | 13000.00 | 508.47 | 10169.40 | 8000.00 | ARP ENTERPRISES
76.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 25 mm nominal bore | 1.00 | Each | 10.00 | 2250.00 | 2250.00 | 600.00 | 600.00 | 2399.00 | 2399.00 | 900.00 | 900.00 | 847.46 | 847.46 | 600.00 | ARP ENTERPRISES
77.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 50mm nominal bore | 1.00 | Each | 10.00 | 7200.00 | 7200.00 | 1200.00 | 1200.00 | 4959.00 | 4959.00 | 1500.00 | 1500.00 | 847.46 | 847.46 | 847.46 | SKS PROJECTS
78.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary oles for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Per Ltr | 100.00 | 9.00 | 18000.00 | 10.00 | 20000.00 | 14.00 | 28000.00 | 22.00 | 44000.00 | 12.71 | 25420.00 | 18000.00 | BANAMALI ROUT
79.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms (a) 15 mm nominal bore | 1.00 | Nos | 100.00 | 1440.00 | 1440.00 | 1000.00 | 1000.00 | 1499.00 | 1499.00 | 800.00 | 800.00 | 593.22 | 593.22 | 593.22 | SKS PROJECTS
80.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make Conforming to IS:8931. (a) 15 mm nominal bore | 2.00 | Each | 100.00 | 1800.00 | 3600.00 | 600.00 | 1200.00 | 1499.00 | 2998.00 | 900.00 | 1800.00 | 762.71 | 1525.42 | 1200.00 | ARP ENTERPRISES
81.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15mm nominal bore | 1.00 | Each | 10.00 | 900.00 | 900.00 | 600.00 | 600.00 | 1229.00 | 1229.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 500.00 | SKS PROJECTS
82.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design. Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg). With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each | 10.00 | 12600.00 | 12600.00 | 15000.00 | 15000.00 | 21299.00 | 21299.00 | 35000.00 | 35000.00 | 11016.95 | 11016.95 | 11016.95 | SKS PROJECTS
83.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C.pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete a)450 mm dia RCC pipes. | 50.00 | meter | 10.00 | 2430.00 | 121500.00 | 2000.00 | 100000.00 | 1517.00 | 75850.00 | 1800.00 | 90000.00 | 847.46 | 42373.00 | 42373.00 | SKS PROJECTS
84.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868,Minimum anodic coating of grade AC 15) | 200.00 | Kg | 10.00 | 540.00 | 108000.00 | 600.00 | 120000.00 | 725.00 | 145000.00 | 950.00 | 190000.00 | 650.00 | 130000.00 | 108000.00 | BANAMALI ROUT
85.00 | For shutters of doors, windows & ventilators including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). (a) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). | 50.00 | Kg | 100.00 | 630.00 | 31500.00 | 650.00 | 32500.00 | 725.00 | 36250.00 | 350.00 | 17500.00 | 593.22 | 29661.00 | 17500.00 | LEVELBUILDERS PRIVATE LIMITED
86.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineerin- Charge. (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5 mm thickness | 12.00 | Sqm | 100.00 | 1620.00 | 19440.00 | 1500.00 | 18000.00 | 1229.00 | 14748.00 | 4900.00 | 58800.00 | 1355.93 | 16271.16 | 14748.00 | M/s PNR Constructions
87.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 4.00 | Sqm | 100.00 | 1620.00 | 6480.00 | 1200.00 | 4800.00 | 1859.00 | 7436.00 | 2900.00 | 11600.00 | 847.46 | 3389.84 | 3389.84 | SKS PROJECTS
88.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Clerestory windows & other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 50 x 100 mm | 45.00 | meter | 10.00 | 900.00 | 40500.00 | 500.00 | 22500.00 | 1229.00 | 55305.00 | 1500.00 | 67500.00 | 635.59 | 28601.55 | 22500.00 | ARP ENTERPRISES
89.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 17.00 | sqm | 10.00 | 3600.00 | 61200.00 | 4000.00 | 68000.00 | 4199.00 | 71383.00 | 3800.00 | 64600.00 | 4237.29 | 72033.93 | 61200.00 | BANAMALI ROUT
90.00 | Submission of detailed Structural design and drawings as per drawing given in NIT | 1.00 | Job | 10.00 | 990000.00 | 990000.00 | 120004.00 | 120004.00 | 49999.00 | 49999.00 | 500000.00 | 500000.00 | 21186.44 | 21186.44 | 21186.44 | SKS PROJECTS
| Total in Figures |  |  |  |  | 28442745.00 |  | 29724144.00 |  | 33602877.50 |  | 36169260.00 |  | 29135051.77
Lowest Amount Quoted BY: BANAMALI ROUT(28442745.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Power System for ATC Tower cum Technical Bock at Vijayawada Airport SH Construction of Sub Station Building with Peripheral road and boundary Tender ID: 2024_AAI_203525_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BANAMALI ROUT | 28442745.00 | L1
| 2 | SKS PROJECTS | 29135051.77 | L2
| 3 | ARP ENTERPRISES | 29724144.00 | L3
| 4 | M/s PNR Constructions | 33602877.50 | L4
| 5 | LEVELBUILDERS PRIVATE LIMITED | 36169260.00 | L5