## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 10-Sep-2024 12:21 PM Tender Title: Misclleneous / unforseen capital Electrical works. SH - Execution of Balance electrical work at New ATC building, Dibrugarh Airport Tender ID: 2024_AAI_203601_1
Tender Inviting Authority: Airports Authority of india, Dibrugarh Airport
Name of Work: Misclleneous / unforseen capital Electrical works. SH : Execution of Balance electrical work at New ATC building, Dibrugarh Airport.
Contract No: 2024_AAI_203601_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -736396 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -736735 |  | UNIVERSAL ELECTRICAL AND ELECTRONICS (GSTN-18ABWPD1808N1Z6) BID ID -736816 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -736951
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of online UPS system of nominal capacity 10 KVA (3 phase 4 wire input and 3 phase 4 wire output) with SMF Battery for 30 mins backup, with MS Rack & IRIT Link for SMF Batteries including providing battery inter connecting cables of copper conductor, copper lugs/thimbles and necessary accessories as per requirement. | 2.00 | Job | 100.00 | 245000.00 | 490000.00 | 206000.00 | 412000.00 | 414000.00 | 828000.00 | 310000.00 | 620000.00 | 412000.00 | Aditya Techno Products Private Limited
2.00 | Supply, installation, testing and commissioning of online UPS system of nominal capacity 6 KVA (single phase input and single phase output) with SMF Battery for 30 mins backup with MS Rack & IRIT Link for SMF Batteries including providing battery inter connecting cables of copper conductor, copper lugs/thimbles and necessary accessories as per requirement. | 4.00 | Job | 100.00 | 194000.00 | 776000.00 | 103125.00 | 412500.00 | 138000.00 | 552000.00 | 110000.00 | 440000.00 | 412500.00 | Aditya Techno Products Private Limited
3.00 | Supply, installation, testing and commissioning of Wall mounted Stainless Steel body Automatic Jet Hand Dryer with Brush less motor, infrared sensor and used for drying hands in less than 10 seconds, suitable for operation on single phase 230V, 50Hz AC supply, complete, as required of make & model : DLOPHY DAHD0053 or EURONICS XJD3B | 11.00 | Job | 10.00 | 60000.00 | 660000.00 | 45227.00 | 497497.00 | 62100.00 | 683100.00 | 62900.00 | 691900.00 | 497497.00 | Aditya Techno Products Private Limited
4.00 | Supply, installation, testing and commissioning of Water Purifier (UV) cum dispenser having stainless Steel body and stainless Steel/Food Grade Steel storage Tank with 03 nos. faucets for hot, cold and normal water having water storage capacity of 30L/40L/5L(minimum) (normal/Cold/Hot) and water cooling capacity of 20 L/hr (minimum) and water heating capacity of 20 L/hr (minimum) of make & model: CONWAY P125 NHC or equivalent model as approved by Engineer-in-charge. | 9.00 | Job | 10.00 | 98000.00 | 882000.00 | 50000.00 | 450000.00 | 80500.00 | 724500.00 | 67500.00 | 607500.00 | 450000.00 | Aditya Techno Products Private Limited
5.00 | SITC of storage type water heater of 25 litres capacity suitable for operation on 230V, 50Hz,single phase AC supply having SS tank, PUF insulation, compact PP body / ABS body along with safety devices like pressure relief valve, automatic thermostat, thermal cutout, fusible plug & non-return device, suitable connecting hoses and Stainless Steel Valves for Inlet and Outgoing Water etc. complete as required, BEE rating 4-star and above. (Make & Model: Havells Troica/ Bajaj Compagno or Equivalent Model). | 2.00 | Job | 10.00 | 9680.00 | 19360.00 | 6252.00 | 12504.00 | 11500.00 | 23000.00 | 10750.00 | 21500.00 | 12504.00 | Aditya Techno Products Private Limited
6.00 | Supply of 1.5TR Fixed speed type Split Air-Conditioner of BEE 3 Star rating or above wall type split 1.5 Ton non ductible fan coil unit (Indoor Unit), Copper Condensing unit (Outdoor Unit) with fan and High Energy Efficiency Ratio Rotary compressor, with cord less remote controller and works with R410A/R32/R 134A gas, suitable for operation on 1 Phase, 230 +/- 10%V, 50Hz AC supply etc. complete as required. The supply of unit shall include the copper pipings, Interconnecting Power cables between the Indoor and Outdoor Unit as per the standard manufacturer design (i.e. Copper pipings of not less than 3 Mtrs) including drain pipe and initial charge of gas etc. complete as required. | 6.00 | Each | 100.00 | 43000.00 | 258000.00 | 74650.00 | 447900.00 | 31050.00 | 186300.00 | 38800.00 | 232800.00 | 186300.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
7.00 | Installation, Testing and commissioning of 1.5 TR wall mounted/Hi-wall type Split Air-Conditioner by making required structures of suitable size MS stand/PCC work as per site requirement i/c balancing of Liquid & Gas, Gas charging the system with R410A/R32/R 134A refrigerant if any extra gas required due to increase in length of Copper piping, including covering the Copper piping (i/c Copper pipe came along with the units) with suitable size casing capping/PVC pipe Lifting / Shifting of Outdoor & Indoor units upto site location etc., complete as required. | 6.00 | Job | 100.00 | 1200.00 | 7200.00 | 1500.00 | 9000.00 | 1380.00 | 8280.00 | 4400.00 | 26400.00 | 7200.00 | jaydeep agency corporation
8.00 | Supply, Laying and connecting of OEM recommended copper refrigerant Piping (Liquid and Gas) with Nitrile Rubber insulation of thickness not less than 13mm and with all other accessories suitable for 1 phase, 1.0/1.5TR split AC including covering the Copper piping with suitable size casing capping/PVC pipe etc. complete as required (Length of Liquid and gas line will be measured as single measurement). | 60.00 | Metre | 10.00 | 750.00 | 45000.00 | 800.00 | 48000.00 | 805.00 | 48300.00 | 1875.00 | 112500.00 | 45000.00 | jaydeep agency corporation
9.00 | Supply and laying/fixing of ISI marked UPVC pipe of 25mm dia with required bends/connectors on surface/suspension for draining out the water including interconnection of drain pipe etc. complete as required. | 60.00 | Meter | 10.00 | 45.00 | 2700.00 | 222.00 | 13320.00 | 172.50 | 10350.00 | 375.00 | 22500.00 | 2700.00 | jaydeep agency corporation
10.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps, 10kA "C" curve, SP MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 10.00 | 2450.00 | 14700.00 | 980.00 | 5880.00 | 1150.00 | 6900.00 | 1500.00 | 9000.00 | 5880.00 | Aditya Techno Products Private Limited
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
11.01 | 3 x 1.5 Sq.mm | 50.00 | Meter | 10.00 | 150.00 | 7500.00 | 41.00 | 2050.00 | 69.00 | 3450.00 | 65.00 | 3250.00 | 2050.00 | Aditya Techno Products Private Limited
11.02 | 3 x 4 Sq.mm | 50.00 | Meter | 10.00 | 250.00 | 12500.00 | 120.00 | 6000.00 | 172.50 | 8625.00 | 160.00 | 8000.00 | 6000.00 | Aditya Techno Products Private Limited
12.00 | Supplying and fixing of following sizes of medium class FLRS PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
12.01 | 20 mm | 50.00 | Meter | 10.00 | 100.00 | 5000.00 | 35.00 | 1750.00 | 57.50 | 2875.00 | 190.00 | 9500.00 | 1750.00 | Aditya Techno Products Private Limited
12.02 | 25 mm | 50.00 | Meter | 10.00 | 150.00 | 7500.00 | 40.00 | 2000.00 | 74.75 | 3737.50 | 210.00 | 10500.00 | 2000.00 | Aditya Techno Products Private Limited
13.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required.
13.01 | 10r2 Module (75mmX75mm) | 10.00 | Each | 10.00 | 500.00 | 5000.00 | 110.00 | 1100.00 | 138.00 | 1380.00 | 260.00 | 2600.00 | 1100.00 | Aditya Techno Products Private Limited
13.02 | 3Module (100mmX75mm) | 10.00 | Each | 10.00 | 600.00 | 6000.00 | 120.00 | 1200.00 | 172.50 | 1725.00 | 290.00 | 2900.00 | 1200.00 | Aditya Techno Products Private Limited
14.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
14.01 | 5/6A switch | 10.00 | Each | 10.00 | 150.00 | 1500.00 | 23.00 | 230.00 | 32.20 | 322.00 | 90.00 | 900.00 | 230.00 | Aditya Techno Products Private Limited
14.02 | 15/16 A switch | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 70.00 | 700.00 | 74.75 | 747.50 | 130.00 | 1300.00 | 700.00 | Aditya Techno Products Private Limited
14.03 | 3 pin 5/6 A socket outlet | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 88.00 | 880.00 | 80.50 | 805.00 | 125.00 | 1250.00 | 805.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
14.04 | 6 pin 15/16A socket outlet | 10.00 | Each | 10.00 | 250.00 | 2500.00 | 120.00 | 1200.00 | 126.50 | 1265.00 | 215.00 | 2150.00 | 1200.00 | Aditya Techno Products Private Limited
15.00 | Supplying, installation, testing & commisioning of distribution box made with 1.6mm thick sheet steel enclosure (IP42) duly powder coated, installation of the box to be carried out on the existing wall/Plywood/partition including supply and providing MCCB with thermomagnetic release (4 pole, 32 A, 25 kA) inside the distribution box with terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | 6.00 | Job | 10.00 | 5250.00 | 31500.00 | 5500.00 | 33000.00 | 8050.00 | 48300.00 | 16900.00 | 101400.00 | 31500.00 | jaydeep agency corporation
16.00 | Supply and laying of 1.1 kV grade single core PVC insulated un armoured copper cable of following size as per IS 7098 part 1 on wall / on surface / on cable tray.
16.01 | Single Core 16 sq.mm | 200.00 | Meter | 10.00 | 135.00 | 27000.00 | 160.00 | 32000.00 | 172.50 | 34500.00 | 235.00 | 47000.00 | 27000.00 | jaydeep agency corporation
17.00 | Supply of LED fitting with LED tube light with heat dissipation capability having Opal diffuser to create optimum light uniformity with minimum glare. It has a system system wattage not less than 18 Watts, lumens with luminaire efficacy of not less than 100 lm/W. CCT from 5700 K to 6500 K, suitable for indoor applications complete as per technical specifications | 10.00 | Each | 10.00 | 565.00 | 5650.00 | 950.00 | 9500.00 | 287.50 | 2875.00 | 300.00 | 3000.00 | 2875.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
18.00 | Supply of 600mm x 600mm false ceiling Mounted LED fixture with high efficiency diffuser complete with driver and accessories having system wattage not less than 36 Watts with luminaire efficacy not less than 100 Lumens / watt, CCT from 5700 K to 6500 K, suitable for indoor applications complete as per techhncial specificaitons | 25.00 | Each | 10.00 | 2450.00 | 61250.00 | 3500.00 | 87500.00 | 1437.50 | 35937.50 | 1750.00 | 43750.00 | 35937.50 | UNIVERSAL ELECTRICAL AND ELECTRONICS
19.00 | Supply of false ceiling mounted LED downlighter with LEDs of approved makes having high efficiency PmmA diffuser. Specially designed deep inset diffuser fixed to housing for visual comfort, driver installed on housing or externally and prewired upto the terminal block. It has a system wattage not less than 10 Watts with luminaire efficacy of not less than 100 lm/W, CCT from 4500 K to 6500 K , complete as per Technical Specifications suitable for indoor applications. | 40.00 | Each | 10.00 | 1450.00 | 58000.00 | 7500.00 | 300000.00 | 575.00 | 23000.00 | 750.00 | 30000.00 | 23000.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
20.00 | Supply of suspended type Industrial bay LED light comprising of LEDs of approved make with Constant current output driver, It has a system wattage not less than 150 Watts with luminaire efficacy of not less than 100 lm/W, CCT from 5700 K to 6500 K, suitable for indoor applications complete as per technical specifications | 30.00 | Each | 10.00 | 7440.00 | 223200.00 | 10500.00 | 315000.00 | 4715.00 | 141450.00 | 5750.00 | 172500.00 | 141450.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
21.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C x 120 Sq. mm | 30.00 | Set | 10.00 | 450.00 | 13500.00 | 600.00 | 18000.00 | 805.00 | 24150.00 | 550.00 | 16500.00 | 13500.00 | jaydeep agency corporation
22.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C x 150 Sq. mm | 5.00 | Set | 10.00 | 650.00 | 3250.00 | 600.00 | 3000.00 | 690.00 | 3450.00 | 700.00 | 3500.00 | 3000.00 | Aditya Techno Products Private Limited
23.00 | Supply of High Voltage Detector which is suitable for detecting Voltages from 230 V to 33 kV detection method shall be non-contact which is extendable upto a length of 3 mtrs. | 2.00 | Each | 10.00 | 24500.00 | 49000.00 | 25000.00 | 50000.00 | 19550.00 | 39100.00 | 17000.00 | 34000.00 | 34000.00 | Awasthi Electric Works
24.00 | Supply of High Voltage Discharge Rod capable of discharging voltages upto 33 KV with 6 meter length rod, aluminuim hook, 10 sq.mm cable for earthing and earthing clamp. | 2.00 | Each | 10.00 | 35800.00 | 71600.00 | 15000.00 | 30000.00 | 12650.00 | 25300.00 | 6000.00 | 12000.00 | 12000.00 | Awasthi Electric Works
25.00 | Supply installation testing Commissioning of battery bank along with battery charger of 110 Volt (55 Nos x 2 V 200 AH), with dual circuit automatic float cum boost battery charger, Thyristor / IGBT controlled type. The charger shall have selector switch for Auto Float-Boost/manual Float / Manual Boost mode of operation. DC output voltage of float/boost charger shall be within +2% for AC input of 415 volt +/-10%, 50 Hz +/-5% and for DC load variation from 0 to 100%. Constant voltage regulator shall be SCR / IGBT controlled & ripple content in output to be limited within 2% of DC output nominal voltage. Battery charger shall have automatic output current limiting feature. Battery charger shall be complete with Main Transformer, full wave bridge rectifier, Solid state Constant Potential controller, Electronic controller, Potentiometer, digital ammeter, digital voltmeter, circuit breaker for Input & Output protection complete with 2 volt Battery cell of 200 AH Capacity. The panel shall be fabricated from CRCA sheet steel enclosure of 2 mm thick, hinged type lockable door, totally enclosed, vermin proof, free standing, suitable ventilated louvers covered with wire mesh, floor mounting, ’C’ channel base frame of size 75x40 mm etc. including painting, all internal copper wiring, inter connections of all control & power cables, continuous earthing bus with provision for earth connections at both ends etc, all as required and as per enclosed specifications. | 1.00 | Each | 10.00 | 850000.00 | 850000.00 | 374697.00 | 374697.00 | 920000.00 | 920000.00 | 150000.00 | 150000.00 | 150000.00 | Awasthi Electric Works
26.00 | Supply, installation, testing and commissioning of Stainless steel (Grade 304) housing with painted finish surface of aircurtains having maximum air velocity at Nozzle of 21 m/s and having CFM of 1100 at open exists as per the directions of Engineer In Charge. 4 ft. Equivalent to Model : Euronic EAS4 or Dolphy DACN0008 | 8.00 | Job | 10.00 | 32600.00 | 260800.00 | 15000.00 | 120000.00 | 18975.00 | 151800.00 | 23500.00 | 188000.00 | 120000.00 | Aditya Techno Products Private Limited
27.00 | Supply of Business Grade Desktop CPU having Windows 10 Operating Software with configuration i7 grade, 9th Gen having a RAM of 8GB, having an internal memory of 1TB, including supply of accessories like Key board, Mouse, UPS of Capacity 1100 VA with battery back up time of minimum 30 Mins complete as required and complied with item No 28,29,and 30. Make H P Model No HP Pro Desk 600 G3 | 1.00 | Each | 10.00 | 67000.00 | 67000.00 | 225000.00 | 225000.00 | 75900.00 | 75900.00 | 125000.00 | 125000.00 | 67000.00 | jaydeep agency corporation
28.00 | Supply of Touch Screen Monitor of Size -24 inch(Diagonal) , Full HD 1920 x 1080 at 60 Hz Resolution with HDMI interface. Equivalent to Model DELL P2424HT. | 1.00 | Each | 10.00 | 25500.00 | 25500.00 | 125000.00 | 125000.00 | 40250.00 | 40250.00 | 42500.00 | 42500.00 | 25500.00 | jaydeep agency corporation
29.00 | Supply of Smart Managed Gigabit Switches with all accessories like LIU, Patch cords, SC coupler, Pigtails (8 port Ethernet & 2 port optical fiber port ) Equivalent to make: (D-Link model no. DGS-1210) | 1.00 | Each | 10.00 | 21750.00 | 21750.00 | 125000.00 | 125000.00 | 25415.00 | 25415.00 | 13500.00 | 13500.00 | 13500.00 | Awasthi Electric Works
30.00 | Supply and Installation of Windows 10 Platform Runtime SCADA Software for compitable for the computer mentioend in the Item No . Make: (Rockwell Automation) | 1.00 | Job | 10.00 | 2000.00 | 2000.00 | 75000.00 | 75000.00 | 69000.00 | 69000.00 | 200000.00 | 200000.00 | 2000.00 | jaydeep agency corporation
31.00 | Supply and laying of 6 F, single mode Optical Fiber Cable in existing hume / HDPE pipe / DWC Pipe. | 700.00 | Meter | 10.00 | 50.00 | 35000.00 | 80.00 | 56000.00 | 54.05 | 37835.00 | 60.00 | 42000.00 | 35000.00 | jaydeep agency corporation
32.00 | Supply and laying of 12 core 2.5 sq.mm solid Copper Conductor, XLPE Insulated, Armoured 2XWY, 1100 V Grade as per IS 7098 (Part 1) in existing hume / HDPE pipe / DWC Pipe. | 700.00 | Meter | 10.00 | 700.00 | 490000.00 | 465.00 | 325500.00 | 460.00 | 322000.00 | 445.00 | 311500.00 | 311500.00 | Awasthi Electric Works
33.00 | Installation, Testing and Commisssioning of CPU, Scada software along with touch screen monitor including suitable LIU, patch chord, converters and all other accesseries required for the complete testing commissioning of parallel control and monitoring operation of ALCMS. | 1.00 | Job | 10.00 | 1500.00 | 1500.00 | 25000.00 | 25000.00 | 74750.00 | 74750.00 | 50000.00 | 50000.00 | 1500.00 | jaydeep agency corporation
34.00 | Supply of 75 mm dia HDPE, ISI marked along with all acessories like socket, couplers etc conforming to iS 4984-1995, PN10 grade, PE63 etc and Laying of one number HDPE pipe of size 75 mm dia by making Horizontal boring using suitable mechanical arrangement, Sensor operated, Min. 2 Mtr Depth including butt joint welding of HDPE pipe, inserting of HDPE Pipes in bore well hole etc., complete is required. | 1500.00 | Meter | 10.00 | 500.00 | 750000.00 | 1100.00 | 1650000.00 | 609.50 | 914250.00 | 750.00 | 1125000.00 | 750000.00 | jaydeep agency corporation
35.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 M sand) , with RCC top slab 1:2:4 mix (1 cement : 2 M sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 M sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3M sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | 4.00 | Job | 10.00 | 11000.00 | 44000.00 | 25000.00 | 100000.00 | 17250.00 | 69000.00 | 20000.00 | 80000.00 | 44000.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 6297960.00 |  | 6404908.00 |  | 6173924.50 |  | 5617600.00
Lowest Amount Quoted BY: Awasthi Electric Works(5617600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misclleneous / unforseen capital Electrical works. SH - Execution of Balance electrical work at New ATC building, Dibrugarh Airport Tender ID: 2024_AAI_203601_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 5617600.00 | L1
| 2 | UNIVERSAL ELECTRICAL AND ELECTRONICS | 6173924.50 | L2
| 3 | jaydeep agency corporation | 6297960.00 | L3
| 4 | Aditya Techno Products Private Limited | 6404908.00 | L4