## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 16-Oct-2024 04:46 PM Tender Title: Construction of New MSSR Building at R.B. Airport, Bhopal. SH Provision of Gas Suppression System. Tender ID: 2024_AAI_204222_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Construction of New MSSR Building at R.B. Airport, Bhopal. SH: Provision of Gas Supression System.
Contract No: AAI/BPL/ENGG(E)/NIT-07/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -738787 |  | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -741628 |  | SVS Buildwel Pvt Ltd (GSTN-07AALCS7473H1ZU) BID ID -742839 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -742905 |  | Kalpataru Industries (GSTN-NA) BID ID -736068 |  | Sairam Engineers (GSTN-NA) BID ID -745573
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed /FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc, electronic control head / Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas - Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hose and Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery back up, Gas Release/Gas Abort Switch etc complete system as required. item also includes Fire alarm system for cross zoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/ distributors shall be submitted prior to starting of the works.
1.01 | (Individual system) - Radar Equipment Room: Surface area:-130.476 Sq mtr Height:-CV:-0.75 mtr RV:-3.8mtr FV:- 0.45 mtr, Total volume:-652.38 cubic mtr | 1.00 | Set |  | 1412840.00 | 1412840.00 | 1730770.00 | 1730770.00 | 1993220.00 | 1993220.00 | 2150000.00 | 2150000.00 | 1875696.00 | 1875696.00 | 1430250.00 | 1430250.00 | 1412840.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.02 | (Individual system)- Battery Room -1: Surface area:- 14.2129 Sq mtr Height:-CV:-0.75 mtr RV:- 4.25mtr FV:- 0 mtr total volume:- 71.0645 cubic mtr | 1.00 | Set |  | 330240.00 | 330240.00 | 326350.00 | 326350.00 | 621422.00 | 621422.00 | 470000.00 | 470000.00 | 366427.00 | 366427.00 | 972500.00 | 972500.00 | 326350.00 | Nexus Fire And Security Systems
1.03 | (Individual system) - UPS Room: Surface area:- 11.9886 Sq mtr Height:-CV:-0.75 mtr RV:-4.25mtr FV:- 0mtr total volume:- 59.9429 cub mtr | 1.00 | Set |  | 320070.00 | 320070.00 | 313200.00 | 313200.00 | 848822.00 | 848822.00 | 460000.00 | 460000.00 | 352077.00 | 352077.00 | 972500.00 | 972500.00 | 313200.00 | Nexus Fire And Security Systems
1.04 | (Individual system) - Battery Room -2: Surface area:- 22.6954 Sq mtr Height:-CV:-0.75 mtr RV:- 4.25mtr FV:- 0 mtr Total volume:- 113.477 cubic mtr | 1.00 | Set |  | 397190.00 | 397190.00 | 395500.00 | 395500.00 | 699884.00 | 699884.00 | 650000.00 | 650000.00 | 428827.00 | 428827.00 | 972500.00 | 972500.00 | 395500.00 | Nexus Fire And Security Systems
1.05 | (Individual system) - Fourth Floor - (Anteena Pedestal Room): Surface area:- 129.69 Sq mtr Height:-CV:- 0.0 mtr RV:- 5.0 mtr FV:- 0.0mtr Total volume:-638.45 cub mtr | 1.00 | Set |  | 1357360.00 | 1357360.00 | 1645760.00 | 1645760.00 | 1914814.00 | 1914814.00 | 2470000.00 | 2470000.00 | 1734952.00 | 1734952.00 | 1430250.00 | 1430250.00 | 1357360.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 3817700.00 |  | 4411580.00 |  | 6078162.00 |  | 6200000.00 |  | 4757979.00 |  | 5778000.00
Lowest Amount Quoted BY: PYROGUARD ENGINEERS PRIVATE LIMITED(3817700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New MSSR Building at R.B. Airport, Bhopal. SH Provision of Gas Suppression System. Tender ID: 2024_AAI_204222_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -738787) | 3817700.00 | L1
| 2 | Nexus Fire And Security Systems (BID ID -741628) | 4411580.00 | L2
| 3 | Kalpataru Industries (BID ID -736068) | 4757979.00 | L3
| 4 | Sairam Engineers (BID ID -745573) | 5778000.00 | L4
| 5 | SVS Buildwel Pvt Ltd (BID ID -742839) | 6078162.00 | L5
| 6 | CENTRE TAP ENGINEERING (BID ID -742905) | 6200000.00 | L6