## BoQ1
Government eProcurement System Created By: KUMAR RIJENDRA Created Date/Time: 12-Sep-2024 01:36 PM Tender Title: SITC of LT panel and internal works at different location at B.M.Airport, Ranchi. Tender ID: 2024_AAI_205072_1
Tender Inviting Authority: SM (E-E), AAI, B.M.airport, Ranchi
Name of Work:SITC of LT panel and internal works at different location at B.M.Airport, Ranchi.
Contract No: 2024_AAI_205072_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MANNA ELECTRONICS AND ELECTRICAL WORKS (GSTN-19AALFM9363P2Z6) BID ID -739031 |  | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -741138 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -741472 |  | M/s CGPL ELECTROMECH PVT LTD (GSTN-07AAGCC8228F1ZO) BID ID -741480 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -741648 |  | SAURABH ENTERPRISES(GSTN-NA)--739853 |  | Virtus Techno(GSTN-NA)--741331
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of cubicle type LT panel/ Outdoor feeder pillar, IP42 protection in case of indoor panel and IP-54 in case of outdoor feeder pillar, 36 KA suitable for 415V, 3 Phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized design from CRCA sheet steel of 2 mm thick for frame work and covers, 3 mm thick for gland, plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having 4P Aluminium alloy bus bars of high conductivity, SMC bus bar supports,with short circuit withstand capacity of 36 KA for 1 sec, bottom base channel of MS section suitable to withold the load of the panel, fabrication shall be done in transportable sections, entire panel shall have a common copper earth bar of size 25 mm x 5 mm at the rear with 2 Nos. earth stud, solid connections from main bus bar to switch gears with required size of Al. bus bars and control wiring with suitable size of PVC insulated copper conductor S/C cable, cable alleys, cable gland plates , i/c providing following switch gears :- All live accessible parts shall be shrouded and all equipment shall be finger touch proof. SMC shrouds busbar supports shall be used. Padlocking facility shall be provided on all MCCB feeder doors and switch handles shall be locakble in OFF position. Sealing Arrangement:- PE Foam Rubber Gasket Bus Bars Supports - Non-Hygroscopic, Non Carbonising, Corrosion Resistant, SMC Supports 1Set of connector (Phase+Neutral) shall be provided in cable alley for all outgoing with interconnection wires between MCB and Connector. Minimum Air Clearances between bus bars; P-P=32mm, P-N=32mm,P-E=26mm and N-E=26mm Panel Power and control Wiring shall be with FRLS PVC insulated cable AC voltage circuit-1.5 sqmm Red,Yellow,Blue &Black Current circuit-1.5 sqmm Red,Yellow,Blue &Black AC Control circuit-1.5 sqmm White for Phase & Black for Neutral DC Control circuit-2.5 sqmm Grey Power circuit- Red,Yellow,Blue for Phase &Black for Neutral Labelling- Computerised Laminated Aluminium Name Plate with White letters on Blue/Black Background For Each Feeder and Panel Itself. All indicating lamps shall be LED type with 2 amp protection MCB All ammeter/ volt meter/MFM shall be digital type of size 96 mm x 96 mm Note: If mentioned fault rating is unavailable consider nearby upside rating Note: All outgoing MCCB shall be with adjustable O/L protection All outgoing MCCB shall have 1 Set of ON/ OFF Indicating LED Lamps with 2 Amp MCB. All incomers and Buscoupler breakers shall be electrical and mechanical interlocked with suitable accessories.
1.01 | Main incomer panel (TTA Type) Incomer-4P aluminium bus bars of 800A capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 36 KA for 1 sec. Outgoing 2 Nos. 630A, 4P MCCB, 36KA, Microprocessor based release (Ics = Icu = 100%) with inbuilt O/L , S/C & E/F protection with 1 Set of ON/ OFF and phase Indicating LED Lamps with 2 Amp MCB with rotatory handle. 2 Nos. Type-2 SPD 65kA 4P (Similar to HAGER (SPN465R) or Equivalent ) with 1No. Red Indicator Light for SPD with 1Set. SPD Back up fuse 1P 50A 20kA including all necessary accessories. | 1.00 | Job | 165909.00 | 230000.00 | 230000.00 | 190000.00 | 190000.00 | 316500.00 | 316500.00 | 149000.00 | 149000.00 | 325000.00 | 325000.00 | 337624.00 | 337624.00 | 381250.00 | 381250.00 | 149000.00 | M/s CGPL ELECTROMECH PVT LTD
1.02 | UPS incomer panel (TTA Panel) Incomer-I & II 2 Nos. 630A, 4P MCCB, 36 KA, Microprocessor based release (Ics = Icu = 100%) with inbuilt O/L , S/C & E/F protection with 1 Set of ON/ OFF Indicating LED Lamps with 2 Amp MCB Each Incomer shall have one set of the following items: 1 No. Digital MFM meter and 3 nos. CTs of ratio 630/5A , Class 0.5 accuracy and 10 VA burden. digital multifunction meter suitable to measure voltage, Ampere, Frequency, Power Factor with RS-485 Port 1 Set of ON/ OFF/TRIP Indicating LED Lamps with 2 Amp MCB. 1 Set of phase indicating LED lamps with 2 amp back up MCB. Buscoupler 1 No. 630A, 4P MCCB, 36 KA, Microprocessor based release (Ics = Icu = 100%) with inbuilt O/L , S/C & E/F protection with 1 Set of ON/ OFF Indicating LED Lamps with 2 Amp MCB. Busbars 4P aluminium bus bars of 800A capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 36 KA for 1 sec. Outgoing 6 Nos. 320A 4P MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu = 25 KA) 3 Nos. 125A 4P MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu = 25 KA) 2 No. 100A 4P MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu =25 KA) 3 No. 63A 4P MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu =25 KA) 2 Nos. Type-2 SPD 65kA 4P (Similar to HAGER (SPN465R) or Equivalent ) with 1No. Red Indicator Light for SPD with 1Set. SPD Back up fuse 1P 50A 20kA including all necessary accessories. | 1.00 | Job | 954418.00 | 690000.00 | 690000.00 | 780000.00 | 780000.00 | 1105000.00 | 1105000.00 | 805000.00 | 805000.00 | 1125000.00 | 1125000.00 | 1000000.00 | 1000000.00 | 1102250.00 | 1102250.00 | 690000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
1.03 | Outdoor feeder pillar Incomer-I 1 Nos. 100A, 4P MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu = 25 KA) with inbuilt O/L , S/C & E/F protection with 1 Set of ON/ OFF Indicating LED Lamps with 2 Amp MCB Each Incomer shall have one set of the following items: 1 No. Analog ammeter and 1 No. Analog voltmeter 1 Set of ON/ OFF Indicating LED Lamps with 2 Amp MCB. 1 Set of phase indicating LED lamps with 2 amp back up MCB. Busbars 4P aluminium bus bars of 125 A capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 25 KA for 1 sec. Outgoing 4 Nos. 63A TPN MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu = 25 KA) 2 Nos. 40A TPN MCCB with built in thermal magnetic release with adjustable thermal setting (Ics = Icu = 25 KA) 2 Nos. Type-2 SPD with fuse shall be provided | 1.00 | Job | 188372.00 | 130000.00 | 130000.00 | 170000.00 | 170000.00 | 198000.00 | 198000.00 | 169000.00 | 169000.00 | 220000.00 | 220000.00 | 210000.00 | 210000.00 | 241125.00 | 241125.00 | 130000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
1.04 | Dismantling, shifting, reinstallation, testing and commissioning of existing LT panel from operational power house to old power house etc. as required and as per direction of EIC. Details of existing panel - Incomer - 400 A - 02 nos., Buscoupler - 400 A - 01 no. Outgoing - 250 A - 02 nos. and 100 A - 06 nos. | 2.00 | Job | 29270.00 | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 43750.00 | 87500.00 | 7000.00 | M/s CGPL ELECTROMECH PVT LTD
2.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium/Copper conductor, armoured, power cable of 1.1 KV grade conforming to IS:7098 (Part I),1988 amended upto date etc complete as required.
2.01 | 3½ X 185 sq. mm | 400.00 | Metre | 1285.00 | 920.00 | 368000.00 | 823.00 | 329200.00 | 880.00 | 352000.00 | 1150.00 | 460000.00 | 850.00 | 340000.00 | 790.00 | 316000.00 | 915.23 | 366092.00 | 316000.00 | SAURABH ENTERPRISES
2.02 | 3½ X 95 sq. mm | 400.00 | Metre | 684.00 | 530.00 | 212000.00 | 484.00 | 193600.00 | 480.00 | 192000.00 | 570.00 | 228000.00 | 480.00 | 192000.00 | 419.00 | 167600.00 | 482.30 | 192920.00 | 167600.00 | SAURABH ENTERPRISES
2.03 | 3½ X 50 sq. mm | 400.00 | Metre | 407.00 | 305.00 | 122000.00 | 327.00 | 130800.00 | 300.00 | 120000.00 | 350.00 | 140000.00 | 265.00 | 106000.00 | 250.00 | 100000.00 | 286.52 | 114608.00 | 100000.00 | SAURABH ENTERPRISES
2.04 | 3½ X 35 sq. mm | 400.00 | Metre | 300.00 | 250.00 | 100000.00 | 268.00 | 107200.00 | 230.00 | 92000.00 | 255.00 | 102000.00 | 215.00 | 86000.00 | 190.00 | 76000.00 | 211.66 | 84664.00 | 76000.00 | SAURABH ENTERPRISES
2.05 | 3½ X 25 sq. mm | 800.00 | Metre | 237.00 | 190.00 | 152000.00 | 214.00 | 171200.00 | 180.00 | 144000.00 | 210.00 | 168000.00 | 170.00 | 136000.00 | 146.00 | 116800.00 | 167.27 | 133816.00 | 116800.00 | SAURABH ENTERPRISES
3.00 | Supply of following sizes of XLPE insulated PVC sheathed, Copper conductor, Unarmoured, power cable of 1.1 KV grade conforming to IS:7098 (Part I),1988 amended upto date etc complete as required.
3.01 | 95 sq. mm Flexible Copper | 325.00 | Metre | 1709.00 | 980.00 | 318500.00 | 870.00 | 282750.00 | 1080.00 | 351000.00 | 650.00 | 211250.00 | 1140.00 | 370500.00 | 930.00 | 302250.00 | 1044.99 | 339621.75 | 211250.00 | M/s CGPL ELECTROMECH PVT LTD
3.02 | 150 sq. mm Flexible Copper | 100.00 | Metre | 2691.00 | 1552.00 | 155200.00 | 1450.00 | 145000.00 | 1690.00 | 169000.00 | 910.00 | 91000.00 | 1850.00 | 185000.00 | 1540.00 | 154000.00 | 1685.61 | 168561.00 | 91000.00 | M/s CGPL ELECTROMECH PVT LTD
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE/Masonary Open Duct pipe as required.
4.01 | upto 35 sq. mm | 100.00 | Metre | 34.00 | 25.00 | 2500.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 35.00 | 3500.00 | 30.00 | 3000.00 | 106.25 | 10625.00 | 2000.00 | M/s CGPL ELECTROMECH PVT LTD
4.02 | Above 35 sq. mm and upto 95 sq. mm | 100.00 | Metre | 53.00 | 45.00 | 4500.00 | 30.00 | 3000.00 | 60.00 | 6000.00 | 30.00 | 3000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 106.25 | 10625.00 | 3000.00 | M/S AMAR ENTERPRISES, M/s CGPL ELECTROMECH PVT LTD
4.03 | Above 95 sq. mm and upto 185 sq. mm | 100.00 | Metre | 71.00 | 60.00 | 6000.00 | 30.00 | 3000.00 | 80.00 | 8000.00 | 40.00 | 4000.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 131.25 | 13125.00 | 3000.00 | M/S AMAR ENTERPRISES
5.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
5.01 | upto 35 sq. mm | 50.00 | Metre | 52.00 | 34.00 | 1700.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 25.00 | 1250.00 | 125.00 | 6250.00 | 50.00 | 2500.00 | 131.25 | 6562.50 | 1250.00 | M/s CGPL ELECTROMECH PVT LTD
5.02 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Metre | 123.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 50.00 | 2500.00 | 35.00 | 1750.00 | 150.00 | 7500.00 | 65.00 | 3250.00 | 131.25 | 6562.50 | 1500.00 | M/S AMAR ENTERPRISES
5.03 | Above 95 sq. mm and upto 185 sq. mm | 50.00 | Metre | 144.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 50.00 | 2500.00 | 45.00 | 2250.00 | 160.00 | 8000.00 | 70.00 | 3500.00 | 162.50 | 8125.00 | 1500.00 | M/S AMAR ENTERPRISES
6.00 | Supplying and making end termination with double brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
6.01 | 3½ X 95 sq. mm | 2.00 | Set | 555.00 | 1239.00 | 2478.00 | 500.00 | 1000.00 | 650.00 | 1300.00 | 250.00 | 500.00 | 1150.00 | 2300.00 | 500.00 | 1000.00 | 2250.00 | 4500.00 | 500.00 | M/s CGPL ELECTROMECH PVT LTD
6.02 | 3½ X 185 sq. mm | 2.00 | Set | 824.00 | 2748.00 | 5496.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 300.00 | 600.00 | 1850.00 | 3700.00 | 600.00 | 1200.00 | 2687.50 | 5375.00 | 600.00 | M/s CGPL ELECTROMECH PVT LTD
6.03 | 3½ X 240 sq. mm | 2.00 | Set | 966.00 | 2858.00 | 5716.00 | 900.00 | 1800.00 | 798.00 | 1596.00 | 350.00 | 700.00 | 2550.00 | 5100.00 | 700.00 | 1400.00 | 4062.50 | 8125.00 | 700.00 | M/s CGPL ELECTROMECH PVT LTD
7.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 6985.00 | 5800.00 | 23200.00 | 5000.00 | 20000.00 | 6500.00 | 26000.00 | 3800.00 | 15200.00 | 14500.00 | 58000.00 | 10000.00 | 40000.00 | 6937.50 | 27750.00 | 15200.00 | M/s CGPL ELECTROMECH PVT LTD
8.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I.pipe from earth electrode including connection with G.I. nut, bolt,spring, washer excavation and re-filling etc. as required. | 40.00 | Meter | 657.00 | 550.00 | 22000.00 | 300.00 | 12000.00 | 300.00 | 12000.00 | 350.00 | 14000.00 | 625.00 | 25000.00 | 450.00 | 18000.00 | 225.00 | 9000.00 | 9000.00 | Virtus Techno
9.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 80.00 | Meter | 246.00 | 150.00 | 12000.00 | 200.00 | 16000.00 | 150.00 | 12000.00 | 145.00 | 11600.00 | 160.00 | 12800.00 | 125.00 | 10000.00 | 225.00 | 18000.00 | 10000.00 | SAURABH ENTERPRISES
10.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. Group C | 50.00 | Point | 847.00 | 750.00 | 37500.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 445.00 | 22250.00 | 700.00 | 35000.00 | 850.00 | 42500.00 | 687.50 | 34375.00 | 22250.00 | M/s CGPL ELECTROMECH PVT LTD
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
11.01 | 2 x 1.5 sq. mm | 100.00 | Meter | 65.00 | 45.00 | 4500.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 60.00 | 6000.00 | 60.00 | 6000.00 | 50.00 | 5000.00 | 56.25 | 5625.00 | 2000.00 | M/S AMAR ENTERPRISES
11.02 | 3 x 1.5 sq. mm | 100.00 | Meter | 89.00 | 65.00 | 6500.00 | 40.00 | 4000.00 | 65.00 | 6500.00 | 85.00 | 8500.00 | 85.00 | 8500.00 | 70.00 | 7000.00 | 68.75 | 6875.00 | 4000.00 | M/S AMAR ENTERPRISES
11.03 | 2 x 2.5 sq. mm | 100.00 | Meter | 92.00 | 68.00 | 6800.00 | 50.00 | 5000.00 | 90.00 | 9000.00 | 90.00 | 9000.00 | 95.00 | 9500.00 | 70.00 | 7000.00 | 77.50 | 7750.00 | 5000.00 | M/S AMAR ENTERPRISES
11.04 | 3 x 2.5 sq. mm | 100.00 | Meter | 128.00 | 100.00 | 10000.00 | 60.00 | 6000.00 | 120.00 | 12000.00 | 125.00 | 12500.00 | 125.00 | 12500.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 6000.00 | M/S AMAR ENTERPRISES
11.05 | 2 x 4 sq. mm | 50.00 | Meter | 85.00 | 90.00 | 4500.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 85.00 | 4250.00 | 140.00 | 7000.00 | 85.00 | 4250.00 | 150.00 | 7500.00 | 2500.00 | M/S AMAR ENTERPRISES
11.06 | 3 x 4 sq. mm | 50.00 | Meter | 114.00 | 146.00 | 7300.00 | 60.00 | 3000.00 | 140.00 | 7000.00 | 115.00 | 5750.00 | 180.00 | 9000.00 | 130.00 | 6500.00 | 175.00 | 8750.00 | 3000.00 | M/S AMAR ENTERPRISES
12.00 | Supplying and fixing of modular metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc as required.
12.01 | 75 mm X 75 mm X 60 mm deep | 50.00 | Each | 409.00 | 152.00 | 7600.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 250.00 | 12500.00 | 210.00 | 10500.00 | 200.00 | 10000.00 | 162.50 | 8125.00 | 4500.00 | surbhi association
12.02 | 100 mm X 100 mm X 60 mm deep | 50.00 | Each | 202.00 | 180.00 | 9000.00 | 110.00 | 5500.00 | 100.00 | 5000.00 | 110.00 | 5500.00 | 420.00 | 21000.00 | 250.00 | 12500.00 | 206.25 | 10312.50 | 5000.00 | surbhi association
12.03 | 150 mm X 75 mm X 60 mm deep | 75.00 | Each | 208.00 | 160.00 | 12000.00 | 75.00 | 5625.00 | 110.00 | 8250.00 | 105.00 | 7875.00 | 530.00 | 39750.00 | 300.00 | 22500.00 | 231.25 | 17343.75 | 5625.00 | M/S AMAR ENTERPRISES
13.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
13.01 | 5/6 amps switch | 100.00 | Each | 97.00 | 61.00 | 6100.00 | 35.00 | 3500.00 | 45.00 | 4500.00 | 45.00 | 4500.00 | 80.00 | 8000.00 | 50.00 | 5000.00 | 56.88 | 5688.00 | 3500.00 | M/S AMAR ENTERPRISES
13.02 | 15/16 amp switch | 50.00 | Each | 147.00 | 139.00 | 6950.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 75.00 | 3750.00 | 150.00 | 7500.00 | 130.00 | 6500.00 | 163.50 | 8175.00 | 3750.00 | M/s CGPL ELECTROMECH PVT LTD
13.03 | 3 pin 5/6 amp socket outlet | 50.00 | Each | 115.00 | 96.00 | 4800.00 | 90.00 | 4500.00 | 100.00 | 5000.00 | 55.00 | 2750.00 | 135.00 | 6750.00 | 130.00 | 6500.00 | 143.63 | 7181.50 | 2750.00 | M/s CGPL ELECTROMECH PVT LTD
13.04 | 5/6 pin 15/16 amp socket outlet | 50.00 | Each | 185.00 | 204.00 | 10200.00 | 80.00 | 4000.00 | 180.00 | 9000.00 | 110.00 | 5500.00 | 230.00 | 11500.00 | 160.00 | 8000.00 | 244.50 | 12225.00 | 4000.00 | M/S AMAR ENTERPRISES
13.05 | Telephone socket outlet | 30.00 | Each | 138.00 | 103.00 | 3090.00 | 80.00 | 2400.00 | 150.00 | 4500.00 | 65.00 | 1950.00 | 140.00 | 4200.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 1950.00 | M/s CGPL ELECTROMECH PVT LTD
14.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 50.00 | Each | 345.00 | 500.60 | 25030.00 | 220.00 | 11000.00 | 250.00 | 12500.00 | 155.00 | 7750.00 | 500.00 | 25000.00 | 300.00 | 15000.00 | 436.00 | 21800.00 | 7750.00 | M/s CGPL ELECTROMECH PVT LTD
15.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required | 30.00 | Each | 41.00 | 22.88 | 686.40 | 20.00 | 600.00 | 15.00 | 450.00 | 20.00 | 600.00 | 32.00 | 960.00 | 50.00 | 1500.00 | 43.75 | 1312.50 | 450.00 | surbhi association
16.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
16.01 | 1 or 2 Module (75mmX75mm) | 10.00 | Each | 288.00 | 171.00 | 1710.00 | 40.00 | 400.00 | 100.00 | 1000.00 | 140.00 | 1400.00 | 220.00 | 2200.00 | 100.00 | 1000.00 | 226.25 | 2262.50 | 400.00 | M/S AMAR ENTERPRISES
16.02 | 3 Module (100mmX75mm) | 25.00 | Each | 315.00 | 182.00 | 4550.00 | 120.00 | 3000.00 | 150.00 | 3750.00 | 167.00 | 4175.00 | 240.00 | 6000.00 | 125.00 | 3125.00 | 283.75 | 7093.75 | 3000.00 | M/S AMAR ENTERPRISES
16.03 | 4 Module (125mmX75mm) | 20.00 | Each | 306.00 | 217.00 | 4340.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 290.00 | 5800.00 | 145.00 | 2900.00 | 346.25 | 6925.00 | 2900.00 | SAURABH ENTERPRISES
16.04 | 6 Module (200mmX75mm) | 15.00 | Each | 604.00 | 363.00 | 5445.00 | 200.00 | 3000.00 | 220.00 | 3300.00 | 300.00 | 4500.00 | 465.00 | 6975.00 | 180.00 | 2700.00 | 468.75 | 7031.25 | 2700.00 | SAURABH ENTERPRISES
17.00 | Installation, testing and commissioning of pre-wired, LED fitting / compact LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copperconductor, single core cable and earthing etc. as required. | 50.00 | Each | 195.00 | 55.00 | 2750.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 55.00 | 2750.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 937.50 | 46875.00 | 2750.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS, M/s CGPL ELECTROMECH PVT LTD
18.00 | Installation, testing and commissioning of pre-wired, LED fitting / compact LED fitting of all types, complete with all accessories and tube etc., including supplying and fixing ball and socket arrangement, 2 no. down rods of 20 mm dia X 1.6 mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 30.00 | Each | 450.00 | 180.00 | 5400.00 | 200.00 | 6000.00 | 300.00 | 9000.00 | 175.00 | 5250.00 | 400.00 | 12000.00 | 300.00 | 9000.00 | 812.50 | 24375.00 | 5250.00 | M/s CGPL ELECTROMECH PVT LTD
19.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
19.01 | 6 way, Double door | 40.00 | Each | 2068.00 | 1274.00 | 50960.00 | 1000.00 | 40000.00 | 1150.00 | 46000.00 | 750.00 | 30000.00 | 1450.00 | 58000.00 | 1400.00 | 56000.00 | 912.50 | 36500.00 | 30000.00 | M/s CGPL ELECTROMECH PVT LTD
19.02 | 8 way, Double door | 25.00 | Each | 2414.00 | 1274.00 | 31850.00 | 1200.00 | 30000.00 | 1500.00 | 37500.00 | 1100.00 | 27500.00 | 1550.00 | 38750.00 | 1500.00 | 37500.00 | 993.75 | 24843.75 | 24843.75 | Virtus Techno
19.03 | 12 way, Double door | 15.00 | Each | 2174.00 | 1531.00 | 22965.00 | 1300.00 | 19500.00 | 1850.00 | 27750.00 | 1500.00 | 22500.00 | 1850.00 | 27750.00 | 1700.00 | 25500.00 | 1218.75 | 18281.25 | 18281.25 | Virtus Techno
20.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
20.01 | 4 way (4 + 12), Double door | 10.00 | Each | 3828.00 | 2533.00 | 25330.00 | 2000.00 | 20000.00 | 3200.00 | 32000.00 | 1560.00 | 15600.00 | 3500.00 | 35000.00 | 2400.00 | 24000.00 | 1912.50 | 19125.00 | 15600.00 | M/s CGPL ELECTROMECH PVT LTD
20.02 | 6 way (4 + 18), Double door | 7.00 | Each | 4648.00 | 3192.00 | 22344.00 | 2500.00 | 17500.00 | 4200.00 | 29400.00 | 2500.00 | 17500.00 | 4000.00 | 28000.00 | 2800.00 | 19600.00 | 2425.00 | 16975.00 | 16975.00 | Virtus Techno
20.03 | 8 way (4 + 24), Double door | 5.00 | Each | 5572.00 | 3965.00 | 19825.00 | 3500.00 | 17500.00 | 6000.00 | 30000.00 | 3000.00 | 15000.00 | 4600.00 | 23000.00 | 3600.00 | 18000.00 | 3062.50 | 15312.50 | 15000.00 | M/s CGPL ELECTROMECH PVT LTD
21.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
21.01 | Single pole | 500.00 | Each | 240.00 | 160.00 | 80000.00 | 100.00 | 50000.00 | 150.00 | 75000.00 | 110.00 | 55000.00 | 170.00 | 85000.00 | 130.00 | 65000.00 | 166.25 | 83125.00 | 50000.00 | M/S AMAR ENTERPRISES
21.02 | Double pole | 80.00 | Each | 612.00 | 539.00 | 43120.00 | 350.00 | 28000.00 | 450.00 | 36000.00 | 220.00 | 17600.00 | 490.00 | 39200.00 | 425.00 | 34000.00 | 508.75 | 40700.00 | 17600.00 | M/s CGPL ELECTROMECH PVT LTD
21.03 | Triple pole and neutral | 5.00 | Each | 1144.00 | 1128.00 | 5640.00 | 800.00 | 4000.00 | 1850.00 | 9250.00 | 550.00 | 2750.00 | 790.00 | 3950.00 | 800.00 | 4000.00 | 843.75 | 4218.75 | 2750.00 | M/s CGPL ELECTROMECH PVT LTD
22.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
22.01 | 40 A | 15.00 | Each | 906.00 | 700.00 | 10500.00 | 500.00 | 7500.00 | 1000.00 | 15000.00 | 450.00 | 6750.00 | 850.00 | 12750.00 | 550.00 | 8250.00 | 1562.50 | 23437.50 | 6750.00 | M/s CGPL ELECTROMECH PVT LTD
22.02 | 63 A | 5.00 | Each | 966.00 | 773.00 | 3865.00 | 600.00 | 3000.00 | 1190.00 | 5950.00 | 550.00 | 2750.00 | 970.00 | 4850.00 | 560.00 | 2800.00 | 1631.25 | 8156.25 | 2750.00 | M/s CGPL ELECTROMECH PVT LTD
23.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.00, Air delivery minimum 210 CMM, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 95.00 | Each | 2229.00 | 2450.00 | 232750.00 | 2000.00 | 190000.00 | 2000.00 | 190000.00 | 1500.00 | 142500.00 | 2050.00 | 194750.00 | 2200.00 | 209000.00 | 2750.00 | 261250.00 | 142500.00 | M/s CGPL ELECTROMECH PVT LTD
24.00 | ITC of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.00, Air delivery minimum 210 CMM, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 95.00 | Each | 193.00 | 60.00 | 5700.00 | 50.00 | 4750.00 | 81.00 | 7695.00 | 100.00 | 9500.00 | 200.00 | 19000.00 | 200.00 | 19000.00 | 437.50 | 41562.50 | 4750.00 | M/S AMAR ENTERPRISES
25.00 | Dismantling of existing light fitting/switch board etc. as required and as per direction of EIC. | 300.00 | Each | 35.00 | 10.00 | 3000.00 | 1.00 | 300.00 | 50.00 | 15000.00 | 10.00 | 3000.00 | 80.00 | 24000.00 | 150.00 | 45000.00 | 150.00 | 45000.00 | 300.00 | M/S AMAR ENTERPRISES
26.00 | Supply of recessed 2'X2' LED luminaire of battery backup for 90 minutes with 5 W light output made of CRCA steel sheet housing comprising of LED’s with secondary optics with individual LED for better light distribution of preffered make with Constant current output driver, It has a system level lumen of =>4320 lumens with luminaire efficacy of not less than 120 lm/W. constant current output driver, operating range 140 – 270V AC supply, voltages, CCT of 5700K - 6500K with PF>0.95 and THD must be <10% & surge proctection of > 2.5kv. lumen maintainence of 70% at the end of 50000 burning hours. The luminaire is IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source. LED shall have reverse polarity, open and short circuit protection (The manufacturer must have provide the 05 year warranty) | 50.00 | Each | 3026.00 | 2300.00 | 115000.00 | 4500.00 | 225000.00 | 4700.00 | 235000.00 | 7500.00 | 375000.00 | 6100.00 | 305000.00 | 5170.00 | 258500.00 | 9000.00 | 450000.00 | 115000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
27.00 | Supply of Recess mounted Round LED Downlighter delivering system lumen of not less than 2160 lumens with system efficacy ≥ 120 lm/ W. Housing: Die cast Aluminium. IP20 , Optics: Highly efficient acrylic diffuser. The operating CCT shall be 4000°K ±300°K with CRI of ≥80. The luminaire shall be with electronic driver with input voltage range of 150 to 270V , THD ≤ 10% & PF ≥ 0.95, 50,000 Hrs LED Life with L70 Criteria. Luminaire shall have minimum surge protection of 2.5 KV. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacturer. The approx size of fixtures shall be 8". (The manufacturer must have provide the 05 year warranty) | 175.00 | Each | 1080.00 | 1250.00 | 218750.00 | 700.00 | 122500.00 | 898.00 | 157150.00 | 875.00 | 153125.00 | 970.00 | 169750.00 | 990.00 | 173250.00 | 1062.50 | 185937.50 | 122500.00 | M/S AMAR ENTERPRISES
| Total in Figures |  |  |  |  | 3661640.40 |  | 3490025.00 |  | 4241441.00 |  | 3625175.00 |  | 4594035.00 |  | 4099999.00 |  | 4886408.50
Lowest Amount Quoted BY: M/S AMAR ENTERPRISES(3490025.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of LT panel and internal works at different location at B.M.Airport, Ranchi. Tender ID: 2024_AAI_205072_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S AMAR ENTERPRISES | 3490025.00 | L1
| 2 | M/s CGPL ELECTROMECH PVT LTD | 3625175.00 | L2
| 3 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 3661640.40 | L3
| 4 | SAURABH ENTERPRISES | 4099999.00 | L4
| 5 | surbhi association | 4241441.00 | L5
| 6 | Awasthi Electric Works | 4594035.00 | L6
| 7 | Virtus Techno | 4886408.50 | L7