## BoQ1
Government eProcurement System Created By: Aloke Ranjan Biswas Created Date/Time: 25-Sep-2024 05:59 PM Tender Title: Construction of MSSR Building at Badu TX Station, NSCBI Airport, Kolkata Tender ID: 2024_AAI_205133_1
Tender Inviting Authority: Airports Authority of India, RHQ-ER
Name of Work: Construction of MSSR Building at Badu TX Station, NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | H.R.INFRACON LTD. (GSTN-19AACCH1838E1ZQ) BID ID -741568 |  | M. P. Sitani and Sons (GSTN-19AACHM0956P1ZN) BID ID -740557
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of garde M-25 of specified diameter and length below pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap etc. by Crawler mounted, telescopic boom hydraulic pilling Rig all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap). Note: Truck Mounted rotary/TMR/Tube well boring machine shall not be used: 600 mm dia piles. | 745.60 | Mtr. |  | 3400.00 | 2535040.00 | 5000.00 | 3728000.00 | 2535040.00 | H.R.INFRACON LTD.
2.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m.: All kinds of soil | 359.11 | Sqm |  | 781.00 | 280464.91 | 20.00 | 7182.20 | 7182.20 | M. P. Sitani and Sons
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.: All kinds of soil. | 117.37 | Cum |  | 781.00 | 91665.97 | 150.00 | 17605.50 | 17605.50 | M. P. Sitani and Sons
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials: All kinds of soil | 25.23 | Cum |  | 781.00 | 19704.63 | 200.00 | 5046.00 | 5046.00 | M. P. Sitani and Sons
5.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 42.89 | Cum |  | 781.00 | 33497.09 | 100.00 | 4289.00 | 4289.00 | M. P. Sitani and Sons
6.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard settin of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete: All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 88.05 | Cum |  | 7500.00 | 660375.00 | 7500.00 | 660375.00 | 660375.00 | M. P. Sitani and Sons, H.R.INFRACON LTD.
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 36706.21 | Kg. |  | 75.00 | 2752965.75 | 75.00 | 2752965.75 | 2752965.75 | M. P. Sitani and Sons, H.R.INFRACON LTD.
8.00 | SHUTTERING WORK Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | 99.80 | Sqm |  | 400.00 | 39920.00 | 300.00 | 29940.00 | 29940.00 | M. P. Sitani and Sons
9.00 | SHUTTERING WORK Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 297.44 | Sqm |  | 400.00 | 118976.00 | 300.00 | 89232.00 | 89232.00 | M. P. Sitani and Sons
10.00 | SHUTTERING WORK Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 567.83 | Sqm |  | 400.00 | 227132.00 | 300.00 | 170349.00 | 170349.00 | M. P. Sitani and Sons
11.00 | SHUTTERING WORK Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 330.04 | Sqm |  | 400.00 | 132016.00 | 300.00 | 99012.00 | 99012.00 | M. P. Sitani and Sons
12.00 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars. | 16.28 | Cum |  | 3551.00 | 57810.28 | 1200.00 | 19536.00 | 19536.00 | M. P. Sitani and Sons
13.00 | Vertical load testing of piles in accordance with IS 2911 (Part IV) including installation of loading platform by Kentledge/Anchor piles method and preparation of pile head or construction of test cap and dismantling of test cap after test etc. complete as per specification & the direction of Engineer in-charge. Note: 1. Initial and Routine Load Test shall not be carried out by Dynamic method of testing. Note: 2. Testing agency shall submit the design of loading platform for the approval of Engineer-in-charge. Single pile above 50 tonne and upto 100 tonne Safe capacity initial test (Test Load 1.5 times the Safe capacity) | 1.00 | Per Test |  | 120000.00 | 120000.00 | 100000.00 | 100000.00 | 100000.00 | M. P. Sitani and Sons
14.00 | Vertical load testing of piles in accordance with IS 2911 (Part IV) including installation of loading platform by Kentledge/Anchor piles method and preparation of pile head or construction of test cap and dismantling of test cap after test etc. complete as per specification & the direction of Engineer in-charge. Note: 1. Initial and Routine Load Test shall not be carried out by Dynamic method of testing. Note: 2. Testing agency shall submit the design of loading platform for the approval of Engineer-in-charge. Single pile above 50 tonne and upto 100 tonne Safe capacity Routine test (Test Load 1.5 times the Safe capacity) | 1.00 | Per Test |  | 120000.00 | 120000.00 | 100000.00 | 100000.00 | 100000.00 | M. P. Sitani and Sons
15.00 | Integrity testing of Pile using Low Strain/ Sonic Integrity Test/ Sonic Echo Test method in accordance with IS 14893 including surface preparation of pile top by removing soil, mud, dust & chipping lean concrete lumps etc. and use of computerised equipment and high skill trained personal for conducting the test & submission of results,all complete as per direction of Engineer-in-charge. Note :- The inclusion of the above item in the schedule of work shall be judiciously decided by the technical sanctioning authority, keeping in view the quality control, type of soil strata & importance of the project. | 31.00 | Per Test |  | 1000.00 | 31000.00 | 800.00 | 24800.00 | 24800.00 | M. P. Sitani and Sons
16.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 74.42 | Cum |  | 2200.00 | 163724.00 | 1800.00 | 133956.00 | 133956.00 | M. P. Sitani and Sons
17.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 18.86 | Cum |  | 7000.00 | 132020.00 | 7000.00 | 132020.00 | 132020.00 | M. P. Sitani and Sons, H.R.INFRACON LTD.
18.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 11.01 | Sqm |  | 500.00 | 5505.00 | 500.00 | 5505.00 | 5505.00 | M. P. Sitani and Sons, H.R.INFRACON LTD.
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 9.10 | Cum |  | 7500.00 | 68250.00 | 6500.00 | 59150.00 | 59150.00 | M. P. Sitani and Sons
20.00 | REINFORCED CEMENT CONCRETE WORK Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete: All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum in Ground Floor, in First Floor, in Second FLoor, in Third Floor, Fourth Floor | 170.29 | Cum |  | 7500.00 | 1277175.00 | 7500.00 | 1277175.00 | 1277175.00 | M. P. Sitani and Sons, H.R.INFRACON LTD.
21.00 | REINFORCED CEMENT CONCRETE WORK Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works in Fifth Floor level Concrete of M25 grade with minimum cement content of 330 kg /cum | 36.78 | Cum |  | 7500.00 | 275850.00 | 7000.00 | 257460.00 | 257460.00 | M. P. Sitani and Sons
22.00 | REINFORCED CEMENT CONCRETE WORK Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works in Sixth Floor level Concrete of M25 grade with minimum cement content of 330 kg /cum | 37.52 | Cum |  | 7500.00 | 281400.00 | 7000.00 | 262640.00 | 262640.00 | M. P. Sitani and Sons
23.00 | REINFORCED CEMENT CONCRETE WORK Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works in Mumty Room, Lift Machine Room, OH Reservoir level Concrete of M25 grade with minimum cement content of 330 kg /cum | 22.82 | Cum |  | 7500.00 | 171150.00 | 7000.00 | 159740.00 | 159740.00 | M. P. Sitani and Sons
24.00 | SHUTTERING WORK Centering and shuttering including strutting, propping etc. and removal of form for: b) Suspended floors, roofs, landings, balconies and access platform | 268.40 | Sqm |  | 650.00 | 174460.00 | 450.00 | 120780.00 | 120780.00 | M. P. Sitani and Sons
25.00 | SHUTTERING WORK Centering and shuttering including strutting, propping etc. and removal of form for: e) Stairs, (excluding landings) except spiral-staircases | 66.42 | Sqm |  | 650.00 | 43173.00 | 450.00 | 29889.00 | 29889.00 | M. P. Sitani and Sons
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level: Thermo-Mechanically Treated bars of grade Fe-500D or more. | 30657.40 | Kg, |  | 75.00 | 2299305.00 | 75.00 | 2299305.00 | 2299305.00 | M. P. Sitani and Sons, H.R.INFRACON LTD.
27.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete | 30.00 | Each |  | 226.00 | 6780.00 | 1000.00 | 30000.00 | 6780.00 | H.R.INFRACON LTD.
28.00 | BRICK WORK Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in Cement mortar 1:4 (1 cement : 4 coarse sand) in Ground Floor, in First Floor, in Second FLoor, in Third Floor, Fourth Floor | 145.19 | Cum |  | 7500.00 | 1088925.00 | 6500.00 | 943735.00 | 943735.00 | M. P. Sitani and Sons
29.00 | BRICK WORK Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure in Fifth Floor level in all shapes and sizes in Cement mortar 1:4 (1 cement : 4 coarse sand) | 24.06 | Cum |  | 7500.00 | 180450.00 | 6500.00 | 156390.00 | 156390.00 | M. P. Sitani and Sons
30.00 | BRICK WORK Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure in Sixth Floor level in all shapes and sizes in Cement mortar 1:4 (1 cement : 4 coarse sand) | 34.95 | Cum |  | 7600.00 | 265620.00 | 6500.00 | 227175.00 | 227175.00 | M. P. Sitani and Sons
31.00 | BRICK WORK Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure in Mumty Room, Lift Machine Room, OH Reservoir level in all shapes and sizes in Cement mortar 1:4 (1 cement : 4 coarse sand) | 25.06 | Cum |  | 7700.00 | 192962.00 | 6500.00 | 162890.00 | 162890.00 | M. P. Sitani and Sons
32.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required : In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2841.30 | Kg. |  | 87.34 | 248159.14 | 120.00 | 340956.00 | 248159.14 | H.R.INFRACON LTD.
33.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) upto 10 m | 1235.71 | Sqm |  | 250.00 | 308927.50 | 150.00 | 185356.50 | 185356.50 | M. P. Sitani and Sons
34.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL- 10 to13 m | 124.10 | Sqm |  | 250.00 | 31025.00 | 150.00 | 18615.00 | 18615.00 | M. P. Sitani and Sons
35.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL - 13 to16 m | 121.80 | Sqm |  | 250.00 | 30450.00 | 150.00 | 18270.00 | 18270.00 | M. P. Sitani and Sons
36.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL - 16 to19 m | 121.80 | Sqm |  | 250.00 | 30450.00 | 150.00 | 18270.00 | 18270.00 | M. P. Sitani and Sons
37.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL - 19 to 22 m | 121.80 | Sqm |  | 250.00 | 30450.00 | 150.00 | 18270.00 | 18270.00 | M. P. Sitani and Sons
38.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL - 22 to 25 m | 123.18 | Sqm |  | 250.00 | 30795.00 | 150.00 | 18477.00 | 18477.00 | M. P. Sitani and Sons
39.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL - 25 to 28 m | 125.10 | Sqm |  | 250.00 | 31275.00 | 150.00 | 18765.00 | 18765.00 | M. P. Sitani and Sons
40.00 | 12 MM CEMENT PLASTER 12 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) Note: rate for more than 10 m height from GL - 28 to 31 m | 126.59 | Sqm |  | 250.00 | 31647.50 | 150.00 | 18988.50 | 18988.50 | M. P. Sitani and Sons
41.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix: 1:4 (1 cement: 4 fine sand) | 1183.62 | Sqm |  | 400.00 | 473448.00 | 180.00 | 213051.60 | 213051.60 | M. P. Sitani and Sons
42.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour : Two coats | 2019.70 | Sqm |  | 140.00 | 282758.00 | 150.00 | 302955.00 | 282758.00 | H.R.INFRACON LTD.
43.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content : With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 2019.70 | Sqm |  | 80.00 | 161576.00 | 150.00 | 302955.00 | 161576.00 | H.R.INFRACON LTD.
44.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1009.85 | Sqm |  | 70.00 | 70689.50 | 80.00 | 80788.00 | 70689.50 | H.R.INFRACON LTD.
45.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 1264.00 | Sqm |  | 165.00 | 208560.00 | 100.00 | 126400.00 | 126400.00 | M. P. Sitani and Sons
46.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters : 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 22.81 | Sqm |  | 2600.00 | 59306.00 | 9000.00 | 205290.00 | 59306.00 | H.R.INFRACON LTD.
47.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete : Fixed to steel windows by welding | 1428.00 | Kg. |  | 101.00 | 144228.00 | 120.00 | 171360.00 | 144228.00 | H.R.INFRACON LTD.
48.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 127.05 | Kg. |  | 550.00 | 69877.50 | 500.00 | 63525.00 | 63525.00 | M. P. Sitani and Sons
49.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved makeconforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of gradeAC 15) | 425.04 | Kg. |  | 500.00 | 212520.00 | 500.00 | 212520.00 | 212520.00 | M. P. Sitani and Sons, H.R.INFRACON LTD.
50.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 39.38 | Sqm |  | 2152.00 | 84745.76 | 800.00 | 31504.00 | 31504.00 | M. P. Sitani and Sons
51.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 6.30 | Sqm |  | 2150.00 | 13545.00 | 5200.00 | 32760.00 | 13545.00 | H.R.INFRACON LTD.
52.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS :1868) transparent or dyed to required colour or shade with necessary screws etc. complete 250x10mm. | 8.00 | Each |  | 100.00 | 800.00 | 200.00 | 1600.00 | 800.00 | H.R.INFRACON LTD.
53.00 | Providing and fixing bright finished brass handles with screws etc.complete: 125 mm | 8.00 | Each |  | 500.00 | 4000.00 | 800.00 | 6400.00 | 4000.00 | H.R.INFRACON LTD.
54.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 8.00 | Each |  | 600.00 | 4800.00 | 2500.00 | 20000.00 | 4800.00 | H.R.INFRACON LTD.
55.00 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 8.00 | Each |  | 550.00 | 4400.00 | 150.00 | 1200.00 | 1200.00 | M. P. Sitani and Sons
56.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 8.00 | Each |  | 1650.00 | 13200.00 | 2500.00 | 20000.00 | 13200.00 | H.R.INFRACON LTD.
57.00 | French spirit polishing : Two or more coats on new works including a coat of wood filler | 50.40 | Sqm |  | 570.00 | 28728.00 | 650.00 | 32760.00 | 28728.00 | H.R.INFRACON LTD.
58.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work sqm | 95.55 | Sqm |  | 190.00 | 18154.50 | 80.00 | 7644.00 | 7644.00 | M. P. Sitani and Sons
59.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete : Size of Tile 600x600 mm | 1345.86 | Sqm |  | 861.00 | 1158785.46 | 1400.00 | 1884204.00 | 1158785.46 | H.R.INFRACON LTD.
| Total in Figures |  |  |  |  | 17634617.49 |  | 18439027.05
Lowest Amount Quoted BY: H.R.INFRACON LTD.(17634617.49)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of MSSR Building at Badu TX Station, NSCBI Airport, Kolkata Tender ID: 2024_AAI_205133_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | H.R.INFRACON LTD. | 17634617.49 | L1
| 2 | M. P. Sitani and Sons | 18439027.05 | L2