## BoQ1
Government eProcurement System Created By: Benu Madhab Nayak Created Date/Time: 28-Oct-2024 01:43 PM Tender Title: SITC of Apron Flood Lighting High Masts and allied Electrical Works at New Hangar Apron area, Bhubaneswar. Tender ID: 2024_AAI_205165_1
Tender Inviting Authority: Sr. Manager (Engg-Elect.)
Name of Work: SITC Of Apron Flood Lighting High Masts and allied Electrical Works at New Hangar Apron area, Bhubaneswar Airport.
Contract No: Tender ID: 2024_AAI_205165_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -744178 |  | EASTERN ENGINEERING (GSTN-21AOHPS4038K1ZU) BID ID -744638 |  | BR Power Control and Automation Services (GSTN-06AREPS4024K1ZP) BID ID -745192 |  | SHREE GOURI ELECTRIC ENTERPRISE (GSTN-19ADDPB4683J1ZE) BID ID -745218 |  | Kripa Electronics india pvt ltd (GSTN-27AACCK9472B1ZI) BID ID -746281 |  | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -746350 |  | MANNA ELECTRONICS AND ELECTRICAL WORKS (GSTN-19AALFM9363P2Z6) BID ID -746672 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -748057 |  | M/s JAYANTI ELECTRICALS (GSTN-NA) BID ID -747771 |  | vardhman Airport solutions pvt. Ltd. (GSTN-NA) BID ID -746650 |  | Naturetech Infrastruture Pvt. Ltd. (GSTN-NA) BID ID -747865
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Fabrication, Supply, Installation, Testing and commissioning of High mast shaft of 16 mtrs in minimum Two sections, hot galvanized Steel plates confirming to BSEN 10025:1993 suitable for wind speed as per IS:875,part 3 & Wind speed minimum of 296 Km/Hr with raising lowering system comprising, head frame, lantern carriage suitable to install Minimum 08 Nos. LED luminaries in asymmetrical arrangement, double drum winch, 6 mm diameter SS wire rope, Two number 5C X 2.5 Sq.mm tinned unarmoured copper conductor EPR insulated & PVC sheathed trailing cable from Junction Box of lantern carriage to control panel, one number 3CX4 Sq.mm, PVC insulated, PVC sheathed unarmoured Copper conductor cable for Power tool from control panel, connectors, 415 V, 32 A, 3P+N+E Plug & Sockets, integral power tool motor with mechanically tripping facility & manual handle, terminations Junction Box, lightening finial including the followings.High mast tower shall conform to tender specification & as required complete in all respects. Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as per soil bearing test certificate or 10 T/sqmtr which is higher at 2 metre depth with all materials and labour. Erection of the high mast including all accessories with the help of suitable tools and plants. Installation, testing and commissioning of LED Flood lights upto 08 No's or as per site requirements and 01 No. Twin Type aviation obstruction light on the existing lantern carriage including wiring of all luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm from Junction Box of Lantern Carriage to individual light fittings, lugs, mounting accessories and all labour etc. | 2.00 | Job | 999900.00 | 542500.00 | 1085000.00 | 880000.00 | 1760000.00 | 447207.00 | 894414.00 | 550000.00 | 1100000.00 | 471666.67 | 943333.34 | 700000.00 | 1400000.00 | 485000.00 | 970000.00 | 570000.00 | 1140000.00 | 585000.00 | 1170000.00 | 484375.00 | 968750.00 | 700000.00 | 1400000.00 | 894414.00 | BR Power Control and Automation Services
2.00 | Supply of LED flood light luminaire with secondary optical lens having minimum output of 28800 lm and rated power not exceeding 240 watts with 5 years warranty designed with Powder coated Pressure Die Cast aluminium housing, frame , MS mounting bracket, integral driver with Surge protection, heat resistant toughned glass, Conforming to IP IP66 protection etc. complete as required. (LED & Power Drive Should meet the AAI Specifications ) | 24.00 | Each | 9500.00 | 10000.00 | 240000.00 | 7500.00 | 180000.00 | 15838.00 | 380112.00 | 17000.00 | 408000.00 | 15908.33 | 381799.92 | 7500.00 | 180000.00 | 10000.00 | 240000.00 | 18000.00 | 432000.00 | 13250.00 | 318000.00 | 14438.00 | 346512.00 | 12000.00 | 288000.00 | 180000.00 | EASTERN ENGINEERING, Youngmen Traders
3.00 | Supply of Twin type aviation dome obstruction LED light fitting comprising of aluminium housing and polycarbinate diffuser suitable for operation on 230V;50Hz AC single phase power supply etc. complete as required. | 2.00 | Each | 5200.00 | 3950.00 | 7900.00 | 5500.00 | 11000.00 | 10770.00 | 21540.00 | 8000.00 | 16000.00 | 7608.33 | 15216.66 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 6500.00 | 13000.00 | 9950.00 | 19900.00 | 7975.00 | 15950.00 | 10000.00 | 20000.00 | 7900.00 | jaydeep agency corporation
4.00 | Design, Fabrication, Supply, Installation, Testing & Commissioning of cubicle type, Totally enclosed, double door with sloped roof, Outdoor type (IP55 or higher), floor mounted, fully CRCA steel built feeder pillar fabricated in compartmentalised design made out of 2.0 mm thick CRCA sheet, duly powder coated in approved shade suitable for operation on 415 V, 3 phase , 4 wire, 50 Hz AC supply, TPN aluminium busbars of high conductivity, DMC/SMC busbar supports with bottom base channel with mounting legs made out of steel section of not less than 3mm thickness, entire panel shall have a common copper earthbar of size 20mm X 3 mm at the rear with 2 Nos. earth studs, solid connection from main busbar to switchgears with required size of aluminium busbar, suitable cement concrete foundation, control wiring with FRLS insulated copper conductor cables, cable alleys , cable gland plates, neoprene gaskets, terminal blocks etc to accommodate the following accessories etc. complete as required. I) Incomer MCCBs : 63 A, FP, Breaking capacity of 25kA at 415 Volts MCCB (Ics= 100% Icu) with Thermal magnetic release having O/L & S/C protection - 1 Set II) LED Phase Indication (R,Y,B) lamps ON&OFF indication lamps with control MCBs & 1.5 Sq.mm FRLS Copper wiring - 01 Set III)Ougoing MCBs : 32 A, 10 KA, 4P, C Series MCB - 4 Nos ( two lighting circuit, one motor circuit & one spare) IV) Common 4 Pole,100A capacity Aluminium Busbar. V) Single dial timer switch with 32A FP contactor with 2NO+2NC auxiliary contacts for the automatic switching of Highmast flood lighting - 01 Set VI) Power tool Motor control with Two number 32 A, FP contactors with 2NO+2NC auxiliary contacts, Over load protection and Raise & lower push buttons - 0 1Set (for raising lowering system of Highmast). VII) Remote /Manual operation Selector Switch -01 No. (In Remote Mode, Highmast lighting control through TImer Switch and Manual Mode, highmast Lighting control through manual operation ). VIIi) Necessary Internal control wiring & earthing strip as per specifications. I/C providing & fixing of suitable Rail Mounted Terminal Connectors etc. | 2.00 | Job | 85850.00 | 36000.00 | 72000.00 | 37000.00 | 74000.00 | 99579.00 | 199158.00 | 97500.00 | 195000.00 | 121666.67 | 243333.34 | 125000.00 | 250000.00 | 100500.00 | 201000.00 | 225000.00 | 450000.00 | 85000.00 | 170000.00 | 124188.00 | 248376.00 | 50000.00 | 100000.00 | 72000.00 | jaydeep agency corporation
5.00 | Supply of following size cables of grade 1.1 KV, XLPE insulated, PVC sheathed, armoured Aluminium conductor conforming to IS 7098 (Part 1) amended upto date. 4C X 35 Sq mm | 420.00 | Mtr | 370.00 | 473.00 | 198660.00 | 270.00 | 113400.00 | 277.00 | 116340.00 | 300.00 | 126000.00 | 295.03 | 123912.60 | 250.00 | 105000.00 | 300.80 | 126336.00 | 325.00 | 136500.00 | 275.00 | 115500.00 | 330.00 | 138600.00 | 300.00 | 126000.00 | 105000.00 | Youngmen Traders
6.00 | Supply and making end termination with brass compression gland and aluminium lugs for XLPE Insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade and sizes as required for the following. 4 C X 35 Sq mm | 4.00 | Set | 368.65 | 275.00 | 1100.00 | 350.00 | 1400.00 | 1769.00 | 7076.00 | 280.00 | 1120.00 | 345.83 | 1383.32 | 350.00 | 1400.00 | 310.00 | 1240.00 | 600.00 | 2400.00 | 1500.00 | 6000.00 | 531.00 | 2124.00 | 7000.00 | 28000.00 | 1100.00 | jaydeep agency corporation
7.00 | Supplying of following size , DWC HDPE pipe, ISI marked conforming to IS 14930 Part II with upto date amendments etc.complete as required. a) 63mm dia(outer)/50 mm Dia(inner) | 300.00 | Mtr | 140.00 | 72.00 | 21600.00 | 120.00 | 36000.00 | 101.00 | 30300.00 | 250.00 | 75000.00 | 81.67 | 24501.00 | 85.00 | 25500.00 | 120.00 | 36000.00 | 125.00 | 37500.00 | 250.00 | 75000.00 | 69.00 | 20700.00 | 150.00 | 45000.00 | 20700.00 | vardhman Airport solutions pvt. Ltd.
8.00 | Laying of following size DWC HDPE pipe Complete with all fitting & couplers direct in ground (75 cm below ground level) including excavation and refilling the trench after laying Pipe etc., complete as required. Upto 63mm Dia(outer) | 300.00 | Mtr | 146.45 | 75.00 | 22500.00 | 300.00 | 90000.00 | 157.00 | 47100.00 | 100.00 | 30000.00 | 121.80 | 36540.00 | 105.00 | 31500.00 | 165.00 | 49500.00 | 140.00 | 42000.00 | 250.00 | 75000.00 | 92.00 | 27600.00 | 250.00 | 75000.00 | 22500.00 | jaydeep agency corporation
9.00 | Providing, laying and fixing following dia G.I. pipe (medium class) complete with G.I fittings direct in ground (75 cm below the ground level) including excavation and refilling the trench after laying G.I Pipe etc.complete as required. b) 50 mm dia | 60.00 | Mtrs | 787.80 | 620.00 | 37200.00 | 490.00 | 29400.00 | 996.00 | 59760.00 | 500.00 | 30000.00 | 960.87 | 57652.20 | 650.00 | 39000.00 | 579.00 | 34740.00 | 750.00 | 45000.00 | 750.00 | 45000.00 | 782.00 | 46920.00 | 500.00 | 30000.00 | 29400.00 | EASTERN ENGINEERING
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as reqd. Upto 35 sq. mm | 360.00 | Mtr | 38.38 | 35.00 | 12600.00 | 250.00 | 90000.00 | 97.00 | 34920.00 | 40.00 | 14400.00 | 81.20 | 29232.00 | 40.00 | 14400.00 | 10.00 | 3600.00 | 20.00 | 7200.00 | 185.00 | 66600.00 | 23.00 | 8280.00 | 200.00 | 72000.00 | 3600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
11.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/CableTray as required Upto 35 sq. mm | 60.00 | Mtr | 85.85 | 45.00 | 2700.00 | 250.00 | 15000.00 | 103.00 | 6180.00 | 60.00 | 3600.00 | 81.20 | 4872.00 | 70.00 | 4200.00 | 22.00 | 1320.00 | 20.00 | 1200.00 | 185.00 | 11100.00 | 29.00 | 1740.00 | 200.00 | 12000.00 | 1200.00 | Manish Electricals
12.00 | Supply, installation, testing and commissioning of the following rating and breaking capacity Ics=100%Icu, thermal magnetc release 4P MCCB with spreader terminals and extended rotary handles fixed on existing compartment of MV Panel including providing suitable rating Aluminium Busbar to connect with common busbar and to receive out going cables and making connections etc., complete as required. 63A, 25KA | 2.00 | Each | 6918.50 | 7500.00 | 15000.00 | 38000.00 | 76000.00 | 19243.00 | 38486.00 | 16800.00 | 33600.00 | 14886.67 | 29773.34 | 5500.00 | 11000.00 | 9493.00 | 18986.00 | 9000.00 | 18000.00 | 6000.00 | 12000.00 | 19971.00 | 39942.00 | 20000.00 | 40000.00 | 11000.00 | Youngmen Traders
13.00 | Earthing with G.I. earth pipe of 4 metre long, 40 mm dia including accessories, and providing 300x300x450(H) mm RCC earth pit chamber suitable to receive 6mm thick MS chequered plate with handle, strengthening & compaction of soil below the earth pit chamber including providing suitable ratio PCC, providing & laying Plain Cement Concrete (PCC) (1:2:4) of depth 100mm surrounding the earth pit chamber covering surface area of 01 SqMeter,including providing and fixing of reducer, water funnel with wire mesh arrangement for watering etc. with charcoal/coke and salt as required. | 2.00 | Job | 8585.00 | 5890.00 | 11780.00 | 12000.00 | 24000.00 | 15197.00 | 30394.00 | 7000.00 | 14000.00 | 10906.67 | 21813.34 | 8000.00 | 16000.00 | 6855.00 | 13710.00 | 7500.00 | 15000.00 | 9000.00 | 18000.00 | 7263.00 | 14526.00 | 20000.00 | 40000.00 | 11780.00 | jaydeep agency corporation
14.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories and providing 300x300 X 450(H) mm RCC earth pit chamber suitable to receive 6mm thick MS chequered plate with handle, strengthening & compaction of soil below the earth pit chamber including providing suitable ratio PCC, providing & laying Plain Cement Concrete (PCC) (1:2:4) of depth 100mm surrounding the earth pit chamber covering surface area of 01 SqMeter,including providing and fixing of reducer, water funnel with wire mesh arrangement for watering etc. with charcoal/coke and salt as required. | 4.00 | Job | 7550.00 | 7980.00 | 31920.00 | 5000.00 | 20000.00 | 14609.00 | 58436.00 | 6300.00 | 25200.00 | 10906.67 | 43626.68 | 8200.00 | 32800.00 | 7472.00 | 29888.00 | 9500.00 | 38000.00 | 8000.00 | 32000.00 | 10539.00 | 42156.00 | 25000.00 | 100000.00 | 20000.00 | EASTERN ENGINEERING
15.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode at 0.5 meter below the ground including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 28.00 | Mtrs | 227.00 | 545.00 | 15260.00 | 160.00 | 4480.00 | 716.00 | 20048.00 | 616.00 | 17248.00 | 710.50 | 19894.00 | 425.00 | 11900.00 | 550.00 | 15400.00 | 680.00 | 19040.00 | 750.00 | 21000.00 | 622.00 | 17416.00 | 600.00 | 16800.00 | 4480.00 | EASTERN ENGINEERING
16.00 | Providing and fixing 25mm x 5mm GI strip on surface or in recess from earth electrode to electrical panel/Highmast as required. | 12.00 | Mtrs | 214.00 | 145.00 | 1740.00 | 200.00 | 2400.00 | 221.00 | 2652.00 | 112.00 | 1344.00 | 169.17 | 2030.04 | 125.00 | 1500.00 | 150.00 | 1800.00 | 480.00 | 5760.00 | 750.00 | 9000.00 | 178.00 | 2136.00 | 400.00 | 4800.00 | 1344.00 | SHREE GOURI ELECTRIC ENTERPRISE
17.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 18.00 | Mtrs | 120.00 | 155.00 | 2790.00 | 200.00 | 3600.00 | 298.00 | 5364.00 | 140.00 | 2520.00 | 710.50 | 12789.00 | 200.00 | 3600.00 | 120.00 | 2160.00 | 540.00 | 9720.00 | 600.00 | 10800.00 | 178.00 | 3204.00 | 700.00 | 12600.00 | 2160.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
18.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres and Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 3.00 | Cu.m | 9873.00 | 750.00 | 2250.00 | 650.00 | 1950.00 | 19965.00 | 59895.00 | 7000.00 | 21000.00 | 10826.67 | 32480.01 | 7000.00 | 21000.00 | 6600.00 | 19800.00 | 1000.00 | 3000.00 | 7500.00 | 22500.00 | 11500.00 | 34500.00 | 5000.00 | 15000.00 | 1950.00 | EASTERN ENGINEERING
| Total in Figures |  |  |  |  | 1782000.00 |  | 2532630.00 |  | 2012175.00 |  | 2114032.00 |  | 2024182.79 |  | 2158800.00 |  | 1774480.00 |  | 2415320.00 |  | 2197400.00 |  | 1979432.00 |  | 2425200.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(1774480.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Apron Flood Lighting High Masts and allied Electrical Works at New Hangar Apron area, Bhubaneswar. Tender ID: 2024_AAI_205165_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS (BID ID -746672) | 1774480.00 | L1
| 2 | jaydeep agency corporation (BID ID -744178) | 1782000.00 | L2
| 3 | vardhman Airport solutions pvt. Ltd. (BID ID -746650) | 1979432.00 | L3
| 4 | BR Power Control and Automation Services (BID ID -745192) | 2012175.00 | L4
| 5 | Kripa Electronics india pvt ltd (BID ID -746281) | 2024182.79 | L5
| 6 | SHREE GOURI ELECTRIC ENTERPRISE (BID ID -745218) | 2114032.00 | L6
| 7 | Youngmen Traders (BID ID -746350) | 2158800.00 | L7
| 8 | M/s JAYANTI ELECTRICALS (BID ID -747771) | 2197400.00 | L8
| 9 | Manish Electricals (BID ID -748057) | 2415320.00 | L9
| 10 | Naturetech Infrastruture Pvt. Ltd. (BID ID -747865) | 2425200.00 | L10
| 11 | EASTERN ENGINEERING (BID ID -744638) | 2532630.00 | L11