## BoQ1
Government eProcurement System Created By: Subhra Santa Ghosh Created Date/Time: 20-Sep-2024 03:30 PM Tender Title: Replacement of existing High mast Light fixtures by EMI-EMC complied LED light fixtures in Bagdogra Airport. Tender ID: 2024_AAI_205525_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Replacement of existing High Mast light fixtures by EMI - EMC complied LED light fixtures in Bagdogra Airport.
Contract No: 2024_AAI_205525_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAHA COMMERCIAL CONSTRUCTION (GSTN-19AASFS6288A1ZN) BID ID -735667 |  | SKYLINE ENGINEERS (GSTN-27APZPD0679L1Z4) BID ID -736410 |  | M/S TECHNO INDIA (GSTN-19AGWPD1605J1Z7) BID ID -741518 |  | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -742992 |  | SHREE GOURI ELECTRIC ENTERPRISE (GSTN-19ADDPB4683J1ZE) BID ID -743065 |  | Mankha Electrotech Pvt Ltd(GSTN-NA)--743577 |  | M/S SUPARNA ELECTRICALS(GSTN-NA)--743543 |  | SAURABH ENTERPRISES(GSTN-NA)--743446
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & fixing of EMI-EMC complied 400W LED type floodlight luminaire (with mounting bracket for aiming adjustment) suitable to operate on 1Ø, 50 Hz, AC supply with control gear and all other accessories complete as required for installation at site conforming to technical specification attached. | 54.00 | Each | 20229.00 | 14000.00 | 756000.00 | 12400.00 | 669600.00 | 18400.00 | 993600.00 | 14000.00 | 756000.00 | 16800.00 | 907200.00 | 17200.00 | 928800.00 | 16525.00 | 892350.00 | 16500.00 | 891000.00 | 669600.00 | SKYLINE ENGINEERS
2.00 | Supply of EMI-EMC complied 400W LED type floodlight luminaire (with mounting bracket for aiming adjustment) suitable to operate on 1Ø, 50 Hz, AC supply with control gear and all other accessories complete as required for installation at site conforming to technical specification attached. | 5.00 | Each | 20123.00 | 14000.00 | 70000.00 | 12350.00 | 61750.00 | 18000.00 | 90000.00 | 13500.00 | 67500.00 | 16800.00 | 84000.00 | 16800.00 | 84000.00 | 16100.00 | 80500.00 | 16000.00 | 80000.00 | 61750.00 | SKYLINE ENGINEERS
3.00 | Dismantling of existing luminaires (including keeping the dismantlled fittings in AAI store within a distance of 200 Mtr.) from each high mast tower by lowerng the high mast carriage unit including Servicing of existing High Mast Towers different components including changing of gear oil, proper greasing/lubrication of necessary components, proper allignment of pully/motor/carraige units etc. and laying/termination/connection of cable (5c x 2.5Sqmm) from control unit to light fittings as required as per site condition. | 9.00 | Job | 8537.00 | 25000.00 | 225000.00 | 2000.00 | 18000.00 | 4000.00 | 36000.00 | 10000.00 | 90000.00 | 1750.00 | 15750.00 | 1200.00 | 10800.00 | 3815.00 | 34335.00 | 1500.00 | 13500.00 | 10800.00 | Mankha Electrotech Pvt Ltd
4.00 | Lifting of high mast carriage unit with new fittings with the help of required tools & tackles to its original position including testing and commissioning of light fittings from the panels as per the site requirement. | 9.00 | Job | 461.00 | 7500.00 | 67500.00 | 1000.00 | 9000.00 | 300.00 | 2700.00 | 5000.00 | 45000.00 | 1750.00 | 15750.00 | 4200.00 | 37800.00 | 1695.00 | 15255.00 | 1500.00 | 13500.00 | 2700.00 | M/S TECHNO INDIA
5.00 | Supply of 5c x 2.5 sq. mm XLPE insulated and PVC Sheathed, Copper Conductor (unarmoured) industrial cable of 1.1 KV grade conforming to IS 7098 (Part 1),1988 with up to date amendments. | 200.00 | Mtr. | 374.00 | 160.00 | 32000.00 | 200.00 | 40000.00 | 160.00 | 32000.00 | 180.00 | 36000.00 | 250.00 | 50000.00 | 123.00 | 24600.00 | 330.00 | 66000.00 | 390.00 | 78000.00 | 24600.00 | Mankha Electrotech Pvt Ltd
6.00 | Supply and fixing of single dome LED type aviation obstruction light of 9W (minimum) suitable to operate on 1Ø, 50 Hz, AC supply with all types of accessories complete as required for installation at site. | 9.00 | Job | 726.00 | 4500.00 | 40500.00 | 3000.00 | 27000.00 | 1900.00 | 17100.00 | 4200.00 | 37800.00 | 1400.00 | 12600.00 | 4200.00 | 37800.00 | 8900.00 | 80100.00 | 6000.00 | 54000.00 | 12600.00 | SHREE GOURI ELECTRIC ENTERPRISE
7.00 | Supply of 4c x 25 sq. mm XLPE insulated and PVC Sheathed, Aluminium Conductor (armoured) industrial cable of 1.1 KV grade conforming to IS 7098 (Part 1),1988 with up to date amendments. | 500.00 | Mtr. | 377.00 | 170.00 | 85000.00 | 200.00 | 100000.00 | 160.00 | 80000.00 | 175.00 | 87500.00 | 270.00 | 135000.00 | 141.00 | 70500.00 | 250.00 | 125000.00 | 300.00 | 150000.00 | 70500.00 | Mankha Electrotech Pvt Ltd
8.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. (a) Upto 35 Sqmm. | 170.00 | Mtr. | 34.00 | 60.00 | 10200.00 | 10.00 | 1700.00 | 20.00 | 3400.00 | 40.00 | 6800.00 | 35.00 | 5950.00 | 42.00 | 7140.00 | 60.00 | 10200.00 | 50.00 | 8500.00 | 1700.00 | SKYLINE ENGINEERS
9.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. (a) Upto 35 Sqmm. | 30.00 | Mtr. | 25.00 | 50.00 | 1500.00 | 10.00 | 300.00 | 15.00 | 450.00 | 35.00 | 1050.00 | 35.00 | 1050.00 | 33.00 | 990.00 | 47.00 | 1410.00 | 50.00 | 1500.00 | 300.00 | SKYLINE ENGINEERS
10.00 | Supply & fixing of stainless steel wire rope of 8mm dia including termination at both end complete as required as per site requirement. | 50.00 | Mtr. | 223.00 | 225.00 | 11250.00 | 200.00 | 10000.00 | 60.00 | 3000.00 | 125.00 | 6250.00 | 20.00 | 1000.00 | 240.00 | 12000.00 | 178.00 | 8900.00 | 90.00 | 4500.00 | 1000.00 | SHREE GOURI ELECTRIC ENTERPRISE
11.00 | Supply & fxing of motor base plate of existing High Mast Tower unit with proper allignment as per site requirement. | 1.00 | Job | 3659.00 | 3500.00 | 3500.00 | 500.00 | 500.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 24000.00 | 24000.00 | 3560.00 | 3560.00 | 5000.00 | 5000.00 | 500.00 | SKYLINE ENGINEERS
| Total in Figures |  |  |  |  | 1302450.00 |  | 937850.00 |  | 1261250.00 |  | 1137400.00 |  | 1231800.00 |  | 1238430.00 |  | 1317610.00 |  | 1299500.00
Lowest Amount Quoted BY: SKYLINE ENGINEERS(937850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing High mast Light fixtures by EMI-EMC complied LED light fixtures in Bagdogra Airport. Tender ID: 2024_AAI_205525_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SKYLINE ENGINEERS | 937850.00 | L1
| 2 | Youngmen Traders | 1137400.00 | L2
| 3 | SHREE GOURI ELECTRIC ENTERPRISE | 1231800.00 | L3
| 4 | Mankha Electrotech Pvt Ltd | 1238430.00 | L4
| 5 | M/S TECHNO INDIA | 1261250.00 | L5
| 6 | SAURABH ENTERPRISES | 1299500.00 | L6
| 7 | SAHA COMMERCIAL CONSTRUCTION | 1302450.00 | L7
| 8 | M/S SUPARNA ELECTRICALS | 1317610.00 | L8