## BoQ1
Government eProcurement System Created By: KUMAR RIJENDRA Created Date/Time: 27-Sep-2024 06:35 PM Tender Title: Supply, Installation, Testing and Commissioning of Fire Alarm system at Old Terminal Building and Old ATC Tower Building at B.M Airport Ranchi. Tender ID: 2024_AAI_206538_1
Tender Inviting Authority: SM (E-E), AAI, B.M.airport, Ranchi
Name of Work: Supply, Installation, Testing and Commissioning of Fire Alarm system at Old Terminal Building & Old ATC Tower Building at B.M Airport Ranchi.
Contract No: 2024_AAI_206538_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Globe Detective Agency Pvt. Ltd. (GSTN-19AAACG1108N1ZN) BID ID -745155 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -746756 |  | Security Engineers Private Limited (GSTN-19AAGCS9649J1ZJ) BID ID -746905 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -746955 |  | VOID FIRE CONSULTANTS(GSTN-NA)--747345 |  | ILLUMECH ENGINEERING(GSTN-NA)--747270 |  | FOXTECH MECH ENGINEERS PRIVATE LIMITED(GSTN-NA)--743855
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, installation, testing and commissioning of two loop micro processor based intelligent addressable main fire alarm panel, central processing unit with the following loop modules and capable of supporting not less than 240 devices (including detectors) and minimum 120 detectors per loop and loop length up to 2 km, network communication card, minimum 320 character graphics/ LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM), power supply unit (230 ± 5% V, 50 hz), 48 hrs back-up with 24 volt sealed maintenance free batteries with automatic charger. The panel shall have facility to connect printer to printout log and facility to have seamless integration with analog/digital voice evacuation system (which is part of the schedule of work under SH: PA System) and shall be complete with all accessories . The panel shall be compatible for IBMS system with open protocol BACnet/ Modbus over IP complete as per specification etc as required. (Make : Honeywell or equivalent) | 1.00 | Job | 353500.00 | 500544.00 | 500544.00 | 216780.00 | 216780.00 | 305970.00 | 305970.00 | 275000.00 | 275000.00 | 255000.00 | 255000.00 | 412765.00 | 412765.00 | 518180.80 | 518180.80 | 216780.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.00 | Supplying, installation, testing & commissioning of repeater panel wih 320 character/ Touch screen LCD display with inbuilt reset, acknowledge and silence switches complete as required. (Make : Honeywell or equivalent) | 1.00 | Each | 189072.00 | 69076.00 | 69076.00 | 68750.00 | 68750.00 | 26274.00 | 26274.00 | 100000.00 | 100000.00 | 89500.00 | 89500.00 | 221765.00 | 221765.00 | 112400.00 | 112400.00 | 26274.00 | Security Engineers Private Limited
3.00 | Supplying, installation, testing & commissioning of intelligent analog addressable Multi criteria detector complete with mounting base complete as required. (Make : Honeywell or equivalent) | 180.00 | Each | 5555.00 | 3360.00 | 604800.00 | 3640.00 | 655200.00 | 3239.00 | 583020.00 | 4500.00 | 810000.00 | 4250.00 | 765000.00 | 3100.00 | 558000.00 | 3750.00 | 675000.00 | 558000.00 | ILLUMECH ENGINEERING
4.00 | Supplying, installation, testing & commissioning of response indicator on surface/recessed MS Box having two LED, metallic cover complete with all connections etc as required. (Make : Honeywell or equivalent) | 60.00 | Each | 505.00 | 182.00 | 10920.00 | 100.00 | 6000.00 | 200.00 | 12000.00 | 500.00 | 30000.00 | 338.20 | 20292.00 | 90.00 | 5400.00 | 406.00 | 24360.00 | 5400.00 | ILLUMECH ENGINEERING
5.00 | Supplying, installation, testing & commisssioning of intelligent addressable programmable strobe cum sounder complete as required. (Make : Honeywell or equivalent) | 10.00 | Each | 6565.00 | 3784.00 | 37840.00 | 6230.00 | 62300.00 | 5521.00 | 55210.00 | 6500.00 | 65000.00 | 9523.00 | 95230.00 | 6573.00 | 65730.00 | 10404.00 | 104040.00 | 37840.00 | Globe Detective Agency Pvt. Ltd.
6.00 | Supplying, installation, testing & commissioning of addressable fire control module complete as required. (Make : Honeywell or equivalent) | 2.00 | Each | 4545.00 | 5527.00 | 11054.00 | 5960.00 | 11920.00 | 2953.00 | 5906.00 | 4500.00 | 9000.00 | 4975.00 | 9950.00 | 3459.00 | 6918.00 | 4018.00 | 8036.00 | 5906.00 | Security Engineers Private Limited
7.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. (Make : Honeywell or equivalent) | 10.00 | Each | 6565.00 | 6543.00 | 65430.00 | 3570.00 | 35700.00 | 3126.00 | 31260.00 | 6500.00 | 65000.00 | 4713.00 | 47130.00 | 6289.00 | 62890.00 | 4009.50 | 40095.00 | 31260.00 | Security Engineers Private Limited
8.00 | Supplying, installation, testing & commissioning of addressable fault isolator module complete as required. (Make : Honeywell or equivalent) | 1.00 | Each | 3535.00 | 5572.00 | 5572.00 | 1330.00 | 1330.00 | 2488.00 | 2488.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 3276.00 | 3276.00 | 4174.50 | 4174.50 | 1330.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
9.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath on surface/tray/pipe etc complete as required. | 2500.00 | Metre | 152.00 | 175.50 | 438750.00 | 110.00 | 275000.00 | 127.00 | 317500.00 | 150.00 | 375000.00 | 160.50 | 401250.00 | 120.00 | 300000.00 | 180.00 | 450000.00 | 275000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
10.00 | SITC of Auto dialer. | 1.00 | Each | 20200.00 | 19645.00 | 19645.00 | 15300.00 | 15300.00 | 7317.00 | 7317.00 | 10000.00 | 10000.00 | 10600.00 | 10600.00 | 16983.00 | 16983.00 | 16250.00 | 16250.00 | 7317.00 | Security Engineers Private Limited
| Total in Figures |  |  |  |  | 1763631.00 |  | 1348280.00 |  | 1346945.00 |  | 1742500.00 |  | 1697952.00 |  | 1653727.00 |  | 1952536.30
Lowest Amount Quoted BY: Security Engineers Private Limited(1346945.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning of Fire Alarm system at Old Terminal Building and Old ATC Tower Building at B.M Airport Ranchi. Tender ID: 2024_AAI_206538_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Security Engineers Private Limited | 1346945.00 | L1
| 2 | PYROGUARD ENGINEERS PRIVATE LIMITED | 1348280.00 | L2
| 3 | ILLUMECH ENGINEERING | 1653727.00 | L3
| 4 | VOID FIRE CONSULTANTS | 1697952.00 | L4
| 5 | CENTRE TAP ENGINEERING | 1742500.00 | L5
| 6 | Globe Detective Agency Pvt. Ltd. | 1763631.00 | L6
| 7 | FOXTECH MECH ENGINEERS PRIVATE LIMITED | 1952536.30 | L7