## BoQ1
Government eProcurement System Created By: DAVIRI SARATH BABU Created Date/Time: 03-Oct-2024 12:59 PM Tender Title: FS OHT Static Tank Tender ID: 2024_AAI_206564_1
Tender Inviting Authority: Asst. Gen. Manger (Engg-C), AAI, Rajahmundry Airport
Name of Work: Construction Overhead Water Tank, Static Tank and provision of Hard stand around OHT, Static Tank & Pre-Determined Point for Category VI of Firefighting system at Rajahmundry Airport
Contract No: 2024_AAI_206564_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD (GSTN-19AAGCR6941N1ZN) BID ID -744972 |  | AD CONSTRUCTIONS (GSTN-29ABMFA7613A2ZK) BID ID -748095 |  | B K M CONSTRUCTIONS (GSTN-37ACVPV9775G1ZC) BID ID -748376 |  | R ENGINEERING (GSTN-NA) BID ID -748345 |  | SRI KARTHIKEYA ENTERPRISES (GSTN-NA) BID ID -748013
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in?charge. All kinds of soil. | 532.00 | cum |  | 160.00 | 85120.00 | 200.00 | 106400.00 | 165.00 | 87780.00 | 150.00 | 79800.00 | 180.00 | 95760.00 | 79800.00 | R ENGINEERING
2.00 | Carriage of materials by mechanical transport inicluding loading, unloading and stacking : lead upto 1.0 km for earth. | 266.00 | cum |  | 160.00 | 42560.00 | 200.00 | 53200.00 | 195.00 | 51870.00 | 150.00 | 39900.00 | 200.00 | 53200.00 | 39900.00 | R ENGINEERING
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidation each deposited layer by ramming and watering, lead up to 50 m and lif.t upto 1.5 m | 48.00 | cum |  | 160.00 | 7680.00 | 200.00 | 9600.00 | 180.00 | 8640.00 | 140.00 | 6720.00 | 250.00 | 12000.00 | 6720.00 | R ENGINEERING
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil. | 106.00 | cum |  | 110.00 | 11660.00 | 150.00 | 15900.00 | 110.00 | 11660.00 | 20.00 | 2120.00 | 100.00 | 10600.00 | 2120.00 | R ENGINEERING
5.00 | Supplying and filling in plinth with river sand under floors including, watering, ramming consolidating and dressing complete. | 8.00 | cum |  | 2000.00 | 16000.00 | 2000.00 | 16000.00 | 1950.00 | 15600.00 | 1500.00 | 12000.00 | 1800.00 | 14400.00 | 12000.00 | R ENGINEERING
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size). | 8.00 | cum |  | 6000.00 | 48000.00 | 5500.00 | 44000.00 | 5350.00 | 42800.00 | 5500.00 | 44000.00 | 5000.00 | 40000.00 | 40000.00 | SRI KARTHIKEYA ENTERPRISES
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete. | 91.00 | sqm |  | 360.00 | 32760.00 | 450.00 | 40950.00 | 375.00 | 34125.00 | 400.00 | 36400.00 | 400.00 | 36400.00 | 32760.00 | RECHI CONSTRUCTION PVT LTD
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 244.00 | sqm |  | 650.00 | 158600.00 | 550.00 | 134200.00 | 775.00 | 189100.00 | 450.00 | 109800.00 | 800.00 | 195200.00 | 109800.00 | R ENGINEERING
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balcories and access platform. | 59.00 | sqm |  | 750.00 | 44250.00 | 550.00 | 32450.00 | 850.00 | 50150.00 | 800.00 | 47200.00 | 1000.00 | 59000.00 | 32450.00 | AD CONSTRUCTIONS
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 87.00 | sqm |  | 600.00 | 52200.00 | 550.00 | 47850.00 | 675.00 | 58725.00 | 700.00 | 60900.00 | 900.00 | 78300.00 | 47850.00 | AD CONSTRUCTIONS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts. | 108.00 | sqm |  | 600.00 | 64800.00 | 550.00 | 59400.00 | 845.00 | 91260.00 | 600.00 | 64800.00 | 950.00 | 102600.00 | 59400.00 | AD CONSTRUCTIONS
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls. Under 20 cm wide | 44.00 | mtr |  | 200.00 | 8800.00 | 550.00 | 24200.00 | 180.00 | 7920.00 | 900.00 | 39600.00 | 200.00 | 8800.00 | 7920.00 | B K M CONSTRUCTIONS
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls. Above 20 cm wide | 6.00 | sqm |  | 750.00 | 4500.00 | 550.00 | 3300.00 | 725.00 | 4350.00 | 900.00 | 5400.00 | 900.00 | 5400.00 | 3300.00 | AD CONSTRUCTIONS
14.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured).Suspended floors, roofs, landing, beams and balconies (Plan area to be measured). | 96.00 | sqm |  | 250.00 | 24000.00 | 500.00 | 48000.00 | 335.00 | 32160.00 | 2000.00 | 192000.00 | 400.00 | 38400.00 | 24000.00 | RECHI CONSTRUCTION PVT LTD
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Themo-Mechanically Treated bars. | 5500.00 | kgs |  | 85.00 | 467500.00 | 80.00 | 440000.00 | 97.00 | 533500.00 | 83.00 | 456500.00 | 90.00 | 495000.00 | 440000.00 | AD CONSTRUCTIONS
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Themo-Mechanically Treated bars. | 5900.00 | kgs |  | 85.00 | 501500.00 | 80.00 | 472000.00 | 97.00 | 572300.00 | 83.00 | 489700.00 | 90.00 | 531000.00 | 472000.00 | AD CONSTRUCTIONS
17.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work;using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete.All works upto plinth level. Concrete of M25 grade with minimum cement content of 330 kg /cum. Extra cement above the minimum specified cement content in design mix shall be payable separately as per approved mix design. | 45.00 | cum |  | 7000.00 | 315000.00 | 7300.00 | 328500.00 | 6350.00 | 285750.00 | 6500.00 | 292500.00 | 6200.00 | 279000.00 | 279000.00 | SRI KARTHIKEYA ENTERPRISES
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work;using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. All works above plinth level upto floor V level. Concrete of M25 grade with minimum cement content of 330 kg /cum Extra cement above the minimum specified cement content in design mix shall be payable separately as per approved mix design. | 59.00 | cum |  | 7500.00 | 442500.00 | 7300.00 | 430700.00 | 6350.00 | 374650.00 | 7500.00 | 442500.00 | 7600.00 | 448400.00 | 374650.00 | B K M CONSTRUCTIONS
19.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 10.00 | qtl |  | 500.00 | 5000.00 | 100.00 | 1000.00 | 650.00 | 6500.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 1000.00 | AD CONSTRUCTIONS
20.00 | Steel work welded in built up sections/ framed work including cutting, hoistign, fixing in position and applying a priming coat of approved steel primer using structural steel etc as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 800.00 | kgs |  | 120.00 | 96000.00 | 140.00 | 112000.00 | 145.00 | 116000.00 | 100.00 | 80000.00 | 180.00 | 144000.00 | 80000.00 | R ENGINEERING
21.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 160 mm. | 50.00 | nos |  | 200.00 | 10000.00 | 100.00 | 5000.00 | 185.00 | 9250.00 | 100.00 | 5000.00 | 300.00 | 15000.00 | 5000.00 | AD CONSTRUCTIONS, R ENGINEERING
22.00 | 6 mm cement plaster of mix : 1:3 ( 1 cement : 3 fine sand). | 270.00 | sqm |  | 220.00 | 59400.00 | 300.00 | 81000.00 | 265.00 | 71550.00 | 400.00 | 108000.00 | 225.00 | 60750.00 | 59400.00 | RECHI CONSTRUCTION PVT LTD
23.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 270.00 | sqm |  | 130.00 | 35100.00 | 120.00 | 32400.00 | 145.00 | 39150.00 | 120.00 | 32400.00 | 120.00 | 32400.00 | 32400.00 | SRI KARTHIKEYA ENTERPRISES, AD CONSTRUCTIONS, R ENGINEERING
24.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work. | 100.00 | sqm |  | 110.00 | 11000.00 | 150.00 | 15000.00 | 130.00 | 13000.00 | 140.00 | 14000.00 | 120.00 | 12000.00 | 11000.00 | RECHI CONSTRUCTION PVT LTD
25.00 | Cement concrete in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. Concrete of M25 grade with minimum cement content of 330 kg /cum. Extra cement above the minimum specified cement content in design mix shall be payable separately as per approved mix design. | 230.00 | cum |  | 6800.00 | 1564000.00 | 7000.00 | 1610000.00 | 6290.00 | 1446700.00 | 6500.00 | 1495000.00 | 5100.00 | 1173000.00 | 1173000.00 | SRI KARTHIKEYA ENTERPRISES
26.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the engineer in charge. | 400.00 | per cm depth per cm width per metre length |  | 9.00 | 3600.00 | 100.00 | 40000.00 | 36.50 | 14600.00 | 20.00 | 8000.00 | 11.00 | 4400.00 | 3600.00 | RECHI CONSTRUCTION PVT LTD
27.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motorgrader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-III (size range 26.5 mm to 0.075 mm ) having CBR Value-20. | 183.00 | cum |  | 2250.00 | 411750.00 | 2500.00 | 457500.00 | 1990.00 | 364170.00 | 1800.00 | 329400.00 | 1650.00 | 301950.00 | 301950.00 | SRI KARTHIKEYA ENTERPRISES
28.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 138.00 | cum |  | 2250.00 | 310500.00 | 2800.00 | 386400.00 | 2090.00 | 288420.00 | 1800.00 | 248400.00 | 1650.00 | 227700.00 | 227700.00 | SRI KARTHIKEYA ENTERPRISES
29.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 50 mm nominal dia Pipes. | 150.00 | mtr |  | 850.00 | 127500.00 | 1000.00 | 150000.00 | 850.00 | 127500.00 | 400.00 | 60000.00 | 1000.00 | 150000.00 | 60000.00 | R ENGINEERING
30.00 | Providing and fixing G.I. pipes complete with G.I. fittigns and clamps, including cutting and making good the walls etc. 50 mm dia. Nominal bore. | 20.00 | mtr |  | 1050.00 | 21000.00 | 1500.00 | 30000.00 | 990.00 | 19800.00 | 800.00 | 16000.00 | 1000.00 | 20000.00 | 16000.00 | R ENGINEERING
31.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :50 to 80 mm nominal bore. | 1.00 | nos |  | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1600.00 | 1600.00 | 2000.00 | 2000.00 | 1650.00 | 1650.00 | 1600.00 | B K M CONSTRUCTIONS
32.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) 50 mm nominal bore. | 2.00 | nos |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 900.00 | 1800.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 1000.00 | SRI KARTHIKEYA ENTERPRISES
33.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws including excavation,refilling the earth or cutting of wall and making good the same complete wherever required : 50mm nominal bore. | 2.00 | nos |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1410.00 | 2820.00 | 1000.00 | 2000.00 | 1450.00 | 2900.00 | 2000.00 | R ENGINEERING
34.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality. H D - 20. Circular shape 560 mm internal diameter. | 8.00 | nos |  | 1500.00 | 12000.00 | 5000.00 | 40000.00 | 1520.00 | 12160.00 | 800.00 | 6400.00 | 1550.00 | 12400.00 | 6400.00 | R ENGINEERING
35.00 | Providing and mixing integral crystalline admixture for water proofing treatment to RCC structures like basement raft, retaining walls, reservior, sewage & water treatment plant, tunnels/subway and bridge deck etc. at the time of transporting of sconcrete into the drum of the ready-mix truck, using integral crystalline admixture @0.80% (minimum) to the weight of cement content per cubic meter of concrete or higher as recommended by the manufacturer's specification in reinforced cement concrete at site of work. The material shall meet the requirements as specified in ACI-212-3R-2010 ie., by reducing permeability of concrete by more than 90% compared with control concrete s per DIN 1048 and resistant to 16 bar hydrostatic pressure. The crystalline admixture shall be capable of self healing of cracks upto a width of 0.50mm. the work shall be carried out all complete as per specification and the direction of lthe Engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage.(Treated finished area will be measured for payment) | 300.00 | kgs |  | 350.00 | 105000.00 | 150.00 | 45000.00 | 361.00 | 108300.00 | 400.00 | 120000.00 | 400.00 | 120000.00 | 45000.00 | AD CONSTRUCTIONS
36.00 | Water proofing of Static Tank inner and outer surface.The method consists of application of 2 coats of Dr.Fixit Fastflex(or equivalent) a two component cementitious waterproofing system. Operation 1: Base preparation of cleaning, brushing and removal of flaky materials etc, Operation 2: Opening the construction joints, corner of the wall and slab, Cracks in ‘V’ groove up to 20mm depth and width. providing hunching to the corner of the slab with Cement mortar mixed with Dr.Fixit Pidicrete URP(or equivalent) @ 1.5Kg/bag of cement .After completing the above all the given treatment, Applying & supplying of a two component of Dr.Fixit Fastflex(or equivalent) acrylic cementitious coating system @ 2.1 kg/sqm in 2 coats.. At the time of second coat sand will be sprinkled over the coated surface to get proper bonding for Protective plastering , The coating to be extened in the wall up to 450mm height from Finished floor level.Plastering of 20 mm thickness over the applied waterproofing membrane with CM 1:4 (1Cement : 4 M .sand) ) to be mixed with Intergeral waterproofing compound Dr.Fixit Pidiproof LW+(or equivalent) at a dosage of 200ml/50 kg bag of cement compound.(Treated finished area will be measured for payment) | 179.00 | sqm |  | 800.00 | 143200.00 | 500.00 | 89500.00 | 1050.00 | 187950.00 | 800.00 | 143200.00 | 1000.00 | 179000.00 | 89500.00 | AD CONSTRUCTIONS
37.00 | Waterproofing of Over head water tank inner surface.The method consists of application of 2 coats of Dr.Fixit Fastflex(or equivalent) a two component cementitious waterproofing system. Operation 1: Base preparation of cleaning, brushing and removal of flaky materials etc, Operation 2: Opening the construction joints, corner of the wall and slab, Cracks in ‘V’ groove up to 20mm depth and width. providing hunching to the corner of the slab with Cement mortar mixed with Dr.Fixit Pidicrete URP(or equivalent) @ 1.5Kg/bag of cement .After completing the above all the given treatment, Applying & supplying of a two component of Dr.Fixit Fastflex(or equivalent) acrylic cementitious coating system @ 2.1 kg/sqm in 2 coats.. At the time of second coat sand will be sprinkled over the coated surface to get proper bonding for Protective plastering , The coating to be extened in the wall up to 450mm height from Finished floor level. Plastering of 20 mm thickness over the applied waterproofing membrane with CM 1:4 (1Cement : 4 M .sand) ) to be mixed with Intergeral waterproofing compound Dr.Fixit Pidiproof LW+(or equivalent) at a dosage of 200ml/50 kg bag of cement compound. | 74.00 | sqm |  | 800.00 | 59200.00 | 500.00 | 37000.00 | 1100.00 | 81400.00 | 800.00 | 59200.00 | 1000.00 | 74000.00 | 37000.00 | AD CONSTRUCTIONS
38.00 | Providing and laying polythene sheet 400 micron thick confirming to IS 2508 anti friction layer on the surface course complete as per specifications with specified overlaps between adjacent and transverse strips, only plan area will be measured for payment, as directed by the engineer in charge. | 915.00 | sqm |  | 40.00 | 36600.00 | 250.00 | 228750.00 | 11.48 | 10504.20 | 100.00 | 91500.00 | 69.00 | 63135.00 | 10504.20 | B K M CONSTRUCTIONS
39.00 | Providing and fixing brass gate valve of ZOLOTO or equivalent in water supply line, all complete as per direction of Engineer-in-Charge. 50 mm nominal bore. | 2.00 | nos |  | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 4150.00 | 8300.00 | 4500.00 | 9000.00 | 2600.00 | 5200.00 | 4000.00 | AD CONSTRUCTIONS
40.00 | Providing and fixing PVC foot step reinforced with 12mm dia MS rod having length 165mm width 170mm, thickness 25mm for UG sump tank or overhead water tank etc. | 25.00 | nos |  | 350.00 | 8750.00 | 400.00 | 10000.00 | 271.00 | 6775.00 | 500.00 | 12500.00 | 400.00 | 10000.00 | 6775.00 | B K M CONSTRUCTIONS
41.00 | Compacting original ground supporting sub-grade Loosening, leveling and Compacting original ground supporting embankment to facilitate placement of first layer of embankment, scarified to a depth of 150 mm, mixed with water at OMC and then compacted by rolling so as to achieve minimum dry density as given in Table 300-2 for embankment construction. | 915.00 | Sqm |  | 70.00 | 64050.00 | 110.00 | 100650.00 | 125.00 | 114375.00 | 30.00 | 27450.00 | 48.00 | 43920.00 | 27450.00 | R ENGINEERING
42.00 | Carrying out Structural design of elevated (Around 10 mtr) Rectangular Over Head Tank of capacity 50000 litres and Rectangular UG sump of capacity 100000 litres for the given SBC by AAI and submission of detailed structural design and drawings etc complete as per the direction of Engineer-in-Incharge. The design and drawing shall be vetted by any Government Engineering college or university. | 1.00 | job |  | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 95000.00 | 95000.00 | 150000.00 | 150000.00 | 78000.00 | 78000.00 | 25000.00 | AD CONSTRUCTIONS
| Total in Figures |  |  |  |  | 5475080.00 |  | 5816850.00 |  | 5599964.20 |  | 5461290.00 |  | 5242865.00
Lowest Amount Quoted BY: SRI KARTHIKEYA ENTERPRISES(5242865.00)

## BOQ Summary
BOQ Summary Details Tender Title: FS OHT Static Tank Tender ID: 2024_AAI_206564_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI KARTHIKEYA ENTERPRISES (BID ID -748013) | 5242865.00 | L1
| 2 | R ENGINEERING (BID ID -748345) | 5461290.00 | L2
| 3 | RECHI CONSTRUCTION PVT LTD (BID ID -744972) | 5475080.00 | L3
| 4 | B K M CONSTRUCTIONS (BID ID -748376) | 5599964.20 | L4
| 5 | AD CONSTRUCTIONS (BID ID -748095) | 5816850.00 | L5