## BoQ1
Government eProcurement System Created By: VIVEK SHRIVASTAVA Created Date/Time: 10-Oct-2024 01:55 PM Tender Title: Execution of Balance BMS Works Tender ID: 2024_AAI_206571_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Upgradation of Jabalpur Airport to make it suitable for the operation of AB-320 type of Aircraft. SH: Execution of Balance BMS Works.
Contract No: 2024_AAI_206571_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED (GSTN-NA) BID ID -748328
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC/ITC of the Central Control Stations consisting of the following:
1.01 | Installation , testing and Commissiong of already supplied Operator Workstation Intel i7+Processor(Latest Tecnology) with 1 TB HDD, 8 GB RAM, Enhanced graphic Card, DVD Combo Drive, Ethernet Port. With Windows 10 License or latest version shootable for BAS software with Anti virus As per Specification. | 1.00 | Each |  | 5600.00 | 5600.00 | 5600.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
1.02 | Supplying, Installing, Testing & Commissioning of 32" color monitor flat screen LED display as per specifications. | 1.00 | Each |  | 31584.00 | 31584.00 | 31584.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
1.03 | Supplying, Installing, Testing & Commissioning of Laser Jet Colour Printer (A3 size) as per Specification | 1.00 | Each |  | 154544.00 | 154544.00 | 154544.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.00 | Supply, installation, testing & commissioning (SITC) of the following Software for BAS : Note. Softwares should be compatiable for integration of Siemens make DDC Controller & Sensor already provided at site.
2.01 | SITC of the Software for Building Automation System as per Specifications. Software shall have the capacity to accommodate minimum 1000 hardware points & 1000 software points or more. (Software must be open protocol having BACnet, MODbus, LON works protocol and Cyber security features) | 1.00 | Each |  | 562944.00 | 562944.00 | 562944.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.02 | SITC of software interface with 70 nos. Load Managers/KWH meter for two way flow of data between central control station and static power meters.The price all include the necessary integrator required for integration. | 1.00 | Lot |  | 275295.00 | 275295.00 | 275295.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.03 | SITC of software interface with single loop 1 lot Fire Alarm Panel for two way flow of data between central control station and Fire Alarm panels.The price shall include the necessary integrator required for integration. | 1.00 | Lot |  | 409295.00 | 409295.00 | 409295.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.04 | SITC of Software interface for 3 nos. DG via communication bus. The price shall include the necessary integrator required for integration. | 1.00 | Lot |  | 166780.00 | 166780.00 | 166780.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.05 | SITC of Software interface for CHILLER PLANT MANAGER (1no.) via communication bus.The price shall include the necessary integrator required for integration. (3# CHILLERS) | 1.00 | Lot |  | 166780.00 | 166780.00 | 166780.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.06 | SITC of software interface with 12 nos.VFD for two way flow of data between central control station and VFD Panels.The price shall include the necessary integrator required for integration. | 1.00 | Lot |  | 166780.00 | 166780.00 | 166780.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.07 | SITC of software interface with 8 no. UPS for two way flow of data between central control station and UPS.The price shall include the necessary integrator required for integration. | 1.00 | Lot |  | 166780.00 | 166780.00 | 166780.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
2.08 | SITC of Software interface for HYDROPNEUMATIC SYSTEM (VFD) -3 sets via communication bus.The price shall include the necessary integrator required for integration. | 1.00 | Lot |  | 166780.00 | 166780.00 | 166780.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.00 | Installation, Testing & commissioning of already supplied Stand alone Intelligent DDC Controllers- as per the specifications for hard wired IO points. The contractor shall decide upon the number of contollers, depending on his Controller capacity. Expandable modules for Inputs/Outputs are not allowed. Contractor shall furnish quantity and unit rate for each type of controller considered by him. The above shall be housed in a vandal proof, lockable & secure MS powder coated Cabinets to be supplied along with the Controllers. DDC must be BACnet IP type with min. 32 Bit processor, 256MB RAM and min. 512MB Inrernal memory. (IO COUNT AS MENTIONED IN IO SUMMARY)
3.01 | DDC - 1 AHU (AI - 4, DI - 6, AO - 3, DO - 3) | 12.00 | Each |  | 19000.00 | 228000.00 | 228000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.02 | DDC - 2 Ventilation (AI - 0, DI - 4, AO - 0, DO - 4) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.03 | DDC - 3 WTP (AI - 7, DI - 9, AO - 2, DO - 3) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.04 | DDC - 4 STP (AI - 6, DI - 11, AO - 0, DO - 3) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.05 | DDC - 5 Cooling tower Makeup tank (AI - 4) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.06 | DDC -6 DG PANEL (AI - 3, DI - 6, DO - 3) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.07 | DDC -7 MAIN LT PANEL ( DI - 29) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.08 | DDC -8 ELEVATOR & ESCALATOR PANEL (PTB) ( DI - 5) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.09 | DDC -9 ELEVATOR PANEL (ATC) ( DI - 2) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.10 | DDC -10 Electical Panel PTB ( DI - 25) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
3.11 | DDC -11 Electical Panel ATC ( DI - 25) | 1.00 | Each |  | 19000.00 | 19000.00 | 19000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
4.00 | System Integration Units consisting of Gateways, Interface units as required. The above shall be housed in a vandal proof, lockable & secure MS powder coated cabinets to be supplied along with the Controllers. | 1.00 | Lot |  | 275295.00 | 275295.00 | 275295.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
5.00 | Supply, installation, testing and commissioning of hand held portable operator terminals.(POT). | 1.00 | Lot |  | 84364.00 | 84364.00 | 84364.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
6.00 | Installation & Commissioning of already supplied following equipment for BAS
6.01 | Differential Pressure transmitters for measuring pressure in water (0-9 Kg/sqm) | 14.00 | Each |  | 3585.00 | 50190.00 | 50190.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
6.02 | Differential pressure switches for indicating the filter & blower status | 36.00 | Each |  | 800.00 | 28800.00 | 28800.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
6.03 | Duct mounted Temperature Sensor | 24.00 | Each |  | 800.00 | 19200.00 | 19200.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
6.04 | Duct Mounted CO2 Sensor | 12.00 | Each |  | 800.00 | 9600.00 | 9600.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
6.05 | Immersion Temperature Sensor | 24.00 | Each |  | 800.00 | 19200.00 | 19200.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.00 | Supply, Installation & Commissioning of following equipment for BAS
7.01 | Level Transmitter for monitoring water level in tanks | 9.00 | Each |  | 8845.00 | 79605.00 | 79605.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.02 | Level switch flame proof suitable for mounting for Day oil tank for High-Low level monitoring. | 3.00 | Each |  | 58685.00 | 176055.00 | 176055.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.03 | Digital Water Meter with integration port (100 mm dia) | 2.00 | Each |  | 150195.00 | 300390.00 | 300390.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.04 | Digital Water Meter with integration port (80 mm dia) | 1.00 | Each |  | 98560.00 | 98560.00 | 98560.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.05 | Digital Water Meter with integration port (65 mm dia) | 1.00 | Each |  | 87360.00 | 87360.00 | 87360.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.06 | TDS Monitoring system | 1.00 | Each |  | 110432.00 | 110432.00 | 110432.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.07 | Hardness Monitoring system | 1.00 | Each |  | 660442.00 | 660442.00 | 660442.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
7.08 | Sewage flow meter with integration port (200 mm dia) | 1.00 | Each |  | 312575.00 | 312575.00 | 312575.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
8.00 | Supply, Installing, testing and commissioning of 2 x 1.5 sq mm XLPE/SWA/PVC/CU signal / Armoured power cables. (per I/O points hard wired to DDC). More than two cables should not be saddled to wall /ceiling. Perforated Cable tray /trunking of apropriate size should be used more than two cables to be layed thru ceiling /walls. | 1000.00 | Meter |  | 165.00 | 165000.00 | 165000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
9.00 | Installing, testing and commissioning of already supplied 24 AWG Armoured shielded, twisted pair ATC communication cables as per specifications. (DDC TO DDC communication Cable) | 800.00 | Meter |  | 45.00 | 36000.00 | 36000.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
10.00 | Supply of standalone intelligent DCC controller.(Make: Siemens Model: PXC4.E16 or equivalent as per site requirement) | 3.00 | Each |  | 119500.00 | 358500.00 | 358500.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
11.00 | Supplying and drawing of UTP 4 Pair CAT 6A LAN Cable in the existing surface/recessed Steel /PVC conduit as required. 1 run of cable. | 380.00 | Meter |  | 62.00 | 23560.00 | 23560.00 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED
| Total in Figures |  |  |  |  | 5586290.00
Lowest Amount Quoted BY: FOCUS EYE TECHNOCRAFT PRIVATE LIMITED(5586290.00)

## BOQ Summary
BOQ Summary Details Tender Title: Execution of Balance BMS Works Tender ID: 2024_AAI_206571_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | FOCUS EYE TECHNOCRAFT PRIVATE LIMITED (BID ID -748328) | 5586290.00 | L1