## BoQ1
Government eProcurement System Created By: Pankaj Kumar Created Date/Time: 16-Oct-2024 06:15 PM Tender Title: Modification of existing toilets of NTB at Gaya Airport Tender ID: 2024_AAI_206837_1
Tender Inviting Authority: Airports Authority of India
Name of Work: “Modification of existing toilets of NTB at Gaya Airport, Gaya”
Contact No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD (GSTN-19AAGCR6941N1ZN) BID ID -744952 |  | M/S GALAXEE (GSTN-NA) BID ID -742423 |  | East India Construction Company (GSTN-NA) BID ID -748712 |  | BHARAT CONSTRUCTION & CO. (GSTN-NA) BID ID -747282 |  | MGANDHI CONTRACTORS PVT LTD (GSTN-NA) BID ID -747717 |  | BHARDWAJ TECHNOINFRA PRIVATE LIMITED (GSTN-NA) BID ID -748861 |  | RADHIKEY ENTERPRISES (GSTN-NA) BID ID -747744
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | Cum | 0.00 | 7500.00 | 225000.00 | 5400.00 | 162000.00 | 4500.00 | 135000.00 | 4172.00 | 125160.00 | 4500.00 | 135000.00 | 5675.00 | 170250.00 | 4500.00 | 135000.00 | 125160.00 | BHARAT CONSTRUCTION & CO.
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.00 | Cum | 0.00 | 6500.00 | 65000.00 | 4500.00 | 45000.00 | 4000.00 | 40000.00 | 3985.00 | 39850.00 | 4000.00 | 40000.00 | 4900.00 | 49000.00 | 4200.00 | 42000.00 | 39850.00 | BHARAT CONSTRUCTION & CO.
3.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 15.00 | Cum | 0.00 | 9500.00 | 142500.00 | 6300.00 | 94500.00 | 5000.00 | 75000.00 | 6288.00 | 94320.00 | 5000.00 | 75000.00 | 8250.00 | 123750.00 | 7000.00 | 105000.00 | 75000.00 | MGANDHI CONTRACTORS PVT LTD, East India Construction Company
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 92.00 | Sqm | 0.00 | 900.00 | 82800.00 | 450.00 | 41400.00 | 150.00 | 13800.00 | 593.00 | 54556.00 | 300.00 | 27600.00 | 655.00 | 60260.00 | 300.00 | 27600.00 | 13800.00 | East India Construction Company
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls Under 20 cm wide | 83.00 | Meter | 0.00 | 100.00 | 8300.00 | 190.00 | 15770.00 | 150.00 | 12450.00 | 181.00 | 15023.00 | 100.00 | 8300.00 | 145.00 | 12035.00 | 300.00 | 24900.00 | 8300.00 | RECHI CONSTRUCTION PVT LTD, MGANDHI CONTRACTORS PVT LTD
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 500.00 | Kg | 0.00 | 100.00 | 50000.00 | 80.00 | 40000.00 | 70.00 | 35000.00 | 52.00 | 26000.00 | 70.00 | 35000.00 | 75.25 | 37625.00 | 79.00 | 39500.00 | 26000.00 | BHARAT CONSTRUCTION & CO.
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1000.00 | Kg | 0.00 | 100.00 | 100000.00 | 80.00 | 80000.00 | 70.00 | 70000.00 | 56.00 | 56000.00 | 70.00 | 70000.00 | 75.25 | 75250.00 | 79.00 | 79000.00 | 56000.00 | BHARAT CONSTRUCTION & CO.
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum | 0.00 | 7500.00 | 75000.00 | 6000.00 | 60000.00 | 5500.00 | 55000.00 | 5989.00 | 59890.00 | 4500.00 | 45000.00 | 5135.00 | 51350.00 | 6500.00 | 65000.00 | 45000.00 | MGANDHI CONTRACTORS PVT LTD
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum | 0.00 | 7500.00 | 75000.00 | 6500.00 | 65000.00 | 5500.00 | 55000.00 | 6986.00 | 69860.00 | 4500.00 | 45000.00 | 6505.00 | 65050.00 | 6500.00 | 65000.00 | 45000.00 | MGANDHI CONTRACTORS PVT LTD
10.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | 204.00 | Sqm | 0.00 | 800.00 | 163200.00 | 800.00 | 163200.00 | 950.00 | 193800.00 | 787.00 | 160548.00 | 400.00 | 81600.00 | 805.50 | 164322.00 | 753.00 | 153612.00 | 81600.00 | MGANDHI CONTRACTORS PVT LTD
11.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 113.75 | Sqm | 0.00 | 4000.00 | 455000.00 | 3000.00 | 341250.00 | 4000.00 | 455000.00 | 2193.00 | 249453.75 | 1700.00 | 193375.00 | 3150.00 | 358312.50 | 2500.00 | 284375.00 | 193375.00 | MGANDHI CONTRACTORS PVT LTD
12.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 66.50 | Meter | 0.00 | 400.00 | 26600.00 | 400.00 | 26600.00 | 250.00 | 16625.00 | 335.00 | 22277.50 | 150.00 | 9975.00 | 294.00 | 19551.00 | 240.00 | 15960.00 | 9975.00 | MGANDHI CONTRACTORS PVT LTD
13.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 8.00 | Each | 0.00 | 350.00 | 2800.00 | 350.00 | 2800.00 | 250.00 | 2000.00 | 271.00 | 2168.00 | 200.00 | 1600.00 | 262.00 | 2096.00 | 150.00 | 1200.00 | 1200.00 | RADHIKEY ENTERPRISES
14.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 8.00 | Each | 0.00 | 150.00 | 1200.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 118.00 | 944.00 | 150.00 | 1200.00 | 143.50 | 1148.00 | 250.00 | 2000.00 | 944.00 | BHARAT CONSTRUCTION & CO.
15.00 | Providing and fixing cup board shutters 25 mm thick, with Pre-laminated flat pressed three layer particle board or graded wood particle board IS: 12823 marked, exterior grade (Grade l Type ll), having one side decorative lamination and other side balancing lamination, including IInd class teak wood lipping of 25 mm wide x12 mm thick with necessary screws and bright finished stainless steel piano hinges, complete as per direction of the Engineer-in-Charge | 19.20 | Sqm | 0.00 | 600.00 | 11520.00 | 1800.00 | 34560.00 | 1100.00 | 21120.00 | 2071.00 | 39763.20 | 1000.00 | 19200.00 | 1389.50 | 26678.40 | 4000.00 | 76800.00 | 11520.00 | RECHI CONSTRUCTION PVT LTD
16.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a)1.0 mm thick | 131.00 | Sqm | 0.00 | 800.00 | 104800.00 | 675.00 | 88425.00 | 750.00 | 98250.00 | 728.00 | 95368.00 | 500.00 | 65500.00 | 625.50 | 81940.50 | 750.00 | 98250.00 | 65500.00 | MGANDHI CONTRACTORS PVT LTD
17.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1000.00 | Kg | 0.00 | 170.00 | 170000.00 | 90.00 | 90000.00 | 80.00 | 80000.00 | 91.00 | 91000.00 | 100.00 | 100000.00 | 93.50 | 93500.00 | 110.00 | 110000.00 | 80000.00 | East India Construction Company
18.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 454.00 | Sqm | 0.00 | 1750.00 | 794500.00 | 1800.00 | 817200.00 | 1800.00 | 817200.00 | 1289.00 | 585206.00 | 1200.00 | 544800.00 | 1490.00 | 676460.00 | 1085.00 | 492590.00 | 492590.00 | RADHIKEY ENTERPRISES
19.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 500.00 | Sqm | 0.00 | 350.00 | 175000.00 | 225.00 | 112500.00 | 200.00 | 100000.00 | 155.00 | 77500.00 | 200.00 | 100000.00 | 241.00 | 120500.00 | 250.00 | 125000.00 | 77500.00 | BHARAT CONSTRUCTION & CO.
20.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: : 1:6 (1 cement: 6 coarse sand) | 300.00 | Sqm | 0.00 | 400.00 | 120000.00 | 270.00 | 81000.00 | 200.00 | 60000.00 | 146.00 | 43800.00 | 250.00 | 75000.00 | 275.75 | 82725.00 | 250.00 | 75000.00 | 43800.00 | BHARAT CONSTRUCTION & CO.
21.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 250.00 | Sqm | 1.00 | 140.00 | 35000.00 | 100.00 | 25000.00 | 150.00 | 37500.00 | 171.00 | 42750.00 | 150.00 | 37500.00 | 158.25 | 39562.50 | 90.00 | 22500.00 | 22500.00 | RADHIKEY ENTERPRISES
22.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 300.00 | Sqm | 2.00 | 125.00 | 37500.00 | 90.00 | 27000.00 | 100.00 | 30000.00 | 121.00 | 36300.00 | 100.00 | 30000.00 | 107.50 | 32250.00 | 90.00 | 27000.00 | 27000.00 | M/S GALAXEE, RADHIKEY ENTERPRISES
23.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 300.00 | Sqm | 3.00 | 150.00 | 45000.00 | 90.00 | 27000.00 | 90.00 | 27000.00 | 86.00 | 25800.00 | 100.00 | 30000.00 | 99.00 | 29700.00 | 90.00 | 27000.00 | 25800.00 | BHARAT CONSTRUCTION & CO.
24.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. : With cement mortar 1:4 (1cement: 4 coarse sand) | 250.00 | Sqm | 4.00 | 300.00 | 75000.00 | 200.00 | 50000.00 | 150.00 | 37500.00 | 487.00 | 121750.00 | 100.00 | 25000.00 | 380.20 | 95050.00 | 150.00 | 37500.00 | 25000.00 | MGANDHI CONTRACTORS PVT LTD
25.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 55.00 | Each | 5.00 | 500.00 | 27500.00 | 90.00 | 4950.00 | 50.00 | 2750.00 | 5.00 | 275.00 | 100.00 | 5500.00 | 89.00 | 4895.00 | 100.00 | 5500.00 | 275.00 | BHARAT CONSTRUCTION & CO.
26.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes within 50 metres lead as per direction of Engineer- in-Charge. (a) Internal Work - Exposed on wall | 1000.00 | Meter | 6.00 | 10.00 | 10000.00 | 2.00 | 2000.00 | 1.25 | 1250.00 | 27.00 | 27000.00 | 2.00 | 2000.00 | 2.10 | 2100.00 | 10.00 | 10000.00 | 1250.00 | East India Construction Company
27.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 10.00 | Cum | 7.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1477.00 | 14770.00 | 1500.00 | 15000.00 | 2449.50 | 24495.00 | 800.00 | 8000.00 | 8000.00 | RADHIKEY ENTERPRISES
28.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead and taking away serviceable brick as per direction of Engineer-in-charge. In cement mortar | 56.00 | Cum | 8.00 | 1800.00 | 100800.00 | 1000.00 | 56000.00 | 1000.00 | 56000.00 | 1042.00 | 58352.00 | 400.00 | 22400.00 | 1411.00 | 79016.00 | 600.00 | 33600.00 | 22400.00 | MGANDHI CONTRACTORS PVT LTD
29.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 82.00 | Each | 9.00 | 450.00 | 36900.00 | 270.00 | 22140.00 | 200.00 | 16400.00 | 44.00 | 3608.00 | 100.00 | 8200.00 | 255.00 | 20910.00 | 150.00 | 12300.00 | 3608.00 | BHARAT CONSTRUCTION & CO.
30.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 85.00 | Each | 10.00 | 550.00 | 46750.00 | 90.00 | 7650.00 | 100.00 | 8500.00 | 84.00 | 7140.00 | 50.00 | 4250.00 | 99.00 | 8415.00 | 50.00 | 4250.00 | 4250.00 | MGANDHI CONTRACTORS PVT LTD, RADHIKEY ENTERPRISES
31.00 | Dismantling tile work in floors, walls and roofs laid/ fixed in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 2194.00 | Sqm | 11.00 | 40.00 | 87760.00 | 40.00 | 87760.00 | 60.00 | 131640.00 | 32.00 | 70208.00 | 20.00 | 43880.00 | 51.00 | 111894.00 | 40.00 | 87760.00 | 43880.00 | MGANDHI CONTRACTORS PVT LTD
32.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 55.00 | Each | 12.00 | 200.00 | 11000.00 | 90.00 | 4950.00 | 100.00 | 5500.00 | 32.00 | 1760.00 | 25.00 | 1375.00 | 75.00 | 4125.00 | 100.00 | 5500.00 | 1375.00 | MGANDHI CONTRACTORS PVT LTD
33.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 2186.00 | Sqm | 13.00 | 15.00 | 32790.00 | 27.00 | 59022.00 | 30.00 | 65580.00 | 11.00 | 24046.00 | 20.00 | 43720.00 | 35.50 | 77603.00 | 50.00 | 109300.00 | 24046.00 | BHARAT CONSTRUCTION & CO.
34.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 454.00 | Each | 14.00 | 50.00 | 22700.00 | 27.00 | 12258.00 | 20.00 | 9080.00 | 10.00 | 4540.00 | 20.00 | 9080.00 | 35.50 | 16117.00 | 100.00 | 45400.00 | 4540.00 | BHARAT CONSTRUCTION & CO.
35.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 34.00 | Cum | 15.00 | 550.00 | 18700.00 | 180.00 | 6120.00 | 150.00 | 5100.00 | 471.00 | 16014.00 | 150.00 | 5100.00 | 185.00 | 6290.00 | 600.00 | 20400.00 | 5100.00 | MGANDHI CONTRACTORS PVT LTD, East India Construction Company
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 100.00 | Meter | 16.00 | 650.00 | 65000.00 | 432.00 | 43200.00 | 450.00 | 45000.00 | 272.00 | 27200.00 | 300.00 | 30000.00 | 375.00 | 37500.00 | 320.00 | 32000.00 | 27200.00 | BHARAT CONSTRUCTION & CO.
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 250.00 | Meter | 17.00 | 650.00 | 162500.00 | 522.00 | 130500.00 | 450.00 | 112500.00 | 441.00 | 110250.00 | 350.00 | 87500.00 | 445.00 | 111250.00 | 350.00 | 87500.00 | 87500.00 | MGANDHI CONTRACTORS PVT LTD, RADHIKEY ENTERPRISES
38.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 102.00 | Meter | 18.00 | 750.00 | 76500.00 | 612.00 | 62424.00 | 610.00 | 62220.00 | 571.00 | 58242.00 | 350.00 | 35700.00 | 525.50 | 53601.00 | 360.00 | 36720.00 | 35700.00 | MGANDHI CONTRACTORS PVT LTD
39.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement ,trenching ,refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal outer dia Pipes | 90.00 | Meter | 19.00 | 600.00 | 54000.00 | 450.00 | 40500.00 | 610.00 | 54900.00 | 571.00 | 51390.00 | 350.00 | 31500.00 | 400.00 | 36000.00 | 590.00 | 53100.00 | 31500.00 | MGANDHI CONTRACTORS PVT LTD
40.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement ,trenching ,refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal outer dia Pipes | 85.00 | Meter | 20.00 | 650.00 | 55250.00 | 630.00 | 53550.00 | 602.00 | 51170.00 | 572.00 | 48620.00 | 450.00 | 38250.00 | 565.50 | 48067.50 | 600.00 | 51000.00 | 38250.00 | MGANDHI CONTRACTORS PVT LTD
41.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 40 mm dia nominal bore | 80.00 | Meter | 21.00 | 550.00 | 44000.00 | 522.00 | 41760.00 | 600.00 | 48000.00 | 372.00 | 29760.00 | 450.00 | 36000.00 | 437.50 | 35000.00 | 616.00 | 49280.00 | 29760.00 | BHARAT CONSTRUCTION & CO.
42.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 50 mm dia nominal bore | 80.00 | Meter | 22.00 | 650.00 | 52000.00 | 630.00 | 50400.00 | 600.00 | 48000.00 | 521.00 | 41680.00 | 500.00 | 40000.00 | 537.00 | 42960.00 | 750.00 | 60000.00 | 40000.00 | MGANDHI CONTRACTORS PVT LTD
43.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore | 15.00 | Each | 23.00 | 700.00 | 10500.00 | 700.00 | 10500.00 | 700.00 | 10500.00 | 521.00 | 7815.00 | 550.00 | 8250.00 | 584.50 | 8767.50 | 900.00 | 13500.00 | 7815.00 | BHARAT CONSTRUCTION & CO.
44.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 10.00 | Each | 24.00 | 800.00 | 8000.00 | 882.00 | 8820.00 | 750.00 | 7500.00 | 672.00 | 6720.00 | 800.00 | 8000.00 | 725.00 | 7250.00 | 1200.00 | 12000.00 | 6720.00 | BHARAT CONSTRUCTION & CO.
45.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length , 15 mm nominal bore | 176.00 | Each | 25.00 | 100.00 | 17600.00 | 72.00 | 12672.00 | 80.00 | 14080.00 | 62.00 | 10912.00 | 65.00 | 11440.00 | 69.00 | 12144.00 | 250.00 | 44000.00 | 10912.00 | BHARAT CONSTRUCTION & CO.
46.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 40 mm nominal bore | 10.00 | Each | 26.00 | 500.00 | 5000.00 | 540.00 | 5400.00 | 500.00 | 5000.00 | 172.00 | 1720.00 | 400.00 | 4000.00 | 445.50 | 4455.00 | 350.00 | 3500.00 | 1720.00 | BHARAT CONSTRUCTION & CO.
47.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 50 mm nominal bore | 10.00 | Each | 27.00 | 700.00 | 7000.00 | 720.00 | 7200.00 | 650.00 | 6500.00 | 271.00 | 2710.00 | 650.00 | 6500.00 | 585.00 | 5850.00 | 400.00 | 4000.00 | 2710.00 | BHARAT CONSTRUCTION & CO.
48.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 20.00 | Each | 28.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 271.00 | 5420.00 | 400.00 | 8000.00 | 360.00 | 7200.00 | 1200.00 | 24000.00 | 5420.00 | BHARAT CONSTRUCTION & CO.
49.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 10.00 | Each | 29.00 | 550.00 | 5500.00 | 600.00 | 6000.00 | 450.00 | 4500.00 | 322.00 | 3220.00 | 500.00 | 5000.00 | 475.00 | 4750.00 | 1400.00 | 14000.00 | 3220.00 | BHARAT CONSTRUCTION & CO.
50.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931: 15 mm nominal bore | 176.00 | Each | 30.00 | 500.00 | 88000.00 | 550.00 | 96800.00 | 455.00 | 80080.00 | 472.00 | 83072.00 | 300.00 | 52800.00 | 405.00 | 71280.00 | 600.00 | 105600.00 | 52800.00 | MGANDHI CONTRACTORS PVT LTD
51.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 176.00 | Each | 31.00 | 60.00 | 10560.00 | 50.00 | 8800.00 | 50.00 | 8800.00 | 41.00 | 7216.00 | 60.00 | 10560.00 | 52.00 | 9152.00 | 80.00 | 14080.00 | 7216.00 | BHARAT CONSTRUCTION & CO.
52.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 527.41 | Kg | 32.00 | 600.00 | 316446.00 | 450.00 | 237334.50 | 388.00 | 204635.08 | 362.00 | 190922.42 | 300.00 | 158223.00 | 311.00 | 164024.51 | 517.00 | 272670.97 | 158223.00 | MGANDHI CONTRACTORS PVT LTD
53.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, | 360.22 | Kg | 33.00 | 600.00 | 216132.00 | 540.00 | 194518.80 | 350.00 | 126077.00 | 471.00 | 169663.62 | 300.00 | 108066.00 | 379.50 | 136703.49 | 517.00 | 186233.74 | 108066.00 | MGANDHI CONTRACTORS PVT LTD
54.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 97.00 | Sqm | 34.00 | 300.00 | 29100.00 | 450.00 | 43650.00 | 550.00 | 53350.00 | 391.00 | 37927.00 | 420.00 | 40740.00 | 430.00 | 41710.00 | 500.00 | 48500.00 | 29100.00 | RECHI CONSTRUCTION PVT LTD
55.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/clerestory windows & desertory other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 45 x 70 mm | 353.00 | Meter | 35.00 | 650.00 | 229450.00 | 585.00 | 206505.00 | 550.00 | 194150.00 | 471.00 | 166263.00 | 420.00 | 148260.00 | 509.00 | 179677.00 | 400.00 | 141200.00 | 141200.00 | RADHIKEY ENTERPRISES
56.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesive for cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/ mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel piano hinges/soft close clip on concealed hinges and necessary S.S screws shall be paid separately) 18 mm thick | 294.00 | Sqm | 36.00 | 2500.00 | 735000.00 | 1980.00 | 582120.00 | 2500.00 | 735000.00 | 2071.00 | 608874.00 | 1750.00 | 514500.00 | 2155.00 | 633570.00 | 1800.00 | 529200.00 | 514500.00 | MGANDHI CONTRACTORS PVT LTD
57.00 | Removal of mirror including all fittings , frames and fixtures including stacking of serviceable materials and disposal of unserviceable materials complete as per the direction of Engineer in charge. | 68.00 | Sqm | 37.00 | 150.00 | 10200.00 | 15.00 | 1020.00 | 14.00 | 952.00 | 14.00 | 952.00 | 10.00 | 680.00 | 11.25 | 765.00 | 200.00 | 13600.00 | 680.00 | MGANDHI CONTRACTORS PVT LTD
58.00 | Dismantling Urinals with all acessories of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 36.00 | Each | 38.00 | 200.00 | 7200.00 | 30.00 | 1080.00 | 29.00 | 1044.00 | 0.00 | 0.00 | 30.00 | 1080.00 | 25.75 | 927.00 | 150.00 | 5400.00 | 0.00 | BHARAT CONSTRUCTION & CO.
59.00 | Dismantling Urinals partitions with all fixtures of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 36.00 | Each | 39.00 | 100.00 | 3600.00 | 30.00 | 1080.00 | 29.00 | 1044.00 | 2.00 | 72.00 | 30.00 | 1080.00 | 25.25 | 909.00 | 50.00 | 1800.00 | 72.00 | BHARAT CONSTRUCTION & CO.
60.00 | Dismantling of all kinds of bib cock including accessories complete and stacking of usable dismantled materials including disposal of waste materials / malba all complete as per the direction of Engineer in charge. | 306.00 | Each | 40.00 | 50.00 | 15300.00 | 20.00 | 6120.00 | 23.00 | 7038.00 | 9.00 | 2754.00 | 20.00 | 6120.00 | 15.25 | 4666.50 | 50.00 | 15300.00 | 2754.00 | BHARAT CONSTRUCTION & CO.
61.00 | Dismantling of grab bar/grab rail & seating support bar for disabled beside E.W.C of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 14.00 | Each | 41.00 | 50.00 | 700.00 | 20.00 | 280.00 | 22.00 | 308.00 | 9.00 | 126.00 | 20.00 | 280.00 | 15.75 | 220.50 | 120.00 | 1680.00 | 126.00 | BHARAT CONSTRUCTION & CO.
62.00 | Dismantling Counter Wash Basins of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 73.00 | Each | 42.00 | 300.00 | 21900.00 | 50.00 | 3650.00 | 47.00 | 3431.00 | 20.00 | 1460.00 | 50.00 | 3650.00 | 43.50 | 3175.50 | 100.00 | 7300.00 | 1460.00 | BHARAT CONSTRUCTION & CO.
63.00 | Providing & fixing of modular toilet cubicle partitions ( Titan Standard 12mm series of Merino, Sturdo of Greenlam Industries , Greenply or of approved equivalent) consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1550mm depth x 1050mm width x 2100mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc.(all SS accessories shall be of Grade 304) as per direction of Engineer-In-charge. | 253.00 | Sqm | 43.00 | 11500.00 | 2909500.00 | 6750.00 | 1707750.00 | 7000.00 | 1771000.00 | 6162.00 | 1558986.00 | 4200.00 | 1062600.00 | 5915.00 | 1496495.00 | 7000.00 | 1771000.00 | 1062600.00 | MGANDHI CONTRACTORS PVT LTD
64.00 | Providing & fixing of white vitreous china tankless single piece wall mounted type water closet (Jaquar DRSWHT-37953BIUFSM/ Kohler TRACE WALL HUNG RIMLESS W/QC SEAT, 20217IN-S-0 or approved equivalent) with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed type flush cistern (Jaquar JCS-WHT-2400/ Kohler make INSTAFLUSHTM NXT GEN - MECH IN WALL TANK 26351IN-M-NA or equivalent ) along with Flush Control Plates (Jaquar JCP-CHR-372415/ Kohler RIVIERA IWT FACEPLATE MECHANICAL-CP 28476IN-M-CP) including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-In-charge. | 48.00 | Each | 44.00 | 25000.00 | 1200000.00 | 23000.00 | 1104000.00 | 22500.00 | 1080000.00 | 14972.00 | 718656.00 | 16000.00 | 768000.00 | 18000.00 | 864000.00 | 28384.00 | 1362432.00 | 718656.00 | BHARAT CONSTRUCTION & CO.
65.00 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 8 litres concealed flushing cistern of make (Jaquar JCS-WHT-2400 or equivalent ) including with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. (Hindware or approved equivalent) pan of size approx. 580x440 mm with integral type foot rests. | 18.00 | Each | 45.00 | 5500.00 | 99000.00 | 9500.00 | 171000.00 | 9000.00 | 162000.00 | 8561.00 | 154098.00 | 8000.00 | 144000.00 | 8300.00 | 149400.00 | 7000.00 | 126000.00 | 99000.00 | RECHI CONSTRUCTION PVT LTD
66.00 | Providng & Fixing off white vitreous china urinal basin (Jaquar URS-WHT-13253N or equivalent) of size approx 610 X 390 X 370 mm suitable for wall mounted with Urinal Sensor (Jaquar SNR-STL-51077E or equivalent ) operated touchless automatic flushing system having pre & post flushing system including fixing to wall with suitable brackets , painting of fittings and brackets, cutting and making good the walls and floors wherever required complete as per direction of Engineer-in-charge. | 44.00 | Each | 46.00 | 8000.00 | 352000.00 | 17100.00 | 752400.00 | 15500.00 | 682000.00 | 12471.00 | 548724.00 | 15000.00 | 660000.00 | 14910.00 | 656040.00 | 22000.00 | 968000.00 | 352000.00 | RECHI CONSTRUCTION PVT LTD
67.00 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make complete as per direction Engineer in charge. Bottle Trap 32 mm (Jaquar or equivalent) | 73.00 | Each | 47.00 | 2000.00 | 146000.00 | 1300.00 | 94900.00 | 1400.00 | 102200.00 | 1702.00 | 124246.00 | 1000.00 | 73000.00 | 1275.00 | 93075.00 | 2000.00 | 146000.00 | 73000.00 | MGANDHI CONTRACTORS PVT LTD
68.00 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar or equivalent make complete as per direction Engineer in charge. Soap dispenser Push Button Type -800ml capacity (Jaquar/Euronics or equivalent) | 73.00 | Each | 48.00 | 1500.00 | 109500.00 | 1200.00 | 87600.00 | 1500.00 | 109500.00 | 1172.00 | 85556.00 | 1100.00 | 80300.00 | 1200.00 | 87600.00 | 1500.00 | 109500.00 | 80300.00 | MGANDHI CONTRACTORS PVT LTD
69.00 | Providng and fixing stainless steel handicap grab rail in the toilets/Terminal Building etc. Complete as per direction of Engineer-in-charge. Stainless steel handicap grab rail 600mm length, 35mm dia (Jaquar or equivalent) | 21.00 | Each | 49.00 | 1800.00 | 37800.00 | 6500.00 | 136500.00 | 2000.00 | 42000.00 | 5282.00 | 110922.00 | 4000.00 | 84000.00 | 5152.00 | 108192.00 | 1500.00 | 31500.00 | 31500.00 | RADHIKEY ENTERPRISES
70.00 | Providng and fixing stainless steel vertical swing handicap grab bar in the toilets/Terminal Building etc. Complete as per direction of Engineer-in-charge. Stainless steel vertical swing handicap grab bar (Jaquar or equivalent) | 7.00 | Each | 50.00 | 2500.00 | 17500.00 | 15000.00 | 105000.00 | 5700.00 | 39900.00 | 12170.00 | 85190.00 | 13000.00 | 91000.00 | 12500.00 | 87500.00 | 1800.00 | 12600.00 | 12600.00 | RADHIKEY ENTERPRISES
71.00 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make or equivalent complete as per direction Engineer in charge. : Basin Mount Sensor Tap with automatic sensor (Jaquar or equivalent ) | 1.00 | Each | 51.00 | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 4167.00 | 4167.00 | 8500.00 | 8500.00 | 7900.00 | 7900.00 | 9000.00 | 9000.00 | 3000.00 | RECHI CONSTRUCTION PVT LTD
72.00 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make (Model No. CHR 031 L65) or equivalent complete as per direction Engineer in charge. : Pillar cock auto closing system | 70.00 | Each | 52.00 | 3500.00 | 245000.00 | 2500.00 | 175000.00 | 2250.00 | 157500.00 | 2821.00 | 197470.00 | 2000.00 | 140000.00 | 2055.00 | 143850.00 | 3500.00 | 245000.00 | 140000.00 | MGANDHI CONTRACTORS PVT LTD
73.00 | Providing and fixing of following C.P. Brass fittings and fixture of approved make completer as per direction Engineer in charge. Chromium plated anti cockroach Jali of Euronics or approved make of 100 mm dia fixing over water outlet complete as per direction and satisfaction of Engineer-in-charge | 160.00 | Each | 53.00 | 500.00 | 80000.00 | 400.00 | 64000.00 | 400.00 | 64000.00 | 213.00 | 34080.00 | 350.00 | 56000.00 | 334.00 | 53440.00 | 300.00 | 48000.00 | 34080.00 | BHARAT CONSTRUCTION & CO.
74.00 | Providing and fixing of Washroom Panel/Recessed/S.Steel (3 In 1) (Automatic Paper Dispenser / High Speed Hand Dryer / Waste Receptacle) of make Euronics (Model No. KMR33A ) or approved equivalent alongwith all fittings and fixtures all complete as per Satisfaction/ direction of Engineer -In-charge. | 18.00 | Each | 54.00 | 100000.00 | 1800000.00 | 50000.00 | 900000.00 | 50000.00 | 900000.00 | 42309.00 | 761562.00 | 40000.00 | 720000.00 | 40560.00 | 730080.00 | 50000.00 | 900000.00 | 720000.00 | MGANDHI CONTRACTORS PVT LTD
75.00 | Providing and fixing of Hand Dryer of make Euronics or approved equivalent alongwith all fittings and fixture all complete as per direction Engineer in charge. | 10.00 | Each | 55.00 | 15000.00 | 150000.00 | 14000.00 | 140000.00 | 13000.00 | 130000.00 | 9471.00 | 94710.00 | 10000.00 | 100000.00 | 10491.00 | 104910.00 | 12000.00 | 120000.00 | 94710.00 | BHARAT CONSTRUCTION & CO.
76.00 | Providing and fixing of Stainless steel Paper Dispenser of make Euronics or approved equivalent make alongwith all fittings and fixture all complete as per direction Engineer in charge. Stainless steel Paper dispenser - (Euronics make or equivalent) | 14.00 | Each | 56.00 | 4000.00 | 56000.00 | 4000.00 | 56000.00 | 4200.00 | 58800.00 | 3269.00 | 45766.00 | 3000.00 | 42000.00 | 3200.00 | 44800.00 | 5000.00 | 70000.00 | 42000.00 | MGANDHI CONTRACTORS PVT LTD
77.00 | Providing and fixing of CP Brass toilet paper holder (Euronics or equivalent) i/c fixing with CP Brass screws complete as per direction of Engineer-in-Charge. | 66.00 | Each | 57.00 | 1000.00 | 66000.00 | 1000.00 | 66000.00 | 1011.00 | 66726.00 | 740.00 | 48840.00 | 800.00 | 52800.00 | 768.00 | 50688.00 | 1800.00 | 118800.00 | 48840.00 | BHARAT CONSTRUCTION & CO.
78.00 | Providing & fixing rectangular shaped Urinal Partitions with frosted glass made of Jaquar make JSE-CHR-110US450X or equivalent | 27.00 | Each | 58.00 | 5500.00 | 148500.00 | 5000.00 | 135000.00 | 4590.00 | 123930.00 | 4769.00 | 128763.00 | 4000.00 | 108000.00 | 4150.00 | 112050.00 | 6350.00 | 171450.00 | 108000.00 | MGANDHI CONTRACTORS PVT LTD
79.00 | Providing and fixing of following C.P. Brass fittings and fixture of approved make completer as per direction Engineer in charge. Two way bib cock with wall flange 15mm nominal bore of approved make (Jaquar or equivalent) complete as per direction of Engineer-in-charge. | 64.00 | Each | 59.00 | 2050.00 | 131200.00 | 2000.00 | 128000.00 | 1884.00 | 120576.00 | 1728.00 | 110592.00 | 1500.00 | 96000.00 | 1660.00 | 106240.00 | 1800.00 | 115200.00 | 96000.00 | MGANDHI CONTRACTORS PVT LTD
80.00 | Providing and fixing Wash Room basin & vanity counters with 12 mm thick 100% bendable Acrylic solid surface of Hanex/Corian/ dupont/Samsung staron/LG Hausys HIMACS Dupont or Merino Hyundai Hanex or equivalent of approved make, shade, and design , with properties like bacteria resistance,antifungal, heavy duty scratch resistant & stain resistant, impact resistant, insulative & non conductive, Green Guard gold certified, fire rating as per standard EN 13501-1 for Euroclass reaction to fire, density at 23 degree celsius 1.81gm/cm3, thermal expansion 3.5x10^(-5)/degree celsius,etc over 18mm thick WPC board with underneath RCC slab of minimum 75mm thick or any other surface including all moulded wash basins,finishing of joints,silicon sealants etc to give joint less smooth surface. Acrylic solid surface sheets to be cut, pasted and finished in approved shade, as per approved design by the Engineer in charge. The vanity counters will be seamlessly integrated with Acrylic sold surfaces made washbasin in approved color with minimum size 600 mm (L)x 400mm(W) x 200 mm(D) and back splash of minimum 100mm to complete the profile.The spacing between two wash basin shall be minimum of 100 mm or specified other wise, should be placed symmetrically in the vanity counters.The finished counter height shall be 850 to 950 mm from finished floor level. The front storage facia will also be made with the solid surface with the opanable system with necessary hardware & accesorries.Skirtng height from floor will be 200mm & below the basin will be 200mm. This counter should be fixed over 18 mm WPC supporting structure with all mechanical fixtures as per the specification, drawings and guideline as approved by the EIC. The quoted rates shall include material cost with wastages, fabrication & installation of counter at site, cost of silicon & approved adhesives, chamfering of edges, flushing of joints and final finishing as per directions of Engineer-/in-charge. The visible surface area will be taken into consideration for measurement.(WPC supporting structures will be paid seperately). Note: Shade of Acrylic solid surface - Merino T-012-H-Elegance or Equivalent. | 62.00 | Sqm | 60.00 | 10000.00 | 620000.00 | 15000.00 | 930000.00 | 11000.00 | 682000.00 | 12074.00 | 748588.00 | 11000.00 | 682000.00 | 12875.00 | 798250.00 | 9300.00 | 576600.00 | 576600.00 | RADHIKEY ENTERPRISES
81.00 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make complete as per direction Engineer in charge. Health Faucet Set of Jaquar (cat ALD CHR- 573 ) or equivalent make. | 64.00 | Each | 61.00 | 1625.00 | 104000.00 | 1200.00 | 76800.00 | 1139.00 | 72896.00 | 882.00 | 56448.00 | 1100.00 | 70400.00 | 1001.00 | 64064.00 | 1500.00 | 96000.00 | 56448.00 | BHARAT CONSTRUCTION & CO.
82.00 | Providing and fixing Stained Glass Portrait of Man/Women portrait/landscape paintings printed on 10mm thick premium quality toughened clear glass, scratch resistant Heat treated of Saint Gobain or equivalent with 3M Scotchcal 3650-114 or equivalent Graphic Film latex printed necessary fittings/fixtures and the glass should be fixed to the wall with SS Cleats /C.P. brass screw and washers etc complete in all respects as per the directions and satisfaction of Engineer-in-charge. Note: The sample of design for stained glass portrait shall be got approved by the Engineer - in charge. | 65.00 | Sqm | 62.00 | 700.00 | 45500.00 | 11700.00 | 760500.00 | 14250.00 | 926250.00 | 11263.00 | 732095.00 | 12000.00 | 780000.00 | 11000.00 | 715000.00 | 4600.00 | 299000.00 | 45500.00 | RECHI CONSTRUCTION PVT LTD
83.00 | Providing and fixing custom made bevelled edge rectangular mirror of superior glass of Saint Gobain or approved equivalent of size as per site requirement complete with 6mm thick hard board ground fixed to SS Cleats with C.P. brass screw and washers etc all complete as as per direction of Engineer-In-charge. | 89.00 | Sqm | 63.00 | 1000.00 | 89000.00 | 1800.00 | 160200.00 | 2223.00 | 197847.00 | 1163.00 | 103507.00 | 1400.00 | 124600.00 | 1707.00 | 151923.00 | 1500.00 | 133500.00 | 89000.00 | RECHI CONSTRUCTION PVT LTD
84.00 | Deduct for taking away of all types of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 100.00 | Kg | 64.00 | 200.00 | -20000.00 | 350.00 | -35000.00 | 330.00 | -33000.00 | 380.00 | -38000.00 | 300.00 | -30000.00 | 55.00 | -5500.00 | 150.00 | -15000.00 | -38000.00 | BHARAT CONSTRUCTION & CO.
85.00 | Deduct for taking away of Aluminium frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, paneled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 300.00 | Kg | 65.00 | 200.00 | -60000.00 | 30.00 | -9000.00 | 27.00 | -8100.00 | 52.00 | -15600.00 | 50.00 | -15000.00 | 7.00 | -2100.00 | 50.00 | -15000.00 | -60000.00 | RECHI CONSTRUCTION PVT LTD
86.00 | Deduct for taking away of CI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 150.00 | Kg | 66.00 | 50.00 | -7500.00 | 40.00 | -6000.00 | 35.00 | -5250.00 | 58.00 | -8700.00 | 50.00 | -7500.00 | 11.00 | -1650.00 | 10.00 | -1500.00 | -8700.00 | BHARAT CONSTRUCTION & CO.
87.00 | Deduct for taking away of steel work in Angles,pipes, frames, shutters, trusses, channels, beams, Tee, bolts, washers etc. and similar items received from dismantling including loading from as and where basis. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 500.00 | Kg | 67.00 | 50.00 | -25000.00 | 40.00 | -20000.00 | 35.00 | -17500.00 | 72.00 | -36000.00 | 50.00 | -25000.00 | 5.00 | -2500.00 | 20.00 | -10000.00 | -36000.00 | BHARAT CONSTRUCTION & CO.
88.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes as per IS-13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge. Double socket B Type 110mm dia SWR UPVC pipe lines laid complete | 200.00 | Meter | 68.00 | 250.00 | 50000.00 | 500.00 | 100000.00 | 546.00 | 109200.00 | 381.00 | 76200.00 | 400.00 | 80000.00 | 428.00 | 85600.00 | 400.00 | 80000.00 | 50000.00 | RECHI CONSTRUCTION PVT LTD
89.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110mm dia Bend plain | 100.00 | Each | 69.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 189.00 | 18900.00 | 89.00 | 8900.00 | 150.00 | 15000.00 | 137.00 | 13700.00 | 250.00 | 25000.00 | 8900.00 | BHARAT CONSTRUCTION & CO.
90.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110mm dia Heel Rest Bend | 10.00 | Each | 70.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 214.00 | 2140.00 | 121.00 | 1210.00 | 150.00 | 1500.00 | 149.00 | 1490.00 | 250.00 | 2500.00 | 1210.00 | BHARAT CONSTRUCTION & CO.
91.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110 mm dia Single Junction 110 mm x 110 mm x 110 mm | 20.00 | Each | 71.00 | 200.00 | 4000.00 | 300.00 | 6000.00 | 326.00 | 6520.00 | 128.00 | 2560.00 | 250.00 | 5000.00 | 225.00 | 4500.00 | 450.00 | 9000.00 | 2560.00 | BHARAT CONSTRUCTION & CO.
92.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110mm dia End Cap | 20.00 | Each | 72.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 99.00 | 1980.00 | 14.00 | 280.00 | 80.00 | 1600.00 | 73.00 | 1460.00 | 260.00 | 5200.00 | 280.00 | BHARAT CONSTRUCTION & CO.
93.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110 mm dia cowls | 20.00 | Each | 73.00 | 100.00 | 2000.00 | 75.00 | 1500.00 | 75.00 | 1500.00 | 9.00 | 180.00 | 60.00 | 1200.00 | 55.00 | 1100.00 | 180.00 | 3600.00 | 180.00 | BHARAT CONSTRUCTION & CO.
94.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110 mm dia coupler | 10.00 | Each | 74.00 | 100.00 | 1000.00 | 140.00 | 1400.00 | 137.00 | 1370.00 | 38.00 | 380.00 | 120.00 | 1200.00 | 99.00 | 990.00 | 230.00 | 2300.00 | 380.00 | BHARAT CONSTRUCTION & CO.
95.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. Cleaning Point | 2.00 | Each | 75.00 | 300.00 | 600.00 | 250.00 | 500.00 | 254.00 | 508.00 | 90.00 | 180.00 | 200.00 | 400.00 | 171.00 | 342.00 | 200.00 | 400.00 | 180.00 | BHARAT CONSTRUCTION & CO.
96.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes as per IS-13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 75mm dia SWR UPVC pipe lines laid complete | 60.00 | Meter | 76.00 | 150.00 | 9000.00 | 1260.00 | 75600.00 | 427.00 | 25620.00 | 872.00 | 52320.00 | 300.00 | 18000.00 | 1018.00 | 61080.00 | 380.00 | 22800.00 | 9000.00 | RECHI CONSTRUCTION PVT LTD
97.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes as per IS-13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge. P Trap 110X75 | 15.00 | Each | 77.00 | 300.00 | 4500.00 | 200.00 | 3000.00 | 396.00 | 5940.00 | 68.00 | 1020.00 | 180.00 | 2700.00 | 144.00 | 2160.00 | 400.00 | 6000.00 | 1020.00 | BHARAT CONSTRUCTION & CO.
98.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes as per IS-13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge. Tee 75 x 75 x 75 mm | 15.00 | Each | 78.00 | 300.00 | 4500.00 | 200.00 | 3000.00 | 196.00 | 2940.00 | 96.00 | 1440.00 | 180.00 | 2700.00 | 142.00 | 2130.00 | 180.00 | 2700.00 | 1440.00 | BHARAT CONSTRUCTION & CO.
99.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes as per IS-13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 75 mm dia Single Junction 75mm x 75 mm x 75 mm | 10.00 | Each | 79.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 259.00 | 2590.00 | 72.00 | 720.00 | 200.00 | 2000.00 | 185.00 | 1850.00 | 190.00 | 1900.00 | 720.00 | BHARAT CONSTRUCTION & CO.
100.00 | Providing and fixing of Lcd Mini Aerosol Dispenser with perfume cans of make Euronics or approved equivalent make alongwith all fittings and fixture all complete as per direction Engineer in charge. Lcd Mini Aerosol Dispenser with perfume cans- (Euronics make or equivalent) | 33.00 | Each | 80.00 | 1800.00 | 59400.00 | 1350.00 | 44550.00 | 1500.00 | 49500.00 | 1671.00 | 55143.00 | 1000.00 | 33000.00 | 1260.00 | 41580.00 | 3000.00 | 99000.00 | 33000.00 | MGANDHI CONTRACTORS PVT LTD
101.00 | Providing and laying Vitrified tiles ( Kajaria or equivalent ) in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 1200 mm | 446.00 | Sqm | 81.00 | 1150.00 | 512900.00 | 1260.00 | 561960.00 | 1300.00 | 579800.00 | 1115.00 | 497290.00 | 1050.00 | 468300.00 | 1059.00 | 472314.00 | 1000.00 | 446000.00 | 446000.00 | RADHIKEY ENTERPRISES
102.00 | Providing and laying Vitrified tiles ( Kajaria or equivalent ) in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600 x 1200 mm | 1855.00 | Sqm | 82.00 | 1350.00 | 2504250.00 | 1300.00 | 2411500.00 | 1300.00 | 2411500.00 | 1064.00 | 1973720.00 | 1050.00 | 1947750.00 | 1100.00 | 2040500.00 | 900.00 | 1669500.00 | 1669500.00 | RADHIKEY ENTERPRISES
103.00 | Supply of Down Lighter type ceiling mounted Mounted type LED type 18 watt Down light fixture complete with all accessories and drivers etc as required (Makes-Jaquar Areva Prime IDL-WHT-LARP01R018XC or similar & equivalent in other approved makes) | 420.00 | Each | 83.00 | 1000.00 | 420000.00 | 900.00 | 378000.00 | 950.00 | 399000.00 | 672.00 | 282240.00 | 900.00 | 378000.00 | 775.00 | 325500.00 | 1300.00 | 546000.00 | 282240.00 | BHARAT CONSTRUCTION & CO.
104.00 | Supply of 10 W, 600 mm length, indoor surface mounted LED batten made up of aluminium housing, integrated electronic driver along with other accessories and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply complete as required as per technical specifications. M/s Havells Lumiline BS10WLED865SPCWH or similar & equivalent in other approved makes | 64.00 | Each | 84.00 | 2800.00 | 179200.00 | 400.00 | 25600.00 | 350.00 | 22400.00 | 121.00 | 7744.00 | 350.00 | 22400.00 | 320.00 | 20480.00 | 400.00 | 25600.00 | 7744.00 | BHARAT CONSTRUCTION & CO.
105.00 | SITC of flexible LED light strip 15 W Per running meter in transparent unit with approx 120 Nos of LED per meter (IP 65) complete with driver, converter etc as required ( make : Jaqaur IST WHT LSTP04X015XC or similar & equivalent in other approved makes) | 60.00 | Mtr | 85.00 | 1000.00 | 60000.00 | 495.00 | 29700.00 | 500.00 | 30000.00 | 90.00 | 5400.00 | 400.00 | 24000.00 | 423.00 | 25380.00 | 300.00 | 18000.00 | 5400.00 | BHARAT CONSTRUCTION & CO.
106.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 210.00 | Point | 86.00 | 1200.00 | 252000.00 | 1170.00 | 245700.00 | 1100.00 | 231000.00 | 770.00 | 161700.00 | 1000.00 | 210000.00 | 1065.00 | 223650.00 | 1500.00 | 315000.00 | 161700.00 | BHARAT CONSTRUCTION & CO.
107.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Note: - This item does not include the cost of MCB or 16Amp/ 6 Amp one way switches. | 210.00 | Point | 87.00 | 1000.00 | 210000.00 | 765.00 | 160650.00 | 650.00 | 136500.00 | 370.00 | 77700.00 | 700.00 | 147000.00 | 645.00 | 135450.00 | 1200.00 | 252000.00 | 77700.00 | BHARAT CONSTRUCTION & CO.
108.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 400.00 | Mtr | 88.00 | 400.00 | 160000.00 | 325.00 | 130000.00 | 150.00 | 60000.00 | 211.00 | 84400.00 | 250.00 | 100000.00 | 250.00 | 100000.00 | 320.00 | 128000.00 | 60000.00 | East India Construction Company
109.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.(i)2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 280.00 | Mtr | 89.00 | 300.00 | 84000.00 | 200.00 | 56000.00 | 150.00 | 42000.00 | 156.00 | 43680.00 | 180.00 | 50400.00 | 162.00 | 45360.00 | 280.00 | 78400.00 | 42000.00 | East India Construction Company
110.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as require | 37.00 | Each | 90.00 | 600.00 | 22200.00 | 400.00 | 14800.00 | 350.00 | 12950.00 | 251.00 | 9287.00 | 350.00 | 12950.00 | 337.00 | 12469.00 | 800.00 | 29600.00 | 9287.00 | BHARAT CONSTRUCTION & CO.
111.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 37.00 | Each | 91.00 | 500.00 | 18500.00 | 350.00 | 12950.00 | 300.00 | 11100.00 | 151.00 | 5587.00 | 300.00 | 11100.00 | 266.00 | 9842.00 | 350.00 | 12950.00 | 5587.00 | BHARAT CONSTRUCTION & CO.
112.00 | Supply & Fixing metal box of following size on surface or in recess with suitable size of phenolic laminate sheet in cover including painting etc as required. 100mm X 100mm X 60mm | 60.00 | Each | 92.00 | 600.00 | 36000.00 | 150.00 | 9000.00 | 120.00 | 7200.00 | 146.00 | 8760.00 | 120.00 | 7200.00 | 115.00 | 6900.00 | 300.00 | 18000.00 | 6900.00 | BHARDWAJ TECHNOINFRA PRIVATE LIMITED
113.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting /LED Fitting / LED Lumaire / fitting of all types, complete with all accessories and tube / lamp etc. directly on ceiling/ wall/Surafce , including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 610.00 | Each | 93.00 | 500.00 | 305000.00 | 135.00 | 82350.00 | 120.00 | 73200.00 | 92.00 | 56120.00 | 90.00 | 54900.00 | 109.00 | 66490.00 | 100.00 | 61000.00 | 54900.00 | MGANDHI CONTRACTORS PVT LTD
114.00 | Supplying of Exhaust Air cabinate INLINE FANS of air quantuty 5000 CFM, suitable for installing in any position in vertical or horizontal ducts. The casing shall be double skin, internally acoustically lined and constructed of galvanised steel. The fan shall be DIDW/SISW with forward / backward curve impeller fitted with maintenance free external rotor motor. The motor shall be suitable for 220±10% / 415±10% volt single/three phase 50 cycles AC supply. Quoted price shall be inclusive of starter panel with cabling between starter panel and fan. The fan shall have low sound level exceeding not more than 65 DBA at three metre distance. | 10.00 | JOB | 94.00 | 20000.00 | 200000.00 | 90000.00 | 900000.00 | 90000.00 | 900000.00 | 920.00 | 9200.00 | 70000.00 | 700000.00 | 79105.00 | 791050.00 | 15000.00 | 150000.00 | 9200.00 | BHARAT CONSTRUCTION & CO.
115.00 | Installing, testing and commissioning of cabinate INLINE FANS in any position in vertical or horizontal ducts. The cost shall be inclusive of making connection between starter panel & fan and making cowl cover for preventing bird intrusion through duct etc complete as required. | 10.00 | JOB | 95.00 | 10000.00 | 100000.00 | 700.00 | 7000.00 | 700.00 | 7000.00 | 571.00 | 5710.00 | 600.00 | 6000.00 | 525.00 | 5250.00 | 1500.00 | 15000.00 | 5250.00 | BHARDWAJ TECHNOINFRA PRIVATE LIMITED
116.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal square/rectangular/round ducting complete with neoprene rubber gaskets,elbows,splitter, dampers,vanes,hangers,supports etc.as per approved drawings and specifications of following sheet thickness complete as required. Site fabricated GSS sheet metal ducting as per IS 655-2006, 0.63mm thick | 96.00 | sqm | 96.00 | 2000.00 | 192000.00 | 720.00 | 69120.00 | 700.00 | 67200.00 | 771.00 | 74016.00 | 700.00 | 67200.00 | 612.50 | 58800.00 | 400.00 | 38400.00 | 38400.00 | RADHIKEY ENTERPRISES
117.00 | Supply,fixing,testing commissioning of air diffuser of powder coated aluminium without volume control dampers with anti smudge ring & removable core | 35.00 | sqm | 97.00 | 4500.00 | 157500.00 | 6300.00 | 220500.00 | 6000.00 | 210000.00 | 6472.00 | 226520.00 | 5000.00 | 175000.00 | 5111.00 | 178885.00 | 6000.00 | 210000.00 | 157500.00 | RECHI CONSTRUCTION PVT LTD
118.00 | Dismantling of Existing all Light Fixture , Fans , Ducts, Wiring , Conduits , all items related to Electrical ( as required ) as per Direction of Engineer In Charge and making list of Items Per toilet room and handing Over to Department i/c shifting the materials from Terminal Building to Electrical Store (distance upto 1000 mtrs) if required as decided by Engineer in Charge complete in all aspect | 9.00 | JOB | 98.00 | 2000.00 | 18000.00 | 2000.00 | 18000.00 | 1000.00 | 9000.00 | 772.00 | 6948.00 | 1500.00 | 13500.00 | 1427.50 | 12847.50 | 3000.00 | 27000.00 | 6948.00 | BHARAT CONSTRUCTION & CO.
| Total in Figures |  |  |  |  | 19599608.00 |  | 17926069.30 |  | 17556857.08 |  | 14129182.49 |  | 13778034.00 |  | 15848697.90 |  | 15989893.71
Lowest Amount Quoted BY: MGANDHI CONTRACTORS PVT LTD(13778034.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of existing toilets of NTB at Gaya Airport Tender ID: 2024_AAI_206837_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MGANDHI CONTRACTORS PVT LTD (BID ID -747717) | 13778034.00 | L1
| 2 | BHARAT CONSTRUCTION & CO. (BID ID -747282) | 14129182.49 | L2
| 3 | BHARDWAJ TECHNOINFRA PRIVATE LIMITED (BID ID -748861) | 15848697.90 | L3
| 4 | RADHIKEY ENTERPRISES (BID ID -747744) | 15989893.71 | L4
| 5 | East India Construction Company (BID ID -748712) | 17556857.08 | L5
| 6 | M/S GALAXEE (BID ID -742423) | 17926069.30 | L6
| 7 | RECHI CONSTRUCTION PVT LTD (BID ID -744952) | 19599608.00 | L7