## BoQ1
Government eProcurement System Created By: SIVARAJ SARANGAPANNI Created Date/Time: 07-Oct-2024 05:20 PM Tender Title: Construction of Security office building in Operational area at Gate No 4 6 and 9 at Chennai Airport Chennai Civil Electrical works Tender ID: 2024_AAI_206993_1
Tender Inviting Authority: Asst. Genernal Manager (Engg-Civil)
Name of Work:Construction of Security office building in Operational area at Gate No. 4, 6 & 9 at Chennai Airport, Chennai (Civil+Electrical works)
Contract No: 2024_AAI_206993_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD (GSTN-19AAGCR6941N1ZN) BID ID -744955 |  | Hiranya Construction (GSTN-33AAHFH9090C2ZG) BID ID -747638 |  | S.Srinivasan (GSTN-33AASPS5064L1Z1) BID ID -747698 |  | K.MURUGESAN (GSTN-33AAGPM1286N2ZE) BID ID -747956 |  | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -747988 |  | M/s.Thomas iyadurai Infrastructure Pvt Ltd (GSTN-33AAECT5674J1Z1) BID ID -748185 |  | CREATORS ENGINEERS AND INTERIORS PVT LTD (GSTN-33AACCC4738J1ZP) BID ID -748278 |  | ATR INFRAPROJECTS PVT LTD (GSTN-NA) BID ID -747478 |  | MOTHERLAND BUILDERS (GSTN-NA) BID ID -748373
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Earth work Excavation | 415.50 | Cum | 100.00 | 200.00 | 83100.00 | 284.00 | 118002.00 | 275.00 | 114262.50 | 350.00 | 145425.00 | 400.00 | 166200.00 | 201.00 | 83515.50 | 203.00 | 84346.50 | 85.00 | 35317.50 | 350.00 | 145425.00 | 35317.50 | ATR INFRAPROJECTS PVT LTD
2.00 | Filling excavated Earth | 415.50 | Cum | 100.00 | 200.00 | 83100.00 | 43.00 | 17866.50 | 200.00 | 83100.00 | 100.00 | 41550.00 | 200.00 | 83100.00 | 8.03 | 3336.47 | 185.00 | 76867.50 | 146.00 | 60663.00 | 250.00 | 103875.00 | 3336.47 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
3.00 | Filling of local earth | 181.00 | Cum | 10.00 | 800.00 | 144800.00 | 1600.00 | 289600.00 | 950.00 | 171950.00 | 100.00 | 18100.00 | 600.00 | 108600.00 | 280.00 | 50680.00 | 725.00 | 131225.00 | 1154.00 | 208874.00 | 800.00 | 144800.00 | 18100.00 | K.MURUGESAN
4.00 | P/L PCC 1:3:6 | 59.50 | Cum | 10.00 | 7000.00 | 416500.00 | 4250.00 | 252875.00 | 7300.00 | 434350.00 | 7500.00 | 446250.00 | 6500.00 | 386750.00 | 4300.00 | 255850.00 | 6800.00 | 404600.00 | 6049.00 | 359915.50 | 5600.00 | 333200.00 | 252875.00 | Hiranya Construction
5.00 | P/L RCC 1:1.5:3 upto plinth level | 22.00 | Cum | 10.00 | 8000.00 | 176000.00 | 8100.00 | 178200.00 | 8500.00 | 187000.00 | 9200.00 | 202400.00 | 8000.00 | 176000.00 | 5650.00 | 124300.00 | 8600.00 | 189200.00 | 7100.00 | 156200.00 | 8500.00 | 187000.00 | 124300.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
6.00 | P/L RCC 1:1.5:3 upto floor five level | 10.00 | Cum | 10.00 | 9000.00 | 90000.00 | 8220.00 | 82200.00 | 9500.00 | 95000.00 | 9400.00 | 94000.00 | 8500.00 | 85000.00 | 5650.00 | 56500.00 | 8690.00 | 86900.00 | 7404.00 | 74040.00 | 9000.00 | 90000.00 | 56500.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
7.00 | P/L RCC 1:1.5:3 beams, suspended floors | 87.00 | Cum | 10.00 | 10000.00 | 870000.00 | 8220.00 | 715140.00 | 9900.00 | 861300.00 | 9500.00 | 826500.00 | 8000.00 | 696000.00 | 5650.00 | 491550.00 | 9500.00 | 826500.00 | 7533.00 | 655371.00 | 9500.00 | 826500.00 | 491550.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
8.00 | Centering and shuttering for Foundations, footings | 206.50 | Sqm | 10.00 | 380.00 | 78470.00 | 410.00 | 84665.00 | 350.00 | 72275.00 | 800.00 | 165200.00 | 600.00 | 123900.00 | 725.00 | 149712.50 | 500.00 | 103250.00 | 456.00 | 94164.00 | 500.00 | 103250.00 | 72275.00 | S.Srinivasan
9.00 | Centering and shuttering for Suspended floors, roofs | 367.50 | Sqm | 10.00 | 800.00 | 294000.00 | 630.00 | 231525.00 | 850.00 | 312375.00 | 800.00 | 294000.00 | 600.00 | 220500.00 | 725.00 | 266437.50 | 860.00 | 316050.00 | 577.00 | 212047.50 | 700.00 | 257250.00 | 212047.50 | ATR INFRAPROJECTS PVT LTD
10.00 | Centering and shuttering for Lintels, beams, plinth beams | 410.00 | Sqm | 10.00 | 800.00 | 328000.00 | 630.00 | 258300.00 | 750.00 | 307500.00 | 900.00 | 369000.00 | 650.00 | 266500.00 | 725.00 | 297250.00 | 725.00 | 297250.00 | 577.00 | 236570.00 | 650.00 | 266500.00 | 236570.00 | ATR INFRAPROJECTS PVT LTD
11.00 | Centering and shuttering for Columns, Pillars, Piers | 258.00 | Sqm | 10.00 | 850.00 | 219300.00 | 630.00 | 162540.00 | 900.00 | 232200.00 | 800.00 | 206400.00 | 700.00 | 180600.00 | 730.00 | 188340.00 | 815.00 | 210270.00 | 577.00 | 148866.00 | 600.00 | 154800.00 | 148866.00 | ATR INFRAPROJECTS PVT LTD
12.00 | Steel reinforcement with TMT Bar | 19522.00 | Kg | 10.00 | 90.00 | 1756980.00 | 95.00 | 1854590.00 | 108.00 | 2108376.00 | 88.00 | 1717936.00 | 88.00 | 1717936.00 | 70.00 | 1366540.00 | 95.00 | 1854590.00 | 81.00 | 1581282.00 | 80.00 | 1561760.00 | 1366540.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
13.00 | P/L RMC M30 grade concrete upto plinth level | 103.00 | Cum | 10.00 | 9000.00 | 927000.00 | 8600.00 | 885800.00 | 9000.00 | 927000.00 | 9300.00 | 957900.00 | 8100.00 | 834300.00 | 6100.00 | 628300.00 | 9050.00 | 932150.00 | 8505.00 | 876015.00 | 8500.00 | 875500.00 | 628300.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
14.00 | P/L ACC Blocks | 159.00 | Cum | 10.00 | 8000.00 | 1272000.00 | 8600.00 | 1367400.00 | 9000.00 | 1431000.00 | 9300.00 | 1478700.00 | 10500.00 | 1669500.00 | 6100.00 | 969900.00 | 8150.00 | 1295850.00 | 8505.00 | 1352295.00 | 9500.00 | 1510500.00 | 969900.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
15.00 | P/L ceramic glazed wall tiles | 30.00 | Sqm | 10.00 | 1100.00 | 33000.00 | 950.00 | 28500.00 | 950.00 | 28500.00 | 1300.00 | 39000.00 | 1200.00 | 36000.00 | 980.00 | 29400.00 | 1130.00 | 33900.00 | 1308.00 | 39240.00 | 1250.00 | 37500.00 | 28500.00 | Hiranya Construction, S.Srinivasan
16.00 | Float glass panes 5mm thick | 26.50 | Sqm | 10.00 | 2000.00 | 53000.00 | 1050.00 | 27825.00 | 1400.00 | 37100.00 | 1200.00 | 31800.00 | 900.00 | 23850.00 | 405.00 | 10732.50 | 1400.00 | 37100.00 | 745.00 | 19742.50 | 1000.00 | 26500.00 | 10732.50 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
17.00 | P/F 18mm thick partical board | 24.00 | Metre | 10.00 | 550.00 | 13200.00 | 1220.00 | 29280.00 | 950.00 | 22800.00 | 1500.00 | 36000.00 | 1000.00 | 24000.00 | 405.00 | 9720.00 | 1040.00 | 24960.00 | 523.00 | 12552.00 | 1500.00 | 36000.00 | 9720.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
18.00 | P/F UPVC Two track two panels sliding window | 9.00 | Sqm | 10.00 | 8000.00 | 72000.00 | 6350.00 | 57150.00 | 8800.00 | 79200.00 | 6500.00 | 58500.00 | 5500.00 | 49500.00 | 6385.00 | 57465.00 | 9050.00 | 81450.00 | 9155.00 | 82395.00 | 4750.00 | 42750.00 | 42750.00 | MOTHERLAND BUILDERS
19.00 | P/F UPVC Two Three track three panels sliding window | 17.00 | Sqm | 10.00 | 9000.00 | 153000.00 | 7620.00 | 129540.00 | 9900.00 | 168300.00 | 7500.00 | 127500.00 | 6000.00 | 102000.00 | 6385.00 | 108545.00 | 10400.00 | 176800.00 | 11117.00 | 188989.00 | 5000.00 | 85000.00 | 85000.00 | MOTHERLAND BUILDERS
20.00 | P/F UPVC Fixed window/ventilator | 1.50 | Sqm | 10.00 | 8000.00 | 12000.00 | 4500.00 | 6750.00 | 8000.00 | 12000.00 | 6500.00 | 9750.00 | 5000.00 | 7500.00 | 7000.00 | 10500.00 | 9500.00 | 14250.00 | 9155.00 | 13732.50 | 4500.00 | 6750.00 | 6750.00 | Hiranya Construction, MOTHERLAND BUILDERS
21.00 | Steel work in built up tubular hollow tubes | 27930.00 | Kg | 10.00 | 165.00 | 4608450.00 | 117.00 | 3267810.00 | 155.00 | 4329150.00 | 160.00 | 4468800.00 | 110.00 | 3072300.00 | 152.00 | 4245360.00 | 140.00 | 3910200.00 | 133.00 | 3714690.00 | 120.00 | 3351600.00 | 3072300.00 | vk sam engineering
22.00 | Steel work welded in built up sections In gratings, frames | 1600.00 | Kg | 10.00 | 160.00 | 256000.00 | 117.00 | 187200.00 | 160.00 | 256000.00 | 150.00 | 240000.00 | 100.00 | 160000.00 | 140.00 | 224000.00 | 131.00 | 209600.00 | 133.00 | 212800.00 | 150.00 | 240000.00 | 160000.00 | vk sam engineering
23.00 | P/L rectified ceramic floor tiles of 300x300mm | 6.00 | Sqm | 10.00 | 1250.00 | 7500.00 | 1220.00 | 7320.00 | 950.00 | 5700.00 | 1200.00 | 7200.00 | 1200.00 | 7200.00 | 1316.00 | 7896.00 | 1400.00 | 8400.00 | 1308.00 | 7848.00 | 1500.00 | 9000.00 | 5700.00 | S.Srinivasan
24.00 | P/L Vitrified tiles of 600x600mm | 353.50 | Sqm | 10.00 | 1200.00 | 424200.00 | 1220.00 | 431270.00 | 1500.00 | 530250.00 | 1600.00 | 565600.00 | 1300.00 | 459550.00 | 1035.00 | 365872.50 | 1490.00 | 526715.00 | 1242.00 | 439047.00 | 1250.00 | 441875.00 | 365872.50 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
25.00 | P/L Precoated galvanised iron profile sheets | 513.00 | Sqm | 10.00 | 700.00 | 359100.00 | 585.00 | 300105.00 | 800.00 | 410400.00 | 950.00 | 487350.00 | 900.00 | 461700.00 | 600.00 | 307800.00 | 680.00 | 348840.00 | 719.00 | 368847.00 | 600.00 | 307800.00 | 300105.00 | Hiranya Construction
26.00 | P/L Precoated galvanised steel sheets Ridges plain | 22.40 | Metre | 10.00 | 500.00 | 11200.00 | 700.00 | 15680.00 | 450.00 | 10080.00 | 600.00 | 13440.00 | 500.00 | 11200.00 | 420.00 | 9408.00 | 725.00 | 16240.00 | 379.00 | 8489.60 | 600.00 | 13440.00 | 8489.60 | ATR INFRAPROJECTS PVT LTD
27.00 | Cement plaster of 12mm thick | 431.00 | Sqm | 10.00 | 300.00 | 129300.00 | 365.00 | 157315.00 | 400.00 | 172400.00 | 390.00 | 168090.00 | 500.00 | 215500.00 | 210.00 | 90510.00 | 365.00 | 157315.00 | 547.00 | 235757.00 | 450.00 | 193950.00 | 90510.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
28.00 | Cement plaster of 15mm thick | 324.50 | Sqm | 10.00 | 350.00 | 113575.00 | 365.00 | 118442.50 | 425.00 | 137912.50 | 410.00 | 133045.00 | 500.00 | 162250.00 | 265.00 | 85992.50 | 410.00 | 133045.00 | 699.00 | 226825.50 | 450.00 | 146025.00 | 85992.50 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
29.00 | Distempering with acrylic distemper | 431.00 | Sqm | 10.00 | 130.00 | 56030.00 | 96.00 | 41376.00 | 85.00 | 36635.00 | 75.00 | 32325.00 | 100.00 | 43100.00 | 105.00 | 45255.00 | 122.00 | 52582.00 | 157.00 | 67667.00 | 150.00 | 64650.00 | 32325.00 | K.MURUGESAN
30.00 | Finishing walls with Acrylic Smooth exterior | 325.00 | Sqm | 10.00 | 140.00 | 45500.00 | 120.00 | 39000.00 | 165.00 | 53625.00 | 100.00 | 32500.00 | 100.00 | 32500.00 | 210.00 | 68250.00 | 149.00 | 48425.00 | 213.00 | 69225.00 | 200.00 | 65000.00 | 32500.00 | K.MURUGESAN, vk sam engineering
31.00 | Painting with synthetic enamel paint | 443.50 | Sqm | 10.00 | 190.00 | 84265.00 | 96.00 | 42576.00 | 155.00 | 68742.50 | 120.00 | 53220.00 | 150.00 | 66525.00 | 145.00 | 64307.50 | 185.00 | 82047.50 | 176.00 | 78056.00 | 250.00 | 110875.00 | 42576.00 | Hiranya Construction
32.00 | Providing and applying white cement based putty | 431.00 | Sqm | 10.00 | 120.00 | 51720.00 | 65.30 | 28144.30 | 165.00 | 71115.00 | 120.00 | 51720.00 | 150.00 | 64650.00 | 145.00 | 62495.00 | 158.00 | 68098.00 | 131.00 | 56461.00 | 240.00 | 103440.00 | 28144.30 | Hiranya Construction
33.00 | Demolishing cement concrete 1:3:6 or richer mix | 22.00 | Cum | 10.00 | 2500.00 | 55000.00 | 1400.00 | 30800.00 | 2500.00 | 55000.00 | 1800.00 | 39600.00 | 2500.00 | 55000.00 | 350.00 | 7700.00 | 1400.00 | 30800.00 | 3402.00 | 74844.00 | 1500.00 | 33000.00 | 7700.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
34.00 | Demolishing R.C.C. work | 1.00 | Cum | 10.00 | 2500.00 | 2500.00 | 1400.00 | 1400.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 3900.00 | 3900.00 | 4100.00 | 4100.00 | 3402.00 | 3402.00 | 4000.00 | 4000.00 | 1400.00 | Hiranya Construction
35.00 | Demolishing brick work | 73.00 | Cum | 10.00 | 1500.00 | 109500.00 | 1220.00 | 89060.00 | 200.00 | 14600.00 | 850.00 | 62050.00 | 900.00 | 65700.00 | 190.00 | 13870.00 | 1400.00 | 102200.00 | 2977.00 | 217321.00 | 500.00 | 36500.00 | 13870.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
36.00 | Dismantling tile work in floors and roofs | 207.00 | Sqm | 10.00 | 50.00 | 10350.00 | 35.00 | 7245.00 | 75.00 | 15525.00 | 150.00 | 31050.00 | 60.00 | 12420.00 | 35.00 | 7245.00 | 95.00 | 19665.00 | 425.00 | 87975.00 | 200.00 | 41400.00 | 7245.00 | Hiranya Construction, M/s.Thomas iyadurai Infrastructure Pvt Ltd
37.00 | Dismantling G.S Sheet roofing | 200.00 | Sqm | 10.00 | 150.00 | 30000.00 | 25.00 | 5000.00 | 165.00 | 33000.00 | 150.00 | 30000.00 | 50.00 | 10000.00 | 18.00 | 3600.00 | 86.00 | 17200.00 | 182.00 | 36400.00 | 300.00 | 60000.00 | 3600.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
38.00 | Dismantling cement asbestos | 400.00 | Sqm | 10.00 | 50.00 | 20000.00 | 25.00 | 10000.00 | 85.00 | 34000.00 | 100.00 | 40000.00 | 70.00 | 28000.00 | 12.00 | 4800.00 | 50.00 | 20000.00 | 188.00 | 75200.00 | 250.00 | 100000.00 | 4800.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
39.00 | Dismantling PVC rain water pipe | 36.00 | Metre | 10.00 | 65.00 | 2340.00 | 25.00 | 900.00 | 115.00 | 4140.00 | 100.00 | 3600.00 | 20.00 | 720.00 | 8.00 | 288.00 | 95.00 | 3420.00 | 115.00 | 4140.00 | 200.00 | 7200.00 | 288.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
40.00 | Dismantling aluminium/ Gypsum partitions | 316.00 | Sqm | 10.00 | 40.00 | 12640.00 | 25.00 | 7900.00 | 250.00 | 79000.00 | 100.00 | 31600.00 | 50.00 | 15800.00 | 42.00 | 13272.00 | 122.00 | 38552.00 | 200.00 | 63200.00 | 300.00 | 94800.00 | 7900.00 | Hiranya Construction
41.00 | P/F wash basin with 630x450mm | 4.00 | Nos | 10.00 | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 50.00 | 200.00 | 4000.00 | 16000.00 | 7800.00 | 31200.00 | 3200.00 | 12800.00 | 9113.00 | 36452.00 | 6000.00 | 24000.00 | 200.00 | K.MURUGESAN
42.00 | P/F floor mounted water closet | 4.00 | Nos | 10.00 | 17000.00 | 68000.00 | 16700.00 | 66800.00 | 18500.00 | 74000.00 | 100.00 | 400.00 | 5000.00 | 20000.00 | 2810.00 | 11240.00 | 14000.00 | 56000.00 | 7898.00 | 31592.00 | 10000.00 | 40000.00 | 400.00 | K.MURUGESAN
43.00 | P/F cpvc pipe 15mm dia internal work-Exposed on wall | 40.00 | Metre | 10.00 | 280.00 | 11200.00 | 360.00 | 14400.00 | 280.00 | 11200.00 | 450.00 | 18000.00 | 150.00 | 6000.00 | 210.00 | 8400.00 | 320.00 | 12800.00 | 547.00 | 21880.00 | 300.00 | 12000.00 | 6000.00 | vk sam engineering
44.00 | Providing and placing polyethylene water storage tank | 4000.00 | Litre | 10.00 | 10.00 | 40000.00 | 10.40 | 41600.00 | 12.00 | 48000.00 | 15.00 | 60000.00 | 12.00 | 48000.00 | 10.00 | 40000.00 | 14.00 | 56000.00 | 14.00 | 56000.00 | 10.00 | 40000.00 | 40000.00 | RECHI CONSTRUCTION PVT LTD, M/s.Thomas iyadurai Infrastructure Pvt Ltd, MOTHERLAND BUILDERS
45.00 | P/F C.P. brass long nose bib cock | 4.00 | Nos | 10.00 | 800.00 | 3200.00 | 1200.00 | 4800.00 | 850.00 | 3400.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 685.00 | 2740.00 | 950.00 | 3800.00 | 2977.00 | 11908.00 | 2000.00 | 8000.00 | 2740.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
46.00 | Providing Temporary Portable Cabinets | 48.00 | Nos | 10.00 | 23000.00 | 1104000.00 | 32000.00 | 1536000.00 | 29000.00 | 1392000.00 | 2500.00 | 120000.00 | 20000.00 | 960000.00 | 31000.00 | 1488000.00 | 41000.00 | 1968000.00 | 43321.00 | 2079408.00 | 35500.00 | 1704000.00 | 120000.00 | K.MURUGESAN
47.00 | Electrical Works
47.01 | SH: I Internal Electrification Works
47.02 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. A) Group A | 57.00 | Point | 10.00 | 1200.00 | 68400.00 | 1250.00 | 71250.00 | 1500.00 | 85500.00 | 2500.00 | 142500.00 | 1289.00 | 73473.00 | 985.00 | 56145.00 | 1310.00 | 74670.00 | 1094.00 | 62358.00 | 1350.00 | 76950.00 | 56145.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
48.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
48.01 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Metre | 10.00 | 325.00 | 65000.00 | 340.00 | 68000.00 | 250.00 | 50000.00 | 500.00 | 100000.00 | 221.00 | 44200.00 | 298.00 | 59600.00 | 275.00 | 55000.00 | 243.00 | 48600.00 | 370.00 | 74000.00 | 44200.00 | vk sam engineering
48.02 | 4x2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 75.00 | Metre | 10.00 | 500.00 | 37500.00 | 405.00 | 30375.00 | 700.00 | 52500.00 | 600.00 | 45000.00 | 349.00 | 26175.00 | 452.00 | 33900.00 | 410.00 | 30750.00 | 365.00 | 27375.00 | 560.00 | 42000.00 | 26175.00 | vk sam engineering
48.03 | 2x4 sq.mm + 1 x 4 sq.mm earth wire | 115.00 | Metre | 10.00 | 400.00 | 46000.00 | 365.00 | 41975.00 | 300.00 | 34500.00 | 1000.00 | 115000.00 | 290.00 | 33350.00 | 345.00 | 39675.00 | 320.00 | 36800.00 | 425.00 | 48875.00 | 430.00 | 49450.00 | 33350.00 | vk sam engineering
48.04 | 4x4 sq.mm+ 2x4 sq.mm earth wire | 75.00 | Metre | 10.00 | 600.00 | 45000.00 | 540.00 | 40500.00 | 450.00 | 33750.00 | 1200.00 | 90000.00 | 491.00 | 36825.00 | 546.00 | 40950.00 | 500.00 | 37500.00 | 486.00 | 36450.00 | 680.00 | 51000.00 | 33750.00 | S.Srinivasan
49.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required.
49.01 | 5 x 4 sq. mm | 100.00 | Metre | 10.00 | 300.00 | 30000.00 | 260.00 | 26000.00 | 550.00 | 55000.00 | 1600.00 | 160000.00 | 273.00 | 27300.00 | 150.00 | 15000.00 | 500.00 | 50000.00 | 304.00 | 30400.00 | 340.00 | 34000.00 | 15000.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
50.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. a)25mm | 120.00 | Metre | 10.00 | 260.00 | 31200.00 | 150.00 | 18000.00 | 100.00 | 12000.00 | 300.00 | 36000.00 | 188.00 | 22560.00 | 207.00 | 24840.00 | 122.00 | 14640.00 | 316.00 | 37920.00 | 260.00 | 31200.00 | 12000.00 | S.Srinivasan
51.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. A) Group A | 29.00 | Point | 10.00 | 900.00 | 26100.00 | 890.00 | 25810.00 | 1500.00 | 43500.00 | 1500.00 | 43500.00 | 1200.00 | 34800.00 | 627.00 | 18183.00 | 725.00 | 21025.00 | 316.00 | 9164.00 | 780.00 | 22620.00 | 9164.00 | ATR INFRAPROJECTS PVT LTD
52.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 12.00 | Each | 10.00 | 500.00 | 6000.00 | 390.00 | 4680.00 | 650.00 | 7800.00 | 600.00 | 7200.00 | 520.00 | 6240.00 | 385.00 | 4620.00 | 455.00 | 5460.00 | 1179.00 | 14148.00 | 480.00 | 5760.00 | 4620.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
53.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 17.00 | Each | 10.00 | 600.00 | 10200.00 | 540.00 | 9180.00 | 650.00 | 11050.00 | 850.00 | 14450.00 | 650.00 | 11050.00 | 473.00 | 8041.00 | 725.00 | 12325.00 | 1580.00 | 26860.00 | 590.00 | 10030.00 | 8041.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
54.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc.as required. a)9 Module (200mmX75mm) | 13.00 | Each | 10.00 | 500.00 | 6500.00 | 490.00 | 6370.00 | 650.00 | 8450.00 | 700.00 | 9100.00 | 550.00 | 7150.00 | 325.00 | 4225.00 | 725.00 | 9425.00 | 15795.00 | 205335.00 | 400.00 | 5200.00 | 4225.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
55.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
55.01 | 5/6 A switch | 39.00 | Each | 10.00 | 100.00 | 3900.00 | 65.00 | 2535.00 | 300.00 | 11700.00 | 300.00 | 11700.00 | 60.00 | 2340.00 | 84.00 | 3276.00 | 77.00 | 3003.00 | 1215.00 | 47385.00 | 100.00 | 3900.00 | 2340.00 | vk sam engineering
55.02 | 3 pin 5/6 A socket outlet | 39.00 | Each | 10.00 | 110.00 | 4290.00 | 105.00 | 4095.00 | 500.00 | 19500.00 | 300.00 | 11700.00 | 283.00 | 11037.00 | 99.00 | 3861.00 | 185.00 | 7215.00 | 1458.00 | 56862.00 | 125.00 | 4875.00 | 3861.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
56.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) a)4 way (4 + 12), Double door | 1.00 | Job | 10.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 3665.00 | 3665.00 | 3350.00 | 3350.00 | 18500.00 | 18500.00 | 24300.00 | 24300.00 | 4000.00 | 4000.00 | 3350.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
57.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . a) 8 way (4 + 24), Double door | 3.00 | Job | 10.00 | 8000.00 | 24000.00 | 9500.00 | 28500.00 | 25000.00 | 75000.00 | 6000.00 | 18000.00 | 11950.00 | 35850.00 | 8250.00 | 24750.00 | 14000.00 | 42000.00 | 30375.00 | 91125.00 | 10000.00 | 30000.00 | 18000.00 | K.MURUGESAN
58.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single pole | 55.00 | Job | 10.00 | 250.00 | 13750.00 | 180.00 | 9900.00 | 250.00 | 13750.00 | 310.00 | 17050.00 | 210.00 | 11550.00 | 210.00 | 11550.00 | 221.00 | 12155.00 | 20655.00 | 1136025.00 | 260.00 | 14300.00 | 9900.00 | Hiranya Construction
59.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
59.01 | 32 A Three Pole MCB | 9.00 | Each | 10.00 | 1050.00 | 9450.00 | 990.00 | 8910.00 | 1200.00 | 10800.00 | 2500.00 | 22500.00 | 1079.00 | 9711.00 | 629.00 | 5661.00 | 1670.00 | 15030.00 | 30375.00 | 273375.00 | 1000.00 | 9000.00 | 5661.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
59.02 | 32 A Three Pole Neutral Pole MCB | 9.00 | Each | 10.00 | 1250.00 | 11250.00 | 1100.00 | 9900.00 | 1000.00 | 9000.00 | 3000.00 | 27000.00 | 1079.00 | 9711.00 | 843.00 | 7587.00 | 1850.00 | 16650.00 | 32805.00 | 295245.00 | 1250.00 | 11250.00 | 7587.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
59.03 | 63 A Four Pole Isolator | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 1250.00 | 5000.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 950.00 | 3800.00 | 606.00 | 2424.00 | 2210.00 | 8840.00 | 36450.00 | 145800.00 | 1100.00 | 4400.00 | 2424.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
60.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each | 10.00 | 15.00 | 150.00 | 15.00 | 150.00 | 20.00 | 200.00 | 2000.00 | 20000.00 | 50.00 | 500.00 | 65.00 | 650.00 | 500.00 | 5000.00 | 61.00 | 610.00 | 50.00 | 500.00 | 150.00 | RECHI CONSTRUCTION PVT LTD, Hiranya Construction
61.00 | SH: II SITC of Light Fixtures and Fans
61.01 | Supply of 1200mm sweep, BLDC BEE 5 star rated ceiling fan suitable for 230 Volt 50 Hz AC Supply, with minimum 350 RPM and minimum Air delivery of 220 CMM with 30 cm down rod and other accessories, canopies, with out regulator etc. complete as required. | 14.00 | Each | 10.00 | 3000.00 | 42000.00 | 2700.00 | 37800.00 | 4000.00 | 56000.00 | 4000.00 | 56000.00 | 3640.00 | 50960.00 | 2200.00 | 30800.00 | 3200.00 | 44800.00 | 2552.00 | 35728.00 | 2500.00 | 35000.00 | 30800.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
62.00 | Supplying and fixing two module stepped type electronic BLDC fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 14.00 | Each | 10.00 | 350.00 | 4900.00 | 320.00 | 4480.00 | 500.00 | 7000.00 | 250.00 | 3500.00 | 360.00 | 5040.00 | 25.00 | 350.00 | 950.00 | 13300.00 | 486.00 | 6804.00 | 400.00 | 5600.00 | 350.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
63.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of length upto 30 cm with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 14.00 | Job | 10.00 | 3000.00 | 42000.00 | 300.00 | 4200.00 | 250.00 | 3500.00 | 100.00 | 1400.00 | 250.00 | 3500.00 | 180.00 | 2520.00 | 500.00 | 7000.00 | 1458.00 | 20412.00 | 200.00 | 2800.00 | 1400.00 | K.MURUGESAN
64.00 | Supply of 300mm sweep, metallic exhaust fan, minimum 1300 rpm, suitable for 230 volt 50 HZ Supply including all acessories etc. as required. | 3.00 | Each | 10.00 | 2000.00 | 6000.00 | 2450.00 | 7350.00 | 4500.00 | 13500.00 | 4500.00 | 13500.00 | 3500.00 | 10500.00 | 2450.00 | 7350.00 | 8200.00 | 24600.00 | 1458.00 | 4374.00 | 3500.00 | 10500.00 | 4374.00 | ATR INFRAPROJECTS PVT LTD
65.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 3.00 | Job | 10.00 | 500.00 | 1500.00 | 450.00 | 1350.00 | 500.00 | 1500.00 | 100.00 | 300.00 | 700.00 | 2100.00 | 400.00 | 1200.00 | 500.00 | 1500.00 | 425.00 | 1275.00 | 500.00 | 1500.00 | 300.00 | K.MURUGESAN
66.00 | Supply of LED flood light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 8800 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT of 5665 ± 355 Kelvin, CRI not less than 70, provided with 4 KV internal Surge Protection and 10 KV external surge protection, IP 66 Ingress Protection complete with all accessories etc., and meeting the techno commercial specifications as required. | 44.00 | Each | 10.00 | 5000.00 | 220000.00 | 5450.00 | 239800.00 | 10000.00 | 440000.00 | 6000.00 | 264000.00 | 4275.00 | 188100.00 | 2000.00 | 88000.00 | 5000.00 | 220000.00 | 1519.00 | 66836.00 | 2000.00 | 88000.00 | 66836.00 | ATR INFRAPROJECTS PVT LTD
67.00 | Supply of 600mm x 600mm, recess Mounted LED fixture with powder coated CRCA housing having luminaire efficacy of not less than 110 lm/W and minimum Lumen Output of 3600 Lumen suitable to operate 140 – 270V AC supply, LED Colour Temperature from 5700K- 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the technical specifications as required. | 47.00 | Each | 10.00 | 2000.00 | 94000.00 | 2300.00 | 108100.00 | 3500.00 | 164500.00 | 2500.00 | 117500.00 | 2320.00 | 109040.00 | 2900.00 | 136300.00 | 3650.00 | 171550.00 | 2187.00 | 102789.00 | 2500.00 | 117500.00 | 94000.00 | RECHI CONSTRUCTION PVT LTD
68.00 | Supply of 4 feet LED batten made of extruded aluminium housing having luminaire efficacy of not less than 110 lm/W and minimum Lumen Output of 2000 Lumen suitable to operate 150 – 270V AC supply, LED Colour Temperature from 5700K - 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required. | 12.00 | Each | 10.00 | 400.00 | 4800.00 | 495.00 | 5940.00 | 750.00 | 9000.00 | 300.00 | 3600.00 | 600.00 | 7200.00 | 613.00 | 7356.00 | 1400.00 | 16800.00 | 1701.00 | 20412.00 | 250.00 | 3000.00 | 3000.00 | MOTHERLAND BUILDERS
69.00 | Supply of B22 9 W LED GLS Bulb having efficacy of minimum 110 lm/W, CT 6500 K, suitable for 220-240 Volts AC Supply as required. | 6.00 | Each | 10.00 | 170.00 | 1020.00 | 175.00 | 1050.00 | 200.00 | 1200.00 | 2300.00 | 13800.00 | 250.00 | 1500.00 | 250.00 | 1500.00 | 140.00 | 840.00 | 608.00 | 3648.00 | 200.00 | 1200.00 | 840.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
70.00 | Installation, testing and commissioning of LED flood Light fitting on existing wall surface complete with all accessories including connections etc. as required. | 20.00 | Each | 10.00 | 250.00 | 5000.00 | 400.00 | 8000.00 | 600.00 | 12000.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 1500.00 | 30000.00 | 410.00 | 8200.00 | 365.00 | 7300.00 | 500.00 | 10000.00 | 5000.00 | RECHI CONSTRUCTION PVT LTD
71.00 | Installation, testing and commissioning of LED flood Light fitting on existing MS structure (truss) at a height upto 10 meters by making suitable MS/GI clamp arrangement complete with all accessories including connections etc. as required. | 24.00 | Each | 10.00 | 500.00 | 12000.00 | 600.00 | 14400.00 | 600.00 | 14400.00 | 120.00 | 2880.00 | 400.00 | 9600.00 | 2000.00 | 48000.00 | 500.00 | 12000.00 | 304.00 | 7296.00 | 700.00 | 16800.00 | 2880.00 | K.MURUGESAN
72.00 | Installation, testing and commissioning of wall bracket / ceiling/ surface/ recess LED Light fittings of all sizes and shapes complete with all accessories including connections etc. as required. | 59.00 | Each | 10.00 | 150.00 | 8850.00 | 180.00 | 10620.00 | 1000.00 | 59000.00 | 200.00 | 11800.00 | 750.00 | 44250.00 | 2000.00 | 118000.00 | 320.00 | 18880.00 | 243.00 | 14337.00 | 500.00 | 29500.00 | 8850.00 | RECHI CONSTRUCTION PVT LTD
73.00 | Supply and fixing of weather proof IP 66/67 Polycarbonate Box (similar to hensel: KF 0404 G ) on the wall surface including providing & fixing suitable connectors for loop in & loop out 3 core 4/6 sq. mm. armoured alluminium cable including termination of the cable with suitable IP 65 glands etc. as required. | 44.00 | Each | 10.00 | 1500.00 | 66000.00 | 1500.00 | 66000.00 | 1500.00 | 66000.00 | 600.00 | 26400.00 | 1200.00 | 52800.00 | 2000.00 | 88000.00 | 1850.00 | 81400.00 | 608.00 | 26752.00 | 1200.00 | 52800.00 | 26400.00 | K.MURUGESAN
74.00 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | 6.00 | Each | 10.00 | 120.00 | 720.00 | 150.00 | 900.00 | 200.00 | 1200.00 | 80.00 | 480.00 | 150.00 | 900.00 | 550.00 | 3300.00 | 230.00 | 1380.00 | 1458.00 | 8748.00 | 150.00 | 900.00 | 480.00 | K.MURUGESAN
75.00 | SH: III Supply and Laying of Cables
75.01 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following sizes conforming to IS 7098 (Part-1) as amended upto date as required.
75.02 | 3 C X 6 Sqmm | 160.00 | Metre | 10.00 | 150.00 | 24000.00 | 120.00 | 19200.00 | 150.00 | 24000.00 | 500.00 | 80000.00 | 118.00 | 18880.00 | 112.00 | 17920.00 | 185.00 | 29600.00 | 608.00 | 97280.00 | 150.00 | 24000.00 | 17920.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
75.03 | 4 C X 25 Sqmm. | 165.00 | Metre | 10.00 | 350.00 | 57750.00 | 240.00 | 39600.00 | 275.00 | 45375.00 | 600.00 | 99000.00 | 227.00 | 37455.00 | 170.00 | 28050.00 | 275.00 | 45375.00 | 668.00 | 110220.00 | 180.00 | 29700.00 | 28050.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
75.04 | c) 3.5 C X 70 Sqmm. | 200.00 | Metre | 10.00 | 550.00 | 110000.00 | 410.00 | 82000.00 | 650.00 | 130000.00 | 600.00 | 120000.00 | 490.00 | 98000.00 | 326.00 | 65200.00 | 455.00 | 91000.00 | 851.00 | 170200.00 | 275.00 | 55000.00 | 55000.00 | MOTHERLAND BUILDERS
76.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
76.01 | 4 C X 25 Sqmm. | 4.00 | Set | 10.00 | 350.00 | 1400.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 200.00 | 800.00 | 205.00 | 820.00 | 950.00 | 3800.00 | 30375.00 | 121500.00 | 350.00 | 1400.00 | 800.00 | K.MURUGESAN, vk sam engineering
76.02 | 3.5 C X 70 Sqmm. | 2.00 | Set | 10.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 1000.00 | 2000.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 218.00 | 436.00 | 950.00 | 1900.00 | 24300.00 | 48600.00 | 500.00 | 1000.00 | 400.00 | K.MURUGESAN
77.00 | Supply and Laying of following size HDPE Pipe of PN6 PE 80 grade ISI Marked conforming to IS:4984 along with all accessoreis like sockets, bends, coupler etc, complete with fitting cutting,jointing etc. direct in ground (upto 75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. A) 40 mm dia OD | 170.00 | Metre | 10.00 | 350.00 | 59500.00 | 250.00 | 42500.00 | 300.00 | 51000.00 | 200.00 | 34000.00 | 325.00 | 55250.00 | 83.00 | 14110.00 | 410.00 | 69700.00 | 365.00 | 62050.00 | 250.00 | 42500.00 | 14110.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
78.00 | Supplying and laying of "C" Class G.I pipe of 100 mm dia for Concrete road crossing depth upto 250 mm including Cutting the cement concrete road and refilling with cement concrete mixture of ratio 1:2:4 and making good the surface matching with original finish etc. complete as required | 30.00 | Metre | 10.00 | 3000.00 | 90000.00 | 3200.00 | 96000.00 | 1750.00 | 52500.00 | 1800.00 | 54000.00 | 2822.00 | 84660.00 | 2560.00 | 76800.00 | 1400.00 | 42000.00 | 608.00 | 18240.00 | 900.00 | 27000.00 | 18240.00 | ATR INFRAPROJECTS PVT LTD
79.00 | Supplying and fixing of 40mm size of UPVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 45.00 | Metre | 10.00 | 500.00 | 22500.00 | 310.00 | 13950.00 | 150.00 | 6750.00 | 450.00 | 20250.00 | 150.00 | 6750.00 | 275.00 | 12375.00 | 410.00 | 18450.00 | 486.00 | 21870.00 | 350.00 | 15750.00 | 6750.00 | S.Srinivasan, vk sam engineering
80.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall surface as required.
80.01 | Upto 35 sq.mm (clamped with 1mm MS flat clamp) | 50.00 | Metre | 10.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 75.00 | 3750.00 | 28.00 | 1400.00 | 185.00 | 9250.00 | 1215.00 | 60750.00 | 60.00 | 3000.00 | 1400.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
80.02 | Above 35 sq.mm and upto 95 sq.mm (clamped with 25 x 3 mm MS flat clamp) | 90.00 | Metre | 10.00 | 150.00 | 13500.00 | 140.00 | 12600.00 | 100.00 | 9000.00 | 100.00 | 9000.00 | 85.00 | 7650.00 | 45.00 | 4050.00 | 275.00 | 24750.00 | 2430.00 | 218700.00 | 125.00 | 11250.00 | 4050.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
81.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL/HDPE/UPVC pipe as required.
81.01 | Upto 35 sq. mm | 115.00 | Metre | 10.00 | 50.00 | 5750.00 | 35.00 | 4025.00 | 50.00 | 5750.00 | 80.00 | 9200.00 | 60.00 | 6900.00 | 36.50 | 4197.50 | 122.00 | 14030.00 | 1823.00 | 209645.00 | 40.00 | 4600.00 | 4025.00 | Hiranya Construction
81.02 | Above 35 sq.mm and upto 95 sq.mm | 110.00 | Metre | 10.00 | 80.00 | 8800.00 | 60.00 | 6600.00 | 50.00 | 5500.00 | 85.00 | 9350.00 | 80.00 | 8800.00 | 56.50 | 6215.00 | 185.00 | 20350.00 | 3159.00 | 347490.00 | 60.00 | 6600.00 | 5500.00 | S.Srinivasan
82.00 | Earthing with G.I. earth pipe 4.5 m long x 40 mm dia. including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal /coke and salt complete as required. | 3.00 | Job | 10.00 | 7500.00 | 22500.00 | 7500.00 | 22500.00 | 8000.00 | 24000.00 | 5000.00 | 15000.00 | 6000.00 | 18000.00 | 5530.00 | 16590.00 | 9500.00 | 28500.00 | 18225.00 | 54675.00 | 7000.00 | 21000.00 | 15000.00 | K.MURUGESAN
83.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 20.00 | Metre | 10.00 | 250.00 | 5000.00 | 175.00 | 3500.00 | 200.00 | 4000.00 | 600.00 | 12000.00 | 268.00 | 5360.00 | 191.00 | 3820.00 | 410.00 | 8200.00 | 2066.00 | 41320.00 | 250.00 | 5000.00 | 3500.00 | Hiranya Construction
84.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 720.00 | Metre | 10.00 | 50.00 | 36000.00 | 30.00 | 21600.00 | 50.00 | 36000.00 | 12.00 | 8640.00 | 30.00 | 21600.00 | 29.00 | 20880.00 | 122.00 | 87840.00 | 4253.00 | 3062160.00 | 50.00 | 36000.00 | 8640.00 | K.MURUGESAN
85.00 | Supply, Installation, Testing and Commissioning of MV Switch Board Outdoor Type Main/Sub Feeder Pillar made out of 3mm thick CRCA Sheet Steel for outer Shell and 2mm thick CRCA Sheet for inner partition, dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing suitable for operation at 433 V, 3 Phase, 4 Wire, 50 Hz AC System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel of 100 mm ISMC and locking arrangements including excavation for foundation, providing foundation, suitable RCC pedestal up to 900 mm (450 mm BGL and 450 mm AGL), fixing of panel etc., complete as required and comprising of the following: A)One No. of 100 A, 36 KA, 4P MCCB with Microprocessor Based Releases (L&T MTX 2.0 / Equivalent) for OC/SC/EF Protection and ROM as INCOMER with ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required. b)Two Nos. of 63 A, 10 KA, 4P MCCB as Outgoings as required. c) Three Nos. of 63 A, 10 KA, 4P MCB as Outgoings as required. d) One Set of 160 Amps Al. Bus Bars with at Par Neutral Bus Bars as required. e) All accessories such as fuses, auxillary contactors, auxillary switches, MCBs etc., as required. ALL AS ABOVE (A) To ( E) | 2.00 | Job | 10.00 | 65000.00 | 130000.00 | 165000.00 | 330000.00 | 150000.00 | 300000.00 | 495000.00 | 990000.00 | 175000.00 | 350000.00 | 420000.00 | 840000.00 | 131000.00 | 262000.00 | 6075.00 | 12150.00 | 139000.00 | 278000.00 | 12150.00 | ATR INFRAPROJECTS PVT LTD
86.00 | SH: IV SITC Of Air Conditioning Works
86.01 | SITC of 4TR capacity Floor standing tower type Split AC unit fitted with hermetically sealed compressor operating on 415 V +10% 50 Hz 3 phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, Angle iron floor stand for indoor unit, Angle iron wall / floor stand for condensing unit etc. including all accessories complete as required as per specifications. | 9.00 | Job | 10.00 | 165000.00 | 1485000.00 | 165000.00 | 1485000.00 | 35000.00 | 315000.00 | 85000.00 | 765000.00 | 139250.00 | 1253250.00 | 110000.00 | 990000.00 | 122000.00 | 1098000.00 | 123930.00 | 1115370.00 | 125000.00 | 1125000.00 | 315000.00 | S.Srinivasan
87.00 | SITC of 1.5 Tr capacity wall mounted type Split AC unit (5 star rating invertor type) fitted with hermetically sealed compressor operating on 230 V +10% 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, copper piping for both suction and discharge of 4 metres length, power and control cabling of 4 meters length, outdoor condensing units to be mounted on angle frame of required size upto 2.0 TR capacity etc. including all accessories complete as required as per specifications. | 5.00 | Job | 10.00 | 50000.00 | 250000.00 | 52000.00 | 260000.00 | 50000.00 | 250000.00 | 70000.00 | 350000.00 | 53000.00 | 265000.00 | 41000.00 | 205000.00 | 45500.00 | 227500.00 | 53460.00 | 267300.00 | 60000.00 | 300000.00 | 205000.00 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
88.00 | SITC of 4KVA capacity voltage stabilizers with copper wound coil having input working range of 170 to 270 voltage single phase, 50 Hz AC supply giving output of 230 volts i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of 1 metre length, complete, etc as required as per specifications. | 5.00 | Job | 10.00 | 4500.00 | 22500.00 | 2800.00 | 14000.00 | 5000.00 | 25000.00 | 4000.00 | 20000.00 | 2900.00 | 14500.00 | 4100.00 | 20500.00 | 5900.00 | 29500.00 | 8505.00 | 42525.00 | 5000.00 | 25000.00 | 14000.00 | Hiranya Construction
89.00 | Supply and Installation of additional Copper pipe for 1.5TR Split ACs(beyond 4 meters per Split AC unit) and Copper pipe for 4TR capacity Cassette, floor standing tower type ACs including suction and delivery line with all accessories such as insulation, power & control cabling, etc. complete as required as per specifications.
89.01 | 1.5 TR Split type AC unit | 50.00 | Metre | 10.00 | 1800.00 | 90000.00 | 1250.00 | 62500.00 | 1500.00 | 75000.00 | 1500.00 | 75000.00 | 1650.00 | 82500.00 | 710.00 | 35500.00 | 320.00 | 16000.00 | 1580.00 | 79000.00 | 3250.00 | 162500.00 | 16000.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
89.02 | 4.0 TR Floor Standing type AC unit | 65.00 | Metre | 10.00 | 2800.00 | 182000.00 | 2500.00 | 162500.00 | 2000.00 | 130000.00 | 1500.00 | 97500.00 | 2800.00 | 182000.00 | 1440.00 | 93600.00 | 410.00 | 26650.00 | 1762.00 | 114530.00 | 4000.00 | 260000.00 | 26650.00 | CREATORS ENGINEERS AND INTERIORS PVT LTD
90.00 | Supplying & laying of following size condensate water drain pipe made of UPVC having for additional requirement for AC units i/c necessary clamps, screws, supports, etc. complete as required as per specifications.
90.01 | 25mm, capacity 28 kg/sqcm | 50.00 | Metre | 10.00 | 540.00 | 27000.00 | 350.00 | 17500.00 | 100.00 | 5000.00 | 300.00 | 15000.00 | 85.00 | 4250.00 | 95.02 | 4751.00 | 410.00 | 20500.00 | 231.00 | 11550.00 | 450.00 | 22500.00 | 4250.00 | vk sam engineering
90.02 | 40mm, capacity 22 kg/sqcm | 75.00 | Metre | 10.00 | 650.00 | 48750.00 | 480.00 | 36000.00 | 150.00 | 11250.00 | 450.00 | 33750.00 | 121.00 | 9075.00 | 155.00 | 11625.00 | 500.00 | 37500.00 | 255.00 | 19125.00 | 1100.00 | 82500.00 | 9075.00 | vk sam engineering
91.00 | Supplying & fixing of following size PVC trunking profile on wall / surface to facilitate installation of copper piping, insulation, power cabling, control cabling, condensate drain water piping etc. complete as required as per specifications.
91.01 | 100 X 50 X 1.35 mm | 50.00 | Metre | 10.00 | 2500.00 | 125000.00 | 1650.00 | 82500.00 | 500.00 | 25000.00 | 650.00 | 32500.00 | 825.00 | 41250.00 | 135.01 | 6750.50 | 590.00 | 29500.00 | 972.00 | 48600.00 | 350.00 | 17500.00 | 6750.50 | M/s.Thomas iyadurai Infrastructure Pvt Ltd
92.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 5.00 | Each | 10.00 | 1650.00 | 8250.00 | 1300.00 | 6500.00 | 1500.00 | 7500.00 | 1900.00 | 9500.00 | 2025.00 | 10125.00 | 11000.00 | 55000.00 | 3200.00 | 16000.00 | 6075.00 | 30375.00 | 1500.00 | 7500.00 | 6500.00 | Hiranya Construction
93.00 | SH-V: SITC of Swing Gate Control System
93.01 | Supply, Installation, Testing and commissioning of Automatic Swing Gate Control system for double leaf swing gate suitable for operation on input voltage of 230V, 50Hz. AC supply with all necessary accessories/protections, Control cables etc., complete as required. Automatic Swing gate Control System comprising of the following : Intelligent micro control unit ‐ 1 No. Heavy Duty Motor unit with Rotary arm ‐ 2 Nos. Fixing Brackets for motor unit - 2 Nos. Handheld Remote transmitter device ‐ 2 Nos. Safety Photocell ‐ 2 Nos. Standard push button – 2 Nos. ( Make: Auto Ingress or Equivalent Make) This Control shall be suitable for 3.5 Mtr MS gate of Single leaf weight not less than 400Kg. | 4.00 | Job | 10.00 | 180000.00 | 720000.00 | 230000.00 | 920000.00 | 240000.00 | 960000.00 | 250000.00 | 1000000.00 | 558562.00 | 2234248.00 | 225000.00 | 900000.00 | 194000.00 | 776000.00 | 376650.00 | 1506600.00 | 50000.00 | 200000.00 | 200000.00 | MOTHERLAND BUILDERS
94.00 | SH VI : CMC OF Swing Gate Control System
94.01 | All Inclusive Comprehensive Maintenance (AICMC) of Double leaf swing gate control sytem including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Monthly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (Gate 4 & 9) ( Total - 4 Gates)
94.02 | First Year after Completion of 2 year DLP (Considered 3% of SITC Cost of item No. 01) | 1.00 | Year | 10.00 | 21600.00 | 21600.00 | 27600.00 | 27600.00 | 28800.00 | 28800.00 | 30000.00 | 30000.00 | 67027.00 | 67027.00 | 27000.00 | 27000.00 | 23280.00 | 23280.00 | 45198.00 | 45198.00 | 6000.00 | 6000.00 | 6000.00 | MOTHERLAND BUILDERS
94.03 | Second Year (Considered Yearly 5% cumulative enhancement on 1st year after DLP) | 1.00 | Year | 10.00 | 22680.00 | 22680.00 | 28980.00 | 28980.00 | 30240.00 | 30240.00 | 31500.00 | 31500.00 | 70378.00 | 70378.00 | 28350.00 | 28350.00 | 24444.00 | 24444.00 | 47458.00 | 47458.00 | 6300.00 | 6300.00 | 6300.00 | MOTHERLAND BUILDERS
94.04 | Third Year (Considered Yearly 5% cumulative enhancement on 2nd year after DLP) | 1.00 | Year | 10.00 | 23814.00 | 23814.00 | 30429.00 | 30429.00 | 31752.00 | 31752.00 | 33075.00 | 33075.00 | 73897.00 | 73897.00 | 29768.00 | 29768.00 | 25666.00 | 25666.00 | 49831.00 | 49831.00 | 6615.00 | 6615.00 | 6615.00 | MOTHERLAND BUILDERS
94.05 | Fourth Year (Considered Yearly 5% cumulative enhancement on 3rd year after DLP) | 1.00 | Year | 10.00 | 25005.00 | 25005.00 | 31950.00 | 31950.00 | 33340.00 | 33340.00 | 34729.00 | 34729.00 | 77592.00 | 77592.00 | 31256.00 | 31256.00 | 26949.00 | 26949.00 | 52323.00 | 52323.00 | 6946.00 | 6946.00 | 6946.00 | MOTHERLAND BUILDERS
94.06 | Fifth Year (Considered Yearly 5% cumulative enhancement on 4th year after DLP) | 1.00 | Year | 10.00 | 26255.00 | 26255.00 | 33548.00 | 33548.00 | 35007.00 | 35007.00 | 36465.00 | 36465.00 | 81472.00 | 81472.00 | 32819.00 | 32819.00 | 28296.00 | 28296.00 | 54939.00 | 54939.00 | 7293.00 | 7293.00 | 7293.00 | MOTHERLAND BUILDERS
| Total in Figures |  |  |  |  | 19327554.00 |  | 18072994.30 |  | 19616527.50 |  | 19420220.00 |  | 19055547.00 |  | 16887722.97 |  | 19345121.50 |  | 25780203.60 |  | 17704404.00
Lowest Amount Quoted BY: M/s.Thomas iyadurai Infrastructure Pvt Ltd(16887722.97)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Security office building in Operational area at Gate No 4 6 and 9 at Chennai Airport Chennai Civil Electrical works Tender ID: 2024_AAI_206993_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s.Thomas iyadurai Infrastructure Pvt Ltd (BID ID -748185) | 16887722.97 | L1
| 2 | MOTHERLAND BUILDERS (BID ID -748373) | 17704404.00 | L2
| 3 | Hiranya Construction (BID ID -747638) | 18072994.30 | L3
| 4 | vk sam engineering (BID ID -747988) | 19055547.00 | L4
| 5 | RECHI CONSTRUCTION PVT LTD (BID ID -744955) | 19327554.00 | L5
| 6 | CREATORS ENGINEERS AND INTERIORS PVT LTD (BID ID -748278) | 19345121.50 | L6
| 7 | K.MURUGESAN (BID ID -747956) | 19420220.00 | L7
| 8 | S.Srinivasan (BID ID -747698) | 19616527.50 | L8
| 9 | ATR INFRAPROJECTS PVT LTD (BID ID -747478) | 25780203.60 | L9