## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 29-Oct-2024 12:12 PM Tender Title: Provision of Lighting along with Internal Road at Khajuraho Airport Tender ID: 2024_AAI_207398_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Elect), AAI, RHQ-NR, New Delhi
Name of Work: Provision of Lighting along with Internal Road at Khajuraho Airport
Tender ID No: 2024_AAI_207398_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POWER AUTOMATION AND CONTROLS (GSTN-27ABMPA1796L1Z9) BID ID -746092 |  | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -748966 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -749105 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -749356 |  | elektron (GSTN-09AAFFE6230P1Z2) BID ID -749435 |  | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -749456 |  | ENERGYGREEN TECHNOPOWER PVT LTD (GSTN-23AAECE7344J1ZM) BID ID -749506 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -749613 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -749736 |  | R S ELECTRICALS (GSTN-09AALFR7080G1ZS) BID ID -749772 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -749824 |  | ZENITH ASSOCIATES (GSTN-NA) BID ID -747554 |  | SRI KESARI ENGINEERING (GSTN-NA) BID ID -748963 |  | Shiva Enterprises (GSTN-NA) BID ID -749329 |  | Avinash Chopra (GSTN-NA) BID ID -749379 |  | B L ENTERPRISES (GSTN-NA) BID ID -749169 |  | MANKHA ELECTROTECH PRIVATE LIMITED (GSTN-NA) BID ID -749848
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying of 5.0 m long octagonal continuously tapered galvanised street light pole with single arm (bracket) of GI installation of LED luminaire suitable for wind velocity of not less than 47m/sec fabricated out of 3mm MS plate , in single section, suitable to fix on pre-cast foundation with supply of 4 nos. of foundation bolt & anchor plate, rigid flange plate welded with the base of pole fixing on foundation bolts complete as required for structural stability as specified, weather proof door of height not less than 300mm flush with exterior surface containing a terminal plate of 4mm thick backlit sheet with 4 way, 63A epoxy connector & insulted caps suitable for loop cable of size 10 sqmm cables of suitable rating, DIN Rail for mounting of MCB ln the terminal box, earthing bolts etc. complete as required & as specified. | 150.00 | Each | 100.00 | 8614.00 | 1292100.00 | 7000.00 | 1050000.00 | 9850.00 | 1477500.00 | 7500.00 | 1125000.00 | 8890.00 | 1333500.00 | 7066.00 | 1059900.00 | 9800.00 | 1470000.00 | 10200.00 | 1530000.00 | 8500.00 | 1275000.00 | 8000.00 | 1200000.00 | 8600.00 | 1290000.00 | 7000.00 | 1050000.00 | 6500.00 | 975000.00 | 6500.00 | 975000.00 | 8044.00 | 1206600.00 | 8649.80 | 1297470.00 | 9006.00 | 1350900.00 | 975000.00 | SRI KESARI ENGINEERING, Shiva Enterprises
2.00 | Supply of minimum 45W LED type Street Light Luminaire with control gear, made of pressure die cast aluminium housing with heat resistant toughened flat glass/polycarbonate cover and minimum IP 65 protection, suitable for operation in 140-270 V, 50 HZ AC etc. complete as required. | 175.00 | Each | 100.00 | 1876.00 | 328300.00 | 1200.00 | 210000.00 | 1500.00 | 262500.00 | 2250.00 | 393750.00 | 2520.00 | 441000.00 | 1800.00 | 315000.00 | 1950.00 | 341250.00 | 2200.00 | 385000.00 | 1150.00 | 201250.00 | 2050.00 | 358750.00 | 1500.00 | 262500.00 | 2700.00 | 472500.00 | 1200.00 | 210000.00 | 1830.00 | 320250.00 | 1250.00 | 218750.00 | 1718.40 | 300720.00 | 1500.00 | 262500.00 | 201250.00 | Manish Electricals
3.00 | Erection of metallic pole (as mentioned in item No. 1) in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling, supply and fixing of single pole 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete and providing and laying of 3 x 1.5 sqmm PVC insulated flexible copper conductor cable from terminal box to fitting and installation, testing and commissioning of pole, MCB and street light fixtures on street light pole complete etc. as required. | 150.00 | Job | 10.00 | 4428.00 | 664200.00 | 3500.00 | 525000.00 | 1500.00 | 225000.00 | 2500.00 | 375000.00 | 1560.00 | 234000.00 | 1260.00 | 189000.00 | 5200.00 | 780000.00 | 500.00 | 75000.00 | 1500.00 | 225000.00 | 3500.00 | 525000.00 | 1900.00 | 285000.00 | 600.00 | 90000.00 | 5800.00 | 870000.00 | 3530.00 | 529500.00 | 3685.00 | 552750.00 | 4398.20 | 659730.00 | 2400.00 | 360000.00 | 75000.00 | Aditya Techno Products Private Limited
4.00 | Supply of following sizes of XLPE insulated and PVC sheathed aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 3.5 x 35 Sq.mm | 600.00 | Mtrs. | 10.00 | 220.00 | 132000.00 | 200.00 | 120000.00 | 205.00 | 123000.00 | 250.00 | 150000.00 | 207.00 | 124200.00 | 170.00 | 102000.00 | 260.00 | 156000.00 | 210.00 | 126000.00 | 190.00 | 114000.00 | 235.00 | 141000.00 | 220.00 | 132000.00 | 325.00 | 195000.00 | 220.00 | 132000.00 | 225.00 | 135000.00 | 205.00 | 123000.00 | 195.50 | 117300.00 | 159.00 | 95400.00 | 95400.00 | MANKHA ELECTROTECH PRIVATE LIMITED
5.00 | Supply of following sizes of XLPE insulated and PVC sheathed aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 4 X 10 Sq.mm | 3000.00 | Mtrs. | 10.00 | 146.00 | 438000.00 | 125.00 | 375000.00 | 122.00 | 366000.00 | 180.00 | 540000.00 | 104.00 | 312000.00 | 105.00 | 315000.00 | 156.00 | 468000.00 | 150.00 | 450000.00 | 120.00 | 360000.00 | 150.00 | 450000.00 | 130.00 | 390000.00 | 160.00 | 480000.00 | 125.00 | 375000.00 | 130.00 | 390000.00 | 120.00 | 360000.00 | 125.10 | 375300.00 | 105.00 | 315000.00 | 312000.00 | elektron
6.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 35 sq. mm | 6.00 | Set | 10.00 | 450.00 | 2700.00 | 700.00 | 4200.00 | 301.00 | 1806.00 | 225.00 | 1350.00 | 770.00 | 4620.00 | 1200.00 | 7200.00 | 780.00 | 4680.00 | 120.00 | 720.00 | 400.00 | 2400.00 | 200.00 | 1200.00 | 350.00 | 2100.00 | 500.00 | 3000.00 | 1200.00 | 7200.00 | 350.00 | 2100.00 | 95.00 | 570.00 | 244.30 | 1465.80 | 600.00 | 3600.00 | 570.00 | Avinash Chopra
7.00 | Supplying and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 10 sq. mm | 300.00 | Set | 10.00 | 60.00 | 18000.00 | 300.00 | 90000.00 | 80.00 | 24000.00 | 135.00 | 40500.00 | 16.50 | 4950.00 | 133.34 | 40002.00 | 26.00 | 7800.00 | 75.00 | 22500.00 | 200.00 | 60000.00 | 150.00 | 45000.00 | 180.00 | 54000.00 | 125.00 | 37500.00 | 150.00 | 45000.00 | 325.00 | 97500.00 | 18.00 | 5400.00 | 215.00 | 64500.00 | 60.00 | 18000.00 | 4950.00 | elektron
8.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 3600.00 | Mtrs. | 10.00 | 275.00 | 990000.00 | 150.00 | 540000.00 | 140.00 | 504000.00 | 175.00 | 630000.00 | 110.00 | 396000.00 | 160.00 | 576000.00 | 221.00 | 795600.00 | 75.00 | 270000.00 | 150.00 | 540000.00 | 180.00 | 648000.00 | 210.00 | 756000.00 | 70.00 | 252000.00 | 161.00 | 579600.00 | 150.00 | 540000.00 | 91.00 | 327600.00 | 127.10 | 457560.00 | 114.00 | 410400.00 | 252000.00 | ZENITH ASSOCIATES
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 3600.00 | Mtrs. | 10.00 | 75.00 | 270000.00 | 40.00 | 144000.00 | 12.00 | 43200.00 | 25.00 | 90000.00 | 6.00 | 21600.00 | 138.00 | 496800.00 | 65.00 | 234000.00 | 21.00 | 75600.00 | 10.00 | 36000.00 | 20.00 | 72000.00 | 30.00 | 108000.00 | 50.00 | 180000.00 | 45.00 | 162000.00 | 47.00 | 169200.00 | 15.00 | 54000.00 | 24.40 | 87840.00 | 24.00 | 86400.00 | 21600.00 | elektron
10.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 6.00 | Each | 10.00 | 6500.00 | 39000.00 | 8500.00 | 51000.00 | 6500.00 | 39000.00 | 7890.00 | 47340.00 | 7200.00 | 43200.00 | 10000.00 | 60000.00 | 13000.00 | 78000.00 | 3500.00 | 21000.00 | 7000.00 | 42000.00 | 6000.00 | 36000.00 | 13000.00 | 78000.00 | 2000.00 | 12000.00 | 14000.00 | 84000.00 | 10000.00 | 60000.00 | 5750.00 | 34500.00 | 8307.70 | 49846.20 | 12300.00 | 73800.00 | 12000.00 | ZENITH ASSOCIATES
11.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (with charcoal/ coke and salt ) as required. | 8.00 | Each | 10.00 | 6500.00 | 52000.00 | 4500.00 | 36000.00 | 6500.00 | 52000.00 | 5890.00 | 47120.00 | 6000.00 | 48000.00 | 2000.00 | 16000.00 | 19500.00 | 156000.00 | 2250.00 | 18000.00 | 6500.00 | 52000.00 | 5500.00 | 44000.00 | 9000.00 | 72000.00 | 2000.00 | 16000.00 | 12000.00 | 96000.00 | 8235.00 | 65880.00 | 2800.00 | 22400.00 | 7623.50 | 60988.00 | 7008.00 | 56064.00 | 16000.00 | ZENITH ASSOCIATES, Genesis
12.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Mtrs. | 10.00 | 800.00 | 24000.00 | 550.00 | 16500.00 | 300.00 | 9000.00 | 335.00 | 10050.00 | 138.00 | 4140.00 | 100.00 | 3000.00 | 195.00 | 5850.00 | 220.00 | 6600.00 | 600.00 | 18000.00 | 750.00 | 22500.00 | 630.00 | 18900.00 | 500.00 | 15000.00 | 150.00 | 4500.00 | 495.00 | 14850.00 | 435.00 | 13050.00 | 781.90 | 23457.00 | 330.00 | 9900.00 | 3000.00 | Genesis
13.00 | Providing and fixing 6 SWG dia G.I. wire below ground level for loop earthing along with cable as required. | 3600.00 | Mtrs. | 10.00 | 18.00 | 64800.00 | 20.00 | 72000.00 | 18.00 | 64800.00 | 26.00 | 93600.00 | 10.00 | 36000.00 | 17.24 | 62064.00 | 104.00 | 374400.00 | 12.00 | 43200.00 | 25.00 | 90000.00 | 30.00 | 108000.00 | 32.00 | 115200.00 | 20.00 | 72000.00 | 18.00 | 64800.00 | 25.00 | 90000.00 | 12.65 | 45540.00 | 11.70 | 42120.00 | 15.00 | 54000.00 | 36000.00 | elektron
14.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 40.00 | Mtrs. | 10.00 | 22.00 | 880.00 | 50.00 | 2000.00 | 20.00 | 800.00 | 31.00 | 1240.00 | 70.00 | 2800.00 | 200.00 | 8000.00 | 195.00 | 7800.00 | 12.00 | 480.00 | 30.00 | 1200.00 | 40.00 | 1600.00 | 32.00 | 1280.00 | 20.00 | 800.00 | 18.00 | 720.00 | 18.00 | 720.00 | 11.00 | 440.00 | 19.50 | 780.00 | 96.00 | 3840.00 | 440.00 | Avinash Chopra
15.00 | Numbering of lightning poles etc as required. | 150.00 | Each | 10.00 | 450.00 | 67500.00 | 50.00 | 7500.00 | 40.00 | 6000.00 | 5.00 | 750.00 | 84.00 | 12600.00 | 20.00 | 3000.00 | 520.00 | 78000.00 | 25.00 | 3750.00 | 50.00 | 7500.00 | 100.00 | 15000.00 | 50.00 | 7500.00 | 30.00 | 4500.00 | 100.00 | 15000.00 | 60.00 | 9000.00 | 90.00 | 13500.00 | 24.40 | 3660.00 | 15.00 | 2250.00 | 750.00 | jaydeep agency corporation
16.00 | Supply, Installation, testing and commissioning of External Lighting Out-Door double door Panel, compartmentalised and slanting roof (200mm all around), suitable for 3 phase, 4 wire, 415 Volt, 50Hz, AC supply, totally enclosed free-standing, moisture, weather and vermin proof outdoor, IP-65, double door rear & front type fabricated from 2 mm thick CRCA sheet steel for load bearing and 1.6 mm thick CRCA sheet steel for non load bearing duly Epoxy powder coated (by minimum seven tank process) in approved colour, with aluminium bus bars & Bus bar chamber, interconnections/ control wiring with FRLSH copper conductor wires, Terminals for incomming & out going cable connections, earth bus, locking arrangement, cable alley removable 3mm gland plate, hardware, danger notice board suitable for out door applications. INCOMER 1 Nos. of 63 Amps, 415V, 36kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 1Set (each set comprise of R,Y,B) Digital type 3 Phase Multi-function Meter with suitable rating of MCB & 3 Nos. of single core epoxy resin cast type CTs of 200/5 amps, 10VA,CL 1.0 rating- 1 Set 415 V, 100 Amps, TPN Aluminium Bus bars with Heat shrinking colour coded insulation sleeves. OUTGOING 16 A, DP MCB, C Curve, 10KA-02 Nos 32 A, TPN MCB, C Curve, 10KA -04 Nos. | 3.00 | Job | 10.00 | 37000.00 | 111000.00 | 110000.00 | 330000.00 | 17500.00 | 52500.00 | 33000.00 | 99000.00 | 52260.00 | 156780.00 | 70000.00 | 210000.00 | 78000.00 | 234000.00 | 46700.00 | 140100.00 | 62000.00 | 186000.00 | 80000.00 | 240000.00 | 69000.00 | 207000.00 | 25000.00 | 75000.00 | 71000.00 | 213000.00 | 50000.00 | 150000.00 | 59000.00 | 177000.00 | 37140.30 | 111420.90 | 87000.00 | 261000.00 | 52500.00 | surbhi association
| Total in Figures |  |  |  |  | 4494480.00 |  | 3573200.00 |  | 3251106.00 |  | 3644700.00 |  | 3175390.00 |  | 3462966.00 |  | 5191380.00 |  | 3167950.00 |  | 3210350.00 |  | 3908050.00 |  | 3779480.00 |  | 2955300.00 |  | 3833820.00 |  | 3549000.00 |  | 3155100.00 |  | 3654157.90 |  | 3363054.00
Lowest Amount Quoted BY: ZENITH ASSOCIATES(2955300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Lighting along with Internal Road at Khajuraho Airport Tender ID: 2024_AAI_207398_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ZENITH ASSOCIATES (BID ID -747554) | 2955300.00 | L1
| 2 | Avinash Chopra (BID ID -749379) | 3155100.00 | L2
| 3 | Aditya Techno Products Private Limited (BID ID -749613) | 3167950.00 | L3
| 4 | elektron (BID ID -749435) | 3175390.00 | L4
| 5 | Manish Electricals (BID ID -749736) | 3210350.00 | L5
| 6 | surbhi association (BID ID -749105) | 3251106.00 | L6
| 7 | MANKHA ELECTROTECH PRIVATE LIMITED (BID ID -749848) | 3363054.00 | L7
| 8 | Genesis (BID ID -749456) | 3462966.00 | L8
| 9 | Shiva Enterprises (BID ID -749329) | 3549000.00 | L9
| 10 | DOSHI ELECTRIC ENGG. CO. (BID ID -748966) | 3573200.00 | L10
| 11 | jaydeep agency corporation (BID ID -749356) | 3644700.00 | L11
| 12 | B L ENTERPRISES (BID ID -749169) | 3654157.90 | L12
| 13 | Awasthi Electric Works (BID ID -749824) | 3779480.00 | L13
| 14 | SRI KESARI ENGINEERING (BID ID -748963) | 3833820.00 | L14
| 15 | R S ELECTRICALS (BID ID -749772) | 3908050.00 | L15
| 16 | POWER AUTOMATION AND CONTROLS (BID ID -746092) | 4494480.00 | L16
| 17 | ENERGYGREEN TECHNOPOWER PVT LTD (BID ID -749506) | 5191380.00 | L17