## BoQ1
Government eProcurement System Created By: Pawan Kumar Varma Created Date/Time: 10-Oct-2024 11:49 AM Tender Title: Repair/ Renovation of D Block at INA Colony for the year 2024-25 Tender ID: 2024_AAI_207460_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Repair/Renovation of D Block at INA Colony for the Year 2024-25.
Contract No: 2024_AAI_207460
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Khairati Lal (GSTN-07ABBPL9082B1ZT) BID ID -749259 |  | SIROHI CONSTRUCTION CO (GSTN-07AXOPS3749P1ZD) BID ID -749351 |  | SAMTA INTERIORS (GSTN-07AALPB7815K1ZJ) BID ID -750140 |  | ESS KAY CONSTRUCTIONS (GSTN-07AABFE6199D1ZF) BID ID -750459 |  | kailash chawla (GSTN-07ADYPC8838P1ZG) BID ID -750651 |  | AR Construction (GSTN-NA) BID ID -750466 |  | Ankur Interiors (GSTN-NA) BID ID -748833
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5.00 | cum |  | 160.00 | 800.00 | 1000.00 | 5000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 950.00 | 4750.00 | 500.00 | 2500.00 | 800.00 | Khairati Lal
2.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below. | 250.00 | each |  | 150.00 | 37500.00 | 100.00 | 25000.00 | 70.00 | 17500.00 | 100.00 | 25000.00 | 150.00 | 37500.00 | 380.00 | 95000.00 | 250.00 | 62500.00 | 17500.00 | SAMTA INTERIORS
3.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1531.00 | sqm |  | 40.00 | 61240.00 | 20.00 | 30620.00 | 20.00 | 30620.00 | 50.00 | 76550.00 | 20.00 | 30620.00 | 55.00 | 84205.00 | 50.00 | 76550.00 | 30620.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS, kailash chawla
4.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 8.00 | cum |  | 250.00 | 2000.00 | 1400.00 | 11200.00 | 900.00 | 7200.00 | 800.00 | 6400.00 | 800.00 | 6400.00 | 2200.00 | 17600.00 | 2500.00 | 20000.00 | 2000.00 | Khairati Lal
5.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer-in-charge. | 96.00 | sqm |  | 150.00 | 14400.00 | 1000.00 | 96000.00 | 200.00 | 19200.00 | 5.00 | 480.00 | 40.00 | 3840.00 | 450.00 | 43200.00 | 100.00 | 9600.00 | 480.00 | ESS KAY CONSTRUCTIONS
6.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 3.00 | cum |  | 660.00 | 1980.00 | 650.00 | 1950.00 | 500.00 | 1500.00 | 500.00 | 1500.00 | 600.00 | 1800.00 | 750.00 | 2250.00 | 450.00 | 1350.00 | 1350.00 | Ankur Interiors
7.00 | Dismantling of flushing cistern of all types (C.l./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 20.00 | each |  | 75.00 | 1500.00 | 50.00 | 1000.00 | 50.00 | 1000.00 | 10.00 | 200.00 | 20.00 | 400.00 | 230.00 | 4600.00 | 100.00 | 2000.00 | 200.00 | ESS KAY CONSTRUCTIONS
8.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 184.00 | sqm |  | 50.00 | 9200.00 | 35.00 | 6440.00 | 20.00 | 3680.00 | 30.00 | 5520.00 | 30.00 | 5520.00 | 40.00 | 7360.00 | 100.00 | 18400.00 | 3680.00 | SAMTA INTERIORS
9.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 20.00 | each |  | 160.00 | 3200.00 | 80.00 | 1600.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 20.00 | 400.00 | 260.00 | 5200.00 | 100.00 | 2000.00 | 400.00 | kailash chawla
10.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer in- Charge. Internal Work- Exposed on wall | 720.00 | metre |  | 15.00 | 10800.00 | 2.00 | 1440.00 | 5.00 | 3600.00 | 10.00 | 7200.00 | 10.00 | 7200.00 | 65.00 | 46800.00 | 50.00 | 36000.00 | 1440.00 | SIROHI CONSTRUCTION CO
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 2.00 | cum |  | 4000.00 | 8000.00 | 4200.00 | 8400.00 | 3000.00 | 6000.00 | 3400.00 | 6800.00 | 3800.00 | 7600.00 | 5500.00 | 11000.00 | 5500.00 | 11000.00 | 6000.00 | SAMTA INTERIORS
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 4.00 | cum |  | 5550.00 | 22200.00 | 5200.00 | 20800.00 | 3100.00 | 12400.00 | 3900.00 | 15600.00 | 4500.00 | 18000.00 | 6800.00 | 27200.00 | 6500.00 | 26000.00 | 12400.00 | SAMTA INTERIORS
13.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 4.00 | cum |  | 6400.00 | 25600.00 | 6000.00 | 24000.00 | 5500.00 | 22000.00 | 4500.00 | 18000.00 | 8000.00 | 32000.00 | 7200.00 | 28800.00 | 7500.00 | 30000.00 | 18000.00 | ESS KAY CONSTRUCTIONS
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Shelves (Cast in situ) | 42.00 | sqm |  | 600.00 | 25200.00 | 600.00 | 25200.00 | 250.00 | 10500.00 | 150.00 | 6300.00 | 300.00 | 12600.00 | 550.00 | 23100.00 | 600.00 | 25200.00 | 6300.00 | ESS KAY CONSTRUCTIONS
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 481.00 | kg |  | 60.00 | 28860.00 | 75.00 | 36075.00 | 65.00 | 31265.00 | 75.00 | 36075.00 | 75.00 | 36075.00 | 75.00 | 36075.00 | 90.00 | 43290.00 | 28860.00 | Khairati Lal
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 6.00 | cum |  | 5900.00 | 35400.00 | 5200.00 | 31200.00 | 4600.00 | 27600.00 | 4600.00 | 27600.00 | 4500.00 | 27000.00 | 6800.00 | 40800.00 | 7500.00 | 45000.00 | 27000.00 | kailash chawla
17.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 72.00 | sqm |  | 150.00 | 10800.00 | 650.00 | 46800.00 | 800.00 | 57600.00 | 750.00 | 54000.00 | 700.00 | 50400.00 | 750.00 | 54000.00 | 770.00 | 55440.00 | 10800.00 | Khairati Lal
18.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 59.00 | sqm |  | 70.00 | 4130.00 | 60.00 | 3540.00 | 70.00 | 4130.00 | 60.00 | 3540.00 | 60.00 | 3540.00 | 65.00 | 3835.00 | 150.00 | 8850.00 | 3540.00 | SIROHI CONSTRUCTION CO, ESS KAY CONSTRUCTIONS, kailash chawla
19.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 320.00 | metre |  | 85.00 | 27200.00 | 280.00 | 89600.00 | 125.00 | 40000.00 | 250.00 | 80000.00 | 150.00 | 48000.00 | 160.00 | 51200.00 | 350.00 | 112000.00 | 27200.00 | Khairati Lal
20.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 400.00 | metre |  | 130.00 | 52000.00 | 270.00 | 108000.00 | 160.00 | 64000.00 | 200.00 | 80000.00 | 180.00 | 72000.00 | 170.00 | 68000.00 | 400.00 | 160000.00 | 52000.00 | Khairati Lal
21.00 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 coarse sand) | 184.00 | sqm |  | 250.00 | 46000.00 | 200.00 | 36800.00 | 200.00 | 36800.00 | 210.00 | 38640.00 | 220.00 | 40480.00 | 210.00 | 38640.00 | 300.00 | 55200.00 | 36800.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS
22.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 82.00 | sqm |  | 230.00 | 18860.00 | 250.00 | 20500.00 | 235.00 | 19270.00 | 220.00 | 18040.00 | 250.00 | 20500.00 | 230.00 | 18860.00 | 350.00 | 28700.00 | 18040.00 | ESS KAY CONSTRUCTIONS
23.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 300.00 | sqm |  | 270.00 | 81000.00 | 325.00 | 97500.00 | 250.00 | 75000.00 | 350.00 | 105000.00 | 280.00 | 84000.00 | 350.00 | 105000.00 | 450.00 | 135000.00 | 75000.00 | SAMTA INTERIORS
24.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to 1S: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. Size of tiles may be reached from 0.18 sqm to 0.72 sqm.or as per direction of Engineer-in-Charge. | 571.00 | sqm |  | 550.00 | 314050.00 | 650.00 | 371150.00 | 600.00 | 342600.00 | 690.00 | 393990.00 | 800.00 | 456800.00 | 980.00 | 559580.00 | 900.00 | 513900.00 | 314050.00 | Khairati Lal
25.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to 1S:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 48.00 | sqm |  | 700.00 | 33600.00 | 785.00 | 37680.00 | 735.00 | 35280.00 | 710.00 | 34080.00 | 900.00 | 43200.00 | 850.00 | 40800.00 | 950.00 | 45600.00 | 33600.00 | Khairati Lal
26.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to 1S:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed vitrified floor tiles polished finish of size Size of Tile 600 x 600 mm | 756.00 | sqm |  | 750.00 | 567000.00 | 810.00 | 612360.00 | 645.00 | 487620.00 | 680.00 | 514080.00 | 850.00 | 642600.00 | 850.00 | 642600.00 | 1050.00 | 793800.00 | 487620.00 | SAMTA INTERIORS
27.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 156.00 | sqm |  | 800.00 | 124800.00 | 890.00 | 138840.00 | 680.00 | 106080.00 | 700.00 | 109200.00 | 800.00 | 124800.00 | 850.00 | 132600.00 | 1250.00 | 195000.00 | 106080.00 | SAMTA INTERIORS
28.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.
28.10 | Granite stone slab of colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 31.00 | sqm |  | 2100.00 | 65100.00 | 3000.00 | 93000.00 | 1825.00 | 56575.00 | 2100.00 | 65100.00 | 1900.00 | 58900.00 | 2800.00 | 86800.00 | 3500.00 | 108500.00 | 56575.00 | SAMTA INTERIORS
28.20 | Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 38.00 | sqm |  | 2300.00 | 87400.00 | 3200.00 | 121600.00 | 1825.00 | 69350.00 | 2200.00 | 83600.00 | 2000.00 | 76000.00 | 3200.00 | 121600.00 | 3500.00 | 133000.00 | 69350.00 | SAMTA INTERIORS
29.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 692.00 | metre |  | 200.00 | 138400.00 | 320.00 | 221440.00 | 145.00 | 100340.00 | 300.00 | 207600.00 | 150.00 | 103800.00 | 350.00 | 242200.00 | 150.00 | 103800.00 | 100340.00 | SAMTA INTERIORS
30.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all comers, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to 1S: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 — Part 3 (ii) Sites with structure height more than 20m for all wind speeds
30.01 | Three track three panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304body. Using R3 series with frame (98mm & above) x (40mm & above) & sash (30mm & above) x (55mm & above) with zinc alloy (zamak) powder coated handle on two end panels along with multi-point locking system (Height upto 1.8 metre). | 36.00 | sqm |  | 5800.00 | 208800.00 | 6000.00 | 216000.00 | 5750.00 | 207000.00 | 7000.00 | 252000.00 | 7500.00 | 270000.00 | 7500.00 | 270000.00 | 8500.00 | 306000.00 | 207000.00 | SAMTA INTERIORS
30.02 | Ventilator Casement window single panel with or without fixed panel with S.S. 304 friction hinges as per size and weight of sash, single point locking zinc alloy (zamak) powder coated handles. 9.147.D1.1 Using R1 series with frame (33 mm & above ) x (35 mm & above) & sash /mullion (33 mm & above) x (50 mm & above). (Height upto 0.90 metre). | 11.00 | sqm |  | 5800.00 | 63800.00 | 8500.00 | 93500.00 | 6600.00 | 72600.00 | 10900.00 | 119900.00 | 9700.00 | 106700.00 | 7800.00 | 85800.00 | 9500.00 | 104500.00 | 63800.00 | Khairati Lal
30.03 | Casement window double panels with French (False) Mullion with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. Using R3 series with frame (55 mm & above) x (45 mm & above) & sash (65 mm & above) x (65 mm & above) & French (False) mullion (55 mm & above) x (60 mm & above). (Height upto 1.8 metre). | 63.00 | sqm |  | 5150.00 | 324450.00 | 7000.00 | 441000.00 | 5475.00 | 344925.00 | 11050.00 | 696150.00 | 9000.00 | 567000.00 | 7200.00 | 453600.00 | 8750.00 | 551250.00 | 324450.00 | Khairati Lal
30.04 | Casement window single panel with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. Using R3 series with frame (55mm & above ) x (45mm & above) & sash (55mm & above) x (65mm & above). (Height upto 1.8 metre) | 6.00 | sqm |  | 5100.00 | 30600.00 | 8000.00 | 48000.00 | 5800.00 | 34800.00 | 9500.00 | 57000.00 | 9000.00 | 54000.00 | 6500.00 | 39000.00 | 10210.00 | 61260.00 | 30600.00 | Khairati Lal
31.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 1996.00 | sqm |  | 14.00 | 27944.00 | 5.00 | 9980.00 | 5.00 | 9980.00 | 5.00 | 9980.00 | 5.00 | 9980.00 | 15.00 | 29940.00 | 25.00 | 49900.00 | 9980.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS, ESS KAY CONSTRUCTIONS, kailash chawla
32.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1996.00 | sqm |  | 35.00 | 69860.00 | 40.00 | 79840.00 | 40.00 | 79840.00 | 50.00 | 99800.00 | 60.00 | 119760.00 | 70.00 | 139720.00 | 60.00 | 119760.00 | 69860.00 | Khairati Lal
33.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 70.00 | sqm |  | 60.00 | 4200.00 | 85.00 | 5950.00 | 90.00 | 6300.00 | 110.00 | 7700.00 | 110.00 | 7700.00 | 160.00 | 11200.00 | 85.00 | 5950.00 | 4200.00 | Khairati Lal
34.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 1996.00 | sqm |  | 65.00 | 129740.00 | 75.00 | 149700.00 | 40.00 | 79840.00 | 80.00 | 159680.00 | 65.00 | 129740.00 | 90.00 | 179640.00 | 70.00 | 139720.00 | 79840.00 | SAMTA INTERIORS
35.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 1996.00 | sqm |  | 17.00 | 33932.00 | 40.00 | 79840.00 | 25.00 | 49900.00 | 20.00 | 39920.00 | 25.00 | 49900.00 | 35.00 | 69860.00 | 60.00 | 119760.00 | 33932.00 | Khairati Lal
36.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 150.00 | each |  | 100.00 | 15000.00 | 60.00 | 9000.00 | 60.00 | 9000.00 | 50.00 | 7500.00 | 35.00 | 5250.00 | 35.00 | 5250.00 | 75.00 | 11250.00 | 5250.00 | AR Construction, kailash chawla
37.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per 18:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 10.00 | each |  | 7200.00 | 72000.00 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 2200.00 | 22000.00 | 1900.00 | 19000.00 | 3000.00 | 30000.00 | 4500.00 | 45000.00 | 19000.00 | kailash chawla
38.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 3.00 | cum |  | 75000.00 | 225000.00 | 90000.00 | 270000.00 | 83000.00 | 249000.00 | 98000.00 | 294000.00 | 80000.00 | 240000.00 | 85000.00 | 255000.00 | 95000.00 | 285000.00 | 225000.00 | Khairati Lal
39.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 140 mm | 880.00 | each |  | 120.00 | 105600.00 | 100.00 | 88000.00 | 50.00 | 44000.00 | 80.00 | 70400.00 | 64.00 | 56320.00 | 120.00 | 105600.00 | 150.00 | 132000.00 | 44000.00 | SAMTA INTERIORS
40.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
40.01 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 153.00 | sqm |  | 350.00 | 53550.00 | 1600.00 | 244800.00 | 1250.00 | 191250.00 | 1400.00 | 214200.00 | 1700.00 | 260100.00 | 3500.00 | 535500.00 | 2100.00 | 321300.00 | 53550.00 | Khairati Lal
40.02 | 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 50.00 | sqm |  | 1500.00 | 75000.00 | 1500.00 | 75000.00 | 1100.00 | 55000.00 | 1500.00 | 75000.00 | 1600.00 | 80000.00 | 3200.00 | 160000.00 | 1840.00 | 92000.00 | 55000.00 | SAMTA INTERIORS
41.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 110.00 | each |  | 85.00 | 9350.00 | 80.00 | 8800.00 | 70.00 | 7700.00 | 50.00 | 5500.00 | 50.00 | 5500.00 | 250.00 | 27500.00 | 150.00 | 16500.00 | 5500.00 | ESS KAY CONSTRUCTIONS, kailash chawla
42.00 | Providing and fixing special quality bright finished brass cupboard or ward robe locks with four levers of approved quality including necessary screws etc. complete. 40 mm | 60.00 | each |  | 330.00 | 19800.00 | 200.00 | 12000.00 | 180.00 | 10800.00 | 150.00 | 9000.00 | 60.00 | 3600.00 | 380.00 | 22800.00 | 300.00 | 18000.00 | 3600.00 | kailash chawla
43.00 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete. Double strip ( type) | 180.00 | each |  | 50.00 | 9000.00 | 20.00 | 3600.00 | 30.00 | 5400.00 | 30.00 | 5400.00 | 20.00 | 3600.00 | 150.00 | 27000.00 | 80.00 | 14400.00 | 3600.00 | SIROHI CONSTRUCTION CO, kailash chawla
44.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.1.0 mm thick | 564.00 | sqm |  | 500.00 | 282000.00 | 550.00 | 310200.00 | 400.00 | 225600.00 | 550.00 | 310200.00 | 550.00 | 310200.00 | 350.00 | 197400.00 | 850.00 | 479400.00 | 197400.00 | AR Construction
45.00 | Dismantling /removal of sink and wash basin at various location and submission of unservicable item to authorized representative of EIC. | 30.00 | each |  | 75.00 | 2250.00 | 60.00 | 1800.00 | 50.00 | 1500.00 | 50.00 | 1500.00 | 50.00 | 1500.00 | 250.00 | 7500.00 | 500.00 | 15000.00 | 1500.00 | SAMTA INTERIORS, ESS KAY CONSTRUCTIONS, kailash chawla
46.00 | Taking out almirah/ kitchen cabinet etc. (steel or wood) including stacking within 50 metres lead :complete as desired by the Engineer-in-charge. Front area shall be measured for payment purpose. | 108.00 | sqm |  | 45.00 | 4860.00 | 25.00 | 2700.00 | 70.00 | 7560.00 | 30.00 | 3240.00 | 60.00 | 6480.00 | 110.00 | 11880.00 | 200.00 | 21600.00 | 2700.00 | SIROHI CONSTRUCTION CO
47.00 | Providing and fixing 18 mm thick gang saw cut for wall lining over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete. Granite stone slab of colour black, Cherry/Ruby red | 106.00 | sqm |  | 1700.00 | 180200.00 | 3000.00 | 318000.00 | 1900.00 | 201400.00 | 2500.00 | 265000.00 | 2500.00 | 265000.00 | 390.00 | 41340.00 | 4500.00 | 477000.00 | 41340.00 | AR Construction
48.00 | Providing and fixing 4 way Single lever concealed Divertor in brass body having water inlets for single lever operations with outflow towards over head shower and spout , Concealed Body for Single Lever Divertor with button for operating Spout without exposed part of make jaquar model no ALD-065M/ cera model no F 4010108 /Hindware model no F 860065 or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 1150.00 | 23000.00 | 1500.00 | 30000.00 | 1550.00 | 31000.00 | 2000.00 | 40000.00 | 1950.00 | 39000.00 | 2460.00 | 49200.00 | 4500.00 | 90000.00 | 23000.00 | Khairati Lal
49.00 | Providing and fixing Exposed part kit for Single lever divertor with push button for spout of make Jaquar model no FLR 5065MK/Cera model no F 1015701/Hindware Italian collection F280040 model no or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 400.00 | 8000.00 | 900.00 | 18000.00 | 700.00 | 14000.00 | 1050.00 | 21000.00 | 1200.00 | 24000.00 | 2690.00 | 53800.00 | 4700.00 | 94000.00 | 8000.00 | Khairati Lal
50.00 | Providing and fixing Bathtub Spout with Wall Flange Of approved make of jaquar cat no.SPJ-429 /Cera model no F 1015661 /Hindware italian collection model no F570009 ,fixed or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 3400.00 | 68000.00 | 800.00 | 16000.00 | 725.00 | 14500.00 | 937.00 | 18740.00 | 1000.00 | 20000.00 | 1320.00 | 26400.00 | 1400.00 | 28000.00 | 14500.00 | SAMTA INTERIORS
51.00 | Providing and fixing Exposed part and concealed part for Concealed Stop Cock with Fitting Sleeve, Operating Lever & Adjustable Wall Flange with Seal of approved make of Jaquar cat no. FLR 5083NK and ALD 089CQT/Exposed and conceal part of Cera model no F1015362 20 mm/Hindware italian collection model no F850095 and F 280027 with Suitable For 20 mm Pipe Line with Protection Cap or equivalent as per Direction of Engg-in Charge. Note : Items shall be used of one series make from out of three or as approved by engg. in charge. | 20.00 | each |  | 300.00 | 6000.00 | 800.00 | 16000.00 | 800.00 | 16000.00 | 1028.00 | 20560.00 | 900.00 | 18000.00 | 1150.00 | 23000.00 | 550.00 | 11000.00 | 6000.00 | Khairati Lal
52.00 | Providing and fixing Single Lever Basin Mixer without Popup Waste System with 450mm Long Braided Hoses cat no FLR 5001B of Jaquar/Cat no F 1015451 of Cera/Cat no.F 280010 hindware Italian collection or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 2700.00 | 54000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 2630.00 | 52600.00 | 2700.00 | 54000.00 | 2350.00 | 47000.00 | 5200.00 | 104000.00 | 40000.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS
53.00 | Providing and fixing Angular Stop Cock of model no FLR 5053N of Jaquar /F1015201 of make Cera /F 280004 of Hindware Italian collection or equivalent as per Direction of Engg-in Charge. | 150.00 | each |  | 870.00 | 130500.00 | 700.00 | 105000.00 | 530.00 | 79500.00 | 875.00 | 131250.00 | 900.00 | 135000.00 | 950.00 | 142500.00 | 1300.00 | 195000.00 | 79500.00 | SAMTA INTERIORS
54.00 | Providing and fixing Overhead Shower with Shower Arm - Chrome 20mm dia. & 300mm Long Round Shape jaquar model no SHA-479L300S, and Overhead Shower 100 to 150mm Round Shape Multi Flow with Rubit cleaning system model no OHS -1989 of jaquar/Cera model no F7020305AB/Hindware Italian collection model no F160006 or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 600.00 | 12000.00 | 1450.00 | 29000.00 | 850.00 | 17000.00 | 1800.00 | 36000.00 | 4200.00 | 84000.00 | 2580.00 | 51600.00 | 1400.00 | 28000.00 | 12000.00 | Khairati Lal
55.00 | Providing and fixing Conceal pvc single piece conceal flushing cistern Tank with istallation kit & S type drain pipe connection set for wall hung W.C with all fittings and fixtures complete of Make Jaquar model no JCS-WHT-2431 /Cera model no B 1110101/Hindware model no 517444 or equivalent or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 3500.00 | 70000.00 | 3800.00 | 76000.00 | 2600.00 | 52000.00 | 4880.00 | 97600.00 | 4000.00 | 80000.00 | 5500.00 | 110000.00 | 9000.00 | 180000.00 | 52000.00 | SAMTA INTERIORS
56.00 | Providing and fixing Conceal flushing cistern Tank front plate without inner tank of Make Jaquar model no JCP-CHR-102415 /Cera model no B 1120105/Hindware model no 508798 or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 1000.00 | 20000.00 | 900.00 | 18000.00 | 900.00 | 18000.00 | 1252.00 | 25040.00 | 1000.00 | 20000.00 | 1250.00 | 25000.00 | 1900.00 | 38000.00 | 18000.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS
57.00 | Providing and fixing Wall hung water closet ,fixed in position to receive PVC Concealed tank in white colour of Make Jaquar model no CNS-WHT-9599PP /Cera model no S1043108 /Hindware Italian collection model no 20108 (P-23) or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 6000.00 | 120000.00 | 6800.00 | 136000.00 | 5700.00 | 114000.00 | 8735.00 | 174700.00 | 6500.00 | 130000.00 | 11500.00 | 230000.00 | 9550.00 | 191000.00 | 114000.00 | SAMTA INTERIORS
58.00 | Providing and fixing bottle trap with waste coupling of Jaguar Make model no. - ALD-769L250x190 ,waste coupling ALD 705/Cera Make model no. - F8060101 ,waste coupling F8050101/Hindware Make model no. - Cat. No.: F850015 ,waste coupling Cat. No.: F850002 ,or equivalent as per direction and complete satisfaction of Engineer-in-charge. | 20.00 | each |  | 350.00 | 7000.00 | 1300.00 | 26000.00 | 600.00 | 12000.00 | 1800.00 | 36000.00 | 1500.00 | 30000.00 | 1800.00 | 36000.00 | 1800.00 | 36000.00 | 7000.00 | Khairati Lal
59.00 | Providing and fixing Counter top basin in white colour of Make Jaquar model no FLS-WHT-5931 /Cera model no S2020137 /Hindware model no 91066 or equivalent as per Direction of Engg-in Charge. | 20.00 | each |  | 4000.00 | 80000.00 | 3200.00 | 64000.00 | 2850.00 | 57000.00 | 4000.00 | 80000.00 | 4000.00 | 80000.00 | 3500.00 | 70000.00 | 5170.00 | 103400.00 | 57000.00 | SAMTA INTERIORS
60.00 | Providing and Fixing Health Faucet with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook of make Jaquar model no ALD-563/Cera model no F 8030103 /Hindware italian collection model no F 160110 etc. complete or equivalent as per Direction & satisfaction of Engineer-in-charge | 20.00 | each |  | 800.00 | 16000.00 | 700.00 | 14000.00 | 600.00 | 12000.00 | 840.00 | 16800.00 | 850.00 | 17000.00 | 1230.00 | 24600.00 | 1325.00 | 26500.00 | 12000.00 | SAMTA INTERIORS
61.00 | Providing & fixing Towel Ring Round with Round Flange Make - Jaguar model no. ACN - 1121 BN/ Cera model no. F5014105CH/ Hindware Cat. No.: F880007 or equivalent as per Direction & satisfaction of Engineer-in-charge. | 20.00 | each |  | 750.00 | 15000.00 | 700.00 | 14000.00 | 525.00 | 10500.00 | 840.00 | 16800.00 | 700.00 | 14000.00 | 650.00 | 13000.00 | 925.00 | 18500.00 | 10500.00 | SAMTA INTERIORS
62.00 | Providing & fixing Toilet Roll Holder in Stainless Steel , Make - Jaguar- CPA-1151/Cera model no F 5007109/Hindware italian collection model no F 580009, or equivalent as per Direction & satisfaction of Engineer-in-charge. | 20.00 | each |  | 500.00 | 10000.00 | 500.00 | 10000.00 | 525.00 | 10500.00 | 830.00 | 16600.00 | 400.00 | 8000.00 | 700.00 | 14000.00 | 900.00 | 18000.00 | 8000.00 | kailash chawla
63.00 | Providing and fixing Glass shelf (Corner/staright) in 225 x 225 mm in Stainless steel with glass shelf of make Jaquar model no CPA 1173/Cera model no F 5005102 /Hindware Italian collection model no F 880010 with all fiting etc or equivalent as per Direction & satisfaction of Engineer-in-charge. | 20.00 | each |  | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 1220.00 | 24400.00 | 1000.00 | 20000.00 | 1200.00 | 24000.00 | 1675.00 | 33500.00 | 18000.00 | SAMTA INTERIORS
64.00 | Providing and fixing Towel Rail 450 mm long in Stainless steel of make Jaquar model no CAN-1111BSM/Cera model no F 5015104 CH /Hindware Italian collection model no F 580012 with all fiting etc complete or equivalent as per Direction & satisfaction of Engineer-in-charge. | 20.00 | each |  | 900.00 | 18000.00 | 790.00 | 15800.00 | 635.00 | 12700.00 | 920.00 | 18400.00 | 800.00 | 16000.00 | 2780.00 | 55600.00 | 1370.00 | 27400.00 | 12700.00 | SAMTA INTERIORS
65.00 | Providing and fixing Wall Mixer for kitchen of model no FLR 5309N of Jaquar /F2008501 of make Cera /F 280020 of Hindware Italian collection as per Direction of Engg-in Charge. NOTE: For item no. 48 to item no. 65. one single series of make amongst (Jaquar/Cera/Hindware) shall be permitted for use with prior approval or equivalent as per Direction & satisfaction of Engineer-in-charge. | 12.00 | each |  | 3450.00 | 41400.00 | 3000.00 | 36000.00 | 2775.00 | 33300.00 | 3500.00 | 42000.00 | 3400.00 | 40800.00 | 2650.00 | 31800.00 | 5500.00 | 66000.00 | 31800.00 | AR Construction
66.00 | Providing and fixing Stainless steel SS grade 304, curtain rod 25 mm dia 1.20mm thick with complete fittings including finials, brackets,screws etc. Complete or as per Direction of Engg-in Charge. | 175.00 | metre |  | 180.00 | 31500.00 | 295.00 | 51625.00 | 140.00 | 24500.00 | 285.00 | 49875.00 | 200.00 | 35000.00 | 280.00 | 49000.00 | 450.00 | 78750.00 | 24500.00 | SAMTA INTERIORS
67.00 | Providing and fixing unplasticized PVC pipes in toilet, bathroom ,drain water etc. for Heavy duty confirming 6 Kg/ cm2 including jointing with seal ring etc of approved make. complete as per direction of Engineer in charge.(i) Single socketed pipes.. 90 mm | 80.00 | metre |  | 170.00 | 13600.00 | 250.00 | 20000.00 | 200.00 | 16000.00 | 380.00 | 30400.00 | 200.00 | 16000.00 | 160.00 | 12800.00 | 400.00 | 32000.00 | 12800.00 | AR Construction
68.00 | Providing and fixing unplasticized PVC pipes Heavy duty confirming ( 10 Kg/ cm2) including jointing with adhesive ,Rubber (Seal) Ring etc in all height . complete as per direction of Engineer in charge.(i) Single socketed pipes. 50 mm | 20.00 | metre |  | 40.00 | 800.00 | 160.00 | 3200.00 | 135.00 | 2700.00 | 250.00 | 5000.00 | 130.00 | 2600.00 | 150.00 | 3000.00 | 250.00 | 5000.00 | 800.00 | Khairati Lal
69.00 | Providing and fixing unplasticized PVC moulded fittings/accessories for unplasticised PVC pipes ( 10 Kg/ cm2) including jointing with adhesive etc. all complete as per direction of Engineer in charge. 50 mm Elbow/Bend | 40.00 | metre |  | 35.00 | 1400.00 | 40.00 | 1600.00 | 50.00 | 2000.00 | 100.00 | 4000.00 | 50.00 | 2000.00 | 150.00 | 6000.00 | 275.00 | 11000.00 | 1400.00 | Khairati Lal
70.00 | Providing and fixing unplasticized PVC moulded fittings/accessories for unplasticised PVC pipes ( 6 Kg/ cm2) including jointing with adhesive etc. all complete as per direction of Engineer in charge. 90 mm Tee. | 20.00 | each |  | 100.00 | 2000.00 | 100.00 | 2000.00 | 125.00 | 2500.00 | 250.00 | 5000.00 | 120.00 | 2400.00 | 125.00 | 2500.00 | 150.00 | 3000.00 | 2000.00 | Khairati Lal, SIROHI CONSTRUCTION CO
71.00 | Providing and fixing unplasticized PVC moulded fittings/accessories for unplasticised PVC pipes ( 6 Kg/ cm2) including jointing with adhesive etc. all complete as per direction of Engineer in charge. 90 mm Bend/Elbow. | 58.00 | each |  | 90.00 | 5220.00 | 80.00 | 4640.00 | 125.00 | 7250.00 | 110.00 | 6380.00 | 100.00 | 5800.00 | 130.00 | 7540.00 | 175.00 | 10150.00 | 4640.00 | SIROHI CONSTRUCTION CO
72.00 | Providing and fixing unplasticized PVC pipes in toilet, bathroom ,soil waste for all height Heavy duty confirming 6 Kg/ cm2 including jointing with seal ring and clip as per requirement etc. complete as per direction of Engineer in charge.(i) Single socketed pipes. 110 mm | 40.00 | metre |  | 220.00 | 8800.00 | 250.00 | 10000.00 | 275.00 | 11000.00 | 380.00 | 15200.00 | 300.00 | 12000.00 | 140.00 | 5600.00 | 425.00 | 17000.00 | 5600.00 | AR Construction
73.00 | Providing and fixing unplasticized PVC moulded fittings/accessories for unplasticised PVC pipes 6 Kg/ cm2 for all height including jointing with adhesive etc. all complete as per direction of Engineer in charge. 110 mm Tee. | 20.00 | each |  | 80.00 | 1600.00 | 150.00 | 3000.00 | 160.00 | 3200.00 | 180.00 | 3600.00 | 190.00 | 3800.00 | 160.00 | 3200.00 | 150.00 | 3000.00 | 1600.00 | Khairati Lal
74.00 | Providing and fixing unplasticized PVC moulded fittings/accessories for unplasticised PVC pipes ( 6 Kg/ cm2) including jointing with adhesive etc. all complete as per direction of Engineer in charge. 110 mm Bend/Elbow. | 60.00 | each |  | 50.00 | 3000.00 | 125.00 | 7500.00 | 160.00 | 9600.00 | 120.00 | 7200.00 | 150.00 | 9000.00 | 160.00 | 9600.00 | 200.00 | 12000.00 | 3000.00 | Khairati Lal
75.00 | Providing & fixing Anti cockroach floor drain jali in the SS 304 grade complete as per direction of Engineer-In-Charge | 50.00 | each |  | 375.00 | 18750.00 | 430.00 | 21500.00 | 150.00 | 7500.00 | 450.00 | 22500.00 | 90.00 | 4500.00 | 180.00 | 9000.00 | 200.00 | 10000.00 | 4500.00 | kailash chawla
76.00 | Providing and fixing PVC Nahani trap, having 100mm inlet and 100mm outlet of approved make as per direction and entire satisfaction of EIC. | 50.00 | each |  | 250.00 | 12500.00 | 70.00 | 3500.00 | 120.00 | 6000.00 | 140.00 | 7000.00 | 100.00 | 5000.00 | 385.00 | 19250.00 | 100.00 | 5000.00 | 3500.00 | SIROHI CONSTRUCTION CO
77.00 | Providng and fixing 6 mm thick beveled edge looking mirror of superior glass (of approved quality) in required size and shape fixed with SS stud etc.all complete as per Direction & satisfaction of Engineer-in-charge. | 16.00 | Sqm |  | 1900.00 | 30400.00 | 500.00 | 8000.00 | 1500.00 | 24000.00 | 800.00 | 12800.00 | 600.00 | 9600.00 | 250.00 | 4000.00 | 2000.00 | 32000.00 | 4000.00 | AR Construction
78.00 | Providing and fixing glazing in uPVC/wood /Aluminum, door,window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . | 116.00 | sqm |  | 30.00 | 3480.00 | 1000.00 | 116000.00 | 750.00 | 87000.00 | 900.00 | 104400.00 | 600.00 | 69600.00 | 4940.00 | 573040.00 | 5200.00 | 603200.00 | 3480.00 | Khairati Lal
79.00 | Providing and fixing Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides in uPVC/Wooden/Aluminium, door,window, ventilator shutters and partitions etc. complete as per the architectural drawings and the directions of engineer-in-charge . | 116.00 | sqm |  | 410.00 | 47560.00 | 65.00 | 7540.00 | 330.00 | 38280.00 | 700.00 | 81200.00 | 450.00 | 52200.00 | 3800.00 | 440800.00 | 3500.00 | 406000.00 | 7540.00 | SIROHI CONSTRUCTION CO
80.00 | Providing and placing in position Laminated storage of Depth ranging from 500 mm to 600 mm of desired size and shape having Carcase made in HDHMR board of make Action Tessa/HDWR board of make Green as sides/shelves/dividers/verticals/horizontals in 18 mm thickness , having backing of 12 mm thick HDHMR/HDWR Ply ,Carcase of storage to be made in Both side laminated (BSL) High Density High Moisture resistant board with white colour factory pressed laminate to be fixed as sides/top/bottom/dividers/shelves etc ,all edges of carcase to be lipped with required PVC tape fixed with Polybond adhesive in required design, Shutter to be made in ,MR Board duly supported on rail hinges skinned with laminate on both sides and edges skinned with pvc edge tape ,Storage to have provision to accomodate all required standard hardware fittings i.e hanging rod/handle,lock,t bolt etc ,Storage to have provision for drawers with laminate all over and run on telescopic channels with collapsible handle to operate and full storage to be fixed in line and length to wall with skirting etc of approved design.(drawers and all fittings such as handles/locks/tower bolt/hinges/front Shutter to be paid separately in other items) all complete as per entire satisfaction of Engineer-in-charge {For payment purpose Inside area to be measured}. | 79.00 | sqm |  | 6000.00 | 474000.00 | 3500.00 | 276500.00 | 3375.00 | 266625.00 | 3400.00 | 268600.00 | 5000.00 | 395000.00 | 6500.00 | 513500.00 | 8500.00 | 671500.00 | 266625.00 | SAMTA INTERIORS
81.00 | Providing and Fixing fully laminated drawers ranging from 450 mm to 600 mm as maximum width and 150 to 200 mm height to existing storages with carcase made in Both side laminated HDHMR board of make Green/Action Tessa in 12 mm BSL HDHMR/HDWR Ply as sides/back and front in 18 mm HDHMR/HDWR board with 8 mm BSL HDHMR/HDWR Ply as base , complete unit to be hung on 20" Telescopic channels , all edges duly covered with PVC edge tape , all complete with required hardware (collapsible handle to be paid extra) all complete as per entire satisfaction of E I C | 60.00 | each |  | 7000.00 | 420000.00 | 950.00 | 57000.00 | 800.00 | 48000.00 | 1300.00 | 78000.00 | 5000.00 | 300000.00 | 1500.00 | 90000.00 | 2500.00 | 150000.00 | 48000.00 | SAMTA INTERIORS
82.00 | Providing and Fixing 18 mm thick shutters to existing storage in MR board of make Green/merino/duraply/Century hanged on rail hinges in SS finish (size100x58x1.9 mm) ,edges of shutters to be fixed with required PVC tape on all edges , duly aligned with storage to recieve laminate on both sides of approved shade (all fittings such as handles/locks/tower bolt/1 mm laminate to be paid in another item ) all complete as per entire satisfaction of Engineer-in-charge. | 79.00 | sqm |  | 2050.00 | 161950.00 | 1200.00 | 94800.00 | 1150.00 | 90850.00 | 1100.00 | 86900.00 | 700.00 | 55300.00 | 180.00 | 14220.00 | 2500.00 | 197500.00 | 14220.00 | AR Construction
83.00 | Providing and fixing SS tower bolt size 200x10 mm (Barrel type) with necessary screws etc complete or as per entire satisfaction of Engineer-in-charge. 200x10 mm | 400.00 | each |  | 200.00 | 80000.00 | 70.00 | 28000.00 | 70.00 | 28000.00 | 100.00 | 40000.00 | 150.00 | 60000.00 | 75.00 | 30000.00 | 100.00 | 40000.00 | 28000.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS
84.00 | Providing and fixing SS handle with screws etc complete: or as per entire satisfaction of Engineer-in-charge.125 mm | 430.00 | each |  | 110.00 | 47300.00 | 50.00 | 21500.00 | 45.00 | 19350.00 | 60.00 | 25800.00 | 100.00 | 43000.00 | 180.00 | 77400.00 | 100.00 | 43000.00 | 19350.00 | SAMTA INTERIORS
85.00 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing fron the site in the presence of Engineer-in-charge or his authorised representative all complete. | 50.00 | kg |  | 265.00 | -13250.00 | 150.00 | -7500.00 | 425.00 | -21250.00 | 250.00 | -12500.00 | 350.00 | -17500.00 | 450.00 | -22500.00 | 400.00 | -20000.00 | -22500.00 | AR Construction
86.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 700.00 | kg |  | 43.00 | -30100.00 | 15.00 | -10500.00 | 32.00 | -22400.00 | 10.00 | -7000.00 | 40.00 | -28000.00 | 150.00 | -105000.00 | 20.00 | -14000.00 | -105000.00 | AR Construction
87.00 | Deduct for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 60.00 | kg |  | 18.00 | -1080.00 | 9.00 | -540.00 | 15.00 | -900.00 | 1.00 | -60.00 | 20.00 | -1200.00 | 15.00 | -900.00 | 20.00 | -1200.00 | -1200.00 | Ankur Interiors, kailash chawla
88.00 | Cartage of malba from inside AAI premises to out side AAI premises by mechanical means including loading and unloading complete as desired by the Engineer-in-charge Measuring 5 cum to 10 cum | 30.00 | each trip |  | 3200.00 | 96000.00 | 1800.00 | 54000.00 | 2000.00 | 60000.00 | 2000.00 | 60000.00 | 1500.00 | 45000.00 | 1000.00 | 30000.00 | 1000.00 | 30000.00 | 30000.00 | Ankur Interiors, AR Construction
| Total in Figures |  |  |  |  | 5939486.00 |  | 6294610.00 |  | 4882410.00 |  | 6512450.00 |  | 6537205.00 |  | 8148735.00 |  | 9859930.00
Lowest Amount Quoted BY: SAMTA INTERIORS(4882410.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair/ Renovation of D Block at INA Colony for the year 2024-25 Tender ID: 2024_AAI_207460_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAMTA INTERIORS (BID ID -750140) | 4882410.00 | L1
| 2 | Khairati Lal (BID ID -749259) | 5939486.00 | L2
| 3 | SIROHI CONSTRUCTION CO (BID ID -749351) | 6294610.00 | L3
| 4 | ESS KAY CONSTRUCTIONS (BID ID -750459) | 6512450.00 | L4
| 5 | kailash chawla (BID ID -750651) | 6537205.00 | L5
| 6 | AR Construction (BID ID -750466) | 8148735.00 | L6
| 7 | Ankur Interiors (BID ID -748833) | 9859930.00 | L7