## BoQ1
Government eProcurement System Created By: Neeraj Chourasia Created Date/Time: 28-Oct-2024 12:47 PM Tender Title: Construction of Under Ground (UG) Sump in Residential Colony at Khajuraho Airport Tender ID: 2024_AAI_207923_1
Tender Inviting Authority: Asstt. General Manager (Engg-Civil), AAI, Khajuraho Airport, Khajuraho
Name of Work: Construction of Under Ground (UG) Sump in Residential Colony at Khajuraho Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SANWARIYA CONSTRUCTION (GSTN-NA) BID ID -753103 |  | BRC Construction (GSTN-NA) BID ID -753322
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | UG Sump
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 1000 m and for all lift, as directed by Engineer-incharge. : a) All kinds of soil | 602.00 | Cum | 100.00 | 130.00 | 78260.00 | 110.00 | 66220.00 | 66220.00 | BRC Construction
1.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 54.00 | Cum | 10.00 | 4200.00 | 226800.00 | 6500.00 | 351000.00 | 226800.00 | SANWARIYA CONSTRUCTION
1.03 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level. A) Concrete of M30 grade with minimum cement content of 350 kg /cum. | 88.00 | Cum | 10.00 | 6500.00 | 572000.00 | 8000.00 | 704000.00 | 572000.00 | SANWARIYA CONSTRUCTION
1.04 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level A) Concrete of M30 grade with minimum cement content of 350 kg /cum. | 9.00 | Cum | 100.00 | 6600.00 | 59400.00 | 8000.00 | 72000.00 | 59400.00 | SANWARIYA CONSTRUCTION
1.05 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer-in-charge. | 5.00 | Each | 100.00 | 1200.00 | 6000.00 | 900.00 | 4500.00 | 4500.00 | BRC Construction
1.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 9776.80 | KG | 10.00 | 71.00 | 694152.80 | 85.00 | 831028.00 | 694152.80 | SANWARIYA CONSTRUCTION
1.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1666.50 | KG | 10.00 | 72.00 | 119988.00 | 85.00 | 141652.50 | 119988.00 | SANWARIYA CONSTRUCTION
1.08 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Foundations, footings, bases of columns, etc. for mass concrete | 258.90 | Sqm | 100.00 | 250.00 | 64725.00 | 254.00 | 65760.60 | 64725.00 | SANWARIYA CONSTRUCTION
1.09 | Centring and shuttering including strutting, propping etc. and removal of form for all heights: a) Suspended floors, roofs, landings, balconies and access platform | 63.98 | Sqm | 100.00 | 500.00 | 31990.00 | 500.00 | 31990.00 | 31990.00 | SANWARIYA CONSTRUCTION, BRC Construction
1.10 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 49.94 | Sqm | 10.00 | 250.00 | 12485.00 | 400.00 | 19976.00 | 12485.00 | SANWARIYA CONSTRUCTION
1.11 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Columns, Pillars, Piers, Abutments, Posts and Struts. | 19.80 | Sqm | 10.00 | 400.00 | 7920.00 | 625.00 | 12375.00 | 7920.00 | SANWARIYA CONSTRUCTION
1.12 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 310.00 | Sqm | 100.00 | 180.00 | 55800.00 | 230.00 | 71300.00 | 55800.00 | SANWARIYA CONSTRUCTION
1.13 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 32.00 | Sqm | 100.00 | 190.00 | 6080.00 | 250.00 | 8000.00 | 6080.00 | SANWARIYA CONSTRUCTION
1.14 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 6.00 | Cum | 10.00 | 5200.00 | 31200.00 | 6000.00 | 36000.00 | 31200.00 | SANWARIYA CONSTRUCTION
1.15 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage : (a) For vertical surface two coats @ 0.70 kg per sqm | 220.00 | Sqm | 100.00 | 400.00 | 88000.00 | 300.00 | 66000.00 | 66000.00 | BRC Construction
1.16 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage : (a) For horizontal surface one coat @1.10 kg per sqm. | 110.00 | Sqm | 100.00 | 310.00 | 34100.00 | 250.00 | 27500.00 | 27500.00 | BRC Construction
1.17 | Providing & Applying polymer modified, flexible cementatious negative side waterproofing coating with elastic waterproofing polymers on interior wall plaster surface in three coats @14.35 kg /10 sqm. one coat of self priming of cementatious waterproofing polymer(dilution with water in the ratio of 1:1) and two coats of cementatious waterproofing polymer (dilution with water in the ratio of 3:1 ) after scrapping and properly cleaning the surface to remove pre-existing paint film & loose particles till plaster is visible, complete in all respect as per the direction of Engineer-in-Charge. | 248.00 | Sqm | 10.00 | 270.00 | 66960.00 | 300.00 | 74400.00 | 66960.00 | SANWARIYA CONSTRUCTION
1.18 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | 60.00 | Sqm | 10.00 | 700.00 | 42000.00 | 1150.00 | 69000.00 | 42000.00 | SANWARIYA CONSTRUCTION
1.19 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 100.00 | Sqm | 100.00 | 750.00 | 75000.00 | 1000.00 | 100000.00 | 75000.00 | SANWARIYA CONSTRUCTION
1.20 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 152.00 | Sqm | 100.00 | 1100.00 | 167200.00 | 1000.00 | 152000.00 | 152000.00 | BRC Construction
1.21 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 210.00 | Sqm | 10.00 | 1200.00 | 252000.00 | 1300.00 | 273000.00 | 252000.00 | SANWARIYA CONSTRUCTION
1.22 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 36.00 | Sqm | 10.00 | 150.00 | 5400.00 | 100.00 | 3600.00 | 3600.00 | BRC Construction
1.23 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (Two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre. | 30.00 | Sqm | 100.00 | 70.00 | 2100.00 | 120.00 | 3600.00 | 2100.00 | SANWARIYA CONSTRUCTION
1.24 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Teesections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. : a) Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 166.00 | Kg | 100.00 | 110.00 | 18260.00 | 100.00 | 16600.00 | 16600.00 | BRC Construction
1.25 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion: Powder coated aluminium (minimum thickness of powder coating 50 micron) complete. | 38.00 | Kg | 10.00 | 400.00 | 15200.00 | 250.00 | 9500.00 | 9500.00 | BRC Construction
1.26 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 36.00 | Kg | 10.00 | 420.00 | 15120.00 | 420.00 | 15120.00 | 15120.00 | SANWARIYA CONSTRUCTION, BRC Construction
1.27 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 18.00 | Sqm | 100.00 | 1000.00 | 18000.00 | 760.00 | 13680.00 | 13680.00 | BRC Construction
1.28 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 12.00 | Each | 100.00 | 100.00 | 1200.00 | 50.00 | 600.00 | 600.00 | BRC Construction
1.29 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete : (a) Twin rubber stopper | 2.00 | Each | 10.00 | 100.00 | 200.00 | 50.00 | 100.00 | 100.00 | BRC Construction
1.30 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 2.00 | Each | 10.00 | 150.00 | 300.00 | 80.00 | 160.00 | 160.00 | BRC Construction
1.31 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 8.00 | Each | 100.00 | 100.00 | 800.00 | 70.00 | 560.00 | 560.00 | BRC Construction
1.32 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 2.00 | Each | 100.00 | 250.00 | 500.00 | 200.00 | 400.00 | 400.00 | BRC Construction
1.33 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge : Internal work - Exposed on wall ;- (a) 50 mm nominal dia Pipes | 100.00 | Meter | 10.00 | 450.00 | 45000.00 | 550.00 | 55000.00 | 45000.00 | SANWARIYA CONSTRUCTION
1.34 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External Work ;- (a) 100 mm nominal outer dia Pipes | 144.00 | Meter | 10.00 | 1900.00 | 273600.00 | 1500.00 | 216000.00 | 216000.00 | BRC Construction
1.35 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in- Charge. a) 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 208.00 | Sqm | 100.00 | 1000.00 | 208000.00 | 550.00 | 114400.00 | 114400.00 | BRC Construction
1.36 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required : a) In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 550.00 | Kg | 100.00 | 110.00 | 60500.00 | 80.00 | 44000.00 | 44000.00 | BRC Construction
1.37 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required : a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 550.00 | Kg | 10.00 | 110.00 | 60500.00 | 110.00 | 60500.00 | 60500.00 | SANWARIYA CONSTRUCTION, BRC Construction
1.38 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer : A) E.R.W. Tubes | 550.00 | Kg | 10.00 | 120.00 | 66000.00 | 130.00 | 71500.00 | 66000.00 | SANWARIYA CONSTRUCTION
1.39 | Neat cement punning. | 220.00 | Sqm | 100.00 | 30.00 | 6600.00 | 50.00 | 11000.00 | 6600.00 | SANWARIYA CONSTRUCTION
1.40 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 550.00 | Sqm | 100.00 | 60.00 | 33000.00 | 200.00 | 110000.00 | 33000.00 | SANWARIYA CONSTRUCTION
1.41 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. : a) Hot finished welded type tubes | 220.00 | Kg | 10.00 | 115.00 | 25300.00 | 110.00 | 24200.00 | 24200.00 | BRC Construction
1.42 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 275.00 | cum | 10.00 | 90.00 | 24750.00 | 110.00 | 30250.00 | 24750.00 | SANWARIYA CONSTRUCTION
1.43 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineerin- charge : a) Hard rock (blasting prohibited) | 200.00 | Cum | 100.00 | 600.00 | 120000.00 | 700.00 | 140000.00 | 120000.00 | SANWARIYA CONSTRUCTION
1.44 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 550.00 | Kg | 100.00 | 125.00 | 68750.00 | 90.00 | 49500.00 | 49500.00 | BRC Construction
1.45 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 25.00 | Each | 10.00 | 1000.00 | 25000.00 | 350.00 | 8750.00 | 8750.00 | BRC Construction
1.46 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore | 20.00 | Each | 100.00 | 1250.00 | 25000.00 | 530.00 | 10600.00 | 10600.00 | BRC Construction
1.47 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 20.00 | Each | 100.00 | 1800.00 | 36000.00 | 550.00 | 11000.00 | 11000.00 | BRC Construction
1.48 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 50.00 | metre | 10.00 | 130.00 | 6500.00 | 250.00 | 12500.00 | 6500.00 | SANWARIYA CONSTRUCTION
1.49 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 40 mm nominal dia Pipes | 50.00 | metre | 10.00 | 290.00 | 14500.00 | 450.00 | 22500.00 | 14500.00 | SANWARIYA CONSTRUCTION
1.50 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 50 mm nominal dia Pipes | 50.00 | metre | 100.00 | 420.00 | 21000.00 | 450.00 | 22500.00 | 21000.00 | SANWARIYA CONSTRUCTION
1.51 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal dia Pipes | 100.00 | metre | 10.00 | 250.00 | 25000.00 | 380.00 | 38000.00 | 25000.00 | SANWARIYA CONSTRUCTION
1.52 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 65 mm nominal dia Pipes | 100.00 | metre | 10.00 | 900.00 | 90000.00 | 1110.00 | 111000.00 | 90000.00 | SANWARIYA CONSTRUCTION
1.53 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 80 mm nominal dia Pipes | 120.00 | metre | 100.00 | 1550.00 | 186000.00 | 1100.00 | 132000.00 | 132000.00 | BRC Construction
1.54 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 77.00 | cum | 100.00 | 700.00 | 53900.00 | 1000.00 | 77000.00 | 53900.00 | SANWARIYA CONSTRUCTION
1.55 | Providing Engineering consultancy services of strucutral designers of repute & approved by Engineer in charge for the following jobs : (1) Preparation and submission of structural design (RCC & steel) Of UG sump of required capacity and their drawings duly vetted from Govt. Engg. Colleges. - 3 sets. (2) Submission of Good for construction drawings - 3 sets. (3) Drawing showing plumbing and sewerage system. - 3 sets. (4) Submission of as Built Drawings- 3 sets. Note:-The detailed Engineering consultancy/ drawings are compitable of all statutory requirment of building bylaws and Nothing extra shall be payable in this account. | 1.00 | JOB | 10.00 | 55000.00 | 55000.00 | 50000.00 | 50000.00 | 50000.00 | BRC Construction
| Total in Figures |  |  |  |  | 4299040.80 |  | 4663822.10
Lowest Amount Quoted BY: SANWARIYA CONSTRUCTION(4299040.80)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Under Ground (UG) Sump in Residential Colony at Khajuraho Airport Tender ID: 2024_AAI_207923_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SANWARIYA CONSTRUCTION (BID ID -753103) | 4299040.80 | L1
| 2 | BRC Construction (BID ID -753322) | 4663822.10 | L2