## BoQ1
Government eProcurement System Created By: ABHIJIT DATTA Created Date/Time: 29-Nov-2024 10:57 AM Tender Title: Provision of Electro Hydraulic Bollard, Electro Hydraulic Tyre Killers and Boom Barrier for VSI Airport, Port Blair Tender ID: 2024_AAI_207946_1
Tender Inviting Authority: Airports Authority of India, VSI Airport, Portblair.
Name of Work: Provision of Electro-Hydraulic Bollard, Electro-Hydraulic Tyre Killers and Boom Barrier for VSI Airport, Port Blair.
Contract No: AAI/PB/Engg.(E)/2024-25/04
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S Aditya Impex Pvt Ltd (GSTN-06AAECS4255N1Z0) BID ID -757198 |  | FORTUNA CONTROL AND AUTOMATIONS PVT LTD (GSTN-NA) BID ID -753624 |  | Swaraj Secutech Pvt Ltd (GSTN-NA) BID ID -758105
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH - 1: SITC Work Design, Supply, Installation, Testing and Commissioning of “Crash Rated Electro-Hydraulic Bollard Systems” as per DOS/ASTM/PAS68/IWA 14:2013 standards with minimum K4 crash rating (Individual bollard should be physically crash tested from reputed testing agency). Bollards should be of minimum 900 mm height and 275 mm dia made up of heavy steel cylindrical weldment. The bollards should have an Axle load bearing capacity of Road / Base plate of minimum 20 tons with a provision of Operational alert with Blinking LED, Audio signal during operation along with all other accessories like provision of Manual operation during power off, Hydraulic Power Pack / Unit with accumulator for hydraulic operation in case of power failure, safety interlock loop detector, photo sensor and Control panel with push buttons, Two remote controls, required MCB's of suitable rating, power & control and logic circuit placed inside IP66 weather proof enclosure, with lock and key arrangement. The enclosure should be equipped with LED Light at the Top indicating serviceability of electric systems. Work include all the necessary minor civil work required for installing and commissioning of the bollards, laying of GI Pipes (upto 30 Meter), including excavation of existing Concrete/ PQC / bitumen road/footpath, disposal of excavated material, Bitumen/concrete work and making good the same after installation, provision of Self priming sump pump of suitable rating to drain the accumulated water along with suitable natural drain arrangement using GI/PVC pipe as per site requirement. supply & laying of power/control cables in suitable size GI Pipes (upto 30 Meter) and interconnection, complete as per the technical specification and as per directions and to the complete satisfaction of the Engineer-in- charge. No of Bollards in Combination - 06 Bollards (in 1 Set). | 1.00 | Set | 2250000.00 | 2200000.00 | 2200000.00 | 2910000.00 | 2910000.00 | 2553000.00 | 2553000.00 | 2200000.00 | S Aditya Impex Pvt Ltd
2.00 | Design, Supply, Installation, Testing and Commissioning of “Electro- Hydraulic Tyre killer" of blocking width of minimum 6.0 meter. The system shall consist of hydraulic automatic spike barrier made of galvanized steel. The spike should be of a nominal dia of 25mm, height 450mm with spacing between spikes not more then 200 mm at an angle of 60, suitable to work on 230V / 415V, 50Hz AC supply along with all other accessories like provision of Manual Operation during power off, Hydraulic Power Pack / Unit with accumulator for hydraulic operation in case of power failure, safety interlock detector, photo sensor, Control panel with push buttons, Two remote controls, required MCB's of suitable rating, power, control and logic circuit placed inside IP66 weather proof enclosure, with lock and key arrangement. Traffic lights shall be supplied to alert vehicle drivers of the Tyre Killer position. The enclosure should be equipped with LED Light at the Top indicating serviceability of electric systems. Work include all the necessary minor civil work required for installing and commissioning of the tyre killer/laying of GI Pipes (upto 30 Meter), including excavation of existing Concrete/ PQC / bitumen road/footpath, disposal of excavated material, concrete work and making good the same after installation, provision of Self priming sump pump of suitable rating to drain the accumulated water along with suitable natural drain arrangement using GI/PVC pipe as per site requirement. supply & laying of power/control cables in suitable size GI Pipes (upto 30 Meter) and interconnection, complete as per the technical specification and as per directions and to the complete satisfaction of the Engineer-in-charge. | 2.00 | Job | 800000.00 | 500000.00 | 1000000.00 | 880000.00 | 1760000.00 | 689000.00 | 1378000.00 | 1000000.00 | S Aditya Impex Pvt Ltd
3.00 | Supply, Installation, Testing and Commissioning of “Electro- Hydraulic tyre killer" of blocking width of minimum 7.0 meter. The system shall consist of hydraulic automatic spike barrier made of galvanized steel. The spike should be of a nominal dia of 25mm, height 450mm with spacing between spikes not more then 200 mm at an angle of 60, suitable to work on 230V / 415V, 50Hz AC supply along with all other accessories like provision of Manual Operation during power off, Hydraulic Power Pack / Unit with accumulator for hydraulic operation in case of power failure, safety interlock detector, photo sensor and Control panel with push buttons, Two remote controls, required MCB's of suitable rating Power, control and logic circuit placed inside IP66 weather proof enclosure, with lock and key arrangement. Traffic lights shall be supplied to alert vehicle drivers of the Tyre Killer position. The enclosure should be equipped with LED Light at the Top indicating serviceability of electric systems. Work include all the necessary minor civil work required for installing and commissioning of the tyre killer, laying of GI Pipes (upto 30 Meter), including excavation of existing Concrete/ PQC / bitumen road/footpath, disposal of excavated material, concrete work and making good the same after installation, provision of Self priming sump pump of suitable rating to drain the accumulated water along with suitable natural drain arrangement using GI/PVC pipe as per site requirement. supply & laying of cables in suitable size GI Pipes (upto 30 Meter) and interconnection, complete as per the technical specification and as per directions and to the complete satisfaction of the Engineer-in charge. (Cost shall include each and every item mentioned above). | 1.00 | Job | 1000000.00 | 650000.00 | 650000.00 | 1100000.00 | 1100000.00 | 799000.00 | 799000.00 | 650000.00 | S Aditya Impex Pvt Ltd
4.00 | Supplying, installing, testing and commissioning of Automated Electro mechanical Metal Boom Barrier, including barrier aluminium bar of minimum 6 mtr long (suitable upto 7 mtr) with IP 65 mobile support housing 24V DC motor with control unit in box, double built in LED flashing light, double spring to counter balance movement, provided with RFID reader & Photo cell, entire body of unit and all aluminium work finished in UV resistant epoxy powder coating in approved shade, all accessories such as gears and levers, encoder for obstacle detection, manual lock release feature by key, pair of photocells with anodised aluminium vertical mounting, built in control panel & motor, required MCB's of suitable rating, key operated lever release system with a cover plate, rubber end plug for aluminium bar, barrier cabinet, barrier mounting base etc. Remote Control panel with push buttons, One remote control etc. Work include all the necessary minor civil work required for installing and commissioning of the boom barrier, laying of GI Pipes (upto 30 Meter) , including excavation of existing Concrete/ PQC / bitumen road/footpath, disposal of excavated material, concrete work and making good the same after installation. Supply & laying of control/power cables of suitable rating in suitable size GI Pipes (upto 30 Meter) and interconnection complete as per site requirement, technical specifications and as per directions and to the complete satisfaction of the Engineer- in-charge. | 2.00 | Jobs | 83000.00 | 100000.00 | 200000.00 | 85000.00 | 170000.00 | 96000.00 | 192000.00 | 170000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
5.00 | Removing, shifting, reinstallation, testing & commissioning of the existing (static systems make) Automated Electro mechanical Metal Boom Barrier (including barrier aluminium bar 6/7 mtr with mobile support with all accessories) including servicing to operationalize the equipment etc along with SITC of Remote Control panel with push buttons and necessary control circuit to integrate with the above bollards and tyre killers. Contractor may visit the site to conversant with the scope of work before submitting the bid. Work include all the necessary minor civil work required for installing and commissioning of the boom barrier, laying GI Pipes(upto 30 Meter), including excavation of existing Concrete/ PQC / bitumen road/footpath, disposal of excavated material, concrete work and making good the same after installation. Supply & laying of control/power cables of suitable rating in suitable size GI Pipes (upto 30 Meter) and interconnection complete as per site requirement, technical specifications and as per directions and to the complete satisfaction of the Engineer- in-charge. | 3.00 | Jobs | 10000.00 | 50000.00 | 150000.00 | 25000.00 | 75000.00 | 18000.00 | 54000.00 | 54000.00 | Swaraj Secutech Pvt Ltd
6.00 | Allied Electrical works Design, Supply, installation, testing & commissioning of totally enclosed double door cubical type top sloped outdoor LT Feeder Pillar suitable for 415 V, 3 Phase, 4 Wire 50 Hz AC supply system with IP‐54 protection. The Feeder Pillar shall be compartmentalized type having space and arrangement for incoming & outgoing: cable , switchgear, insulated and properly supported TPN bus bars, DMC/ SMC supports, joint shrouds, cable alleys, support and terminations/connectors, inter‐connection between bus bars and switchgear with required size auxiliary bus bars/ insulated conductors/ flexible strips,metering instruments and allied accessories etc. The Feeder Pillar shall be fabricated out of CRCA sheet not less than 2.0 mm thick for load bearing members and 1.6 mm for doors & 3 mm thick for gland plates, it shall have double door and inbuilt locking arrangement. The framework may be MS Angle Iron/ Channel/Bolted type construction. The feeder pillar has to be supplied with suitable pedastal (600MM Height, 300 MM from foundation level) MS angle iron frame of MS channel base for grouting in the PCC including all civil works like excavation, PCC, brick work pedestal, plastering, refilling etc. The bottom base channel shall be of MS section, i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade. The Feeder Pillar shall have 100 A TPN aluminium alloy bus bars, common neutral link, earth bar, 2 Nos. earth stud, din bar for mounting MCBs complete with connections using gland & Lugs for incoming and outgoing cables as per site requirement. Incoming 63A FP MCB ‐ 1 No. Outgoing 32 A TPN MCB - 2 Nos. Outgoing 6A‐32A DP MCB ‐ 2 Nos. Outgoing 6A‐32A SP MCB ‐ 4 Nos. | 2.00 | Job | 20100.00 | 30000.00 | 60000.00 | 50000.00 | 100000.00 | 298000.00 | 596000.00 | 60000.00 | S Aditya Impex Pvt Ltd
7.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) (a) 4 way (4 + 12), Double door. | 1.00 | Each | 6657.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 42000.00 | 42000.00 | 10000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
8.00 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete complete with connections, using gland & Lugs for incoming and outgoing cables as per site requirement, testing and commissioning etc. as required. (a) 5A to 32 A SP MCB | 4.00 | Each | 229.00 | 4000.00 | 16000.00 | 1000.00 | 4000.00 | 900.00 | 3600.00 | 3600.00 | Swaraj Secutech Pvt Ltd
9.00 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete complete with connections, using gland & Lugs for incoming and outgoing cables as per site requirement, testing and commissioning etc. as required. (b) 25A Triple pole | 1.00 | Each | 894.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 3500.00 | 3500.00 | 1500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
10.00 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete complete with connections, using gland & Lugs for incoming and outgoing cables as per site requirement, testing and commissioning etc. as required. (c) 40 A Triple pole and Neutral | 1.00 | Each | 1517.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 18000.00 | 18000.00 | 2500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
11.00 | Supply of Cable Supply of following size of 1.1 kV grade multicore aluminium conductor, XLPE insulated and PVC sheathed armoured Power cable as per IS: 7098:1988 (Part ‐ I) with upto date amendments. (a) 3.5 core, 25 Sq.mm. | 275.00 | Metre | 386.00 | 300.00 | 82500.00 | 400.00 | 110000.00 | 660.00 | 181500.00 | 82500.00 | S Aditya Impex Pvt Ltd
12.00 | Supply of following size of 1.1 kV grade multicore copper conductor, XLPE insulated and PVC sheathed armoured Power cable as per IS : 7098:1988 (Part - I) with upto date amendments. (a) 3 core, 4 Sq.mm. | 250.00 | Metre | 310.00 | 300.00 | 75000.00 | 250.00 | 62500.00 | 320.00 | 80000.00 | 62500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
13.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including PQC/Bitumen road cutting, trenching (upto 75 cm deep) and re‐filling etc. as required. (a) 150 mm dia | 30.00 | Metre | 2700.00 | 1000.00 | 30000.00 | 400.00 | 12000.00 | 3800.00 | 114000.00 | 12000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
14.00 | Providing 15 mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | 9.00 | Sq. Mtr | 306.00 | 1500.00 | 13500.00 | 1000.00 | 9000.00 | 14000.00 | 126000.00 | 9000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
15.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in road cutting etc including form work etc as required. | 2.70 | Cum | 7549.00 | 8000.00 | 21600.00 | 15000.00 | 40500.00 | 18000.00 | 48600.00 | 21600.00 | S Aditya Impex Pvt Ltd
16.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench, complete as required. (a) 63 mm dia (OD‐63 mm & ID‐51 mm nominal). | 50.00 | Metre | 112.00 | 200.00 | 10000.00 | 300.00 | 15000.00 | 290.00 | 14500.00 | 10000.00 | S Aditya Impex Pvt Ltd
17.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (a) 63 mm dia (OD‐63 mm & ID‐51 mm nominal). | 350.00 | Metre | 217.00 | 300.00 | 105000.00 | 150.00 | 52500.00 | 410.00 | 143500.00 | 52500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
18.00 | Laying of Cables Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/ HDPE pipe as required. (a) Upto 35 sq. mm. | 500.00 | Metre | 33.00 | 50.00 | 25000.00 | 50.00 | 25000.00 | 350.00 | 175000.00 | 25000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD, S Aditya Impex Pvt Ltd
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle). | 50.00 | Metre | 49.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 350.00 | 17500.00 | 2500.00 | S Aditya Impex Pvt Ltd
20.00 | Cable Termination Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (a) 3 1/2 x 25 sq.mm. (28 mm). | 4.00 | Set | 283.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 1200.00 | 4800.00 | 4000.00 | S Aditya Impex Pvt Ltd
21.00 | Earthing Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 5.00 | Set | 6079.00 | 20000.00 | 100000.00 | 10000.00 | 50000.00 | 22000.00 | 110000.00 | 50000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
22.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble, excavation and refilling as required. | 50.00 | Metre | 254.00 | 150.00 | 7500.00 | 200.00 | 10000.00 | 450.00 | 22500.00 | 7500.00 | S Aditya Impex Pvt Ltd
23.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 100.00 | Metre | 63.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 45.00 | 4500.00 | 4500.00 | Swaraj Secutech Pvt Ltd
24.00 | SH - 2: All Inclusive CMC Work All Inclusive Comprehensive Maintenance Contract (AICMC) of the above equipments including BOQ item No: 5 after completion of One year Defects Liability period for the above equipments and associated items under contract including breakdown maintenance, periodical, preventive maintenance as per the OEM recommendations & AAI requirement, Four mandatory preventive maintenance visit per year and attending breakdown calls as and when required within a week and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specification specified. (a) For 1st year (after one year DLP) | 1.00 | Year | 436000.00 | 180000.00 | 180000.00 | 240000.00 | 240000.00 | 290850.00 | 290850.00 | 180000.00 | S Aditya Impex Pvt Ltd
25.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) of the above equipments including BOQ item No: 5 after completion of One year Defects Liability period for the above equipments and associated items under contract including breakdown maintenance, periodical, preventive maintenance as per the OEM recommendations & AAI requirement, Four mandatory preventive maintenance visit per year and attending breakdown calls as and when required within a week and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specification specified. (b) For 2nd year (after one year DLP) | 1.00 | Year | 479600.00 | 200000.00 | 200000.00 | 240000.00 | 240000.00 | 332400.00 | 332400.00 | 200000.00 | S Aditya Impex Pvt Ltd
26.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) of the above equipments including BOQ item No: 5 after completion of One year Defects Liability period for the above equipments and associated items under contract including breakdown maintenance, periodical, preventive maintenance as per the OEM recommendations & AAI requirement, Four mandatory preventive maintenance visit per year and attending breakdown calls as and when required with in a week and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specification specified. (c) For 3rd year (after one year DLP) | 1.00 | Year | 523200.00 | 220000.00 | 220000.00 | 240000.00 | 240000.00 | 373950.00 | 373950.00 | 220000.00 | S Aditya Impex Pvt Ltd
27.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) of the above equipments including BOQ item No: 5 after completion of One year Defects Liability period for the above equipments and associated items under contract including breakdown maintenance, periodical, preventive maintenance as per the OEM recommendations & AAI requirement, Four mandatory preventive maintenance visit per year and attending breakdown calls as and when required with in a week and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specification specified. (d) For 4th year (after one year DLP) | 1.00 | Year | 566800.00 | 240000.00 | 240000.00 | 240000.00 | 240000.00 | 415500.00 | 415500.00 | 240000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD, S Aditya Impex Pvt Ltd
28.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) of the above equipments including BOQ item No: 5 after completion of One year Defects Liability period for the above equipments and associated items under contract including breakdown maintenance, periodical, preventive maintenance as per the OEM recommendations & AAI requirement, Four mandatory preventive maintenance visit per year and attending breakdown calls as and when required with in a week and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specification specified. (e) For 5th year (after one year DLP) | 1.00 | Year | 610400.00 | 260000.00 | 260000.00 | 240000.00 | 240000.00 | 457050.00 | 457050.00 | 240000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
| Total in Figures |  |  |  |  | 5883600.00 |  | 7744500.00 |  | 8551250.00
Lowest Amount Quoted BY: S Aditya Impex Pvt Ltd(5883600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Electro Hydraulic Bollard, Electro Hydraulic Tyre Killers and Boom Barrier for VSI Airport, Port Blair Tender ID: 2024_AAI_207946_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S Aditya Impex Pvt Ltd (BID ID -757198) | 5883600.00 | L1
| 2 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD (BID ID -753624) | 7744500.00 | L2
| 3 | Swaraj Secutech Pvt Ltd (BID ID -758105) | 8551250.00 | L3