## BoQ1
Government eProcurement System Created By: Bhavesh P Mehta Created Date/Time: 18-Nov-2024 11:55 AM Tender Title: Construction of office space adjacent to NITB at S.V. Airport, Raipur. (Civil Work) Tender ID: 2024_AAI_209341_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of office space adjacent to NITB at S.V. Airport, Raipur. (Civil Work)
Contract No: 2024_AAI_209341_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAKESH KUMAR SINGH (GSTN-22BUMPS2902L1ZF) BID ID -758317 |  | manoj agrawal (GSTN-22ACJPA4187B1Z6) BID ID -758853 |  | J K BUILDERS (GSTN-24AAOFM4186F1Z3) BID ID -758985 |  | Rathore Construction and Company (GSTN-NA) BID ID -758748 |  | AAKRITI CONSTRUCTION (GSTN-NA) BID ID -758856
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. a) All kind of Soil | 130.00 | Cum |  | 180.00 | 23400.00 | 171.00 | 22230.00 | 140.00 | 18200.00 | 155.60 | 20228.00 | 300.00 | 39000.00 | 18200.00 | J K BUILDERS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms,lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kind of Soil | 30.00 | Cum |  | 180.00 | 5400.00 | 248.00 | 7440.00 | 140.00 | 4200.00 | 244.60 | 7338.00 | 150.00 | 4500.00 | 4200.00 | J K BUILDERS
3.00 | Filling available excavated earth (excluding rock)in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth : consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5m. | 130.00 | Cum |  | 80.00 | 10400.00 | 183.00 | 23790.00 | 150.00 | 19500.00 | 112.40 | 14612.00 | 200.00 | 26000.00 | 10400.00 | RAKESH KUMAR SINGH
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. a) All kinds of soil | 40.00 | Cum |  | 60.00 | 2400.00 | 108.00 | 4320.00 | 100.00 | 4000.00 | 46.50 | 1860.00 | 126.00 | 5040.00 | 1860.00 | Rathore Construction and Company
5.00 | Supplying and filling in plinth with Local sand under floors, including watering, ramming, consolidating and dressing complete. | 40.00 | Cum |  | 1800.00 | 72000.00 | 1998.00 | 79920.00 | 1300.00 | 52000.00 | 910.25 | 36410.00 | 400.00 | 16000.00 | 16000.00 | AAKRITI CONSTRUCTION
6.00 | Supplying and stacking at site. a) Moorum | 70.00 | Cum |  | 425.00 | 29750.00 | 350.00 | 24500.00 | 800.00 | 56000.00 | 646.35 | 45244.50 | 350.00 | 24500.00 | 24500.00 | manoj agrawal, AAKRITI CONSTRUCTION
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 40.00 | Cum |  | 5500.00 | 220000.00 | 5000.00 | 200000.00 | 5000.00 | 200000.00 | 5466.00 | 218640.00 | 5500.00 | 220000.00 | 200000.00 | manoj agrawal, J K BUILDERS
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : b) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 20.00 | Cum |  | 4200.00 | 84000.00 | 4500.00 | 90000.00 | 4800.00 | 96000.00 | 4028.00 | 80560.00 | 5500.00 | 110000.00 | 80560.00 | Rathore Construction and Company
9.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 50.00 | Sqm |  | 740.00 | 37000.00 | 508.00 | 25400.00 | 550.00 | 27500.00 | 419.30 | 20965.00 | 400.00 | 20000.00 | 20000.00 | AAKRITI CONSTRUCTION
10.10 | Centering and shuttering including strutting, propping etc. and removal of form for a) Foundations, footings, bases of columns etc. for mass concrete | 90.00 | Sqm |  | 380.00 | 34200.00 | 290.00 | 26100.00 | 200.00 | 18000.00 | 196.45 | 17680.50 | 300.00 | 27000.00 | 17680.50 | Rathore Construction and Company
10.20 | Centering and shuttering including strutting, propping etc. and removal of form for b) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 200.00 | Sqm |  | 520.00 | 104000.00 | 398.00 | 79600.00 | 280.00 | 56000.00 | 332.15 | 66430.00 | 400.00 | 80000.00 | 56000.00 | J K BUILDERS
10.30 | Centering and shuttering including strutting, propping etc. and removal of form for c) Columns, Pillars, Piers, Abutments, Posts and Struts | 120.00 | Sqm |  | 620.00 | 74400.00 | 802.25 | 96270.00 | 320.00 | 38400.00 | 453.35 | 54402.00 | 400.00 | 48000.00 | 38400.00 | J K BUILDERS
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars (Fe-500D) | 8000.00 | Kg |  | 87.00 | 696000.00 | 70.00 | 560000.00 | 69.00 | 552000.00 | 64.00 | 512000.00 | 80.00 | 640000.00 | 512000.00 | Rathore Construction and Company
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars (Fe-500D) | 6000.00 | Kg |  | 87.00 | 522000.00 | 70.00 | 420000.00 | 69.00 | 414000.00 | 64.00 | 384000.00 | 70.00 | 420000.00 | 384000.00 | Rathore Construction and Company
13.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level a) Concrete of M30 grade with minimum cement content of 350 kg /cum. | 50.00 | Cum |  | 7000.00 | 350000.00 | 6000.00 | 300000.00 | 5500.00 | 275000.00 | 6296.00 | 314800.00 | 6500.00 | 325000.00 | 275000.00 | J K BUILDERS
14.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level Upto floor V level. b) Concrete of M30 grade with minimum cement content of 350 kg /cum. | 40.00 | Cum |  | 7000.00 | 280000.00 | 6500.00 | 260000.00 | 5500.00 | 220000.00 | 7014.00 | 280560.00 | 4600.00 | 184000.00 | 184000.00 | AAKRITI CONSTRUCTION
15.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 20.00 | Quintal |  | 550.00 | 11000.00 | 649.00 | 12980.00 | 150.00 | 3000.00 | 742.00 | 14840.00 | 300.00 | 6000.00 | 3000.00 | J K BUILDERS
16.00 | Providing and laying Autoclaved Aerated concrete(AAC) blocks masonry 100 mm/ 125 mm thick with Grade-1 AAC blocks of density 551 to 650 kg/cum conforming to IS:2185 (Part 3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | 5.00 | Cum |  | 7000.00 | 35000.00 | 3800.00 | 19000.00 | 5100.00 | 25500.00 | 6386.00 | 31930.00 | 4000.00 | 20000.00 | 19000.00 | manoj agrawal
17.00 | Providing and laying Autoclaved Aerated concrete(AAC) blocks masonry with 150mm to 300 mm thick with Grade-1 AAC blocks of density 551 to 650 kg/cum conforming to IS:2185 (Part 3) in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 70.00 | Cum |  | 6000.00 | 420000.00 | 3800.00 | 266000.00 | 5100.00 | 357000.00 | 6800.00 | 476000.00 | 4000.00 | 280000.00 | 266000.00 | manoj agrawal
18.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. a) Granite stone slab of all colour and texture except black, Cherry/Ruby red i) Area of slab over 0.50 sqm | 23.00 | Sqm |  | 3000.00 | 69000.00 | 3800.00 | 87400.00 | 3500.00 | 80500.00 | 3907.00 | 89861.00 | 3100.00 | 71300.00 | 69000.00 | RAKESH KUMAR SINGH
19.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. a) Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 30.00 | Sqm |  | 3000.00 | 90000.00 | 3498.00 | 104940.00 | 3500.00 | 105000.00 | 2400.00 | 72000.00 | 3200.00 | 96000.00 | 72000.00 | Rathore Construction and Company
20.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. a) Polished Granite stone slab of all colour and texture except Black, Cherry/Ruby Red | 250.00 | Sqm |  | 2500.00 | 625000.00 | 3498.00 | 874500.00 | 3800.00 | 950000.00 | 2400.00 | 600000.00 | 3200.00 | 800000.00 | 600000.00 | Rathore Construction and Company
21.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. a) Granite stone slab of all colour and texture except black, Cherry/Ruby red i) Area of slab upto 0.50 sqm | 24.00 | Sqm |  | 3000.00 | 72000.00 | 3400.00 | 81600.00 | 4000.00 | 96000.00 | 3800.00 | 91200.00 | 3000.00 | 72000.00 | 72000.00 | RAKESH KUMAR SINGH, AAKRITI CONSTRUCTION
22.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 7.00 | Sqm |  | 3300.00 | 23100.00 | 1898.00 | 13286.00 | 2800.00 | 19600.00 | 2606.00 | 18242.00 | 3473.00 | 24311.00 | 13286.00 | manoj agrawal
23.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 3.00 | Nos |  | 850.00 | 2550.00 | 749.00 | 2247.00 | 1387.00 | 4161.00 | 546.00 | 1638.00 | 983.00 | 2949.00 | 1638.00 | Rathore Construction and Company
24.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 3.00 | Nos |  | 980.00 | 2940.00 | 754.00 | 2262.00 | 950.00 | 2850.00 | 1043.00 | 3129.00 | 983.00 | 2949.00 | 2262.00 | manoj agrawal
25.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 3.00 | Nos |  | 300.00 | 900.00 | 208.00 | 624.00 | 250.00 | 750.00 | 170.00 | 510.00 | 115.00 | 345.00 | 345.00 | AAKRITI CONSTRUCTION
26.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : (a) 250x10 mm | 3.00 | Nos |  | 100.00 | 300.00 | 93.00 | 279.00 | 149.00 | 447.00 | 77.00 | 231.00 | 66.00 | 198.00 | 198.00 | AAKRITI CONSTRUCTION
27.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 3.00 | Nos |  | 100.00 | 300.00 | 88.00 | 264.00 | 110.00 | 330.00 | 85.00 | 255.00 | 500.00 | 1500.00 | 255.00 | Rathore Construction and Company
28.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1.0 mm thick | 14.00 | Sqm |  | 800.00 | 11200.00 | 749.00 | 10486.00 | 920.00 | 12880.00 | 676.00 | 9464.00 | 2500.00 | 35000.00 | 9464.00 | Rathore Construction and Company
29.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1600.00 | Kg |  | 110.00 | 176000.00 | 100.00 | 160000.00 | 115.00 | 184000.00 | 73.00 | 116800.00 | 85.00 | 136000.00 | 116800.00 | Rathore Construction and Company
30.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Electric resistance or induction butt welded tubes | 10630.00 | Kg |  | 110.00 | 1169300.00 | 118.00 | 1254340.00 | 120.00 | 1275600.00 | 100.00 | 1063000.00 | 100.00 | 1063000.00 | 1063000.00 | Rathore Construction and Company, AAKRITI CONSTRUCTION
31.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595 mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ≥ 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32 mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8 mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. a) With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.60) | 250.00 | Sqm |  | 1800.00 | 450000.00 | 1698.00 | 424500.00 | 1250.00 | 312500.00 | 2500.00 | 625000.00 | 1500.00 | 375000.00 | 312500.00 | J K BUILDERS
32.00 | Providing and fixing Polyisocyanurate insulated sandwich panels, The insulated Roofing shall be 50+30mm thick PIR insulated Sandwich panels with density of more than 40 Kg/m3. The top covering on roof panels will trapezoidal Pre-coated galvanized iron sheet with crest height 30±1mm,crest width 24±1mm and pitch 200±1mm & bottom covering on roof panels shall be micro ribbing Pre-coated galvanized iron sheet. Pre-Painted Galvanized Iron Sheet shall have minimum coating of 4-5micron epoxy primer and 25micron polyester top coat on the finish surface and 7-8micron primer alkyl base on reverse. The PPGI sheet shall have plastic protective guard film of minimum 25 microns to avoid scratches during transportation & installation. Material shall be Fire retardant type including CFC free PIR pannel should be GRIHA Certified. the cost shall also inclued the required hardware accessories such as required Channel, Clamling device threaded GI sheet down rods etc. complete as per direction and satisfaction of Engineer-in-Charge. | 297.00 | Sqm |  | 1800.00 | 534600.00 | 1498.00 | 444906.00 | 1500.00 | 445500.00 | 3200.00 | 950400.00 | 1200.00 | 356400.00 | 356400.00 | AAKRITI CONSTRUCTION
33.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. a) On steel work | 395.00 | Sqm |  | 190.00 | 75050.00 | 180.00 | 71100.00 | 350.00 | 138250.00 | 116.00 | 45820.00 | 200.00 | 79000.00 | 45820.00 | Rathore Construction and Company
34.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 172.00 | Sqm |  | 180.00 | 30960.00 | 179.00 | 30788.00 | 130.00 | 22360.00 | 106.00 | 18232.00 | 200.00 | 34400.00 | 18232.00 | Rathore Construction and Company
35.00 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ perlite respectively conforming to IS: 2547 (Part - 1 & II) 1976, applied on hacked / uneven background such as bare brick/ block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | 640.00 | Sqm |  | 350.00 | 224000.00 | 363.45 | 232608.00 | 600.00 | 384000.00 | 244.00 | 156160.00 | 200.00 | 128000.00 | 128000.00 | AAKRITI CONSTRUCTION
36.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a) Two Coats | 470.00 | Sqm |  | 120.00 | 56400.00 | 119.00 | 55930.00 | 160.00 | 75200.00 | 75.00 | 35250.00 | 500.00 | 235000.00 | 35250.00 | Rathore Construction and Company
37.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 90.00 | Kg |  | 4.00 | 360.00 | 500.00 | 45000.00 | 15.00 | 1350.00 | 1.45 | 130.50 | 300.00 | 27000.00 | 130.50 | Rathore Construction and Company
38.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer -in - charge. a) Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 50.00 | Cum |  | 1500.00 | 75000.00 | 500.00 | 25000.00 | 1200.00 | 60000.00 | 892.00 | 44600.00 | 100.00 | 5000.00 | 5000.00 | AAKRITI CONSTRUCTION
39.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 10.00 | Cum |  | 1000.00 | 10000.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 754.00 | 7540.00 | 200.00 | 2000.00 | 2000.00 | AAKRITI CONSTRUCTION
40.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 50.00 | Sqm |  | 70.00 | 3500.00 | 500.00 | 25000.00 | 60.00 | 3000.00 | 28.20 | 1410.00 | 100.00 | 5000.00 | 1410.00 | Rathore Construction and Company
41.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 100.00 | Sqm |  | 200.00 | 20000.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 97.00 | 9700.00 | 200.00 | 20000.00 | 9700.00 | Rathore Construction and Company
42.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge. | 10.00 | Sqm |  | 50.00 | 500.00 | 1000.00 | 10000.00 | 100.00 | 1000.00 | 21.00 | 210.00 | 200.00 | 2000.00 | 210.00 | Rathore Construction and Company
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For fixed portion a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 750.00 | Kg |  | 460.00 | 345000.00 | 437.00 | 327750.00 | 600.00 | 450000.00 | 505.00 | 378750.00 | 500.00 | 375000.00 | 327750.00 | manoj agrawal
44.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 90.00 | Kg |  | 550.00 | 49500.00 | 445.00 | 40050.00 | 1000.00 | 90000.00 | 403.00 | 36270.00 | 520.00 | 46800.00 | 36270.00 | Rathore Construction and Company
45.00 | Providing & fixing Avery Dennison/3M make translucent, cast PVC, self - adhesive vinyl, special CRYSTAL-effect film to reproduce Sand - blasting effect on glass at required locations as per the direction of Engineer-In-Charge complete. a) Plain Frosted film | 36.00 | Sqm |  | 1500.00 | 54000.00 | 320.80 | 11548.80 | 700.00 | 25200.00 | 600.00 | 21600.00 | 550.00 | 19800.00 | 11548.80 | manoj agrawal
46.00 | Supplying and installation of vertical blinds as approved by EIC. The fabric should be polyester with both side acrylic coating and should be treated with dust repellent chemical.The size, color, shade and texture of the blind should be customized as per the direction of Engineer-in-charge. This rate is inclusive of all the supporting accessories like, head rail, control unit, carrier (Runner), spacer, installation bracket, bottom mechanism (weight and chain) etc all complete. | 36.00 | Sqm |  | 2200.00 | 79200.00 | 803.00 | 28908.00 | 3000.00 | 108000.00 | 2090.00 | 75240.00 | 2000.00 | 72000.00 | 28908.00 | manoj agrawal
47.00 | Providing & Fixing of Sun Control film in windows upto 20 mtr height of approved make in required size of any shade and as per direction of Engineer-In-charge. Note: The fixing of membrane shall be got done through the authorised applicator of the manufacture of film. | 27.00 | Sqm |  | 900.00 | 24300.00 | 428.00 | 11556.00 | 700.00 | 18900.00 | 500.00 | 13500.00 | 2000.00 | 54000.00 | 11556.00 | manoj agrawal
48.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 10.00 | Sqm |  | 5200.00 | 52000.00 | 10500.00 | 105000.00 | 4000.00 | 40000.00 | 5300.00 | 53000.00 | 3500.00 | 35000.00 | 35000.00 | AAKRITI CONSTRUCTION
49.00 | Providing and fixing Assa Abloy YEH-01A /DORMA pull Handle TGDI-H 600back to back (in pair) with 500mm CTC, adjustable fixing for glass, wood and metal doors in satin stainless steel. The pull handles should have supporting washer with raised bevelling on the outer surface. Length =600mm, 32mm dia, -SS304 etc. complete as per direction of Engineer-in-Charge. | 5.00 | Each pair |  | 3500.00 | 17500.00 | 19500.00 | 97500.00 | 7500.00 | 37500.00 | 13900.00 | 69500.00 | 1200.00 | 6000.00 | 6000.00 | AAKRITI CONSTRUCTION
50.00 | Providing and fixing Glass Door Lock with Strike Box of Ozone OPL-4A/4B-N-STD-SSS make or equivalent make, Operates with key on one side other side blind, with cover made of SS Grade 304 with Aluminum Alloy as Base Material Casting and SSS Finish adjustable fixing for glass, wood and metal doors complete as per direction of Engineer-in-Charge. | 5.00 | Each |  | 4000.00 | 20000.00 | 3200.00 | 16000.00 | 3300.00 | 16500.00 | 800.00 | 4000.00 | 1500.00 | 7500.00 | 4000.00 | Rathore Construction and Company
51.00 | Providing and fixing 8 mm coloured reflective Toughened glass in window, ventilator shutters etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) | 30.00 | Sqm |  | 2500.00 | 75000.00 | 3800.00 | 114000.00 | 4500.00 | 135000.00 | 2450.00 | 73500.00 | 2400.00 | 72000.00 | 72000.00 | AAKRITI CONSTRUCTION
52.00 | Supply & installation of 11.5mm thick fixed laminated glass in Partition glazing of Saint Gobain / or approved equivalent make to be fixed with Wall Connecting Profile no 9137812 base rail with fixing holes incl of clamping parts with screws and gasket for 12 mm glass with SS cover profile on both side having std length of 3 per metre ,Finish : SS , The WCP should be used on top and bottom of the glass only complete in all respect including any kind of framing / support required for the fixed glass and should be as per approved drawings and to the satisfaction of Engineer-in-Charge. (The work is to be carried out by a specialized agency as approved by the engineer) | 50.00 | Sqm |  | 3500.00 | 175000.00 | 5500.00 | 275000.00 | 3200.00 | 160000.00 | 5850.00 | 292500.00 | 3500.00 | 175000.00 | 160000.00 | J K BUILDERS
53.00 | Providing and fixing dry cladding upto 10 metre heights with 30mm thick gang saw cut, mirror polished, premoulded and prepolished with machine cut edges of uniform colour and size upto 1mx1m, fixed to structural steel frame work and/ or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be paid for separately). Granite stone slab of all colour and texture - 30mm thick gang saw cut stone | 190.00 | Sqm |  | 3300.00 | 627000.00 | 3500.00 | 665000.00 | 5700.00 | 1083000.00 | 2400.00 | 456000.00 | 3500.00 | 665000.00 | 456000.00 | Rathore Construction and Company
54.00 | Providing and fixing structural steel frame (for dry cladding with 30 mm thick gang saw cut with machine cut edges sand stone) on walls at all heights using M.S. square/ rectangular tube in the required pattern as per architectural drawing, including cost of cutting, bending, welding etc. The frame work shall be fixed to the wall with the help of M.S. brackets/ lugs of angle iron/ flats etc. which shall be welded to the frame and embedded in brick wall with cement concrete block 1:2:4 (1 cement :2 coarse sand :4 graded stone aggregate 20 mm nominal size) of size 300x230x300 mm, including cost of necessary centring and shuttering and with approved expansion hold fasteners on CC/RCC surface, including drilling necessary holes. Approved cramps/ pins etc. shall be welded to the frame work to support stone cladding, the steel work will be given a priming coat of Zinc primer as approved by Engineer-in-charge and painted with two or more coats of epoxy paint (Shop drawings shall be submitted by the contractor to the Engineer-incharge for approval before execution). The frame work shall be fixed in true horizontal & vertical lines/planes. (Only structural steel frame work shall be measured for the purpose of payment, stainless steel cramps shall be paid for separately and nothing extra shall be paid). | 2350.00 | Kg |  | 120.00 | 282000.00 | 399.00 | 937650.00 | 140.00 | 329000.00 | 224.00 | 526400.00 | 100.00 | 235000.00 | 235000.00 | AAKRITI CONSTRUCTION
55.00 | Providing and fixing adjustable stainless steel cramps of approved quality, required shape and size, adjustable with stainless steel nuts, bolts and washer (total weight not less than 260 gms), for dry stone cladding fixed on frame work at suitable location, including making necessary recesses in stone slab, drilling required holes etc complete as per direction of the Engineer-incharge. | 760.00 | each |  | 350.00 | 266000.00 | 105.00 | 79800.00 | 350.00 | 266000.00 | 430.00 | 326800.00 | 50.00 | 38000.00 | 38000.00 | AAKRITI CONSTRUCTION
56.00 | Preparation and submission of structural design/drawing for One storey airline offices Building along with three copy of drawings , soft copy , hard copy of Design/drawings etc all complete including duly vetting from Govt. Engineering College/NIT/IIT . The Scope of this item includes conducting Soil Investigation for evaluation of Parameters required for Structural designing. | 1.00 | Job |  | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 80000.00 | 80000.00 | 64000.00 | 64000.00 | 50000.00 | 50000.00 | 50000.00 | AAKRITI CONSTRUCTION
| Total in Figures |  |  |  |  | 9000410.00 |  | 9429372.80 |  | 9490678.00 |  | 8950342.50 |  | 7920492.00
Lowest Amount Quoted BY: AAKRITI CONSTRUCTION(7920492.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of office space adjacent to NITB at S.V. Airport, Raipur. (Civil Work) Tender ID: 2024_AAI_209341_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AAKRITI CONSTRUCTION (BID ID -758856) | 7920492.00 | L1
| 2 | Rathore Construction and Company (BID ID -758748) | 8950342.50 | L2
| 3 | RAKESH KUMAR SINGH (BID ID -758317) | 9000410.00 | L3
| 4 | manoj agrawal (BID ID -758853) | 9429372.80 | L4
| 5 | J K BUILDERS (BID ID -758985) | 9490678.00 | L5