## BoQ1
Government eProcurement System Created By: Pushpendra Singh Created Date/Time: 26-Nov-2024 04:14 PM Tender Title: Renovation of New Office Complex Safdarjung Airport New Delhi. SH SITC of addressable Fire Detection and Alarm System at new office complex old Air India complex AAI Tender ID: 2024_AAI_209806_1
Tender Inviting Authority: AGM. (Engg. – Elect)- IMU, AAI, CHQ, R.G. Bhawan, New Delhi-110003
Name of Work: Renovation of New Office Complex, Safdarjung Airport, New Delhi. SH- SITC of addressable Fire Detection & Alarm System at new office complex (old Air India complex), AAI.
Tender ID:- (2024_AAI_209806_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -759466 |  | royale meridian india pvt ltd (GSTN-07AAACR1254L1ZE) BID ID -759627 |  | DS FIRE SYSTEMS PVT LTD (GSTN-07AADCD5182C1ZX) BID ID -759688 |  | Security Engineers Private Limited (GSTN-19AAGCS9649J1ZJ) BID ID -760295 |  | LYRA ENGINEERING SERVICES (GSTN-NA) BID ID -759735
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of 10 loops Microprocessor based intelligent,digitally addressable Fire Alarm Control Panel with minimum 240 devices (240 active+pasive devices, in any combination per loop).The panel shall have minimum 5.5 inch touch screen display with soft keys for displaying alarm, events and operating functions, compatible with graphic user interface for pin point the identification of the fire location ,suitable to operate on 240 volts AC power supply. The panel shall be equipped with automatic battery charger , 24 volts maintenance free batteries sufficient for 24 hours working in normal condition & then be capable of operating the system for 2 hours during an emergency conditions as required.( UL 10th Edition & FM Approved approved with latest amended upto date). The fire alarm panel shall have storage of 5000 event log. The panel shall be capable to interface with PA system (For Giving triger Signal to Start prerecored Digital/Analog Voice Excavation from PA system in case of fire ) and Fire Hydrant System .The panel shall have interfacing connectivity on BACNET/ MODBUS/ Open protocol for interfacing with Building Management System complete as required. | 1.00 | Each | 10.00 | 299920.00 | 299920.00 | 410000.00 | 410000.00 | 256000.00 | 256000.00 | 1026588.00 | 1026588.00 | 550000.00 | 550000.00 | 256000.00 | DS FIRE SYSTEMS PVT LTD
2.00 | Supply, Installation, Testing & Commissioning of 02 loops Microprocessor based intelligent,digitally addressable Fire Alarm Control Panel with minimum 240 devices (240 active+pasive devices, in any combination per loop).The panel shall have minimum 5.5 inch touch screen display with soft keys for displaying alarm, events and operating functions, compatible with graphic user interface for pin point the identification of the fire location ,suitable to operate on 240 volts AC power supply. The panel shall be equipped with automatic battery charger , 24 volts maintenance free batteries sufficient for 24 hours working in normal condition & then be capable of operating the system for 2 hours during an emergency conditions as required.( UL 10th Edition & FM Approved approved with latest amended upto date). The fire alarm panel shall have storage of 5000 event log. The panel shall be capable to interface with PA system (For Giving triger Signal to Start prerecored Digital/Analog Voice Excavation from PA system in case of fire ) and Fire Hydrant System .The panel shall have interfacing connectivity on BACNET/ MODBUS/ Open protocol for interfacing with Building Management System complete as required. | 2.00 | Each | 10.00 | 85790.00 | 171580.00 | 175000.00 | 350000.00 | 71000.00 | 142000.00 | 706727.00 | 1413454.00 | 150000.00 | 300000.00 | 142000.00 | DS FIRE SYSTEMS PVT LTD
3.00 | Supply, Installation , Testing & Commissioning of the Graphical User Interface (GUI) capable of graphically representing each facility being monitored with floor plans and icons depicting the actual locations of the various systems; and / or sensors’ locations. The GUI software shall be located in control room in one of the Floors and shall monitor all the Floor Fire Detection.The software shall be capable of monitoring 100 Nodes with minimum 128 Kbps baud Transmission rate on Network.The software shall provide the facility to Monitor, Control all the 2 way communication from main control room using voice signals over Fire Network along with the Fire detection signal. The software shall be capable of broadcasting on Voice over IP (UL 10th Edition Approved and NFPA compliant) complete with Operator work station with PC having Intel Pentium I7 or better Processor including Serial ports (RS232) and USB ports and following accessories:- i) - 2 Gigabytes of RAM memory ii)-320 Gigabytes of hard disk space iii)-DVD ROM iv)-19” TFT colour monitor v)-Mouse with Mouse Pad vi)-Standard Key Board vii)-Latest Windows Operating System with license and key viii)-Compatible Fire Alarm System Control Software ix)- Laser Printer colour A4- 1 No x)- Software for Automatic Fire Detection and Alarm System xi)- Software for interfacing with PA, fire hydrant system and building managment system. xii)- Online UPS with min. 24 hrs back-up. | 1.00 | Each | 10.00 | 99090.00 | 99090.00 | 105000.00 | 105000.00 | 411000.00 | 411000.00 | 497563.00 | 497563.00 | 200000.00 | 200000.00 | 99090.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
4.00 | Providing, installing, testing and commissioning of totally enclosed Public Address / Voice Evacuation System with microphone & amplifier , all call facility, with suitable mixer complete with controller for 12 zones & expandable upto 14 zones, with facility for recorded message & connectivity to third party DVD Music Player or Pendrive, with emergency microphone , housed in free standing / wall mounted Rack with Front &back openable, front with Glass, rack should be from reputed company. PA system shall be compatible to interface with fire alarm system for giving triger Signal to Start prerecored Digital/Analog Voice Excavation from PA system in case of fire . | 1.00 | Each | 10.00 | 114380.00 | 114380.00 | 150000.00 | 150000.00 | 66000.00 | 66000.00 | 207318.00 | 207318.00 | 70000.00 | 70000.00 | 66000.00 | DS FIRE SYSTEMS PVT LTD
5.00 | Providing, installing, testing and commissioning of totally enclosed Public Address / Voice Evacuation System with microphone with amplifier, all call facility,with suitable mixer complete with controller for 4 zones & expandable upto 6 zones,with facility for recorded message & connectivity to third party DVD Music Player , with emergency microphone , housed in free standing / wall mounted Rack with Front &back openable, front with Glass, rack should be from reputed company. PA system shall be complatable to interface with fire alarm system for giving triger Signal to Start prerecored Digital/Analog Voice Excavation from PA system in case of fire. | 2.00 | Each | 10.00 | 37910.00 | 75820.00 | 95000.00 | 190000.00 | 51500.00 | 103000.00 | 136415.00 | 272830.00 | 85000.00 | 170000.00 | 75820.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
6.00 | Supply, installation, testing and commissioning of High power amplifier of 200W speaker output with LED status indicator and speaker output short circuit protection.( For Item No 4 ) | 1.00 | Each | 10.00 | 24610.00 | 24610.00 | 35000.00 | 35000.00 | 64000.00 | 64000.00 | 37910.00 | 37910.00 | 20000.00 | 20000.00 | 20000.00 | LYRA ENGINEERING SERVICES
7.00 | Supply, installation, testing and commissioning of High power amplifier of 70W speaker output with LED status indicator and speaker output short circuit protection.( For Item No 5 ) | 2.00 | Each | 10.00 | 13970.00 | 27940.00 | 34000.00 | 68000.00 | 52000.00 | 104000.00 | 33171.00 | 66342.00 | 15000.00 | 30000.00 | 27940.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
8.00 | Supply, installation, testing and commissioning of UL listed Fire Alarm Repeater Panel with 5.5 inch touch screen display complete system function keys for programming and control like System Reset, Alarm Acknowledge, Alarm Silence, Trouble Acknowledge etc as per specification. The Panel shall be connected/Interface to Main Fire Alarm Panel. (UL latest Edition & FM Approved ) | 1.00 | Each | 10.00 | 36580.00 | 36580.00 | 105000.00 | 105000.00 | 40500.00 | 40500.00 | 219165.00 | 219165.00 | 75000.00 | 75000.00 | 36580.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
9.00 | Supply, Installation, Testing and Commissioning of panel supervised 1/4 W - 6 W, 74 db - 90 db (at a distance of 1 Meter) Ceiling Mounted Speakers complete with ceiling arrangements and all accessories etc. as per specification complete as required. (For Common Areas) | 95.00 | Each | 10.00 | 1000.00 | 95000.00 | 650.00 | 61750.00 | 1680.00 | 159600.00 | 1007.00 | 95665.00 | 1350.00 | 128250.00 | 61750.00 | royale meridian india pvt ltd
10.00 | Supply, Installation, Testing and Commissioning of panel supervised 70db-84db Wall Mounted Speakers complete with wall mounting arrangement and all accessories etc. as per specification complete as required. | 5.00 | Each | 10.00 | 1800.00 | 9000.00 | 1150.00 | 5750.00 | 2300.00 | 11500.00 | 1836.00 | 9180.00 | 2450.00 | 12250.00 | 5750.00 | royale meridian india pvt ltd
11.00 | Supply, installation, testing and commissioning of UL listed Intelligent Photoelectric Smoke Detector with mounting base,alarm indication LED, with Electronic Addressing Feature to programme the detectors. Complete as required to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required.(UL latest Edition and FM approved). | 1153.00 | Each | 10.00 | 1630.00 | 1879390.00 | 1800.00 | 2075400.00 | 1400.00 | 1614200.00 | 2558.00 | 2949374.00 | 2100.00 | 2421300.00 | 1614200.00 | DS FIRE SYSTEMS PVT LTD
12.00 | Supply, installation, testing and commissioning of UL listed Intelligent Addressable Multi CriteriaType (photoelectric smoke detection and thermal fixed cum rate of rise temperature detection) Smoke Detector with mounting base, alarm indication LED, with Electronic Addressing Feature to programme the detectors. Complete as required to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required.(UL latest Edition and FM approved). | 10.00 | Each | 10.00 | 1700.00 | 17000.00 | 1600.00 | 16000.00 | 3500.00 | 35000.00 | 2712.00 | 27120.00 | 4500.00 | 45000.00 | 16000.00 | royale meridian india pvt ltd
13.00 | Supply, Installation, Testing and Commissioning of UL listed Inteligent Addressable Heat Detector with fixed and Rate-of-Rise feature alarm indication LED, with Electronic Addressing Feature to programme the detectors. Complete as required to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required.(UL latest Edition and FM approved) | 19.00 | Each | 10.00 | 1630.00 | 30970.00 | 2050.00 | 38950.00 | 1600.00 | 30400.00 | 2440.00 | 46360.00 | 2800.00 | 53200.00 | 30400.00 | DS FIRE SYSTEMS PVT LTD
14.00 | Supplying, installation, testing & commissioning of Response Indicator (METAL CLADE) which consists of steady glowing LED. This LED shall be mounted within a M.S. box and connected in parallel to the built in indicator of the detector as per specifications. The RI shall come "ON" as soon as the detector activates complete in all respects as per specification. (UL latest Edition and FM approved) | 289.00 | Each | 10.00 | 110.00 | 31790.00 | 80.00 | 23120.00 | 250.00 | 72250.00 | 474.00 | 136986.00 | 350.00 | 101150.00 | 23120.00 | royale meridian india pvt ltd
15.00 | Supply, installation, testing and commissioning of LED technology Exit Signage cum Emergency light with Function use either as an emergency luminaire or exit sign; Testing system - Stand Alone; Housing - Polycarbonate, Glow wire test : 850°C, RAL9003; Type of mounting - Ceiling & wall mounted, Degree of protection - IP42; Operation Mode - Non Maintained or Maintained; Connection voltage - 230V -/+ 5% [220V-240V] 50-60Hz; Battery - Ni-Cd; Light source - LED strip; Duration - 3 hours; Viewing distance - 20m. | 32.00 | Each | 10.00 | 4000.00 | 128000.00 | 2800.00 | 89600.00 | 4900.00 | 156800.00 | 4442.00 | 142144.00 | 4500.00 | 144000.00 | 89600.00 | royale meridian india pvt ltd
16.00 | Providing, installation, testing & commissioning of UL listed addressable Control Module (for control of AHU, ventilation fan etc) as per specifications. (UL latest edition & FM approved) complete as required. | 30.00 | Each | 10.00 | 2730.00 | 81900.00 | 2900.00 | 87000.00 | 2300.00 | 69000.00 | 3148.00 | 94440.00 | 4000.00 | 120000.00 | 69000.00 | DS FIRE SYSTEMS PVT LTD
17.00 | Supply, installation, testing & commissioning of UL listed Fault Isolator Module complete with automatic resetting arrangement including base etc. as per specification as required.(UL latest Edition and FM approved) | 60.00 | Each | 10.00 | 1530.00 | 91800.00 | 2900.00 | 174000.00 | 1850.00 | 111000.00 | 2761.00 | 165660.00 | 800.00 | 48000.00 | 48000.00 | LYRA ENGINEERING SERVICES
18.00 | Supply, installation, testing & commissioning of UL listed monitor module with (for monitoring different electrical/mechanical device like flow switch etc.) as per specifications complete as required.(UL latest Edition and FM approved) | 14.00 | Each | 10.00 | 2730.00 | 38220.00 | 3050.00 | 42700.00 | 3000.00 | 42000.00 | 2855.00 | 39970.00 | 6500.00 | 91000.00 | 38220.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
19.00 | Providing, installation, testing & commissioning of UL listed addressable relay Module as per specifications.(UL latest Edition and FM approved) | 19.00 | Each | 10.00 | 2730.00 | 51870.00 | 3000.00 | 57000.00 | 2300.00 | 43700.00 | 3257.00 | 61883.00 | 5500.00 | 104500.00 | 43700.00 | DS FIRE SYSTEMS PVT LTD
20.00 | Supply, installation, testing and commissioning of UL listed Addressable type Manual Call Point (resetting type) complete with Input Module, push button, enclosed in box with provision for cable or conduit coupling, self adhesive sticker indicating loop number and address.The unit to be painted fire red outside, white inside and written 'In case of fire pull.(UL latest Edition and FM approved) | 19.00 | Each | 10.00 | 2730.00 | 51870.00 | 3000.00 | 57000.00 | 3800.00 | 72200.00 | 3139.00 | 59641.00 | 3000.00 | 57000.00 | 51870.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
21.00 | Supply, installation, testing and commissioning of UL listed Hooter cum Strobe with control module (Single Input Signal Module for various output to control and integrate) interconnecting to loop cable complete as required. The strobes shall be synchronized for better evacuation as per specification complete as required.(UL latest Edition and FM approved) | 19.00 | Each | 10.00 | 3130.00 | 59470.00 | 2950.00 | 56050.00 | 2700.00 | 51300.00 | 6557.00 | 124583.00 | 4500.00 | 85500.00 | 51300.00 | DS FIRE SYSTEMS PVT LTD
22.00 | Supply, Installation, Testing and Commissioning of smoke detector testing kit of make/ model no. Testfire1001 or equivalent with minimum following required accessories. 1 x Head Unit 1 x Lithium-Ion Battery Pack 1 x Smoke Generator 1 x Smoke Cartridge 1 x Spare Charger & USB Lead Pair of extendables rods to test upto 6mtr height. | 2.00 | Set | 10.00 | 82130.00 | 164260.00 | 75000.00 | 150000.00 | 58000.00 | 116000.00 | 254705.00 | 509410.00 | 10000.00 | 20000.00 | 20000.00 | LYRA ENGINEERING SERVICES
23.00 | Supply, Installation, testing and commissioning of integrated 2 way Communication Fire Fighters System compete with all accessories required to complete the system.The panel shall be compatible to integrate with Main Fire Alarm Control Panel . | 3.00 | Each | 10.00 | 43230.00 | 129690.00 | 19000.00 | 57000.00 | 51500.00 | 154500.00 | 10250.00 | 30750.00 | 30000.00 | 90000.00 | 30750.00 | Security Engineers Private Limited
24.00 | Supply, Installation, Testing and Commissioning of 2 way communication Fire Fighter's Telephone Jack fitted on wall including the cast of breaking and making good the wall wherever required, complete in all respects as per specifications. | 10.00 | Each | 10.00 | 860.00 | 8600.00 | 1900.00 | 19000.00 | 2600.00 | 26000.00 | 8885.00 | 88850.00 | 2000.00 | 20000.00 | 8600.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
25.00 | Supply, Installation, Testing and Commissioning of 2 way communication Fire Fighter's Handset complete with all accessories as per specifications. | 6.00 | Each | 10.00 | 1930.00 | 11580.00 | 4500.00 | 27000.00 | 3700.00 | 22200.00 | 11017.00 | 66102.00 | 3200.00 | 19200.00 | 11580.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
26.00 | Supplying and fixing of following sizes of MS conduit along with the accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit as required.
26.10 | 20mm dia. | 100.00 | RMT | 10.00 | 170.00 | 17000.00 | 90.00 | 9000.00 | 130.00 | 13000.00 | 202.00 | 20200.00 | 130.00 | 13000.00 | 9000.00 | royale meridian india pvt ltd
26.20 | 25mm dia. | 1200.00 | RMT | 10.00 | 210.00 | 252000.00 | 80.00 | 96000.00 | 137.00 | 164400.00 | 208.00 | 249600.00 | 135.00 | 162000.00 | 96000.00 | royale meridian india pvt ltd
27.00 | Supplying and fixing of following sizes of MS/GI flexible pipe with PVC coating along with all ancillaries and accessories like coupler etc. as required.
27.10 | 25 mm dia. | 650.00 | RMT | 10.00 | 330.00 | 214500.00 | 75.00 | 48750.00 | 30.00 | 19500.00 | 133.00 | 86450.00 | 120.00 | 78000.00 | 19500.00 | DS FIRE SYSTEMS PVT LTD
28.00 | Supplying and laying of 2 x 1.5 sq.mm twisted pair FRLSH copper conductor flexible cable in counduit with terminations etc. as required. (For Public Announcement)
28.10 | 2 x 1.5 Sq.mm. | 1250.00 | RMT | 10.00 | 110.00 | 137500.00 | 73.00 | 91250.00 | 65.00 | 81250.00 | 83.00 | 103750.00 | 135.00 | 168750.00 | 81250.00 | DS FIRE SYSTEMS PVT LTD
29.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable on various surfaces as required, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 7185.00 | RMT | 10.00 | 200.00 | 1437000.00 | 105.00 | 754425.00 | 240.00 | 1724400.00 | 219.00 | 1573515.00 | 140.00 | 1005900.00 | 754425.00 | royale meridian india pvt ltd
30.00 | Supply and laying of 4 core 1.5 sqmm screened copper cable for communication between fire alarm panels and repeater panels. | 150.00 | RMT | 10.00 | 150.00 | 22500.00 | 80.00 | 12000.00 | 110.00 | 16500.00 | 231.00 | 34650.00 | 300.00 | 45000.00 | 12000.00 | royale meridian india pvt ltd
31.00 | Hiring of Architect with draftsman for making auto CAD drawings of ALL FLOOR PLAN with scale of all rooms i/c entry- exit, toilets, pantry, gallery & common areas with roof plan of existing installations of following buildings as per building category based on the NBC, CPWD and State fire norms i/c any other relevant code/ norms as per industry and printing 03 no. colored set on A1 size Paper with lamination. i)- Air India Admin Building ( -1 level to 2nd Floor + Roof Plan ) ii) CRA Building ( 0 level to 2nd Floor + Roof Plan) iii) Vayudoot Building ( 0 level to 2nd Floor + Roof Plan) Agency will also provide the soft copy of the drawings in Auto CAD. Note- The tentative area of all above buildings is approx 10,000 sq mtr. | 1.00 | Job | 10.00 | 379500.00 | 379500.00 | 300000.00 | 300000.00 | 40000.00 | 40000.00 | 415000.00 | 415000.00 | 150000.00 | 150000.00 | 40000.00 | DS FIRE SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 6190330.00 |  | 5761745.00 |  | 6033200.00 |  | 10872453.00 |  | 6598000.00
Lowest Amount Quoted BY: royale meridian india pvt ltd(5761745.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of New Office Complex Safdarjung Airport New Delhi. SH SITC of addressable Fire Detection and Alarm System at new office complex old Air India complex AAI Tender ID: 2024_AAI_209806_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | royale meridian india pvt ltd (BID ID -759627) | 5761745.00 | L1
| 2 | DS FIRE SYSTEMS PVT LTD (BID ID -759688) | 6033200.00 | L2
| 3 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -759466) | 6190330.00 | L3
| 4 | LYRA ENGINEERING SERVICES (BID ID -759735) | 6598000.00 | L4
| 5 | Security Engineers Private Limited (BID ID -760295) | 10872453.00 | L5