## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 08-Nov-2024 05:45 PM Tender Title: Provision of VIP Room in Departure of Terminal Building at Kishangarh Airport Tender ID: 2024_AAI_210136_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of work : Provision of VIP Room in Departure of Terminal Building at Kishangarh Airport.
Contract No: 2024_AAI_210136_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Proficio Engineering And Construction Pvt. Ltd. (GSTN-07AAHCP4985D2Z5) BID ID -760529 |  | PRADHAN ENTERPRISES (GSTN-NA) BID ID -760418
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 2.40 | Cum | 100.00 | 150.00 | 360.00 | 200.00 | 480.00 | 360.00 | Proficio Engineering And Construction Pvt. Ltd.
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | .50 | Cum | 101.00 | 5000.00 | 2500.00 | 5000.00 | 2500.00 | 2500.00 | PRADHAN ENTERPRISES, Proficio Engineering And Construction Pvt. Ltd.
3.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | .30 | Cum | 101.00 | 7500.00 | 2250.00 | 8000.00 | 2400.00 | 2250.00 | Proficio Engineering And Construction Pvt. Ltd.
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Shelves (Cast in situ) | 2.90 | Sqm | 101.00 | 450.00 | 1305.00 | 500.00 | 1450.00 | 1305.00 | Proficio Engineering And Construction Pvt. Ltd.
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 25.00 | Kg | 101.00 | 110.00 | 2750.00 | 110.00 | 2750.00 | 2750.00 | PRADHAN ENTERPRISES, Proficio Engineering And Construction Pvt. Ltd.
6.00 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) : With Modular bricks | 2.30 | Cum | 100.00 | 8500.00 | 19550.00 | 8000.00 | 18400.00 | 18400.00 | PRADHAN ENTERPRISES
7.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 17.30 | Sqm | 101.00 | 1150.00 | 19895.00 | 1000.00 | 17300.00 | 17300.00 | PRADHAN ENTERPRISES
8.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 17.30 | Sqm | 101.00 | 80.00 | 1384.00 | 80.00 | 1384.00 | 1384.00 | PRADHAN ENTERPRISES, Proficio Engineering And Construction Pvt. Ltd.
9.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 2.50 | Sqm | 101.00 | 4500.00 | 11250.00 | 4000.00 | 10000.00 | 10000.00 | PRADHAN ENTERPRISES
10.00 | Providing and fixing 2nd class teak wood plain lining tongued and grooved, including wooden plugs complete with necessary screws and priming coat on unexposed surface. 40 mm thick | 2.30 | Sqm | 101.00 | 5500.00 | 12650.00 | 6000.00 | 13800.00 | 12650.00 | Proficio Engineering And Construction Pvt. Ltd.
11.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately) Second class teak wood | .20 | Cum | 100.00 | 160000.00 | 32000.00 | 150000.00 | 30000.00 | 30000.00 | PRADHAN ENTERPRISES
12.00 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc. Kiln seasoned and chemically treated hollock wood | .30 | Cum | 101.00 | 60200.00 | 18060.00 | 60000.00 | 18000.00 | 18000.00 | PRADHAN ENTERPRISES
13.00 | Providing and fixing flat pressed 3 layer particle board medium density exterior grade (Grade I) or graded wood particle board IS : 3087 marked, to frame, backing or tudding with screws etc. complete (Frames, backing or studding to be paid separately): 18 mm thick | 13.20 | Sqm | 101.00 | 1000.00 | 13200.00 | 900.00 | 11880.00 | 11880.00 | PRADHAN ENTERPRISES
14.00 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : 2nd class teak wood 50x12 mm | 34.60 | Mtr. | 101.00 | 250.00 | 8650.00 | 180.00 | 6228.00 | 6228.00 | PRADHAN ENTERPRISES
15.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 6.10 | Sqm | 101.00 | 2000.00 | 12200.00 | 1800.00 | 10980.00 | 10980.00 | PRADHAN ENTERPRISES
16.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 4.00 | Each | 100.00 | 1100.00 | 4400.00 | 1000.00 | 4000.00 | 4000.00 | PRADHAN ENTERPRISES
17.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 13.20 | Sqm | 101.00 | 800.00 | 10560.00 | 750.00 | 9900.00 | 9900.00 | PRADHAN ENTERPRISES
18.00 | Providing and fixing panic bar / latch (Double point) fitted with a single body, Trim Latch & Lock on back side of the Panic Latch of reputed brand and manufacture to be approved by the Engineer- in- charge, all complete. | 3.00 | Each | 101.00 | 7200.00 | 21600.00 | 7400.00 | 22200.00 | 21600.00 | Proficio Engineering And Construction Pvt. Ltd.
19.00 | Providing and fixing stainless steel fancy handle of approved make fixed with SS screws etc. complete as per direction of Engineer-in-charge. 200 mm | 8.00 | Each | 101.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 1200.00 | PRADHAN ENTERPRISES
20.00 | Providing and fixing stainless steel soft closing spring hinges at 0 degree hinges (hydraulic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-in-charge. | 8.00 | Each | 101.00 | 300.00 | 2400.00 | 250.00 | 2000.00 | 2000.00 | PRADHAN ENTERPRISES
21.00 | Providing and fixing bolts including nuts and washers complete. | 2.00 | Kg | 100.00 | 200.00 | 400.00 | 150.00 | 300.00 | 300.00 | PRADHAN ENTERPRISES
22.00 | Providing and laying machine cut, mirror polished Marble stone flooring, in required design (Simple geometrical, abstract etc.) and in patterns in combination with Italian marble stones of different colours, shades and finished surface texture etc., in linear portions of the building, all complete as per the architectural drawings, with 18 mm thick stone slab laid over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with white cement slurry @ 4.4 kg/sqm, including pointing with white cement slurry admixed with pigment to match the marble shade, including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. 18 mm thick Italian Marble stone slab, Perlato, Rosso verona, Fire Red or Dark Emperadore etc. | 31.90 | Sqm | 101.00 | 7000.00 | 223300.00 | 6700.00 | 213730.00 | 213730.00 | PRADHAN ENTERPRISES
23.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 10.00 | Mtr. | 101.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 1500.00 | PRADHAN ENTERPRISES
24.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 15.00 | Mtr. | 101.00 | 300.00 | 4500.00 | 350.00 | 5250.00 | 4500.00 | Proficio Engineering And Construction Pvt. Ltd.
25.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 110x110x110 mm | 3.00 | Each | 101.00 | 250.00 | 750.00 | 200.00 | 600.00 | 600.00 | PRADHAN ENTERPRISES
26.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 5.00 | Each | 100.00 | 150.00 | 750.00 | 100.00 | 500.00 | 500.00 | PRADHAN ENTERPRISES
27.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 36.40 | Sqm | 101.00 | 350.00 | 12740.00 | 400.00 | 14560.00 | 12740.00 | Proficio Engineering And Construction Pvt. Ltd.
28.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 9.70 | Sqm | 101.00 | 350.00 | 3395.00 | 400.00 | 3880.00 | 3395.00 | Proficio Engineering And Construction Pvt. Ltd.
29.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 83.90 | Sqm | 101.00 | 200.00 | 16780.00 | 140.00 | 11746.00 | 11746.00 | PRADHAN ENTERPRISES
30.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 83.90 | Sqm | 101.00 | 250.00 | 20975.00 | 130.00 | 10907.00 | 10907.00 | PRADHAN ENTERPRISES
31.00 | Polishing in high gloss/matt finish melamine clear polish on wood work in required color/ wooden shade texture with following process in the sequence as detailed below: 1. The surface to be polished is rubbed with sand paper 80/120 no. and then with sand paper of 160/180 nos. 2. Applying two coats of sealer with spray gun and allowing sufficient drying time for 1st coat and 2nd coat is allowed to dry for 8 to 12 hrs. 3. On drying of sealer coat, wet rubbing with emery cloth of finer grading with ample water to remove excess sealer layer and make the surface further smooth after this wet rubbing, then surface is applied with special grade melamine fillers to fill all the small and big holes/ grooves etc. Filler coat to be allowed to dry for 4 to 6 hrs on which again a light wet rubbing is done this surface is further allowed to dry for 12 hrs. 4. On this, 1st coat of melamine polish is applied with spray gun using melamine clear polish and melamine thinner in required proportion. This 1st coat is allowed to dry for 24 hrs then this dry surface is again fine wet rubbed smooth, which is further allowed to dry for 12 hrs. The final melamine polish is applied with compressor pressure spray gun using melamine clear polish and melamine thinner mixed in required proportion complete as per direction of Engineer-in-Charge. (Final coat to be done in 1 or 2 layers without gap of time.) | 32.10 | Sqm | 100.00 | 3000.00 | 96300.00 | 2900.00 | 93090.00 | 93090.00 | PRADHAN ENTERPRISES
32.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | .60 | Cum | 101.00 | 2100.00 | 1260.00 | 2200.00 | 1320.00 | 1260.00 | Proficio Engineering And Construction Pvt. Ltd.
33.00 | Demolishing brick work manually/ by mechanical means including stacking of erviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge In cement mortar | 4.70 | Cum | 101.00 | 2200.00 | 10340.00 | 2000.00 | 9400.00 | 9400.00 | PRADHAN ENTERPRISES
34.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 4.00 | Each | 101.00 | 200.00 | 800.00 | 300.00 | 1200.00 | 800.00 | Proficio Engineering And Construction Pvt. Ltd.
35.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board: 510x1040 mm bowl depth 250 mm | 1.00 | Each | 101.00 | 6400.00 | 6400.00 | 6500.00 | 6500.00 | 6400.00 | Proficio Engineering And Construction Pvt. Ltd.
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 20.00 | Mtr. | 100.00 | 450.00 | 9000.00 | 550.00 | 11000.00 | 9000.00 | Proficio Engineering And Construction Pvt. Ltd.
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 10.00 | Mtr. | 101.00 | 500.00 | 5000.00 | 550.00 | 5500.00 | 5000.00 | Proficio Engineering And Construction Pvt. Ltd.
38.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour 15 mm nominal bore with 45 cm length | 3.00 | Each | 101.00 | 150.00 | 450.00 | 100.00 | 300.00 | 300.00 | PRADHAN ENTERPRISES
39.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 75.00 | Kg | 101.00 | 450.00 | 33750.00 | 480.00 | 36000.00 | 33750.00 | Proficio Engineering And Construction Pvt. Ltd.
40.00 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineerin-charge complete. | 20.00 | Sqm | 101.00 | 4600.00 | 92000.00 | 4500.00 | 90000.00 | 90000.00 | PRADHAN ENTERPRISES
41.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ? 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.60) | 31.90 | Sqm | 100.00 | 2800.00 | 89320.00 | 2800.00 | 89320.00 | 89320.00 | PRADHAN ENTERPRISES, Proficio Engineering And Construction Pvt. Ltd.
42.00 | Veneer panelling : Providing and Fixing wall panelling in heritage style ,includes fixing of 12 mm ply in combination of 8 mm ply as design base for heritage panelling, the 12 mm ply so fixed as to receive the 8 mm ply in tapered style to again receive 12 mm ply skinned with 4 mm veneer in vertical style, all the junction of ply's to be fixed with tapered mouldings/designer 1st class teak wood mouldings ,veneer to be fixed at vertical /horizontal surfaces to receive Mouldings on top and skirting at bottom ,all complete with necessary mouldings etc. as per design and entire satisfaction of E I C. | 19.90 | Sqm | 101.00 | 4900.00 | 97510.00 | 4800.00 | 95520.00 | 95520.00 | PRADHAN ENTERPRISES
43.00 | Providing and fixing of 150mm SS modular Panty jaali in grade 304 for placing utility items/plates etc with sliding channels complete as per satisfaction of E I C. | 2.00 | Each | 101.00 | 2400.00 | 4800.00 | 2300.00 | 4600.00 | 4600.00 | PRADHAN ENTERPRISES
44.00 | Providing and fixing of 100mm SS multi utility sliding jaali in grade 304 for placing utility items/polates etc with sliding channels complete as per satisfaction of E I C. | 2.00 | Each | 101.00 | 4300.00 | 8600.00 | 4500.00 | 9000.00 | 8600.00 | Proficio Engineering And Construction Pvt. Ltd.
45.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, walls, etc. laid with cement based high polymer modified quick set tile Grey, polymer modified adhesive (water based) conforming to IS: 15477, in average 6 mm thickness complete as per the direction of EIC. Size of Tile 600x1200 mm. | 17.00 | Sqm | 101.00 | 1000.00 | 17000.00 | 1200.00 | 20400.00 | 17000.00 | Proficio Engineering And Construction Pvt. Ltd.
46.00 | Providing and fixing white vitreous china extended wall mounting water closet of make Jaquar (item code- CNS-WHT-963UFSM) or equivalent along with single piece slim concealed cistern with floor mounting frame (item code- JCS-WHT- 2400FS) installation kit and "S-type" drain pipe connection set and flush control palte (item code- JCP-CHR-372415) including seat cover, cistern fittings, nuts, bolts and gasket etc. complete as per the direction & satisfaction of Engineer in charge. | 1.00 | Each | 100.00 | 20020.00 | 20020.00 | 20000.00 | 20000.00 | 20000.00 | PRADHAN ENTERPRISES
47.00 | Providing and fixing beveled edge mirror of required size of superior glass of thickness 8 mm (of approved quality) complete with 6 mm thick hard board (MDF) ground fixed to wooden cleats with C.P. brass screws and washers complete as per direction & satisfaction of Engineer in charge. | .80 | Sqm | 101.00 | 3000.00 | 2400.00 | 2800.00 | 2240.00 | 2240.00 | PRADHAN ENTERPRISES
48.00 | Providing and fixing soap dispenser of make Jaquar (item code- ACN-CHR-1137N) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 3300.00 | 3300.00 | 3500.00 | 3500.00 | 3300.00 | Proficio Engineering And Construction Pvt. Ltd.
49.00 | Providing & fixing wall mounted paper towel dispenser of make Jaquar (item code- PTD-SAP-DT0106CSN) or equivalent, with all necessary fitting and fixture complete as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 5500.00 | 5500.00 | 6000.00 | 6000.00 | 5500.00 | Proficio Engineering And Construction Pvt. Ltd.
50.00 | Providing & fixing 32mm size C.P. waste coupling, half thread of make Jaquar (item code- ALD-CHR-709) or equivalent complete as per direction & satisfaction of Engineer-in-charge. | 1.00 | Each | 101.00 | 450.00 | 450.00 | 500.00 | 500.00 | 450.00 | Proficio Engineering And Construction Pvt. Ltd.
51.00 | Providing & fixing Towel rail 300mm long of make Jaquar (item code- ACN-CHR-1101S) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 100.00 | 1300.00 | 1300.00 | 1500.00 | 1500.00 | 1300.00 | Proficio Engineering And Construction Pvt. Ltd.
52.00 | Providing & fixing soap dish holder of make Jaquar (item code- ACN-CHR-1131N) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 700.00 | 700.00 | 750.00 | 750.00 | 700.00 | Proficio Engineering And Construction Pvt. Ltd.
53.00 | Providing & fixing Toilet roll holder of make Jaquar (item code- ACN-CHR-1151N) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 650.00 | 650.00 | 700.00 | 700.00 | 650.00 | Proficio Engineering And Construction Pvt. Ltd.
54.00 | Providing & fixing of Double coat hook of make Jaquar (item code- ACN-CHR-1161N) or equivalent as per direction & satisfaction of Engineer in charge. | 2.00 | Each | 101.00 | 600.00 | 1200.00 | 550.00 | 1100.00 | 1100.00 | PRADHAN ENTERPRISES
55.00 | Providing & fixing Pillar cock with 200mm Extension Body of make Jaquar (item code- OPP-GLD-15021PM) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 8300.00 | 8300.00 | 8500.00 | 8500.00 | 8300.00 | Proficio Engineering And Construction Pvt. Ltd.
56.00 | Providing & fixing of Bib cock with wall flange of make Jaquar (item code- KUP-CHR-35037PM) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 100.00 | 2300.00 | 2300.00 | 2000.00 | 2000.00 | 2000.00 | PRADHAN ENTERPRISES
57.00 | Providing & fixing Angular stopcock with wall flange of make Jaquar (item code- KUP-CHR-35053PM) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 1700.00 | 1700.00 | 1500.00 | 1500.00 | 1500.00 | PRADHAN ENTERPRISES
58.00 | Providing and fixing of 420x420x150 mm size table top wash basin of make Jaquar (item code- JDS-BLM-25911) or equivalent complete as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 8300.00 | 8300.00 | 8000.00 | 8000.00 | 8000.00 | PRADHAN ENTERPRISES
59.00 | Providing and fixing of Hand Shower (Health Faucet) with 8mm Dia, 1.2 Meter Long Flexible Tube & Wall Hook of make Jaquar (item code- ALD-CHR-573) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 1450.00 | 1450.00 | 1500.00 | 1500.00 | 1450.00 | Proficio Engineering And Construction Pvt. Ltd.
60.00 | Providing and fixing of 32mm CP Brass bottle trap with internal partition of make Jaquar (item code- ALD-CHR-769 L250X190) or equivalent with 250mm wall coneection pipe & 190mm wall flange for wash basin and urinals etc. complete as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 2000.00 | 2000.00 | 1800.00 | 1800.00 | 1800.00 | PRADHAN ENTERPRISES
61.00 | Providing and fixing stainless steel (grade 304) square 75x75mm floor trap all complete as per direction & satisfaction of Engineer in charge. | 3.00 | Each | 100.00 | 300.00 | 900.00 | 250.00 | 750.00 | 750.00 | PRADHAN ENTERPRISES
62.00 | Providing & fixing decorative 4 mm veener sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | 12.20 | Sqm | 101.00 | 2400.00 | 29280.00 | 2500.00 | 30500.00 | 29280.00 | Proficio Engineering And Construction Pvt. Ltd.
63.00 | Supply, Installation, Testing and Commissioning of 8 way (8 + 24), Double door, horizontal type three pole and neutral, sheet steel, IP-43, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted, including earthing, blank plate etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each | 101.00 | 8500.00 | 8500.00 | 9000.00 | 9000.00 | 8500.00 | Proficio Engineering And Construction Pvt. Ltd.
64.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C. (Colour of switch, socket and phenolic laminated sheet cover will be decided by EIC). | 7.00 | Each | 101.00 | 1700.00 | 11900.00 | 1500.00 | 10500.00 | 10500.00 | PRADHAN ENTERPRISES
65.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C (Colour of switch, socket and phenolic laminated sheet cover will be decided by EIC). | 5.00 | Each | 101.00 | 1000.00 | 5000.00 | 950.00 | 4750.00 | 4750.00 | PRADHAN ENTERPRISES
66.00 | Supplying and fixing of 20mm size of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 85.00 | Mtr | 100.00 | 250.00 | 21250.00 | 200.00 | 17000.00 | 17000.00 | PRADHAN ENTERPRISES
67.00 | Supplying and fixing of 25mm size of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 42.00 | Mtr | 101.00 | 220.00 | 9240.00 | 200.00 | 8400.00 | 8400.00 | PRADHAN ENTERPRISES
68.00 | Supplying and drawing 3 x 2.5 sq.mm sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 30.00 | Mtr | 101.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 3000.00 | PRADHAN ENTERPRISES
69.00 | Supplying and drawing 6 x 2.5 sq.mm sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 11.00 | Mtr | 101.00 | 300.00 | 3300.00 | 250.00 | 2750.00 | 2750.00 | PRADHAN ENTERPRISES
70.00 | Supplying and drawing 3 x 4 sq.mm sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 33.00 | Mtr | 101.00 | 150.00 | 4950.00 | 200.00 | 6600.00 | 4950.00 | Proficio Engineering And Construction Pvt. Ltd.
71.00 | Supplying and drawing 6 x 4 sq.mm sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 38.00 | Mtr | 100.00 | 350.00 | 13300.00 | 300.00 | 11400.00 | 11400.00 | PRADHAN ENTERPRISES
72.00 | Supplying and drawing 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | 30.00 | Mtr | 101.00 | 100.00 | 3000.00 | 50.00 | 1500.00 | 1500.00 | PRADHAN ENTERPRISES
73.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/recessed steel/ PVC conduit as required. | 30.00 | Mtr | 101.00 | 150.00 | 4500.00 | 50.00 | 1500.00 | 1500.00 | PRADHAN ENTERPRISES
74.00 | Supplying and fixing of modular RJ 45 Jack with shutter suitable for Cat - 6 Cable on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (Colour of Jack will be decided by EIC). | 5.00 | Each | 101.00 | 500.00 | 2500.00 | 550.00 | 2750.00 | 2500.00 | Proficio Engineering And Construction Pvt. Ltd.
75.00 | Supplying and fixing of modular Telephone socket outlet on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (Colour of Telephone socket will be decided by EIC). | 5.00 | Each | 101.00 | 200.00 | 1000.00 | 150.00 | 750.00 | 750.00 | PRADHAN ENTERPRISES
76.00 | Supplying and fixing of 2 Module (75mmX75mm) GI box alongwith modular base & cover plate for modular switches in recess etc as required. (Colour of phenolic laminated sheet cover will be decided by EIC). | 5.00 | Each | 100.00 | 300.00 | 1500.00 | 250.00 | 1250.00 | 1250.00 | PRADHAN ENTERPRISES
77.00 | Supplying and fixing suitable size GI box with modular plate and cover infront on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. (Colour of switch, socket and phenolic laminated sheet cover will be decided by EIC). | 12.00 | Each | 101.00 | 550.00 | 6600.00 | 500.00 | 6000.00 | 6000.00 | PRADHAN ENTERPRISES
78.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (Colour of switch, socket and phenolic laminated sheet cover will be decided by EIC). | 10.00 | Each | 101.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 3000.00 | PRADHAN ENTERPRISES
79.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent/LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 17.00 | Each | 101.00 | 200.00 | 3400.00 | 150.00 | 2550.00 | 2550.00 | PRADHAN ENTERPRISES
80.00 | Installation of ceiling mounted exhaust fan upto 450 mm sweep in the existing ceiling, including cutting the false ceiling sheet, connection, testing, commissioning etc. complete as required. | 2.00 | Each | 101.00 | 350.00 | 700.00 | 300.00 | 600.00 | 600.00 | PRADHAN ENTERPRISES
81.00 | Supplying and fixing 6 A to 32 As rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 10.00 | Each | 100.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 3500.00 | PRADHAN ENTERPRISES
82.00 | Supplying and fixing 6 A to 32 As rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double Pole | 4.00 | Each | 101.00 | 900.00 | 3600.00 | 1000.00 | 4000.00 | 3600.00 | Proficio Engineering And Construction Pvt. Ltd.
83.00 | Supplying and fixing 63A four pole, 240/415 volts, "C" curve, 10kA breaking capacity miniature circuit breaker (MCB) suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make:- Hager, Model-NCN463N or equivalent. | 1.00 | Each | 101.00 | 3900.00 | 3900.00 | 4000.00 | 4000.00 | 3900.00 | Proficio Engineering And Construction Pvt. Ltd.
84.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 30 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amp, sensitivity current-30mA | 1.00 | Each | 101.00 | 4800.00 | 4800.00 | 5000.00 | 5000.00 | 4800.00 | Proficio Engineering And Construction Pvt. Ltd.
85.00 | Supply and fixing of Touch-Free Infra-Red activation, instant electrically operated automatic regular duty, stainless steel, Brushless DC motor, wall mounted, with HEPA filter hand dryer for public toilets suitable for single phase 230 volt, 50Hz AC supply complete with three pin plug top and standard 3 core PVC insulated Cu conductor lead, wall mounting arrangment etc with all accessories. Make/Model:-Euronics/XJD3B or Dolphy/ DAHD0053 or equivalent. | 2.00 | Each | 101.00 | 70000.00 | 140000.00 | 62000.00 | 124000.00 | 124000.00 | PRADHAN ENTERPRISES
86.00 | Supply of 230 V, 50 Hz, minimum 300 CMH (m3/h) airflow, False Ceiling Exhaust Fan/Roof Ventilation Fan with 150 mm cut out size, Silent operation, copper motor having 100mm duct pipe etc. complete as required. Make/Model:- Astberg/APT (15-27SL) or KAFF/SKY 15 or Fanzart/Pro 6” or equivalent. | 3.00 | Each | 100.00 | 4600.00 | 13800.00 | 4500.00 | 13500.00 | 13500.00 | PRADHAN ENTERPRISES
87.00 | Supply & fixing of 100 mm dia flexible Aluminum duct chimney pipe with 4 inch Stainless Steel Chimney Cowl with wired mesh (for every 15 mtr pipe) for ceiling mounted exhaust fan including providing the suitable support to duct pipe from ceiling and cutting the wall & making good the same etc. complete as required. | 30.00 | Mtr | 101.00 | 450.00 | 13500.00 | 400.00 | 12000.00 | 12000.00 | PRADHAN ENTERPRISES
88.00 | Supply of 230V, 50Hz, 12 W deep recessed LED downlights offering visual comfort to user by reducing glare, having high efficiency diffuser, prewired upto the terminal block, with 05 years warrenty from OEM/Authorized dealer and as per AAI technical specifications, with all fixing accessories, driver etc complete as required. Make/Model -Havells/ VIBEDRRDDLR12WLED857S or Philips/DN496 LED12S-6500 PSU WH or Equivalent. | 17.00 | Each | 101.00 | 2200.00 | 37400.00 | 2100.00 | 35700.00 | 35700.00 | PRADHAN ENTERPRISES
89.00 | Supply, Installation, testing and commissioning of LED illumintaed Sign board (in dual Language-English & Hindi) for "Reserved Lounge" size of 620 mm x 320mm, operating on 230 V mains,50 Hz, made with CNC router cutting on 3mm ACP sheet, pasted back 5mm thick Acrylic sheet, internal frame of Aluminum with 25mmx 25mm x 1.3 hollow square sections, IP-54, efficiency of LEDs to be not less than 105 W / Lumen, make of LED will be as per preferred Make, with electronic controllers, having uniform spread and brightness to stand out in the ambient lighting conditions during day and night, i/c internal wiring, content will be finalize as per instruction of EIC etc. complete as required. | 2.00 | Job | 101.00 | 4700.00 | 9400.00 | 4500.00 | 9000.00 | 9000.00 | PRADHAN ENTERPRISES
90.00 | Dismantaling, shifting, re-Installation, Testing & Commissioning of 2.0 ton (Make-Voltas) VRV Airconditioners indoor from existing location to another location in new VIP room (distance up to 5 Mtr), including supply and fixing of drain pipe, copper pipe, PVC conduit, pipe insulation, T-joint and solvent material, 10 mm fastner, 10 mm ss rod & nut bolt, supporing ss rod & clamp, soldering & brazing, control wiring etc complete as per site requerment. | 2.00 | Job | 101.00 | 15200.00 | 30400.00 | 15000.00 | 30000.00 | 30000.00 | PRADHAN ENTERPRISES
91.00 | Testing and Commissioning of outdoor of VRV Airconditioner system of capacity 20 HP (Make-Voltas) including leakage test in the refrigerant pipe line with nitrogen, vaccummising in the VRV system, refrigerant recharge, connecting the indoor & outdoor communication cable and making the Airconditioners in perfect working conditions as per site requirement. (Excluding the cost of supply of refrigerant R-410) | 1.00 | Job | 100.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 5000.00 | PRADHAN ENTERPRISES
92.00 | Supply and recharge of refrigerant R-410 suitable for the VRV Air Conditioning System complete as required. | 70.00 | kg | 101.00 | 1500.00 | 105000.00 | 1385.00 | 96950.00 | 96950.00 | PRADHAN ENTERPRISES
| Total in Figures |  |  |  |  | 1526374.00 |  | 1449765.00
Lowest Amount Quoted BY: PRADHAN ENTERPRISES(1449765.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of VIP Room in Departure of Terminal Building at Kishangarh Airport Tender ID: 2024_AAI_210136_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRADHAN ENTERPRISES (BID ID -760418) | 1449765.00 | L1
| 2 | Proficio Engineering And Construction Pvt. Ltd. (BID ID -760529) | 1526374.00 | L2