## BoQ1
Government eProcurement System Created By: ANKIT JAIN Created Date/Time: 11-Nov-2024 04:14 PM Tender Title: Renovation work at Agra Tender ID: 2024_AAI_210425_1
Tender Inviting Authority: Senior Manager(Engg.(C)/AAI,Civil Air Terminal Kheria Agra.
Name of Work: Renovation work of existing terminal building and other operational areas at Agra Airport.
Contract No: 2024_AAI_210425_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MINOCHA CONSTRUCTION COMPANY (GSTN-09AFMPM2502A1ZW) BID ID -758910 |  | AIMS BUILDMART PRIVATE LIMITED (GSTN-NA) BID ID -758238 |  | Classicon Projects India Pvt. Ltd. (GSTN-NA) BID ID -756286 |  | ATUL LOGISTICS (GSTN-NA) BID ID -758510
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS: Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :Of area 3 sq. metres and below | 123.00 | Nos |  | 85.00 | 10455.00 | 457.50 | 56272.50 | 150.00 | 18450.00 | 162.00 | 19926.00 | 10455.00 | MINOCHA CONSTRUCTION COMPANY
2.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 49.00 | Sqm |  | 2045.00 | 100205.00 | 2424.75 | 118812.75 | 3000.00 | 147000.00 | 2205.00 | 108045.00 | 100205.00 | MINOCHA CONSTRUCTION COMPANY
3.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 180.00 | Nos |  | 45.00 | 8100.00 | 109.80 | 19764.00 | 100.00 | 18000.00 | 153.00 | 27540.00 | 8100.00 | MINOCHA CONSTRUCTION COMPANY
4.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 80 mm | 90.00 | Nos |  | 85.00 | 7650.00 | 18.30 | 1647.00 | 80.00 | 7200.00 | 207.00 | 18630.00 | 1647.00 | AIMS BUILDMART PRIVATE LIMITED
5.00 | Providing and fixing ISI marked Godrej Locks 5808 Classic Cylindrical Stainless Steel bright finished with ecessary screws etc. all complete as per the direction of Engineer-In-Charge. | 20.00 | Nos |  | 930.00 | 18600.00 | 640.50 | 12810.00 | 650.00 | 13000.00 | 1530.00 | 30600.00 | 12810.00 | AIMS BUILDMART PRIVATE LIMITED
6.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. Each | 30.00 | Nos |  | 515.00 | 15450.00 | 1464.00 | 43920.00 | 850.00 | 25500.00 | 1008.00 | 30240.00 | 15450.00 | MINOCHA CONSTRUCTION COMPANY
7.00 | Providing and fixing Automatic Pelmet Arm Door Closer (Make -Dorset, Model no. DC80 Ext (WP) PT) or equivalent 500000 Cycle Tested- Suitable for Door Weight Upto 80kg, complete all specified and directed by Engineer-in-charge. | 25.00 | Nos |  | 2965.00 | 74125.00 | 3477.00 | 86925.00 | 2200.00 | 55000.00 | 3510.00 | 87750.00 | 55000.00 | Classicon Projects India Pvt. Ltd.
8.00 | Providing and fixing Concealed Door Closer for Door Weight Upto 65 kg (Make -Dorset, Model no. DC65CO) or equivalent, complete all specified and directed by Engineer-in-charge. | 20.00 | Nos |  | 3000.00 | 60000.00 | 4117.50 | 82350.00 | 3750.00 | 75000.00 | 3510.00 | 70200.00 | 60000.00 | MINOCHA CONSTRUCTION COMPANY
9.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 15.00 | Nos |  | 650.00 | 9750.00 | 1098.00 | 16470.00 | 900.00 | 13500.00 | 2070.00 | 31050.00 | 9750.00 | MINOCHA CONSTRUCTION COMPANY
10.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125 mm | 50.00 | Nos |  | 70.00 | 3500.00 | 173.85 | 8692.50 | 140.00 | 7000.00 | 153.00 | 7650.00 | 3500.00 | MINOCHA CONSTRUCTION COMPANY
11.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1443.00 | Kg |  | 360.00 | 519480.00 | 503.25 | 726189.75 | 500.00 | 721500.00 | 405.00 | 584415.00 | 519480.00 | MINOCHA CONSTRUCTION COMPANY
12.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for Separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 3059.00 | Kg |  | 370.00 | 1131830.00 | 503.25 | 1539441.75 | 520.00 | 1590680.00 | 396.00 | 1211364.00 | 1131830.00 | MINOCHA CONSTRUCTION COMPANY
13.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 75.00 | Sqm |  | 900.00 | 67500.00 | 3156.75 | 236756.25 | 800.00 | 60000.00 | 1008.00 | 75600.00 | 60000.00 | Classicon Projects India Pvt. Ltd.
14.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 35.00 | sqm |  | 675.00 | 23625.00 | 1235.25 | 43233.75 | 850.00 | 29750.00 | 1008.00 | 35280.00 | 23625.00 | MINOCHA CONSTRUCTION COMPANY
15.00 | Providing and fixing suncontrol film Garware film (or equivalent) film on glass panes after throughly cleaning of existing surface, (The rate inclusive removal of existing suncontrol film where ever required.) as per satisfaction of Engineer-in-charge | 373.00 | Sqm |  | 850.00 | 317050.00 | 823.50 | 307165.50 | 700.00 | 261100.00 | 900.00 | 335700.00 | 261100.00 | Classicon Projects India Pvt. Ltd.
16.00 | Providing and pasting 3M frosted crystle Graphic Film on existing surface as per design provided by AAI all complete as directed by Engineer - in-charge., (The rate inclusive removal of existing suncontrol film where ever required.) as per satisfaction of Engineer-in-charge | 90.00 | Sqm |  | 1300.00 | 117000.00 | 1143.75 | 102937.50 | 700.00 | 63000.00 | 954.00 | 85860.00 | 63000.00 | Classicon Projects India Pvt. Ltd.
17.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 220.00 | Kg |  | 370.00 | 81400.00 | 503.25 | 110715.00 | 600.00 | 132000.00 | 504.00 | 110880.00 | 81400.00 | MINOCHA CONSTRUCTION COMPANY
18.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete:125x75x4 mm | 300.00 | Nos |  | 90.00 | 27000.00 | 118.95 | 35685.00 | 100.00 | 30000.00 | 72.00 | 21600.00 | 21600.00 | ATUL LOGISTICS
19.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mme. | 200.00 | Each |  | 50.00 | 10000.00 | 128.10 | 25620.00 | 100.00 | 20000.00 | 108.00 | 21600.00 | 10000.00 | MINOCHA CONSTRUCTION COMPANY
20.00 | Providing and fixing aluminium Semi circular shape handle of outer dia 100 mm with SS screws etc.complete all specified and directed by Engineer-in-charge. | 200.00 | Each |  | 100.00 | 20000.00 | 137.25 | 27450.00 | 110.00 | 22000.00 | 108.00 | 21600.00 | 20000.00 | MINOCHA CONSTRUCTION COMPANY
21.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge.With stainless steel cover plate minimum 1.25 mm thickness. | 6.00 | Each |  | 1675.00 | 10050.00 | 9150.00 | 54900.00 | 4000.00 | 24000.00 | 3510.00 | 21060.00 | 10050.00 | MINOCHA CONSTRUCTION COMPANY
22.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 450.00 | Mtr. |  | 60.00 | 27000.00 | 45.75 | 20587.50 | 60.00 | 27000.00 | 81.00 | 36450.00 | 20587.50 | AIMS BUILDMART PRIVATE LIMITED
23.00 | Providing & Supplying of Red Metal Expandable Barricade of makeNilkamal or equivalent,consisting of scissor Barrier MS with both side C I wheel Height - 1.2 Mtr x Opened Length - 6Mtr x Closed Length - 500mm, with Radium Reflective Tapes, Interlocking Slots are available with 2 Side C.I Wheels etc complete as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 4.00 | Each |  | 10600.00 | 42400.00 | 18300.00 | 73200.00 | 14500.00 | 58000.00 | 10080.00 | 40320.00 | 40320.00 | ATUL LOGISTICS
24.00 | Providing & Supplying of pvc red Road Traffic Safety Cone, Pack of 4 Cones 750mm, with 4 mtr "S" type plastic Chain + 4 Hooks, (Safety Cone, Traffic Safety Cone, Road Safety Cone with Reflective Strips Collar) of make Nilkamal or equivalent, etc complete as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 4.00 | Each |  | 3100.00 | 12400.00 | 8052.00 | 32208.00 | 3500.00 | 14000.00 | 5400.00 | 21600.00 | 12400.00 | MINOCHA CONSTRUCTION COMPANY
25.00 | Disconnecting damaged overhead/terrace PVC water storage tank of any size from water supply line and removing from the terrace including shifting at ground level as per direction of Engineer-in-charge | 5.00 | Each |  | 260.00 | 1300.00 | 7320.00 | 36600.00 | 1500.00 | 7500.00 | 1170.00 | 5850.00 | 1300.00 | MINOCHA CONSTRUCTION COMPANY
26.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 135.00 | Mtr. |  | 90.00 | 12150.00 | 91.50 | 12352.50 | 30.00 | 4050.00 | 180.00 | 24300.00 | 4050.00 | Classicon Projects India Pvt. Ltd.
27.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : Above 40 mm nominal bore | 30.00 | Mtr. |  | 93.00 | 2790.00 | 100.65 | 3019.50 | 35.00 | 1050.00 | 180.00 | 5400.00 | 1050.00 | Classicon Projects India Pvt. Ltd.
28.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately | 50000.00 | per/Ltr |  | 7.00 | 350000.00 | 9.15 | 457500.00 | 10.00 | 500000.00 | 7.20 | 360000.00 | 350000.00 | MINOCHA CONSTRUCTION COMPANY
29.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 10.00 | Each |  | 45.00 | 450.00 | 201.30 | 2013.00 | 100.00 | 1000.00 | 270.00 | 2700.00 | 450.00 | MINOCHA CONSTRUCTION COMPANY
30.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 80 mm nominal bore | 2.00 | Each |  | 1580.00 | 3160.00 | 2058.75 | 4117.50 | 3000.00 | 6000.00 | 6300.00 | 12600.00 | 3160.00 | MINOCHA CONSTRUCTION COMPANY
31.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 65 mm nominal bore | 2.00 | Each |  | 1020.00 | 2040.00 | 1647.00 | 3294.00 | 2500.00 | 5000.00 | 5400.00 | 10800.00 | 2040.00 | MINOCHA CONSTRUCTION COMPANY
32.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 2.00 | Each |  | 615.00 | 1230.00 | 1326.75 | 2653.50 | 2000.00 | 4000.00 | 4500.00 | 9000.00 | 1230.00 | MINOCHA CONSTRUCTION COMPANY
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 20.00 | Mtr. |  | 300.00 | 6000.00 | 228.75 | 4575.00 | 300.00 | 6000.00 | 900.00 | 18000.00 | 4575.00 | AIMS BUILDMART PRIVATE LIMITED
34.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 100.00 | Mtr |  | 225.00 | 22500.00 | 411.75 | 41175.00 | 400.00 | 40000.00 | 450.00 | 45000.00 | 22500.00 | MINOCHA CONSTRUCTION COMPANY
35.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 100.00 | Mtr |  | 145.00 | 14500.00 | 343.12 | 34312.50 | 350.00 | 35000.00 | 360.00 | 36000.00 | 14500.00 | MINOCHA CONSTRUCTION COMPANY
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia .Pipes. | 135.00 | Mtr. |  | 370.00 | 49950.00 | 283.65 | 38292.75 | 380.00 | 51300.00 | 360.00 | 48600.00 | 38292.75 | AIMS BUILDMART PRIVATE LIMITED
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work 50 mm nominal outer dia. Pipes. | 180.00 | Mtr. |  | 460.00 | 82800.00 | 503.25 | 90585.00 | 500.00 | 90000.00 | 450.00 | 81000.00 | 81000.00 | ATUL LOGISTICS
38.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 10.00 | Cum. |  | 150.00 | 1500.00 | 128.10 | 1281.00 | 350.00 | 3500.00 | 360.00 | 3600.00 | 1281.00 | AIMS BUILDMART PRIVATE LIMITED
39.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles above 25 mm and up to 40 mm | 300.00 | Sqm |  | 65.00 | 19500.00 | 100.65 | 30195.00 | 100.00 | 30000.00 | 108.00 | 32400.00 | 19500.00 | MINOCHA CONSTRUCTION COMPANY
40.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 800.00 | Sqm |  | 45.00 | 36000.00 | 82.35 | 65880.00 | 75.00 | 60000.00 | 108.00 | 86400.00 | 36000.00 | MINOCHA CONSTRUCTION COMPANY
41.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 300.00 | Sqm |  | 30.00 | 9000.00 | 64.05 | 19215.00 | 50.00 | 15000.00 | 63.00 | 18900.00 | 9000.00 | MINOCHA CONSTRUCTION COMPANY
42.00 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars. | 4.00 | Cum. |  | 1670.00 | 6680.00 | 1098.00 | 4392.00 | 2000.00 | 8000.00 | 4050.00 | 16200.00 | 4392.00 | AIMS BUILDMART PRIVATE LIMITED
43.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 32.00 | Cum. |  | 1200.00 | 38400.00 | 823.50 | 26352.00 | 850.00 | 27200.00 | 1530.00 | 48960.00 | 26352.00 | AIMS BUILDMART PRIVATE LIMITED
44.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum. |  | 4270.00 | 42700.00 | 6405.00 | 64050.00 | 6200.00 | 62000.00 | 8100.00 | 81000.00 | 42700.00 | MINOCHA CONSTRUCTION COMPANY
45.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum. |  | 5480.00 | 54800.00 | 6771.00 | 67710.00 | 6500.00 | 65000.00 | 8100.00 | 81000.00 | 54800.00 | MINOCHA CONSTRUCTION COMPANY
46.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level Cement mortar 1:3 (1 cement :3 coarse sand). | 30.00 | Sqm |  | 690.00 | 20700.00 | 114.38 | 3431.25 | 900.00 | 27000.00 | 1260.00 | 37800.00 | 3431.25 | AIMS BUILDMART PRIVATE LIMITED
47.00 | 12 mm cement plaster of mix :1:4 (1 cement: 4 fine sand). | 170.00 | Sqm |  | 200.00 | 34000.00 | 320.25 | 54442.50 | 300.00 | 51000.00 | 270.00 | 45900.00 | 34000.00 | MINOCHA CONSTRUCTION COMPANY
48.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 100.00 | Sqm |  | 400.00 | 40000.00 | 347.70 | 34770.00 | 325.00 | 32500.00 | 279.00 | 27900.00 | 27900.00 | ATUL LOGISTICS
49.00 | Repair to plaster of thickness 12mm to 20 mm in patches of area 2.5 sqm and under, including cutting the patch in proper shape, raking out joints and preparing plastering the wall surface with white cement based polymer modified self curing mortar, including disposal of rubbish, all complete as per the direction of Engineer-In-Charge. | 100.00 | Sqm |  | 400.00 | 40000.00 | 274.50 | 27450.00 | 500.00 | 50000.00 | 810.00 | 81000.00 | 27450.00 | AIMS BUILDMART PRIVATE LIMITED
50.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.Glazed vitrified floor tiles polished finish of size Size of Tile 600 x 600 mm | 830.00 | Sqm |  | 900.00 | 747000.00 | 1418.25 | 1177147.50 | 1300.00 | 1079000.00 | 1080.00 | 896400.00 | 747000.00 | MINOCHA CONSTRUCTION COMPANY
51.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 830.00 | Sqm |  | 465.00 | -385950.00 | 146.00 | -121180.00 | 300.00 | -249000.00 | 450.00 | -373500.00 | -385950.00 | MINOCHA CONSTRUCTION COMPANY
52.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 830.00 | Sqm |  | 455.00 | 377650.00 | 732.00 | 607560.00 | 300.00 | 249000.00 | 504.00 | 418320.00 | 249000.00 | Classicon Projects India Pvt. Ltd.
53.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc.,., complete. | 396.00 | Sqm |  | 620.00 | 245520.00 | 1143.75 | 452925.00 | 1180.00 | 467280.00 | 1008.00 | 399168.00 | 245520.00 | MINOCHA CONSTRUCTION COMPANY
54.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete.e. | 780.00 | Sqm |  | 760.00 | 592800.00 | 1281.00 | 999180.00 | 1180.00 | 920400.00 | 882.00 | 687960.00 | 592800.00 | MINOCHA CONSTRUCTION COMPANY
55.00 | Providing and fixing of PVC fluted wall panel with a thickness of 12 mm, having a width of 300 mm, and a length as required, with uniform fluting design, including all necessary accessories such as edge profiles, corner beads, and trims. The panels shall have a smooth finish, resistant to moisture and termites, and shall be fixed to the wall surface using approved adhesives or mechanical fasteners, complete as per the design, pattern, and direction of Engineer-in-charge | 180.00 | Sqm |  | 900.00 | 162000.00 | 1464.00 | 263520.00 | 2000.00 | 360000.00 | 306.00 | 55080.00 | 55080.00 | ATUL LOGISTICS
56.00 | Providing & fixing in position Phenol bonded Bamboowood flooring with planks of sizes 14mm thick, 1800mm length (minimum) and 130 mm wide(minimum), in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC). The flooring shall be fixed with tongue and groove interlocking system, with underlayment of 4mm thick expanded polyethylene foam sheets having density 40kg/cum, over prepared surface with necessary quarter round planks of size 1900mm x 18mm and door reducer of size 1900mm x 44mm, wherever required. The bamboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer in-charge. | 90.00 | Sqm |  | 3720.00 | 334800.00 | 3202.50 | 288225.00 | 4800.00 | 432000.00 | 5400.00 | 486000.00 | 288225.00 | AIMS BUILDMART PRIVATE LIMITED
57.00 | Supply and installation of Self Adhesive PVC vinyl wallpaper of approved brand, color, pattern, and texture on interior walls. The wallpaper should be made of high-quality vinyl material with a smooth surface and a minimum thickness of 0.3 mm. It should be resistant to moisture, easy to clean, and have a lifespan of at least 5 years under normal conditions as approved by the Engineer-in-charge | 210.00 | Sqm |  | 635.00 | 133350.00 | 1098.00 | 230580.00 | 900.00 | 189000.00 | 720.00 | 151200.00 | 133350.00 | MINOCHA CONSTRUCTION COMPANY
58.00 | Providing and fixing in position PVC Vinyl Floor planks of approved (make:-greenlam industries ltd. or equivalent) thickness (2mm, 3mm, or 5mm), size, color, texture, and finish, conforming to the manufacturer's specifications. The flooring shall be laid over a prepared surface, with a tongue and groove interlocking system. The installation includes the necessary quarter round planks of size 16mm x 16mm and door reducer of size as required. The flooring shall have appropriate wear resistance, and be water-resistant, UV-coated, and eco-friendly, all complete as per the direction of the Engineer-in-Charge. | 220.00 | Sqm |  | 930.00 | 204600.00 | 1372.50 | 301950.00 | 1000.00 | 220000.00 | 810.00 | 178200.00 | 178200.00 | ATUL LOGISTICS
59.00 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 485.00 | Kg |  | 70.00 | 33950.00 | 105.23 | 51034.13 | 100.00 | 48500.00 | 126.00 | 61110.00 | 33950.00 | MINOCHA CONSTRUCTION COMPANY
60.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 500.00 | Mtrs |  | 220.00 | 110000.00 | 457.50 | 228750.00 | 310.00 | 155000.00 | 360.00 | 180000.00 | 110000.00 | MINOCHA CONSTRUCTION COMPANY
61.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade - Area of slab over 0.50 sqm | 70.00 | Sqm |  | 3060.00 | 214200.00 | 2745.00 | 192150.00 | 3500.00 | 245000.00 | 4500.00 | 315000.00 | 192150.00 | AIMS BUILDMART PRIVATE LIMITED
62.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 30.00 | Mtr |  | 325.00 | 9750.00 | 1464.00 | 43920.00 | 300.00 | 9000.00 | 810.00 | 24300.00 | 9000.00 | Classicon Projects India Pvt. Ltd.
63.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-charge. Granite work | 50.00 | Mtrs |  | 300.00 | 15000.00 | 183.00 | 9150.00 | 150.00 | 7500.00 | 720.00 | 36000.00 | 7500.00 | Classicon Projects India Pvt. Ltd.
64.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 4.00 | Each |  | 580.00 | 2320.00 | 274.50 | 1098.00 | 300.00 | 1200.00 | 2700.00 | 10800.00 | 1098.00 | AIMS BUILDMART PRIVATE LIMITED
65.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Suspended floors, roofs, landings, balconies and access platform. | 4.00 | Sqm |  | 550.00 | 2200.00 | 274.50 | 1098.00 | 800.00 | 3200.00 | 2700.00 | 10800.00 | 1098.00 | AIMS BUILDMART PRIVATE LIMITED
66.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars. | 200.00 | Kg |  | 65.00 | 13000.00 | 77.78 | 15555.00 | 100.00 | 20000.00 | 108.00 | 21600.00 | 13000.00 | MINOCHA CONSTRUCTION COMPANY
67.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.00 | Cum. |  | 6500.00 | 13000.00 | 5490.00 | 10980.00 | 8500.00 | 17000.00 | 10800.00 | 21600.00 | 10980.00 | AIMS BUILDMART PRIVATE LIMITED
68.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length: 20 mm nominal bore | 60.00 | Nos |  | 75.00 | 4500.00 | 137.25 | 8235.00 | 140.00 | 8400.00 | 153.00 | 9180.00 | 4500.00 | MINOCHA CONSTRUCTION COMPANY
69.00 | Dismantling Under counter Washbsin of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in Charge. | 42.00 | Nos |  | 80.00 | 3360.00 | 228.75 | 9607.50 | 100.00 | 4200.00 | 450.00 | 18900.00 | 3360.00 | MINOCHA CONSTRUCTION COMPANY
70.00 | Providing & Fixing Counter top Basin with Fixing Accessories, oval shape Size: Size: 600x400x185mm (Make -Jaguar, Model no. SLS-WHT-6601) or equivalent, all complete fittings as per direction of Engineer In charge | 42.00 | Nos |  | 5810.00 | 244020.00 | 4575.00 | 192150.00 | 5000.00 | 210000.00 | 4500.00 | 189000.00 | 189000.00 | ATUL LOGISTICS
71.00 | Providing and fixing 32mm size Bottle Trap (Make - jaguar, Model no. ALD-769L250x190) or equivalent, complete all specified and directed by Engineer-in-charge. | 86.00 | Nos |  | 1200.00 | 103200.00 | 1098.00 | 94428.00 | 1800.00 | 154800.00 | 1530.00 | 131580.00 | 94428.00 | AIMS BUILDMART PRIVATE LIMITED
72.00 | Providing and fixing long body bib cock with Wall Flange (Make - jaguar, Model no. CON-107KN) or equivalent, complete all specified and directed by Engineer-in-charge. | 9.00 | Nos |  | 1400.00 | 12600.00 | 823.50 | 7411.50 | 1400.00 | 12600.00 | 2700.00 | 24300.00 | 7411.50 | AIMS BUILDMART PRIVATE LIMITED
73.00 | Providing and fixing bib cock with Wall Flange (Make - jaguar, Model no. FON-40037) or equivalent, complete all specified and directed by Engineer-in-charge. | 41.00 | Nos |  | 1670.00 | 68470.00 | 823.50 | 33763.50 | 1100.00 | 45100.00 | 1620.00 | 66420.00 | 33763.50 | AIMS BUILDMART PRIVATE LIMITED
74.00 | Providing and fixing Angle cock with wall flange (Make -jaquar, Model no. KUP-CHR-35053PM) or equivalent , complete all as specified and directed by Engineer-In-Charge. | 37.00 | Nos |  | 1440.00 | 53280.00 | 594.75 | 22005.75 | 1350.00 | 49950.00 | 1530.00 | 56610.00 | 22005.75 | AIMS BUILDMART PRIVATE LIMITED
75.00 | Providing and fixing 2 Way Bib Cock with Wall Flange (Make -Jaguar, Model no. OPP-15041PM) or equivalent , complete all as specified and directed by Engineer-In-Charge. | 37.00 | Nos |  | 2000.00 | 74000.00 | 1235.25 | 45704.25 | 1800.00 | 66600.00 | 1800.00 | 66600.00 | 45704.25 | AIMS BUILDMART PRIVATE LIMITED
76.00 | Providing and fixing "Jaquar" (make model no-ACN-CHR-1135N) C.P brass Liquid Soap Container or equivalent make with necessary screws etc.in toilets as per direction of Engineer-incharge | 41.00 | Nos |  | 1395.00 | 57195.00 | 1098.00 | 45018.00 | 1200.00 | 49200.00 | 1260.00 | 51660.00 | 45018.00 | AIMS BUILDMART PRIVATE LIMITED
77.00 | Providing and fixing toilet paper holder (Make -Jaguar, Model no. ACN-1153S) or equivalent , complete all as specified and directed by Engineer-In-Charge.. | 37.00 | Nos |  | 1100.00 | 40700.00 | 777.75 | 28776.75 | 1000.00 | 37000.00 | 1080.00 | 39960.00 | 28776.75 | AIMS BUILDMART PRIVATE LIMITED
78.00 | Providing and fixing CP brass Hand Shower (Health Faucet) with 8mm Dia,1 Meter Long Flexible Tube & Wall Hook make "Jaquar" Allied ALD-CHR-573 or equivalent complete as per direction of Engineer-in-charge. | 37.00 | Nos |  | 1500.00 | 55500.00 | 1235.25 | 45704.25 | 1450.00 | 53650.00 | 1530.00 | 56610.00 | 45704.25 | AIMS BUILDMART PRIVATE LIMITED
79.00 | Providing and fixing 6x6 inches Exclusive Square Floor Drainer 304-Grade Stainless Steel Floor Drain-Sapphire Exclusive Square with Cockroach Trap/Jali & Collar, complete all as specified and directed by Engineer-In-Charge. | 25.00 | Nos |  | 650.00 | 16250.00 | 228.75 | 5718.75 | 800.00 | 20000.00 | 810.00 | 20250.00 | 5718.75 | AIMS BUILDMART PRIVATE LIMITED
80.00 | Providing and fixing Waste Coupling for wash basin and sink, (Make -Jaguar, Model no. ALD-729) or quivalent.Clack Waste coupling 32mm Size Half Thread With 80mm Height, complete all as specified and directed by Engineer-In-Charge. | 41.00 | Nos |  | 1200.00 | 49200.00 | 457.50 | 18757.50 | 900.00 | 36900.00 | 1170.00 | 47970.00 | 18757.50 | AIMS BUILDMART PRIVATE LIMITED
81.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in Charge | 42.00 | Nos |  | 85.00 | 3570.00 | 320.25 | 13450.50 | 300.00 | 12600.00 | 270.00 | 11340.00 | 3570.00 | MINOCHA CONSTRUCTION COMPANY
82.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitreous China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 41.00 | Nos |  | 65.00 | 2665.00 | 228.75 | 9378.75 | 200.00 | 8200.00 | 180.00 | 7380.00 | 2665.00 | MINOCHA CONSTRUCTION COMPANY
83.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 32.00 | Nos |  | 8900.00 | 284800.00 | 11437.50 | 366000.00 | 10000.00 | 320000.00 | 12700.00 | 406400.00 | 284800.00 | MINOCHA CONSTRUCTION COMPANY
84.00 | Providing and fixing Single Piece Slim Concealed Cistern (Make -Jaguar, Model no. JCS-WHT-2400WS) or equivalent instead of white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres) with Wall Mounting Frame, Installation Kit and “S-Type” Drain Pipe Connection Set for Wall Hung WC (without Flush Control Plate) all complete all as specified and directed by Engineer-In-Charge. | 32.00 | Nos |  | 6700.00 | 214400.00 | 2745.00 | 87840.00 | 8000.00 | 256000.00 | 8100.00 | 259200.00 | 87840.00 | AIMS BUILDMART PRIVATE LIMITED
85.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 32.00 | Nos |  | 200.00 | 6400.00 | 1647.00 | 52704.00 | 1000.00 | 32000.00 | 630.00 | 20160.00 | 6400.00 | MINOCHA CONSTRUCTION COMPANY
86.00 | Providing & fixing White vitreous china water closet squatting pan (Indian type) along with "S" or "P" trap including dismantling of old WC seat and "S" or "P" trap at site complete with all operations including all necessary materials, labour and disposal of dismantled material i/c malba, all complete as per the direction of Engineer-in charge. Long pattern W.C Pan of size 580x440 mm | 9.00 | Nos |  | 2000.00 | 18000.00 | 2287.50 | 20587.50 | 4500.00 | 40500.00 | 5400.00 | 48600.00 | 18000.00 | MINOCHA CONSTRUCTION COMPANY
87.00 | Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal. | 22.00 | Nos |  | 11100.00 | 244200.00 | 13725.00 | 301950.00 | 7000.00 | 154000.00 | 10800.00 | 237600.00 | 154000.00 | Classicon Projects India Pvt. Ltd.
88.00 | Providing and fixing PTMT 15 mm Urinal spreader size 95x69x100 mm with 1/2" BSP thread and shapes, weighing not less than 60 gms. | 22.00 | Nos |  | 65.00 | 1430.00 | 549.00 | 12078.00 | 300.00 | 6600.00 | 540.00 | 11880.00 | 1430.00 | MINOCHA CONSTRUCTION COMPANY
89.00 | Providing and fixing Metropole Flush Valve Dual Flow 32mm Size (Concealed Body) with Exposed Shut Off Provision & Round Flange (3.0/6.0 Lts. Per Flushing), (Make -Jaguar, Model no. FLV-1085N) or equivalent, complete all as specified and directed by Engineer-In-Charge. | 22.00 | Nos |  | 5000.00 | 110000.00 | 3660.00 | 80520.00 | 3500.00 | 77000.00 | 4050.00 | 89100.00 | 77000.00 | Classicon Projects India Pvt. Ltd.
90.00 | Providing & Fixing Under Counter Basin with Fixing Accessories, oval shape Size: 605x430x200 mm (Make -Jaguar, Model no. CNS-WHT-705) or equivalent, all complete fittings as per direction of Engineer In charge | 2.00 | Nos |  | 4835.00 | 9670.00 | 2745.00 | 5490.00 | 3000.00 | 6000.00 | 7200.00 | 14400.00 | 5490.00 | AIMS BUILDMART PRIVATE LIMITED
91.00 | Providing & fixing battery based infrared Sensor Faucet for Wash Basin in Rectangular Shape (9V transformer & Battery Operated) pillar cock, having foam flow technology (Make -Jaguar, Model no. SNR-51033EB) or equivalent. 15 mm nominal bore | 42.00 | Nos |  | 10680.00 | 448560.00 | 8692.50 | 365085.00 | 10500.00 | 441000.00 | 13500.00 | 567000.00 | 365085.00 | AIMS BUILDMART PRIVATE LIMITED
92.00 | Providing & fixing 8 mm thick looking mirror Glass (Saint Gobin / Modi) with round brackets (the glass edges should be smooth rounded properly) as per direction of Engineer-in-charge | 46.00 | Sqm |  | 3000.00 | 138000.00 | 2287.50 | 105225.00 | 3000.00 | 138000.00 | 2610.00 | 120060.00 | 105225.00 | AIMS BUILDMART PRIVATE LIMITED
93.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by echanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete .as per directions of Engineer-in-charge.. | 500.00 | Cum. |  | 200.00 | 100000.00 | 594.75 | 297375.00 | 500.00 | 250000.00 | 306.00 | 153000.00 | 100000.00 | MINOCHA CONSTRUCTION COMPANY
94.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge | 408.00 | Sqm |  | 75.00 | 30600.00 | 366.00 | 149328.00 | 80.00 | 32640.00 | 108.00 | 44064.00 | 30600.00 | MINOCHA CONSTRUCTION COMPANY
95.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 fine sand derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 211.00 | Cum. |  | 4000.00 | 844000.00 | 5032.50 | 1061857.50 | 4500.00 | 949500.00 | 3960.00 | 835560.00 | 835560.00 | ATUL LOGISTICS
96.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge) | 5.00 | Cum. |  | 6000.00 | 30000.00 | 6588.00 | 32940.00 | 9000.00 | 45000.00 | 12600.00 | 63000.00 | 30000.00 | MINOCHA CONSTRUCTION COMPANY
97.00 | Laying old cement cocrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin- charge. (Old CC paver blocks shall be supplied by the department free of cost). | 340.00 | Sqm |  | 240.00 | 81600.00 | 274.50 | 93330.00 | 300.00 | 102000.00 | 360.00 | 122400.00 | 81600.00 | MINOCHA CONSTRUCTION COMPANY
98.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and patte | 2720.00 | Sqm |  | 630.00 | 1713600.00 | 915.00 | 2488800.00 | 900.00 | 2448000.00 | 756.00 | 2056320.00 | 1713600.00 | MINOCHA CONSTRUCTION COMPANY
99.00 | Providing and laying 500x500x40mm thick Turf paver (Turf pave XD) on 150mm thick sub grade of compacted bed of 20mm thick nominal size stone aggregate and base course and filling with 150mm thick jamuna sand including spreading, well ramming, consolidating and finishing smooth etc. all complete as per direction of Engineer-in-charge. | 267.00 | Sqm |  | 1025.00 | 273675.00 | 915.00 | 244305.00 | 1200.00 | 320400.00 | 1080.00 | 288360.00 | 244305.00 | AIMS BUILDMART PRIVATE LIMITED
100.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 408.00 | Sqm |  | 15.00 | 6120.00 | 36.60 | 14932.80 | 50.00 | 20400.00 | 45.00 | 18360.00 | 6120.00 | MINOCHA CONSTRUCTION COMPANY
101.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 408.00 | Sqm |  | 90.00 | 36720.00 | 73.20 | 29865.60 | 100.00 | 40800.00 | 90.00 | 36720.00 | 29865.60 | AIMS BUILDMART PRIVATE LIMITED
102.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.Two coats. | 1540.00 | Sqm |  | 85.00 | 130900.00 | 82.35 | 126819.00 | 120.00 | 184800.00 | 90.00 | 138600.00 | 126819.00 | AIMS BUILDMART PRIVATE LIMITED
103.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre. of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats. | 1124.00 | Sqm |  | 85.00 | 95540.00 | 86.92 | 97703.70 | 150.00 | 168600.00 | 108.00 | 121392.00 | 95540.00 | MINOCHA CONSTRUCTION COMPANY
104.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 33.00 | Sqm |  | 90.00 | 2970.00 | 109.80 | 3623.40 | 180.00 | 5940.00 | 153.00 | 5049.00 | 2970.00 | MINOCHA CONSTRUCTION COMPANY
105.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles. | 538.00 | Sqm |  | 1200.00 | 645600.00 | 984.91 | 529879.43 | 1400.00 | 753200.00 | 1540.00 | 828520.00 | 529879.43 | AIMS BUILDMART PRIVATE LIMITED
106.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 415.00 | Sqm |  | 450.00 | 186750.00 | 549.00 | 227835.00 | 530.00 | 219950.00 | 630.00 | 261450.00 | 186750.00 | MINOCHA CONSTRUCTION COMPANY
107.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 55.00 | Mtr. |  | 300.00 | 16500.00 | 274.50 | 15097.50 | 540.00 | 29700.00 | 450.00 | 24750.00 | 15097.50 | AIMS BUILDMART PRIVATE LIMITED
108.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, ( for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 200.00 | Kg |  | 465.00 | 93000.00 | 100.65 | 20130.00 | 520.00 | 104000.00 | 810.00 | 162000.00 | 20130.00 | AIMS BUILDMART PRIVATE LIMITED
109.00 | Providing and fixing Weather Resistant pigeon Spikes of required width of for Pigeons, Cats, Monkeys, Crows, Kabootars - Protect AC, Balcony, Windows - Easy Install, Weatherproof at all heights inside or outside of terminal buidling of approved make & design as per direction of Engineer in charge.
109.01 | (a)SpikeZone -Plastic made of size 32.5 x 4.2 x 4 cm | 2000.00 | Each |  | 25.00 | 50000.00 | 32.02 | 64050.00 | 33.00 | 66000.00 | 45.00 | 90000.00 | 50000.00 | MINOCHA CONSTRUCTION COMPANY
109.02 | (b)"SPIKEZONE" make of Stainless Steel of 1 Kit Includes 2 Base Plates and V-Shaped Spikes | 100.00 | Each. |  | 600.00 | 60000.00 | 411.75 | 41175.00 | 600.00 | 60000.00 | 630.00 | 63000.00 | 41175.00 | AIMS BUILDMART PRIVATE LIMITED
109.03 | (c)"SPIKEZONE" make Spikes for Bird & Pigeon Stainless Steel Spikes with Polycarbonate Base, Bird Spikes, Pigeon Control Spikes | 1000.00 | Each. |  | 40.00 | 40000.00 | 320.25 | 320250.00 | 65.00 | 65000.00 | 63.00 | 63000.00 | 40000.00 | MINOCHA CONSTRUCTION COMPANY
110.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 150.00 | Cum |  | 4825.00 | 723750.00 | 4392.00 | 658800.00 | 5600.00 | 840000.00 | 6030.00 | 904500.00 | 658800.00 | AIMS BUILDMART PRIVATE LIMITED
111.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 438.00 | Mtr. |  | 185.00 | 81030.00 | 201.30 | 88169.40 | 50.00 | 21900.00 | 270.00 | 118260.00 | 21900.00 | Classicon Projects India Pvt. Ltd.
112.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 26.00 | Each |  | 185.00 | 4810.00 | 457.50 | 11895.00 | 135.00 | 3510.00 | 540.00 | 14040.00 | 3510.00 | Classicon Projects India Pvt. Ltd.
113.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | 100.00 | per bag of 50 kg cement used |  | 11.00 | 1100.00 | 457.50 | 45750.00 | 100.00 | 10000.00 | 126.00 | 12600.00 | 1100.00 | MINOCHA CONSTRUCTION COMPANY
114.00 | Supplying and applying bituminous solution primer on roof and / or wall surface at 0.24 litre per sqm. | 400.00 | Sqm |  | 35.00 | 14000.00 | 146.40 | 58560.00 | 70.00 | 28000.00 | 54.00 | 21600.00 | 14000.00 | MINOCHA CONSTRUCTION COMPANY
115.00 | 4 cm thick bitumastic sheet with hot bitumen of approved quality, using stone chippings (60% with 12.5 mm nominal size and 40% with 10 mm nominal size) @ 2.60 cum per 100 sqm and coarse sand @ 2.60 cum per 100 sqm of road surface and with bitumen @ 56 kg/cum of stone chippings and @ 128 kg/cum of sand over a tack coat with hot straight run bitumen, including consolidation with road roller of 8 to 10 tonne etc. complete. (tack coat to be paid separately) : With paving asphalt grade VG - 30 with no solvent | 900.00 | Sqm |  | 325.00 | 292500.00 | 320.25 | 288225.00 | 500.00 | 450000.00 | 207.00 | 186300.00 | 186300.00 | ATUL LOGISTICS
116.00 | Providing and fixing water proofing material Elephant Shield Liquid Rubber For Long Lasting Waterproofing For Sheet Joints & Bolt Holes Gutter Joints Roof And Wall Crack Solar Panel Damp Wall With required Rf Fabric, Brush etc all complete for water proofing treatment of damaged portion as per manufacturer's specification like cleaning etc all complete as per direction and approval of EIC. | 100.00 | Ltr. |  | 1100.00 | 110000.00 | 1372.50 | 137250.00 | 1000.00 | 100000.00 | 1080.00 | 108000.00 | 100000.00 | Classicon Projects India Pvt. Ltd.
117.00 | Providing and mixing water proofing materia Dr. Fixit Pidiproof LW+ make or equivalent compound of approved Make for mixing with cement for water proofing treatment of damaged portion as per manufacturer's specification like all complete as per direction and approval of EIC. | 150.00 | Ltr. |  | 105.00 | 15750.00 | 137.25 | 20587.50 | 260.00 | 39000.00 | 154.00 | 23100.00 | 15750.00 | MINOCHA CONSTRUCTION COMPANY
118.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 10.00 | Cum. |  | 1350.00 | 13500.00 | 1098.00 | 10980.00 | 1500.00 | 15000.00 | 2070.00 | 20700.00 | 10980.00 | AIMS BUILDMART PRIVATE LIMITED
119.00 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately. Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer | 10.00 | Cum. |  | 7000.00 | 70000.00 | 6222.00 | 62220.00 | 7500.00 | 75000.00 | 8100.00 | 81000.00 | 62220.00 | AIMS BUILDMART PRIVATE LIMITED
120.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 4.00 | Quintal |  | 445.00 | 1780.00 | 640.50 | 2562.00 | 800.00 | 3200.00 | 1260.00 | 5040.00 | 1780.00 | MINOCHA CONSTRUCTION COMPANY
121.00 | Providing and sealing of construction, dummy and expansion joints in concrete pavement with fresh Polysulphide sealent of approved make confirming to BS 5212-1990 or IS : 1433-1995 with backer rod of suitable size, applying bond breaker tape of suitable size over the backer rod, Uc providing temporary strip of adequate size during resurfacing treatment for maintaining the joints, rounding of edges complete as per direction of Engineer-in- charge | 12500.00 | Cucm |  | 2.50 | 31250.00 | 64.05 | 800625.00 | 2.00 | 25000.00 | 4.05 | 50625.00 | 25000.00 | Classicon Projects India Pvt. Ltd.
122.00 | Providing & fixing modular toilet cubicles of Marino / Greenply or equivalent), (of following standard dimension which includes 600mm door size width) made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate panels including doors, pilasters & intermediate panels finished with approved texture/shade as per the detail drawings & as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard. This also includes providing and fixing in position necessary hardware made out of Stainless steel (Grade 304) as per manufacturer’s specifications & Architects instructions like (1) Door Knob, (2) Gravity Hinges, (3) Thumb turn lockset with Occupancy indicators, (4) Coat hooks with Door stopper (5) U- Channels, (6) Adjustable foot/pedestal, (7) Top rail with Corner connector (8) Rubber noise deafening tape, (9) Screws & wall Plugs. The top fitting should consist of SS round top rail which will get fixed with pilasters, with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the ss top rail. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by stainless steel Adjustable Foot. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height up to 150mm. a) Toilet Cubicle I-shape with standard dimension of 2000 - 2100 mm Height x 900 mm Width x 1500mm Depth, which includes 600mm door size width). | 41.00 | Each |  | 34000.00 | 1394000.00 | 25620.00 | 1050420.00 | 23000.00 | 943000.00 | 31500.00 | 1291500.00 | 943000.00 | Classicon Projects India Pvt. Ltd.
123.00 | Providing & fixing modular toilet cubicles of Marino / Greenply or equivalent), (of following standard dimension which includes 600mm door size width) made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate panels including doors, pilasters & intermediate panels finished with approved texture/shade as per the detail drawings & as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard. This also includes providing and fixing in position necessary hardware made out of Stainless steel (Grade 304) as per manufacturer’s specifications & Architects instructions like (1) Door Knob, (2) Gravity Hinges, (3) Thumb turn lockset with Occupancy indicators, (4) Coat hooks with Door stopper (5) U- Channels, (6) Adjustable foot/pedestal, (7) Top rail with Corner connector (8) Rubber noise deafening tape, (9) Screws & wall Plugs. The top fitting should consist of SS round top rail which will get fixed with pilasters, with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the ss top rail. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by stainless steel Adjustable Foot. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height up to 150mm. a) Toilet Cubicle L-shape with standard dimension of 2000 - 2100 mm Height x 900 mm Width x 1500mm Depth, which includes 600mm door size width). | 30.00 | Each. |  | 38000.00 | 1140000.00 | 25620.00 | 768600.00 | 23000.00 | 690000.00 | 32400.00 | 972000.00 | 690000.00 | Classicon Projects India Pvt. Ltd.
124.00 | Providing & fixing of Urinal modular partition of make Merino/ Greenply or equivalent,consisting of 12mm thick compact laminate with HPL Board in single colour and size of 1200mm(H)x500mm(D).Including Besco Make SS hardware for fixing the divider to the wall etc complete as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 25.00 | Each |  | 4400.00 | 110000.00 | 4575.00 | 114375.00 | 5000.00 | 125000.00 | 3600.00 | 90000.00 | 90000.00 | ATUL LOGISTICS
125.00 | Wall painting with Beautification Of Walls With Graffiti Art Work with paint of approved brand and manufacture to give an even shade complete as per direction of Engineer-in- charge | 250.00 | Sqm |  | 450.00 | 112500.00 | 457.50 | 114375.00 | 1000.00 | 250000.00 | 810.00 | 202500.00 | 112500.00 | MINOCHA CONSTRUCTION COMPANY
| Total in Figures |  |  |  |  | 17249425.00 |  | 21737335.70 |  | 20513700.00 |  | 19904778.00
Lowest Amount Quoted BY: MINOCHA CONSTRUCTION COMPANY(17249425.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation work at Agra Tender ID: 2024_AAI_210425_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MINOCHA CONSTRUCTION COMPANY (BID ID -758910) | 17249425.00 | L1
| 2 | ATUL LOGISTICS (BID ID -758510) | 19904778.00 | L2
| 3 | Classicon Projects India Pvt. Ltd. (BID ID -756286) | 20513700.00 | L3
| 4 | AIMS BUILDMART PRIVATE LIMITED (BID ID -758238) | 21737335.70 | L4