## BoQ1
Government eProcurement System Created By: Shailesh Kumar Singh Created Date/Time: 19-Feb-2025 12:35 PM Tender Title: Extension of Apron at Kangra Airport-2024 Tender ID: 2024_AAI_210516_1
Tender Inviting Authority: AGM (Engg-Civil), Airports Authority of India, Kangra Airport
Name of work : - Extension of Apron at Kangra Airport-2024
Contract No Tender ID : 2024_AAI_210516_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MVD CEMENTATION AND CONSTRUCTION PVT LTD (GSTN-02AAHCM5850A1ZZ) BID ID -809319 |  | M/s Raghava Project Constructions Pvt. Ltd. (GSTN-37AAFCR7315B1ZL) BID ID -809575 |  | S G CONSTRUCTIONS (GSTN-07ABMPS3920J1ZB) BID ID -810719 |  | M/s Munish Kumar Bansal Contractor (GSTN-NA) BID ID -810951
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of material by mechanical transport (lead upto 4km): Lime, moorum, building rubbish | 2000.00 | Cum | 0.00 | 200.00 | 400000.00 | 160.00 | 320000.00 | 207.00 | 414000.00 | 125.00 | 250000.00 | 250000.00 | M/s Munish Kumar Bansal Contractor
2.00 | Carriage of material by mechanical transport (lead upto 3km): Earth | 3000.00 | Cum | 0.00 | 200.00 | 600000.00 | 140.00 | 420000.00 | 180.00 | 540000.00 | 125.00 | 375000.00 | 375000.00 | M/s Munish Kumar Bansal Contractor
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift , as directed by Engineer-incharge. All kinds of soil | 11800.00 | Cum | 0.00 | 130.00 | 1534000.00 | 120.00 | 1416000.00 | 108.00 | 1274400.00 | 70.00 | 826000.00 | 826000.00 | M/s Munish Kumar Bansal Contractor
4.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 450.00 | Cum | 0.00 | 120.00 | 54000.00 | 140.00 | 63000.00 | 180.00 | 81000.00 | 70.00 | 31500.00 | 31500.00 | M/s Munish Kumar Bansal Contractor
5.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 11800.00 | Cum | 0.00 | 140.00 | 1652000.00 | 110.00 | 1298000.00 | 81.00 | 955800.00 | 60.00 | 708000.00 | 708000.00 | M/s Munish Kumar Bansal Contractor
6.00 | Excavating, supplying, stacking and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in foundation, trenches, plinth, sides of foundation etc. complete for all lift. | 18000.00 | Cum | 0.00 | 280.00 | 5040000.00 | 500.00 | 9000000.00 | 405.00 | 7290000.00 | 330.00 | 5940000.00 | 5040000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | Cum | 0.00 | 6000.00 | 120000.00 | 7800.00 | 156000.00 | 6300.00 | 126000.00 | 5000.00 | 100000.00 | 100000.00 | M/s Munish Kumar Bansal Contractor
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | 250.00 | Cum | 0.00 | 6000.00 | 1500000.00 | 5350.00 | 1337500.00 | 4950.00 | 1237500.00 | 4700.00 | 1175000.00 | 1175000.00 | M/s Munish Kumar Bansal Contractor
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:4:8(1 Cement : 4 coarse sand (zone-III): 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 110.00 | Cum | 0.00 | 5800.00 | 638000.00 | 4500.00 | 495000.00 | 4500.00 | 495000.00 | 4200.00 | 462000.00 | 462000.00 | M/s Munish Kumar Bansal Contractor
10.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 10.00 | Cum | 0.00 | 7500.00 | 75000.00 | 9300.00 | 93000.00 | 7200.00 | 72000.00 | 5000.00 | 50000.00 | 50000.00 | M/s Munish Kumar Bansal Contractor
11.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 220.00 | Cum | 0.00 | 6400.00 | 1408000.00 | 7000.00 | 1540000.00 | 6300.00 | 1386000.00 | 5000.00 | 1100000.00 | 1100000.00 | M/s Munish Kumar Bansal Contractor
12.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | Cum | 0.00 | 6600.00 | 132000.00 | 8500.00 | 170000.00 | 7650.00 | 153000.00 | 5000.00 | 100000.00 | 100000.00 | M/s Munish Kumar Bansal Contractor
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc for mass concrete | 350.00 | Sqm | 0.00 | 200.00 | 70000.00 | 440.00 | 154000.00 | 306.00 | 107100.00 | 250.00 | 87500.00 | 70000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls any thickness including attached pilasters, buttresses, plinth and string courses etc | 900.00 | Sqm | 0.00 | 200.00 | 180000.00 | 550.00 | 495000.00 | 450.00 | 405000.00 | 400.00 | 360000.00 | 180000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
15.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 145.00 | Sqm | 0.00 | 200.00 | 29000.00 | 500.00 | 72500.00 | 450.00 | 65250.00 | 350.00 | 50750.00 | 29000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
16.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Columns, Pillars, Piers, Abutments, Posts and Struts | 250.00 | Sqm | 0.00 | 200.00 | 50000.00 | 550.00 | 137500.00 | 450.00 | 112500.00 | 350.00 | 87500.00 | 50000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 26500.00 | Kg | 0.00 | 76.00 | 2014000.00 | 82.00 | 2173000.00 | 76.50 | 2027250.00 | 65.00 | 1722500.00 | 1722500.00 | M/s Munish Kumar Bansal Contractor
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2500.00 | Kg | 0.00 | 76.00 | 190000.00 | 82.00 | 205000.00 | 76.50 | 191250.00 | 65.00 | 162500.00 | 162500.00 | M/s Munish Kumar Bansal Contractor
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | Cum | 0.00 | 6800.00 | 136000.00 | 7000.00 | 140000.00 | 7200.00 | 144000.00 | 5900.00 | 118000.00 | 118000.00 | M/s Munish Kumar Bansal Contractor
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 100.00 | Cum | 0.00 | 6800.00 | 680000.00 | 7478.00 | 747800.00 | 7650.00 | 765000.00 | 5900.00 | 590000.00 | 590000.00 | M/s Munish Kumar Bansal Contractor
21.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | 110.00 | Cum | 0.00 | 4200.00 | 462000.00 | 6000.00 | 660000.00 | 4050.00 | 445500.00 | 4500.00 | 495000.00 | 445500.00 | S G CONSTRUCTIONS
22.00 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level and the like. Cement mortar 1:6 (1 cement : 6 coarse sand) | 25.00 | Cum | 0.00 | 4200.00 | 105000.00 | 6900.00 | 172500.00 | 4500.00 | 112500.00 | 4500.00 | 112500.00 | 105000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
23.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 100.00 | Kg | 0.00 | 110.00 | 11000.00 | 125.00 | 12500.00 | 126.00 | 12600.00 | 70.00 | 7000.00 | 7000.00 | M/s Munish Kumar Bansal Contractor
24.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 490.00 | Sqm | 0.00 | 400.00 | 196000.00 | 275.00 | 134750.00 | 270.00 | 132300.00 | 200.00 | 98000.00 | 98000.00 | M/s Munish Kumar Bansal Contractor
25.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 490.00 | Sqm | 0.00 | 450.00 | 220500.00 | 290.00 | 142100.00 | 360.00 | 176400.00 | 220.00 | 107800.00 | 107800.00 | M/s Munish Kumar Bansal Contractor
26.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 210.00 | Sqm | 0.00 | 300.00 | 63000.00 | 275.00 | 57750.00 | 306.00 | 64260.00 | 170.00 | 35700.00 | 35700.00 | M/s Munish Kumar Bansal Contractor
27.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 ltr/10 sqm) | 1190.00 | Sqm | 0.00 | 200.00 | 238000.00 | 140.00 | 166600.00 | 117.00 | 139230.00 | 70.00 | 83300.00 | 83300.00 | M/s Munish Kumar Bansal Contractor
28.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work | 30.00 | Sqm | 0.00 | 200.00 | 6000.00 | 150.00 | 4500.00 | 234.00 | 7020.00 | 70.00 | 2100.00 | 2100.00 | M/s Munish Kumar Bansal Contractor
29.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 10.00 | Sqm | 0.00 | 200.00 | 2000.00 | 155.00 | 1550.00 | 180.00 | 1800.00 | 70.00 | 700.00 | 700.00 | M/s Munish Kumar Bansal Contractor
30.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - In -Charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 370.00 | Cum | 0.00 | 1800.00 | 666000.00 | 600.00 | 222000.00 | 720.00 | 266400.00 | 500.00 | 185000.00 | 185000.00 | M/s Munish Kumar Bansal Contractor
31.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 130.00 | Cum | 0.00 | 200.00 | 26000.00 | 500.00 | 65000.00 | 450.00 | 58500.00 | 300.00 | 39000.00 | 26000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
32.00 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: Channels, angles, tees and flats | 385.00 | Kg | 0.00 | 20.00 | 7700.00 | 30.00 | 11550.00 | 13.50 | 5197.50 | 3.00 | 1155.00 | 1155.00 | M/s Munish Kumar Bansal Contractor
33.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 150.00 | Sqm | 0.00 | 20.00 | 3000.00 | 150.00 | 22500.00 | 81.00 | 12150.00 | 25.00 | 3750.00 | 3000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
34.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 1540.00 | Cum | 0.00 | 90.00 | 138600.00 | 150.00 | 231000.00 | 270.00 | 415800.00 | 500.00 | 770000.00 | 138600.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
35.00 | Extra for compaction of earth work in embankment under optimum moisture conditions to give at least 95% of the maximum dry density (proctor density). | 18000.00 | Cum | 0.00 | 134.00 | 2412000.00 | 25.00 | 450000.00 | 18.00 | 324000.00 | 50.00 | 900000.00 | 324000.00 | S G CONSTRUCTIONS
36.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. New work (Two or more coats) | 2000.00 | Sqm | 0.00 | 388.00 | 776000.00 | 140.00 | 280000.00 | 144.00 | 288000.00 | 110.00 | 220000.00 | 220000.00 | M/s Munish Kumar Bansal Contractor
37.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. Old work (One or more coats) | 1000.00 | Sqm | 0.00 | 378.00 | 378000.00 | 80.00 | 80000.00 | 117.00 | 117000.00 | 70.00 | 70000.00 | 70000.00 | M/s Munish Kumar Bansal Contractor
38.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 10.00 | Cum | 0.00 | 9500.00 | 95000.00 | 11000.00 | 110000.00 | 9000.00 | 90000.00 | 12000.00 | 120000.00 | 90000.00 | S G CONSTRUCTIONS
39.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 1110.00 | Sqm | 0.00 | 66.00 | 73260.00 | 70.00 | 77700.00 | 63.00 | 69930.00 | 70.00 | 77700.00 | 69930.00 | S G CONSTRUCTIONS
40.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 200.00 | Sqm | 0.00 | 950.00 | 190000.00 | 810.00 | 162000.00 | 900.00 | 180000.00 | 650.00 | 130000.00 | 130000.00 | M/s Munish Kumar Bansal Contractor
41.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm dia RCC pipes. | 20.00 | Mtr. | 0.00 | 9000.00 | 180000.00 | 5500.00 | 110000.00 | 3060.00 | 61200.00 | 3000.00 | 60000.00 | 60000.00 | M/s Munish Kumar Bansal Contractor
42.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 600 mm dia RCC pipes. | 30.00 | Mtr. | 0.00 | 7600.00 | 228000.00 | 7500.00 | 225000.00 | 3690.00 | 110700.00 | 3500.00 | 105000.00 | 105000.00 | M/s Munish Kumar Bansal Contractor
43.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating, dressing to camber and consolidating with road roller including making good the undulations etc. and and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. | 18000.00 | Sqm | 0.00 | 70.00 | 1260000.00 | 45.00 | 810000.00 | 54.00 | 972000.00 | 50.00 | 900000.00 | 810000.00 | M/s Raghava Project Constructions Pvt. Ltd.
44.00 | Preparation of granular sub-base by providing close graded material, conforming to specifications mixing in a mechanical mix plant at OMC, carriage of mixed material by mechanical transport to work site, for all leads and lifts, spreading in uniform layers of specified thickness with mechanical means including neatly leveling & dressing on prepared surface and compacting with vibratory power roller to achieve the desired density, complete and as per direction of Engineer-in-charge. With material conforming to grading II of Table I of Particular Specifications. | 2700.00 | Cum | 0.00 | 2044.00 | 5518800.00 | 1700.00 | 4590000.00 | 2160.00 | 5832000.00 | 2000.00 | 5400000.00 | 4590000.00 | M/s Raghava Project Constructions Pvt. Ltd.
45.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by mechanical transport to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base /base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 2700.00 | Cum | 0.00 | 2200.00 | 5940000.00 | 2250.00 | 6075000.00 | 2340.00 | 6318000.00 | 2500.00 | 6750000.00 | 5940000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
46.00 | Providing and laying dry lean cement concrete with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 26.5 mm, aggregate cement ratio not exceed 15:1, aggregate gradation after blending to be as per specification, cement content not to be less than 150 kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 MPa at 7 days, mixed in a batching plant as per mix design, transported to site, laid with a paver with electronic sensor, compacting with 8-10 tonne vibratory roller, finishing and curing etc complete as per specification and direction of the Engineer-in-Charge. | 2200.00 | Cum | 0.00 | 4760.00 | 10472000.00 | 4200.00 | 9240000.00 | 3420.00 | 7524000.00 | 3800.00 | 8360000.00 | 7524000.00 | S G CONSTRUCTIONS
47.00 | Providing and laying Pavement Quality Concrete (PQC) produced in a batching and mixing plant having a Characteristic flexural strength i.e. flexural strength of 4.1 MPa at 28 days using Ordinary Portland cement of 43/53 grade or Portland Pozzolana Cement or Portland Slag cement conforming as per relevant IS codes, to be mixed at site, with 0.5% Super plasticizer by mass of cementitious material, fine aggregate, graded stone aggregates of 40 mm nominal size in appropriate proportion as per specification and job mix formula, laid in panels as per drawings/design as approved by the Engineer-In-Charge using Slip Form Paver or Fixed form paver including anti friction layer, joint filler board, making necessary provision for expansion, dummy and construction joint including filling with Polysulphide sealant of approved make, curing and making profile, complete as per direction of Engineer-in-Charge and specifications. The item for execution shall include all operations making pavement for intended use but not limited to following: (i) Polyethylene sheet (White in color) of thickness 400 micron conforming to IS: 2508 with 6mm thick fine sand layer. (ii) Providing and laying in position for expansion joint, 25mm thick pre-cut Synthetic joint filler board of approved make conforming to IS:1838(part 3)-2011, 45 mm from top (to be removed at the time of filling of Polysulphide sealant). (iii) Mechanically cutting dummy joints 3mm wide x 1/3rd thickness of slab which is subsequently widened to 10mm for the top 25mm depth and construction joints 10mm wide x 25mm deep as per specification. (iv) Providing and laying in position Polysulphide sealant of approved make conforming to BS-5212-1990 or IS: 11433-1995 in expansion/ construction / dummy joints including rounding off edges, applying 2 coats of approved primer compatible with the brand of Polysulphide and preparing the surface and applying masking tape along the edge of joint to prevent accidental spillage of sealant on top surface and to give neat finish to the sealant and removing the masking tape after application of sealant etc. as per the details below: (a) Expansion Joints of size 25 mm wide and 10 mm deep over 30mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications and sketch at Appendix-‘A’. (b) Construction Joints of size 10 mm wide and 10 mm deep over 12mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications and sketch at Appendix-‘A’. (c) Dummy Joints of size 10 mm wide and 10 mm deep over 12 mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications and sketch at Appendix-‘A’. (v) Making profile as per DGCA CAR, panel drawing showing dummy, construction, expansion joints location. Note: (i) Areas inaccessible to paving equipment shall be constructed by manual/hand guided method. Areas in which manual/hand guided methods of construction become indispensable shall be got approved by the Engineer-in-Charge in writing in advance. (ii) The quantity of cement, type of cement and super plasticizer for one Cum. of finished concrete specified are for tendering purpose only. The contractor shall quote his rates assuming quantity of OPC cement as 360 Kg/Cum or 400 Kg of Portland Pozzolana Cement/ Portland Slag cement. In addition, if the actual quantity of cement & super plasticizer required as per laboratory mix design varies from the quantity assumed above, necessary cost adjustment for deviation in the quantity of cement and super plasticizer as per mix design, if any, shall be done as per the rate of cement and super plasticizer in actual supply voucher from manufacturer/authorized dealer at the time of execution. In the case of authorized distributor, the rate may be authenticated by the manufacturer. The rate of cement and super plasticizer exclusive of GST shall only be considered for payment. | 4300.00 | Cum | 0.00 | 7560.00 | 32508000.00 | 6000.00 | 25800000.00 | 6750.00 | 29025000.00 | 5800.00 | 24940000.00 | 24940000.00 | M/s Munish Kumar Bansal Contractor
48.00 | Providing, Laying and Jointing of half cut hume pipe in saucer drain near boundary wall to channelize run-off during rains and enable the controlled movement of water away from boundary wall towards existing drains inside the operational area as per the directions and satisfaction of Engineer-in-Charge. | 100.00 | Mtr. | 0.00 | 8000.00 | 800000.00 | 1600.00 | 160000.00 | 504.00 | 50400.00 | 450.00 | 45000.00 | 45000.00 | M/s Munish Kumar Bansal Contractor
49.00 | Construction of Embankment with available excavated earth at site with all lifts and leads in layers graded and compacted to meet the requirements as per MORTH latest specification etc., complete as directed by Engineer-in-charge. | 3000.00 | Cum | 0.00 | 150.00 | 450000.00 | 200.00 | 600000.00 | 270.00 | 810000.00 | 150.00 | 450000.00 | 450000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD, M/s Munish Kumar Bansal Contractor
50.00 | Suppllying of stone dust and mixing the same with available soil uniformily at site as per the prescribed ratio to achieve CBR value of 15 as per the direction of Engineer-in-charge. | 600.00 | Cum | 0.00 | 1300.00 | 780000.00 | 900.00 | 540000.00 | 1530.00 | 918000.00 | 1500.00 | 900000.00 | 540000.00 | M/s Raghava Project Constructions Pvt. Ltd.
51.00 | Providing and fixing unplasticised rigid PVC pipe of 110mm dia (Working Pressure 4 kg/sq.cm) conforming to IS:13592 Type A, of requisite length in Brick wall / Stone Masonry/R.C.C. wall at the time of construction of wall, all complete including cutting, fixing, jointing, covering with cement mortar, etc as per direction of E.I.C. For weep holes in retaining walls. | 60.00 | Mtr. | 0.00 | 200.00 | 12000.00 | 850.00 | 51000.00 | 270.00 | 16200.00 | 200.00 | 12000.00 | 12000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD, M/s Munish Kumar Bansal Contractor
52.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 4 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 200.00 | Mtr. | 0.00 | 650.00 | 130000.00 | 380.00 | 76000.00 | 378.00 | 75600.00 | 280.00 | 56000.00 | 56000.00 | M/s Munish Kumar Bansal Contractor
53.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) Note: Bricks to be supplied by department | 40.00 | Cum | 0.00 | 7000.00 | 280000.00 | 3000.00 | 120000.00 | 2700.00 | 108000.00 | 2000.00 | 80000.00 | 80000.00 | M/s Munish Kumar Bansal Contractor
54.00 | Dismantling punched tape concertina coil in fencing including stacking within 50 metres lead. | 120.00 | Mtr. | 0.00 | 100.00 | 12000.00 | 120.00 | 14400.00 | 90.00 | 10800.00 | 50.00 | 6000.00 | 6000.00 | M/s Munish Kumar Bansal Contractor
55.00 | Supplying and placing in position sand bags filled with fine sand in excavated area adjacent to Runway/ Apron/ Taxiway to cover full depth of excavation for safety of aircraft operations with red flag markings complete in all respect as per the directions of ATC safety team and EIC. | 600.00 | Each | 0.00 | 200.00 | 120000.00 | 90.00 | 54000.00 | 45.00 | 27000.00 | 25.00 | 15000.00 | 15000.00 | M/s Munish Kumar Bansal Contractor
56.00 | Shifting and Replacement of existing sand bags excavated area adjacent to Runway/ Apron/ Taxiway after completion of days work and before start of work the next day including cleaning of adjoining operational pavements for safety of flight operations complete as per the directions of ATC safety team and EIC. | 1800.00 | Each | 0.00 | 200.00 | 360000.00 | 75.00 | 135000.00 | 18.00 | 32400.00 | 20.00 | 36000.00 | 32400.00 | S G CONSTRUCTIONS
57.00 | Deduct for taking away of steel work on frames, shutters, trusses ,channels,beams,Tee,angles,bolts washers,barbed wires,concertina coils, bars in R.C.C. Standards post/ struts etc and other similar materials received from dismantling The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer- in-charge. | 100.00 | Kg | 0.00 | 33.00 | -3300.00 | 10.00 | -1000.00 | 18.00 | -1800.00 | 30.00 | -3000.00 | -3300.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
58.00 | Credit item for dismantling of old building and stores (Plan area of 485 Sqm) adjacent to Apron and Runway falling under proposed expansion of Apron and new Taxiway, disposal of all dismantled material/ malba beyond Airport premises, taking away all the salvage material clearing site neat & clean complete in all respect as per direction of Engineer In Charge. NOTE: 1. This is a credit item and quoted amount for this item shall be deducted from agency from BOQ amount for all other items. 2. Agency is not allowed to quote less than Rs. 2,10,508 for this item. If any agency shall quote less than the this amount then the deduction from agency shall be Rs. 2,10,508 and L1 bidder shall be adjudged accordingly. | 1.00 | Job | 0.00 | 210508.00 | -210508.00 | 210508.00 | -210508.00 | 216000.00 | -216000.00 | 300000.00 | -300000.00 | -300000.00 | M/s Munish Kumar Bansal Contractor
59.00 | Supply of Elevated type Omni-directional Medium Intensity LED Taxiway Edge Light fitting suitable for Taxiway, Apron Edge Lights for use on a constant current series 6.6 A (Secondary rating), complete with Omni-directional Blue Lens with supporting mechanism, Lens clamping mechanism, breakable coupling, two pin secondary leads, base plate with neoprene gasket have 06 Nos bolt hole to receive M-10 stainless steel bolts alongwith other accessories including White LED with an integrated encapsulated electronic module as required and meeting the requirements of ICAO/FAA specifications. | 46.00 | Each | 0.00 | 12500.00 | 575000.00 | 14500.00 | 667000.00 | 4230.00 | 194580.00 | 4300.00 | 197800.00 | 194580.00 | S G CONSTRUCTIONS
60.00 | Supply of 5 KV, 6.6 A/6.6 A, 50 Hz rubber encapsulated Isolating transformer suitable for individual series lamps airport lighting circuits. The transformer shall be designed to be water proof and suitable for direct burial in the earth or installation in a base, conforming to IS:12290 (latest edition) with up to amendments complete as per specifications attached. 15 watts, 6.6A/6.6A | 60.00 | Each | 0.00 | 4850.00 | 291000.00 | 5650.00 | 339000.00 | 3330.00 | 199800.00 | 2600.00 | 156000.00 | 156000.00 | M/s Munish Kumar Bansal Contractor
61.00 | Supply of 6 Sqmm Plug and Receptacle of type I, class B connector & suitable field attachment with 5 KV grade XLPE insulated PE sheathed single core screened copper conductor cable as required. | 100.00 | SET | 0.00 | 850.00 | 85000.00 | 1200.00 | 120000.00 | 522.00 | 52200.00 | 475.00 | 47500.00 | 47500.00 | M/s Munish Kumar Bansal Contractor
62.00 | Supply of CI transformer housing box, water tight round type metal container of outside dia 330 mm and of 450 mm height made of 10 mm thick all round except on top surface which is 15 mm thick cast iron moulding suitable to receive a light fitting-base plate on the top and having a clear opening of 220 mm dia hole centre and 6 nos tapped holes at hole centre of 260 mm to receive M-10 stainless steel bolts with light fitting base plate. The housing box shall have a clear hole at one side surface 75mm above bottom surface suitable to one no of 50mm dia, B class GI pipe, check nut, two numbers earth bolts of M 10 x 30 mm welded inside near the hole ( 4'' away from the hole centre), a drain hole at the bottom suitably tapped to receive 15mm dia "B" class GI pipe etc., complete as required. | 100.00 | Each | 0.00 | 8100.00 | 810000.00 | 2200.00 | 220000.00 | 6165.00 | 616500.00 | 4200.00 | 420000.00 | 220000.00 | M/s Raghava Project Constructions Pvt. Ltd.
63.00 | Supply of 5kV single core, stranded copper conductor, XLPE insulated, PE sheathed, unshielded airfield lighting cable conforming to IS-7098 Part-2 as amended upto date. 1 core X 6 sq. mm. | 1000.00 | Mtr. | 0.00 | 215.00 | 215000.00 | 250.00 | 250000.00 | 108.00 | 108000.00 | 95.00 | 95000.00 | 95000.00 | M/s Munish Kumar Bansal Contractor
64.00 | Supply of 2X4 Sq.mm secondary lead EPR insulated, CPE sheathed, unshielded type secondary cable made out of copper conductor, upto 1 kV grade cable as specified suitable for AFL as required. | 200.00 | Mtr. | 0.00 | 235.00 | 47000.00 | 120.00 | 24000.00 | 261.00 | 52200.00 | 150.00 | 30000.00 | 24000.00 | M/s Raghava Project Constructions Pvt. Ltd.
65.00 | Supply of 5 KV, 6.6 A/6.6 A, 50 Hz rubber encapsulated Isolating transformer suitable for individual series lamps airport lighting circuits. The transformer shall be designed to be water proof and suitable for direct burial in the earth or installation in a base, conforming to IS:12290 (latest edition) with up to amendments complete as per specifications attached. 45 watts, 6.6A/6.6A | 30.00 | Each | 0.00 | 4650.00 | 139500.00 | 6350.00 | 190500.00 | 5760.00 | 172800.00 | 3700.00 | 111000.00 | 111000.00 | M/s Munish Kumar Bansal Contractor
66.00 | Supply of 16 Sqmm Plug and Receptacle of type I, class B connector & suitable field attachment with 5 KV grade XLPE insulated PE sheathed single core screened copper conductor cable as required. | 40.00 | SET | 0.00 | 950.00 | 38000.00 | 1100.00 | 44000.00 | 540.00 | 21600.00 | 475.00 | 19000.00 | 19000.00 | M/s Munish Kumar Bansal Contractor
67.00 | Supply of MS blanking/blind plate of outside dia 330 mm, 10 mm thick and having 6 nos holes tapped at hole centre of 260 mm to receive M-10 stainless steel bolts for use with CI Box including supplying of 6 nos M-10 stainless steel bolts. | 20.00 | Each | 0.00 | 1250.00 | 25000.00 | 500.00 | 10000.00 | 1530.00 | 30600.00 | 1000.00 | 20000.00 | 10000.00 | M/s Raghava Project Constructions Pvt. Ltd.
68.00 | Supply of following size of 1.1KV grade multicore stranded aluminium conductor XLPE insulated & PVC sheathed armoured cable as per IS: 7098 (Part-1) 1988 complete as required & as per enclosed specification. (4 core, 25 Sq.mm. ) | 800.00 | Mtr. | 0.00 | 315.00 | 252000.00 | 140.00 | 112000.00 | 306.00 | 244800.00 | 105.00 | 84000.00 | 84000.00 | M/s Munish Kumar Bansal Contractor
69.00 | Supply of following size of 1.1KV grade multicore stranded aluminium conductor XLPE insulated & PVC sheathed armoured cable as per IS: 7098 (Part-1) 1988 complete as required & as per enclosed specification. (3.5 core, 35 Sq.mm. ) | 300.00 | Mtr. | 0.00 | 350.00 | 105000.00 | 200.00 | 60000.00 | 360.00 | 108000.00 | 400.00 | 120000.00 | 60000.00 | M/s Raghava Project Constructions Pvt. Ltd.
70.00 | Supply of following size of 1.1KV grade multicore stranded aluminium conductor XLPE insulated & PVC sheathed armoured cable as per IS: 7098 (Part-1) 1988 complete as required & as per enclosed specification. (3.5 core, 70 Sq.mm. ) | 150.00 | Mtr. | 0.00 | 630.00 | 94500.00 | 350.00 | 52500.00 | 594.00 | 89100.00 | 1000.00 | 150000.00 | 52500.00 | M/s Raghava Project Constructions Pvt. Ltd.
71.00 | Supply of following size of 1.1KV grade multicore stranded aluminium conductor XLPE insulated & PVC sheathed armoured cable as per IS: 7098 (Part-1) 1988 complete as required & as per enclosed specification. (3.5 core, 120 Sq.mm. ) | 200.00 | Mtr. | 0.00 | 980.00 | 196000.00 | 500.00 | 100000.00 | 756.00 | 151200.00 | 1700.00 | 340000.00 | 100000.00 | M/s Raghava Project Constructions Pvt. Ltd.
72.00 | Supply, installation, testing and commissioning of LED Guidance Sign Board of various sizes as per ICAO Annex.14 Vol.I (legends as approved by Engineer-in-Charge) made out of anodized 2mm thick Aluminum frame with suitable angle support and 1.5mm thick (minimum) Al. back cover, 4 mm thick polycarbonate sheet with glare free front face, the letter & symbol should be screen printed on inside of sign face made of self adhesive film of 3M applied on the inside face with required coloring, suitable arrangement shall be made for water tightness & locking arrangement, including supporting frangible legs & frame etc. signboard shall be uniformly internally illuminated with required number of LED lights with 24 V DC converter to achieve illumination level operated on input source 2.5A to 6.6A constant current without flickering complete as required and as specified | 12.00 | Sqm | 0.00 | 32000.00 | 384000.00 | 22000.00 | 264000.00 | 46800.00 | 561600.00 | 54000.00 | 648000.00 | 264000.00 | M/s Raghava Project Constructions Pvt. Ltd.
73.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) of nominal size 150 mm all round the frame with depth of 400 mm and total base of 150 mm thick cement concrete, 1500 mm from all edges of the board as per attached drawing including excavation, finishing and leveling of ground, etc. complete as required. | 10.00 | Cum | 0.00 | 9500.00 | 95000.00 | 7200.00 | 72000.00 | 10800.00 | 108000.00 | 6200.00 | 62000.00 | 62000.00 | M/s Munish Kumar Bansal Contractor
74.00 | Dismantling of elevated type MIRL/HIRL fitting from the existing transformer housing box i/c removal of isolating transformer, connectors kit, breakable coupling, base plate, lens, filters, lamps & other accessories and stacking the same carefully as required. | 64.00 | Job | 0.00 | 1250.00 | 80000.00 | 1000.00 | 64000.00 | 270.00 | 17280.00 | 70.00 | 4480.00 | 4480.00 | M/s Munish Kumar Bansal Contractor
75.00 | Installation, testing & commissioning of elevated MIRL/HIRL fitting on the existing transformer housing box i/c installation of breakable coupling, base plate, lens, filters, lamps, & other accessories including isolating transformer, alignment, levelling & earth connection etc. as required. | 110.00 | Job | 0.00 | 2000.00 | 220000.00 | 2000.00 | 220000.00 | 333.00 | 36630.00 | 250.00 | 27500.00 | 27500.00 | M/s Munish Kumar Bansal Contractor
76.00 | Making field connections of 5kV grade 6 sq.mm / 16 sq. mm XLPE insulated, PVC sheathed copper conductor single core cable with 5kV grade plug and receptacle of 6 sq.mm / 16 Sq. mm including filling the gap with water sealant material and HT tape suitable for field connections complete as required. | 100.00 | Each | 0.00 | 1250.00 | 125000.00 | 1200.00 | 120000.00 | 333.00 | 33300.00 | 170.00 | 17000.00 | 17000.00 | M/s Munish Kumar Bansal Contractor
77.00 | Installation of Transformer housing boxes by excavation of earth upto depth of 525 mm with a base concrete of 1:3:6 of size 630mm all round with 100 mm thick base and 150 mm thick concrete of 1:2:4 shall be filled all round CI Box, the top of concrete sloped away including providing and fixing 250 mm long 15mm dia "B" class GI pipe with check nut for drainage of water complete as required as per the technical specification. (wherever the transformers boxes are to be installed in a line, the same has to be aligned in such a way that the centre fall in a straight line) etc. complete as required. | 100.00 | Job | 0.00 | 2350.00 | 235000.00 | 1800.00 | 180000.00 | 3330.00 | 333000.00 | 2400.00 | 240000.00 | 180000.00 | M/s Raghava Project Constructions Pvt. Ltd.
78.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required Upto 35 sq. mm | 400.00 | Mtr. | 0.00 | 245.00 | 98000.00 | 281.00 | 112400.00 | 414.00 | 165600.00 | 300.00 | 120000.00 | 98000.00 | MVD CEMENTATION AND CONSTRUCTION PVT LTD
79.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required Above 35 sqmm and upto 95 sqmm | 100.00 | Mtr. | 0.00 | 365.00 | 36500.00 | 288.00 | 28800.00 | 54.00 | 5400.00 | 300.00 | 30000.00 | 5400.00 | S G CONSTRUCTIONS
80.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required Above 95 sqmm and upto 185 sqmm | 200.00 | Mtr. | 0.00 | 376.00 | 75200.00 | 310.00 | 62000.00 | 72.00 | 14400.00 | 300.00 | 60000.00 | 14400.00 | S G CONSTRUCTIONS
81.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required Upto 35 sq. mm | 500.00 | Mtr. | 0.00 | 240.00 | 120000.00 | 100.00 | 50000.00 | 72.00 | 36000.00 | 300.00 | 150000.00 | 36000.00 | S G CONSTRUCTIONS
82.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in existing RCC / HUME /METAL/ HDPE pipe as required Upto 35 sq. mm | 100.00 | Mtr. | 0.00 | 35.00 | 3500.00 | 27.00 | 2700.00 | 54.00 | 5400.00 | 25.00 | 2500.00 | 2500.00 | M/s Munish Kumar Bansal Contractor
83.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in existing RCC / HUME /METAL/ HDPE pipe as required Above 35 sqmm and upto 95 sqmm | 100.00 | Mtr. | 0.00 | 55.00 | 5500.00 | 35.00 | 3500.00 | 54.00 | 5400.00 | 40.00 | 4000.00 | 3500.00 | M/s Raghava Project Constructions Pvt. Ltd.
84.00 | Laying of 40 mm dia HDPE pipe alongwith all accessories like socket, bend, couplers etc. complete with fitting, cutting, jointing etc, direct in ground (90 cm below ground level) including excavation and refilling the trench but excluding ssand cushioning and protective covering etc., complete as required. | 1000.00 | Mtr. | 0.00 | 213.00 | 213000.00 | 120.00 | 120000.00 | 180.00 | 180000.00 | 130.00 | 130000.00 | 120000.00 | M/s Raghava Project Constructions Pvt. Ltd.
85.00 | Laying of one no. PVC insulated & PVC sheathed AFL cable of 5 KV grade size upto 25 sqmm in the existing RCC/ METAL/HDPE/Open Trench pipe as required. | 1000.00 | Mtr. | 0.00 | 45.00 | 45000.00 | 55.00 | 55000.00 | 45.00 | 45000.00 | 25.00 | 25000.00 | 25000.00 | M/s Munish Kumar Bansal Contractor
86.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4c x 25 sq. mm (28 mm) | 6.00 | Each | 0.00 | 300.00 | 1800.00 | 300.00 | 1800.00 | 540.00 | 3240.00 | 250.00 | 1500.00 | 1500.00 | M/s Munish Kumar Bansal Contractor
87.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5c x 120 sq. mm (45 mm) | 2.00 | Each | 0.00 | 550.00 | 1100.00 | 3300.00 | 6600.00 | 1260.00 | 2520.00 | 500.00 | 1000.00 | 1000.00 | M/s Munish Kumar Bansal Contractor
88.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 4c x 25 sq. mm | 2.00 | Each | 0.00 | 2250.00 | 4500.00 | 1100.00 | 2200.00 | 2700.00 | 5400.00 | 2000.00 | 4000.00 | 2200.00 | M/s Raghava Project Constructions Pvt. Ltd.
89.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5c x 35 sq. mm | 4.00 | Each | 0.00 | 2250.00 | 9000.00 | 1200.00 | 4800.00 | 3600.00 | 14400.00 | 2000.00 | 8000.00 | 4800.00 | M/s Raghava Project Constructions Pvt. Ltd.
90.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5c x 70 sq. mm | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 2200.00 | 4400.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 4400.00 | M/s Raghava Project Constructions Pvt. Ltd.
91.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3.5c x 120 sq. mm | 2.00 | Each | 0.00 | 3140.00 | 6280.00 | 2400.00 | 4800.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 4800.00 | M/s Raghava Project Constructions Pvt. Ltd.
92.00 | Earthing with G.I. earth plate 600 mm x 600 mm x 6 mm thick including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/coke and salt as required. | 15.00 | Set | 0.00 | 7100.00 | 106500.00 | 8000.00 | 120000.00 | 9000.00 | 135000.00 | 5000.00 | 75000.00 | 75000.00 | M/s Munish Kumar Bansal Contractor
93.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 50.00 | Mtr. | 0.00 | 135.00 | 6750.00 | 120.00 | 6000.00 | 720.00 | 36000.00 | 90.00 | 4500.00 | 4500.00 | M/s Munish Kumar Bansal Contractor
94.00 | Providing and fixing 25mm x 5mm G.I. strip in 40mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring washer excavation and re-filling etc. as required. | 100.00 | Mtr. | 0.00 | 695.00 | 69500.00 | 1400.00 | 140000.00 | 990.00 | 99000.00 | 550.00 | 55000.00 | 55000.00 | M/s Munish Kumar Bansal Contractor
95.00 | Providing and Laying of 6 SWG GI wire in existing Metal/ HDPE / Duct etc. as required. | 1000.00 | Mtr. | 0.00 | 35.00 | 35000.00 | 50.00 | 50000.00 | 36.00 | 36000.00 | 30.00 | 30000.00 | 30000.00 | M/s Munish Kumar Bansal Contractor
96.00 | Dismantling and shifting of existing 0.5 mtr long decorative light post including removal of top luminaire, base plate, fixing bolts, junction box etc. complete as required. | 20.00 | Job | 0.00 | 4500.00 | 90000.00 | 1600.00 | 32000.00 | 720.00 | 14400.00 | 70.00 | 1400.00 | 1400.00 | M/s Munish Kumar Bansal Contractor
97.00 | Dismantling and shifting of existing 3 Mtr. Long single arm decorative street light pole & bracket with all accessories including removal of light fixture, cement concrete foundation, anchor plate, foundation bolts, etc. complete as required. | 10.00 | Job | 0.00 | 8500.00 | 85000.00 | 3000.00 | 30000.00 | 720.00 | 7200.00 | 600.00 | 6000.00 | 6000.00 | M/s Munish Kumar Bansal Contractor
98.00 | Dismantling, Shifting and Re-installation of existing Frangible LED illuminated Landing H with all accessories including installation of Aluminium frame, frangible legs, LED fittings, Control Box, internal & control wiring and bird deterrent dome, etc. complete as required. | 1.00 | Job | 0.00 | 45000.00 | 45000.00 | 15000.00 | 15000.00 | 58500.00 | 58500.00 | 8700.00 | 8700.00 | 8700.00 | M/s Munish Kumar Bansal Contractor
99.00 | Dismantling,Shifting and Re-installation of various sizes existing LED illuminated guidance sign board with all accessories including installation of polycarbonate sheet, Aluminium frame, frangible legs, angle support, base plate, foundation bolts, plug & receptacle, isolating transformer & other accessories, etc. complete as required. | 6.00 | Job | 0.00 | 78000.00 | 468000.00 | 12000.00 | 72000.00 | 10800.00 | 64800.00 | 1350.00 | 8100.00 | 8100.00 | M/s Munish Kumar Bansal Contractor
100.00 | Design, Manufacture , Supply, installation, testing & commissioning (D/M/S/I/T/C) of 16 mtr high mast with all accessories. Mast shaft shall be in 02 sections, hot dip galvanised and suitable for wind velocity as per IS 875 part 3. The system shall also include accessories in all respects i/c electrically operated raising and lowering gears double drum winch, head frame, steel wire rope 6mm dia (minimum), counter weights, top pulley arrangement, Lighting Arrestor, civil RCC foundation with excavation in soil, foundation bolts, anchor plates, nuts, washers, multicore copper conductor cable (Trailing Cable) of suitable current carrying capacity between top carriage and base terminal (inside Mast), Torque limiter,connector, manual handle, junction box, galvanised Lantern carriage arrangement suitable to install 06 nos of luminaires in asymmetrical arrangement, its controlgear boxes and counter weights as per detailed design and lightning finial. The mast shall have an out door type feeder pillar made out of 14 SWG, CRCA sheet with powder coated paint comprising of suitable rating one number incomer 32 AMP, single dial time switch, 16 amp TP contractor for the automatic switching of luminaries, power tool control with 2 no. 9 amp contractor and raise lower push button, interconnecting copper wiring, etc. as required suitable for operation on 415 V, 3 phase, 50 Hz, AC power supply for its operation, complete as required. 01 Job Includes- a) Construction of suitable foundation with re-inforced cement concrete for the high mast as per site requirement with all materials and labour as required (Design of the foundation shall be vetted from Govt Engineering colleges / NIT / IIT's) b) Supply of foundation bolts manufactured from steel along with nuts, washers, anchor plates and templates c) Erection of the high mast with the help of suitable equipments and installation of lighting arrestor, luminaires and aviation obstruction light (supply of luminaires and obstruction light included in this item scope) with all wiring materials, wiring with suitable size three core flexible weather proof copper cable in PVC flexible conduits from Junction Box at lantern carriage to the individual fittings, as per specifications and labour as required. d) Testing and commissioning of the high mast lighting system. Note- Each High Mast to be provided with min 06 nos.LED flood light luminaries 200 Watt LED light, 01 no of Single Dome LED Obstruction Light switch gears etc. as required. | 3.00 | Job | 0.00 | 556000.00 | 1668000.00 | 1200000.00 | 3600000.00 | 306000.00 | 918000.00 | 360000.00 | 1080000.00 | 918000.00 | S G CONSTRUCTIONS
101.00 | Shifting and Re-installation of existing outdoor type feeder pillar of approx size (LxBxH=1.1m x 0.7m x 1m) | 2.00 | Job | 0.00 | 58000.00 | 116000.00 | 83000.00 | 166000.00 | 18000.00 | 36000.00 | 4000.00 | 8000.00 | 8000.00 | M/s Munish Kumar Bansal Contractor
| Total in Figures |  |  |  |  | 88735182.00 |  | 79685192.00 |  | 77470987.50 |  | 70179935.00
Lowest Amount Quoted BY: M/s Munish Kumar Bansal Contractor(70179935.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of Apron at Kangra Airport-2024 Tender ID: 2024_AAI_210516_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Munish Kumar Bansal Contractor (BID ID -810951) | 70179935.00 | L1
| 2 | S G CONSTRUCTIONS (BID ID -810719) | 77470987.50 | L2
| 3 | M/s Raghava Project Constructions Pvt. Ltd. (BID ID -809575) | 79685192.00 | L3
| 4 | MVD CEMENTATION AND CONSTRUCTION PVT LTD (BID ID -809319) | 88735182.00 | L4