## BoQ1
Government eProcurement System Created By: Duja Nayak Jatothu Created Date/Time: 11-Nov-2024 11:31 AM Tender Title: Facility Management Services and Repair and Maintenance Works for Internal and External Electrical Installations at Terminals T1 T2 T4 at Chennai Airport Tender ID: 2024_AAI_210657_1
Tender Inviting Authority: SM(Engg-Elect), AMED-II, Airports Authority of India, Chennai Airport, Chennai.
Name of Work: Facility Management Services and Repair & Maintenance Works for Internal & External Electrical Installations at Terminals T1, T2 & T4 at Chennai Airport.
Contract No: 2024_AAI_210657_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PREMIER ENGINEERING TECHNICS PVT. LTD. (GSTN-27AADCP1420F1ZW) BID ID -761681 |  | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -762148 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -759183 |  | Sterling and wilson pvt ltd (GSTN-NA) BID ID -756219 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -762359
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB - HEAD - I (Facility Management Services for New Domestic and International Terminal)
1.01 | Facility management for all Internal and External Electrical installations at Terminal Building T1 and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of LT feeders at switch rooms, repair/replacement of circuit wiring, switches, lamps, fixtures, DB's (Materials shall be issued by AAI) i/c providing consumable materials like cotton waste, oil, grease, insulation tape (HT/LT) etc. & other sundry material required for cleaning at site etc. as required, including ensuring 100% serviceability of all Electrical installations in Terminal Building (including city side and air side), preventive maintenance, maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses for round the clock in 3 shifts on all days including Sundays and Holidays. | 24.00 | Month | 757781.00 | 864670.00 | 20752080.00 | 815999.00 | 19583976.00 | 783904.00 | 18813696.00 | 810419.74 | 19450073.76 | 872611.00 | 20942664.00 | 18813696.00 | DElite System Engineering (India) Pvt. Ltd.
1.02 | Facility management for all Internal and External Electrical installations at Terminal Building T4 and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of LT feeders at switch rooms, repair/replacement of circuit wiring, switches, lamps, fixtures, DB's (Materials shall be issued by AAI) i/c providing consumable materials like cotton waste, oil, grease, insulation tape (HT/LT) etc. & other sundry material required for cleaning at site etc. as required, including ensuring 100% serviceability of all Electrical installations in Terminal Building (including city side and air side), preventive maintenance, maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses for round the clock in 3 shifts on all days including Sundays and Holidays. | 24.00 | Month | 794424.00 | 906370.00 | 21752880.00 | 854999.00 | 20519976.00 | 821981.00 | 19727544.00 | 849696.39 | 20392713.36 | 872611.00 | 20942664.00 | 19727544.00 | DElite System Engineering (India) Pvt. Ltd.
1.03 | Facility management for all Internal and External Electrical installations at Terminal Building T2 and its ancillary buildings etc. to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of LT feeders at switch rooms, repair/replacement of circuit wiring, switches, lamps, fixtures, DB's (Materials shall be issued by AAI) i/c providing consumable materials like cotton waste, oil, grease, insulation tape (HT/LT) etc. & other sundry material required for cleaning at site etc. as required, including ensuring 100% serviceability of all Electrical installations in Terminal Building (including city side and air side), preventive maintenance, maintenance of records / data entries and documentation including effective supervision etc. as per the detailed specifications, special conditions, terms and conditions covered under the tender clauses, on all days including Sundays and Holidays as specified and as per direction of Engineer-In-Charge as required. | 24.00 | Month | 166603.00 | 175400.00 | 4209600.00 | 188999.00 | 4535976.00 | 175143.00 | 4203432.00 | 178182.95 | 4276390.80 | 183071.00 | 4393704.00 | 4203432.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | SUB HEAD-II: Rate Contract for DSR SCHEDULE ITEMS (Separate man power other than man power mentioned in SH-I shall be deployed on as and when required basis.
2.01 | Execution of Items of CPWD Delhi Schedule Rates (DSR) E&M 2022 as and when required for attending Repair and Maintenance, Breakdowns and Upkeep of Internal and External Electrical Installations as per Direction of Engineer-In-Charge at All Locations under Chennai Airport conforming to CPWD General Specifications for Electrical Works Part-I (Internal) 2023, Part-II (External) 2023 and Part-IV (Substation) 2013 and also to relevant BIS Specifications. Note: The Bidder shall quote the Rate in INR only for the Job corresponding to the Base Rate (Rs. 20,00,000.00 as per Proposed Estimate) and Percentage (%) Above/ Below shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % worked out will be applied on DSR Rates while executing the DSR Items and will be paid as per Payment Methodology given in Annexure - B). | 1.00 | Job |  | 800000.00 | 800000.00 | 2100000.00 | 2100000.00 | 1500000.00 | 1500000.00 | 258590.13 | 258590.13 | 1800000.00 | 1800000.00 | 258590.13 | Sterling and wilson pvt ltd
3.00 | SUB - HEAD - III : Miscellaneous Electrical works like rewinding of Air circulators, Calibration of meters, Overhauling and servicing of ACB’s etc. as and when required basis.
3.01 | Rewinding of following fans as per original characteristics with super enamelled copper wire and `E' class insulation material, replacement of the worn out bearing etc., as required i/c dismantling, making arrangement for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required basis).
3.02 | a) 600mm Sweep air circulators | 10.00 | Nos. |  | 750.00 | 7500.00 | 1299.00 | 12990.00 | 999.00 | 9990.00 | 431.00 | 4310.00 | 600.00 | 6000.00 | 4310.00 | Sterling and wilson pvt ltd
3.03 | b) 450mm Sweep air circulators | 10.00 | Nos. |  | 700.00 | 7000.00 | 999.00 | 9990.00 | 999.00 | 9990.00 | 387.90 | 3879.00 | 600.00 | 6000.00 | 3879.00 | Sterling and wilson pvt ltd
3.04 | c) 1200mm Sweep ceiling fan | 10.00 | Nos. |  | 750.00 | 7500.00 | 999.00 | 9990.00 | 999.00 | 9990.00 | 387.90 | 3879.00 | 450.00 | 4500.00 | 3879.00 | Sterling and wilson pvt ltd
3.05 | d) 400mm Sweep wall mounting/pedestal fan | 10.00 | Nos. |  | 550.00 | 5500.00 | 799.00 | 7990.00 | 999.00 | 9990.00 | 387.90 | 3879.00 | 450.00 | 4500.00 | 3879.00 | Sterling and wilson pvt ltd
3.06 | e) 300 mm Exhaust fan | 10.00 | Nos. |  | 450.00 | 4500.00 | 999.00 | 9990.00 | 999.00 | 9990.00 | 431.00 | 4310.00 | 450.00 | 4500.00 | 4310.00 | Sterling and wilson pvt ltd
3.07 | f) 450 mm Exhaust fan | 10.00 | Nos. |  | 810.00 | 8100.00 | 1299.00 | 12990.00 | 999.00 | 9990.00 | 474.14 | 4741.40 | 450.00 | 4500.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
3.08 | g) Roof air extractor (Up to 5 HP) | 4.00 | Nos. |  | 2000.00 | 8000.00 | 5999.00 | 23996.00 | 9999.00 | 39996.00 | 3879.31 | 15517.24 | 3500.00 | 14000.00 | 8000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
4.00 | Calibration of following Electrical measuring instruments and submission of certificate regarding calibration etc. from NABL accredited laboratories as required.
4.01 | a) Lux meter | 4.00 | Nos |  | 1000.00 | 4000.00 | 1499.00 | 5996.00 | 1999.00 | 7996.00 | 1508.62 | 6034.48 | 800.00 | 3200.00 | 3200.00 | ABHISHEK INTEGRATIONS LIMITED
4.02 | b) Clamp meter | 4.00 | Nos |  | 1000.00 | 4000.00 | 999.00 | 3996.00 | 999.00 | 3996.00 | 689.66 | 2758.64 | 750.00 | 3000.00 | 2758.64 | Sterling and wilson pvt ltd
4.03 | c) Insulation Tester | 4.00 | Nos |  | 1000.00 | 4000.00 | 499.00 | 1996.00 | 1999.00 | 7996.00 | 1206.90 | 4827.60 | 750.00 | 3000.00 | 1996.00 | CHENNAI ENGINEERING SERVICES
4.04 | d) Multimeter | 4.00 | Nos |  | 1000.00 | 4000.00 | 449.00 | 1796.00 | 1999.00 | 7996.00 | 689.66 | 2758.64 | 750.00 | 3000.00 | 1796.00 | CHENNAI ENGINEERING SERVICES
4.05 | e) Earth tester | 4.00 | Nos |  | 1000.00 | 4000.00 | 599.00 | 2396.00 | 1999.00 | 7996.00 | 1034.48 | 4137.92 | 750.00 | 3000.00 | 2396.00 | CHENNAI ENGINEERING SERVICES
5.00 | Inspection/Overhauling/Servicing of ACBs of L&T/ C&S/ ABB Make of Various Capacities provided in the various LT Panels at Various locations of Terminal T1 & T4 by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, Checking of UV Coils, Trip Circuits, Checking of Control Circuits, replacement of minor defective spares supplied by AAI (excluding supply of spares), testing and commissioning etc., as required. | 60.00 | Nos |  | 3500.00 | 210000.00 | 1999.00 | 119940.00 | 1299.00 | 77940.00 | 1034.48 | 62068.80 | 3000.00 | 180000.00 | 62068.80 | Sterling and wilson pvt ltd
6.00 | Repair of existing DB's by replacing required accessories like Hinges, magnetic locks and providing handles for opening DB's including painting with approved colour of two coats etc. as required. | 50.00 | Jobs |  | 200.00 | 10000.00 | 1099.00 | 54950.00 | 799.00 | 39950.00 | 1293.10 | 64655.00 | 350.00 | 17500.00 | 10000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.00 | Providing lettering for LT Panel boards, DB's, Street light Pole as per the direction of Engineer-in-Charge etc. as required. | 6000.00 | Letter |  | 3.00 | 18000.00 | 3.00 | 18000.00 | 29.00 | 174000.00 | 6.90 | 41400.00 | 7.00 | 42000.00 | 18000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., CHENNAI ENGINEERING SERVICES
8.00 | Spray Painting of LT feeder pillars/DB's at Terminals T1 & T4 car park with one coat or primer and two coats of synthetic enamel paint of approved shade, quality and brand including scrapping, cleaning the surface etc. as required. | 500.00 | Sq. mtr. |  | 175.00 | 87500.00 | 249.00 | 124500.00 | 109.00 | 54500.00 | 150.00 | 75000.00 | 270.00 | 135000.00 | 54500.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Servicing and replacement of defective Stainless steel hand drier spares like Euronics, Kallerians & Anand make (Spares shall be supplied by AAI) as required. | 200.00 | Jobs |  | 300.00 | 60000.00 | 999.00 | 199800.00 | 999.00 | 199800.00 | 100.00 | 20000.00 | 1000.00 | 200000.00 | 20000.00 | Sterling and wilson pvt ltd
10.00 | Painting of 4 Mtr height Street light pole at Terminals T1 & T4 car park with one coat of primer and two coats of Aluminium paint of approved shade, quality and brand including scrapping, cleaning the surface etc. as required. | 200.00 | Jobs |  | 150.00 | 30000.00 | 499.00 | 99800.00 | 2999.00 | 599800.00 | 150.00 | 30000.00 | 650.00 | 130000.00 | 30000.00 | Sterling and wilson pvt ltd, PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | Supply of Panel lock having size of 20mm dia with key | 1000.00 | Nos |  | 30.00 | 30000.00 | 249.00 | 249000.00 | 69.00 | 69000.00 | 80.00 | 80000.00 | 50.00 | 50000.00 | 30000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.00 | Calibration of following Electrical measuring instruments and submission of certificate regarding calibration etc. from NABL accredited laboratories as required.
12.01 | a) Sensor Mounting Plate | 25.00 | Nos |  | 75.00 | 1875.00 | 999.00 | 24975.00 | 999.00 | 24975.00 | 287.00 | 7175.00 | 1629.00 | 40725.00 | 1875.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.02 | b) Blower Cover | 25.00 | Nos |  | 150.00 | 3750.00 | 499.00 | 12475.00 | 999.00 | 24975.00 | 782.00 | 19550.00 | 751.00 | 18775.00 | 3750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.03 | c) Regulator | 25.00 | Nos |  | 150.00 | 3750.00 | 999.00 | 24975.00 | 999.00 | 24975.00 | 1188.00 | 29700.00 | 368.00 | 9200.00 | 3750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.04 | d) Relay | 25.00 | Nos |  | 100.00 | 2500.00 | 749.00 | 18725.00 | 999.00 | 24975.00 | 485.00 | 12125.00 | 1260.00 | 31500.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.05 | e) Back Plate | 25.00 | Nos |  | 75.00 | 1875.00 | 649.00 | 16225.00 | 999.00 | 24975.00 | 683.00 | 17075.00 | 866.00 | 21650.00 | 1875.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.06 | f) Air Nozzle | 25.00 | Nos |  | 75.00 | 1875.00 | 499.00 | 12475.00 | 999.00 | 24975.00 | 287.00 | 7175.00 | 219.00 | 5475.00 | 1875.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.07 | g) carbon Set | 25.00 | Nos |  | 100.00 | 2500.00 | 599.00 | 14975.00 | 999.00 | 24975.00 | 247.00 | 6175.00 | 520.00 | 13000.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.08 | h) Motor | 25.00 | Nos |  | 250.00 | 6250.00 | 1499.00 | 37475.00 | 999.00 | 24975.00 | 500.00 | 12500.00 | 3684.00 | 92100.00 | 6250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.09 | i) PCB | 25.00 | Nos |  | 250.00 | 6250.00 | 1199.00 | 29975.00 | 999.00 | 24975.00 | 500.00 | 12500.00 | 3292.00 | 82300.00 | 6250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.10 | j) Sensor | 25.00 | Nos |  | 250.00 | 6250.00 | 999.00 | 24975.00 | 999.00 | 24975.00 | 500.00 | 12500.00 | 1629.00 | 40725.00 | 6250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.11 | k) Transformer | 25.00 | Nos |  | 100.00 | 2500.00 | 1199.00 | 29975.00 | 999.00 | 24975.00 | 386.00 | 9650.00 | 263.00 | 6575.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.12 | l) Element | 25.00 | Nos |  | 100.00 | 2500.00 | 1199.00 | 29975.00 | 999.00 | 24975.00 | 386.00 | 9650.00 | 1629.00 | 40725.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.13 | m) Sensor Cover | 25.00 | Nos |  | 50.00 | 1250.00 | 699.00 | 17475.00 | 999.00 | 24975.00 | 119.00 | 2975.00 | 263.00 | 6575.00 | 1250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.14 | n) Motor Supporting Plate | 25.00 | Nos |  | 75.00 | 1875.00 | 299.00 | 7475.00 | 999.00 | 24975.00 | 386.00 | 9650.00 | 131.00 | 3275.00 | 1875.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.15 | o) Motor Gripper | 25.00 | Nos |  | 75.00 | 1875.00 | 249.00 | 6225.00 | 999.00 | 24975.00 | 387.00 | 9675.00 | 1575.00 | 39375.00 | 1875.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
13.00 | SH-IV Technical Consultancy Services for obtaining Renewal of consent from TNPCB
13.01 | Preparation and online submission of application for seeking renewal of Consent to Operate under Water & Air Acts, providing technical assistance to AAI in attending queries on both online and site inspection by TNPCB officials, follow up and obtaining renewal of consent to operate license from TNPCB for Chennai Airport for the following period:
13.02 | a) For the year 2025-26 | 1.00 | Job |  | 50000.00 | 50000.00 | 199999.00 | 199999.00 | 59999.00 | 59999.00 | 5000.23 | 5000.23 | 45000.00 | 45000.00 | 5000.23 | Sterling and wilson pvt ltd
13.03 | b) For the year 2026-27 | 1.00 | Job |  | 50000.00 | 50000.00 | 199999.00 | 199999.00 | 59999.00 | 59999.00 | 5000.00 | 5000.00 | 45000.00 | 45000.00 | 5000.00 | Sterling and wilson pvt ltd
| Total in Figures |  |  |  |  | 48175035.00 |  | 48418407.00 |  | 46090201.00 |  | 45000000.00 |  | 49434707.00
Lowest Amount Quoted BY: Sterling and wilson pvt ltd(45000000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management Services and Repair and Maintenance Works for Internal and External Electrical Installations at Terminals T1 T2 T4 at Chennai Airport Tender ID: 2024_AAI_210657_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sterling and wilson pvt ltd (BID ID -756219) | 45000000.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. (BID ID -759183) | 46090201.00 | L2
| 3 | PREMIER ENGINEERING TECHNICS PVT. LTD. (BID ID -761681) | 48175035.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES (BID ID -762148) | 48418407.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED (BID ID -762359) | 49434707.00 | L5