## BoQ1
Government eProcurement System Created By: MUNSHAM SREEDHAR BABU Created Date/Time: 12-Nov-2024 04:42 PM Tender Title: Replacement of Conventional Light Fixtures with LED Light Fixture at Kalaburagi Airport Tender ID: 2024_AAI_210754_1
Tender Inviting Authority: Manager (E-E), AAI, Kalaburagi Airport
Name of Work: Replacement of Conventional Light Fixtures with LED Light Fixture at Kalaburagi Airport.
Contract No: 2024_ AAI_210754_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kripa Electronics india pvt ltd (GSTN-27AACCK9472B1ZI) BID ID -757912 |  | SKYLINE ENGINEERS (GSTN-27APZPD0679L1Z4) BID ID -761498 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -761512 |  | ANU ELECTRICALS (GSTN-29AKWPM5631P1Z2) BID ID -761521 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -761525 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -761658
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 15 W (Maximum) 1500 lumens (Minimum), CCT 5700, 150mm Dia energy efficient LED indoor recess luminaire with integral driver & IP 20 protected single piece die-cast / extruded aluminium housing with heat resistant Polycarbonate diffuser suitable to operate on 140-270 V, 50 Hz AC complete as per enclosed technical specifications. | 17.00 | Each |  | 1109.73 | 18865.41 | 798.00 | 13566.00 | 970.00 | 16490.00 | 1800.00 | 30600.00 | 920.00 | 15640.00 | 750.00 | 12750.00 | 12750.00 | Awasthi Electric Works
2.00 | SITC of 15 W (Maximum) 1500 lumens (Minimum), CCT 5700, 150mm Dia energy efficient LED indoor surface luminaire with integral driver & IP 20 protected single piece die-cast / extruded aluminium housing with heat resistant Polycarbonate diffuser suitable to operate on 140--270 V, 50 Hz AC complete as per enclosed technical specifications. | 39.00 | Each |  | 1109.73 | 43279.47 | 1000.00 | 39000.00 | 1190.00 | 46410.00 | 1800.00 | 70200.00 | 830.00 | 32370.00 | 825.00 | 32175.00 | 32175.00 | Awasthi Electric Works
3.00 | SITC of 18 W (Maximum) 1800 lumens (Minimum), CCT 5700, 150mm Dia energy efficient LED indoor surface luminaire with integral driver & IP 20 protected single piece die-cast / extruded aluminium housing with heat resistant Polycarbonate diffuser suitable to operate on 140-270 V, 50 Hz AC complete as per enclosed technical specifications. | 45.00 | Each |  | 1300.33 | 58514.85 | 1100.00 | 49500.00 | 1220.00 | 54900.00 | 1800.00 | 81000.00 | 920.00 | 41400.00 | 990.00 | 44550.00 | 41400.00 | MPC ELECTRICALS AND ENGINEERS
4.00 | SITC of 35 W (Maximum) 3500 lumens (Minimum), CCT 5700, 2 Ft x 2 Ft energy efficient LED indoor recess luminaire with integral driver & IP 20 protected single piece die-cast / extruded aluminium housing with heat resistant Polycarbonate diffuser suitable to operate on 140-270 V, 50 Hz AC complete as per enclosed technical specifications. | 270.00 | Each |  | 2393.17 | 646155.90 | 2100.00 | 567000.00 | 1450.00 | 391500.00 | 2100.00 | 567000.00 | 2250.00 | 607500.00 | 1710.00 | 461700.00 | 391500.00 | Yash Energy Pvt. Ltd
5.00 | SITC of 35 W (Maximum) 3850 lumens (Minimum), CCT 5700, energy efficient LED outdoor luminaire with integral driver & IP 65 protected single piece die-cast / extruded aluminium housing with heat resistant Polycarbonate/glass diffuser suitable to operate on 140-270 V, 50 Hz AC complete as per enclosed technical specifications. | 130.00 | Each |  | 1729.17 | 224792.10 | 1500.00 | 195000.00 | 2125.00 | 276250.00 | 2500.00 | 325000.00 | 1610.00 | 209300.00 | 1475.00 | 191750.00 | 191750.00 | Awasthi Electric Works
6.00 | SITC of 125 W (Maximum) 13750 lumens (Minimum), CCT 5700, energy efficient High bays luminaire with integral driver & IP 65 protected single piece die cast/extruded aluminium housing with heat resistant glass suitable to operate on 140-270 V, 50Hz AC complete as per enclosed technical specifications. | 40.00 | Each |  | 5602.50 | 224100.00 | 7800.00 | 312000.00 | 5250.00 | 210000.00 | 9000.00 | 360000.00 | 5300.00 | 212000.00 | 4190.00 | 167600.00 | 167600.00 | Awasthi Electric Works
7.00 | SITC of 150 W (Maximum) 16500 lumens (Minimum), CCT 5700, energy efficient Street Light luminaire with integral driver & IP 65 protected single piece die cast/extruded aluminium housing with heat resistant glass suitable to operate on 140-270 V, 50Hz AC complete as per enclosed technical specifications. | 60.00 | Each |  | 6985.83 | 419149.80 | 5500.00 | 330000.00 | 6250.00 | 375000.00 | 9000.00 | 540000.00 | 5300.00 | 318000.00 | 5190.00 | 311400.00 | 311400.00 | Awasthi Electric Works
8.00 | SITC of 350 W (Maximum) 38500 lumens (Minimum), CCT 5700, energy efficient Flood Light luminaire with integral driver & IP 65 protected single piece die cast/extruded aluminium housing with heat resistant glass suitable to operate on 140-270 V, 50Hz AC complete as per enclosed technical specifications. | 30.00 | Each |  | 15678.33 | 470349.90 | 12300.00 | 369000.00 | 13000.00 | 390000.00 | 12500.00 | 375000.00 | 12500.00 | 375000.00 | 11300.00 | 339000.00 | 339000.00 | Awasthi Electric Works
9.00 | Supply of 10 W (Maximum) Inverted pyramid tripod type Bollard LED outdoor fixture with integral driver & IP 65 protected single piece die-cast / extruded aluminium housing with heat resistant Polycarbonate/glass diffuser diffuser suitable to operate on 230 V, 50 Hz AC complete as per enclosed technical specifications. | 20.00 | Each |  | 7815.83 | 156316.60 | 6638.00 | 132760.00 | 4500.00 | 90000.00 | 2800.00 | 56000.00 | 10700.00 | 214000.00 | 3750.00 | 75000.00 | 56000.00 | ANU ELECTRICALS
10.00 | Supply of 35 Watt (Maximum) 3500 lumens (Minimum), CCT 5700, Post top light fixture IP-65 Polycarbonate/glass protected including all accessaries like LED electronic integral driver suitable to operate on 140-270 V, 50Hz, single phase AC SITC complete etc as per enclosed technical specification. ​ | 20.00 | Each |  | 5740.83 | 114816.60 | 7000.00 | 140000.00 | 4000.00 | 80000.00 | 2800.00 | 56000.00 | 4400.00 | 88000.00 | 4550.00 | 91000.00 | 56000.00 | ANU ELECTRICALS
11.00 | Supply of energy efficient, 28W, 5 Star BLDC Ceiling Fan of sweep 1200, remote enabled for convenient control, suitable for 230V, AC operation, enhanced by double ball bearings, Activ BLDC technology, and anti-dust & anti-rust features, they ensure enduring performance. Moddel: Crompton Energion Groove Remote or equivalent. | 10.00 | Each |  | 9403.33 | 94033.30 | 5000.00 | 50000.00 | 2440.00 | 24400.00 | 4500.00 | 45000.00 | 3800.00 | 38000.00 | 2050.00 | 20500.00 | 20500.00 | Awasthi Electric Works
12.00 | Supply of 250mm 35W Modular exhaust Fan 900 CMH,1300 RPM Dimention,388mm x 168mm x 400mm with louver suitable to operate on 230V AC. Model: Crompton Ventilus or equivalent | 6.00 | Each |  | 2686.67 | 16120.02 | 3000.00 | 18000.00 | 1125.00 | 6750.00 | 4500.00 | 27000.00 | 3800.00 | 22800.00 | 1050.00 | 6300.00 | 6300.00 | Awasthi Electric Works
13.00 | Dismantling of existing Light Fixtures and handover to AAI. | 647.00 | Each |  | 350.00 | 226450.00 | 25.00 | 16175.00 | 200.00 | 129400.00 | 300.00 | 194100.00 | 260.00 | 168220.00 | 200.00 | 129400.00 | 16175.00 | SKYLINE ENGINEERS
14.00 | Supply of 4X16 Sq.mm XLPE insulated & PVC shethed armoured aluminium conductor under ground cable of 1.1KV grade conforming to I.S : 7098 (Part-I ) with upto date ammendments as per approved list of AAI. | 500.00 | Mtr |  | 152.17 | 76085.00 | 180.00 | 90000.00 | 125.00 | 62500.00 | 150.00 | 75000.00 | 290.00 | 145000.00 | 175.00 | 87500.00 | 62500.00 | Yash Energy Pvt. Ltd
15.00 | Supplying and laying of 50mm size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 500.00 | Mtr |  | 230.00 | 115000.00 | 170.00 | 85000.00 | 250.00 | 125000.00 | 150.00 | 75000.00 | 206.00 | 103000.00 | 240.00 | 120000.00 | 75000.00 | ANU ELECTRICALS
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Up to 35 Sqmm | 500.00 | Mtr |  | 66.67 | 33335.00 | 15.00 | 7500.00 | 40.00 | 20000.00 | 10.00 | 5000.00 | 26.00 | 13000.00 | 35.00 | 17500.00 | 5000.00 | ANU ELECTRICALS
| Total in Figures |  |  |  |  | 2937363.95 |  | 2414501.00 |  | 2298600.00 |  | 2881900.00 |  | 2603230.00 |  | 2108125.00
Lowest Amount Quoted BY: Awasthi Electric Works(2108125.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Conventional Light Fixtures with LED Light Fixture at Kalaburagi Airport Tender ID: 2024_AAI_210754_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -761658) | 2108125.00 | L1
| 2 | Yash Energy Pvt. Ltd (BID ID -761512) | 2298600.00 | L2
| 3 | SKYLINE ENGINEERS (BID ID -761498) | 2414501.00 | L3
| 4 | MPC ELECTRICALS AND ENGINEERS (BID ID -761525) | 2603230.00 | L4
| 5 | ANU ELECTRICALS (BID ID -761521) | 2881900.00 | L5
| 6 | Kripa Electronics india pvt ltd (BID ID -757912) | 2937363.95 | L6