## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 18-Nov-2024 04:41 PM Tender Title: Annual Operational and Comprehensive Maintenance of Window/split type AC Units and Water Coolers at Dimapur Airport (2024-26) Tender ID: 2024_AAI_210860_1
Tender Inviting Authority: AGM(E-E) AAI, Dimapur Airport.
Name of Work:Annual Operational and Comprehensive Maintenance of Window/split type AC Units & Water Coolers at Dimapur Airport(2024-26)
Contract No: 2024_AAI_210860_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K ENTERPRISES (GSTN-27AMDPK7085L1ZJ) BID ID -762626 |  | sudarshnacoolingcentre andelectricals (GSTN-18AAJFM8760E1ZZ) BID ID -762577 |  | ASHOKA ELECTRICALS (GSTN-NA) BID ID -762385
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Annual Comprehensive maintenance of window type and split type airconditioners of all makes of 1.5 Tr/2Tr/3Tr capacity with voltage stabilizer at different locations i/c providing all necessary consumables & spares complete as reqd as per special conditions. (Make:-Voltas/BlueStar/Carrier/Toshiba/L.G/etc.) First year | 96.00 | Job |  | 3000.00 | 288000.00 | 4459.00 | 428064.00 | 2079.00 | 199584.00 | 199584.00 | ASHOKA ELECTRICALS
1.20 | Second year | 96.00 | Job |  | 3000.00 | 288000.00 | 4459.00 | 428064.00 | 2079.00 | 199584.00 | 199584.00 | ASHOKA ELECTRICALS
2.10 | Annual Comprehensive Maintenance of water coolers/purifier of all types and makes of 40/60/80/120 Ltrs at different locations i/c providing all necessary consumables and spares etc. complete as reqd as per special conditions. First year | 7.00 | Job |  | 4000.00 | 28000.00 | 7546.00 | 52822.00 | 2002.00 | 14014.00 | 14014.00 | ASHOKA ELECTRICALS
2.20 | Second year | 7.00 | Job |  | 4000.00 | 28000.00 | 7546.00 | 52822.00 | 1700.00 | 11900.00 | 11900.00 | ASHOKA ELECTRICALS
3.10 | Operation and annual comprehensive maintenance of package type airconditioning unit 11TR, heater, electric control panel and allied accessories as reqd. AC equipment and allied accessories and providing all neccessary consumables and spare sets complete as reqd as per enclosed preventive maintenance schedule and special conditions etc as reqd. (Make. Blue Star) First year | 4.00 | Job |  | 11000.00 | 44000.00 | 25153.00 | 100612.00 | 14510.00 | 58040.00 | 44000.00 | M K ENTERPRISES
3.20 | Second year | 4.00 | Job |  | 11000.00 | 44000.00 | 25153.00 | 100612.00 | 14510.00 | 58040.00 | 44000.00 | M K ENTERPRISES
4.00 | Dismantling and re-installation of 1.5 TR/ 2 TR/3 TR/4 TR Split type/window/ tower AC units type upto 5 mtrs refrigerant piping including mounting of arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene/PVC piping etc. complete as required. | 6.00 | Job |  | 3000.00 | 18000.00 | 1879.00 | 11274.00 | 2800.00 | 16800.00 | 11274.00 | sudarshnacoolingcentre andelectricals
5.00 | Supply, Installation, Testing and Commisioning of 5 star rated energy efficient, 1.5 TR, inverter type, single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. and suitable for operation on 230 V, 50 HZ, single phase AC supply etc. as per OEM standard and complete as required as per technical specifications. | 3.00 | Job |  | 44000.00 | 132000.00 | 41209.00 | 123627.00 | 32500.00 | 97500.00 | 97500.00 | ASHOKA ELECTRICALS
6.00 | Supply, Installation, Testing and Commisioning of 5 star rated energy efficient, 2 TR, inverter type, single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. and suitable for operation on 230 V, 50 HZ, single phase AC supply etc. as per OEM standard and complete as required as per technical specifications. | 3.00 | Job |  | 55000.00 | 165000.00 | 46199.00 | 138597.00 | 44000.00 | 132000.00 | 132000.00 | ASHOKA ELECTRICALS
7.00 | Supply, Installation, Testing and Commisioning of 5 star rated energy efficient, 2.5 TR, inverter type, single phase, wall mounting type split Air conditioner unit, consisting of indoor unit, out door unit, cordless remote control, refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. and suitable for operation on 230 V, 50 HZ, single phase AC supply etc. as per OEM standard and complete as required as per technical specifications. | 2.00 | Job |  | 65000.00 | 130000.00 | 57773.00 | 115546.00 | 56001.50 | 112003.00 | 112003.00 | ASHOKA ELECTRICALS
8.00 | Supply, Installation, Testing and Commisioning of refrigerant piping including insulation, PVC protection pipping for suction and discharge line for split and other type AC units. | 50.00 | Mtr. |  | 850.00 | 42500.00 | 940.00 | 47000.00 | 950.00 | 47500.00 | 42500.00 | M K ENTERPRISES
9.00 | Providing one AC mechanic and one helper for attending complaints/faults/breakdown and taking rectification action for ensuring serviceability/satisfactory working condition of the system, performing preventive maintenance checks, maintenance of records/documentations etc. as per the detailed specifications, terms and conditions cover under this contract on all working days including Sunday and Holidays. | 24.00 | Months |  | 33000.00 | 792000.00 | 38110.00 | 914640.00 | 50043.00 | 1201032.00 | 792000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 1999500.00 |  | 2513680.00 |  | 2147997.00
Lowest Amount Quoted BY: M K ENTERPRISES(1999500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operational and Comprehensive Maintenance of Window/split type AC Units and Water Coolers at Dimapur Airport (2024-26) Tender ID: 2024_AAI_210860_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES (BID ID -762626) | 1999500.00 | L1
| 2 | ASHOKA ELECTRICALS (BID ID -762385) | 2147997.00 | L2
| 3 | sudarshnacoolingcentre andelectricals (BID ID -762577) | 2513680.00 | L3