## BoQ1
Government eProcurement System Created By: Narender Kumar Created Date/Time: 10-Dec-2024 11:59 AM Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-II. Tender ID: 2024_AAI_211036_1
Tender Inviting Authority: Senior Manager, Airports Authority of India, Safdarjung Airport, New Delhi.
Name of Work:Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-II.
Contract No: AAI/SAP/ENGG (E)/ INAqtrs/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -764085 |  | MANKHA ELECTROTECH PRIVATE LIMITED (GSTN-NA) BID ID -763310 |  | BATRA ENGINEERS (GSTN-NA) BID ID -763827 |  | O. P. CONSTRUCTIONS (GSTN-NA) BID ID -763943 |  | JCC ENGINEERS PRIVATE LIMITED (GSTN-NA) BID ID -763812 |  | Shiva Enterprises (GSTN-NA) BID ID -764029
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I-Execution of works as per CPWD schedule of work and specification as and when reqd.
2.00 | DSR(Electrical) - 2022 Item for Rs 65,00,000/- (Rupees Sixty Five Lakhs Only) [NOTE: The rate should be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.65,00,000/- NOTE: Guideline for quoting percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 65,00,000/-of DSR 2022 (electrical) and same shall be converted into percentage above/below on the DSR 2022 (considering the rates of DSR 2022 as base rates). 2. For Example if bidder quotes Rs. 70,00,000/- in rates column then same shall be converted into percentage of DSR 2022 as under ((70,00,000 - 65,00,000) / 65,00,000) i.e. 7.69% above on DSR 2022 and accordingly payment shall be made by applying the percentage i.e. 7.69% above on DSR 2022 rates for items covered in DSR 2022. Note:- Bidder are requested to read the ATC before quoting the rates. | 1.00 | Job | 1.25 | 5850000.00 | 5850000.00 | 6000000.00 | 6000000.00 | 3980000.00 | 3980000.00 | 6000000.00 | 6000000.00 | 3425000.00 | 3425000.00 | 6950000.00 | 6950000.00 | 3425000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | SH-II -Misc. Electrical Item
4.00 | Supply of 5 star rating, regulator operated 1200 mm BLDC fan suitable for operation on single phase 240V, 50 Hz supply, complete as required (Make: Havells, Model: Stealth BLDC or Similar as per AAI Preffered make list) | 36.00 | Each | 0.00 | 2050.00 | 73800.00 | 3300.00 | 118800.00 | 2950.00 | 106200.00 | 6500.00 | 234000.00 | 8000.00 | 288000.00 | 3800.00 | 136800.00 | 73800.00 | Awasthi Electric Works
5.00 | Supply of 20W, 4 feet long wall mounted tube batten (excluding lamp) suitable for 4 feet long retrofit type T8 LED tube light lamp complete with all accessories, connections as required. | 700.00 | Each | 100.00 | 250.00 | 175000.00 | 330.00 | 231000.00 | 950.00 | 665000.00 | 1000.00 | 700000.00 | 150.00 | 105000.00 | 550.00 | 385000.00 | 105000.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Supply of wall mounting decorative type fitting (excluding lamp) complete with all accessories as required at site. (Make: Jaquar, Model : DWL-NKL-WLBPGG001E27 or Similar as per AAI Preffered make list) | 300.00 | Each | 53.00 | 1350.00 | 405000.00 | 1860.00 | 558000.00 | 1800.00 | 540000.00 | 2200.00 | 660000.00 | 2750.00 | 825000.00 | 750.00 | 225000.00 | 225000.00 | Shiva Enterprises
7.00 | Supply of wall mounting decorative type fitting (excluding lamp) complete with all accessories as required at site. (Make: Jaquar, Model : DWL-CHR-MB160275531B or Similar as per AAI Preffered make list) | 150.00 | Each | 10.00 | 1350.00 | 202500.00 | 2400.00 | 360000.00 | 1500.00 | 225000.00 | 3500.00 | 525000.00 | 2900.00 | 435000.00 | 750.00 | 112500.00 | 112500.00 | Shiva Enterprises
8.00 | Supply of 24W surface mounted downlighter complete with all accessories as required at site. (Make: Havells, cat no. LHEAABP7IL1W024 or Similar as per AAI Preffered make list) | 6.00 | Each | 11.00 | 1010.00 | 6060.00 | 870.00 | 5220.00 | 1850.00 | 11100.00 | 2000.00 | 12000.00 | 1750.00 | 10500.00 | 1200.00 | 7200.00 | 5220.00 | MANKHA ELECTROTECH PRIVATE LIMITED
9.00 | Supply of 18W surface mounted downlighter complete with all accessories as required at site. (Make: Havells, cat no. LHEAABP7IL1W018 or Similar as per AAI Preffered make list) | 90.00 | Each | 0.00 | 950.00 | 85500.00 | 708.00 | 63720.00 | 1650.00 | 148500.00 | 1500.00 | 135000.00 | 1450.00 | 130500.00 | 750.00 | 67500.00 | 63720.00 | MANKHA ELECTROTECH PRIVATE LIMITED
10.00 | Supply of 12W surface mounted downlighter complete with all accessories as required at site. (Make: Havells, cat no. LHEAABP7IL1W012 or Similar as per AAI Preffered make list) | 30.00 | Each | 100.00 | 740.00 | 22200.00 | 600.00 | 18000.00 | 1250.00 | 37500.00 | 1100.00 | 33000.00 | 1250.00 | 37500.00 | 400.00 | 12000.00 | 12000.00 | Shiva Enterprises
11.00 | Supply of Exhaust Fan 200 mm sweep, 1200-1400 rpm, plastic body, suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Ventil Air DX or Similar as per AAI Preffered make list). | 135.00 | Each | 53.00 | 940.00 | 126900.00 | 1330.00 | 179550.00 | 1650.00 | 222750.00 | 1650.00 | 222750.00 | 1700.00 | 229500.00 | 1000.00 | 135000.00 | 126900.00 | Awasthi Electric Works
12.00 | Supply and fixing door bell ding- dong type, 240V, 50Hz suitable for single phase, 230 volts, complete as required. (Make: Havells, Anchor or Similar as per AAI Preffered make list). | 100.00 | Each | 10.00 | 235.00 | 23500.00 | 150.00 | 15000.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 300.00 | 30000.00 | 15000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
13.00 | Providing and fixing 25Amp modular SP MCB, "C" curve on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 470.00 | Each | 11.00 | 155.00 | 72850.00 | 222.00 | 104340.00 | 650.00 | 305500.00 | 275.00 | 129250.00 | 300.00 | 141000.00 | 240.00 | 112800.00 | 72850.00 | Awasthi Electric Works
14.00 | Providing and fixing 25 amp modular socket outlet on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 470.00 | Each | 11.00 | 410.00 | 192700.00 | 402.00 | 188940.00 | 240.00 | 112800.00 | 150.00 | 70500.00 | 200.00 | 94000.00 | 400.00 | 188000.00 | 70500.00 | O. P. CONSTRUCTIONS
15.00 | Supplying and fixing following rating, double pole, 240 volts, 'C' Curve MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required.
15.01 | 40 amps | 20.00 | Each | 10.00 | 920.00 | 18400.00 | 708.00 | 14160.00 | 500.00 | 10000.00 | 360.00 | 7200.00 | 1400.00 | 28000.00 | 750.00 | 15000.00 | 7200.00 | O. P. CONSTRUCTIONS
15.02 | 63 amps | 80.00 | Each | 22.00 | 920.00 | 73600.00 | 780.00 | 62400.00 | 800.00 | 64000.00 | 500.00 | 40000.00 | 1500.00 | 120000.00 | 750.00 | 60000.00 | 40000.00 | O. P. CONSTRUCTIONS
16.00 | Supply of 35-40W LED post top fitting having high pressure powder coated die cast aluminium housing with top cover and high impact poly corbonate or acrylic protector/ diffuser and suitable built in LED Driver etc as required. | 30.00 | Each | 0.00 | 3500.00 | 105000.00 | 4500.00 | 135000.00 | 5800.00 | 174000.00 | 5000.00 | 150000.00 | 5000.00 | 150000.00 | 1950.00 | 58500.00 | 58500.00 | Shiva Enterprises
17.00 | Supply and fixing of pole mounted SMC cable junction box with cover (IP 55) suitable for termination upto 4 x 25 sqmm Aluminium armoured cable including 04 nos. Al bus bar of suitable rating, 01 No. 6A SP MCB, with mounting arrangement, pole mounting accessories, along with end termination for cable (one incoming + one / two outgoings) etc. complete as per site requirement. (for existing tubular type pole) | 100.00 | Each | 0.00 | 1190.00 | 119000.00 | 600.00 | 60000.00 | 3200.00 | 320000.00 | 2100.00 | 210000.00 | 2000.00 | 200000.00 | 1600.00 | 160000.00 | 60000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
18.00 | Supply and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting, cutting, jointing etc. through moling at a depth of 75 cms including excavation and refilling as required. | 50.00 | Meter | 1.00 | 275.00 | 13750.00 | 222.00 | 11100.00 | 180.00 | 9000.00 | 800.00 | 40000.00 | 120.00 | 6000.00 | 160.00 | 8000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7565760.00 |  | 8125230.00 |  | 6966350.00 |  | 9198700.00 |  | 6245000.00 |  | 8663300.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(6245000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upliftment of residential quarters at INA Colony, New Delhi. SH - Electrical Works PHASE-II. Tender ID: 2024_AAI_211036_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED (BID ID -763812) | 6245000.00 | L1
| 2 | BATRA ENGINEERS (BID ID -763827) | 6966350.00 | L2
| 3 | Awasthi Electric Works (BID ID -764085) | 7565760.00 | L3
| 4 | MANKHA ELECTROTECH PRIVATE LIMITED (BID ID -763310) | 8125230.00 | L4
| 5 | Shiva Enterprises (BID ID -764029) | 8663300.00 | L5
| 6 | O. P. CONSTRUCTIONS (BID ID -763943) | 9198700.00 | L6