## BoQ1
Government eProcurement System Created By: AVDHESH AGGARWAL Created Date/Time: 04-Nov-2024 05:53 PM Tender Title: Face lift of all toilets in terminal building at Moradabad Airport. Tender ID: 2024_AAI_211258_1
Tender Inviting Authority: AGM (Engg. Civil), Civil Enclave, Bareilly
Name of Work: Face lift of all toilets in terminal building at Moradabad Airport.
Contract No: 2024_AAI_211258
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | G. R. Engineers and Contractor (GSTN-23DXKPS8522P1ZN) BID ID -759430 |  | V K GIRI AUTOMOBILES (GSTN-NA) BID ID -759235 |  | Alaknanda Traders (GSTN-NA) BID ID -759263 |  | Royal enterprises (GSTN-NA) BID ID -759168
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 76.00 | cum | 1.25 | 700.00 | 53200.00 | 2150.00 | 163400.00 | 1503.00 | 114228.00 | 1050.00 | 79800.00 | 53200.00 | G. R. Engineers and Contractor
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar. | 17.00 | cum | 0.00 | 1000.00 | 17000.00 | 2250.00 | 38250.00 | 2060.00 | 35020.00 | 1400.00 | 23800.00 | 17000.00 | G. R. Engineers and Contractor
3.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 404.00 | sqm | 100.00 | 35.00 | 14140.00 | 2500.00 | 1010000.00 | 73.40 | 29653.60 | 50.00 | 20200.00 | 14140.00 | G. R. Engineers and Contractor
4.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : 100 mm dia pipe | 100.00 | metre | 53.00 | 50.00 | 5000.00 | 2150.00 | 215000.00 | 78.00 | 7800.00 | 50.00 | 5000.00 | 5000.00 | Royal enterprises, G. R. Engineers and Contractor
5.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : 75 to 80 mm dia pipe | 150.00 | metre | 10.00 | 50.00 | 7500.00 | 2500.00 | 375000.00 | 75.70 | 11355.00 | 55.00 | 8250.00 | 7500.00 | G. R. Engineers and Contractor
6.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.00 | cum | 11.00 | 1350.00 | 1350.00 | 2000.00 | 2000.00 | 3551.00 | 3551.00 | 3000.00 | 3000.00 | 1350.00 | G. R. Engineers and Contractor
7.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 119.00 | sqm | 10.00 | 30.00 | 3570.00 | 2250.00 | 267750.00 | 56.00 | 6664.00 | 30.00 | 3570.00 | 3570.00 | Royal enterprises, G. R. Engineers and Contractor
8.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 15.00 | cum | 22.00 | 1700.00 | 25500.00 | 1150.00 | 17250.00 | 2123.00 | 31845.00 | 1700.00 | 25500.00 | 17250.00 | V K GIRI AUTOMOBILES
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 8.00 | cum | 0.00 | 5400.00 | 43200.00 | 1560.00 | 12480.00 | 6812.00 | 54496.00 | 4800.00 | 38400.00 | 12480.00 | V K GIRI AUTOMOBILES
10.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | cum | 1.00 | 7132.25 | 71322.50 | 450.00 | 4500.00 | 9105.00 | 91050.00 | 5000.00 | 50000.00 | 4500.00 | V K GIRI AUTOMOBILES
11.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 4 coarse sand) | 100.00 | sqm | 1.25 | 280.00 | 28000.00 | 1560.00 | 156000.00 | 333.00 | 33300.00 | 220.00 | 22000.00 | 22000.00 | Royal enterprises
12.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 43.00 | sqm | 0.00 | 5325.90 | 229013.70 | 1500.00 | 64500.00 | 5325.00 | 228975.00 | 4150.00 | 178450.00 | 64500.00 | V K GIRI AUTOMOBILES
13.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 475.00 | sqm | 100.00 | 1200.00 | 570000.00 | 1000.00 | 475000.00 | 1113.00 | 528675.00 | 830.00 | 394250.00 | 394250.00 | Royal enterprises
14.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 76.00 | sqm | 53.00 | 1450.00 | 110200.00 | 1000.00 | 76000.00 | 1553.00 | 118028.00 | 1100.00 | 83600.00 | 76000.00 | V K GIRI AUTOMOBILES
15.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers,grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece | 76.00 | sqm | 10.00 | 2000.00 | 152000.00 | 1000.00 | 76000.00 | 1902.00 | 144552.00 | 1450.00 | 110200.00 | 76000.00 | V K GIRI AUTOMOBILES
16.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work including cutting chases and making good the walls etc.20 mm nominal outer dia .Pipes. | 200.00 | metre | 11.00 | 500.00 | 100000.00 | 1000.00 | 200000.00 | 335.00 | 67000.00 | 410.00 | 82000.00 | 67000.00 | Alaknanda Traders
17.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work including cutting chases and making good the walls etc. 32 mm nominal outer dia .Pipes. | 100.00 | metre | 10.00 | 700.00 | 70000.00 | 1150.00 | 115000.00 | 518.00 | 51800.00 | 550.00 | 55000.00 | 51800.00 | Alaknanda Traders
18.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre. | 100.00 | sqm | 22.00 | 155.00 | 15500.00 | 800.00 | 80000.00 | 185.65 | 18565.00 | 130.00 | 13000.00 | 13000.00 | Royal enterprises
19.00 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden / steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately). 12mm thick commercial ply conforming to IS : 1328 BWR type | 8.78 | sqm | 0.00 | 1150.00 | 10097.00 | 450.00 | 3951.00 | 1200.00 | 10536.00 | 1050.00 | 9219.00 | 3951.00 | V K GIRI AUTOMOBILES
20.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stonework, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 7.00 | each | 1.00 | 978.70 | 6850.90 | 560.00 | 3920.00 | 500.00 | 3500.00 | 850.00 | 5950.00 | 3500.00 | Alaknanda Traders
21.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 22.00 | each | 1.25 | 231.05 | 5083.10 | 540.00 | 11880.00 | 400.00 | 8800.00 | 210.00 | 4620.00 | 4620.00 | Royal enterprises
22.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or asapproved by Engineer-in-charge, beyond 50 m initial lead, for all leadsincluding all lifts involved. | 98.85 | cum | 0.00 | 225.00 | 22241.25 | 500.00 | 49425.00 | 264.00 | 26096.40 | 170.00 | 16804.50 | 16804.50 | Royal enterprises
23.00 | Dismantling of Sanitary Fixtures Europeon water closet /Urinal/Wash Basin including stacking of useful materials near the site and disposal of unserviceable materials within 50 metre lead as per direction of Engineer-in-charge. | 35.00 | each | 100.00 | 700.00 | 24500.00 | 100.00 | 3500.00 | 100.00 | 3500.00 | 520.00 | 18200.00 | 3500.00 | V K GIRI AUTOMOBILES, Alaknanda Traders
24.00 | Dismantling G.I. pipes (internal work) including making good as same after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge :15 mm to 40 mm nominal bore. | 200.00 | metre | 53.00 | 100.00 | 20000.00 | 90.00 | 18000.00 | 150.00 | 30000.00 | 63.00 | 12600.00 | 12600.00 | Royal enterprises
25.00 | Providing and fixing C.P. brass Bib cock Round Wall Outlet with Shower Hook and Shut off Valve of make Jaquar Cat. No. ALD-CHR-591R or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 16.00 | each | 10.00 | 1600.00 | 25600.00 | 80.00 | 1280.00 | 2000.00 | 32000.00 | 1550.00 | 24800.00 | 1280.00 | V K GIRI AUTOMOBILES
26.00 | Providing and fixing C.P. brass concealed Stop cock of regular body of Jaquar Cat. No. ALD-CHR-083 with FLR -CHR- 5083NK or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 16.00 | each | 11.00 | 1434.00 | 22944.00 | 100.00 | 1600.00 | 600.00 | 9600.00 | 1200.00 | 19200.00 | 1600.00 | V K GIRI AUTOMOBILES
27.00 | Providing and fixing C.P. brass angular Stop cock with wall flange of make Jaquar Cat. No. FLR- CHR-5053N or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 10.00 | each | 10.00 | 1128.30 | 11283.00 | 110.00 | 1100.00 | 1600.00 | 16000.00 | 1000.00 | 10000.00 | 1100.00 | V K GIRI AUTOMOBILES
28.00 | Providing and fixing long body C.P. brass Bib cock with Pillar Cock Auto Closing System with 65mm Extension Body of Jaquar Cat. No. PRS-CHR-031L65 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 13.00 | each | 22.00 | 2510.00 | 32630.00 | 120.00 | 1560.00 | 2450.00 | 31850.00 | 2100.00 | 27300.00 | 1560.00 | V K GIRI AUTOMOBILES
29.00 | Providing and fixing CP brass Single Towel Rail 600mm Long of Jaquar Cat. No. AQN-CHR-7711 or equivalent make of ROCA or Kohler, complete with brackets fixed to PVC rawl plug with CP brass screws complete as per the direction by Engineer-in-charge. | 1.00 | each | 0.00 | 1908.20 | 1908.20 | 450.00 | 450.00 | 1875.00 | 1875.00 | 1600.00 | 1600.00 | 450.00 | V K GIRI AUTOMOBILES
30.00 | Providing and fixing C.P. brass waste coupling half threading of Jaquar Cat. No. ALD-705 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 13.00 | each | 1.00 | 490.00 | 6370.00 | 650.00 | 8450.00 | 600.00 | 7800.00 | 450.00 | 5850.00 | 5850.00 | Royal enterprises
31.00 | Providing & fixing vitreous china wall hung European type water closet of make Jaquar cat no VGS-WHT-81953UF or equivalent make of ROCA or Kohler with solid plastic lid cover and soft close cover with C.P. bolts, nuts, C.I. chair or other hanging arrangement, C.P. brass hinge rubber buffers with accessories, C.P. brass screws including cutting and making good the wall and floors wherever required as per the direction by Engineer-in-charge. | 13.00 | each | 1.25 | 17500.00 | 227500.00 | 250.00 | 3250.00 | 20000.00 | 260000.00 | 14500.00 | 188500.00 | 3250.00 | V K GIRI AUTOMOBILES
32.00 | Providing and fixing in position viterous china urinal of make Jaquar cat no: URS-WHT-13253N with Sensor Concealed Type Flushing Valve of make Jaquar Cat. No SNR-STL-51087 or equivalent make of ROCA or Kohler with necessary manufacturer fittings including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 6.00 | each | 0.00 | 15500.00 | 93000.00 | 350.00 | 2100.00 | 16000.00 | 96000.00 | 13000.00 | 78000.00 | 2100.00 | V K GIRI AUTOMOBILES
33.00 | Providing and fixing C.P. brass flush valve of make Jaquar Cat. No. FLV-1093NSQ or equivalent make of ROCA or Kohler including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 13.00 | each | 100.00 | 4108.90 | 53415.70 | 200.00 | 2600.00 | 700.00 | 9100.00 | 3600.00 | 46800.00 | 2600.00 | V K GIRI AUTOMOBILES
34.00 | Providing & fixing vitreous china oval shape wash basin of make -Jaquar cat no-FLS-WHT-5701or equivalent make of ROCA or Kohler for under counter basin specially fabricated brackets painted white, and connection pipe to wall with C.P. wall flange and rubber adopter for waste connection complete, including cutting and making good the walls wherever required complete as per the direction by Engineer-in-charge. | 13.00 | each | 53.00 | 3550.00 | 46150.00 | 100.00 | 1300.00 | 3000.00 | 39000.00 | 3450.00 | 44850.00 | 1300.00 | V K GIRI AUTOMOBILES
35.00 | Providing and fixing wash basin make -Jaquar cat no. CNS-WHT-801 with C.I. brackets, 15 mm C.P. brass pillar tap of make Jaquar Cat. No. PRS-CHR-031, 32 mm C.P. brass waste of standard pattern, or equivalent make of ROCA or Kohler including painting of fittings and brackets, cutting and making good the walls wherever required complete as per the direction by Engineer-in-charge. | 3.00 | each | 10.00 | 1700.00 | 5100.00 | 90.00 | 270.00 | 4000.00 | 12000.00 | 1550.00 | 4650.00 | 270.00 | V K GIRI AUTOMOBILES
36.00 | Providing and fixing floor mounted, vitreous china bowl with cistern of make Jaquar Cat No. CNS-WHT-755S220SPPZ or equivalent make of ROCA or Kohler including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the P/S trap, complete in all respect as per the direction by Engineer-in-charge. | 3.00 | each | 11.00 | 1600.00 | 4800.00 | 80.00 | 240.00 | 12000.00 | 36000.00 | 1550.00 | 4650.00 | 240.00 | V K GIRI AUTOMOBILES
37.00 | Providing and fixing Bottle Trap 32mm Size with 300mm & 190mm Long Wall Connection Pipes & Wall Flange of make Jaquar Cat. No. ALD-CHR-769L300x190 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 13.00 | each | 10.00 | 1610.00 | 20930.00 | 450.00 | 5850.00 | 2000.00 | 26000.00 | 1400.00 | 18200.00 | 5850.00 | V K GIRI AUTOMOBILES
38.00 | Providing and fixing urinal partition with frosted glass 8mm thick, chrome finish, size 900mm x 450mm of Jaquar Cat. No.1810-UC or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 3.00 | each | 22.00 | 4000.00 | 12000.00 | 350.00 | 1050.00 | 8000.00 | 24000.00 | 3500.00 | 10500.00 | 1050.00 | V K GIRI AUTOMOBILES
39.00 | Providing and fixing urinal partition with frosted glass 8mm thick, chrome finish, of size 1950mm x 600mm of Jaquar Cat. No.1810UF or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 6.00 | each | 0.00 | 7150.00 | 42900.00 | 450.00 | 2700.00 | 7000.00 | 42000.00 | 6200.00 | 37200.00 | 2700.00 | V K GIRI AUTOMOBILES
40.00 | Providing and Fixing CP Grating with frame and SS Screws casted heavy 125 mm dia complete as per the direction by Engineer-in-charge. | 35.00 | each | 1.00 | 580.00 | 20300.00 | 100.00 | 3500.00 | 700.00 | 24500.00 | 530.00 | 18550.00 | 3500.00 | V K GIRI AUTOMOBILES
41.00 | Providing and fixing Toilet paper holder Toilet Roll Holder with Stainless Steel Flap of make Jaquar Cat No. ACN-CHR-1153S or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 16.00 | each | 1.25 | 950.00 | 15200.00 | 80.00 | 1280.00 | 400.00 | 6400.00 | 950.00 | 15200.00 | 1280.00 | V K GIRI AUTOMOBILES
42.00 | Providing and fixing automatic soap dispenser Capacity : 0.8L, Material: Aluminium/ABS, Finish : Chrome/Black of make Jaquar Cat No: SDR-BLC-DJ0160ASN or equivalent make of ROCA or Kohler all complete including cutting and making good the walls, wherever required all complete as per the direction by Engineer-in-charge. | 10.00 | each | 0.00 | 4244.00 | 42440.00 | 250.00 | 2500.00 | 3000.00 | 30000.00 | 3900.00 | 39000.00 | 2500.00 | V K GIRI AUTOMOBILES
43.00 | Providing and fixing grab bar of make Jaquar AHS-CHR-1507 or equivalent make of ROCA or Kohler all complete with SS Screws including as per the direction by Engineer-in-charge. | 3.00 | each | 100.00 | 1520.00 | 4560.00 | 225.00 | 675.00 | 1850.00 | 5550.00 | 1550.00 | 4650.00 | 675.00 | V K GIRI AUTOMOBILES
44.00 | Providing and fixing Hand Shower (Health Faucet) with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook with N.R.V of make Jaquar Cat No. ALD-CHR-577 or equivalent make of ROCA or Kohler all complete with PVC & SS Screws including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 16.00 | each | 53.00 | 1150.00 | 18400.00 | 125.00 | 2000.00 | 1500.00 | 24000.00 | 1050.00 | 16800.00 | 2000.00 | V K GIRI AUTOMOBILES
45.00 | Providing and fixing 6mm thick Clear mirror on the wall with VHB Tape (3M) and 10mm brush finish stainless steel trims, machine cut in required size, approved shade & colour etc. complete at all levels as per the direction by Engineer-in-charge.(Sample of Mirror shall be got approved from Engineer-in-Charge). | 9.00 | sqm | 10.00 | 3550.00 | 31950.00 | 450.00 | 4050.00 | 700.00 | 6300.00 | 3500.00 | 31500.00 | 4050.00 | V K GIRI AUTOMOBILES
46.00 | Providing and fixing Toilet cubicals with door, pilaster/divider of 12 mm thick board both side decorative compact laminate of required colour ,shade and sizes as manufactured by Greenlam or Merino or Century or equivalent approved make including stainless steel accessories ( SS-304 grade) like square top rail, legs, knob, thumb turn and indicator, twin coat hook, door stopper, adjustable legs, gravity hinges, and locking arrangement, SS channel etc as desired. all complete as per the direction by Engineer-in-charge. | 6.00 | Each | 11.00 | 32200.00 | 193200.00 | 850.00 | 5100.00 | 12000.00 | 72000.00 | 29000.00 | 174000.00 | 5100.00 | V K GIRI AUTOMOBILES
47.00 | Providing and fixing 12mm thick Corian Tops of LG HI MACS of shade white off/ Dupont TM CORIAN (R) or equivalent make in required colors ,shall be compatiable with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin ( poly Methyle Meth Acrylate) and 2/3 natural minerals ,heat resistance withstand up to 2120 F,hardness rating 85 on the rockwell M scale, tensile strength 6000 psi, flexural strength 10000psi including 10 year warranty from the manufacturer on material defect in required shape and size by providing required cut out by using a router with at least a 0.4 inch bit for washbasin for general toilets at all level complete as per direction of Engineer-in-charge. | 8.78 | sqm | 10.00 | 9000.00 | 79020.00 | 1350.00 | 11853.00 | 6000.00 | 52680.00 | 8500.00 | 74630.00 | 11853.00 | V K GIRI AUTOMOBILES
48.00 | Providing and fixing in floor unplasticised Rigid PVC sewer pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 100.00 | metre | 22.00 | 2050.00 | 205000.00 | 450.00 | 45000.00 | 400.00 | 40000.00 | 1850.00 | 185000.00 | 40000.00 | Alaknanda Traders
49.00 | Providing and fixing 110x100 mm PVC P-trap as per requirement and satisfaction of EIC. | 22.00 | each | 0.00 | 257.40 | 5662.80 | 650.00 | 14300.00 | 110.00 | 2420.00 | 220.00 | 4840.00 | 2420.00 | Alaknanda Traders
50.00 | Providing and fixing PVC 110x100 mm bend as per requirement and satisfaction of EIC. | 44.00 | each | 1.00 | 155.00 | 6820.00 | 800.00 | 35200.00 | 120.00 | 5280.00 | 150.00 | 6600.00 | 5280.00 | Alaknanda Traders
51.00 | Providing and fixing bright finished S.S. 100 mm lock of approved quality for glass door, with necessary screws etc complete as per direction of Engineer- in-charge. | 11.00 | each | 1.25 | 2200.00 | 24200.00 | 950.00 | 10450.00 | 2500.00 | 27500.00 | 2150.00 | 23650.00 | 10450.00 | V K GIRI AUTOMOBILES
52.00 | P/F vinyal printed posters with lamination as per requirement and satisfaction of EIC. | 21.00 | sqm | 0.00 | 1170.00 | 24570.00 | 850.00 | 17850.00 | 600.00 | 12600.00 | 1050.00 | 22050.00 | 12600.00 | Alaknanda Traders
53.00 | P/F vinyal printed posters with lamination and 3mm sun board as per requirement and satisfaction of EIC. | 60.00 | sqm | 100.00 | 2150.00 | 129000.00 | 1500.00 | 90000.00 | 600.00 | 36000.00 | 1950.00 | 117000.00 | 36000.00 | Alaknanda Traders
54.00 | Providing and fixing 12 mm thick toughened glass of approved make i/c holes, cutouts, polishing etc. all complete as per direction of EIC | 60.00 | sqm | 53.00 | 2540.00 | 152400.00 | 1250.00 | 75000.00 | 5000.00 | 300000.00 | 2950.00 | 177000.00 | 75000.00 | V K GIRI AUTOMOBILES
55.00 | Taking away dismantled Sanitary Fixtures Europeon WC with all accessories /Urinal/Wash Basin/sink/urinal paritions etc from airport premissess and clean the site as per satisfaction of EIC. | 35.00 | each | 10.00 | 14.55 | -509.25 | 130.00 | -4550.00 | 100.00 | -3500.00 | 14.55 | -509.25 | -4550.00 | V K GIRI AUTOMOBILES
56.00 | Taking away dismantled G.I. pipes, (15mm to 40mm nominal bore) from airport premissess and clean the site as per satisfaction of EIC. | 600.00 | Kg | 11.00 | 12.93 | -7758.00 | 120.00 | -72000.00 | 32.00 | -19200.00 | 12.93 | -7758.00 | -72000.00 | V K GIRI AUTOMOBILES
57.00 | Taking away CP/Brass bib cock/pillar cock/angle valve/angle cock/stop cock/gate valve/soap dish holder/coat hook/towel ring etc. from airport premissess and clean the site as per satisfaction of EIC. | 25.55 | Kg | 10.00 | 242.43 | -6194.09 | 450.00 | -11497.50 | 70.00 | -1788.50 | 220.00 | -5621.00 | -11497.50 | V K GIRI AUTOMOBILES
58.00 | Taking away aluminium door with frame & with all accessories from airport premises and clean the site as per satisfaction of EIC. | 23.00 | each | 22.00 | 48.49 | -1115.27 | 150.00 | -3450.00 | 200.00 | -4600.00 | 48.00 | -1104.00 | -4600.00 | Alaknanda Traders
59.00 | Taking away false ceiling tiles with frame & with all accessories from airport premises and clean the site as per satisfaction of EIC. | 76.00 | sqm | 0.00 | 4.04 | -307.04 | 150.00 | -11400.00 | 15.00 | -1140.00 | 4.00 | -304.00 | -11400.00 | V K GIRI AUTOMOBILES
60.00 | Supply of Round / Square type 15W-18W Recess mounted glare free LED downlighter fitting with duly powder coated Aluminium pressure die-cast body, electronic driver , high efficiency glare free opal diffuser and having Ingress protection IP20 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 22.00 | Each | 1.00 | 750.00 | 16500.00 | 1560.00 | 34320.00 | 300.00 | 6600.00 | 780.00 | 17160.00 | 6600.00 | Alaknanda Traders
61.00 | Supply of Round / Square type 9W-12W Recess mounted glare free LED downlighter fitting with duly powder coated Aluminium pressure die-cast body, electronic driver , high efficiency glare free opal diffuser and having Ingress protection IP20 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 12.00 | Each | 1.25 | 520.00 | 6240.00 | 1350.00 | 16200.00 | 300.00 | 3600.00 | 510.00 | 6120.00 | 3600.00 | Alaknanda Traders
62.00 | Supply & fixing of 15-20W 6500K LED indoor prewired surface mounted high performance decorated mirror light with high power LEDs , integrated LED driver and operating range 220-240 volt complete with all accessories , including connections etc. complete as required. | 10.00 | Each | 0.00 | 370.00 | 3700.00 | 1530.00 | 15300.00 | 300.00 | 3000.00 | 340.00 | 3400.00 | 3000.00 | Alaknanda Traders
63.00 | Supply and fixing of 200 mm circular inline fan (Caryaire CF-200B / higher or equivalent) with a minimum airflow capacity of 250 CFM, suitable for 230 volts single phase operation and designed for installation in industrial, kitchen, or bathroom environments. The fan should fit into the existing duct or opening, providing efficient ventilation. The supply includes all necessary connections, inter-connections, and electrical work to ensure seamless and continuous operation, with complete installation as required. | 7.00 | Each | 100.00 | 12700.00 | 88900.00 | 1150.00 | 8050.00 | 3000.00 | 21000.00 | 950.00 | 6650.00 | 6650.00 | Royal enterprises
64.00 | Supply of wall mounted SS steel Hand drier having suitable voltage range of 220-240 v. 50 Hz , Touch free infrared sensor activation, brushless motor having 25000 RPM, Noise level should not be more than 70 db. (Make : Dolphy ; DAHD0063 or Equivalent) | 10.00 | Each | 53.00 | 17000.00 | 170000.00 | 650.00 | 6500.00 | 6000.00 | 60000.00 | 16000.00 | 160000.00 | 6500.00 | V K GIRI AUTOMOBILES
65.00 | Providing of water cooler with combined RO unit having capacity for storage of minimum and cooling capacity of 40/80 including 02 water taps, eco friendly refrigerant, Food grade SS tank & body, single phase input supply, etc. equivalent to Make Voltas and Model 40/80 FSS-RO&UV. | 2.00 | Each | 10.00 | 50500.00 | 101000.00 | 950.00 | 1900.00 | 56000.00 | 112000.00 | 52000.00 | 104000.00 | 1900.00 | V K GIRI AUTOMOBILES
66.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group C) | 31.00 | Point | 11.00 | 1500.00 | 46500.00 | 860.00 | 26660.00 | 1215.00 | 37665.00 | 1590.00 | 49290.00 | 26660.00 | V K GIRI AUTOMOBILES
67.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group C) | 16.00 | Point | 10.00 | 807.00 | 12912.00 | 1150.00 | 18400.00 | 642.00 | 10272.00 | 920.00 | 14720.00 | 10272.00 | Alaknanda Traders
68.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | meter | 22.00 | 310.00 | 31000.00 | 1650.00 | 165000.00 | 234.00 | 23400.00 | 380.00 | 38000.00 | 23400.00 | Alaknanda Traders
69.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | meter | 0.00 | 325.00 | 32500.00 | 1350.00 | 135000.00 | 310.00 | 31000.00 | 370.00 | 37000.00 | 31000.00 | Alaknanda Traders
70.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. Group C | 10.00 | Point | 1.00 | 947.00 | 9470.00 | 1000.00 | 10000.00 | 815.00 | 8150.00 | 590.00 | 5900.00 | 5900.00 | Royal enterprises
71.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 20mm | 40.00 | Meter | 1.25 | 146.00 | 5840.00 | 1200.00 | 48000.00 | 63.00 | 2520.00 | 185.00 | 7400.00 | 2520.00 | Alaknanda Traders
72.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 25mm | 40.00 | Meter | 0.00 | 192.00 | 7680.00 | 1150.00 | 46000.00 | 315.00 | 12600.00 | 210.00 | 8400.00 | 7680.00 | G. R. Engineers and Contractor
73.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 32mm | 20.00 | Meter | 100.00 | 238.00 | 4760.00 | 1250.00 | 25000.00 | 279.00 | 5580.00 | 270.00 | 5400.00 | 4760.00 | G. R. Engineers and Contractor
74.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each | 53.00 | 37.00 | 370.00 | 1000.00 | 10000.00 | 53.00 | 530.00 | 35.00 | 350.00 | 350.00 | Royal enterprises
75.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 10.00 | Each | 10.00 | 650.00 | 6500.00 | 1200.00 | 12000.00 | 673.00 | 6730.00 | 410.00 | 4100.00 | 4100.00 | Royal enterprises
76.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 10.00 | Each | 11.00 | 820.00 | 8200.00 | 1100.00 | 11000.00 | 697.00 | 6970.00 | 460.00 | 4600.00 | 4600.00 | Royal enterprises
77.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc.as required. | 44.00 | Each | 10.00 | 170.00 | 7480.00 | 890.00 | 39160.00 | 242.00 | 10648.00 | 150.00 | 6600.00 | 6600.00 | Royal enterprises
78.00 | Supply, installation, balancing and commissioning of site fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as and when required. Thickness 0.63 mm sheet | 30.00 | sq.mtr. | 22.00 | 850.00 | 25500.00 | 850.00 | 25500.00 | 300.00 | 9000.00 | 870.00 | 26100.00 | 9000.00 | Alaknanda Traders
79.00 | Supply, installation, balancing and commissioning of site fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as and when required. Thickness 0.80 mm sheet | 20.00 | sq.mtr. | 0.00 | 950.00 | 19000.00 | 650.00 | 13000.00 | 300.00 | 6000.00 | 1000.00 | 20000.00 | 6000.00 | Alaknanda Traders
80.00 | Supplying and fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete in all respect as required at site. | 10.00 | sq.mtr. | 1.00 | 4050.00 | 40500.00 | 750.00 | 7500.00 | 400.00 | 4000.00 | 5200.00 | 52000.00 | 4000.00 | Alaknanda Traders
| Total in Figures |  |  |  |  | 3793190.50 |  | 4362956.50 |  | 3298481.50 |  | 3257877.25
Lowest Amount Quoted BY: Royal enterprises(3257877.25)

## BOQ Summary
BOQ Summary Details Tender Title: Face lift of all toilets in terminal building at Moradabad Airport. Tender ID: 2024_AAI_211258_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Royal enterprises (BID ID -759168) | 3257877.25 | L1
| 2 | Alaknanda Traders (BID ID -759263) | 3298481.50 | L2
| 3 | G. R. Engineers and Contractor (BID ID -759430) | 3793190.50 | L3
| 4 | V K GIRI AUTOMOBILES (BID ID -759235) | 4362956.50 | L4